## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-09 00:00:00 | 6.664 | 217.1 | 5.887 | 230.059 | 5.171 | 237.1 | 4.334 | 236.067 | 10.678 | 889.667 | 15.499 | 5.7122
2020-04-09 00:15:00 | 6.112 | 214.313 | 5.862 | 225.297 | 5.148 | 234.733 | 4.328 | 233.667 | 10.649 | 889.833 | 15.792 | 4.3551
2020-04-09 00:30:00 | 5.717 | 218.413 | 5.183 | 230.304 | 4.522 | 240.433 | 4.026 | 237.467 | 10.168 | 889.7 | 16.016 | 2.7471
2020-04-09 00:45:00 | 5.874 | 215.567 | 5.277 | 226.574 | 4.307 | 236.4 | 3.729 | 239.3 | 9.987 | 889.5 | 16.213 | 2.3655
2020-04-09 01:00:00 | 5.793 | 217.367 | 4.946 | 230.882 | 4.232 | 240.567 | 3.77 | 237.8 | 9.495 | 889.6 | 16.768 | 2.4849
2020-04-09 01:15:00 | 5.876 | 218 | 5.063 | 230.568 | 4.328 | 242.267 | 3.809 | 240 | 9.495 | 889.6 | 16.883 | 2.1587
2020-04-09 01:30:00 | 6 | 215.76 | 4.848 | 228.787 | 4.023 | 241 | 3.577 | 243.4 | 9.228 | 889.3 | 17.163 | 1.0737
2020-04-09 01:45:00 | 6.43 | 215.4 | 4.786 | 222.639 | 3.87 | 233.933 | 3.512 | 235.267 | 9.099 | 889.467 | 17.595 | 2.3491
2020-04-09 02:00:00 | 6.122 | 212.98 | 6.326 | 218.112 | 5.024 | 224.7 | 4.099 | 228.2 | 8.674 | 889.467 | 17.845 | 4.5043
2020-04-09 02:15:00 | 5.602 | 204.973 | 7.481 | 209.173 | 6.262 | 214.8 | 4.841 | 213.5 | 8.137 | 889.333 | 18.491 | 6.7539
2020-04-09 02:30:00 | 6.143 | 211.267 | 6.476 | 211.098 | 5.872 | 212.733 | 5.174 | 211.133 | 8.558 | 889.667 | 18.819 | 7.4688
2020-04-09 02:45:00 | 5.43 | 208.147 | 6.47 | 208.551 | 5.663 | 212 | 5.188 | 206.967 | 8.434 | 889.3 | 19.024 | 6.8001
2020-04-09 03:00:00 | 5.572 | 212.36 | 5.667 | 201.804 | 5.369 | 203.733 | 5.245 | 200 | 8.687 | 888.333 | 18.896 | 5.5971
2020-04-09 03:15:00 | 7.265 | 213.707 | 6.137 | 206.641 | 5.928 | 210 | 5.748 | 201.867 | 8.937 | 889.367 | 18.659 | 9.6587
2020-04-09 03:30:00 | 6.495 | 213.327 | 6.914 | 203.101 | 5.99 | 206.567 | 5.502 | 200 | 8.394 | 889.467 | 19.176 | 11.6085
2020-04-09 03:45:00 | 6.256 | 211.553 | 7.787 | 202.869 | 6.718 | 207.1 | 6.028 | 203.1 | 8.414 | 889.6 | 19.221 | 15.4484
2020-04-09 04:00:00 | 5.913 | 210.24 | 6.85 | 203.821 | 6.316 | 206.567 | 6.284 | 203 | 8.187 | 889.5 | 19.2 | 14.7414
2020-04-09 04:15:00 | 6.726 | 213.22 | 7.246 | 204.589 | 6.764 | 205.9 | 6.476 | 200.333 | 8.264 | 889.983 | 20.736 | 12.9025
2020-04-09 04:30:00 | 6.874 | 213.073 | 7.282 | 212.544 | 6.766 | 214.967 | 6.086 | 210.533 | 8.337 | 889.75 | 21.093 | 12.9465
2020-04-09 04:45:00 | 6.093 | 213.08 | 6.704 | 205.586 | 6.278 | 207.6 | 5.957 | 201.767 | 8.601 | 889.583 | 21.019 | 8.9659
2020-04-09 05:00:00 | 5.213 | 211.213 | 6.847 | 198.858 | 6.164 | 199.2 | 5.867 | 193.133 | 7.666 | 889.7 | 21.669 | 3.4029
2020-04-09 05:15:00 | 4.911 | 212.253 | 5.914 | 194.525 | 4.837 | 192.7 | 4.733 | 184.133 | 8.364 | 889.65 | 21.056 | 2.2838
2020-04-09 05:30:00 | 5.783 | 212.893 | 6.717 | 200.004 | 6.418 | 200.367 | 6.019 | 194.6 | 8.01 | 889.467 | 21.749 | 4.0026
2020-04-09 05:45:00 | 4.418 | 238.1 | 6.778 | 211.747 | 6.313 | 205.133 | 5.852 | 197.367 | 7.706 | 889.95 | 21.813 | 3.0604
2020-04-09 06:00:00 | 5.754 | 214.3 | 5.949 | 202.462 | 6.114 | 200.067 | 5.798 | 192.533 | 7.422 | 889.567 | 22.373 | 1.2122
2020-04-09 06:15:00 | 2.304 | 142.523 | 2.54 | 131.523 | 2.299 | 138.367 | 2.419 | 136 | 7.789 | 890.067 | 21.488 | 1.2947
2020-04-09 06:30:00 | 3.69 | 197.473 | 2.551 | 171.123 | 1.82 | 157 | 2.142 | 146.067 | 8.254 | 890.05 | 21.285 | 2.3491
2020-04-09 06:45:00 | 4.366 | 195.687 | 2.93 | 164.616 | 2.089 | 163.267 | 2.3 | 157.933 | 9.566 | 889.5 | 20.197 | 3.7283
2020-04-09 07:00:00 | 5.229 | 200.693 | 4.045 | 167.606 | 3.286 | 163.533 | 2.86 | 146.567 | 7.659 | 889.767 | 21.2 | 2.8039
2020-04-09 07:15:00 | 4.721 | 196.433 | 3.122 | 157.452 | 2.662 | 143.4 | 3.145 | 130.467 | 7.372 | 889.8 | 21.755 | 3.3411
2020-04-09 07:30:00 | 5.006 | 207.887 | 3.473 | 170.816 | 3.262 | 155.3 | 3.26 | 136.433 | 7.589 | 889.983 | 21.424 | 7.2577
2020-04-09 07:45:00 | 4.387 | 204.46 | 4.495 | 168.701 | 4.318 | 157.933 | 4.591 | 143.067 | 7.926 | 889.55 | 20.299 | 7.9321
2020-04-09 08:00:00 | 4.36 | 193.68 | 3.821 | 158.553 | 3.653 | 146.867 | 3.475 | 136.667 | 9.078 | 889.533 | 19.624 | 8.7492
2020-04-09 08:15:00 | 3.287 | 164.667 | 4.069 | 132.277 | 4.468 | 126 | 4.918 | 116.067 | 10.635 | 889.367 | 17.432 | 7.09
2020-04-09 08:30:00 | 3.196 | 140.127 | 3.754 | 117.232 | 3.758 | 116.333 | 3.858 | 105.8 | 12.647 | 889.8 | 15.075 | 2.3214
2020-04-09 08:45:00 | 2.581 | 185.367 | 2.422 | 153.177 | 2.288 | 149.667 | 2.509 | 135.133 | 13.18 | 889.4 | 14.533 | 0.22525
2020-04-09 09:00:00 | 2.49 | 207.033 | 2.328 | 183.131 | 2.119 | 178.267 | 2.209 | 159.267 | 14.233 | 889.267 | 14.501 | 0.2956
2020-04-09 09:15:00 | 1.395 | 160.927 | 0.519 | 152.6 | 1.344 | 146.233 | 2.072 | 130.367 | 15.758 | 889.533 | 12.952 | 0.1748
2020-04-09 09:30:00 | 1.517 | 125.56 | 1.147 | 127.737 | 1.503 | 125.567 | 1.979 | 116.9 | 15.329 | 889.8 | 11.525 | 0.17196
2020-04-09 09:45:00 | 1.996 | 156.68 | 1.544 | 152.468 | 1.834 | 159.6 | 2.259 | 149.733 | 15.746 | 889.5 | 11.611 | 0.17196
2020-04-09 10:00:00 | 1.53 | 133.62 | 0.93 | 136.282 | 0.957 | 144.067 | 1.684 | 139.9 | 16.414 | 889.5 | 11.232 | 0.16769
2020-04-09 10:15:00 | 0.658 | 87.3 | 0.1 | 106.285 | 0 | 102.067 | 0.591 | 118 | 17.156 | 890.133 | 10.712 | 0.16769
2020-04-09 10:30:00 | 1.283 | 95.087 | 1.14 | 91.294 | 0.989 | 93.667 | 1.75 | 100.633 | 17.994 | 889.667 | 10.467 | 0.16485
2020-04-09 10:45:00 | 1.61 | 98.15 | 1.386 | 89.599 | 1.285 | 93 | 1.572 | 90.2 | 18.252 | 889.167 | 10.316 | 0.16343
2020-04-09 11:00:00 | 2.104 | 71.719 | 1.82 | 66.554 | 1.804 | 74.567 | 2.327 | 74.667 | 18.656 | 889.3 | 10.075 | 0.73188
2020-04-09 11:15:00 | 3.502 | 70.565 | 3.567 | 69.533 | 3.833 | 75.467 | 4.102 | 72.467 | 18.573 | 888.867 | 10.26 | 5.3747
2020-04-09 11:30:00 | 4.585 | 57.525 | 4.476 | 54.232 | 4.559 | 58.633 | 4.697 | 55.5 | 18.777 | 889.5 | 10.403 | 12.5934
2020-04-09 11:45:00 | 4.622 | 95.883 | 4.854 | 90.603 | 5.398 | 95 | 5.588 | 91.1 | 19.056 | 889.467 | 10.701 | 16.1405
2020-04-09 12:00:00 | 6.051 | 76.913 | 6.498 | 71.6 | 6.34 | 74.4 | 6.587 | 73.567 | 18.839 | 889.4 | 10.504 | 26.8203
2020-04-09 12:15:00 | 7.285 | 68.865 | 7.706 | 67.335 | 7.972 | 73.367 | 8.136 | 70.167 | 18.656 | 889.033 | 10.045 | 31.5946
2020-04-09 12:30:00 | 7.559 | 73.408 | 7.538 | 67.59 | 7.98 | 71.933 | 8.181 | 68.9 | 18.739 | 889.433 | 9.761 | 34.4319
2020-04-09 12:45:00 | 8.042 | 69.975 | 8.151 | 67.897 | 8.433 | 73.1 | 8.772 | 71.767 | 18.794 | 889.467 | 9.319 | 38.2328
2020-04-09 13:00:00 | 6.164 | 84.273 | 6.522 | 79.936 | 6.493 | 81.6 | 6.772 | 78.667 | 19.094 | 888.867 | 9.017 | 37.1093
2020-04-09 13:15:00 | 7.615 | 86.083 | 7.589 | 82.146 | 7.707 | 84.733 | 7.564 | 79.633 | 19.564 | 889 | 8.973 | 34.3985
2020-04-09 13:30:00 | 7.849 | 84.448 | 7.956 | 83.307 | 7.824 | 89.5 | 7.976 | 82.6 | 20.464 | 888.933 | 9.036 | 38.0771
2020-04-09 13:45:00 | 7.162 | 79.18 | 7.005 | 72.708 | 7.106 | 80.233 | 7.728 | 76.2 | 20.668 | 888.933 | 9.151 | 39.4663
2020-04-09 14:00:00 | 6.524 | 80.747 | 6.689 | 73.467 | 6.73 | 78.767 | 7.371 | 73.867 | 20.898 | 888.667 | 9.16 | 36.4727
2020-04-09 14:15:00 | 7.691 | 76.835 | 7.533 | 73.796 | 7.657 | 77.3 | 8.212 | 73.8 | 21.01 | 889 | 8.963 | 42.9431
2020-04-09 14:30:00 | 5.58 | 88.227 | 5.668 | 91.605 | 5.904 | 99.6 | 5.959 | 92.767 | 20.852 | 888.667 | 8.853 | 42.2162
2020-04-09 14:45:00 | 5.695 | 100.193 | 5.776 | 96.019 | 6.207 | 98.133 | 6.335 | 93.333 | 21.098 | 888.8 | 8.819 | 47.9263
2020-04-09 15:00:00 | 7.925 | 84.583 | 8.338 | 80.906 | 8.536 | 84.567 | 8.524 | 79.667 | 21.668 | 888.867 | 8.861 | 48.8166
2020-04-09 15:15:00 | 7.906 | 81.167 | 8.006 | 79.013 | 7.82 | 86.367 | 7.935 | 83.567 | 21.327 | 889 | 8.828 | 53.8325
2020-04-09 15:30:00 | 7.846 | 92.943 | 7.936 | 85.386 | 7.66 | 88.333 | 8.124 | 84.367 | 21.352 | 889.333 | 8.643 | 64.0377
2020-04-09 15:45:00 | 8.456 | 83.003 | 8.484 | 79.194 | 8.989 | 84.1 | 9.447 | 80.5 | 21.439 | 889.2 | 8.589 | 69.6732
2020-04-09 16:00:00 | 9.225 | 88.392 | 8.951 | 83.095 | 8.988 | 84.533 | 9.403 | 80.8 | 21.556 | 889 | 8.363 | 67.1429
2020-04-09 16:15:00 | 10.244 | 83.333 | 10.571 | 78.91 | 10.713 | 83.4 | 10.937 | 79.033 | 21.431 | 888.8 | 8.044 | 69.519
2020-04-09 16:30:00 | 9.506 | 91.97 | 9.282 | 86.485 | 9.394 | 89.1 | 9.85 | 83.667 | 21.694 | 889.133 | 7.891 | 73.8641
2020-04-09 16:45:00 | 9.177 | 97.98 | 9.018 | 92.43 | 8.812 | 94.267 | 9.007 | 91.367 | 21.264 | 889 | 7.651 | 68.7608
2020-04-09 17:00:00 | 10.571 | 83.827 | 10.628 | 80.562 | 10.721 | 85.267 | 10.973 | 82.133 | 21.114 | 889.133 | 7.505 | 61.7283
2020-04-09 17:15:00 | 10.032 | 100.333 | 9.755 | 96.449 | 9.28 | 98.8 | 9.537 | 95.767 | 21.414 | 888.8 | 7.619 | 54.8522
2020-04-09 17:30:00 | 10.83 | 93.52 | 10.551 | 89.193 | 9.646 | 95.233 | 10.095 | 89.067 | 21.306 | 889.067 | 7.187 | 53.5952
2020-04-09 17:45:00 | 10.842 | 79.112 | 11.463 | 76.391 | 11.547 | 82.067 | 11.659 | 79.667 | 21.248 | 889.333 | 7.884 | 53.7984
2020-04-09 18:00:00 | 9.33 | 100.687 | 8.909 | 94.18 | 8.725 | 94.767 | 8.733 | 89.133 | 21.273 | 889 | 7.776 | 53.8858
2020-04-09 18:15:00 | 9.945 | 99.76 | 9.949 | 93.913 | 9.396 | 100.3 | 9.244 | 95.067 | 21.489 | 889.2 | 8.243 | 56.7693
2020-04-09 18:30:00 | 11.874 | 103.907 | 12.35 | 99.025 | 12.078 | 102.767 | 11.907 | 95.467 | 21.214 | 889.067 | 8.643 | 56.166
2020-04-09 18:45:00 | 12.572 | 96.48 | 12.835 | 95.111 | 12.012 | 100.667 | 12.141 | 95.667 | 20.781 | 888.8 | 9.04 | 49.3503
2020-04-09 19:00:00 | 13.171 | 94.123 | 14.386 | 89.599 | 14.147 | 94.367 | 14.11 | 88.967 | 20.468 | 888.733 | 9.275 | 48.8173
2020-04-09 19:15:00 | 15.128 | 104.633 | 15.939 | 100.962 | 15.869 | 104.4 | 16.078 | 99.667 | 20.406 | 888.8 | 9.456 | 48.4486
2020-04-09 19:30:00 | 14.03 | 100.157 | 14.894 | 97.271 | 15.004 | 101.967 | 14.698 | 96.367 | 19.527 | 888.8 | 9.879 | 47.4055
2020-04-09 19:45:00 | 13.026 | 100.673 | 13.954 | 96.464 | 13.679 | 102.1 | 13.553 | 96.767 | 19.189 | 889.167 | 10.059 | 46.8832
2020-04-09 20:00:00 | 12.373 | 99.593 | 12.99 | 96.371 | 12.991 | 101.367 | 12.425 | 97.2 | 18.814 | 889.333 | 10.273 | 46.8853
2020-04-09 20:15:00 | 13.412 | 99.133 | 14.794 | 93.319 | 14.924 | 99.167 | 14.897 | 95.567 | 18.539 | 889.8 | 10.587 | 47.8467
2020-04-09 20:30:00 | 12.22 | 97.16 | 13.502 | 94.682 | 13.631 | 99.967 | 13.728 | 96.067 | 17.681 | 890.067 | 11.08 | 49.1257
2020-04-09 20:45:00 | 12.224 | 99.817 | 13.117 | 94.405 | 13.281 | 101.133 | 13.159 | 97.067 | 17.418 | 889.633 | 11.464 | 47.755
2020-04-09 21:00:00 | 11.368 | 100.693 | 13.095 | 96.578 | 13.839 | 102.467 | 14.639 | 100.8 | 16.948 | 889.233 | 12.171 | 46.7155
2020-04-09 21:15:00 | 14.292 | 103.407 | 15.449 | 99.862 | 16.218 | 104.7 | 16.726 | 99.667 | 16.348 | 889.667 | 12.704 | 46.5734
2020-04-09 21:30:00 | 14.048 | 106.667 | 15.567 | 102 | 16.364 | 105.933 | 17.046 | 103.333 | 16.262 | 889.367 | 12.472 | 49.1286
2020-04-09 21:45:00 | 14.575 | 105.547 | 15.981 | 103.15 | 17.007 | 107.467 | 17.483 | 105.867 | 15.858 | 889.367 | 12.581 | 49.3744
2020-04-09 22:00:00 | 11.211 | 108.367 | 13.05 | 103.611 | 14.564 | 109.367 | 16.067 | 103.333 | 15.381 | 889.433 | 13.565 | 49.1435
2020-04-09 22:15:00 | 12.731 | 112.813 | 14.56 | 107.934 | 15.721 | 111.733 | 16.276 | 109.533 | 15.552 | 889.633 | 14.008 | 49.7056
2020-04-09 22:30:00 | 13.47 | 112.967 | 14.856 | 106.259 | 15.81 | 111.133 | 17.147 | 110.1 | 15.131 | 889.8 | 14.069 | 49.3474
2020-04-09 22:45:00 | 14.212 | 115.367 | 14.984 | 109.719 | 15.854 | 114.767 | 16.549 | 109.867 | 14.924 | 889.067 | 14.347 | 50.1774
2020-04-09 23:00:00 | 13.508 | 106.867 | 15.209 | 103.274 | 16.112 | 109.067 | 16.871 | 105.367 | 14.349 | 889.6 | 15.032 | 51.4663
2020-04-09 23:15:00 | 13.996 | 111.333 | 15.156 | 106.629 | 15.823 | 111.3 | 16.604 | 107.167 | 14.133 | 889.933 | 15.683 | 51.2802
2020-04-09 23:30:00 | 14.611 | 113.387 | 15.839 | 109.268 | 16.636 | 116.833 | 17.197 | 111.867 | 13.608 | 889.3 | 16.195 | 51.9197
2020-04-09 23:45:00 | 13.344 | 113.353 | 14.176 | 107.946 | 15.515 | 111.7 | 16.303 | 109.7 | 13.828 | 889.767 | 16.283 | 52.5038