## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-10 00:00:00 | 13.398 | 111.033 | 15.037 | 106.168 | 15.972 | 110.233 | 16.539 | 106.2 | 13.433 | 889.267 | 16.293 | 52.8299
2020-04-10 00:15:00 | 11.134 | 112.183 | 12.222 | 106.648 | 13.162 | 111.1 | 13.982 | 106.367 | 13.389 | 889.733 | 16.528 | 53.0076
2020-04-10 00:30:00 | 13.036 | 110.127 | 14.475 | 106.226 | 15.489 | 110.967 | 16.377 | 107.4 | 13.037 | 889.767 | 16.251 | 52.8861
2020-04-10 00:45:00 | 11.814 | 108.367 | 13.69 | 107.454 | 14.81 | 110.9 | 15.585 | 107.267 | 12.453 | 889.767 | 15.395 | 53.1866
2020-04-10 01:00:00 | 11.878 | 111.763 | 13.067 | 107.145 | 13.922 | 112.333 | 14.397 | 108.9 | 12.964 | 889.333 | 15.248 | 53.9505
2020-04-10 01:15:00 | 11.159 | 110.633 | 12.539 | 107.078 | 13.273 | 111.4 | 14.054 | 107.5 | 12.741 | 889.2 | 15.576 | 57.4081
2020-04-10 01:30:00 | 11.631 | 111.617 | 12.945 | 106.917 | 13.899 | 113.233 | 14.599 | 108.567 | 12.447 | 889.8 | 16.045 | 61.4384
2020-04-10 01:45:00 | 10.708 | 108.157 | 12.212 | 104.883 | 13.226 | 111 | 13.618 | 105.7 | 11.828 | 889.4 | 16.443 | 70.0931
2020-04-10 02:00:00 | 10.879 | 110.78 | 12.226 | 107.121 | 13.216 | 111.333 | 13.948 | 107.367 | 11.966 | 889.433 | 15.971 | 75.7997
2020-04-10 02:15:00 | 9.645 | 110.16 | 10.622 | 105.148 | 11.279 | 111.9 | 11.994 | 109.4 | 11.961 | 889.4 | 15.469 | 73.1848
2020-04-10 02:30:00 | 7.441 | 117.92 | 8.259 | 112.874 | 9.407 | 118.133 | 10.481 | 116.6 | 11.736 | 889.5 | 15.728 | 57.0926
2020-04-10 02:45:00 | 6.263 | 132.66 | 6.981 | 128.639 | 6.814 | 135.933 | 6.625 | 128.733 | 11.44 | 889.4 | 15.867 | 36.4876
2020-04-10 03:00:00 | 6.345 | 104.833 | 6.263 | 102.598 | 6.474 | 105.1 | 6.996 | 101 | 11.195 | 889.167 | 16.141 | 36.6581
2020-04-10 03:15:00 | 5.273 | 110.53 | 5.599 | 105.28 | 5.668 | 109.9 | 6.226 | 106.533 | 10.845 | 889.3 | 16.333 | 11.789
2020-04-10 03:30:00 | 8.442 | 272.54 | 9.59 | 277.484 | 10.278 | 281.233 | 10.881 | 278.467 | 10.455 | 889.717 | 32.587 | 35.0835
2020-04-10 03:45:00 | 11.759 | 271.173 | 13.386 | 278.363 | 14.026 | 281.533 | 14.995 | 277.9 | 10.235 | 890.308 | 40.205 | 38.7984
2020-04-10 04:00:00 | 11.751 | 276.653 | 13.767 | 282.419 | 14.224 | 286.6 | 14.915 | 284 | 9.889 | 889.8 | 43.621 | 38.2825
2020-04-10 04:15:00 | 13.854 | 273.333 | 15.607 | 280.342 | 16.464 | 285.033 | 17.144 | 284.1 | 9.649 | 889.9 | 45.467 | 36.7093
2020-04-10 04:30:00 | 13.684 | 271.433 | 15.762 | 279.779 | 16.468 | 283 | 17.199 | 282.033 | 9.53 | 889.558 | 47.104 | 35.5191
2020-04-10 04:45:00 | 12.59 | 273.48 | 14.278 | 282.266 | 15.121 | 285.9 | 15.846 | 283.333 | 9.512 | 889.642 | 48.24 | 37.4717
2020-04-10 05:00:00 | 13.51 | 280.96 | 14.75 | 285.513 | 15.108 | 287.167 | 16.061 | 287.133 | 9.028 | 889.808 | 49.589 | 37.8967
2020-04-10 05:15:00 | 12.421 | 276.647 | 14.09 | 284.872 | 14.394 | 285.7 | 15.122 | 286.1 | 8.691 | 890.042 | 50.923 | 40.5712
2020-04-10 05:30:00 | 10.387 | 265.92 | 12.19 | 275.73 | 12.709 | 279.333 | 13.204 | 277.633 | 8.157 | 889.925 | 52.325 | 42.8557
2020-04-10 05:45:00 | 13.095 | 256.787 | 14.798 | 263.841 | 15.429 | 267.6 | 15.464 | 264.883 | 7.472 | 890.05 | 55.147 | 43.5044
2020-04-10 06:00:00 | 11.638 | 260.073 | 13.03 | 260.586 | 13.694 | 265.533 | 13.9 | 260.717 | 7.239 | 890.042 | 56.475 | 46.3545
2020-04-10 06:15:00 | 13.326 | 254.213 | 15.018 | 259.413 | 15.728 | 264.267 | 15.844 | 259.267 | 6.608 | 889.658 | 56.411 | 46.0987
2020-04-10 06:30:00 | 12.36 | 253.147 | 13.85 | 260.294 | 14.342 | 264 | 14.552 | 259.3 | 6.575 | 890.258 | 56.821 | 47.4765
2020-04-10 06:45:00 | 12.898 | 255.98 | 14.562 | 259.225 | 14.984 | 264.45 | 15.084 | 259.517 | 5.928 | 889.875 | 56.357 | 48.4621
2020-04-10 07:00:00 | 12.032 | 252.8 | 13.58 | 261.835 | 13.724 | 266.2 | 13.955 | 261.583 | 5.684 | 889.967 | 57.547 | 48.7456
2020-04-10 07:15:00 | 9.624 | 254.387 | 11.003 | 255.046 | 11.626 | 260.583 | 12.163 | 257.3 | 5.502 | 889.6 | 57.803 | 50.4097
2020-04-10 07:30:00 | 9.233 | 251.467 | 10.643 | 255.273 | 10.966 | 259.567 | 11.388 | 255.1 | 5.35 | 889.867 | 58.011 | 52.3524
2020-04-10 07:45:00 | 8.021 | 247.06 | 9.079 | 250.327 | 9.441 | 254.733 | 9.493 | 250.083 | 5.26 | 890.167 | 57.44 | 53.1419
2020-04-10 08:00:00 | 5.862 | 240.26 | 6.366 | 239.3 | 6.818 | 245.067 | 6.798 | 241.1 | 5.661 | 890.25 | 57.483 | 53.0751
2020-04-10 08:15:00 | 6.499 | 238.187 | 6.885 | 235.954 | 7.295 | 242.3 | 7.514 | 237.433 | 5.26 | 890.067 | 56.619 | 45.9992
2020-04-10 08:30:00 | 6.926 | 238.287 | 7.456 | 242.629 | 7.796 | 248.6 | 7.74 | 242.8 | 5.426 | 890.017 | 54.709 | 39.8784
2020-04-10 08:45:00 | 7.35 | 245.713 | 7.775 | 248.204 | 8.041 | 252.367 | 8.299 | 246.5 | 5.856 | 890.083 | 52.912 | 46.125
2020-04-10 09:00:00 | 8.423 | 247.2 | 9.297 | 250.163 | 9.463 | 253.567 | 9.501 | 248.533 | 6.302 | 889.875 | 49.76 | 45.2411
2020-04-10 09:15:00 | 8.332 | 244.06 | 9.048 | 246.478 | 9.369 | 251.883 | 9.307 | 246.333 | 6.161 | 889.683 | 49.184 | 52.4455
2020-04-10 09:30:00 | 7.889 | 242.227 | 8.214 | 247.734 | 8.454 | 251.6 | 8.499 | 248.117 | 6.135 | 889.883 | 48.277 | 39.2908
2020-04-10 09:45:00 | 6.822 | 246.207 | 7.475 | 250.017 | 7.388 | 256.1 | 7.371 | 250.95 | 6.334 | 890.05 | 47.216 | 36.791
2020-04-10 10:00:00 | 6.699 | 242.907 | 6.742 | 246.776 | 6.89 | 251.55 | 6.915 | 247.733 | 6.906 | 889.908 | 45.28 | 24.2651
2020-04-10 10:15:00 | 5.383 | 261.26 | 5.546 | 263.704 | 5.578 | 266.183 | 5.689 | 259.033 | 7.306 | 889.825 | 42.779 | 14.2973
2020-04-10 10:30:00 | 5.143 | 248.933 | 5.496 | 251.044 | 5.596 | 257.717 | 5.544 | 254.533 | 8.123 | 889.917 | 41.267 | 10.2734
2020-04-10 10:45:00 | 6.142 | 260.573 | 6.314 | 263.695 | 6.365 | 266.517 | 6.274 | 264.95 | 8.063 | 889.633 | 41.235 | 10.4162
2020-04-10 11:00:00 | 4.815 | 276.273 | 4.956 | 276.328 | 5.148 | 281.333 | 5.166 | 276.717 | 8.274 | 889.717 | 40.107 | 8.1417
2020-04-10 11:15:00 | 4.187 | 263.44 | 4.504 | 266.218 | 4.641 | 268.35 | 4.79 | 264.833 | 8.271 | 889.983 | 38.763 | 6.6033
2020-04-10 11:30:00 | 3.481 | 286.54 | 3.496 | 288.761 | 3.67 | 287.367 | 3.985 | 282.567 | 8.953 | 890.55 | 36.744 | 4.1661
2020-04-10 11:45:00 | 3.109 | 310.747 | 3.55 | 301.849 | 3.79 | 305.6 | 4.312 | 300.667 | 9.024 | 889.617 | 36.421 | 3.3141
2020-04-10 12:00:00 | 3.959 | 315.6 | 3.997 | 312.31 | 3.878 | 315.7 | 4.166 | 313.867 | 9.287 | 889.767 | 35.768 | 1.8581
2020-04-10 12:15:00 | 3.826 | 310.9 | 3.778 | 306.933 | 4.033 | 313.233 | 4.458 | 311 | 9.716 | 889.533 | 34.861 | 1.3458
2020-04-10 12:30:00 | 2.415 | 81.571 | 2.414 | 140.74 | 2.385 | 180.635 | 2.902 | 252.3 | 10.143 | 889.9 | 34.517 | 1.2684
2020-04-10 12:45:00 | 2.433 | 118.4 | 2.171 | 117.632 | 1.86 | 236.6 | 2.282 | 157.737 | 10.655 | 889.85 | 33.075 | 0.41355
2020-04-10 13:00:00 | 2.753 | 303.827 | 2.394 | 296.169 | 2.862 | 290.533 | 3.441 | 296.767 | 10.845 | 890 | 32.139 | 0.28565
2020-04-10 13:15:00 | 1.557 | 237.667 | 1.735 | 318.827 | 2.017 | 316.333 | 2.896 | 316.467 | 11.195 | 889.65 | 31.491 | 0.76528
2020-04-10 13:30:00 | 3.781 | 264.227 | 3.723 | 263.109 | 3.796 | 264.917 | 3.896 | 262.417 | 10.874 | 889.55 | 32.328 | 1.0488
2020-04-10 13:45:00 | 2.589 | 328 | 2.784 | 312.807 | 3.182 | 290.902 | 3.217 | 296.233 | 11.395 | 889.85 | 30.344 | 0.7802
2020-04-10 14:00:00 | 2.537 | 58.24 | 2.093 | 46.847 | 2.13 | 53.033 | 2.721 | 46.133 | 11.336 | 889.7 | 29.989 | 0.2558
2020-04-10 14:15:00 | 2.163 | 116.302 | 1.809 | 119.477 | 1.663 | 127.933 | 1.659 | 137.533 | 12.111 | 889.767 | 28.741 | 0.13856
2020-04-10 14:30:00 | 2.988 | 132.068 | 2.437 | 109.137 | 2.344 | 162.335 | 2.371 | 245.667 | 11.982 | 889.517 | 27.461 | 0.06324
2020-04-10 14:45:00 | 1.098 | 120.33 | 0.904 | 224.358 | 1.034 | 239.4 | 1.489 | 286.267 | 12.199 | 889.667 | 27.397 | 0.51658
2020-04-10 15:00:00 | 2.512 | 305.933 | 2.313 | 293.531 | 2.183 | 296.468 | 2.76 | 253.202 | 12.299 | 889.983 | 27.712 | 0.26931
2020-04-10 15:15:00 | 2.45 | 49.323 | 2.097 | 36.856 | 2.316 | 26.567 | 2.655 | 29.6 | 12.453 | 889.567 | 27.04 | 0.13998
2020-04-10 15:30:00 | 1.746 | 92.306 | 1.783 | 120.475 | 2.056 | 84.938 | 2.526 | 72.367 | 13.074 | 889.8 | 26.203 | 1.8851
2020-04-10 15:45:00 | 3.229 | 213.546 | 3.186 | 182.431 | 3.148 | 140.4 | 2.962 | 108.667 | 13.112 | 889.667 | 26.632 | 1.1518
2020-04-10 16:00:00 | 2.348 | 80.663 | 2.041 | 118.855 | 2.334 | 155.8 | 2.754 | 161.633 | 12.734 | 890.1 | 26.856 | 1.0801
2020-04-10 16:15:00 | 3.191 | 65.528 | 3.492 | 56.42 | 3.641 | 61.267 | 3.96 | 55.167 | 13.533 | 890.033 | 25.136 | 0.32189
2020-04-10 16:30:00 | 1.373 | 137.457 | 1.256 | 106.318 | 1.49 | 90.3 | 2.069 | 61.467 | 13.601 | 889.683 | 24.704 | 0.18901
2020-04-10 16:45:00 | 2.626 | 29.264 | 2.306 | 16.432 | 2.16 | 6.634 | 2.352 | 8.467 | 13.426 | 889.55 | 24.555 | 0.45974
2020-04-10 17:00:00 | 3.074 | 193.308 | 3.054 | 215.325 | 3.22 | 65.652 | 3.322 | 97.5 | 13.314 | 889.8 | 24.72 | 1.2804
2020-04-10 17:15:00 | 4.473 | 189.046 | 4.424 | 208.471 | 4.481 | 241.9 | 4.56 | 227.233 | 13.572 | 889.6 | 25.779 | 1.7139
2020-04-10 17:30:00 | 3.416 | 74.317 | 3.658 | 154.986 | 3.578 | 96.9 | 3.781 | 170.067 | 13.21 | 889.817 | 26.08 | 1.586
2020-04-10 17:45:00 | 3.375 | 109.631 | 3.572 | 114.152 | 3.625 | 109.5 | 3.971 | 107.5 | 13.141 | 889.6 | 25.533 | 1.3039
2020-04-10 18:00:00 | 3.485 | 290.504 | 3.514 | 279.186 | 3.573 | 221.8 | 3.797 | 166.233 | 13.268 | 889.583 | 24.869 | 3.3297
2020-04-10 18:15:00 | 3.824 | 57.496 | 3.758 | 17.887 | 3.987 | 20.133 | 3.973 | 16.7 | 12.941 | 889.55 | 26.112 | 2.9673
2020-04-10 18:30:00 | 4.447 | 111.167 | 4.586 | 152.441 | 4.624 | 131.433 | 4.491 | 96.767 | 13.218 | 889.517 | 26.211 | 4.4403
2020-04-10 18:45:00 | 3.547 | 74.874 | 3.941 | 95.11 | 3.984 | 62.533 | 4.084 | 97.267 | 13.195 | 889.483 | 25.573 | 4.6627
2020-04-10 19:00:00 | 4.514 | 81.965 | 4.524 | 8.795 | 4.919 | 15.438 | 4.843 | 20.833 | 13.339 | 889.9 | 25.653 | 8.5815
2020-04-10 19:15:00 | 4.673 | 103.401 | 4.617 | 234.83 | 4.744 | 129.8 | 4.804 | 105.8 | 13.168 | 890.117 | 27.368 | 8.3214
2020-04-10 19:30:00 | 4.635 | 187.674 | 5.084 | 247.561 | 5.019 | 35.733 | 4.845 | 56.7 | 12.649 | 889.733 | 27.816 | 5.0038
2020-04-10 19:45:00 | 3.682 | 95.541 | 3.898 | 248.114 | 3.928 | 47.433 | 4.15 | 47.2 | 12.776 | 890.25 | 28.123 | 3.8449
2020-04-10 20:00:00 | 3.498 | 75.251 | 3.472 | 99.837 | 3.738 | 6.7 | 3.769 | 27.1 | 12.54 | 889.583 | 28.301 | 2.2056
2020-04-10 20:15:00 | 4.009 | 248.587 | 4.227 | 351.335 | 4.008 | 253.467 | 4.243 | 118.967 | 11.878 | 889.85 | 28.851 | 2.9169
2020-04-10 20:30:00 | 3.38 | 82.832 | 3.671 | 200.744 | 3.718 | 106.067 | 3.984 | 82.467 | 11.774 | 890.033 | 28.859 | 2.4067
2020-04-10 20:45:00 | 2.789 | 261.773 | 2.768 | 203.357 | 3 | 0 | 3.422 | 0 | 11.845 | 890.017 | 29.035 | 2.3449
2020-04-10 21:00:00 | 3.059 | 335.707 | 3.855 | 337.182 | 3.913 | 338.7 | 4.098 | 338.433 | 11.232 | 889.567 | 30.971 | 3.5877
2020-04-10 21:15:00 | 3.398 | 329.707 | 3.914 | 328.177 | 4.05 | 329.667 | 4.31 | 332.833 | 11.116 | 889.367 | 31.984 | 4.2542
2020-04-10 21:30:00 | 2.632 | 321.133 | 3.373 | 321.176 | 3.675 | 328.467 | 4.021 | 327.933 | 11.045 | 889.583 | 32.491 | 3.0277
2020-04-10 21:45:00 | 2.663 | 317.013 | 2.995 | 321.006 | 3.238 | 326 | 3.703 | 325.167 | 10.822 | 889.5 | 33.136 | 2.4081
2020-04-10 22:00:00 | 2.472 | 308.467 | 2.816 | 315.181 | 2.96 | 321.667 | 3.31 | 325.167 | 10.684 | 889.667 | 33.147 | 1.3835
2020-04-10 22:15:00 | 2.553 | 295.373 | 2.87 | 313.724 | 2.982 | 320.233 | 3.345 | 323.933 | 10.239 | 889.8 | 33.539 | 1.0332
2020-04-10 22:30:00 | 2.163 | 279.133 | 2.364 | 302.44 | 2.362 | 312.667 | 2.928 | 313.933 | 9.776 | 889.883 | 34.195 | 0.24017
2020-04-10 22:45:00 | 2.574 | 270.467 | 2.481 | 297.44 | 2.461 | 308.8 | 3.067 | 311.633 | 9.633 | 890.017 | 35.179 | 0.12293
2020-04-10 23:00:00 | 2.137 | 252.913 | 1.928 | 291.046 | 2.039 | 304 | 2.538 | 309 | 8.945 | 889.817 | 36.725 | 0.30981
2020-04-10 23:15:00 | 2.931 | 239.02 | 1.676 | 272.375 | 1.596 | 298.333 | 2.33 | 306.067 | 8.937 | 890.117 | 37.952 | 0.20891
2020-04-10 23:30:00 | 3.307 | 230.093 | 1.964 | 254.639 | 1.14 | 298 | 1.699 | 306.033 | 8.637 | 889.817 | 37.544 | 0.17054
2020-04-10 23:45:00 | 3.623 | 229.007 | 1.385 | 255.521 | 0.263 | 297.867 | 1.386 | 306.033 | 8.454 | 889.6 | 37.573 | 0.17054