## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-11 00:00:00 | 4.484 | 225.493 | 2.465 | 250.837 | 1.292 | 297.933 | 1.809 | 306.033 | 7.309 | 889.717 | 37.589 | 0.17054
2020-04-11 00:15:00 | 4.276 | 225.453 | 2.231 | 248.32 | 1.274 | 280 | 1.599 | 307 | 6.303 | 890.217 | 38.704 | 0.17054
2020-04-11 00:30:00 | 4.02 | 228.54 | 1.911 | 245.554 | 1.026 | 280 | 1.584 | 307 | 6.86 | 889.717 | 39.851 | 0.1279
2020-04-11 00:45:00 | 4.588 | 231.153 | 3.174 | 255.949 | 2.469 | 280.2 | 2.818 | 299 | 5.657 | 889.542 | 40.296 | 0.12648
2020-04-11 01:00:00 | 4.638 | 232.38 | 2.922 | 263.942 | 2.54 | 285.4 | 2.885 | 298.133 | 5.836 | 889.742 | 40.912 | 0.20038
2020-04-11 01:15:00 | 4.618 | 231.813 | 3.707 | 260.386 | 3.058 | 281.133 | 3.105 | 298.067 | 5.339 | 889.642 | 41.936 | 0.42847
2020-04-11 01:30:00 | 4.707 | 232.58 | 4.326 | 257.518 | 3.679 | 269.867 | 3.544 | 274.733 | 5.438 | 890.192 | 42.677 | 0.82852
2020-04-11 01:45:00 | 4.483 | 232.053 | 3.842 | 252.898 | 3.334 | 272.267 | 3.309 | 276.533 | 5.11 | 889.933 | 42.997 | 0.94861
2020-04-11 02:00:00 | 4.08 | 233.1 | 3.795 | 250.465 | 3.211 | 268 | 2.93 | 276.833 | 4.619 | 890.033 | 44 | 0.28636
2020-04-11 02:15:00 | 4.322 | 222.967 | 3.643 | 245.938 | 2.952 | 257.533 | 2.646 | 269.233 | 4.885 | 889.708 | 44.469 | 0.1684
2020-04-11 02:30:00 | 4.612 | 221.053 | 4.364 | 240.676 | 3.568 | 250 | 3.07 | 253.467 | 4.431 | 890.142 | 44.928 | 1.3323
2020-04-11 02:45:00 | 4.412 | 220.633 | 4.422 | 236.202 | 3.871 | 245.067 | 3.39 | 242.9 | 3.907 | 889.758 | 45.547 | 1.0715
2020-04-11 03:00:00 | 4.983 | 229.66 | 4.274 | 245.324 | 3.936 | 252.467 | 3.742 | 253.6 | 3.835 | 889.933 | 46.645 | 2.9339
2020-04-11 03:15:00 | 5.123 | 224.667 | 4.878 | 238.896 | 4.793 | 248.367 | 4.4 | 247.767 | 3.588 | 890.033 | 47.264 | 3.5933
2020-04-11 03:30:00 | 5.049 | 223.1 | 4.791 | 237.778 | 4.399 | 247.1 | 4.099 | 244.7 | 3.471 | 889.692 | 47.371 | 2.5914
2020-04-11 03:45:00 | 4.502 | 222 | 4.192 | 240.879 | 3.771 | 250.067 | 3.584 | 249.133 | 3.472 | 890.067 | 47.648 | 1.6933
2020-04-11 04:00:00 | 4.865 | 220.333 | 4.96 | 239.257 | 4.409 | 249.933 | 3.726 | 250.4 | 3.188 | 889.758 | 48.16 | 1.6549
2020-04-11 04:15:00 | 5.237 | 225.32 | 4.709 | 240.62 | 4.283 | 249.933 | 4.038 | 249.133 | 3.082 | 890.092 | 48.832 | 3.0085
2020-04-11 04:30:00 | 5.496 | 222.3 | 4.882 | 238.206 | 4.47 | 247 | 4.052 | 244.7 | 2.766 | 889.892 | 49.323 | 2.0564
2020-04-11 04:45:00 | 5.341 | 218.893 | 4.784 | 232.168 | 4.098 | 242.967 | 3.609 | 240.967 | 2.923 | 889.967 | 49.6 | 1.7487
2020-04-11 05:00:00 | 3.962 | 205.813 | 4.713 | 219.908 | 4.085 | 231.267 | 3.559 | 227.333 | 2.685 | 890.2 | 50.421 | 0.45476
2020-04-11 05:15:00 | 4.557 | 207.107 | 4.295 | 216.551 | 2.758 | 221.3 | 2.425 | 222 | 2.464 | 889.567 | 51.989 | 0.29702
2020-04-11 05:30:00 | 3.748 | 210.287 | 4.093 | 214.548 | 2.712 | 220.933 | 1.632 | 221.067 | 2.613 | 889.6 | 51.669 | 0.2487
2020-04-11 05:45:00 | 5.306 | 215.333 | 3.842 | 214.509 | 2.179 | 221.433 | 0.887 | 221 | 2.32 | 890.033 | 52.608 | 0.20038
2020-04-11 06:00:00 | 5.624 | 218.767 | 3.078 | 216.066 | 1.828 | 220.9 | 0.534 | 220.933 | 2.598 | 889.792 | 51.989 | 0.20891
2020-04-11 06:15:00 | 5.517 | 218.353 | 2.426 | 214.592 | 1.269 | 221.2 | 0.83 | 221 | 3.15 | 889.767 | 51.723 | 0.2018
2020-04-11 06:30:00 | 5.424 | 219.32 | 2.353 | 219.452 | 1.043 | 221 | 0.181 | 221.133 | 2.966 | 890.15 | 51.979 | 0.20038
2020-04-11 06:45:00 | 5.648 | 223.007 | 3.455 | 216.139 | 1.43 | 221 | 0.608 | 221 | 2.389 | 890.267 | 52.651 | 0.19896
2020-04-11 07:00:00 | 5.424 | 218.987 | 4.062 | 216.101 | 2.331 | 221.667 | 1.313 | 221 | 2.052 | 890.05 | 52.693 | 0.2018
2020-04-11 07:15:00 | 5.602 | 218.847 | 3.256 | 213.256 | 1.409 | 213 | 0.83 | 221.067 | 2.348 | 889.708 | 52.597 | 0.19612
2020-04-11 07:30:00 | 4.739 | 212 | 3.04 | 199.608 | 1.724 | 195.2 | 1.204 | 221 | 2.065 | 890.117 | 52.469 | 0.20038
2020-04-11 07:45:00 | 4.192 | 209.64 | 2.436 | 190.5 | 1.304 | 190.633 | 1.188 | 221 | 2.709 | 889.933 | 51.733 | 0.20464
2020-04-11 08:00:00 | 3.573 | 212.513 | 1.976 | 190.491 | 0.066 | 189.967 | 0.111 | 221 | 3.779 | 889.675 | 48.491 | 0.20464
2020-04-11 08:15:00 | 3.008 | 198.2 | 1.763 | 178.511 | 0 | 184.7 | 1.283 | 170.6 | 5.201 | 889.942 | 45.771 | 0.19612
2020-04-11 08:30:00 | 2.913 | 189.713 | 2.358 | 141.485 | 1.792 | 135.067 | 2.083 | 131.567 | 5.704 | 889.467 | 44.331 | 0.25296
2020-04-11 08:45:00 | 2.682 | 194.173 | 2.61 | 143.603 | 2.155 | 128.133 | 2.37 | 124.167 | 6.032 | 890.2 | 42.933 | 0.21957
2020-04-11 09:00:00 | 2.043 | 170.733 | 2.092 | 153.878 | 2.742 | 143.3 | 2.988 | 120.767 | 7.239 | 889.75 | 38.608 | 0.095216
2020-04-11 09:15:00 | 2.288 | 104.673 | 2.096 | 104.251 | 2.34 | 110.567 | 2.768 | 106.433 | 8.19 | 889.617 | 36.224 | 0.90029
2020-04-11 09:30:00 | 3.06 | 93.08 | 3.026 | 88.97 | 3.083 | 94 | 3.377 | 86.7 | 8.77 | 889.667 | 35.856 | 2.0493
2020-04-11 09:45:00 | 3.054 | 85.973 | 2.714 | 84.16 | 2.69 | 92.567 | 2.963 | 90.7 | 8.945 | 889.517 | 36.56 | 2.4522
2020-04-11 10:00:00 | 2.845 | 100.787 | 2.682 | 94.838 | 2.782 | 99.833 | 3.125 | 96.733 | 8.733 | 890.15 | 36.032 | 3.6694
2020-04-11 10:15:00 | 3.676 | 94.787 | 3.729 | 92.133 | 3.9 | 97.967 | 4.013 | 96.633 | 9.378 | 889.55 | 34.747 | 5.0912
2020-04-11 10:30:00 | 3.933 | 110.093 | 3.863 | 104.132 | 3.829 | 110.1 | 4.045 | 100.133 | 9.016 | 889.683 | 34.581 | 5.3086
2020-04-11 10:45:00 | 3.954 | 93.16 | 3.842 | 90.079 | 3.561 | 95.133 | 3.489 | 88.767 | 9.433 | 889.95 | 33.845 | 6.1023
2020-04-11 11:00:00 | 4.404 | 93 | 4.624 | 85.593 | 4.373 | 90.233 | 4.362 | 84.433 | 9.935 | 889.783 | 33.12 | 6.0533
2020-04-11 11:15:00 | 3.486 | 92.705 | 3.263 | 86.569 | 3.553 | 91.2 | 3.859 | 88.367 | 10.409 | 889.267 | 31.232 | 7.9853
2020-04-11 11:30:00 | 4.587 | 88.99 | 4.789 | 87.246 | 5.098 | 89.1 | 5.058 | 82.767 | 11.045 | 889.55 | 29.685 | 10.1917
2020-04-11 11:45:00 | 4.959 | 78.73 | 5.063 | 74.746 | 5.338 | 79.633 | 5.639 | 76.933 | 11.266 | 890.017 | 28.075 | 12.0384
2020-04-11 12:00:00 | 4.115 | 87.34 | 3.878 | 87.682 | 4.252 | 92.567 | 4.619 | 90.9 | 11.695 | 889.717 | 25.664 | 14.8061
2020-04-11 12:15:00 | 5.907 | 108.493 | 5.584 | 98.641 | 5.758 | 104.033 | 5.773 | 97.233 | 12.286 | 889.8 | 23.376 | 19.4773
2020-04-11 12:30:00 | 6.098 | 110.673 | 6.479 | 104.005 | 6.555 | 103.7 | 6.84 | 98.067 | 12.922 | 889.783 | 20.981 | 27.1415
2020-04-11 12:45:00 | 5.621 | 95.74 | 6.03 | 92.6 | 6.346 | 95.233 | 6.513 | 88.867 | 13.326 | 889.1 | 19.381 | 35.0096
2020-04-11 13:00:00 | 7.04 | 86.173 | 6.85 | 78.274 | 7.181 | 82.4 | 7.333 | 79.333 | 13.253 | 889.433 | 16.643 | 32.1993
2020-04-11 13:15:00 | 6.466 | 107.753 | 6.826 | 104.074 | 6.732 | 108.433 | 6.972 | 101.2 | 14.024 | 889.467 | 13.997 | 32.4615
2020-04-11 13:30:00 | 6.638 | 81.407 | 6.523 | 79.575 | 6.509 | 84 | 6.567 | 80.067 | 14.483 | 889.2 | 10.629 | 30.1188
2020-04-11 13:45:00 | 4.946 | 88.963 | 4.84 | 84.282 | 4.929 | 84.467 | 5.552 | 82.467 | 15.141 | 888.8 | 9.688 | 29.0494
2020-04-11 14:00:00 | 7.152 | 69.65 | 7.375 | 66.044 | 7.406 | 71.2 | 7.543 | 70.933 | 15.466 | 889.133 | 9.14 | 31.8689
2020-04-11 14:15:00 | 8.164 | 72.43 | 8.412 | 65.725 | 9.109 | 69.6 | 9.248 | 67.933 | 15.084 | 889.267 | 9.141 | 38.5106
2020-04-11 14:30:00 | 8.485 | 70.56 | 8.473 | 65.157 | 8.614 | 73.033 | 8.995 | 67.767 | 15.585 | 889.2 | 8.631 | 34.8632
2020-04-11 14:45:00 | 7.471 | 70.84 | 7.426 | 67.838 | 7.796 | 74.267 | 7.816 | 71.167 | 15.079 | 889.667 | 8.151 | 27.8009
2020-04-11 15:00:00 | 7.243 | 73.207 | 7.461 | 70.581 | 7.843 | 78.833 | 8.275 | 73.6 | 15.858 | 889.133 | 8.832 | 37.0596
2020-04-11 15:15:00 | 7.737 | 82.693 | 7.741 | 78.524 | 8.538 | 83.033 | 8.887 | 78.667 | 15.939 | 888.867 | 9.379 | 46.437
2020-04-11 15:30:00 | 7.906 | 80.22 | 8.298 | 75.289 | 8.399 | 82.2 | 8.654 | 76.6 | 15.866 | 889.3 | 9.707 | 52.6544
2020-04-11 15:45:00 | 7.597 | 83.16 | 7.57 | 77.248 | 7.534 | 80.933 | 7.799 | 76.867 | 16.022 | 888.733 | 9.089 | 51.6632
2020-04-11 16:00:00 | 8.227 | 82.827 | 8.26 | 80.068 | 8.242 | 87.467 | 8.135 | 80.133 | 16.314 | 889.133 | 8.517 | 50.4637
2020-04-11 16:15:00 | 8.458 | 81.737 | 8.475 | 75.837 | 8.263 | 82.9 | 8.423 | 77.467 | 15.88 | 888.667 | 8.035 | 43.9365
2020-04-11 16:30:00 | 7.391 | 87.527 | 7.074 | 85.824 | 6.834 | 87.333 | 6.721 | 84.333 | 16.498 | 888.867 | 7.489 | 39.5295
2020-04-11 16:45:00 | 6.514 | 81.353 | 6.226 | 75.893 | 6.416 | 78.833 | 6.6 | 78 | 16.564 | 888.933 | 7.205 | 44.8439
2020-04-11 17:00:00 | 7.97 | 97.433 | 7.223 | 92.864 | 6.615 | 98.5 | 6.85 | 92.133 | 16.331 | 888.8 | 6.811 | 56.0907
2020-04-11 17:15:00 | 7.396 | 91.947 | 7 | 87.36 | 6.802 | 88.4 | 7.157 | 83.433 | 16.364 | 888.6 | 6.389 | 48.8131
2020-04-11 17:30:00 | 6.853 | 89.54 | 6.585 | 85.724 | 6.576 | 90.167 | 6.389 | 88.633 | 16.179 | 889.267 | 6.291 | 36.6347
2020-04-11 17:45:00 | 6.921 | 89.913 | 6.724 | 87.044 | 6.357 | 90.7 | 6.596 | 83.067 | 16.06 | 889.2 | 6.237 | 40.0966
2020-04-11 18:00:00 | 6.824 | 91.493 | 6.711 | 81.304 | 6.704 | 85.867 | 6.746 | 81.367 | 16.082 | 889.067 | 6.191 | 37.2415
2020-04-11 18:15:00 | 6.198 | 84.847 | 6.162 | 83.585 | 6.143 | 92.033 | 6.08 | 85.433 | 16.082 | 889 | 6.164 | 29.3258
2020-04-11 18:30:00 | 6.258 | 84.333 | 6.527 | 80.305 | 6.525 | 86.333 | 6.235 | 84.333 | 16.296 | 888.8 | 6.141 | 28.9428
2020-04-11 18:45:00 | 5.731 | 97.073 | 5.416 | 94.195 | 4.923 | 97.933 | 4.753 | 94.2 | 16.264 | 889.2 | 5.857 | 27.8549
2020-04-11 19:00:00 | 6.592 | 83.867 | 6.637 | 81.686 | 6.668 | 88.633 | 6.219 | 85.833 | 16.364 | 888.8 | 5.868 | 28.4298
2020-04-11 19:15:00 | 6.254 | 88.773 | 6.35 | 85.001 | 6.516 | 86.767 | 6.698 | 81.9 | 16.714 | 888.667 | 5.92 | 31.8334
2020-04-11 19:30:00 | 5.464 | 90.813 | 5.913 | 86.034 | 5.504 | 92.167 | 5.784 | 86.467 | 16.214 | 888.733 | 5.907 | 25.9002
2020-04-11 19:45:00 | 5.128 | 87.78 | 5.211 | 85.427 | 4.798 | 93.667 | 4.849 | 86.167 | 16.212 | 888.8 | 5.995 | 25.908
2020-04-11 20:00:00 | 5.005 | 90.12 | 5.254 | 85.72 | 4.467 | 92.733 | 4.559 | 87.4 | 15.854 | 889.067 | 6.003 | 28.8256
2020-04-11 20:15:00 | 5.525 | 90.213 | 5.506 | 85.863 | 5.3 | 91.567 | 5.377 | 87.6 | 15.585 | 889.067 | 6.049 | 23.0934
2020-04-11 20:30:00 | 4.933 | 79.427 | 5.715 | 74.804 | 6.212 | 80.6 | 6.454 | 75 | 14.796 | 888.8 | 6.232 | 21.5181
2020-04-11 20:45:00 | 4.5 | 77.627 | 5.347 | 72.268 | 5.901 | 79.7 | 6.432 | 76.6 | 14.541 | 888.8 | 6.483 | 20.1232
2020-04-11 21:00:00 | 4.113 | 77.867 | 4.928 | 73.699 | 5.43 | 78.5 | 5.925 | 77.333 | 14.028 | 889 | 6.503 | 13.52
2020-04-11 21:15:00 | 3.467 | 77.13 | 4.052 | 73.111 | 4.487 | 79.333 | 5.013 | 74.733 | 13.585 | 889.333 | 6.661 | 10.446
2020-04-11 21:30:00 | 3.567 | 71.453 | 3.922 | 69.901 | 4.357 | 78.533 | 4.932 | 74.633 | 13.445 | 889 | 6.828 | 9.4662
2020-04-11 21:45:00 | 2.54 | 65.398 | 3.307 | 63.621 | 4.045 | 74.2 | 4.542 | 71.667 | 12.659 | 889.267 | 6.988 | 6.5365
2020-04-11 22:00:00 | 1.684 | 42.512 | 2.875 | 64.124 | 3.523 | 72.2 | 4.1 | 70.267 | 12.426 | 888.933 | 7.232 | 3.6083
2020-04-11 22:15:00 | 0 | 59.127 | 0.39 | 74.727 | 3.163 | 81.9 | 3.982 | 78.633 | 11.657 | 888.867 | 7.448 | 2.3633
2020-04-11 22:30:00 | 0 | 10.138 | 0.137 | 86.755 | 2.319 | 82.933 | 3.455 | 79.967 | 11.178 | 888.467 | 7.787 | 2.055
2020-04-11 22:45:00 | 0 | 225.413 | 0 | 92.931 | 1.121 | 88.592 | 2.216 | 79.067 | 10.568 | 889 | 8.035 | 1.3387
2020-04-11 23:00:00 | 0.479 | 230 | 0 | 65.269 | 0.352 | 78.9 | 2.516 | 76.3 | 10.945 | 889.133 | 8.135 | 0.29915
2020-04-11 23:15:00 | 1.642 | 269.2 | 0 | 65.256 | 0.246 | 72.742 | 1.963 | 78.6 | 11.245 | 888.867 | 7.723 | 0.20677
2020-04-11 23:30:00 | 4.047 | 262.52 | 1.886 | 327.236 | 0.083 | 164.905 | 1.243 | 65.504 | 10.426 | 889.4 | 7.756 | 0.19043
2020-04-11 23:45:00 | 3.923 | 269.053 | 2.383 | 326.213 | 1.1 | 293.668 | 1.79 | 25.198 | 8.824 | 889.133 | 8.187 | 0.19185