## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-12 00:00:00 | 3.518 | 284.5 | 2.58 | 330.899 | 2.019 | 81.833 | 2.226 | 6.002 | 9.716 | 889.067 | 8.133 | 0.17906
2020-04-12 00:15:00 | 2.858 | 270.293 | 2.036 | 346.795 | 1.777 | 10.711 | 2.213 | 24.1 | 10.008 | 888.533 | 7.844 | 0.17054
2020-04-12 00:30:00 | 3.956 | 259.267 | 2.136 | 321.921 | 1.393 | 1.87 | 1.969 | 15.533 | 9.37 | 888.867 | 8.074 | 0.18048
2020-04-12 00:45:00 | 4.309 | 256.887 | 2.746 | 312.832 | 2.14 | 211.2 | 2.404 | 6.002 | 8.173 | 889 | 8.681 | 0.16485
2020-04-12 01:00:00 | 5.01 | 245.6 | 3.55 | 292.404 | 3.351 | 326.9 | 4.091 | 349.8 | 6.237 | 888.867 | 9.613 | 0.77167
2020-04-12 01:15:00 | 4.996 | 252.88 | 3.878 | 287.989 | 3.88 | 326.4 | 4.039 | 346.567 | 6.138 | 888.667 | 10.056 | 0.6523
2020-04-12 01:30:00 | 5.274 | 246.867 | 3.907 | 284.741 | 3.394 | 321 | 3.518 | 342.9 | 6.144 | 889 | 9.949 | 0.48176
2020-04-12 01:45:00 | 5.498 | 259.267 | 4.269 | 289.067 | 3.569 | 316.7 | 3.501 | 338.467 | 6.235 | 888.733 | 9.937 | 0.3567
2020-04-12 02:00:00 | 5.624 | 240.86 | 4.837 | 279.476 | 4.023 | 302.933 | 3.677 | 315.233 | 5.661 | 888.7 | 10.039 | 1.5668
2020-04-12 02:15:00 | 5.74 | 241.027 | 4.591 | 278.013 | 3.994 | 303 | 3.78 | 315.533 | 4.732 | 889.633 | 10.765 | 1.2605
2020-04-12 02:30:00 | 6.262 | 229.687 | 3.988 | 268.312 | 3.105 | 299 | 2.907 | 318.7 | 5.623 | 889.433 | 10.495 | 0.22951
2020-04-12 02:45:00 | 6.43 | 224.033 | 5.744 | 252.951 | 4.485 | 270.467 | 3.876 | 291.467 | 4.322 | 889.233 | 11.016 | 6.3418
2020-04-12 03:00:00 | 5.82 | 237.32 | 5.348 | 265.649 | 4.862 | 288.267 | 5.202 | 300.533 | 4.132 | 889.4 | 11.411 | 6.9188
2020-04-12 03:15:00 | 5.601 | 250.2 | 4.971 | 282.06 | 4.927 | 305.333 | 5.445 | 316.533 | 4.785 | 889.267 | 11.171 | 6.6452
2020-04-12 03:30:00 | 5.291 | 250.687 | 4.756 | 285.665 | 4.816 | 311.133 | 5.471 | 315.933 | 5.409 | 889.333 | 10.604 | 6.2025
2020-04-12 03:45:00 | 6.043 | 242.793 | 5.158 | 269.448 | 4.746 | 293.067 | 5.27 | 306.4 | 5.113 | 889.7 | 10.693 | 5.8323
2020-04-12 04:00:00 | 5.624 | 230.813 | 4.376 | 264.877 | 4.043 | 290.6 | 4.664 | 308.067 | 3.779 | 889.5 | 11.524 | 3.5813
2020-04-12 04:15:00 | 5.632 | 223.46 | 4.206 | 254.352 | 3.46 | 280.4 | 3.87 | 305.2 | 2.757 | 889.433 | 11.932 | 2.0187
2020-04-12 04:30:00 | 5.847 | 222.2 | 3.586 | 253.572 | 2.957 | 282.6 | 3.47 | 302.367 | 3.271 | 889.333 | 11.964 | 1.3217
2020-04-12 04:45:00 | 5.874 | 223.44 | 3.575 | 256.13 | 3.137 | 279.667 | 3.599 | 293.367 | 2.81 | 890.167 | 12.017 | 2.4586
2020-04-12 05:00:00 | 5.703 | 227.553 | 3.873 | 258.358 | 3.326 | 279.067 | 3.681 | 292.567 | 2.797 | 889.1 | 12.504 | 2.7819
2020-04-12 05:15:00 | 6.104 | 224.853 | 3.837 | 246.866 | 3.44 | 260.367 | 3.408 | 271.367 | 3.284 | 889.333 | 12.349 | 0.73828
2020-04-12 05:30:00 | 5.657 | 229.433 | 3.401 | 249.03 | 2.817 | 262.833 | 2.794 | 268.317 | 3.188 | 889.567 | 12.204 | 0.29204
2020-04-12 05:45:00 | 5.616 | 230.767 | 3.386 | 246.515 | 2.603 | 255.933 | 2.525 | 264.9 | 3.689 | 889.6 | 12.373 | 0.27499
2020-04-12 06:00:00 | 5.937 | 229.02 | 3.414 | 243.654 | 2.779 | 254.833 | 2.461 | 260.267 | 2.578 | 889.433 | 12.765 | 0.22596
2020-04-12 06:15:00 | 6.301 | 228.127 | 4.23 | 239.089 | 3.62 | 249.3 | 3.012 | 251.067 | 2.875 | 889.467 | 13.179 | 0.60043
2020-04-12 06:30:00 | 5.884 | 224.607 | 3.611 | 243.775 | 2.932 | 254.1 | 2.764 | 253.883 | 2.13 | 889.867 | 13.723 | 0.7333
2020-04-12 06:45:00 | 5.878 | 225.08 | 4.381 | 244.146 | 3.763 | 254.167 | 3.361 | 253.25 | 1.999 | 889.4 | 14.101 | 0.41071
2020-04-12 07:00:00 | 5.289 | 227.28 | 3.022 | 252.073 | 2.469 | 264.067 | 2.687 | 263.633 | 2.007 | 889.767 | 14.603 | 0.089532
2020-04-12 07:15:00 | 5.51 | 226.867 | 3.037 | 249.837 | 2.577 | 262.6 | 2.688 | 268.233 | 2.069 | 889.4 | 14.752 | 0.095216
2020-04-12 07:30:00 | 5.336 | 220.32 | 3.795 | 238.185 | 3.107 | 250.733 | 2.98 | 251.033 | 2.131 | 889.967 | 14.845 | 0.13003
2020-04-12 07:45:00 | 5.521 | 220.28 | 3.183 | 246.122 | 2.329 | 257.367 | 2.224 | 251.283 | 2.99 | 889.633 | 14.341 | 0.19612
2020-04-12 08:00:00 | 5.701 | 222.733 | 3.332 | 243.338 | 2.194 | 262 | 2.256 | 258.067 | 3.572 | 889.467 | 13.965 | 0.22099
2020-04-12 08:15:00 | 4.576 | 224.947 | 2.482 | 232.177 | 1.106 | 242.3 | 0.988 | 258 | 4.51 | 889.133 | 13.421 | 0.1947
2020-04-12 08:30:00 | 1.427 | 248.86 | 0 | 254.471 | 0 | 231.033 | 0 | 251 | 7.88 | 889.167 | 12.704 | 0.19185
2020-04-12 08:45:00 | 4.008 | 221.667 | 1.356 | 228.407 | 0 | 230.867 | 0 | 251.033 | 7.189 | 889.633 | 11.685 | 0.19185
2020-04-12 09:00:00 | 2.025 | 219.087 | 0 | 237.396 | 0 | 231 | 0.192 | 251.033 | 8.514 | 889.433 | 11.304 | 0.19185
2020-04-12 09:15:00 | 0.413 | 202.427 | 0 | 224.518 | 0 | 231.067 | 1.236 | 251.567 | 11.682 | 889.467 | 10.312 | 0.19185
2020-04-12 09:30:00 | 1.474 | 64.108 | 0.696 | 93.829 | 0.21 | 62.5 | 1.364 | 55 | 12.066 | 889.2 | 10.124 | 0.18759
2020-04-12 09:45:00 | 1.734 | 79.395 | 1.263 | 76.825 | 0.894 | 83.267 | 1.804 | 78.233 | 11.111 | 888.933 | 9.753 | 0.18617
2020-04-12 10:00:00 | 0.472 | 89.18 | 0.096 | 96.046 | 0.027 | 90 | 1.283 | 78.6 | 12.02 | 888.733 | 9.581 | 0.18333
2020-04-12 10:15:00 | 0.852 | 205.566 | 0.294 | 38.131 | 0.09 | 32 | 0.984 | 34.2 | 12.353 | 889.133 | 9.133 | 0.22099
2020-04-12 10:30:00 | 2.55 | 81.755 | 2.181 | 72.545 | 2.276 | 70.967 | 3 | 61 | 12.691 | 889.133 | 8.884 | 1.0573
2020-04-12 10:45:00 | 2.219 | 82.868 | 2.24 | 76.207 | 2.635 | 86.2 | 3.183 | 77.7 | 12.872 | 888.933 | 9.001 | 3.3056
2020-04-12 11:00:00 | 3.409 | 77.412 | 3.464 | 69.333 | 3.68 | 72.7 | 3.934 | 72.467 | 13.337 | 888.733 | 9.111 | 3.69
2020-04-12 11:15:00 | 3.845 | 74.187 | 4.063 | 69.948 | 3.917 | 77.4 | 4.292 | 71.9 | 13.403 | 888.8 | 9.009 | 5.4934
2020-04-12 11:30:00 | 4.097 | 103.413 | 4.122 | 94.782 | 4.211 | 97 | 4.472 | 91.8 | 13.808 | 889.067 | 8.503 | 7.6187
2020-04-12 11:45:00 | 4.185 | 92.9 | 4.433 | 85.984 | 4.615 | 86.033 | 4.519 | 82.833 | 14.608 | 889.067 | 8.744 | 14.3321
2020-04-12 12:00:00 | 4.852 | 86.737 | 4.887 | 78.949 | 5.082 | 80.6 | 5.353 | 74.533 | 14.804 | 888.933 | 8.775 | 17.1865
2020-04-12 12:15:00 | 5.461 | 74.02 | 5.38 | 70.213 | 5.649 | 73.7 | 5.54 | 71.933 | 14.724 | 889.067 | 8.711 | 16.0915
2020-04-12 12:30:00 | 5.721 | 79.123 | 5.894 | 78.906 | 6.012 | 82.833 | 5.911 | 80.867 | 14.824 | 889.333 | 8.557 | 16.942
2020-04-12 12:45:00 | 6.256 | 76.78 | 6.5 | 72.39 | 6.566 | 76.233 | 6.784 | 73.267 | 15.307 | 888.867 | 8.445 | 13.0247
2020-04-12 13:00:00 | 4.053 | 67.45 | 3.964 | 63.801 | 4.045 | 74.3 | 4.008 | 73.133 | 15.744 | 888.8 | 7.727 | 10.78
2020-04-12 13:15:00 | 5.791 | 71.913 | 5.923 | 67.496 | 6.259 | 71.733 | 6.554 | 71.567 | 15.559 | 889.067 | 8.236 | 11.2611
2020-04-12 13:30:00 | 3.555 | 81.383 | 3.542 | 67.352 | 4.001 | 69.367 | 4.258 | 62.333 | 15.336 | 888.933 | 8.187 | 5.6838
2020-04-12 13:45:00 | 5.222 | 75.067 | 5.429 | 68.198 | 5.621 | 73.067 | 5.876 | 70.133 | 16.058 | 889.2 | 7.633 | 9.1151
2020-04-12 14:00:00 | 4.139 | 91.54 | 4.125 | 86.83 | 4.209 | 91.467 | 4.56 | 83.8 | 16.226 | 889.133 | 7.585 | 8.3882
2020-04-12 14:15:00 | 4.105 | 70.64 | 4.374 | 71.867 | 4.462 | 78.6 | 4.406 | 75.9 | 16.748 | 889.067 | 7.216 | 12.857
2020-04-12 14:30:00 | 5.225 | 63.24 | 5.667 | 58.66 | 5.895 | 63.5 | 5.869 | 58.267 | 16.831 | 888.667 | 6.987 | 13.4802
2020-04-12 14:45:00 | 5.741 | 68.207 | 5.877 | 63.937 | 5.902 | 69.933 | 6.051 | 65.767 | 16.698 | 889 | 7.257 | 14.8302
2020-04-12 15:00:00 | 5.943 | 80.86 | 6.132 | 75.664 | 6.303 | 79.167 | 6.609 | 72.933 | 16.881 | 889 | 7.059 | 14.136
2020-04-12 15:15:00 | 4.776 | 75.133 | 4.852 | 71.86 | 5.502 | 71.967 | 5.694 | 70.9 | 17.535 | 888.933 | 6.844 | 10.9648
2020-04-12 15:30:00 | 4.847 | 69.228 | 5.184 | 63.899 | 5.3 | 68.233 | 5.316 | 69.5 | 17.544 | 888.867 | 6.431 | 10.9576
2020-04-12 15:45:00 | 5.033 | 113.647 | 5.166 | 105.78 | 5.748 | 112.767 | 5.838 | 104.7 | 17.589 | 889.067 | 6.472 | 10.8397
2020-04-12 16:00:00 | 4.612 | 71.268 | 4.758 | 71.082 | 5.152 | 75.867 | 5.308 | 71.833 | 18.302 | 888.867 | 6.512 | 8.082
2020-04-12 16:15:00 | 2.854 | 79.836 | 2.812 | 85.21 | 3.248 | 92.867 | 3.423 | 94.6 | 18.281 | 889.133 | 6.271 | 6.0583
2020-04-12 16:30:00 | 4.166 | 60.712 | 4.093 | 56.348 | 4.21 | 63.267 | 4.56 | 61.167 | 18.423 | 888.733 | 6.179 | 4.4808
2020-04-12 16:45:00 | 3.664 | 54.754 | 3.546 | 50.978 | 3.79 | 62.467 | 3.994 | 63.567 | 18.673 | 888.867 | 6.377 | 4.5355
2020-04-12 17:00:00 | 2.963 | 87.432 | 2.964 | 87.95 | 2.9 | 96.233 | 3.408 | 83.833 | 18.852 | 889.067 | 6.533 | 4.321
2020-04-12 17:15:00 | 4.097 | 70.77 | 4.068 | 68.606 | 4.221 | 70.833 | 4.192 | 66.767 | 18.489 | 889 | 6.435 | 4.0318
2020-04-12 17:30:00 | 3.368 | 86.733 | 3.349 | 78.156 | 3.561 | 75.6 | 3.928 | 72.433 | 18.589 | 889.333 | 6.195 | 2.4735
2020-04-12 17:45:00 | 3.653 | 93.26 | 3.634 | 89.507 | 3.812 | 92.567 | 3.912 | 87.233 | 18.906 | 888.933 | 5.983 | 2.9211
2020-04-12 18:00:00 | 3.482 | 71.602 | 3.484 | 67.294 | 3.768 | 74.033 | 4.032 | 71.733 | 18.902 | 889.133 | 5.945 | 1.3586
2020-04-12 18:15:00 | 3.838 | 73.837 | 3.782 | 70.811 | 4.122 | 71.833 | 4.41 | 67.133 | 18.589 | 888.733 | 6.215 | 0.52369
2020-04-12 18:30:00 | 2.907 | 51.918 | 2.654 | 56.042 | 2.871 | 68.633 | 3.198 | 62.9 | 18.81 | 889 | 6.373 | 0.13501
2020-04-12 18:45:00 | 2.583 | 55 | 2.464 | 49.83 | 2.807 | 54.2 | 3.048 | 55.3 | 18.639 | 888.8 | 6.236 | 0.28494
2020-04-12 19:00:00 | 3.168 | 87.4 | 2.824 | 85.328 | 2.864 | 90.8 | 3.467 | 82.967 | 18.539 | 888.533 | 6.436 | 0.093795
2020-04-12 19:15:00 | 2.398 | 75.818 | 2.103 | 68.986 | 2.167 | 70.633 | 2.488 | 67.5 | 18.323 | 888.8 | 6.451 | 0.11937
2020-04-12 19:30:00 | 2.086 | 48.562 | 1.878 | 41.442 | 1.82 | 48.167 | 2.424 | 46.8 | 18.26 | 889.333 | 6.576 | 0.21743
2020-04-12 19:45:00 | 2.889 | 69.682 | 2.957 | 62.973 | 3.202 | 68.767 | 3.432 | 68 | 18.206 | 888.667 | 6.831 | 0.15775
2020-04-12 20:00:00 | 2.825 | 87.627 | 2.691 | 81.053 | 2.667 | 84.8 | 3 | 83.467 | 18.156 | 889.267 | 6.899 | 0.11867
2020-04-12 20:15:00 | 1.739 | 76.917 | 1.894 | 71.221 | 2.04 | 77.167 | 2.496 | 73.9 | 17.844 | 889.2 | 7.123 | 0.21175
2020-04-12 20:30:00 | 1.005 | 97.347 | 0.667 | 90.319 | 0.681 | 96.133 | 1.602 | 88.5 | 17.264 | 889.133 | 7.492 | 0.16343
2020-04-12 20:45:00 | 1.557 | 73.873 | 1.668 | 62.004 | 1.636 | 71.433 | 2.12 | 75.433 | 16.698 | 889.533 | 7.6 | 0.15206
2020-04-12 21:00:00 | 0.406 | 72.053 | 0.603 | 59.103 | 0.539 | 65.667 | 1.74 | 68 | 16.355 | 888.8 | 7.82 | 0.1549
2020-04-12 21:15:00 | 0 | 72.02 | 0 | 59.142 | 0 | 65.8 | 1.582 | 65 | 16.234 | 888.8 | 8.097 | 0.16485
2020-04-12 21:30:00 | 0 | 72.12 | 0 | 56.106 | 0.03 | 58.2 | 1.469 | 64.9 | 15.697 | 889 | 8.288 | 0.16627
2020-04-12 21:45:00 | 0 | 72.1 | 0.274 | 54.319 | 0.053 | 58.033 | 1.471 | 65.967 | 15.644 | 889.067 | 8.429 | 0.16627
2020-04-12 22:00:00 | 1.417 | 212.313 | 0 | 56.083 | 0 | 71 | 0.88 | 65.933 | 14.787 | 889.333 | 8.641 | 0.16769
2020-04-12 22:15:00 | 1.814 | 213.467 | 0 | 56.133 | 0 | 70.933 | 0.893 | 66.067 | 14.608 | 889.333 | 8.457 | 0.16485
2020-04-12 22:30:00 | 2.411 | 221.9 | 0 | 56.133 | 0 | 71.033 | 0 | 66.067 | 14.674 | 889 | 8.411 | 0.17054
2020-04-12 22:45:00 | 3.945 | 232.187 | 0.06 | 55.516 | 0 | 70.933 | 0 | 66 | 13.547 | 889.133 | 8.295 | 0.16769
2020-04-12 23:00:00 | 4.737 | 230.313 | 1.041 | 305.078 | 0 | 46.133 | 0 | 66 | 11.818 | 889.333 | 8.712 | 0.17054
2020-04-12 23:15:00 | 4.972 | 219.447 | 2.147 | 228.995 | 0 | 308.067 | 0 | 66.242 | 11.009 | 889 | 9.591 | 0.17054
2020-04-12 23:30:00 | 5.664 | 219.48 | 3.069 | 219.364 | 1.883 | 223.167 | 1.394 | 180.167 | 8.691 | 889.367 | 10.337 | 0.17764
2020-04-12 23:45:00 | 6.201 | 219.387 | 3.397 | 222.196 | 2.295 | 230.9 | 1.688 | 199.067 | 9.004 | 889.133 | 10.712 | 0.17196