## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-13 00:00:00 | 6.216 | 218.433 | 4.019 | 218.295 | 3.317 | 221.867 | 2.558 | 214 | 8.8 | 889.633 | 10.776 | 0.17551
2020-04-13 00:15:00 | 6.637 | 217.027 | 3.97 | 212.57 | 3.28 | 212 | 2.651 | 206 | 8.193 | 889.567 | 10.912 | 0.11156
2020-04-13 00:30:00 | 6.391 | 216.98 | 5.167 | 212.981 | 4.217 | 212.2 | 3.576 | 205.9 | 8.674 | 889.767 | 11.051 | 0.87968
2020-04-13 00:45:00 | 6.111 | 219.32 | 4.805 | 212.412 | 3.803 | 211.9 | 3.404 | 206 | 8.766 | 889.767 | 11.035 | 2.271
2020-04-13 01:00:00 | 7.164 | 220.887 | 4.634 | 213.552 | 3.929 | 215.833 | 3.708 | 206.067 | 8.916 | 889.433 | 10.992 | 2.838
2020-04-13 01:15:00 | 6.689 | 223.587 | 5.232 | 223.913 | 4.006 | 222.4 | 3.399 | 213 | 8.514 | 889.333 | 11.011 | 2.546
2020-04-13 01:30:00 | 6.653 | 224.28 | 5.913 | 234.237 | 4.971 | 239.3 | 3.597 | 226.4 | 7.733 | 889.833 | 11.323 | 2.7336
2020-04-13 01:45:00 | 6.512 | 222.2 | 6.134 | 230.29 | 4.995 | 236.3 | 3.963 | 230.3 | 7.789 | 889.567 | 11.405 | 4.1483
2020-04-13 02:00:00 | 6.304 | 223.053 | 7.173 | 233.957 | 6.256 | 241.6 | 5.283 | 236.4 | 8.063 | 889.267 | 11.272 | 9.5585
2020-04-13 02:15:00 | 6.294 | 223.74 | 6.782 | 229.954 | 5.993 | 238.667 | 5.299 | 235.567 | 8.649 | 889.867 | 11.128 | 9.6708
2020-04-13 02:30:00 | 6.772 | 223.953 | 6.956 | 227.024 | 6.402 | 233.733 | 5.884 | 231.667 | 8.678 | 889.233 | 11.112 | 9.0611
2020-04-13 02:45:00 | 5.688 | 218.233 | 5.891 | 224.67 | 5.361 | 232.167 | 4.816 | 228.6 | 8.962 | 889.4 | 10.819 | 7.1433
2020-04-13 03:00:00 | 4.096 | 276.153 | 4.216 | 268.789 | 4.404 | 262.533 | 4.441 | 248.4 | 8.096 | 889.267 | 11.596 | 6.3681
2020-04-13 03:15:00 | 5.552 | 238.027 | 3.794 | 237.26 | 3.528 | 249.867 | 3.919 | 249.967 | 8.522 | 889.9 | 13.037 | 3.3986
2020-04-13 03:30:00 | 5.641 | 230.447 | 4.901 | 229.236 | 4.871 | 240.767 | 5.134 | 240.733 | 7.95 | 889.567 | 13.493 | 4.7764
2020-04-13 03:45:00 | 5.949 | 222.96 | 6.723 | 232.068 | 5.938 | 238.667 | 4.652 | 240.9 | 8.636 | 889.3 | 12.664 | 7.7189
2020-04-13 04:00:00 | 6.466 | 217.853 | 6.06 | 227.388 | 5.204 | 233.433 | 3.919 | 233.8 | 8.33 | 889.167 | 12.768 | 6.8605
2020-04-13 04:15:00 | 6.079 | 216.633 | 5.881 | 226.904 | 5.332 | 233.733 | 4.753 | 230.633 | 7.906 | 889.2 | 13.077 | 8.9652
2020-04-13 04:30:00 | 6.333 | 212.587 | 6.17 | 216.176 | 5.866 | 221.267 | 5.294 | 219.1 | 8.264 | 889.533 | 12.965 | 7.7274
2020-04-13 04:45:00 | 5.79 | 211.253 | 6.209 | 212.596 | 5.887 | 214.8 | 5.576 | 214 | 8.18 | 889.367 | 12.664 | 7.3373
2020-04-13 05:00:00 | 5.619 | 203.753 | 5.723 | 200.968 | 5.377 | 203.3 | 5.397 | 204.2 | 7.496 | 888.867 | 13.611 | 8.0791
2020-04-13 05:15:00 | 5.873 | 207.187 | 7.088 | 201.63 | 6.395 | 202.9 | 6.017 | 199 | 7.93 | 889.367 | 14.816 | 11.1893
2020-04-13 05:30:00 | 5.821 | 205.793 | 7.109 | 200.18 | 6.379 | 203.1 | 5.98 | 198.267 | 7.91 | 889.4 | 15.181 | 12.7916
2020-04-13 05:45:00 | 6.761 | 210.367 | 7.438 | 201.041 | 6.714 | 205.7 | 6.046 | 201.5 | 7.99 | 889.1 | 15.757 | 12.1329
2020-04-13 06:00:00 | 6.653 | 215.207 | 6.305 | 208.706 | 5.718 | 212 | 5.107 | 209.633 | 7.853 | 889.6 | 16.04 | 8.3875
2020-04-13 06:15:00 | 6.758 | 216.48 | 5.898 | 209.58 | 5.246 | 213 | 4.657 | 212 | 8.45 | 889.8 | 16.091 | 6.4328
2020-04-13 06:30:00 | 6.668 | 212.887 | 5.842 | 208.726 | 4.679 | 212.567 | 4.41 | 212 | 7.713 | 889.4 | 16.315 | 5.5247
2020-04-13 06:45:00 | 5.937 | 213.367 | 6.839 | 203.214 | 5.592 | 207.1 | 4.849 | 206.033 | 7.306 | 889.433 | 16.419 | 5.7584
2020-04-13 07:00:00 | 6.089 | 215.3 | 6.306 | 202.748 | 5.21 | 206.133 | 4.416 | 199.833 | 6.972 | 889.633 | 16.693 | 6.0192
2020-04-13 07:15:00 | 4.644 | 219.433 | 6.379 | 211.077 | 5.207 | 211.433 | 4.33 | 206.867 | 6.989 | 889.9 | 16.853 | 6.8392
2020-04-13 07:30:00 | 5.762 | 214.44 | 6.772 | 212.49 | 6.125 | 213.733 | 5.514 | 212.433 | 6.512 | 889.567 | 17.656 | 8.9155
2020-04-13 07:45:00 | 6.006 | 212.633 | 6.841 | 208.084 | 6.19 | 211.933 | 5.719 | 209.167 | 7.256 | 889.4 | 17.016 | 10.8006
2020-04-13 08:00:00 | 6.396 | 211.433 | 7.399 | 203.401 | 6.66 | 208.433 | 6.283 | 205.667 | 8.324 | 889.533 | 16.421 | 13.8845
2020-04-13 08:15:00 | 6.044 | 214.647 | 7.341 | 204.94 | 6.634 | 209.4 | 6.061 | 206.1 | 10.074 | 889.933 | 15.077 | 14.875
2020-04-13 08:30:00 | 4.274 | 213.62 | 6.346 | 209.999 | 6.029 | 213.4 | 5.581 | 211.133 | 11.116 | 889.8 | 14.301 | 16.2329
2020-04-13 08:45:00 | 4.706 | 216.76 | 5.777 | 212.094 | 5.98 | 218.1 | 5.853 | 214.2 | 12.261 | 889.633 | 13.781 | 13.2364
2020-04-13 09:00:00 | 4.591 | 219.947 | 5.438 | 215.794 | 6.244 | 221.433 | 5.949 | 218.767 | 13.397 | 889.4 | 13.536 | 10.829
2020-04-13 09:15:00 | 4.274 | 225.833 | 4.303 | 225.039 | 4.658 | 230.233 | 4.806 | 225.4 | 14.991 | 889.733 | 12.891 | 5.8913
2020-04-13 09:30:00 | 3.91 | 240.793 | 3.781 | 238.029 | 3.855 | 245.067 | 4.067 | 243.5 | 16.598 | 889.633 | 11.813 | 3.3205
2020-04-13 09:45:00 | 3.11 | 276.6 | 3.154 | 271.831 | 3.116 | 277.933 | 3.356 | 275.533 | 17.348 | 889.5 | 11.071 | 0.75675
2020-04-13 10:00:00 | 2.253 | 292.2 | 2.25 | 290.051 | 2.1 | 294.567 | 2.768 | 291.8 | 16.431 | 889.4 | 10.992 | 0.25367
2020-04-13 10:15:00 | 2.831 | 294.84 | 2.927 | 292.964 | 2.896 | 294.967 | 3.426 | 290.833 | 16.598 | 889.8 | 10.927 | 0.1684
2020-04-13 10:30:00 | 3.356 | 327.44 | 3.119 | 330.868 | 3.231 | 327.2 | 3.656 | 320.067 | 16.798 | 889.6 | 11.673 | 0.48674
2020-04-13 10:45:00 | 2.702 | 271.533 | 2.994 | 329.867 | 3.024 | 323.367 | 3.583 | 322.7 | 17.506 | 889.533 | 11.845 | 0.2018
2020-04-13 11:00:00 | 2.475 | 103.97 | 2.311 | 133.81 | 2.034 | 148.733 | 2.63 | 170.833 | 17.435 | 889.367 | 12.453 | 0.28565
2020-04-13 11:15:00 | 3.721 | 230.655 | 3.934 | 284.285 | 3.716 | 218.738 | 3.924 | 240.167 | 17.864 | 888.967 | 12.928 | 1.2527
2020-04-13 11:30:00 | 3.454 | 302.16 | 3.421 | 286.036 | 3.255 | 276.933 | 3.83 | 321.635 | 17.835 | 889.367 | 13.103 | 1.4474
2020-04-13 11:45:00 | 3.442 | 72.251 | 3.313 | 126.452 | 2.841 | 39.1 | 3.433 | 54 | 18.227 | 889.233 | 13.067 | 0.75178
2020-04-13 12:00:00 | 2.524 | 185.457 | 2.475 | 221.662 | 2.024 | 248.3 | 2.712 | 232.975 | 18.189 | 889.4 | 13.096 | 2.7485
2020-04-13 12:15:00 | 4.231 | 238.778 | 4.398 | 256.431 | 4.613 | 285.334 | 4.938 | 249.733 | 18.227 | 889.167 | 13.953 | 3.4946
2020-04-13 12:30:00 | 3.732 | 9.629 | 3.467 | 51.117 | 3.302 | 62.233 | 3.789 | 108.533 | 19.214 | 889.533 | 14.049 | 2.9261
2020-04-13 12:45:00 | 3.17 | 318.335 | 2.877 | 311.26 | 2.519 | 305.467 | 2.916 | 299.133 | 18.848 | 889.267 | 13.481 | 2.7236
2020-04-13 13:00:00 | 1.769 | 287.907 | 1.63 | 279.597 | 1.664 | 305.1 | 2.727 | 319.367 | 19.968 | 889.533 | 13.404 | 3.5656
2020-04-13 13:15:00 | 2.645 | 304.48 | 2.411 | 303.27 | 2.377 | 306.933 | 3.185 | 311.133 | 19.481 | 889.867 | 13.912 | 4.7707
2020-04-13 13:30:00 | 6.318 | 325.067 | 6.369 | 317.025 | 6.636 | 319.533 | 6.972 | 315.667 | 20.306 | 889.233 | 13.639 | 2.9922
2020-04-13 13:45:00 | 2.147 | 254.944 | 1.853 | 285.321 | 1.746 | 305 | 2.923 | 250.305 | 20.264 | 889.1 | 13.539 | 3.1805
2020-04-13 14:00:00 | 3.637 | 293.733 | 4.203 | 304.663 | 4.491 | 310.635 | 4.957 | 322.2 | 20.556 | 889.667 | 13.193 | 4.2222
2020-04-13 14:15:00 | 6.254 | 310.387 | 6.111 | 316.209 | 6.138 | 317.633 | 6.498 | 315.5 | 21.048 | 889.6 | 13.325 | 6.6104
2020-04-13 14:30:00 | 3.586 | 118.104 | 3.61 | 102.502 | 3.718 | 34.072 | 3.835 | 53.233 | 20.881 | 889.833 | 13.595 | 2.6554
2020-04-13 14:45:00 | 2.818 | 66.99 | 2.036 | 137.906 | 2.056 | 139.733 | 2.737 | 124.34 | 21.281 | 889.5 | 12.721 | 1.2421
2020-04-13 15:00:00 | 3.776 | 306.813 | 3.735 | 312.85 | 4.206 | 307.7 | 4.785 | 316.067 | 21.818 | 889.2 | 12.327 | 2.4351
2020-04-13 15:15:00 | 4.563 | 269.022 | 4.854 | 271.214 | 4.686 | 281.033 | 4.966 | 274.733 | 21.527 | 889.333 | 11.727 | 4.294
2020-04-13 15:30:00 | 4.112 | 279.78 | 4.049 | 281.475 | 4.382 | 293.95 | 5.014 | 297.2 | 21.448 | 889.667 | 11.428 | 11.0905
2020-04-13 15:45:00 | 5.578 | 280.8 | 5.946 | 282.583 | 6.031 | 280.867 | 6.188 | 277.9 | 21.785 | 889.933 | 11.028 | 17.0557
2020-04-13 16:00:00 | 6.407 | 281.667 | 6.706 | 279.841 | 7.092 | 283.9 | 7.513 | 281.15 | 22.514 | 889.7 | 10.764 | 22.5562
2020-04-13 16:15:00 | 5.632 | 276.4 | 5.492 | 277.089 | 5.305 | 284.4 | 5.549 | 283.367 | 22.381 | 889.3 | 10.68 | 23.6107
2020-04-13 16:30:00 | 7.053 | 301.253 | 7.26 | 301.97 | 7.205 | 306.4 | 7.531 | 304.333 | 23.264 | 889.2 | 10.446 | 28.6948
2020-04-13 16:45:00 | 6.414 | 308.12 | 6.922 | 303.568 | 7.263 | 308.133 | 7.544 | 305.433 | 22.381 | 889.4 | 10.945 | 30.8642
2020-04-13 17:00:00 | 8.93 | 316.907 | 9.285 | 309.874 | 9.593 | 314.333 | 9.731 | 310.067 | 22.948 | 889.767 | 11.323 | 41.782
2020-04-13 17:15:00 | 7.994 | 304.107 | 8.578 | 304.449 | 8.793 | 309.267 | 9.073 | 307.8 | 22.664 | 889.833 | 11.857 | 54.2887
2020-04-13 17:30:00 | 7.861 | 308.427 | 8.402 | 306.307 | 8.576 | 308.967 | 8.867 | 305.667 | 22.664 | 889.633 | 12.285 | 51.661
2020-04-13 17:45:00 | 6.777 | 317.32 | 7.076 | 315.555 | 7.116 | 321 | 7.418 | 322.167 | 22.564 | 889.7 | 13.269 | 52.1734
2020-04-13 18:00:00 | 7.492 | 303.653 | 7.876 | 302.639 | 8.338 | 311.867 | 8.622 | 311.167 | 22.531 | 889.367 | 13.353 | 37.52
2020-04-13 18:15:00 | 8.969 | 303.72 | 9.166 | 300.545 | 9.152 | 304.6 | 9.33 | 303.5 | 22.777 | 889.567 | 13.684 | 31.6174
2020-04-13 18:30:00 | 6.347 | 319.853 | 6.516 | 315.492 | 6.652 | 319.033 | 6.807 | 316 | 22.148 | 889.633 | 14.471 | 21.0207
2020-04-13 18:45:00 | 6.071 | 306.2 | 6.212 | 302.228 | 6.451 | 307.733 | 7.143 | 304.2 | 22.414 | 889.467 | 14.156 | 24.484
2020-04-13 19:00:00 | 6.557 | 306.467 | 6.871 | 301.482 | 7.061 | 306.1 | 7.492 | 303.5 | 22.348 | 889.4 | 14.228 | 25.7559
2020-04-13 19:15:00 | 6.514 | 309.2 | 6.671 | 306.858 | 6.839 | 312.367 | 7.205 | 310.8 | 22.481 | 889.3 | 14.651 | 24.1728
2020-04-13 19:30:00 | 7.359 | 317.28 | 7.938 | 313.085 | 8.59 | 317.533 | 8.945 | 315.4 | 21.952 | 889.033 | 15.548 | 25.1235
2020-04-13 19:45:00 | 6.717 | 324.6 | 7.113 | 318.839 | 7.341 | 321.6 | 7.645 | 320.267 | 21.852 | 889.367 | 15.912 | 29.6505
2020-04-13 20:00:00 | 6.287 | 329.867 | 6.699 | 321.185 | 7.088 | 324 | 7.183 | 322.6 | 21.552 | 889.233 | 16.7 | 23.534
2020-04-13 20:15:00 | 5.341 | 332.36 | 5.852 | 327.063 | 6.336 | 333.833 | 6.819 | 334.2 | 21.064 | 889.5 | 16.379 | 24.0463
2020-04-13 20:30:00 | 4.426 | 332.8 | 5.156 | 327.321 | 5.432 | 331.933 | 5.841 | 330.333 | 20.881 | 889.567 | 16.352 | 17.3357
2020-04-13 20:45:00 | 4.214 | 316.787 | 5.135 | 315.029 | 5.643 | 321.033 | 6.094 | 321.167 | 20.068 | 889.3 | 17.076 | 14.2987
2020-04-13 21:00:00 | 2.953 | 309.8 | 3.712 | 312.259 | 4.073 | 317.033 | 4.718 | 318.667 | 19.977 | 889.367 | 17.179 | 5.1722
2020-04-13 21:15:00 | 2.608 | 298.333 | 2.824 | 303.085 | 2.929 | 310.733 | 3.594 | 311.433 | 19.894 | 889.033 | 17.464 | 1.8198
2020-04-13 21:30:00 | 2.64 | 260.813 | 2.581 | 303.011 | 2.52 | 294.167 | 3.11 | 299.2 | 19.364 | 889.467 | 17.728 | 0.23022
2020-04-13 21:45:00 | 3.587 | 239.427 | 2.893 | 274.03 | 2.505 | 272 | 2.932 | 278.467 | 18.289 | 889.533 | 18.235 | 0.20393
2020-04-13 22:00:00 | 4.666 | 231.24 | 3.386 | 252.422 | 2.701 | 262 | 3.099 | 267.867 | 17.26 | 889.033 | 18.592 | 0.69422
2020-04-13 22:15:00 | 5.127 | 226.327 | 3.76 | 245.502 | 3.376 | 253.133 | 3.58 | 255.8 | 16.448 | 889.633 | 19.352 | 2.7691
2020-04-13 22:30:00 | 5.089 | 223.647 | 4.528 | 235.283 | 4.392 | 243.767 | 4.275 | 243.133 | 16.41 | 889.3 | 19.872 | 5.2852
2020-04-13 22:45:00 | 5.63 | 226.56 | 4.929 | 235.492 | 4.58 | 244.667 | 4.628 | 243.5 | 15.858 | 889.683 | 20.243 | 8.4543
2020-04-13 23:00:00 | 5.538 | 227.04 | 5.168 | 236.73 | 5.075 | 244.833 | 5.014 | 242.1 | 15.447 | 890.1 | 21.051 | 10.4183
2020-04-13 23:15:00 | 5.49 | 230.167 | 6.014 | 243.836 | 5.458 | 252.633 | 5.177 | 250.133 | 14.741 | 889.767 | 22.672 | 11.2397
2020-04-13 23:30:00 | 5.386 | 227.62 | 5.305 | 238.805 | 4.938 | 249.267 | 4.711 | 252.267 | 14.624 | 889.433 | 23.179 | 10.1874
2020-04-13 23:45:00 | 4.88 | 222.367 | 5.046 | 247.038 | 4.896 | 263.4 | 5.264 | 262.233 | 14.587 | 890.35 | 23.141 | 11.379