## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-14 00:00:00 | 3.215 | 240.153 | 4.619 | 264.483 | 4.7 | 282.533 | 5.237 | 289.2 | 13.46 | 889.583 | 24.163 | 9.1464
2020-04-14 00:15:00 | 3.724 | 221.02 | 4.37 | 255.977 | 4.7 | 280.333 | 5.086 | 285.3 | 13.441 | 889.883 | 24.603 | 6.307
2020-04-14 00:30:00 | 4.523 | 220.033 | 4.59 | 258.552 | 4.446 | 277.267 | 4.775 | 277.133 | 13.299 | 889.567 | 24.565 | 5.6185
2020-04-14 00:45:00 | 5.118 | 226.6 | 4.329 | 255.278 | 3.874 | 275.733 | 4.213 | 274.167 | 13.516 | 890.2 | 24.6 | 8.2433
2020-04-14 01:00:00 | 5.413 | 235.8 | 5.046 | 256.763 | 4.632 | 268.4 | 5.119 | 268.067 | 13.551 | 890.033 | 24.925 | 12.9565
2020-04-14 01:15:00 | 5.336 | 234.753 | 5.663 | 255.304 | 5.852 | 265.733 | 6.284 | 265.9 | 13.103 | 889.767 | 25.533 | 15.6666
2020-04-14 01:30:00 | 5.31 | 233.62 | 5.903 | 254.713 | 6.004 | 268 | 6.44 | 268.167 | 12.909 | 889.5 | 25.984 | 19.2258
2020-04-14 01:45:00 | 5.91 | 239.267 | 6.593 | 256.921 | 6.585 | 267.933 | 6.973 | 268.467 | 12.73 | 889.833 | 26.445 | 22.6713
2020-04-14 02:00:00 | 5.946 | 241.933 | 6.342 | 254.112 | 6.42 | 263.2 | 6.958 | 262.067 | 13.499 | 889.783 | 26.331 | 22.1775
2020-04-14 02:15:00 | 5.454 | 229.567 | 6.168 | 248.212 | 6.444 | 257.567 | 6.763 | 256.45 | 13.549 | 889.617 | 26.363 | 22.2287
2020-04-14 02:30:00 | 4.76 | 233.54 | 5.331 | 253.01 | 5.85 | 265.467 | 6.485 | 263.233 | 13.199 | 890.05 | 26.277 | 18.9807
2020-04-14 02:45:00 | 4.018 | 222.78 | 4.921 | 249.463 | 5.208 | 263.067 | 5.766 | 262.633 | 12.999 | 890.1 | 26.672 | 15.02
2020-04-14 03:00:00 | 3.022 | 219.58 | 4.89 | 246.733 | 5.951 | 259.367 | 6.541 | 257.317 | 13.289 | 889.7 | 26.491 | 20.794
2020-04-14 03:15:00 | 4.88 | 249.187 | 6.113 | 256.711 | 6.56 | 265.7 | 7.045 | 264.1 | 13.041 | 889.983 | 26.376 | 27.398
2020-04-14 03:30:00 | 5.067 | 254.487 | 6.173 | 260.523 | 6.527 | 267.9 | 6.719 | 265.733 | 14.212 | 889.933 | 25.091 | 31.3289
2020-04-14 03:45:00 | 5.332 | 251.693 | 6.512 | 261.838 | 7.044 | 270.3 | 7.602 | 266.333 | 14.162 | 889.617 | 24.947 | 25.9684
2020-04-14 04:00:00 | 4.981 | 235.06 | 5.603 | 246.613 | 5.869 | 255.967 | 6.319 | 253.017 | 14.191 | 889.683 | 24.811 | 21.0989
2020-04-14 04:15:00 | 5.833 | 219.233 | 6.725 | 227.87 | 6.755 | 234.233 | 6.659 | 232.6 | 14.078 | 889.317 | 24.795 | 26.2782
2020-04-14 04:30:00 | 5.394 | 232.513 | 6.087 | 239.219 | 6.442 | 247.867 | 6.584 | 246.183 | 13.954 | 889.567 | 24.779 | 25.1896
2020-04-14 04:45:00 | 5.621 | 246.6 | 6.114 | 253.208 | 6.52 | 261.9 | 6.779 | 260.567 | 14.774 | 889.783 | 24.723 | 23.6803
2020-04-14 05:00:00 | 5.035 | 243.267 | 5.088 | 255.852 | 5.217 | 267.8 | 5.834 | 267.733 | 14.974 | 889.667 | 25.144 | 15.7426
2020-04-14 05:15:00 | 4.635 | 248.433 | 5.517 | 264.049 | 5.832 | 272.267 | 6.317 | 270.633 | 14.874 | 889.817 | 26.085 | 16.2286
2020-04-14 05:30:00 | 4.732 | 258.513 | 5.834 | 266.028 | 5.885 | 272.4 | 6.267 | 268.067 | 14.416 | 889.85 | 27.512 | 21.2175
2020-04-14 05:45:00 | 4.765 | 255.6 | 5.959 | 264.832 | 6.153 | 272.4 | 6.438 | 269.633 | 14.541 | 889.8 | 27.912 | 26.659
2020-04-14 06:00:00 | 5.386 | 253.34 | 6.305 | 260.019 | 6.523 | 264.433 | 6.876 | 260.733 | 14.741 | 889.9 | 28.397 | 27.2758
2020-04-14 06:15:00 | 5.8 | 241.86 | 6.96 | 249.082 | 7.179 | 253.933 | 7.305 | 250.1 | 15.155 | 889.583 | 28.827 | 28.2926
2020-04-14 06:30:00 | 4.941 | 228.813 | 6.175 | 237.795 | 6.744 | 246.4 | 7.035 | 242.083 | 15.293 | 889.75 | 28.645 | 27.3447
2020-04-14 06:45:00 | 4.617 | 224.667 | 5.606 | 235.318 | 6.361 | 246.367 | 6.664 | 243.867 | 14.791 | 889.65 | 29.584 | 25.6557
2020-04-14 07:00:00 | 3.627 | 225.5 | 4.625 | 240.241 | 5.231 | 251.067 | 5.633 | 249.017 | 14.558 | 889.7 | 30.981 | 15.8463
2020-04-14 07:15:00 | 2.603 | 249.047 | 4.055 | 258.235 | 5.248 | 265.667 | 5.966 | 263.4 | 15.336 | 889.733 | 31.933 | 14.3037
2020-04-14 07:30:00 | 3.909 | 264.973 | 5.321 | 269.628 | 5.888 | 274.067 | 6.44 | 270.767 | 15.697 | 889.867 | 30.683 | 14.9667
2020-04-14 07:45:00 | 3.671 | 250.813 | 5.237 | 263.426 | 6.144 | 269.433 | 6.898 | 267.767 | 16.077 | 890.117 | 29.779 | 16.4972
2020-04-14 08:00:00 | 5.498 | 268.5 | 6.924 | 269.57 | 7.183 | 273.6 | 7.569 | 270.367 | 16.381 | 889.7 | 29.363 | 21.727
2020-04-14 08:15:00 | 4.814 | 263.447 | 5.76 | 262.092 | 6.106 | 268.167 | 6.676 | 264.7 | 16.714 | 889.767 | 28.629 | 22.5186
2020-04-14 08:30:00 | 4.721 | 262.66 | 5.288 | 260.304 | 5.723 | 265.5 | 6.231 | 262.867 | 16.864 | 889.75 | 27.557 | 20.7358
2020-04-14 08:45:00 | 5.217 | 262.8 | 5.783 | 261.732 | 5.976 | 265.9 | 6.438 | 262.85 | 16.948 | 890.017 | 26.757 | 27.7547
2020-04-14 09:00:00 | 6.48 | 261.253 | 7.166 | 261.787 | 7.39 | 265.95 | 7.726 | 260.533 | 17.644 | 889.9 | 26.027 | 43.9137
2020-04-14 09:15:00 | 7.22 | 262.267 | 7.724 | 261.014 | 7.716 | 265.183 | 8.049 | 260.467 | 17.86 | 889.283 | 25.133 | 52.4846
2020-04-14 09:30:00 | 8.185 | 256.313 | 8.758 | 255.586 | 8.816 | 261.75 | 9.078 | 257.95 | 18.302 | 889.75 | 25.045 | 58.5933
2020-04-14 09:45:00 | 8.8 | 259.44 | 9.517 | 258.1 | 9.612 | 263.933 | 9.616 | 259.1 | 18.968 | 889.517 | 24.045 | 64.1407
2020-04-14 10:00:00 | 8.457 | 260.047 | 9.098 | 261.47 | 9.5 | 264.333 | 9.459 | 259.017 | 19.26 | 889.583 | 24.923 | 61.2537
2020-04-14 10:15:00 | 9.187 | 268.833 | 9.766 | 268.017 | 9.982 | 269.367 | 10.233 | 265.8 | 19.698 | 889.833 | 24.099 | 59.4218
2020-04-14 10:30:00 | 7.446 | 258.813 | 7.875 | 258.07 | 8.085 | 262.883 | 8.088 | 256.8 | 20.189 | 890.017 | 23.8 | 45.5161
2020-04-14 10:45:00 | 7.685 | 263.52 | 8.068 | 264.176 | 8.314 | 271 | 8.379 | 265.467 | 20.368 | 889.417 | 25.131 | 39.1721
2020-04-14 11:00:00 | 7.325 | 271.733 | 7.831 | 275.428 | 8.04 | 278.267 | 8.309 | 274.833 | 19.748 | 890.067 | 25.24 | 44.7543
2020-04-14 11:15:00 | 7.236 | 276.307 | 7.792 | 277.125 | 7.933 | 281.533 | 8.307 | 279.1 | 20.139 | 889.5 | 24.995 | 42.0279
2020-04-14 11:30:00 | 7.902 | 260.867 | 8.225 | 262.213 | 8.404 | 266.533 | 8.614 | 261.6 | 20.518 | 889.7 | 24.349 | 43.3069
2020-04-14 11:45:00 | 8.242 | 279.173 | 8.758 | 282.572 | 9.114 | 286.133 | 9.537 | 282.567 | 20.681 | 889.35 | 25.4 | 45.8827
2020-04-14 12:00:00 | 8.017 | 308.413 | 8.28 | 304.684 | 8.993 | 308.633 | 9.249 | 304.067 | 20.623 | 889.967 | 25.36 | 48.4635
2020-04-14 12:15:00 | 6.923 | 274.933 | 7.308 | 271.088 | 7.507 | 277.133 | 7.623 | 275.883 | 20.648 | 889.9 | 25.509 | 43.1101
2020-04-14 12:30:00 | 8.35 | 319.32 | 8.614 | 312.966 | 8.916 | 316.633 | 9.177 | 314.367 | 21.023 | 890.017 | 25.085 | 39.6319
2020-04-14 12:45:00 | 7.436 | 299.987 | 7.573 | 295.339 | 7.566 | 301.8 | 7.945 | 300.333 | 21.26 | 889.767 | 25.019 | 35.6449
2020-04-14 13:00:00 | 7.093 | 304.267 | 7.697 | 300.269 | 7.892 | 303.967 | 8.366 | 300.667 | 21.156 | 889.65 | 24.739 | 35.2789
2020-04-14 13:15:00 | 7.428 | 304.12 | 7.667 | 300.982 | 7.82 | 307.067 | 8.286 | 304.733 | 21.844 | 889.217 | 23.696 | 35.9689
2020-04-14 13:30:00 | 7.372 | 308.36 | 7.767 | 304.81 | 8.359 | 308.1 | 8.677 | 303.033 | 21.864 | 889.65 | 23.029 | 39.705
2020-04-14 13:45:00 | 7.274 | 304.667 | 7.757 | 302.458 | 8.094 | 305.333 | 8.275 | 303.167 | 21.989 | 889.65 | 22.331 | 40.7546
2020-04-14 14:00:00 | 7.638 | 264.647 | 7.75 | 265.536 | 7.728 | 270.067 | 8.219 | 266.317 | 23.014 | 890 | 21.309 | 42.9104
2020-04-14 14:15:00 | 7.069 | 283.68 | 7.565 | 277.868 | 7.527 | 282.433 | 7.765 | 279.333 | 22.46 | 890 | 21.555 | 46.4639
2020-04-14 14:30:00 | 7.763 | 295.567 | 7.999 | 295.204 | 8.178 | 299.567 | 8.591 | 297.9 | 22.448 | 889.433 | 21.515 | 50.1802
2020-04-14 14:45:00 | 8.816 | 273.307 | 9.546 | 274.63 | 9.884 | 277.967 | 10.242 | 275.433 | 22.368 | 889.783 | 22.36 | 55.9102
2020-04-14 15:00:00 | 10.193 | 301.427 | 10.725 | 303.381 | 10.922 | 308.1 | 11.261 | 308.033 | 21.898 | 890.117 | 23.019 | 60.6788
2020-04-14 15:15:00 | 8.999 | 282.293 | 9.295 | 278.588 | 9.318 | 281.867 | 9.644 | 280.4 | 21.898 | 889.517 | 23.355 | 62.8468
2020-04-14 15:30:00 | 8.824 | 278.213 | 9.708 | 278.171 | 9.981 | 284.333 | 10.432 | 280.167 | 21.831 | 890.033 | 22.637 | 58.0469
2020-04-14 15:45:00 | 7.902 | 315.827 | 8.04 | 311.611 | 8.052 | 314.567 | 8.82 | 310.233 | 21.727 | 890.283 | 22.629 | 51.6639
2020-04-14 16:00:00 | 8.065 | 293.627 | 8.642 | 289.635 | 8.851 | 293.433 | 8.947 | 293.667 | 21.694 | 889.65 | 22.2 | 50.8027
2020-04-14 16:15:00 | 9.166 | 298.547 | 9.444 | 295.62 | 9.872 | 299.267 | 10.433 | 297.7 | 22.018 | 889.4 | 22.027 | 54.2617
2020-04-14 16:30:00 | 9.358 | 296.08 | 9.646 | 298.469 | 9.539 | 303.167 | 9.625 | 302.2 | 22.035 | 889.733 | 22.472 | 59.2371
2020-04-14 16:45:00 | 9.299 | 302.987 | 9.568 | 300.792 | 9.801 | 303.9 | 10.431 | 302.667 | 21.994 | 889.9 | 23.155 | 55.1407
2020-04-14 17:00:00 | 9.18 | 304.893 | 9.686 | 304.057 | 9.899 | 307.433 | 10.052 | 306.8 | 21.948 | 889.917 | 23.861 | 65.6201
2020-04-14 17:15:00 | 8.906 | 326.187 | 9.264 | 318.628 | 9.801 | 322.833 | 10.176 | 320.433 | 21.331 | 889.683 | 24.707 | 64.2317
2020-04-14 17:30:00 | 8.827 | 292.827 | 9.2 | 292.59 | 9.486 | 297.633 | 9.893 | 295.167 | 21.694 | 889.75 | 24.549 | 66.2923
2020-04-14 17:45:00 | 9.161 | 290.36 | 9.752 | 291.268 | 10.126 | 296.767 | 10.612 | 293.933 | 21.323 | 889.683 | 24.381 | 68.4098
2020-04-14 18:00:00 | 9.968 | 287.373 | 10.542 | 290.242 | 10.714 | 294.967 | 11.103 | 293.667 | 21.318 | 889.783 | 24.291 | 76.2971
2020-04-14 18:15:00 | 10.54 | 297.413 | 11.09 | 297.222 | 11.515 | 302.667 | 12.175 | 300.433 | 21.268 | 889.833 | 24.317 | 76.1905
2020-04-14 18:30:00 | 10.885 | 289.507 | 12.268 | 291.875 | 12.641 | 296.8 | 13.136 | 295.067 | 20.581 | 889.75 | 24.355 | 75.6917
2020-04-14 18:45:00 | 11.271 | 292.467 | 12.367 | 294.569 | 13.026 | 300.267 | 13.779 | 297.733 | 20.798 | 889.817 | 24.515 | 70.6872
2020-04-14 19:00:00 | 11.152 | 298.24 | 12.03 | 296.258 | 12.424 | 300.633 | 13.042 | 299.033 | 20.194 | 889.683 | 24.277 | 70.5443
2020-04-14 19:15:00 | 11.012 | 296.08 | 12.031 | 295.602 | 12.254 | 299.267 | 12.843 | 296.4 | 20.302 | 889.983 | 24.312 | 70.1045
2020-04-14 19:30:00 | 11.215 | 299.027 | 12.247 | 296.676 | 12.695 | 302.9 | 13.491 | 299.233 | 19.835 | 889.95 | 24.104 | 70.4783
2020-04-14 19:45:00 | 10.715 | 304.067 | 11.758 | 300.707 | 12.089 | 305.7 | 12.637 | 303.433 | 19.706 | 889.6 | 24.392 | 69.6455
2020-04-14 20:00:00 | 10.757 | 300.907 | 11.614 | 300.598 | 11.884 | 305.2 | 12.7 | 302.367 | 19.627 | 889.2 | 24.789 | 70.3205
2020-04-14 20:15:00 | 9.749 | 302.24 | 10.818 | 301.386 | 11.131 | 307.233 | 11.464 | 303.733 | 20.002 | 889.583 | 24.811 | 70.3795
2020-04-14 20:30:00 | 10.052 | 294.827 | 11.246 | 295.038 | 12.054 | 301.667 | 12.561 | 300 | 19.377 | 889.567 | 26.925 | 73.7689
2020-04-14 20:45:00 | 10.134 | 306.187 | 10.74 | 304.243 | 11.259 | 308.067 | 11.709 | 304.933 | 18.677 | 889.65 | 28.715 | 74.321
2020-04-14 21:00:00 | 9.018 | 299.4 | 9.976 | 301.326 | 10.291 | 307.133 | 11.076 | 304.5 | 18.639 | 890 | 29.645 | 66.5517
2020-04-14 21:15:00 | 8.156 | 311.8 | 9.019 | 309.198 | 9.5 | 313.667 | 10.069 | 310.967 | 18.252 | 889.4 | 31.472 | 59.5519
2020-04-14 21:30:00 | 5.612 | 327.44 | 6.422 | 320.786 | 6.671 | 324.833 | 7.134 | 323.9 | 17.785 | 889.583 | 34.989 | 32.8658
2020-04-14 21:45:00 | 5.822 | 312.88 | 6.712 | 305.001 | 7.124 | 312.633 | 7.54 | 310.333 | 17.518 | 889.8 | 37.419 | 25.488
2020-04-14 22:00:00 | 6.111 | 298.667 | 6.845 | 297.623 | 7.174 | 303.667 | 7.88 | 302.633 | 17.198 | 889.9 | 38.811 | 25.5236
2020-04-14 22:15:00 | 6.624 | 292.627 | 7.454 | 293.426 | 7.759 | 298.633 | 8.473 | 297.133 | 16.831 | 889.767 | 40.888 | 30.4087
2020-04-14 22:30:00 | 5.694 | 281.227 | 6.46 | 284.995 | 6.729 | 290.467 | 7.335 | 287.8 | 16.12 | 889.6 | 43.957 | 23.7656
2020-04-14 22:45:00 | 6.739 | 274.787 | 7.329 | 278.989 | 7.676 | 281.867 | 8.065 | 280.4 | 15.668 | 890.408 | 44.757 | 33.0271
2020-04-14 23:00:00 | 7.068 | 271.1 | 8.09 | 278.298 | 8.602 | 283.267 | 8.985 | 280.9 | 15.868 | 889.867 | 45.653 | 51.9417
2020-04-14 23:15:00 | 8.26 | 271.727 | 9.115 | 276.393 | 9.883 | 281.7 | 10.38 | 277.1 | 15.205 | 889.942 | 45.925 | 61.9969
2020-04-14 23:30:00 | 7.417 | 269.647 | 8.311 | 274.909 | 8.934 | 279.967 | 9.384 | 276.333 | 15.129 | 889.467 | 43.605 | 71.0489
2020-04-14 23:45:00 | 9.678 | 259.76 | 10.435 | 261.093 | 10.962 | 264.183 | 11.196 | 259.483 | 15.922 | 889.542 | 40.797 | 79.1756