## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-15 00:00:00 | 6.695 | 285.407 | 7.635 | 286.39 | 8.028 | 290.033 | 8.582 | 286.967 | 15.088 | 889.917 | 41.187 | 65.4986
2020-04-15 00:15:00 | 6.034 | 286.147 | 7.175 | 288.03 | 7.975 | 288.267 | 8.531 | 282.9 | 14.391 | 889.633 | 43.467 | 60.6184
2020-04-15 00:30:00 | 8.616 | 265.093 | 9.907 | 264.686 | 10.284 | 268.967 | 10.624 | 265.083 | 14.791 | 889.85 | 40.912 | 61.3986
2020-04-15 00:45:00 | 8.858 | 251.993 | 10.228 | 259.39 | 10.857 | 262.767 | 11.115 | 259.183 | 14.378 | 890.017 | 42.203 | 74.0091
2020-04-15 01:00:00 | 9.755 | 260.727 | 11.126 | 261.074 | 11.778 | 266.967 | 12.15 | 262.55 | 14.283 | 889.992 | 43.275 | 76.9245
2020-04-15 01:15:00 | 9.808 | 260.58 | 11.212 | 264.238 | 11.638 | 270.367 | 11.933 | 266.283 | 14.278 | 889.733 | 44.203 | 76.3497
2020-04-15 01:30:00 | 9.126 | 259.36 | 10.335 | 263.768 | 10.907 | 268.65 | 11.237 | 266.633 | 13.733 | 889.875 | 46.421 | 71.3025
2020-04-15 01:45:00 | 8.647 | 261.173 | 10.159 | 266.787 | 10.647 | 272.033 | 11.097 | 268.767 | 13.487 | 890.058 | 48.747 | 67.0484
2020-04-15 02:00:00 | 7.788 | 258.72 | 8.672 | 266.499 | 9.245 | 272 | 9.586 | 268.867 | 13.051 | 890.142 | 50.784 | 62.2662
2020-04-15 02:15:00 | 7.128 | 270.833 | 8.258 | 273.957 | 8.757 | 279.1 | 9.52 | 279 | 12.686 | 889.892 | 52.661 | 57.8074
2020-04-15 02:30:00 | 9.183 | 264.573 | 10.749 | 274.714 | 11.216 | 278.2 | 12.042 | 277 | 12.443 | 890.3 | 53.563 | 75.9688
2020-04-15 02:45:00 | 9.363 | 265.76 | 10.302 | 273.217 | 11 | 276.567 | 11.388 | 274.2 | 12.878 | 889.908 | 54.389 | 73.182
2020-04-15 03:00:00 | 8.618 | 262.273 | 10.103 | 267.128 | 10.566 | 272.767 | 10.904 | 268.383 | 12.443 | 890.342 | 55.579 | 70.8009
2020-04-15 03:15:00 | 10.661 | 261.92 | 12.165 | 270.066 | 12.972 | 274.633 | 13.427 | 269.833 | 12.07 | 889.775 | 56.341 | 71.1377
2020-04-15 03:30:00 | 10.52 | 260.687 | 12.327 | 275.377 | 13.28 | 277.433 | 13.948 | 274.8 | 12.357 | 889.908 | 57.131 | 66.7926
2020-04-15 03:45:00 | 11.592 | 258.927 | 13.152 | 271.584 | 13.716 | 275.033 | 14.232 | 271.8 | 12.12 | 890.217 | 56.757 | 62.4837
2020-04-15 04:00:00 | 10.747 | 263.52 | 12.288 | 272.244 | 12.956 | 275.367 | 13.27 | 271.6 | 12.09 | 890.05 | 57.589 | 62.6102
2020-04-15 04:15:00 | 10.939 | 257.047 | 12.497 | 270.502 | 13.036 | 275.867 | 13.424 | 273.233 | 11.928 | 889.983 | 58.683 | 58.3055
2020-04-15 04:30:00 | 11.183 | 255.313 | 13.2 | 268.05 | 13.728 | 273.133 | 14.137 | 268.833 | 11.561 | 889.733 | 60.176 | 56.8567
2020-04-15 04:45:00 | 9.709 | 256.447 | 11.85 | 263.828 | 12.72 | 269.8 | 13.132 | 266.233 | 11.561 | 889.267 | 61.307 | 55.2899
2020-04-15 05:00:00 | 9.866 | 261.24 | 11.943 | 269.043 | 13.111 | 273.133 | 13.837 | 271.5 | 11.324 | 889.758 | 62.448 | 54.6866
2020-04-15 05:15:00 | 10.088 | 250.2 | 11.914 | 266.678 | 12.851 | 271.967 | 13.438 | 269.367 | 11.095 | 889.667 | 63.605 | 57.3726
2020-04-15 05:30:00 | 10.275 | 260.213 | 11.918 | 266.325 | 12.311 | 272.5 | 12.971 | 268.433 | 10.911 | 889.492 | 64.459 | 55.9351
2020-04-15 05:45:00 | 10.946 | 259.333 | 12.917 | 266.155 | 13.721 | 272 | 14.059 | 267.433 | 10.811 | 889.967 | 64.501 | 53.7636
2020-04-15 06:00:00 | 11.261 | 261.693 | 13.569 | 267.083 | 14.207 | 271.8 | 14.58 | 267.9 | 10.961 | 889.933 | 65.173 | 51.6838
2020-04-15 06:15:00 | 10.582 | 257.98 | 12.77 | 264.126 | 13.466 | 268.433 | 14.065 | 265.433 | 10.761 | 890.242 | 64.997 | 50.7906
2020-04-15 06:30:00 | 10.736 | 257.353 | 12.124 | 265.088 | 12.928 | 269.833 | 13.672 | 265.333 | 10.609 | 890.092 | 65.472 | 51.4663
2020-04-15 06:45:00 | 9.104 | 263.573 | 11.002 | 274.388 | 11.654 | 278.533 | 12.374 | 276.367 | 10.895 | 890.325 | 65.397 | 59.1845
2020-04-15 07:00:00 | 8.956 | 257.56 | 10.426 | 276.922 | 11.079 | 279.7 | 11.322 | 278.067 | 10.711 | 889.517 | 64.144 | 59.8823
2020-04-15 07:15:00 | 9.046 | 259.587 | 10.597 | 277.451 | 11.188 | 282.067 | 11.948 | 281.033 | 10.878 | 889.775 | 64.336 | 60.0592
2020-04-15 07:30:00 | 8.083 | 259.827 | 9.737 | 266.084 | 10.334 | 270.833 | 10.91 | 267.333 | 10.711 | 890.2 | 64.277 | 61.0959
2020-04-15 07:45:00 | 9.25 | 261.133 | 10.765 | 267.739 | 11.229 | 271.933 | 11.742 | 267.133 | 10.695 | 890.033 | 63.547 | 60.8167
2020-04-15 08:00:00 | 9.985 | 253.233 | 11.308 | 268.216 | 12.314 | 272.867 | 12.932 | 270.167 | 11.161 | 889.925 | 62.555 | 59.7999
2020-04-15 08:15:00 | 9.711 | 259.033 | 11.008 | 265.796 | 11.248 | 271.1 | 11.695 | 267.133 | 11.028 | 890.217 | 61.787 | 58.4299
2020-04-15 08:30:00 | 10.513 | 257.62 | 11.943 | 266.728 | 12.445 | 270.8 | 12.634 | 267.067 | 11.105 | 889.758 | 61.941 | 56.7693
2020-04-15 08:45:00 | 11.644 | 257.08 | 12.938 | 264.725 | 13.051 | 268.467 | 12.853 | 263.333 | 11.361 | 889.575 | 61.456 | 56.3565
2020-04-15 09:00:00 | 10.399 | 254.967 | 12.031 | 265.171 | 12.434 | 269.133 | 12.871 | 265 | 11.128 | 889.875 | 61.664 | 56.2492
2020-04-15 09:15:00 | 11.059 | 253.093 | 12.138 | 263.858 | 12.61 | 268.7 | 12.796 | 265.733 | 11.411 | 889.892 | 60.976 | 52.9848
2020-04-15 09:30:00 | 10.776 | 257.12 | 12.474 | 268.265 | 13.077 | 272.7 | 13.342 | 267.9 | 11.609 | 889.717 | 60.032 | 46.4007
2020-04-15 09:45:00 | 10.911 | 270.627 | 12.169 | 281.355 | 12.236 | 284 | 12.733 | 282.6 | 12.32 | 889.875 | 56.608 | 41.976
2020-04-15 10:00:00 | 10.849 | 262.04 | 11.834 | 277.2 | 11.937 | 280.367 | 11.956 | 276.433 | 13.112 | 890.058 | 52.709 | 42.7704
2020-04-15 10:15:00 | 10.598 | 266.333 | 11.599 | 275.817 | 11.694 | 277.933 | 11.733 | 275.3 | 13.416 | 890.067 | 50.853 | 42.2062
2020-04-15 10:30:00 | 10.023 | 268.367 | 10.539 | 277.221 | 10.476 | 280.6 | 10.554 | 276.467 | 13.362 | 889.683 | 51.771 | 42.143
2020-04-15 10:45:00 | 8.486 | 281.507 | 9.02 | 289.209 | 9.291 | 292.3 | 9.419 | 291.367 | 14.47 | 889.667 | 46.475 | 43.0809
2020-04-15 11:00:00 | 8.501 | 270.293 | 9.122 | 285.923 | 9.235 | 290.5 | 9.93 | 286.7 | 14.354 | 890.242 | 45.493 | 44.2065
2020-04-15 11:15:00 | 8.768 | 302.587 | 9.081 | 302.267 | 9.058 | 307.933 | 9.447 | 308.1 | 14.799 | 890.067 | 43.243 | 44.7579
2020-04-15 11:30:00 | 7.25 | 290.347 | 7.602 | 295.311 | 7.686 | 297.733 | 7.992 | 297.967 | 14.991 | 890.225 | 42.213 | 43.4611
2020-04-15 11:45:00 | 7.604 | 313.507 | 8.029 | 310.123 | 8.18 | 311.367 | 8.659 | 308.467 | 15.542 | 889.917 | 42.576 | 43.4995
2020-04-15 12:00:00 | 8.567 | 307.6 | 8.7 | 306.636 | 8.71 | 310.4 | 9.13 | 305.933 | 14.758 | 889.983 | 42.821 | 43.6423
2020-04-15 12:15:00 | 7.783 | 288.953 | 8.25 | 294.653 | 8.232 | 298.5 | 8.75 | 296.9 | 14.841 | 889.733 | 42.539 | 44.6861
2020-04-15 12:30:00 | 9.098 | 270.527 | 9.669 | 285.456 | 9.889 | 287.8 | 10.249 | 286.367 | 15.091 | 889.5 | 44.379 | 43.5513
2020-04-15 12:45:00 | 9.453 | 294.133 | 10.174 | 295.37 | 10.191 | 299.4 | 10.322 | 297.467 | 14.858 | 889.933 | 45.152 | 42.8145
2020-04-15 13:00:00 | 8.733 | 292.2 | 8.89 | 298.823 | 9.187 | 305.167 | 9.458 | 302.133 | 15.058 | 889.8 | 44.144 | 37.5527
2020-04-15 13:15:00 | 9.977 | 281.193 | 10.799 | 287.857 | 10.811 | 290.5 | 11.099 | 289.967 | 15.369 | 890.108 | 42.939 | 34.3815
2020-04-15 13:30:00 | 8.531 | 290.747 | 8.892 | 297.337 | 9.205 | 301.3 | 9.926 | 299.8 | 15.654 | 890.25 | 42.88 | 35.0395
2020-04-15 13:45:00 | 9.624 | 294.547 | 10.098 | 298.226 | 9.994 | 302.3 | 10.579 | 300.167 | 15.787 | 889.375 | 40.499 | 36.9011
2020-04-15 14:00:00 | 10.125 | 279.267 | 10.954 | 288.563 | 11.173 | 292.2 | 11.506 | 291.9 | 15.778 | 889.783 | 40.451 | 32.9674
2020-04-15 14:15:00 | 9.294 | 283.747 | 9.852 | 290.013 | 9.958 | 294.733 | 10.168 | 292.433 | 15.904 | 889.45 | 41.112 | 33.9679
2020-04-15 14:30:00 | 9.947 | 297.507 | 10.357 | 295.503 | 10.459 | 299.8 | 11.067 | 298.733 | 16.006 | 889.883 | 39.821 | 36.5558
2020-04-15 14:45:00 | 10.159 | 291.707 | 10.432 | 294.126 | 10.552 | 297.633 | 10.795 | 295.067 | 15.946 | 890 | 39.277 | 36.5906
2020-04-15 15:00:00 | 9.626 | 284.98 | 10.5 | 293.595 | 10.922 | 297.533 | 11.276 | 294.167 | 16.431 | 889.633 | 38.672 | 36.6795
2020-04-15 15:15:00 | 9.48 | 276.52 | 9.941 | 286.062 | 10.066 | 287.067 | 10.295 | 285.433 | 16.481 | 889.667 | 38.792 | 38.7223
2020-04-15 15:30:00 | 8.76 | 263.22 | 9.452 | 279.005 | 9.791 | 283.3 | 10.222 | 282.833 | 16.531 | 890.45 | 38.144 | 41.156
2020-04-15 15:45:00 | 10.111 | 261.793 | 10.764 | 271.951 | 10.862 | 276.867 | 11.247 | 275.367 | 17.139 | 889.583 | 37.531 | 51.1452
2020-04-15 16:00:00 | 9.633 | 268.14 | 10.244 | 271.898 | 10.275 | 276.683 | 10.416 | 276.133 | 17.335 | 889.7 | 36.763 | 56.3558
2020-04-15 16:15:00 | 9.831 | 269.753 | 10.095 | 272.188 | 10.413 | 276.917 | 10.611 | 274.183 | 17.264 | 889.733 | 35.728 | 50.883
2020-04-15 16:30:00 | 9.098 | 269.12 | 9.299 | 279.385 | 9.654 | 283.567 | 10.06 | 281.667 | 17.344 | 889.617 | 34.216 | 46.7091
2020-04-15 16:45:00 | 9.709 | 289.927 | 10.243 | 291.256 | 10.487 | 297.733 | 10.988 | 297.067 | 17.618 | 889.717 | 33.131 | 48.035
2020-04-15 17:00:00 | 10.492 | 272.033 | 11.285 | 280.628 | 11.369 | 284.067 | 11.731 | 283.7 | 18.085 | 889.617 | 32.256 | 51.4159
2020-04-15 17:15:00 | 9.726 | 303.993 | 10.509 | 302.525 | 10.476 | 306.2 | 11.108 | 302.333 | 18.118 | 889.867 | 31.208 | 54.2596
2020-04-15 17:30:00 | 8.56 | 282.633 | 9.17 | 289.81 | 9.25 | 293.467 | 9.708 | 291 | 18.177 | 889.733 | 30.347 | 52.2785
2020-04-15 17:45:00 | 10.426 | 268.953 | 11.269 | 280.755 | 11.14 | 283.1 | 11.698 | 282.733 | 18.339 | 889.867 | 29.827 | 50.3678
2020-04-15 18:00:00 | 9.942 | 292.46 | 10.917 | 300.047 | 11.095 | 303.933 | 11.705 | 302.233 | 18.318 | 889.8 | 29.24 | 50.203
2020-04-15 18:15:00 | 9.702 | 269.62 | 10.456 | 281.868 | 10.405 | 286.533 | 10.847 | 285.233 | 18.456 | 889.7 | 29.269 | 49.2615
2020-04-15 18:30:00 | 9.12 | 288.613 | 9.63 | 293.133 | 9.844 | 298.5 | 10.335 | 294.367 | 18.76 | 889.867 | 28.251 | 50.2094
2020-04-15 18:45:00 | 9.626 | 280.287 | 10.514 | 283.968 | 10.914 | 288.067 | 11.259 | 285.633 | 18.352 | 889.817 | 28.123 | 53.0204
2020-04-15 19:00:00 | 8.164 | 273.727 | 8.972 | 282.375 | 9.265 | 284.167 | 9.45 | 284 | 18.123 | 889.283 | 28.395 | 47.6065
2020-04-15 19:15:00 | 8.442 | 287.007 | 9.33 | 289.714 | 9.526 | 295.767 | 10.045 | 294.167 | 18.044 | 889.383 | 29.184 | 54.18
2020-04-15 19:30:00 | 10.172 | 268.407 | 10.92 | 275.735 | 11.053 | 279.933 | 11.66 | 276.333 | 18.139 | 889.633 | 29.717 | 54.4322
2020-04-15 19:45:00 | 9.312 | 261.04 | 10.245 | 273.096 | 10.517 | 276.033 | 10.663 | 272.8 | 17.664 | 889.85 | 29.992 | 53.9164
2020-04-15 20:00:00 | 9.483 | 264.567 | 10.736 | 271.175 | 10.928 | 276.333 | 11.12 | 274.633 | 17.527 | 889.833 | 30.379 | 53.1269
2020-04-15 20:15:00 | 8.628 | 263.987 | 9.389 | 271.418 | 9.565 | 277.067 | 9.831 | 276.8 | 17.114 | 890.1 | 30.552 | 51.4415
2020-04-15 20:30:00 | 7.499 | 263 | 8.742 | 274.255 | 9.251 | 279.033 | 9.477 | 275.8 | 16.898 | 889.4 | 30.776 | 52.4263
2020-04-15 20:45:00 | 7.428 | 263.38 | 8.646 | 276.764 | 9.206 | 280.4 | 9.682 | 277.433 | 16.731 | 890 | 31.173 | 51.4713
2020-04-15 21:00:00 | 7.004 | 257.6 | 8.372 | 274.394 | 8.627 | 278.933 | 9.076 | 276.467 | 16.298 | 889.783 | 31.909 | 50.8808
2020-04-15 21:15:00 | 7.531 | 258.133 | 8.803 | 272.97 | 9.338 | 277.7 | 9.622 | 274.067 | 16.284 | 889.667 | 32.224 | 53.8027
2020-04-15 21:30:00 | 7.904 | 257.833 | 9.254 | 276.73 | 9.675 | 281.567 | 10.204 | 278.8 | 15.908 | 889.95 | 32.96 | 50.3891
2020-04-15 21:45:00 | 7.602 | 264.673 | 8.638 | 273.591 | 8.936 | 278.4 | 9.29 | 276.533 | 15.825 | 890.133 | 33.589 | 48.5552
2020-04-15 22:00:00 | 7.245 | 260.893 | 8.131 | 273.779 | 8.674 | 278.2 | 9.096 | 276.933 | 15.281 | 889.933 | 34.451 | 43.5748
2020-04-15 22:15:00 | 6.517 | 258.227 | 8.035 | 274.458 | 8.535 | 280.267 | 8.837 | 277.933 | 15.055 | 889.55 | 35.261 | 40.0198
2020-04-15 22:30:00 | 5.761 | 258.92 | 6.807 | 273.409 | 7.333 | 276.567 | 8.055 | 274.967 | 14.679 | 889.783 | 36.251 | 34.8469
2020-04-15 22:45:00 | 6.365 | 256.787 | 7.104 | 268.452 | 7.534 | 273.733 | 8.055 | 271.867 | 14.358 | 889.917 | 37.109 | 37.1861
2020-04-15 23:00:00 | 6.024 | 255.207 | 7.429 | 273.144 | 8.012 | 276.7 | 8.493 | 273.833 | 14.487 | 889.95 | 37.757 | 35.8587
2020-04-15 23:15:00 | 6.777 | 260.653 | 8.043 | 270.661 | 8.775 | 273.8 | 9.138 | 269.567 | 14.133 | 889.6 | 39.701 | 36.8365
2020-04-15 23:30:00 | 6.058 | 258.113 | 7.514 | 268.993 | 7.929 | 275.733 | 8.38 | 271.1 | 13.583 | 889.767 | 43.259 | 38.247
2020-04-15 23:45:00 | 5.534 | 258.353 | 6.966 | 276.438 | 7.144 | 280 | 7.318 | 277.667 | 13.487 | 889.575 | 44.8 | 33.2431