## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-16 00:00:00 | 5.661 | 255.067 | 6.891 | 273.797 | 7.131 | 278.367 | 7.542 | 276.633 | 13.141 | 889.858 | 45.488 | 32.9277
2020-04-16 00:15:00 | 5.922 | 259.54 | 7.003 | 272.895 | 7.251 | 278.567 | 7.681 | 275.667 | 13.239 | 889.925 | 46.288 | 31.0923
2020-04-16 00:30:00 | 5.22 | 261.32 | 6.424 | 274.208 | 6.782 | 277.833 | 7.273 | 274 | 13.06 | 889.567 | 46.965 | 31.1065
2020-04-16 00:45:00 | 5.709 | 260.907 | 6.916 | 270.028 | 7.364 | 273.167 | 7.651 | 270.033 | 12.253 | 889.967 | 47.616 | 39.7889
2020-04-16 01:00:00 | 5.891 | 262.727 | 7.243 | 269.903 | 7.922 | 274.333 | 8.508 | 272.767 | 12.395 | 889.8 | 48.144 | 40.2941
2020-04-16 01:15:00 | 5.809 | 255.353 | 6.988 | 270.226 | 7.537 | 274.867 | 8.138 | 272.267 | 11.89 | 889.7 | 48.56 | 41.6705
2020-04-16 01:30:00 | 6.162 | 259.54 | 7.444 | 271.484 | 7.979 | 275.733 | 8.377 | 272.2 | 11.999 | 889.942 | 49.445 | 41.6712
2020-04-16 01:45:00 | 6.101 | 257.42 | 7.098 | 270.17 | 7.586 | 274.867 | 8.252 | 272.267 | 11.649 | 889.875 | 50.075 | 43.6593
2020-04-16 02:00:00 | 6.249 | 255.353 | 7.606 | 265.274 | 7.931 | 271.167 | 8.389 | 267.3 | 11.711 | 889.617 | 50.661 | 36.4798
2020-04-16 02:15:00 | 6.012 | 254.46 | 7.336 | 265.958 | 8.019 | 271.433 | 8.693 | 268.3 | 11.211 | 889.942 | 51.984 | 34.9485
2020-04-16 02:30:00 | 5.707 | 256.6 | 7.384 | 261.752 | 8.438 | 268.3 | 9.188 | 265.867 | 10.828 | 890.025 | 52.176 | 34.5321
2020-04-16 02:45:00 | 6.4 | 253.36 | 7.988 | 262.493 | 8.932 | 267.8 | 9.464 | 265.083 | 11.061 | 890.067 | 52.363 | 36.5871
2020-04-16 03:00:00 | 6.61 | 248.367 | 8.436 | 268.529 | 9.781 | 272.433 | 10.469 | 269.633 | 11.178 | 889.842 | 52.347 | 38.9959
2020-04-16 03:15:00 | 7.085 | 254.5 | 8.86 | 272.537 | 10.138 | 276.267 | 10.863 | 273.467 | 11.166 | 889.575 | 52.645 | 44.377
2020-04-16 03:30:00 | 6.94 | 252.973 | 8.723 | 276.094 | 9.816 | 279.533 | 10.446 | 276.7 | 11.178 | 890.025 | 52.869 | 47.9611
2020-04-16 03:45:00 | 6.244 | 256.5 | 7.8 | 272.707 | 8.55 | 277.9 | 9.179 | 275.133 | 11.228 | 889.958 | 53.36 | 47.8155
2020-04-16 04:00:00 | 6.537 | 254.52 | 8.314 | 272.278 | 9.117 | 276.033 | 9.673 | 273.467 | 10.928 | 889.783 | 53.755 | 50.3685
2020-04-16 04:15:00 | 6.568 | 255.793 | 8.042 | 275.658 | 8.891 | 279 | 9.662 | 274.367 | 10.978 | 889.7 | 53.803 | 50.252
2020-04-16 04:30:00 | 7.448 | 250.713 | 8.919 | 271.064 | 9.56 | 275.6 | 10.001 | 272.233 | 11.078 | 890.025 | 54.149 | 52.9919
2020-04-16 04:45:00 | 7.531 | 254.673 | 8.995 | 268.21 | 9.822 | 272.667 | 10.592 | 268.5 | 11.278 | 889.558 | 54.048 | 53.0744
2020-04-16 05:00:00 | 7.533 | 253.467 | 9.322 | 267.118 | 10.254 | 273.9 | 10.816 | 271.2 | 11.286 | 889.567 | 53.883 | 55.7845
2020-04-16 05:15:00 | 7.272 | 252.927 | 8.948 | 271.819 | 9.616 | 275.567 | 10.253 | 271.7 | 11.411 | 889.633 | 54.096 | 51.9765
2020-04-16 05:30:00 | 8.095 | 250.227 | 9.546 | 266.281 | 10.225 | 272.3 | 10.437 | 268.833 | 11.34 | 889.625 | 54.064 | 55.7397
2020-04-16 05:45:00 | 8.035 | 251.607 | 9.76 | 264.412 | 10.668 | 270.067 | 11.325 | 266.85 | 11.378 | 889.725 | 53.723 | 56.6236
2020-04-16 06:00:00 | 8.685 | 250.913 | 10.554 | 261.896 | 11.126 | 267.867 | 11.539 | 266.4 | 11.228 | 889.858 | 53.067 | 54.639
2020-04-16 06:15:00 | 9.32 | 255.46 | 10.72 | 263.398 | 11.122 | 268.3 | 11.566 | 265 | 11.195 | 889.875 | 52.805 | 54.1942
2020-04-16 06:30:00 | 8.812 | 249.82 | 10.458 | 262.541 | 10.955 | 269.567 | 11.538 | 266.433 | 11.382 | 889.75 | 52.613 | 53.684
2020-04-16 06:45:00 | 7.559 | 245.473 | 9.51 | 261.966 | 10.15 | 268.3 | 10.712 | 262.567 | 11.128 | 889.775 | 52.427 | 53.2506
2020-04-16 07:00:00 | 6.991 | 250.973 | 8.287 | 259.205 | 8.991 | 266.033 | 9.502 | 261.45 | 11.011 | 890.292 | 52.635 | 42.7569
2020-04-16 07:15:00 | 6.224 | 249.433 | 7.348 | 255.387 | 7.916 | 261.767 | 8.43 | 259.45 | 11.028 | 889.925 | 52.565 | 32.7372
2020-04-16 07:30:00 | 5.946 | 238.787 | 7.093 | 248.695 | 7.694 | 252.917 | 7.873 | 250.733 | 10.945 | 889.717 | 51.232 | 27.2872
2020-04-16 07:45:00 | 5.066 | 242.62 | 5.956 | 244.724 | 6.552 | 249.833 | 6.845 | 245.567 | 11.703 | 890.242 | 47.669 | 28.4397
2020-04-16 08:00:00 | 6.083 | 238.973 | 6.7 | 242.696 | 7.041 | 249.867 | 7.094 | 245.617 | 11.861 | 890.042 | 46.368 | 31.8234
2020-04-16 08:15:00 | 6.598 | 243.047 | 6.984 | 247.372 | 7.452 | 252.817 | 7.568 | 249.2 | 12.507 | 889.567 | 43.968 | 41.2861
2020-04-16 08:30:00 | 7.879 | 247.953 | 8.658 | 257.192 | 8.883 | 262.5 | 8.892 | 258.267 | 13.593 | 889.833 | 38.651 | 46.0113
2020-04-16 08:45:00 | 7.304 | 246.773 | 7.854 | 263.995 | 8.319 | 268.433 | 8.598 | 265.167 | 13.416 | 889.883 | 34.915 | 46.265
2020-04-16 09:00:00 | 7.829 | 248.32 | 8.781 | 262.634 | 9.062 | 266.167 | 9.314 | 262.8 | 13.62 | 889.667 | 32.307 | 48.8706
2020-04-16 09:15:00 | 8.304 | 249.84 | 9.051 | 265.942 | 9.303 | 270.033 | 9.324 | 264.967 | 13.891 | 890.05 | 29.045 | 56.2833
2020-04-16 09:30:00 | 7.888 | 254.52 | 8.682 | 267.387 | 8.735 | 270.367 | 8.652 | 266.15 | 13.854 | 889.55 | 28.483 | 60.2674
2020-04-16 09:45:00 | 9.359 | 249.053 | 10.24 | 265.982 | 10.257 | 268.567 | 10.241 | 264.6 | 14.349 | 889.467 | 27.912 | 59.0921
2020-04-16 10:00:00 | 9.674 | 249.733 | 10.103 | 267.179 | 10.146 | 271 | 10.221 | 267.167 | 14.062 | 889.933 | 28.496 | 57.4657
2020-04-16 10:15:00 | 10.696 | 261 | 11.648 | 275.223 | 11.831 | 279.5 | 12.128 | 277.033 | 14.433 | 889.517 | 28.675 | 58.221
2020-04-16 10:30:00 | 10.277 | 260.273 | 11.238 | 277.09 | 11.543 | 278.967 | 11.748 | 276.6 | 14.324 | 889.95 | 28.787 | 57.4706
2020-04-16 10:45:00 | 8.6 | 255.667 | 9.553 | 273.491 | 9.667 | 275.167 | 9.492 | 271.8 | 14.241 | 889.8 | 28.923 | 56.9121
2020-04-16 11:00:00 | 8.912 | 257.08 | 9.538 | 274.355 | 9.684 | 280.033 | 9.866 | 276.9 | 14.674 | 889.933 | 28.173 | 52.2373
2020-04-16 11:15:00 | 8.078 | 283.46 | 8.538 | 290.821 | 8.877 | 295.6 | 9.221 | 295.967 | 15.308 | 889.45 | 25.635 | 47.7323
2020-04-16 11:30:00 | 8.529 | 288.16 | 8.791 | 294.014 | 9.089 | 297.1 | 9.643 | 296.067 | 15.352 | 889.833 | 23.933 | 45.8465
2020-04-16 11:45:00 | 8.084 | 284.827 | 8.579 | 294.136 | 8.968 | 296.633 | 9.158 | 295.967 | 16.179 | 889.567 | 22.376 | 40.3453
2020-04-16 12:00:00 | 6.189 | 283.933 | 6.584 | 286.958 | 6.69 | 293.167 | 7.033 | 293.367 | 16.798 | 890 | 21.376 | 31.4142
2020-04-16 12:15:00 | 7.402 | 283.913 | 7.627 | 290.505 | 7.699 | 294 | 8.098 | 292.067 | 17.31 | 889.6 | 20.939 | 28.0503
2020-04-16 12:30:00 | 6.568 | 303.44 | 6.997 | 302.136 | 7.118 | 307.333 | 7.498 | 304 | 16.648 | 889.767 | 20.632 | 29.6583
2020-04-16 12:45:00 | 6.38 | 267.52 | 6.992 | 269.05 | 7.064 | 274.567 | 7.075 | 269.867 | 16.864 | 890.083 | 21.085 | 28.2955
2020-04-16 13:00:00 | 6.869 | 284.833 | 7.672 | 287.802 | 7.869 | 292.1 | 7.993 | 291.033 | 16.898 | 889.683 | 20.901 | 32.3635
2020-04-16 13:15:00 | 6.964 | 266.073 | 7.382 | 274.145 | 7.434 | 278.033 | 7.599 | 274.483 | 17.323 | 889.417 | 20.595 | 24.4449
2020-04-16 13:30:00 | 7.538 | 298.573 | 7.644 | 297.748 | 7.64 | 302.633 | 7.935 | 299.733 | 17.218 | 889.5 | 19.979 | 22.1334
2020-04-16 13:45:00 | 4.443 | 294.413 | 4.674 | 297.004 | 4.808 | 299.5 | 5.244 | 298 | 17.598 | 889.333 | 19.177 | 13.6599
2020-04-16 14:00:00 | 4.489 | 250.44 | 4.758 | 242.999 | 5.014 | 247.833 | 5.175 | 237.283 | 19.077 | 889.733 | 17.875 | 12.1137
2020-04-16 14:15:00 | 5.458 | 322.867 | 5.741 | 312.221 | 5.713 | 314.467 | 5.809 | 307.333 | 18.689 | 889.533 | 17.912 | 21.3845
2020-04-16 14:30:00 | 6.368 | 270.58 | 6.638 | 273.598 | 6.835 | 278.233 | 6.837 | 276.917 | 18.768 | 889.167 | 17.836 | 19.3338
2020-04-16 14:45:00 | 7.953 | 284.28 | 8.516 | 285.994 | 8.678 | 291.85 | 8.813 | 290.033 | 18.606 | 889.8 | 17.119 | 24.0712
2020-04-16 15:00:00 | 7.074 | 309.933 | 7.539 | 307.147 | 7.656 | 311.033 | 8.03 | 311.4 | 17.823 | 889.2 | 18.019 | 37.2543
2020-04-16 15:15:00 | 8.064 | 316.533 | 8.396 | 310.307 | 8.618 | 318.133 | 8.848 | 318.7 | 18.214 | 889.6 | 18.063 | 36.9587
2020-04-16 15:30:00 | 7.384 | 277.467 | 7.999 | 285.499 | 8.31 | 291.567 | 8.834 | 290.567 | 18.281 | 889.633 | 17.952 | 39.8486
2020-04-16 15:45:00 | 7.05 | 301.453 | 7.505 | 299.055 | 7.729 | 303.4 | 8.125 | 298.8 | 18.244 | 889.767 | 17.885 | 32.9326
2020-04-16 16:00:00 | 5.547 | 287.013 | 5.934 | 286.021 | 5.971 | 289.833 | 6.23 | 290.8 | 18.127 | 889.4 | 17.872 | 27.3902
2020-04-16 16:15:00 | 6 | 314.947 | 6.481 | 309.554 | 6.603 | 313.033 | 6.911 | 309.7 | 18.335 | 889.633 | 17.724 | 28.9947
2020-04-16 16:30:00 | 5.372 | 308.733 | 5.536 | 303.718 | 5.768 | 307.467 | 5.955 | 303.567 | 18.423 | 890.2 | 17.379 | 24.4698
2020-04-16 16:45:00 | 6.446 | 286.913 | 6.624 | 285.88 | 6.661 | 292.8 | 6.921 | 289.567 | 18.881 | 889.233 | 17.412 | 25.0418
2020-04-16 17:00:00 | 6.633 | 282.48 | 6.957 | 289.005 | 6.825 | 289.167 | 7.136 | 287.4 | 19.131 | 889.333 | 17.087 | 18.4669
2020-04-16 17:15:00 | 5.98 | 280.82 | 6.154 | 283.969 | 6.372 | 287.467 | 6.842 | 287.533 | 18.756 | 889.567 | 17.737 | 21.6133
2020-04-16 17:30:00 | 7.821 | 304.667 | 8.084 | 304.157 | 8.036 | 310.233 | 8.381 | 309.1 | 18.756 | 889.6 | 17.756 | 25.5925
2020-04-16 17:45:00 | 5.507 | 314.667 | 5.801 | 308.2 | 5.876 | 312.2 | 6.234 | 308.833 | 18.506 | 889.333 | 18.596 | 28.5619
2020-04-16 18:00:00 | 7.555 | 302.2 | 7.75 | 298.71 | 7.728 | 301.133 | 7.884 | 298.467 | 18.473 | 889.333 | 18.24 | 34.7801
2020-04-16 18:15:00 | 6.552 | 278.207 | 6.898 | 280.263 | 7.038 | 284.667 | 7.324 | 281.5 | 18.689 | 889.333 | 18.013 | 30.6951
2020-04-16 18:30:00 | 5.375 | 293.587 | 5.512 | 295.711 | 5.626 | 296.967 | 6.016 | 293.433 | 18.506 | 889.633 | 18.231 | 25.8454
2020-04-16 18:45:00 | 6.335 | 295.28 | 6.808 | 294.345 | 6.658 | 299.267 | 7.43 | 297.267 | 18.535 | 889.333 | 18.291 | 27.6744
2020-04-16 19:00:00 | 6.222 | 285.707 | 6.62 | 284.15 | 6.589 | 288.267 | 7.064 | 283.033 | 18.31 | 889.333 | 19.061 | 32.5432
2020-04-16 19:15:00 | 6.726 | 284 | 7.127 | 287.164 | 7.215 | 292.733 | 7.594 | 289.567 | 18.214 | 889.367 | 18.685 | 33.9871
2020-04-16 19:30:00 | 7.171 | 286.293 | 7.856 | 290.173 | 8.041 | 294.533 | 8.344 | 293.4 | 18.21 | 889.367 | 18.564 | 31.6863
2020-04-16 19:45:00 | 5.956 | 281.347 | 6.373 | 284.429 | 6.348 | 288.667 | 6.617 | 285.533 | 17.944 | 889.167 | 18.581 | 26.9895
2020-04-16 20:00:00 | 6.831 | 280.193 | 7.594 | 288.025 | 7.704 | 291.9 | 8.28 | 290.333 | 17.773 | 889.367 | 18.885 | 32.583
2020-04-16 20:15:00 | 6.324 | 280.473 | 7.143 | 285.724 | 7.442 | 290.4 | 8.041 | 289.833 | 18.227 | 889.633 | 19.681 | 30.214
2020-04-16 20:30:00 | 6.642 | 283.313 | 7.512 | 289.075 | 7.856 | 294.3 | 8.329 | 292.667 | 17.548 | 889.967 | 20.827 | 29.0927
2020-04-16 20:45:00 | 9.294 | 270.407 | 10.328 | 277.22 | 10.642 | 280.167 | 10.957 | 280.267 | 16.814 | 889.8 | 28.88 | 62.1135
2020-04-16 21:00:00 | 8.976 | 264.5 | 9.98 | 274.33 | 10.511 | 277.467 | 10.698 | 275.4 | 16.203 | 889.717 | 31.384 | 62.2229
2020-04-16 21:15:00 | 9.033 | 254.507 | 9.725 | 271.401 | 10.186 | 275.933 | 10.358 | 273.567 | 16.072 | 889.75 | 32.523 | 60.6433
2020-04-16 21:30:00 | 8.753 | 270.913 | 9.298 | 276.957 | 9.572 | 281.067 | 10.075 | 278.367 | 15.471 | 889.817 | 33.672 | 54.3299
2020-04-16 21:45:00 | 7.412 | 257.98 | 8.095 | 271.077 | 8.405 | 275.533 | 8.497 | 270.65 | 15.224 | 889.95 | 34.003 | 44.6229
2020-04-16 22:00:00 | 7.995 | 264.533 | 8.822 | 270.777 | 9.295 | 276.067 | 9.721 | 273.5 | 15.345 | 889.567 | 34.872 | 53.8048
2020-04-16 22:15:00 | 7.866 | 258.047 | 8.56 | 270.26 | 8.653 | 273.733 | 8.988 | 268.967 | 14.924 | 889.883 | 36.187 | 56.4034
2020-04-16 22:30:00 | 7.238 | 258.06 | 7.975 | 266.112 | 8.047 | 271.4 | 8.503 | 265.367 | 14.924 | 889.7 | 37.144 | 56.4353
2020-04-16 22:45:00 | 8.473 | 253.74 | 9.262 | 264.312 | 9.368 | 268.367 | 9.592 | 263.783 | 14.591 | 889.633 | 37.76 | 59.8475
2020-04-16 23:00:00 | 8.232 | 256.38 | 9.063 | 263.664 | 9.524 | 269.333 | 9.748 | 265.4 | 14.478 | 889.567 | 38.115 | 59.5
2020-04-16 23:15:00 | 7.586 | 256.987 | 8.362 | 265.66 | 8.678 | 269.783 | 8.82 | 267.467 | 14.145 | 889.45 | 38.384 | 57.1814
2020-04-16 23:30:00 | 7.279 | 255.193 | 8.284 | 264.581 | 8.929 | 269.067 | 9.346 | 265.417 | 14.312 | 889.383 | 38.528 | 52.6906
2020-04-16 23:45:00 | 7.428 | 250.713 | 8.398 | 270.167 | 8.914 | 275.933 | 9.064 | 272.433 | 14.099 | 889.717 | 38.616 | 44.7224