## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-17 00:00:00 | 7.597 | 259.127 | 8.296 | 275.154 | 8.564 | 279.333 | 9.048 | 276.633 | 14.149 | 889.65 | 38.952 | 44.3706
2020-04-17 00:15:00 | 8.424 | 259.64 | 9.51 | 277.973 | 9.585 | 279.867 | 9.827 | 276.567 | 14.12 | 890.017 | 39.4 | 45.5715
2020-04-17 00:30:00 | 7.726 | 259.34 | 8.619 | 277.053 | 8.872 | 279.7 | 9.163 | 277.3 | 14.066 | 889.717 | 39.931 | 45.0364
2020-04-17 00:45:00 | 6.767 | 262.313 | 7.69 | 276.347 | 7.931 | 279.767 | 8.096 | 278.5 | 13.554 | 890.033 | 40.221 | 51.5779
2020-04-17 01:00:00 | 7.436 | 256.76 | 8.414 | 272.454 | 8.546 | 274.667 | 8.902 | 270.467 | 13.308 | 889.792 | 40.997 | 48.4187
2020-04-17 01:15:00 | 8.519 | 260.147 | 9.681 | 270.919 | 10.137 | 274.9 | 10.325 | 270.267 | 13.351 | 889.992 | 41.792 | 47.7664
2020-04-17 01:30:00 | 7.322 | 251.513 | 8.108 | 268.721 | 8.426 | 274.967 | 8.79 | 271.2 | 13.041 | 889.958 | 42.261 | 47.2925
2020-04-17 01:45:00 | 6.692 | 254.787 | 7.644 | 272.94 | 7.797 | 278.1 | 8.042 | 275.6 | 12.876 | 889.942 | 42.523 | 40.1925
2020-04-17 02:00:00 | 6.539 | 260.333 | 7.159 | 265.327 | 7.438 | 270.1 | 7.722 | 266.133 | 12.701 | 889.867 | 41.771 | 30.2552
2020-04-17 02:15:00 | 6.402 | 251.48 | 7.308 | 269.259 | 7.508 | 272.733 | 8.091 | 269.6 | 12.624 | 889.55 | 41.568 | 24.3604
2020-04-17 02:30:00 | 5.686 | 248.147 | 6.574 | 261.512 | 7.029 | 267.633 | 7.412 | 263.783 | 12.67 | 889.858 | 40.731 | 25.4916
2020-04-17 02:45:00 | 5.512 | 263.867 | 6.105 | 269.876 | 6.434 | 271.917 | 6.788 | 267.567 | 13.041 | 889.8 | 40.355 | 21.5152
2020-04-17 03:00:00 | 4.8 | 261.3 | 5.492 | 271.683 | 5.945 | 277.133 | 6.331 | 274.167 | 12.49 | 889.75 | 40.219 | 20.1218
2020-04-17 03:15:00 | 4.711 | 257.36 | 5.438 | 269.168 | 5.732 | 272.733 | 6.016 | 268.983 | 12.303 | 889.767 | 40.341 | 18.1422
2020-04-17 03:30:00 | 4.85 | 248.907 | 5.647 | 264.09 | 5.958 | 269.167 | 6.221 | 265.033 | 12.386 | 889.783 | 40.267 | 14.4899
2020-04-17 03:45:00 | 4.603 | 257.127 | 5.382 | 263.54 | 5.775 | 269.5 | 6.024 | 266.467 | 12.128 | 890.05 | 40.179 | 9.96
2020-04-17 04:00:00 | 3.553 | 258.26 | 4.07 | 270.371 | 4.288 | 275.4 | 4.643 | 271.833 | 12.086 | 889.867 | 40.365 | 6.2324
2020-04-17 04:15:00 | 3.514 | 259.207 | 3.886 | 263.485 | 3.976 | 268.933 | 4.294 | 265.133 | 12.29 | 889.583 | 40.413 | 6.2921
2020-04-17 04:30:00 | 3.522 | 256.467 | 4.128 | 262.316 | 4.512 | 271.633 | 4.899 | 264.767 | 11.99 | 889.7 | 40.701 | 6.3354
2020-04-17 04:45:00 | 2.997 | 254.373 | 3.414 | 259.408 | 3.613 | 262.433 | 4.014 | 258.883 | 12.349 | 889.483 | 40.829 | 9.8591
2020-04-17 05:00:00 | 4.272 | 248.273 | 4.829 | 256.212 | 4.93 | 261.533 | 5.243 | 258.483 | 12.178 | 889.633 | 40.728 | 18.0377
2020-04-17 05:15:00 | 4.458 | 255.673 | 5.096 | 259.957 | 5.395 | 264.067 | 5.673 | 258.517 | 12.395 | 889.517 | 39.965 | 16.79
2020-04-17 05:30:00 | 4.62 | 251.453 | 5.332 | 253.977 | 5.536 | 258.167 | 5.737 | 252.667 | 11.949 | 889.733 | 39.987 | 17.9518
2020-04-17 05:45:00 | 5.012 | 251.147 | 5.725 | 259.343 | 6.055 | 261.85 | 6.26 | 257.883 | 11.87 | 889.817 | 39.2 | 22.0858
2020-04-17 06:00:00 | 5.996 | 246.74 | 6.5 | 261.787 | 6.989 | 265.833 | 7.169 | 261.633 | 11.82 | 889.9 | 39.171 | 24.0307
2020-04-17 06:15:00 | 5.1 | 257.86 | 5.758 | 262.043 | 5.943 | 265.567 | 6.45 | 260.283 | 11.816 | 889.5 | 39.467 | 24.6865
2020-04-17 06:30:00 | 5.48 | 252.267 | 6.204 | 257.802 | 6.483 | 262.467 | 6.644 | 259.417 | 11.42 | 889.85 | 39.896 | 34.0703
2020-04-17 06:45:00 | 6.847 | 248.207 | 7.461 | 257.5 | 7.8 | 261.6 | 8.142 | 259.3 | 11.078 | 890.417 | 40.104 | 42.4073
2020-04-17 07:00:00 | 6.116 | 247.76 | 7.104 | 266.552 | 7.436 | 270.8 | 8.064 | 267.733 | 11.286 | 890.117 | 40.413 | 41.6555
2020-04-17 07:15:00 | 7.556 | 249.947 | 8.57 | 265.427 | 9.13 | 271.167 | 9.201 | 266.733 | 10.811 | 889.75 | 40.504 | 34.4795
2020-04-17 07:30:00 | 6.442 | 251.593 | 7.586 | 264.626 | 8.109 | 268.8 | 8.219 | 264.233 | 11.161 | 889.517 | 40.821 | 31.5484
2020-04-17 07:45:00 | 7.077 | 248.233 | 8.16 | 261.13 | 8.719 | 266.833 | 8.874 | 262.667 | 10.911 | 890.075 | 41.275 | 35.075
2020-04-17 08:00:00 | 6.402 | 244.64 | 7.112 | 265.694 | 7.476 | 270.933 | 7.829 | 265.333 | 10.778 | 889.683 | 41.483 | 31.0447
2020-04-17 08:15:00 | 6.877 | 245.82 | 7.451 | 261.743 | 7.864 | 266.5 | 8.12 | 262.133 | 10.945 | 889.533 | 41.355 | 23.9148
2020-04-17 08:30:00 | 6.197 | 246.9 | 7.001 | 258.346 | 7.163 | 262.467 | 7.208 | 257.767 | 11.116 | 889.442 | 40.933 | 16.38
2020-04-17 08:45:00 | 4.193 | 253.367 | 4.608 | 253.832 | 4.826 | 258.05 | 4.857 | 250.5 | 11.178 | 889.417 | 40.699 | 12.8563
2020-04-17 09:00:00 | 4.515 | 250.453 | 4.742 | 259.349 | 4.705 | 263.583 | 4.842 | 256.033 | 11.657 | 889.6 | 40.051 | 12.4804
2020-04-17 09:15:00 | 5.418 | 255.253 | 5.654 | 260.308 | 5.819 | 264.033 | 5.862 | 258.883 | 11.686 | 889.617 | 39.752 | 12.4442
2020-04-17 09:30:00 | 4.948 | 253.513 | 5.244 | 266.749 | 5.484 | 269.833 | 5.546 | 265.983 | 11.828 | 889.383 | 39.547 | 14.529
2020-04-17 09:45:00 | 5.655 | 251.393 | 5.814 | 268.497 | 5.819 | 271.267 | 5.883 | 266.683 | 12.366 | 890.1 | 38.827 | 18.0654
2020-04-17 10:00:00 | 5.602 | 253.193 | 5.73 | 267.544 | 6.04 | 272.567 | 6.289 | 268.633 | 12.149 | 889.783 | 38.579 | 19.2329
2020-04-17 10:15:00 | 6.664 | 250.213 | 6.882 | 257.196 | 6.877 | 262.3 | 6.858 | 257.767 | 12.664 | 889.9 | 37.552 | 21.6019
2020-04-17 10:30:00 | 6.316 | 249.16 | 6.962 | 267.873 | 6.79 | 271.7 | 6.96 | 268.9 | 12.697 | 890.033 | 36.485 | 22.2649
2020-04-17 10:45:00 | 5.482 | 266.76 | 5.946 | 278.137 | 5.899 | 281.6 | 6.21 | 279.233 | 12.872 | 890.567 | 36.723 | 23.1169
2020-04-17 11:00:00 | 6.313 | 256.06 | 6.507 | 268.785 | 6.8 | 272.333 | 7.057 | 269.3 | 13.376 | 889.85 | 36.573 | 23.2469
2020-04-17 11:15:00 | 5.88 | 263.24 | 6.168 | 276.316 | 6.406 | 279.533 | 6.62 | 278.1 | 13.341 | 889.633 | 36.875 | 18.7384
2020-04-17 11:30:00 | 5.879 | 286.007 | 6.076 | 288.73 | 6.147 | 291.467 | 6.354 | 287.233 | 13.422 | 889.767 | 36.344 | 13.6315
2020-04-17 11:45:00 | 5.258 | 274.42 | 5.58 | 286.266 | 5.579 | 290.033 | 6.237 | 288.333 | 13.443 | 889.65 | 35.971 | 13.2052
2020-04-17 12:00:00 | 5.689 | 303.253 | 5.766 | 303.364 | 5.811 | 306.633 | 6.165 | 305.633 | 13.749 | 889.65 | 35.28 | 10.2869
2020-04-17 12:15:00 | 4.948 | 268.433 | 4.974 | 283.458 | 4.792 | 286.5 | 5.071 | 288.033 | 14.662 | 889.75 | 33.384 | 6.5429
2020-04-17 12:30:00 | 3.555 | 311.453 | 3.674 | 307.533 | 3.758 | 315.433 | 4.256 | 313.333 | 14.666 | 889.817 | 32.077 | 4.009
2020-04-17 12:45:00 | 3.112 | 326.733 | 3.147 | 311.234 | 3.164 | 310.933 | 3.841 | 306.367 | 14.958 | 889.767 | 30.408 | 2.5452
2020-04-17 13:00:00 | 1.973 | 288.993 | 1.49 | 291.948 | 1.593 | 296.033 | 2.406 | 294.933 | 15.875 | 889.783 | 28.629 | 1.3764
2020-04-17 13:15:00 | 3.073 | 289.527 | 2.836 | 305.687 | 3.01 | 303.8 | 3.527 | 304.1 | 16.338 | 889.317 | 27.928 | 0.58195
2020-04-17 13:30:00 | 2.734 | 129.92 | 2.394 | 193.676 | 2.592 | 177.667 | 3.054 | 243.867 | 16.41 | 889.45 | 27.229 | 0.79726
2020-04-17 13:45:00 | 2.283 | 249.573 | 2.098 | 257.526 | 2.03 | 223.803 | 2.958 | 206.7 | 16.48 | 890.883 | 27.045 | 0.96992
2020-04-17 14:00:00 | 5.218 | 289.413 | 5.342 | 287.119 | 5.311 | 290.3 | 5.491 | 290.6 | 16.764 | 889.683 | 27.211 | 1.8638
2020-04-17 14:15:00 | 1.671 | 195.037 | 1.181 | 190.394 | 1.421 | 257.067 | 2.328 | 216 | 16.831 | 889.967 | 26.432 | 3.1038
2020-04-17 14:30:00 | 4.817 | 296.407 | 4.948 | 296.71 | 5.279 | 306.667 | 5.892 | 310.5 | 17.148 | 889.55 | 25.733 | 6.3063
2020-04-17 14:45:00 | 4.158 | 326.84 | 4.257 | 333.194 | 4.314 | 312.534 | 4.773 | 323.733 | 16.698 | 889.7 | 26.269 | 8.6696
2020-04-17 15:00:00 | 3.707 | 303.64 | 3.627 | 302.289 | 3.453 | 306.567 | 3.99 | 304.267 | 16.681 | 889.517 | 26.472 | 8.3762
2020-04-17 15:15:00 | 3.599 | 122.524 | 3.914 | 165.176 | 4.049 | 131.967 | 4.647 | 118.2 | 16.964 | 889.35 | 25.413 | 8.1083
2020-04-17 15:30:00 | 4.127 | 307.84 | 4.036 | 307.441 | 3.843 | 313.833 | 4.003 | 311.967 | 16.964 | 889.533 | 25.712 | 5.6696
2020-04-17 15:45:00 | 4.266 | 295.32 | 4.21 | 313.187 | 4.426 | 325.933 | 4.729 | 322.4 | 17.139 | 889.55 | 25.336 | 6.0022
2020-04-17 16:00:00 | 2.942 | 297.313 | 2.675 | 307.73 | 2.727 | 315.5 | 3.151 | 306.033 | 17.323 | 889.8 | 25.603 | 4.8262
2020-04-17 16:15:00 | 2.33 | 316.467 | 2.183 | 316.686 | 1.905 | 316.967 | 2.782 | 314.967 | 17.573 | 889.233 | 25.971 | 3.0796
2020-04-17 16:30:00 | 5.071 | 304.173 | 5.239 | 299.911 | 5.492 | 302.3 | 5.761 | 303.233 | 17.868 | 889.85 | 25.435 | 7.0957
2020-04-17 16:45:00 | 3.833 | 272.867 | 3.777 | 319.644 | 3.879 | 326.7 | 4.429 | 327.233 | 17.431 | 889.783 | 26.365 | 12.4676
2020-04-17 17:00:00 | 4.711 | 175.903 | 5.192 | 244.226 | 5.309 | 163.433 | 5.692 | 269.133 | 17.048 | 889.817 | 26.821 | 13.4354
2020-04-17 17:15:00 | 4.259 | 304.92 | 4.372 | 330.155 | 4.43 | 323.967 | 4.832 | 331.733 | 17.031 | 889.7 | 26.952 | 6.7163
2020-04-17 17:30:00 | 5.751 | 288.027 | 5.788 | 332.522 | 6.109 | 300.5 | 6.319 | 332.4 | 17.664 | 889.65 | 26.224 | 14.5794
2020-04-17 17:45:00 | 8.937 | 331.4 | 9.07 | 326.753 | 9.302 | 331.467 | 9.658 | 328.833 | 16.564 | 889.517 | 27.243 | 43.1094
2020-04-17 18:00:00 | 6.993 | 302.733 | 7.109 | 303.208 | 7.4 | 309.9 | 8.029 | 309.367 | 16.398 | 889.6 | 27.931 | 38.3891
2020-04-17 18:15:00 | 7.509 | 323.267 | 7.813 | 317.715 | 7.725 | 322 | 8.188 | 321.267 | 16.217 | 889.733 | 28.117 | 38.9469
2020-04-17 18:30:00 | 7.95 | 322.08 | 8.288 | 319.833 | 8.388 | 324.967 | 8.854 | 324.033 | 15.913 | 889.483 | 28.315 | 48.548
2020-04-17 18:45:00 | 7.437 | 314.507 | 7.64 | 309.755 | 7.887 | 314.767 | 8.296 | 313.567 | 15.832 | 890 | 27.997 | 48.6447
2020-04-17 19:00:00 | 7.625 | 313.467 | 8.031 | 311.165 | 8.258 | 316.2 | 8.672 | 314.567 | 15.661 | 889.85 | 28.197 | 48.0464
2020-04-17 19:15:00 | 8.017 | 312.933 | 8.368 | 308.303 | 8.687 | 313.3 | 8.883 | 310.367 | 15.141 | 889.633 | 29.277 | 47.6755
2020-04-17 19:30:00 | 7.081 | 317.933 | 7.397 | 314.99 | 7.561 | 319.2 | 7.939 | 318.167 | 14.741 | 889.6 | 30.387 | 42.914
2020-04-17 19:45:00 | 7.82 | 304.027 | 8.128 | 302.314 | 8.348 | 307.267 | 8.519 | 303.967 | 14.433 | 889.467 | 31.251 | 43.0944
2020-04-17 20:00:00 | 6.724 | 304 | 7.006 | 306.804 | 7.111 | 312.833 | 7.511 | 309.7 | 14.166 | 890.017 | 32.904 | 28.1512
2020-04-17 20:15:00 | 6.38 | 293.907 | 6.753 | 299.815 | 7.001 | 302.667 | 7.569 | 300.6 | 13.57 | 889.967 | 33.645 | 22.8824
2020-04-17 20:30:00 | 6.413 | 283.907 | 6.861 | 288.534 | 7.072 | 294.1 | 7.44 | 291.433 | 13.068 | 890 | 34.603 | 20.4089
2020-04-17 20:45:00 | 6.363 | 318.44 | 6.523 | 317.081 | 6.701 | 320.533 | 7.101 | 319.167 | 12.987 | 889.983 | 36.56 | 36.3384
2020-04-17 21:00:00 | 7.313 | 312.72 | 7.842 | 309.703 | 8.113 | 315.367 | 8.474 | 314.533 | 12.257 | 889.742 | 45.029 | 38.7557
2020-04-17 21:15:00 | 6.61 | 309.6 | 6.969 | 306.491 | 7.188 | 311 | 7.569 | 310.933 | 11.703 | 889.85 | 51.019 | 31.7382
2020-04-17 21:30:00 | 6.248 | 309.48 | 6.788 | 308.192 | 7.1 | 311.7 | 7.788 | 309.233 | 11.486 | 889.992 | 53.712 | 28.4639
2020-04-17 21:45:00 | 7.029 | 283.053 | 7.655 | 296.464 | 8.075 | 298.967 | 8.914 | 295.1 | 11.94 | 889.567 | 54.976 | 29.976
2020-04-17 22:00:00 | 6.842 | 270.813 | 7.848 | 284.688 | 8.106 | 288 | 8.75 | 285.5 | 12.086 | 889.808 | 51.152 | 37.0823
2020-04-17 22:15:00 | 7.573 | 265.473 | 8.595 | 280.722 | 8.678 | 283.833 | 8.916 | 282.167 | 12.457 | 889.725 | 51.285 | 40.3204
2020-04-17 22:30:00 | 8.542 | 284.787 | 9.298 | 290.515 | 9.78 | 293.433 | 10.174 | 292.2 | 12.003 | 889.983 | 53.867 | 40.4185
2020-04-17 22:45:00 | 7.775 | 287.48 | 8.526 | 296.449 | 8.55 | 300.5 | 8.976 | 296.433 | 11.595 | 890.025 | 57.765 | 29.9362
2020-04-17 23:00:00 | 5.31 | 293.667 | 5.711 | 294.676 | 5.94 | 299.433 | 6.256 | 296.267 | 11.095 | 889.775 | 55.2 | 15.8733
2020-04-17 23:15:00 | 4.724 | 293.933 | 4.82 | 300.024 | 5.018 | 305.967 | 5.319 | 303.867 | 10.995 | 889.892 | 53.744 | 8.2724
2020-04-17 23:30:00 | 4.572 | 308.933 | 4.687 | 307.009 | 4.928 | 310.9 | 5.346 | 308.1 | 10.911 | 890.058 | 51.963 | 8.2113
2020-04-17 23:45:00 | 4.649 | 315.733 | 4.847 | 310.904 | 5.001 | 314.867 | 5.174 | 312.2 | 10.795 | 889.783 | 51.664 | 8.2909