## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-18 00:00:00 | 3.414 | 305.067 | 3.508 | 304.446 | 3.593 | 307.7 | 3.942 | 309 | 11.028 | 889.825 | 52.368 | 5.1175
2020-04-18 00:15:00 | 3.506 | 278.88 | 3.753 | 283.065 | 3.817 | 287.633 | 4.292 | 287.167 | 11.095 | 890.158 | 52.592 | 6.7781
2020-04-18 00:30:00 | 3.15 | 296.193 | 3.833 | 297.522 | 4.144 | 301.3 | 4.607 | 298.133 | 10.738 | 889.6 | 53.36 | 5.8011
2020-04-18 00:45:00 | 3.315 | 278.547 | 3.734 | 281.553 | 3.839 | 286 | 4.309 | 284.467 | 9.987 | 890.3 | 54.971 | 5.465
2020-04-18 01:00:00 | 3.426 | 256.073 | 3.919 | 266.778 | 3.983 | 273.3 | 4.324 | 272.367 | 9.785 | 889.658 | 55.925 | 5.8501
2020-04-18 01:15:00 | 3.812 | 238.953 | 4.552 | 250.189 | 4.386 | 258.433 | 4.429 | 258.067 | 9.124 | 889.858 | 58.027 | 6.6914
2020-04-18 01:30:00 | 4.078 | 246.173 | 5.038 | 259.428 | 5.038 | 269.067 | 5.107 | 269.1 | 8.421 | 889.967 | 61.109 | 7.8582
2020-04-18 01:45:00 | 4.535 | 241.76 | 5.092 | 252.744 | 5.079 | 264 | 5.174 | 261.967 | 8.06 | 889.633 | 63.723 | 8.9318
2020-04-18 02:00:00 | 3.706 | 230.26 | 4.744 | 242.294 | 4.649 | 254.333 | 4.714 | 255.25 | 7.743 | 889.808 | 62.976 | 9.9543
2020-04-18 02:15:00 | 4.1 | 228.26 | 5.441 | 237.661 | 5.472 | 249.2 | 5.324 | 248.8 | 7.559 | 889.85 | 63.819 | 12.9849
2020-04-18 02:30:00 | 3.92 | 221.767 | 5.214 | 235.591 | 5.292 | 246.933 | 5.194 | 245.867 | 7.573 | 889.817 | 64.043 | 12.1699
2020-04-18 02:45:00 | 4.011 | 232.26 | 5.324 | 243.576 | 5.281 | 252.567 | 5.298 | 252.7 | 7.526 | 890.008 | 64.288 | 12.9366
2020-04-18 03:00:00 | 4.552 | 244.7 | 5.664 | 258.516 | 5.79 | 267.6 | 6.026 | 266.533 | 7.539 | 889.508 | 64.624 | 14.6931
2020-04-18 03:15:00 | 4.829 | 248.5 | 5.539 | 267.078 | 5.797 | 277.067 | 6.14 | 277.033 | 6.939 | 890.075 | 64.789 | 14.8956
2020-04-18 03:30:00 | 5.782 | 244.7 | 6.053 | 263.193 | 6.285 | 273.2 | 6.729 | 274.1 | 7.089 | 889.8 | 65.723 | 13.9186
2020-04-18 03:45:00 | 5.251 | 243.3 | 5.593 | 258.509 | 5.795 | 269.933 | 6.049 | 269.233 | 7.239 | 889.933 | 65.621 | 15.4172
2020-04-18 04:00:00 | 5.268 | 244.007 | 6.02 | 254.417 | 6.241 | 260.433 | 6.385 | 258.567 | 6.843 | 889.692 | 66.432 | 22.0468
2020-04-18 04:15:00 | 5.576 | 241.467 | 6.78 | 252.033 | 7.123 | 259.2 | 7.339 | 256.4 | 7.372 | 890.308 | 66.224 | 27.9494
2020-04-18 04:30:00 | 5.457 | 245.953 | 6.725 | 255.539 | 7.237 | 261.733 | 7.529 | 258.983 | 7.016 | 890.033 | 67.429 | 28.8881
2020-04-18 04:45:00 | 5.286 | 242.3 | 6.564 | 250.091 | 6.798 | 257.7 | 7.072 | 255.95 | 7.089 | 890.133 | 67.547 | 32.7408
2020-04-18 05:00:00 | 5.91 | 243.613 | 7.13 | 251.781 | 7.412 | 259.367 | 7.845 | 256.65 | 6.367 | 889.783 | 68.827 | 36.1323
2020-04-18 05:15:00 | 5.135 | 239.4 | 6.261 | 247.571 | 6.668 | 255.567 | 7 | 253.717 | 6.592 | 889.692 | 69.333 | 34.8661
2020-04-18 05:30:00 | 5.73 | 234.327 | 6.68 | 240.466 | 6.967 | 248.9 | 7.102 | 246.65 | 6.77 | 889.783 | 70.229 | 37.1676
2020-04-18 05:45:00 | 5.974 | 231.053 | 7.169 | 237.65 | 7.417 | 244.933 | 7.32 | 241.767 | 6.469 | 889.6 | 70.368 | 44.1162
2020-04-18 06:00:00 | 6.131 | 234.573 | 7.366 | 238.526 | 7.666 | 245.8 | 7.709 | 242.833 | 6.528 | 890.367 | 70.048 | 47.0168
2020-04-18 06:15:00 | 5.59 | 234.1 | 7.163 | 236.914 | 7.987 | 244.033 | 7.9 | 239.7 | 6.839 | 889.708 | 69.195 | 43.0454
2020-04-18 06:30:00 | 6.508 | 243.327 | 7.724 | 250.023 | 7.848 | 255.233 | 7.935 | 251.85 | 6.952 | 890.017 | 67.829 | 41.9796
2020-04-18 06:45:00 | 5.401 | 247.887 | 6.919 | 250.524 | 7.194 | 256.033 | 7.286 | 252.2 | 6.956 | 889.892 | 67.136 | 42.2467
2020-04-18 07:00:00 | 5.388 | 247.027 | 6.999 | 252.326 | 7.476 | 257.5 | 7.771 | 255.683 | 7.239 | 890.117 | 65.707 | 45.8571
2020-04-18 07:15:00 | 5.8 | 243 | 7.105 | 245.503 | 7.34 | 251.767 | 7.611 | 248.283 | 7.206 | 889.692 | 64.619 | 47.8417
2020-04-18 07:30:00 | 6.225 | 241.127 | 7.656 | 244.812 | 7.932 | 250.7 | 7.848 | 246.9 | 7.826 | 889.817 | 61.483 | 50.8659
2020-04-18 07:45:00 | 5.407 | 240.733 | 6.203 | 244.582 | 6.493 | 251.533 | 6.776 | 248.667 | 8.424 | 890.192 | 58.816 | 45.1402
2020-04-18 08:00:00 | 5.682 | 233.08 | 6.502 | 236.066 | 6.808 | 242.2 | 6.948 | 238.567 | 8.878 | 889.933 | 57.227 | 42.5686
2020-04-18 08:15:00 | 5.37 | 233.033 | 6.097 | 235.782 | 6.568 | 244.167 | 6.956 | 241.4 | 8.774 | 889.583 | 56.683 | 36.4322
2020-04-18 08:30:00 | 5.47 | 235.56 | 6.11 | 240.538 | 6.31 | 247.467 | 6.402 | 246.717 | 9.999 | 890.033 | 53.067 | 32.0089
2020-04-18 08:45:00 | 6.714 | 243.387 | 7.333 | 251.461 | 7.477 | 257.6 | 7.703 | 252.817 | 11.011 | 889.675 | 48.896 | 37.0973
2020-04-18 09:00:00 | 7.659 | 246.8 | 8.158 | 256.675 | 8.375 | 259.517 | 8.558 | 256.133 | 11.561 | 889.533 | 46.352 | 47.6613
2020-04-18 09:15:00 | 7.991 | 245.56 | 8.412 | 262.542 | 8.586 | 267.833 | 8.846 | 264.583 | 11.982 | 889.925 | 44.923 | 52.216
2020-04-18 09:30:00 | 8.297 | 260.84 | 8.87 | 273.074 | 8.845 | 275 | 8.711 | 270.15 | 11.866 | 889.967 | 44.832 | 55.1805
2020-04-18 09:45:00 | 7.856 | 254.173 | 8.643 | 273.94 | 8.622 | 276.4 | 8.593 | 275.5 | 12.436 | 889.55 | 42.699 | 60.703
2020-04-18 10:00:00 | 9.786 | 253.02 | 10.491 | 273.404 | 10.645 | 277.1 | 10.614 | 274.333 | 12.545 | 889.758 | 41.445 | 63.8132
2020-04-18 10:15:00 | 9.675 | 252.807 | 10.457 | 279.008 | 10.613 | 280.9 | 10.867 | 279.767 | 12.353 | 890.158 | 42.544 | 66.3698
2020-04-18 10:30:00 | 9.266 | 263.333 | 9.67 | 283.158 | 10.092 | 285.833 | 10.182 | 282.6 | 13.07 | 889.475 | 41.696 | 61.8477
2020-04-18 10:45:00 | 8.208 | 271.047 | 8.591 | 283.66 | 8.813 | 285.533 | 9.263 | 284.167 | 13.041 | 889.475 | 40.877 | 55.022
2020-04-18 11:00:00 | 8.99 | 286.9 | 9.354 | 295.661 | 9.642 | 297.4 | 9.848 | 295 | 13.654 | 890.217 | 38.827 | 55.8065
2020-04-18 11:15:00 | 9.631 | 276.793 | 10.108 | 286.751 | 10.14 | 288.067 | 10.585 | 285.5 | 13.899 | 889.55 | 37.451 | 64.0292
2020-04-18 11:30:00 | 9.018 | 255.107 | 9.808 | 273.957 | 10.003 | 275.967 | 10.216 | 273.467 | 14.387 | 889.333 | 36.936 | 63.6021
2020-04-18 11:45:00 | 8.308 | 250.073 | 8.92 | 267.603 | 9.41 | 273.067 | 9.654 | 269.483 | 14.905 | 889.867 | 35.741 | 60.0521
2020-04-18 12:00:00 | 9.146 | 277.78 | 9.326 | 291.086 | 9.55 | 291.6 | 9.908 | 291.567 | 15.305 | 889.6 | 34.861 | 60.023
2020-04-18 12:15:00 | 9.788 | 321.04 | 10.237 | 315.63 | 10.483 | 319.633 | 11.017 | 317.967 | 15.129 | 890 | 33.592 | 60.7584
2020-04-18 12:30:00 | 8.385 | 266.573 | 8.882 | 279.463 | 8.935 | 286.1 | 9.203 | 287.633 | 15.55 | 889.9 | 33.224 | 48.1139
2020-04-18 12:45:00 | 8.496 | 299.273 | 8.83 | 301.927 | 8.867 | 305.467 | 9.289 | 303.6 | 15.858 | 889.783 | 32.349 | 55.3539
2020-04-18 13:00:00 | 7.551 | 280.02 | 7.853 | 288.264 | 8.017 | 289.8 | 8.437 | 287.233 | 16.034 | 889.45 | 31.48 | 57.2312
2020-04-18 13:15:00 | 8.398 | 290.267 | 8.845 | 294.669 | 9.148 | 298.667 | 9.531 | 295.733 | 16.631 | 889.483 | 30.853 | 52.5393
2020-04-18 13:30:00 | 7.296 | 303.227 | 7.263 | 304.967 | 7.868 | 310.533 | 8.215 | 308.3 | 16.179 | 889.433 | 31.008 | 56.3181
2020-04-18 13:45:00 | 8.411 | 307.293 | 8.905 | 311.829 | 9.298 | 317.067 | 9.664 | 315.867 | 16.448 | 889.75 | 30.344 | 52.7404
2020-04-18 14:00:00 | 9.18 | 315.267 | 9.315 | 323.09 | 9.757 | 325.967 | 9.977 | 322.533 | 16.431 | 889.9 | 30.035 | 55.248
2020-04-18 14:15:00 | 9.128 | 311.36 | 9.046 | 308.66 | 9.448 | 312.567 | 10.078 | 307 | 16.748 | 889.65 | 29.755 | 48.5651
2020-04-18 14:30:00 | 7.571 | 310.64 | 8.116 | 308.87 | 8.341 | 313.3 | 9.183 | 308.1 | 17.018 | 890.167 | 29.379 | 52.9322
2020-04-18 14:45:00 | 8.26 | 283.087 | 8.474 | 293.743 | 8.531 | 297.467 | 8.782 | 297.667 | 16.681 | 890.033 | 29.085 | 56.5909
2020-04-18 15:00:00 | 9.144 | 303.787 | 9.711 | 302.613 | 9.879 | 306.133 | 10.561 | 302.367 | 17.106 | 889.733 | 28.763 | 57.0919
2020-04-18 15:15:00 | 8.136 | 291.293 | 8.363 | 295.132 | 8.804 | 301.833 | 9.03 | 301.367 | 17.181 | 889.75 | 28.363 | 54.401
2020-04-18 15:30:00 | 7.488 | 276.84 | 8.15 | 282.867 | 8.712 | 286.2 | 8.974 | 284.067 | 17.031 | 889.617 | 28.016 | 48.5068
2020-04-18 15:45:00 | 7.942 | 307.813 | 8.394 | 304.076 | 8.352 | 306.767 | 8.734 | 305.167 | 17.585 | 889.85 | 27.195 | 39.8557
2020-04-18 16:00:00 | 7.225 | 300.213 | 7.605 | 300.391 | 7.687 | 304.3 | 8.122 | 302.067 | 17.218 | 889.967 | 27.077 | 39.0591
2020-04-18 16:15:00 | 9.261 | 312.76 | 9.688 | 309.989 | 9.877 | 314.033 | 10.51 | 312.733 | 17.802 | 889.65 | 26.893 | 46.518
2020-04-18 16:30:00 | 8.029 | 324.667 | 8.166 | 318.289 | 8.212 | 322.6 | 8.542 | 321.4 | 17.535 | 889.533 | 26.584 | 48.2368
2020-04-18 16:45:00 | 7.264 | 299.027 | 7.757 | 298.134 | 8.439 | 302.433 | 9.023 | 299.4 | 17.718 | 889.767 | 26.371 | 44.0303
2020-04-18 17:00:00 | 7.472 | 272.387 | 7.562 | 280.906 | 7.671 | 285.5 | 7.824 | 286.1 | 17.96 | 889.267 | 26.011 | 41.4481
2020-04-18 17:15:00 | 7.089 | 303.427 | 7.314 | 304.291 | 7.714 | 310.5 | 8.041 | 310.333 | 18.06 | 889.55 | 24.032 | 41.3912
2020-04-18 17:30:00 | 6.835 | 312.133 | 7.077 | 311.093 | 7.406 | 318.433 | 7.589 | 316.967 | 18.623 | 889.65 | 22.229 | 41.7572
2020-04-18 17:45:00 | 6.922 | 303.933 | 7.154 | 304.606 | 7.347 | 308.033 | 7.724 | 305.933 | 18.089 | 889.817 | 21.24 | 40.643
2020-04-18 18:00:00 | 8.914 | 288.34 | 9.37 | 296.644 | 9.639 | 303.067 | 9.872 | 303.2 | 18.223 | 889.25 | 20.939 | 35.7209
2020-04-18 18:15:00 | 6.447 | 301.467 | 6.707 | 301.739 | 7.04 | 303.933 | 7.355 | 299.267 | 18.489 | 889.45 | 20.259 | 33.0996
2020-04-18 18:30:00 | 7.511 | 323.133 | 7.596 | 317.087 | 7.856 | 320.633 | 8.216 | 317.867 | 18.373 | 889.567 | 20.056 | 38.2043
2020-04-18 18:45:00 | 6.685 | 275.653 | 7.073 | 281.352 | 7.035 | 287.2 | 7.053 | 283.333 | 18.473 | 889.767 | 19.988 | 31.0425
2020-04-18 19:00:00 | 6.559 | 291.26 | 6.773 | 294.841 | 6.954 | 299.7 | 7.327 | 296.1 | 18.689 | 889.333 | 19.955 | 29.4523
2020-04-18 19:15:00 | 5.74 | 300.147 | 6.228 | 303.103 | 6.436 | 308.9 | 6.81 | 308.967 | 18.556 | 889.5 | 19.709 | 23.3457
2020-04-18 19:30:00 | 6.274 | 282.407 | 6.637 | 284.884 | 6.888 | 287.667 | 7.218 | 286.767 | 18.177 | 889.433 | 20.568 | 27.9267
2020-04-18 19:45:00 | 7.162 | 281.24 | 7.7 | 287.625 | 7.904 | 291.833 | 8.009 | 288.567 | 18.323 | 889.817 | 21.301 | 37.0987
2020-04-18 20:00:00 | 6.471 | 272.62 | 7.084 | 282.72 | 7.349 | 288.167 | 7.892 | 284.367 | 18.081 | 889.167 | 22.192 | 33.754
2020-04-18 20:15:00 | 5.659 | 270.967 | 6.348 | 278.87 | 6.502 | 282.8 | 6.762 | 281.033 | 17.46 | 889.9 | 22.656 | 27.4591
2020-04-18 20:30:00 | 6.658 | 280.4 | 7.737 | 288.084 | 8.29 | 291.833 | 8.441 | 288.967 | 17.16 | 889.867 | 23.256 | 31.768
2020-04-18 20:45:00 | 5.754 | 261.107 | 6.747 | 276.978 | 7.168 | 282.367 | 7.547 | 279 | 16.964 | 889.583 | 25.581 | 42.4109
2020-04-18 21:00:00 | 7.135 | 270.587 | 8.454 | 282.497 | 8.861 | 285.967 | 9.368 | 284.267 | 16.381 | 890.017 | 27.453 | 45.0023
2020-04-18 21:15:00 | 7.426 | 257.46 | 8.468 | 274.926 | 8.882 | 278.967 | 9.377 | 278.1 | 15.956 | 889.6 | 28.405 | 47.4289
2020-04-18 21:30:00 | 8.298 | 263.133 | 9.627 | 277.541 | 9.989 | 281.267 | 10.464 | 279.6 | 16.077 | 889.933 | 29.776 | 54.3264
2020-04-18 21:45:00 | 8.018 | 259.967 | 9.093 | 276.576 | 9.262 | 280.967 | 9.694 | 277.767 | 15.892 | 889.85 | 31.2 | 58.3475
2020-04-18 22:00:00 | 7.197 | 255.433 | 8.322 | 273.211 | 8.671 | 277.833 | 9.14 | 275.2 | 15.699 | 889.95 | 32.395 | 53.5362
2020-04-18 22:15:00 | 6.812 | 254.86 | 7.72 | 269.846 | 8.171 | 274.367 | 8.862 | 271.883 | 15.436 | 890.25 | 33.331 | 54.0372
2020-04-18 22:30:00 | 7.606 | 253.9 | 8.661 | 267.801 | 9.236 | 272.467 | 9.678 | 269.467 | 14.758 | 889.7 | 34.608 | 61.6324
2020-04-18 22:45:00 | 7.482 | 255.72 | 8.622 | 264.359 | 9.434 | 270.233 | 9.842 | 266.317 | 14.624 | 889.55 | 35.707 | 68.0034
2020-04-18 23:00:00 | 8.768 | 250.32 | 10.371 | 262.952 | 10.936 | 268.233 | 11.096 | 264.867 | 14.316 | 889.667 | 37.421 | 71.9946
2020-04-18 23:15:00 | 8.886 | 252.513 | 9.973 | 262.584 | 10.285 | 268.6 | 10.823 | 264.933 | 13.754 | 889.567 | 38.579 | 69.7734
2020-04-18 23:30:00 | 8.281 | 253.86 | 9.843 | 264.591 | 10.608 | 270.4 | 10.812 | 266.5 | 13.599 | 890.05 | 39.075 | 69.5666
2020-04-18 23:45:00 | 8.241 | 243.527 | 9.649 | 265.308 | 10.251 | 268.767 | 10.758 | 266.467 | 13.032 | 890 | 39.944 | 69.2568