## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-19 00:00:00 | 8.403 | 246.353 | 9.938 | 266.01 | 10.555 | 270.433 | 11.107 | 267.1 | 13.172 | 890 | 40.075 | 68.4091
2020-04-19 00:15:00 | 8.523 | 250.413 | 10.099 | 263.719 | 10.695 | 268.7 | 11.194 | 264.983 | 12.872 | 889.367 | 40.475 | 67.8833
2020-04-19 00:30:00 | 8.136 | 248.74 | 9.879 | 262.471 | 10.59 | 267.333 | 10.988 | 263.6 | 13.124 | 889.967 | 40.387 | 67.1166
2020-04-19 00:45:00 | 8.369 | 248.3 | 9.657 | 264.111 | 9.963 | 268.9 | 10.154 | 265.367 | 12.853 | 889.75 | 40.515 | 69.2099
2020-04-19 01:00:00 | 8.282 | 245.487 | 9.536 | 265.409 | 10.014 | 269.5 | 10.406 | 266 | 12.97 | 889.883 | 40.397 | 68.3835
2020-04-19 01:15:00 | 7.44 | 253.433 | 8.752 | 274.415 | 9.444 | 279.5 | 9.879 | 276.2 | 12.495 | 890.067 | 40.437 | 63.8522
2020-04-19 01:30:00 | 6.812 | 279.247 | 8.142 | 288.361 | 8.616 | 291.1 | 9.272 | 289.933 | 12.53 | 889.6 | 40.795 | 53.6805
2020-04-19 01:45:00 | 6.299 | 262.367 | 7.731 | 283.717 | 8.269 | 288.267 | 9.105 | 287.3 | 12.045 | 890.65 | 41 | 49.6309
2020-04-19 02:00:00 | 6.847 | 257.38 | 8.339 | 274.808 | 8.946 | 279.7 | 9.635 | 279.667 | 12.32 | 889.8 | 40.515 | 55.0156
2020-04-19 02:15:00 | 6.605 | 250.46 | 8.026 | 277.026 | 8.637 | 281.133 | 9.244 | 280.233 | 12.09 | 889.6 | 39.539 | 51.1544
2020-04-19 02:30:00 | 6.478 | 254.16 | 8.036 | 278.612 | 8.273 | 283.433 | 8.774 | 282.667 | 11.636 | 890.067 | 38.291 | 38.4175
2020-04-19 02:45:00 | 5.467 | 254.213 | 6.522 | 278.136 | 6.847 | 282.733 | 7.294 | 283.3 | 11.92 | 889.667 | 37.448 | 25.4546
2020-04-19 03:00:00 | 4.454 | 255.32 | 5.792 | 275.022 | 6.329 | 281.333 | 7.112 | 280.767 | 11.62 | 890.183 | 36.576 | 15.1123
2020-04-19 03:15:00 | 4.742 | 248.473 | 6.126 | 266.843 | 6.465 | 275.8 | 6.985 | 274.933 | 11.211 | 890.133 | 36.149 | 9.0015
2020-04-19 03:30:00 | 0.492 | 157.414 | 0.467 | 289.567 | 1.188 | 278.333 | 3.072 | 272.3 | 11.011 | 889.75 | 36.987 | 3.7184
2020-04-19 03:45:00 | 1.58 | 225.607 | 1.702 | 240.568 | 1.619 | 266.267 | 2.365 | 279.567 | 10.772 | 889.683 | 37.941 | 4.9718
2020-04-19 04:00:00 | 4.106 | 240.6 | 3.938 | 242.833 | 4.023 | 253.2 | 4.307 | 256.8 | 10.895 | 889.6 | 38.251 | 8.9709
2020-04-19 04:15:00 | 4.687 | 245.22 | 4.495 | 252.136 | 4.673 | 259.167 | 4.908 | 257.333 | 10.349 | 890.017 | 38.053 | 11.6206
2020-04-19 04:30:00 | 3.768 | 235.353 | 4.245 | 243.819 | 4.547 | 255.033 | 4.734 | 254.267 | 10.426 | 889.9 | 39.285 | 9.1208
2020-04-19 04:45:00 | 0.75 | 280.8 | 2.865 | 254.337 | 4.095 | 257.5 | 4.031 | 260.267 | 9.204 | 889.367 | 40.747 | 8.3591
2020-04-19 05:00:00 | 2.244 | 238.953 | 4.035 | 239.918 | 4.36 | 250.417 | 4.127 | 254.133 | 9.108 | 889.958 | 41.44 | 12.6133
2020-04-19 05:15:00 | 3.709 | 230.72 | 4.677 | 233.843 | 5.262 | 243.933 | 4.879 | 243.2 | 9.328 | 889.708 | 41.493 | 13.4354
2020-04-19 05:30:00 | 4.097 | 234.067 | 4.894 | 235.309 | 5.29 | 244.767 | 4.841 | 241.633 | 9.649 | 889.942 | 41.269 | 13.6919
2020-04-19 05:45:00 | 3.461 | 233.933 | 4.44 | 236.114 | 5.322 | 243.3 | 5.875 | 241.233 | 9.733 | 889.633 | 40.811 | 15.307
2020-04-19 06:00:00 | 3.707 | 232.193 | 5.474 | 229.542 | 6.183 | 239.267 | 5.999 | 237.567 | 9.464 | 889.625 | 41.76 | 19.8731
2020-04-19 06:15:00 | 5.599 | 221.067 | 7.147 | 227.396 | 7.027 | 236.633 | 6.724 | 235 | 9.087 | 890.092 | 44.683 | 21.1344
2020-04-19 06:30:00 | 5.412 | 219.967 | 6.902 | 228.243 | 6.698 | 237.067 | 6.452 | 235.7 | 8.812 | 889.733 | 46.123 | 19.6855
2020-04-19 06:45:00 | 6.147 | 222.953 | 6.609 | 231.682 | 6.354 | 241.967 | 6.277 | 241.1 | 8.38 | 889.55 | 46.368 | 11.195
2020-04-19 07:00:00 | 5.053 | 220.66 | 5.929 | 228.483 | 5.555 | 237.8 | 5.335 | 235.333 | 8.054 | 889.85 | 46.539 | 3.992
2020-04-19 07:15:00 | 3.423 | 181.8 | 4.373 | 200.865 | 4.256 | 216.433 | 4.325 | 223.1 | 8.307 | 889.792 | 46.837 | 0.41426
2020-04-19 07:30:00 | 0.276 | 24.951 | 0.027 | 184.448 | 0.16 | 157.733 | 0.604 | 165.633 | 9.828 | 890.15 | 42.496 | 0.13927
2020-04-19 07:45:00 | 0.09 | 102.03 | 0 | 79.233 | 0 | 117 | 1.075 | 78 | 9.856 | 889.65 | 40.821 | 0.15419
2020-04-19 08:00:00 | 0 | 102.1 | 0 | 79.233 | 0.093 | 117 | 1.788 | 79 | 9.37 | 889.975 | 42.187 | 2.5779
2020-04-19 08:15:00 | 0.746 | 66.173 | 0.55 | 83.796 | 1.607 | 108.4 | 2.684 | 99.633 | 9.266 | 890.2 | 41.909 | 8.0585
2020-04-19 08:30:00 | 2.15 | 112.017 | 2.194 | 107.734 | 2.633 | 110.8 | 3.195 | 108.9 | 9.893 | 889.6 | 35.035 | 8.7322
2020-04-19 08:45:00 | 4.023 | 112.74 | 4.268 | 110.966 | 4.591 | 115.4 | 4.845 | 110.033 | 10.278 | 889.75 | 24.096 | 10.8404
2020-04-19 09:00:00 | 3.404 | 113.72 | 3.608 | 109.985 | 3.592 | 114.2 | 3.889 | 112.133 | 10.493 | 889.95 | 23.056 | 12.9948
2020-04-19 09:15:00 | 3.667 | 107.733 | 3.678 | 102.159 | 3.328 | 107.967 | 3.428 | 101.533 | 10.661 | 889.2 | 22.395 | 18.4527
2020-04-19 09:30:00 | 5.275 | 109.9 | 5.23 | 105.617 | 5.02 | 106.6 | 5.256 | 103.3 | 11.011 | 889.95 | 21.488 | 21.8791
2020-04-19 09:45:00 | 4.874 | 97.287 | 4.591 | 90.224 | 4.378 | 95.233 | 4.753 | 90.633 | 11.32 | 889.567 | 19.947 | 17.0159
2020-04-19 10:00:00 | 5.905 | 83.187 | 6.002 | 76.812 | 6.166 | 80.8 | 6.236 | 77.767 | 11.336 | 889.6 | 18.731 | 14.3186
2020-04-19 10:15:00 | 3.912 | 87.085 | 4.287 | 79.746 | 4.574 | 84.867 | 4.862 | 79.733 | 11.42 | 889.9 | 17.885 | 5.7229
2020-04-19 10:30:00 | 4.608 | 88.095 | 4.883 | 80.414 | 4.964 | 83.367 | 5.082 | 80.533 | 12.101 | 889.467 | 17.013 | 4.3316
2020-04-19 10:45:00 | 3.23 | 72.597 | 3.074 | 61.656 | 3.317 | 63.5 | 3.57 | 59.1 | 12.328 | 889.5 | 16.259 | 0.98342
2020-04-19 11:00:00 | 2.384 | 68.993 | 2.129 | 62.814 | 2.396 | 64.467 | 2.809 | 58.4 | 13.003 | 889.633 | 16.12 | 0.19256
2020-04-19 11:15:00 | 1.835 | 62.189 | 1.37 | 58.371 | 1.362 | 69.8 | 2.226 | 61.533 | 14.012 | 889.6 | 15.701 | 0.20038
2020-04-19 11:30:00 | 1.522 | 75.757 | 0.737 | 41.553 | 1.007 | 44.71 | 1.888 | 36.267 | 14.408 | 889.533 | 16.101 | 0.15988
2020-04-19 11:45:00 | 0.549 | 285.787 | 0.11 | 310.245 | 0.03 | 316.467 | 0.484 | 110.042 | 15.155 | 889.533 | 17.749 | 0.14638
2020-04-19 12:00:00 | 1.693 | 160.927 | 1.563 | 159.464 | 1.629 | 151.133 | 1.687 | 132.3 | 14.774 | 889.167 | 19.44 | 0.12719
2020-04-19 12:15:00 | 2.206 | 180.393 | 2.114 | 173.234 | 2.215 | 169.8 | 2.403 | 164.833 | 15.188 | 889.3 | 18.129 | 0.14993
2020-04-19 12:30:00 | 2.183 | 35.764 | 1.808 | 53.672 | 1.544 | 32.8 | 1.799 | 52.433 | 15.345 | 889.8 | 17.987 | 0.095926
2020-04-19 12:45:00 | 2.097 | 241.033 | 0.737 | 170.156 | 0.771 | 225.767 | 1.616 | 185.042 | 15.526 | 889.8 | 18.165 | 0.36239
2020-04-19 13:00:00 | 2.358 | 70.712 | 2.241 | 111.763 | 2.142 | 65.006 | 2.634 | 43.568 | 15.761 | 889.667 | 18.733 | 0.7596
2020-04-19 13:15:00 | 2.934 | 52.459 | 2.606 | 49.275 | 2.198 | 58.967 | 2.833 | 74.5 | 15.29 | 889.167 | 19.68 | 0.2487
2020-04-19 13:30:00 | 2.456 | 55.128 | 2.645 | 60.319 | 2.672 | 35.738 | 3.193 | 41.167 | 15.87 | 889.667 | 18.584 | 0.39792
2020-04-19 13:45:00 | 1.432 | 282 | 0.904 | 266.236 | 0.927 | 231.155 | 1.326 | 124.668 | 15.989 | 889.8 | 17.663 | 1.2293
2020-04-19 14:00:00 | 3.331 | 21.911 | 3.144 | 42.664 | 3.541 | 61.233 | 3.671 | 28.4 | 16.103 | 889.4 | 17.348 | 6.2594
2020-04-19 14:15:00 | 5.329 | 60.187 | 5.484 | 61.844 | 5.454 | 65.9 | 5.575 | 62.833 | 15.875 | 889.433 | 17.088 | 20.2227
2020-04-19 14:30:00 | 7.636 | 93.827 | 8.003 | 86.902 | 7.935 | 93.733 | 7.952 | 90.1 | 16.141 | 889.333 | 15.509 | 45.5068
2020-04-19 14:45:00 | 8.625 | 83.827 | 8.875 | 78.286 | 8.767 | 85.967 | 9.164 | 79.767 | 16.089 | 889.3 | 15.661 | 44.5305
2020-04-19 15:00:00 | 8.776 | 91.02 | 7.864 | 84.938 | 7.775 | 88.933 | 8.339 | 83.967 | 15.82 | 889.433 | 15.669 | 41.7053
2020-04-19 15:15:00 | 9.22 | 95.227 | 9.116 | 88.317 | 9.071 | 91.367 | 9.584 | 86.1 | 15.582 | 889.667 | 15.043 | 45.1608
2020-04-19 15:30:00 | 9.36 | 82.37 | 9.518 | 78.494 | 9.678 | 84.933 | 9.775 | 81.667 | 15.21 | 889.433 | 15.333 | 44.0715
2020-04-19 15:45:00 | 9.058 | 77.463 | 9.492 | 74.322 | 9.731 | 78.967 | 9.788 | 75.533 | 14.708 | 889.033 | 15.456 | 38.9725
2020-04-19 16:00:00 | 8.338 | 94.607 | 7.128 | 92.294 | 6.804 | 92.567 | 7.215 | 88.8 | 14.62 | 889.433 | 15.864 | 35.5433
2020-04-19 16:15:00 | 7.454 | 88.533 | 7.36 | 82.109 | 7.226 | 87 | 7.58 | 82.9 | 14.874 | 889.567 | 15.955 | 38.7067
2020-04-19 16:30:00 | 6.822 | 102.5 | 6.735 | 90.743 | 6.998 | 92.333 | 7.146 | 92.133 | 14.858 | 889.467 | 16.043 | 35.2718
2020-04-19 16:45:00 | 6.086 | 77.257 | 6.191 | 73.995 | 6.371 | 78.2 | 6.754 | 75.533 | 14.691 | 889.4 | 16.851 | 26.2704
2020-04-19 17:00:00 | 5.549 | 88.667 | 5.59 | 80.24 | 5.863 | 87.9 | 6.255 | 85.6 | 14.991 | 889.433 | 17.152 | 21.7085
2020-04-19 17:15:00 | 4.737 | 98.32 | 4.58 | 95.095 | 4.456 | 99.667 | 4.78 | 96.667 | 15.324 | 888.967 | 16.749 | 16.1675
2020-04-19 17:30:00 | 4.944 | 110.847 | 4.798 | 100.47 | 5.14 | 99.933 | 5.58 | 96.633 | 15.193 | 889.833 | 16.893 | 14.73
2020-04-19 17:45:00 | 3.739 | 91.713 | 3.732 | 86.408 | 4.306 | 90.967 | 4.694 | 82.667 | 15.858 | 889.167 | 15.816 | 14.8878
2020-04-19 18:00:00 | 5.28 | 66.69 | 5.457 | 62.746 | 5.624 | 66.233 | 5.8 | 62.8 | 16.188 | 889.567 | 15.845 | 12.9664
2020-04-19 18:15:00 | 5.171 | 83.447 | 5.371 | 79.906 | 5.501 | 87.967 | 5.882 | 82.933 | 15.908 | 889.567 | 17.912 | 13.6059
2020-04-19 18:30:00 | 4.812 | 65.82 | 4.88 | 61.727 | 5.014 | 67.7 | 5.094 | 67.767 | 16.464 | 889.733 | 17.672 | 11.8473
2020-04-19 18:45:00 | 3.955 | 93.78 | 4.043 | 86.203 | 3.943 | 86.833 | 4.305 | 79.7 | 16.464 | 889.4 | 18.136 | 9.997
2020-04-19 19:00:00 | 4.919 | 75.697 | 5.092 | 69.096 | 5.249 | 71.467 | 5.38 | 66.767 | 15.968 | 889.567 | 17.968 | 6.0803
2020-04-19 19:15:00 | 3.815 | 74.947 | 3.489 | 71.303 | 3.872 | 77.333 | 4.041 | 74.933 | 16.138 | 889.767 | 18.339 | 7.2421
2020-04-19 19:30:00 | 4.667 | 82.5 | 5.031 | 77.369 | 4.837 | 81.1 | 4.983 | 78.3 | 16.264 | 889.3 | 18.6 | 4.1916
2020-04-19 19:45:00 | 2.652 | 90.853 | 2.399 | 83.259 | 2.672 | 88.833 | 3.106 | 82.9 | 15.887 | 889.35 | 20.157 | 2.8515
2020-04-19 20:00:00 | 3.627 | 78.13 | 3.667 | 77.006 | 3.564 | 80.8 | 3.761 | 80.867 | 15.761 | 889.7 | 20.152 | 5.1182
2020-04-19 20:15:00 | 4.243 | 70.033 | 4.507 | 65.635 | 4.564 | 71.7 | 4.749 | 68.433 | 15.552 | 889.533 | 20.336 | 9.167
2020-04-19 20:30:00 | 4.558 | 67.27 | 5.018 | 62.807 | 5.004 | 67 | 5.209 | 63.467 | 14.941 | 889.4 | 20.059 | 10.5924
2020-04-19 20:45:00 | 4.455 | 67.223 | 5.179 | 62.565 | 5.23 | 68.1 | 5.4 | 62.9 | 14.316 | 889.45 | 20.333 | 10.6429
2020-04-19 21:00:00 | 3.828 | 65.42 | 4.256 | 61.945 | 4.43 | 67.633 | 4.642 | 64.667 | 13.983 | 889.7 | 20.485 | 9.6005
2020-04-19 21:15:00 | 3.646 | 67.203 | 4.576 | 60.291 | 4.866 | 66.833 | 4.932 | 61.933 | 13.649 | 889.7 | 20.397 | 9.9693
2020-04-19 21:30:00 | 3.345 | 70.747 | 4.121 | 66.67 | 4.4 | 72.867 | 4.785 | 69.133 | 13.216 | 889.667 | 20.536 | 11.1126
2020-04-19 21:45:00 | 3.374 | 71.807 | 4.108 | 67.637 | 4.508 | 73.133 | 4.688 | 69.2 | 12.753 | 889.55 | 20.493 | 12.2992
2020-04-19 22:00:00 | 3.279 | 67.362 | 4.085 | 64.952 | 4.502 | 70.867 | 4.945 | 67.467 | 12.724 | 889.6 | 20.136 | 9.8641
2020-04-19 22:15:00 | 3.006 | 66.962 | 3.719 | 67.003 | 4.252 | 73.367 | 4.538 | 69.733 | 12.595 | 889.567 | 19.696 | 4.1391
2020-04-19 22:30:00 | 1.583 | 58.915 | 2.977 | 62.304 | 3.277 | 69.3 | 3.642 | 63.933 | 11.574 | 889.5 | 20.333 | 1.2208
2020-04-19 22:45:00 | 1.264 | 55.75 | 2.427 | 63.292 | 2.689 | 69.567 | 3.067 | 70.033 | 11.211 | 889.633 | 20.811 | 0.1549
2020-04-19 23:00:00 | 0.03 | 16.075 | 0.809 | 56.928 | 1.427 | 68.1 | 2.051 | 72.967 | 10.978 | 890.1 | 21.173 | 0.14567
2020-04-19 23:15:00 | 0 | 16.075 | 0.883 | 56.13 | 1.253 | 65.033 | 2.347 | 72.967 | 10.828 | 889.617 | 21.797 | 0.14353
2020-04-19 23:30:00 | 0 | 262.957 | 0.27 | 52.105 | 0.881 | 65.208 | 2.132 | 73 | 10.122 | 889.867 | 22.187 | 0.21459
2020-04-19 23:45:00 | 0.133 | 279.587 | 0 | 52.125 | 1.267 | 76.308 | 2.253 | 73.567 | 9.387 | 889.817 | 22.768 | 0.1748