## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-20 00:00:00 | 1.358 | 266.727 | 0 | 52.133 | 0 | 76.125 | 1.76 | 75 | 9.524 | 889.367 | 23.291 | 0.17054
2020-04-20 00:15:00 | 1.878 | 254.973 | 0 | 52.136 | 0 | 76.067 | 1.064 | 75 | 9.637 | 889.75 | 23.12 | 0.17054
2020-04-20 00:30:00 | 2.517 | 257.8 | 0 | 52.118 | 0.446 | 68.275 | 0.778 | 74.3 | 9.295 | 890.117 | 22.864 | 0.16769
2020-04-20 00:45:00 | 2.709 | 269.013 | 0 | 44.127 | 0 | 59.029 | 1.569 | 72.867 | 9.241 | 890.05 | 22.501 | 0.16911
2020-04-20 01:00:00 | 2.675 | 257.493 | 0 | 44.114 | 0 | 59.062 | 1.835 | 72 | 8.57 | 889.85 | 23.12 | 0.17054
2020-04-20 01:15:00 | 2.982 | 255.747 | 0 | 44.154 | 0.37 | 68.65 | 2.196 | 75.067 | 8.699 | 889.617 | 23.488 | 0.17054
2020-04-20 01:30:00 | 3.38 | 247.26 | 0 | 44.115 | 0 | 71.033 | 1.632 | 76 | 7.926 | 889.833 | 23.952 | 0.17054
2020-04-20 01:45:00 | 3.699 | 251.407 | 1.137 | 20.754 | 0 | 63.833 | 1.662 | 72.4 | 8.193 | 889.567 | 24.224 | 0.17054
2020-04-20 02:00:00 | 4.201 | 257.633 | 1.683 | 303.074 | 0.027 | 155.333 | 2.059 | 47.367 | 7.256 | 889.783 | 25.515 | 0.18404
2020-04-20 02:15:00 | 4.133 | 247.707 | 1.718 | 299.742 | 0.09 | 185.201 | 1.805 | 47.121 | 7.022 | 889.817 | 26.117 | 0.19612
2020-04-20 02:30:00 | 3.465 | 252.253 | 0.666 | 308.842 | 0 | 15.009 | 1.808 | 56.1 | 7.372 | 889.8 | 26.315 | 0.17906
2020-04-20 02:45:00 | 2.834 | 268.807 | 0.027 | 307.22 | 0 | 49.042 | 2.075 | 63 | 8.07 | 889.567 | 24.827 | 0.20038
2020-04-20 03:00:00 | 3.51 | 238.027 | 0 | 305.104 | 0.143 | 118.433 | 2.338 | 114.833 | 8.294 | 889.383 | 24.755 | 0.14709
2020-04-20 03:15:00 | 2.441 | 246.04 | 0 | 225.354 | 0.78 | 127.2 | 2.92 | 121.433 | 8.887 | 890.067 | 23.179 | 0.1478
2020-04-20 03:30:00 | 2.184 | 243.427 | 0 | 223.445 | 0 | 148.167 | 1.551 | 114.9 | 9.266 | 889.633 | 22.027 | 0.22596
2020-04-20 03:45:00 | 3.058 | 255.12 | 0.296 | 225.402 | 0 | 148.167 | 0 | 120 | 8.658 | 889.867 | 22.88 | 0.18901
2020-04-20 04:00:00 | 3.37 | 260.473 | 1.836 | 291.176 | 0.702 | 265.317 | 0.272 | 120.067 | 8.066 | 889.417 | 23.507 | 0.17622
2020-04-20 04:15:00 | 3.417 | 260.747 | 1.869 | 295.136 | 0.56 | 298.467 | 1.132 | 120.067 | 8.053 | 889.683 | 23.123 | 0.1947
2020-04-20 04:30:00 | 3.501 | 258.8 | 2.216 | 301.08 | 0.439 | 300.7 | 1.014 | 117.967 | 8.187 | 888.983 | 21.984 | 0.18475
2020-04-20 04:45:00 | 3.11 | 251.627 | 1.215 | 299.226 | 0 | 300.2 | 0.517 | 144.383 | 7.95 | 889.817 | 21.909 | 0.18617
2020-04-20 05:00:00 | 3.47 | 254.273 | 2.064 | 298.344 | 0.41 | 314.3 | 0.604 | 251.05 | 8.23 | 889.433 | 22.008 | 0.18759
2020-04-20 05:15:00 | 3.069 | 252.687 | 1.514 | 304.031 | 0 | 312.4 | 0.087 | 252 | 7.746 | 889.817 | 22.493 | 0.18475
2020-04-20 05:30:00 | 2.964 | 259.547 | 1.535 | 297.962 | 0.03 | 312.433 | 0.265 | 28.128 | 8.14 | 889.567 | 21.925 | 0.18901
2020-04-20 05:45:00 | 2.96 | 262.993 | 0.765 | 308.779 | 0 | 313.6 | 0.111 | 28.023 | 8.23 | 889.833 | 21.685 | 0.18617
2020-04-20 06:00:00 | 3.354 | 259.1 | 1.467 | 295.039 | 0 | 313.667 | 0 | 28.021 | 8.945 | 889.617 | 21.467 | 0.18759
2020-04-20 06:15:00 | 3.544 | 273.847 | 3.689 | 308.032 | 3.124 | 317.033 | 2.556 | 238.6 | 7.95 | 889.933 | 21.096 | 0.19327
2020-04-20 06:30:00 | 3.683 | 248.753 | 3.192 | 299.398 | 2.202 | 321.8 | 1.785 | 330.9 | 7.362 | 889.883 | 21.275 | 0.24088
2020-04-20 06:45:00 | 3.73 | 245.88 | 2.671 | 293.037 | 0.988 | 314.4 | 0 | 330.1 | 7.482 | 890.017 | 21.533 | 0.18617
2020-04-20 07:00:00 | 3.824 | 238.167 | 2.698 | 292.29 | 2.149 | 319.933 | 1.808 | 330.767 | 6.641 | 889.767 | 22.272 | 0.19327
2020-04-20 07:15:00 | 4.759 | 232.647 | 3.281 | 266.914 | 2.145 | 296.067 | 1.118 | 331 | 6.797 | 889.75 | 22.072 | 0.2018
2020-04-20 07:30:00 | 5.03 | 233.767 | 3.234 | 259.763 | 2.311 | 288 | 1.502 | 330 | 6.476 | 890.083 | 22.064 | 0.20322
2020-04-20 07:45:00 | 5.079 | 231.813 | 3.523 | 263.462 | 2.864 | 289.8 | 2.293 | 330.5 | 6.085 | 889.883 | 22.861 | 0.2153
2020-04-20 08:00:00 | 4.791 | 232.667 | 3.288 | 268.477 | 2.316 | 296.333 | 2.027 | 298.433 | 7.022 | 889.617 | 22.155 | 0.20749
2020-04-20 08:15:00 | 4.011 | 232.607 | 3.073 | 264.003 | 1.557 | 297.2 | 1.802 | 298.467 | 8.17 | 889.7 | 20.739 | 0.21175
2020-04-20 08:30:00 | 3.358 | 236.753 | 3.183 | 265.321 | 2.223 | 286.733 | 2.323 | 298.433 | 10.155 | 889.433 | 19.151 | 0.23449
2020-04-20 08:45:00 | 3.093 | 255.347 | 3.209 | 267.074 | 2.758 | 286.667 | 2.75 | 298.133 | 11.461 | 889.733 | 17.545 | 0.18617
2020-04-20 09:00:00 | 2.77 | 289.7 | 2.796 | 293.99 | 2.847 | 300.333 | 3.3 | 300.4 | 11.374 | 889.567 | 16.496 | 0.11511
2020-04-20 09:15:00 | 2.013 | 297.84 | 1.603 | 328.364 | 1.547 | 337.833 | 2.167 | 335.767 | 11.528 | 889.467 | 15.308 | 0.20749
2020-04-20 09:30:00 | 1.599 | 82.713 | 0.663 | 27.631 | 0.543 | 38.5 | 1.899 | 177.933 | 12.174 | 889.433 | 14.269 | 0.17054
2020-04-20 09:45:00 | 1.46 | 4.004 | 1.006 | 18.328 | 0.55 | 17.2 | 1.778 | 13.8 | 12.686 | 890 | 13.451 | 0.17196
2020-04-20 10:00:00 | 0.717 | 49.005 | 0.343 | 30.01 | 0.173 | 48.233 | 0.87 | 31.067 | 14.195 | 889.433 | 12.461 | 0.16911
2020-04-20 10:15:00 | 1.402 | 35.278 | 0.743 | 31.417 | 0.26 | 27.233 | 1.334 | 33.733 | 14.841 | 889.933 | 11.203 | 0.16911
2020-04-20 10:30:00 | 1.79 | 44.97 | 1.356 | 13.849 | 1.271 | 24.441 | 2.234 | 23.9 | 14.608 | 889.8 | 10.501 | 0.17054
2020-04-20 10:45:00 | 2.119 | 38.843 | 2.049 | 49.712 | 1.965 | 52.8 | 2.561 | 44.6 | 14.96 | 888.933 | 10.179 | 0.10587
2020-04-20 11:00:00 | 1.863 | 114.855 | 1.83 | 68.154 | 1.606 | 25.67 | 2.493 | 27.467 | 15.198 | 889.267 | 9.356 | 0.56632
2020-04-20 11:15:00 | 2.873 | 40.325 | 2.895 | 47.779 | 2.986 | 32.338 | 3.603 | 31 | 15.72 | 889.267 | 7.81 | 0.89105
2020-04-20 11:30:00 | 3.205 | 85.477 | 3.317 | 84.047 | 3.746 | 87.8 | 4.034 | 77.967 | 15.676 | 888.533 | 7.396 | 1.3067
2020-04-20 11:45:00 | 3.262 | 51.278 | 3.347 | 35.694 | 3.677 | 40.502 | 3.848 | 39.833 | 16.074 | 889 | 7.145 | 2.1189
2020-04-20 12:00:00 | 2.621 | 99.14 | 2.667 | 93.086 | 3.293 | 92.967 | 3.691 | 82.7 | 16.564 | 889.067 | 6.975 | 3.5045
2020-04-20 12:15:00 | 4.164 | 71.033 | 4.094 | 62.165 | 4.512 | 61 | 5.02 | 59.167 | 16.731 | 888.933 | 7.181 | 3.5408
2020-04-20 12:30:00 | 2.671 | 84.653 | 3.029 | 63.326 | 2.87 | 67.933 | 3.242 | 71.533 | 16.831 | 889.333 | 7.161 | 2.9993
2020-04-20 12:45:00 | 3.311 | 98.7 | 3.609 | 85.612 | 3.802 | 93.467 | 4.282 | 86.733 | 17.164 | 888.8 | 7.413 | 3.6509
2020-04-20 13:00:00 | 3.623 | 107.608 | 3.759 | 101.114 | 3.927 | 106.5 | 4.146 | 97.5 | 17.718 | 889.467 | 7.561 | 6.1151
2020-04-20 13:15:00 | 6.339 | 43.19 | 6.04 | 39.613 | 6.174 | 44.233 | 6.003 | 40.5 | 17.31 | 888.933 | 8.709 | 6.3063
2020-04-20 13:30:00 | 3.847 | 41.28 | 4.045 | 38.771 | 4.088 | 46.5 | 4.327 | 42.1 | 17.473 | 889.133 | 9.233 | 5.8913
2020-04-20 13:45:00 | 3.903 | 94.66 | 4.316 | 76.085 | 4.296 | 72.167 | 4.614 | 65.5 | 17.656 | 889.433 | 10.403 | 3.938
2020-04-20 14:00:00 | 3.347 | 77.625 | 3.094 | 64.234 | 3.099 | 66.733 | 3.602 | 59 | 17.906 | 889.267 | 11.088 | 3.2246
2020-04-20 14:15:00 | 4.613 | 42.65 | 4.833 | 33.682 | 5.109 | 34 | 5.529 | 32.8 | 18.239 | 889.533 | 11.376 | 2.9616
2020-04-20 14:30:00 | 1.987 | 76 | 2.494 | 77.445 | 2.86 | 83.633 | 3.592 | 91.233 | 17.944 | 889.5 | 11.845 | 4.4517
2020-04-20 14:45:00 | 4.835 | 30.527 | 4.74 | 30.214 | 4.734 | 28.567 | 4.854 | 25.8 | 17.931 | 889.433 | 12.445 | 3.0434
2020-04-20 15:00:00 | 4.896 | 42.454 | 5.18 | 41.301 | 5.406 | 43.133 | 5.493 | 39.867 | 18.156 | 889.467 | 12.536 | 5.2205
2020-04-20 15:15:00 | 4.755 | 64.451 | 5.098 | 56.99 | 5.258 | 61.933 | 5.7 | 51.9 | 18.789 | 889.533 | 12.843 | 1.9434
2020-04-20 15:30:00 | 1.691 | 251.787 | 0.363 | 238.039 | 0.12 | 216.167 | 0.84 | 188.238 | 18.418 | 889.133 | 12.667 | 2.2113
2020-04-20 15:45:00 | 4.424 | 102.16 | 4.512 | 95.937 | 4.612 | 101.967 | 4.824 | 92.867 | 19.139 | 889.633 | 12.195 | 2.627
2020-04-20 16:00:00 | 3.45 | 37.047 | 3.635 | 61.334 | 4.495 | 20.767 | 4.615 | 30.833 | 18.239 | 889.533 | 12.337 | 3.2771
2020-04-20 16:15:00 | 2.067 | 241.144 | 1.734 | 288.282 | 1.431 | 262.083 | 1.799 | 259.485 | 18.673 | 889.1 | 12.277 | 2.7073
2020-04-20 16:30:00 | 2.851 | 78.139 | 2.468 | 78.423 | 2.461 | 86.9 | 3.218 | 92.533 | 18.773 | 889.4 | 13.099 | 1.2179
2020-04-20 16:45:00 | 4.077 | 109.152 | 4.349 | 151.738 | 4.326 | 70.567 | 4.674 | 81.667 | 18.973 | 889.667 | 13.185 | 1.4019
2020-04-20 17:00:00 | 1.641 | 256.675 | 1.502 | 290.871 | 1.857 | 299 | 2.619 | 297.733 | 18.706 | 889.767 | 13.225 | 2.5659
2020-04-20 17:15:00 | 2.644 | 121.622 | 2.36 | 73.315 | 2.623 | 30.738 | 3.068 | 32.9 | 18.706 | 889.333 | 13.119 | 3.0121
2020-04-20 17:30:00 | 1.866 | 136.189 | 1.507 | 237.962 | 1.773 | 216.833 | 2.094 | 224.467 | 18.606 | 889.6 | 12.576 | 3.0903
2020-04-20 17:45:00 | 3.304 | 153.891 | 3.316 | 185.26 | 3.129 | 191.933 | 3.35 | 169.933 | 18.398 | 889.5 | 11.904 | 1.5128
2020-04-20 18:00:00 | 2.2 | 96.633 | 2.013 | 61.764 | 2.066 | 62.871 | 2.691 | 14.534 | 18.831 | 889.767 | 12.495 | 2.1502
2020-04-20 18:15:00 | 3.145 | 170.935 | 3.02 | 164.574 | 3.087 | 149.767 | 3.329 | 115.433 | 19.552 | 889.567 | 11.596 | 2.5083
2020-04-20 18:30:00 | 2.982 | 163.441 | 2.593 | 131.231 | 2.741 | 19.3 | 3.419 | 23.1 | 18.827 | 889.2 | 12.131 | 3.9984
2020-04-20 18:45:00 | 1.625 | 59.884 | 1.184 | 57.368 | 1.48 | 83.267 | 1.768 | 66.333 | 19.223 | 889.467 | 12.091 | 0.80152
2020-04-20 19:00:00 | 2.873 | 113.686 | 2.813 | 123.988 | 3.149 | 97.667 | 3.683 | 72.934 | 18.935 | 889.567 | 12.169 | 0.67859
2020-04-20 19:15:00 | 1.388 | 20.126 | 0.807 | 19.108 | 0.886 | 12.4 | 1.787 | 125.067 | 18.868 | 889.567 | 12.172 | 1.235
2020-04-20 19:30:00 | 4.562 | 28.365 | 4.994 | 61.345 | 4.994 | 4.8 | 4.952 | 4.867 | 18.452 | 889.567 | 12.857 | 2.6383
2020-04-20 19:45:00 | 2.172 | 98.549 | 2.096 | 152.917 | 2.112 | 108.2 | 2.601 | 37.867 | 18.056 | 889.767 | 13.273 | 2.9972
2020-04-20 20:00:00 | 4.41 | 14.09 | 4.464 | 11.328 | 4.772 | 13.3 | 4.65 | 10.7 | 18.098 | 889.467 | 14.197 | 7.6883
2020-04-20 20:15:00 | 5.135 | 15.629 | 5.528 | 10.998 | 5.453 | 15.667 | 5.778 | 12.967 | 17.831 | 889.467 | 15.643 | 7.0453
2020-04-20 20:30:00 | 3.954 | 16.535 | 4.354 | 12.408 | 4.351 | 18.133 | 4.375 | 16.767 | 17.356 | 889.667 | 16.56 | 4.3195
2020-04-20 20:45:00 | 2.615 | 14.984 | 2.956 | 18.85 | 3.308 | 7.3 | 3.759 | 2.933 | 17.048 | 889.367 | 17.101 | 1.6812
2020-04-20 21:00:00 | 2.959 | 10.022 | 2.817 | 5.051 | 3.298 | 7.733 | 3.317 | 6.533 | 16.664 | 889.633 | 17.829 | 0.7802
2020-04-20 21:15:00 | 2.91 | 8.715 | 3.412 | 7.353 | 3.633 | 10.367 | 3.96 | 8 | 16.548 | 889.433 | 18.021 | 2.3925
2020-04-20 21:30:00 | 2.791 | 18.878 | 2.658 | 19.062 | 2.82 | 26.833 | 3.276 | 23.833 | 16.115 | 889.833 | 19.288 | 2.5033
2020-04-20 21:45:00 | 2.487 | 26.573 | 2.741 | 23.042 | 2.37 | 26.833 | 2.697 | 24.067 | 16.112 | 890.083 | 21.275 | 0.79086
2020-04-20 22:00:00 | 0.71 | 25.037 | 1.633 | 20.25 | 1.362 | 25.033 | 2.381 | 16.8 | 15.362 | 889.65 | 22.464 | 0.28565
2020-04-20 22:15:00 | 0.043 | 25.05 | 1.467 | 17.07 | 1.393 | 25 | 2.298 | 16.433 | 14.974 | 889.65 | 24.299 | 0.20464
2020-04-20 22:30:00 | 0 | 25.068 | 1.016 | 16.819 | 1.158 | 22.333 | 2.086 | 16.767 | 14.228 | 889.883 | 24.64 | 0.21388
2020-04-20 22:45:00 | 0 | 171.346 | 0.053 | 7.016 | 2.13 | 18.232 | 2.746 | 12.5 | 13.301 | 889.2 | 25.883 | 0.19185
2020-04-20 23:00:00 | 0 | 319.36 | 0.594 | 10.056 | 1.642 | 20.063 | 2.646 | 14.833 | 13.353 | 890.017 | 26.416 | 0.16911
2020-04-20 23:15:00 | 0 | 319 | 0.65 | 14.202 | 2.319 | 20.596 | 3.165 | 17.033 | 12.984 | 889.75 | 27.019 | 0.18901
2020-04-20 23:30:00 | 0.903 | 266.12 | 0 | 20.063 | 0.421 | 24.032 | 2.116 | 19.833 | 13.303 | 889.417 | 26.928 | 0.17764
2020-04-20 23:45:00 | 0.871 | 221.72 | 0 | 27.779 | 1.588 | 45.6 | 2.732 | 44 | 13.778 | 890.083 | 26.261 | 0.19185