## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-21 00:00:00 | 1.426 | 171.5 | 0 | 54.122 | 0.92 | 57.067 | 2.764 | 52.167 | 13.587 | 889.733 | 26.064 | 0.18901
2020-04-21 00:15:00 | 2.907 | 184.053 | 1.563 | 140.744 | 2.17 | 121.8 | 3.361 | 92.933 | 12.672 | 889.85 | 26.053 | 0.1748
2020-04-21 00:30:00 | 3.698 | 220.78 | 1.193 | 172.019 | 0.553 | 154.967 | 1.303 | 126.767 | 12.253 | 889.967 | 22.597 | 0.16769
2020-04-21 00:45:00 | 4.001 | 234.2 | 1.966 | 233.621 | 0.892 | 237 | 0.611 | 209.033 | 9.699 | 889.583 | 24.272 | 0.16769
2020-04-21 01:00:00 | 4.678 | 233 | 2.14 | 233.515 | 1.194 | 237 | 0.874 | 209 | 9.893 | 890 | 25.835 | 0.17196
2020-04-21 01:15:00 | 6.265 | 242.107 | 8.46 | 263.114 | 8.401 | 277.933 | 8.213 | 277.3 | 9.449 | 889.483 | 24.832 | 9.4711
2020-04-21 01:30:00 | 4.81 | 247.513 | 5.831 | 269.765 | 6.029 | 282.567 | 6.447 | 285.433 | 11.474 | 889.45 | 27.416 | 14.8373
2020-04-21 01:45:00 | 4.542 | 244.653 | 5.106 | 264.208 | 4.965 | 273.467 | 5.329 | 273.033 | 10.526 | 889.817 | 30.131 | 9.9224
2020-04-21 02:00:00 | 4.599 | 243.667 | 4.53 | 257.944 | 4.504 | 265.533 | 4.674 | 265.033 | 9.816 | 889.683 | 37.408 | 7.8951
2020-04-21 02:15:00 | 5.019 | 237.147 | 4.565 | 255.274 | 4.516 | 268.533 | 4.938 | 268.233 | 9.558 | 889.642 | 39.384 | 6.8591
2020-04-21 02:30:00 | 4.491 | 235.447 | 4.188 | 260.464 | 4.233 | 274.267 | 4.761 | 273.8 | 8.791 | 890.15 | 43.664 | 5.3221
2020-04-21 02:45:00 | 4.78 | 229.9 | 4.573 | 254.289 | 4.397 | 270.2 | 4.98 | 268.533 | 8.374 | 890.05 | 45.2 | 3.8257
2020-04-21 03:00:00 | 4.83 | 229.313 | 4.207 | 254.534 | 3.988 | 268 | 4.421 | 269.667 | 8.3 | 890.333 | 46.949 | 2.3562
2020-04-21 03:15:00 | 4.367 | 227.44 | 3.087 | 252.559 | 2.95 | 268.6 | 3.607 | 272.5 | 8.471 | 890.125 | 47.296 | 1.451
2020-04-21 03:30:00 | 5.475 | 211.487 | 4.467 | 217.917 | 3.12 | 233.633 | 2.68 | 249.333 | 8.046 | 890.033 | 48.448 | 2.3115
2020-04-21 03:45:00 | 4.528 | 210.32 | 4.204 | 218.593 | 3.727 | 223.533 | 3.319 | 220.1 | 7.479 | 889.642 | 49.707 | 3.1038
2020-04-21 04:00:00 | 4.917 | 209.573 | 4.253 | 219.03 | 3.775 | 225.467 | 3.748 | 222.9 | 8.254 | 889.958 | 48.459 | 3.8236
2020-04-21 04:15:00 | 5.206 | 206.847 | 4.992 | 217.347 | 4.393 | 224.1 | 3.953 | 221.733 | 7.766 | 889.625 | 47.275 | 4.6606
2020-04-21 04:30:00 | 5.857 | 213.793 | 4.456 | 219.612 | 4.223 | 226 | 4.058 | 222.533 | 7.743 | 889.733 | 48.032 | 4.581
2020-04-21 04:45:00 | 4.713 | 207.267 | 5.461 | 217.586 | 4.764 | 224.6 | 4.338 | 224.133 | 7.256 | 890.225 | 48.619 | 4.9562
2020-04-21 05:00:00 | 4.75 | 211.76 | 4.865 | 222.125 | 4.23 | 231.433 | 4.029 | 231 | 6.44 | 889.5 | 50.08 | 4.2378
2020-04-21 05:15:00 | 4.72 | 211.627 | 4.728 | 222.281 | 4.394 | 229.2 | 4.264 | 226.533 | 6.506 | 889.975 | 51.349 | 4.4567
2020-04-21 05:30:00 | 5.293 | 211.8 | 5.472 | 223.563 | 4.869 | 234.533 | 4.588 | 233.6 | 5.878 | 889.775 | 53.173 | 4.9768
2020-04-21 05:45:00 | 4.669 | 210.027 | 5.266 | 221.554 | 4.911 | 230.267 | 4.557 | 229.5 | 6.108 | 889.958 | 52.789 | 5.5943
2020-04-21 06:00:00 | 5.046 | 205.347 | 6.071 | 215.89 | 5.539 | 220.067 | 4.994 | 216.067 | 6.366 | 889.925 | 53.824 | 5.5296
2020-04-21 06:15:00 | 4.514 | 203.727 | 5.342 | 212.473 | 4.715 | 214.433 | 4.531 | 213.467 | 6.372 | 889.375 | 54.176 | 3.5464
2020-04-21 06:30:00 | 4.216 | 209.287 | 7.243 | 212.185 | 6.65 | 213 | 5.976 | 211.567 | 5.707 | 889.583 | 54.912 | 6.4647
2020-04-21 06:45:00 | 4.154 | 205.693 | 6.808 | 213.148 | 6.515 | 220.567 | 5.521 | 217.833 | 5.379 | 889.733 | 55.968 | 4.9328
2020-04-21 07:00:00 | 4.947 | 209.747 | 5.941 | 216.266 | 5.015 | 221.867 | 4.556 | 220.1 | 5.851 | 889.525 | 55.659 | 2.6135
2020-04-21 07:15:00 | 4.181 | 199.567 | 5.678 | 214.237 | 4.666 | 220.1 | 3.707 | 216.467 | 6.294 | 890.133 | 53.259 | 1.6535
2020-04-21 07:30:00 | 5.712 | 213.567 | 6.257 | 217.192 | 5.042 | 224.4 | 3.999 | 219 | 7.139 | 889.608 | 50.603 | 4.6826
2020-04-21 07:45:00 | 5.986 | 215.52 | 7.131 | 216.593 | 5.761 | 222.667 | 4.241 | 219.933 | 7.93 | 889.675 | 48.181 | 6.3795
2020-04-21 08:00:00 | 4.4 | 212.273 | 5.932 | 209.038 | 6.068 | 215.567 | 5.506 | 214.367 | 9.245 | 889.558 | 44.811 | 7.6613
2020-04-21 08:15:00 | 4.471 | 211.467 | 5.784 | 210.609 | 5.46 | 212 | 5.299 | 207.533 | 10.745 | 889.317 | 41.355 | 8.4152
2020-04-21 08:30:00 | 4.51 | 204.24 | 4.846 | 202.621 | 5.384 | 207.367 | 5.493 | 203.367 | 12.207 | 890 | 37.861 | 7.704
2020-04-21 08:45:00 | 4.74 | 204.98 | 4.45 | 202.327 | 4.532 | 208.967 | 4.676 | 205.7 | 13.431 | 889.483 | 33.477 | 5.8295
2020-04-21 09:00:00 | 4.378 | 208.8 | 4.341 | 208.691 | 4.487 | 211.433 | 4.736 | 207.3 | 14.37 | 889.767 | 30.683 | 3.9081
2020-04-21 09:15:00 | 3.527 | 208.833 | 3.694 | 206.52 | 3.722 | 209.067 | 4.101 | 203.567 | 15.058 | 889.9 | 28.832 | 1.4503
2020-04-21 09:30:00 | 2.648 | 200.32 | 2.671 | 197.511 | 2.698 | 200.567 | 3.148 | 195.633 | 16.36 | 889.683 | 27.568 | 0.63027
2020-04-21 09:45:00 | 3.006 | 187.72 | 3.105 | 182.982 | 3.304 | 188.733 | 3.594 | 185.7 | 16.12 | 889.8 | 26.101 | 0.24657
2020-04-21 10:00:00 | 2.372 | 189.12 | 2.248 | 188.051 | 2.458 | 190.233 | 3.012 | 181.8 | 15.972 | 890 | 25.707 | 0.11227
2020-04-21 10:15:00 | 2.555 | 199.693 | 2.562 | 190.282 | 2.722 | 198.233 | 3.089 | 197 | 17.306 | 889.783 | 24 | 0.30696
2020-04-21 10:30:00 | 2.127 | 200.553 | 2.06 | 197.274 | 2.479 | 193.733 | 2.747 | 187 | 17.181 | 889.817 | 21.643 | 1.5696
2020-04-21 10:45:00 | 3.913 | 168.667 | 4.154 | 163.42 | 4.172 | 164.967 | 4.492 | 158.833 | 16.898 | 889.633 | 21.472 | 5.9098
2020-04-21 11:00:00 | 3.86 | 130.607 | 4.168 | 127.838 | 4.239 | 132.3 | 4.581 | 129.2 | 16.948 | 889.867 | 20.293 | 6.9699
2020-04-21 11:15:00 | 3.876 | 142.727 | 4.014 | 140.468 | 4.077 | 147.067 | 4.246 | 146 | 17.014 | 889.85 | 20.656 | 7.0851
2020-04-21 11:30:00 | 3.944 | 162.69 | 4.378 | 155.294 | 4.534 | 154.667 | 4.699 | 147.567 | 18.156 | 889.533 | 17.549 | 4.5284
2020-04-21 11:45:00 | 3.876 | 120.613 | 3.873 | 114.626 | 3.85 | 120.167 | 4.266 | 116.8 | 17.81 | 889.233 | 15.528 | 5.9077
2020-04-21 12:00:00 | 3.686 | 121.952 | 4.201 | 119.518 | 4.02 | 116.133 | 4.318 | 125.033 | 18.573 | 889.567 | 12.663 | 8.9801
2020-04-21 12:15:00 | 5.397 | 90.203 | 5.687 | 89.013 | 5.795 | 92.7 | 5.891 | 90.033 | 18.352 | 889.6 | 13.645 | 15.8513
2020-04-21 12:30:00 | 4.365 | 92.008 | 4.685 | 91.54 | 5 | 98.267 | 4.961 | 100.733 | 18.094 | 889.9 | 14.368 | 14.2625
2020-04-21 12:45:00 | 4.887 | 122.367 | 5.509 | 119.537 | 5.316 | 113.783 | 5.695 | 105.267 | 18.01 | 889.567 | 14.525 | 13.7353
2020-04-21 13:00:00 | 3.03 | 151.057 | 2.914 | 142.828 | 3.019 | 134.867 | 3.577 | 118.433 | 17.839 | 889.533 | 14.685 | 11.6014
2020-04-21 13:15:00 | 4.962 | 72.571 | 5.149 | 67.257 | 5.265 | 76.967 | 5.582 | 70.333 | 18.473 | 889.833 | 14.667 | 9.8278
2020-04-21 13:30:00 | 4.718 | 92.413 | 4.598 | 86.846 | 4.992 | 97.667 | 5.583 | 95.6 | 18.756 | 889.5 | 15.192 | 11.2682
2020-04-21 13:45:00 | 5.223 | 69.04 | 5.292 | 64.372 | 5.626 | 74.3 | 6.148 | 74.2 | 19.323 | 889.267 | 15.219 | 9.4704
2020-04-21 14:00:00 | 5.291 | 85.627 | 6.025 | 81.128 | 6.317 | 88.367 | 6.202 | 88.8 | 19.102 | 889.367 | 16.461 | 7.3039
2020-04-21 14:15:00 | 4.186 | 88.078 | 4.392 | 83.202 | 4.8 | 84.267 | 5.103 | 77.667 | 18.727 | 889.7 | 16.088 | 9.5983
2020-04-21 14:30:00 | 4.462 | 60.87 | 4.81 | 49.117 | 4.893 | 54.067 | 5.169 | 55.733 | 19.06 | 889.167 | 15.32 | 10.2613
2020-04-21 14:45:00 | 4.657 | 171.331 | 4.936 | 201.878 | 4.854 | 46.675 | 4.885 | 91.933 | 19.027 | 889.7 | 14.909 | 6.334
2020-04-21 15:00:00 | 2.782 | 169.352 | 2.177 | 151.306 | 1.943 | 149.975 | 2.558 | 140.4 | 19.264 | 890.033 | 14.836 | 3.2324
2020-04-21 15:15:00 | 2.744 | 234.231 | 2.722 | 263.112 | 3.044 | 272 | 3.276 | 272.367 | 19.702 | 889.533 | 14.061 | 3.0483
2020-04-21 15:30:00 | 5.788 | 32.942 | 5.863 | 23.742 | 6.029 | 29.533 | 5.912 | 25.933 | 20.027 | 889.6 | 13.573 | 3.0647
2020-04-21 15:45:00 | 3.19 | 96.497 | 3.138 | 89.966 | 3.252 | 89.5 | 3.696 | 83.433 | 18.823 | 889.3 | 14.933 | 1.3117
2020-04-21 16:00:00 | 2.618 | 67.023 | 2.343 | 64.091 | 2.577 | 67.433 | 3.206 | 66.533 | 18.694 | 889.033 | 14.752 | 1.5426
2020-04-21 16:15:00 | 0.659 | 157.85 | 0.366 | 226.547 | 0.503 | 220.033 | 0.999 | 209.25 | 19.31 | 889.8 | 14.58 | 0.66793
2020-04-21 16:30:00 | 2.322 | 250.613 | 2.131 | 257.345 | 2.099 | 268.617 | 2.378 | 273.183 | 20.056 | 889.3 | 13.544 | 0.72549
2020-04-21 16:45:00 | 2.696 | 212.46 | 2.604 | 243.211 | 2.782 | 248.267 | 3.096 | 243.683 | 21.168 | 889.2 | 12.565 | 0.59759
2020-04-21 17:00:00 | 2.098 | 297.693 | 2.037 | 282.121 | 2.647 | 278.933 | 3.072 | 277.9 | 20.889 | 889.567 | 12.324 | 0.16698
2020-04-21 17:15:00 | 2.458 | 269.107 | 2.354 | 281.893 | 2.429 | 279.467 | 2.737 | 267 | 19.931 | 889.567 | 13.399 | 1.0673
2020-04-21 17:30:00 | 4.488 | 325.133 | 4.582 | 321.779 | 4.596 | 330.533 | 5.052 | 329.367 | 20.064 | 889.267 | 13.688 | 4.2968
2020-04-21 17:45:00 | 4.167 | 279.973 | 4.424 | 287.915 | 4.453 | 292.4 | 4.585 | 289.433 | 19.944 | 888.967 | 13.876 | 2.6874
2020-04-21 18:00:00 | 5.011 | 275.86 | 5.084 | 290.656 | 5.071 | 298.9 | 5.387 | 298 | 18.827 | 889.233 | 17.639 | 3.68
2020-04-21 18:15:00 | 4.755 | 270.82 | 4.827 | 278.11 | 4.865 | 284.433 | 5.162 | 283.8 | 18.889 | 889.7 | 18.319 | 6.167
2020-04-21 18:30:00 | 4.985 | 282.827 | 4.94 | 283.227 | 4.863 | 288.267 | 5.139 | 287.7 | 18.564 | 889.433 | 18.807 | 6.9366
2020-04-21 18:45:00 | 3.824 | 289.68 | 3.758 | 291.01 | 3.889 | 293.4 | 4.148 | 291.633 | 18.523 | 889.733 | 18.924 | 4.4965
2020-04-21 19:00:00 | 2.202 | 295.48 | 2.023 | 293.144 | 2.123 | 296.667 | 2.887 | 290.433 | 18.368 | 889.667 | 18.679 | 0.8811
2020-04-21 19:15:00 | 2.011 | 284 | 1.814 | 282.859 | 1.905 | 285.167 | 2.42 | 279.3 | 18.589 | 889.5 | 17.785 | 0.2423
2020-04-21 19:30:00 | 2.571 | 290.6 | 2.327 | 288.842 | 2.165 | 294.7 | 2.463 | 295.1 | 18.856 | 889.467 | 17.364 | 0.20464
2020-04-21 19:45:00 | 0.988 | 262.967 | 0.804 | 262.355 | 0.857 | 269.133 | 1.448 | 283.3 | 18.368 | 889.633 | 17.797 | 0.49882
2020-04-21 20:00:00 | 1.047 | 41.894 | 0.18 | 319.242 | 0.31 | 270.233 | 1.813 | 286.6 | 18.223 | 889.367 | 18.804 | 5.848
2020-04-21 20:15:00 | 3.454 | 235.973 | 3.925 | 349.948 | 4.008 | 318.833 | 4.338 | 272.933 | 17.994 | 889.3 | 19.763 | 5.1203
2020-04-21 20:30:00 | 3.091 | 330.933 | 3.821 | 321.715 | 4.031 | 325.967 | 4.54 | 325.1 | 17.556 | 889.333 | 20.275 | 2.4195
2020-04-21 20:45:00 | 3.521 | 347.92 | 3.452 | 343.212 | 3.662 | 347.633 | 3.899 | 348.133 | 17.114 | 889.75 | 21.155 | 2.3704
2020-04-21 21:00:00 | 3.235 | 344.773 | 3.559 | 337.682 | 3.67 | 343.967 | 3.874 | 341.3 | 17.444 | 890.067 | 21.44 | 0.61322
2020-04-21 21:15:00 | 2.343 | 142.16 | 2.547 | 352.914 | 2.563 | 0 | 2.905 | 23.867 | 17.668 | 889.95 | 21.349 | 0.25794
2020-04-21 21:30:00 | 2.608 | 314.107 | 2.579 | 320.625 | 2.662 | 331.667 | 3.097 | 335.867 | 16.881 | 890.183 | 21.901 | 2.3868
2020-04-21 21:45:00 | 3.403 | 24.802 | 4.015 | 11.133 | 4.473 | 13.967 | 4.561 | 11.333 | 16.26 | 889.733 | 22.059 | 1.2812
2020-04-21 22:00:00 | 2.505 | 40.352 | 3.056 | 19.344 | 3.596 | 12.2 | 3.462 | 6.133 | 15.668 | 889.917 | 23.349 | 0.20038
2020-04-21 22:15:00 | 1.58 | 18.963 | 1.02 | 19.225 | 1.33 | 25.6 | 2.327 | 27.567 | 15.647 | 889.8 | 25.317 | 0.21957
2020-04-21 22:30:00 | 0.952 | 16.582 | 0 | 27.065 | 0 | 29.833 | 1.408 | 22.733 | 15.029 | 889.9 | 26.229 | 0.18759
2020-04-21 22:45:00 | 0.884 | 119.62 | 0.09 | 27.065 | 0.093 | 49.6 | 1.45 | 23.933 | 14.691 | 889.667 | 25.867 | 0.16911
2020-04-21 23:00:00 | 2.116 | 187.047 | 0.033 | 37.088 | 0 | 52 | 1.134 | 24.033 | 14.804 | 889.433 | 26.768 | 0.22312
2020-04-21 23:15:00 | 4.022 | 203.293 | 3.539 | 196.386 | 3.074 | 198.633 | 2.978 | 187.633 | 13.545 | 889.767 | 26.309 | 0.11227
2020-04-21 23:30:00 | 4.046 | 198.067 | 3.316 | 193.638 | 3.162 | 199.833 | 3.145 | 193.133 | 13.533 | 890.033 | 26.571 | 0.22383
2020-04-21 23:45:00 | 4.399 | 190.033 | 3.373 | 177.237 | 3.171 | 184.133 | 3.26 | 174.2 | 13.289 | 889.75 | 26.496 | 0.18262