## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-22 00:00:00 | 3.737 | 177.16 | 2.743 | 174.242 | 2.553 | 177.267 | 2.725 | 173.933 | 14.733 | 889.867 | 26.288 | 0.23733
2020-04-22 00:15:00 | 3.692 | 179.307 | 2.067 | 167.066 | 1.756 | 170.133 | 2.164 | 164.833 | 15.374 | 890.25 | 24.837 | 0.16627
2020-04-22 00:30:00 | 4.306 | 191.84 | 2.501 | 164.185 | 1.462 | 160.867 | 1.839 | 163.767 | 11.253 | 889.883 | 27.925 | 0.17054
2020-04-22 00:45:00 | 3.984 | 195.42 | 2.352 | 155.918 | 1.41 | 138 | 1.858 | 129.933 | 11.624 | 890.067 | 28.624 | 0.16911
2020-04-22 01:00:00 | 3.824 | 208.587 | 1.769 | 164.519 | 0.634 | 138 | 1.486 | 130 | 11.332 | 889.75 | 28.971 | 0.17054
2020-04-22 01:15:00 | 4.572 | 218.087 | 1.382 | 164.9 | 0 | 138 | 1.402 | 129.5 | 11.053 | 890.133 | 27.744 | 1.1447
2020-04-22 01:30:00 | 1.404 | 208.233 | 0.266 | 149.358 | 1.244 | 94 | 3.377 | 67.867 | 10.861 | 889.583 | 30.437 | 2.1168
2020-04-22 01:45:00 | 2.129 | 248.213 | 0 | 307.531 | 0.027 | 6.868 | 1.69 | 25 | 10.895 | 890.033 | 30.4 | 0.15704
2020-04-22 02:00:00 | 2.846 | 233.52 | 1.226 | 254.426 | 0.133 | 295.867 | 1.173 | 91.941 | 11.349 | 889.867 | 30.021 | 0.19185
2020-04-22 02:15:00 | 1.995 | 260.127 | 0.221 | 142.043 | 1.37 | 59.486 | 2.492 | 51.438 | 10.928 | 889.567 | 28.624 | 0.12506
2020-04-22 02:30:00 | 2.079 | 250.893 | 0 | 201.868 | 0.11 | 47.7 | 2.002 | 62.867 | 10.745 | 889.6 | 27.477 | 0.06324
2020-04-22 02:45:00 | 0.06 | 240.167 | 0.07 | 47.481 | 1.078 | 74.833 | 2.819 | 74.767 | 11.111 | 889.6 | 25.296 | 0.95287
2020-04-22 03:00:00 | 0.17 | 211.933 | 0.34 | 99.217 | 1.497 | 98.433 | 2.593 | 88.967 | 11.178 | 889.817 | 23.963 | 2.3228
2020-04-22 03:15:00 | 1.764 | 161.057 | 1.947 | 119.056 | 2.698 | 113.833 | 3.476 | 107.433 | 11.228 | 889.8 | 21.893 | 2.1168
2020-04-22 03:30:00 | 2.025 | 128.62 | 2.691 | 109.652 | 2.996 | 108.133 | 2.982 | 97.067 | 12.095 | 889.433 | 18.187 | 0.70986
2020-04-22 03:45:00 | 2.914 | 215.5 | 1.36 | 181.782 | 1.594 | 142.167 | 2.863 | 115.633 | 10.845 | 889.817 | 21.952 | 0.23662
2020-04-22 04:00:00 | 4.203 | 227.88 | 1.243 | 205.024 | 0.444 | 160.967 | 1.583 | 138 | 9.52 | 889.717 | 26.736 | 0.18191
2020-04-22 04:15:00 | 5.301 | 232.747 | 1.71 | 227.559 | 0.44 | 158.4 | 2.099 | 131.033 | 7.666 | 889.667 | 31.584 | 0.17622
2020-04-22 04:30:00 | 4.082 | 234.66 | 1.086 | 233.808 | 0 | 199.867 | 0.846 | 134.833 | 7.693 | 889.95 | 30.24 | 0.17054
2020-04-22 04:45:00 | 5.166 | 233.28 | 1.301 | 241.518 | 0 | 200 | 0.75 | 94 | 7.416 | 889.967 | 32.091 | 0.17054
2020-04-22 05:00:00 | 6.16 | 229.713 | 2.605 | 253.575 | 0.103 | 231.3 | 0 | 97 | 5.836 | 889.7 | 37.648 | 0.17196
2020-04-22 05:15:00 | 6.838 | 223.547 | 4.254 | 243.925 | 2.158 | 251.667 | 0.853 | 119.342 | 4.792 | 889.908 | 40.939 | 0.17835
2020-04-22 05:30:00 | 6.771 | 223.433 | 5.222 | 240.771 | 3.704 | 243.967 | 2.483 | 235.667 | 5.465 | 889.575 | 41.008 | 1.5817
2020-04-22 05:45:00 | 6.086 | 221.3 | 5.778 | 235.319 | 4.899 | 244.133 | 4.151 | 241 | 5.085 | 889.792 | 41.419 | 4.8851
2020-04-22 06:00:00 | 6.69 | 225.38 | 5.74 | 237.576 | 5.033 | 250.8 | 4.653 | 249.367 | 5.274 | 889.967 | 41.312 | 4.7366
2020-04-22 06:15:00 | 5.446 | 231.087 | 5.439 | 243.03 | 4.76 | 259.3 | 4.534 | 261.033 | 4.928 | 889.508 | 41.483 | 3.3453
2020-04-22 06:30:00 | 6.111 | 229.053 | 4.984 | 237.945 | 4.213 | 254.3 | 4.005 | 258.4 | 5.26 | 889.633 | 41.771 | 1.9519
2020-04-22 06:45:00 | 6.111 | 227.793 | 4.992 | 239.908 | 4.167 | 255.333 | 3.835 | 258.667 | 5.379 | 889.725 | 41.685 | 1.4822
2020-04-22 07:00:00 | 5.884 | 227.76 | 5.466 | 236.406 | 4.593 | 250.667 | 3.912 | 254.533 | 4.964 | 890.342 | 41.781 | 1.7558
2020-04-22 07:15:00 | 6.217 | 220.753 | 5.432 | 229.583 | 4.677 | 239.633 | 3.98 | 240.833 | 5.541 | 889.817 | 40.357 | 2.7428
2020-04-22 07:30:00 | 5.704 | 228.893 | 5.43 | 234.198 | 4.504 | 247.033 | 4.124 | 247.467 | 5.958 | 889.683 | 39.179 | 1.9327
2020-04-22 07:45:00 | 4.762 | 230.26 | 5.179 | 229.54 | 4.284 | 244.933 | 3.905 | 248.467 | 6.786 | 890.117 | 36.832 | 1.6585
2020-04-22 08:00:00 | 4.239 | 227.693 | 5.111 | 223.81 | 4.204 | 235.567 | 3.82 | 237.567 | 8.444 | 889.8 | 33.653 | 0.44126
2020-04-22 08:15:00 | 3.537 | 223.833 | 4.246 | 223.391 | 3.485 | 229.267 | 3.257 | 232.7 | 9.933 | 889.6 | 31.035 | 0.1613
2020-04-22 08:30:00 | 2.404 | 220.58 | 2.838 | 219.967 | 3.39 | 223.033 | 2.636 | 223 | 11.632 | 889.867 | 28.069 | 0.12861
2020-04-22 08:45:00 | 2.976 | 234.88 | 2.711 | 230.933 | 2.81 | 232.4 | 2.694 | 225.1 | 12.872 | 889.833 | 25.504 | 0.098058
2020-04-22 09:00:00 | 2.776 | 222.76 | 2.556 | 220.368 | 2.623 | 223.567 | 2.721 | 220.567 | 14.241 | 889.35 | 23.141 | 0.22383
2020-04-22 09:15:00 | 1.996 | 247.5 | 1.568 | 241.134 | 0.931 | 237.05 | 1.263 | 230.833 | 15.647 | 889.867 | 20.787 | 0.18048
2020-04-22 09:30:00 | 0.405 | 171.773 | 0.047 | 183.124 | 0 | 92.1 | 0.353 | 146.4 | 16.948 | 889.367 | 16.461 | 0.17196
2020-04-22 09:45:00 | 1.491 | 45.49 | 1.509 | 43.59 | 1.666 | 42.267 | 2.504 | 45.6 | 16.136 | 889.6 | 15.288 | 0.45121
2020-04-22 10:00:00 | 2.602 | 89.46 | 2.649 | 86.67 | 2.816 | 89.833 | 3.21 | 81.467 | 15.547 | 889.6 | 14.195 | 5.1061
2020-04-22 10:15:00 | 5.238 | 81.993 | 5.205 | 78.629 | 5.061 | 83.8 | 5.74 | 83.533 | 16.039 | 889.633 | 12.277 | 12.9437
2020-04-22 10:30:00 | 5.49 | 84.027 | 5.618 | 81.586 | 5.625 | 89.233 | 5.725 | 85.767 | 16.096 | 889.833 | 11.352 | 15.236
2020-04-22 10:45:00 | 5.511 | 76.433 | 5.643 | 75.237 | 5.685 | 80.633 | 5.9 | 76.1 | 16.781 | 889.8 | 11.712 | 14.266
2020-04-22 11:00:00 | 5.108 | 73.2 | 5.336 | 71.275 | 5.198 | 76.933 | 5.332 | 73.2 | 16.448 | 889.3 | 12.2 | 13.8866
2020-04-22 11:15:00 | 5.189 | 65.187 | 5.233 | 58.426 | 5.621 | 67.667 | 5.739 | 64.9 | 16.531 | 889.533 | 10.801 | 13.9946
2020-04-22 11:30:00 | 4.791 | 88.007 | 4.833 | 82.176 | 4.997 | 84.733 | 5.384 | 77.067 | 16.964 | 889.133 | 9.552 | 14.4664
2020-04-22 11:45:00 | 4.926 | 74.967 | 5.209 | 71.729 | 5.521 | 73.8 | 5.89 | 73.033 | 17.031 | 888.8 | 9.541 | 14.929
2020-04-22 12:00:00 | 5.383 | 64.655 | 5.807 | 61.271 | 6.026 | 67.633 | 6.112 | 63.333 | 17.431 | 888.933 | 8.253 | 18.8279
2020-04-22 12:15:00 | 5.493 | 66.868 | 5.593 | 64.096 | 5.728 | 71.7 | 5.805 | 71.333 | 17.698 | 889.067 | 7.691 | 21.425
2020-04-22 12:30:00 | 5.82 | 69.397 | 5.91 | 64.095 | 6.111 | 71.533 | 6.211 | 68.6 | 17.944 | 889 | 7.545 | 24.6716
2020-04-22 12:45:00 | 6.1 | 59.009 | 6.241 | 53.81 | 6.537 | 59.5 | 6.677 | 60.1 | 18.131 | 888.733 | 7.383 | 32.6178
2020-04-22 13:00:00 | 6.6 | 73.265 | 6.488 | 66.569 | 6.633 | 68.867 | 7.035 | 64.833 | 18.31 | 889.133 | 7.476 | 35.0785
2020-04-22 13:15:00 | 8.026 | 64.128 | 8.021 | 59.356 | 8.168 | 65.267 | 8.456 | 60.967 | 18.168 | 888.867 | 7.76 | 31.9286
2020-04-22 13:30:00 | 6.11 | 84.667 | 5.94 | 78.38 | 6.115 | 83.933 | 6.437 | 81.767 | 18.148 | 889 | 8.113 | 32.3478
2020-04-22 13:45:00 | 6.544 | 90.5 | 6.659 | 84.018 | 7.036 | 88.467 | 7.484 | 84.533 | 18.556 | 889.2 | 8.337 | 26.173
2020-04-22 14:00:00 | 5.884 | 97.282 | 6.126 | 89.87 | 6.346 | 93.8 | 6.629 | 90.6 | 19.073 | 889.067 | 8.519 | 18.0001
2020-04-22 14:15:00 | 5.849 | 45.52 | 5.849 | 41.581 | 5.711 | 46.8 | 5.805 | 45.1 | 18.977 | 888.867 | 8.505 | 14.9233
2020-04-22 14:30:00 | 4.471 | 74.318 | 5.094 | 66.213 | 5.485 | 72.642 | 5.97 | 72.1 | 19.118 | 888.867 | 8.849 | 18.4136
2020-04-22 14:45:00 | 4.923 | 54.504 | 5.164 | 51.281 | 5.136 | 52.367 | 5.102 | 48.367 | 19.168 | 888.8 | 8.483 | 26.34
2020-04-22 15:00:00 | 5.73 | 72.293 | 6.086 | 65.736 | 6.216 | 69.367 | 6.798 | 69.233 | 19.352 | 889.4 | 8.723 | 18.1941
2020-04-22 15:15:00 | 4.597 | 105.657 | 4.642 | 96.094 | 4.854 | 94.933 | 5.153 | 84.367 | 19.206 | 889.067 | 9.092 | 18.0598
2020-04-22 15:30:00 | 4.087 | 94.702 | 4.329 | 87.68 | 4.177 | 92.567 | 4.482 | 86.933 | 19.648 | 888.867 | 8.893 | 7.7793
2020-04-22 15:45:00 | 6.242 | 37.288 | 6.154 | 36.564 | 6.605 | 39.567 | 6.576 | 38.267 | 19.827 | 888.667 | 9.027 | 12.9124
2020-04-22 16:00:00 | 4.061 | 56.866 | 4.125 | 45.763 | 4.334 | 51.533 | 4.626 | 50.2 | 19.202 | 888.933 | 9.227 | 10.9456
2020-04-22 16:15:00 | 4.694 | 141.759 | 4.835 | 78.508 | 4.942 | 61.107 | 5.092 | 34.733 | 19.439 | 889 | 8.321 | 15.474
2020-04-22 16:30:00 | 4.644 | 74.725 | 4.717 | 65.66 | 4.68 | 67.9 | 5.085 | 63.4 | 19.627 | 888.733 | 8.935 | 9.1585
2020-04-22 16:45:00 | 4.731 | 86.135 | 4.641 | 77.329 | 4.991 | 76.833 | 5.113 | 67.133 | 19.706 | 889.133 | 8.927 | 10.9285
2020-04-22 17:00:00 | 4.272 | 49.47 | 4.136 | 48.907 | 4.113 | 50.067 | 4.549 | 44.867 | 19.652 | 889.067 | 8.237 | 10.1547
2020-04-22 17:15:00 | 5.003 | 39.918 | 5.359 | 41.792 | 5.595 | 44.733 | 6.081 | 44.233 | 19.723 | 889.133 | 7.589 | 13.6194
2020-04-22 17:30:00 | 4.046 | 21.783 | 3.598 | 16.406 | 3.884 | 18.333 | 4.057 | 16.233 | 20.014 | 888.867 | 6.919 | 4.8603
2020-04-22 17:45:00 | 3.454 | 83.193 | 3.379 | 80.689 | 3.229 | 92.2 | 3.505 | 87.033 | 20.056 | 888.733 | 6.832 | 4.9448
2020-04-22 18:00:00 | 3.959 | 78.397 | 3.892 | 72.548 | 4.014 | 75.467 | 4.257 | 71.133 | 20.385 | 888.667 | 6.167 | 12.0846
2020-04-22 18:15:00 | 3.953 | 44.179 | 3.927 | 36.498 | 4.037 | 42 | 4.413 | 39.733 | 19.614 | 889 | 6.269 | 13.591
2020-04-22 18:30:00 | 3.841 | 72.2 | 3.597 | 67.084 | 3.592 | 71.4 | 3.819 | 67.033 | 20.068 | 889.067 | 6.643 | 10.888
2020-04-22 18:45:00 | 5.283 | 60.597 | 5.239 | 55.157 | 5.528 | 59.533 | 5.841 | 56.4 | 19.885 | 889 | 6.537 | 13.3444
2020-04-22 19:00:00 | 3.667 | 62.757 | 3.705 | 57.679 | 4.1 | 58.467 | 4.272 | 54.2 | 19.589 | 889.067 | 6.419 | 10.7644
2020-04-22 19:15:00 | 4.857 | 113.58 | 4.937 | 103.028 | 4.292 | 104.367 | 4.327 | 94.8 | 19.26 | 888.933 | 7.001 | 11.2483
2020-04-22 19:30:00 | 5.435 | 72.257 | 5.624 | 68.81 | 5.692 | 72.9 | 5.813 | 69.633 | 19.16 | 889.333 | 7.029 | 6.9373
2020-04-22 19:45:00 | 2.974 | 90.553 | 2.863 | 83.69 | 3.158 | 83.667 | 3.619 | 77.867 | 18.948 | 889.2 | 7.26 | 8.5602
2020-04-22 20:00:00 | 4.66 | 105.7 | 4.339 | 98.88 | 3.878 | 101.567 | 4.003 | 96.133 | 18.889 | 888.733 | 7.372 | 9.2431
2020-04-22 20:15:00 | 4.505 | 106.96 | 4.657 | 102.566 | 4.554 | 105.2 | 4.472 | 100.733 | 18.206 | 889.4 | 7.612 | 15.7781
2020-04-22 20:30:00 | 4.75 | 110.583 | 4.826 | 105.09 | 4.568 | 105.5 | 4.638 | 100.733 | 18.252 | 888.533 | 7.873 | 14.9859
2020-04-22 20:45:00 | 4.454 | 105.04 | 4.949 | 98.121 | 4.034 | 101.567 | 3.528 | 94.233 | 17.448 | 888.867 | 8.035 | 17.2085
2020-04-22 21:00:00 | 4.207 | 100.593 | 3.998 | 91.562 | 3.488 | 93.9 | 3.569 | 89.9 | 17.114 | 888.933 | 8.46 | 18.8023
2020-04-22 21:15:00 | 4.215 | 96.553 | 4.701 | 91.343 | 4.014 | 95.033 | 3.9 | 91.2 | 16.748 | 888.867 | 8.825 | 18.8812
2020-04-22 21:30:00 | 3.985 | 100.193 | 3.886 | 92.791 | 3.045 | 100.033 | 3.344 | 92.033 | 16.314 | 889.133 | 8.863 | 16.7893
2020-04-22 21:45:00 | 3.859 | 109.573 | 5.025 | 102.805 | 4.505 | 103.7 | 4.378 | 97.3 | 16.203 | 888.867 | 9.012 | 24.025
2020-04-22 22:00:00 | 4.703 | 115.98 | 5.997 | 109.086 | 6.391 | 114.4 | 6.818 | 109.633 | 15.842 | 889.067 | 9.22 | 19.9065
2020-04-22 22:15:00 | 3.524 | 129.967 | 4.59 | 117.848 | 5.024 | 122.7 | 5.49 | 117.833 | 15.728 | 889.2 | 9.217 | 15.9295
2020-04-22 22:30:00 | 3.48 | 139.667 | 4.51 | 123.264 | 4.623 | 126.7 | 4.816 | 120.733 | 15.024 | 888.667 | 9.588 | 14.8388
2020-04-22 22:45:00 | 3.621 | 142.293 | 4.724 | 121.66 | 4.945 | 124.033 | 5.44 | 117.7 | 14.908 | 888.867 | 9.805 | 17.0394
2020-04-22 23:00:00 | 3.839 | 135.973 | 4.903 | 118.973 | 5.041 | 118.067 | 5.472 | 109.667 | 14.424 | 889.333 | 10.343 | 15.086
2020-04-22 23:15:00 | 3.502 | 135.793 | 5.006 | 112.775 | 5.128 | 109.833 | 5.134 | 102.367 | 14.533 | 889.5 | 10.693 | 14.2326
2020-04-22 23:30:00 | 3.6 | 138.593 | 4.282 | 116.459 | 4.521 | 113.667 | 4.786 | 107 | 14.283 | 889.833 | 10.963 | 14.0927
2020-04-22 23:45:00 | 2.912 | 116.807 | 3.186 | 97.824 | 3.131 | 93.667 | 3.794 | 87.567 | 14.195 | 889.333 | 11.248 | 12.2686