## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-23 00:00:00 | 3.138 | 114.047 | 3.091 | 101.573 | 2.635 | 98.467 | 3.076 | 89.167 | 14.362 | 889.3 | 10.661 | 6.1635
2020-04-23 00:15:00 | 2.226 | 90.44 | 2.789 | 83.796 | 2.766 | 90.2 | 2.912 | 84 | 13.783 | 889.067 | 10.205 | 1.7565
2020-04-23 00:30:00 | 0.15 | 72.17 | 1.92 | 59.099 | 2.134 | 63.533 | 2.903 | 70.367 | 12.718 | 889.667 | 10.997 | 0.56277
2020-04-23 00:45:00 | 1.383 | 180.11 | 0.06 | 89.039 | 0.506 | 92.133 | 1.857 | 86 | 11.978 | 889.633 | 11.776 | 0.21672
2020-04-23 01:00:00 | 0.216 | 212.56 | 0 | 90.236 | 1.118 | 80.833 | 3.021 | 75.167 | 11.407 | 889.533 | 12.779 | 0.2288
2020-04-23 01:15:00 | 1.207 | 209.567 | 0 | 141.535 | 0 | 182 | 1.364 | 72 | 11.549 | 889.667 | 13.245 | 0.19043
2020-04-23 01:30:00 | 3.687 | 217.827 | 0.293 | 141.409 | 0 | 182.1 | 1.7 | 72 | 10.94 | 889.5 | 13.269 | 0.18759
2020-04-23 01:45:00 | 2.194 | 233.4 | 0.568 | 188.49 | 0 | 259.867 | 0.245 | 9.677 | 11.295 | 889.133 | 13.387 | 0.17196
2020-04-23 02:00:00 | 2.423 | 248.267 | 0.955 | 188.406 | 0.03 | 255.667 | 0.111 | 352.8 | 11.278 | 889.467 | 13.248 | 0.17054
2020-04-23 02:15:00 | 4.233 | 242.36 | 0.812 | 265.22 | 0 | 268 | 0.51 | 351.867 | 8.796 | 889.4 | 13.779 | 0.17054
2020-04-23 02:30:00 | 4.771 | 239.927 | 2.486 | 265.594 | 0.376 | 268.067 | 0.598 | 352.067 | 6.638 | 889.3 | 14.968 | 0.18759
2020-04-23 02:45:00 | 4.678 | 236.167 | 2.626 | 276.042 | 1.119 | 318.2 | 1.714 | 202.033 | 5.73 | 889.7 | 16.695 | 0.21104
2020-04-23 03:00:00 | 4.673 | 227.087 | 2.298 | 237.968 | 0.95 | 251.7 | 0.517 | 268.167 | 7.183 | 889.367 | 16.853 | 0.17054
2020-04-23 03:15:00 | 3.874 | 230.047 | 0.383 | 229.848 | 0.11 | 229.267 | 1.021 | 247.867 | 9.099 | 889.533 | 15.853 | 0.17196
2020-04-23 03:30:00 | 4.899 | 232.513 | 1.959 | 249.538 | 0 | 247.9 | 0 | 199 | 7.866 | 889.833 | 17.085 | 0.17622
2020-04-23 03:45:00 | 6.326 | 227.913 | 3.86 | 240.667 | 1.62 | 250 | 0.466 | 199 | 6.035 | 889.433 | 18.059 | 0.18191
2020-04-23 04:00:00 | 6.076 | 227.673 | 4.042 | 249.542 | 2.551 | 256.933 | 2.037 | 260.9 | 4.656 | 889.367 | 19.616 | 0.18901
2020-04-23 04:15:00 | 7.099 | 228.427 | 5.054 | 240.632 | 3.534 | 254 | 2.763 | 256 | 4.335 | 889.5 | 19.896 | 0.13714
2020-04-23 04:30:00 | 6.452 | 227.227 | 4.331 | 242.893 | 3.578 | 255.8 | 3.239 | 252.833 | 4.451 | 889.567 | 20.013 | 0.069636
2020-04-23 04:45:00 | 6.636 | 227.327 | 4.649 | 239.594 | 3.262 | 260.933 | 2.792 | 264.367 | 4.203 | 889.533 | 20.133 | 0.11724
2020-04-23 05:00:00 | 7.001 | 228.1 | 4.661 | 241.634 | 3.387 | 259.533 | 3.055 | 272.767 | 4.256 | 889.667 | 20.211 | 0.1073
2020-04-23 05:15:00 | 6.327 | 221.02 | 4.053 | 240.417 | 3.438 | 259.533 | 2.982 | 272.1 | 4.133 | 889.467 | 20.069 | 0.18404
2020-04-23 05:30:00 | 6.595 | 220.107 | 3.593 | 236.731 | 2.978 | 261.067 | 2.94 | 279.133 | 4.125 | 889.5 | 20 | 0.25296
2020-04-23 05:45:00 | 5.868 | 216.267 | 3.383 | 201.656 | 2.516 | 221.433 | 2.334 | 238.333 | 3.84 | 889.667 | 20.08 | 0.22312
2020-04-23 06:00:00 | 6.221 | 215.027 | 3.695 | 187.054 | 2.092 | 185.233 | 2.266 | 201.733 | 3.802 | 889.517 | 20.301 | 0.1947
2020-04-23 06:15:00 | 6.544 | 218.72 | 4.116 | 204.132 | 2.829 | 197.433 | 2.336 | 181.867 | 4.166 | 889.633 | 20.035 | 0.2018
2020-04-23 06:30:00 | 6.412 | 213.733 | 3.678 | 200.056 | 2.601 | 198.467 | 2.434 | 185.133 | 4.785 | 889.667 | 19.88 | 0.19896
2020-04-23 06:45:00 | 6.668 | 221.4 | 3.728 | 211.957 | 2.192 | 207.267 | 2.235 | 186.067 | 5.102 | 889.633 | 20.141 | 0.19185
2020-04-23 07:00:00 | 5.194 | 222.887 | 3.288 | 227.561 | 1.987 | 230.267 | 1.525 | 200.733 | 4.961 | 889.25 | 20.536 | 0.20038
2020-04-23 07:15:00 | 5.65 | 224.14 | 3.063 | 225.978 | 1.841 | 237.2 | 1.442 | 217.5 | 4.888 | 889.817 | 20.648 | 0.19754
2020-04-23 07:30:00 | 4.124 | 235.18 | 2.553 | 220.002 | 0.213 | 244.6 | 0.46 | 231 | 4.743 | 889.633 | 20.363 | 0.2018
2020-04-23 07:45:00 | 4.507 | 227.953 | 1.543 | 209.032 | 0 | 234.033 | 0.121 | 252.1 | 5.227 | 889.367 | 19.784 | 0.20038
2020-04-23 08:00:00 | 3.972 | 233.267 | 0 | 220.525 | 0.027 | 254.467 | 0.833 | 252.267 | 6.376 | 889.3 | 18.493 | 0.22454
2020-04-23 08:15:00 | 2.025 | 228.627 | 0 | 238.389 | 0.816 | 344 | 2.22 | 357 | 8.444 | 889.867 | 16.805 | 0.2153
2020-04-23 08:30:00 | 1.044 | 269.42 | 0 | 260.883 | 0.829 | 344.267 | 2.729 | 351.6 | 10.239 | 889.567 | 14.813 | 0.21459
2020-04-23 08:45:00 | 0 | 275.013 | 0.49 | 269.111 | 0.548 | 34.8 | 1.948 | 0.134 | 11.457 | 889.667 | 13.613 | 0.21388
2020-04-23 09:00:00 | 1.823 | 199.347 | 1.366 | 342.493 | 0.703 | 353.167 | 2.093 | 150.533 | 10.795 | 889.333 | 13.141 | 0.16911
2020-04-23 09:15:00 | 2.829 | 96.426 | 2.833 | 293.52 | 2.728 | 187.8 | 3.121 | 131.133 | 10.911 | 889.567 | 13.6 | 0.24515
2020-04-23 09:30:00 | 3.3 | 83.015 | 3.252 | 282.533 | 3.303 | 177.833 | 3.366 | 82.7 | 10.928 | 889.567 | 12.923 | 0.20251
2020-04-23 09:45:00 | 2.84 | 78.265 | 2.467 | 108.89 | 2.39 | 20.934 | 2.727 | 42.5 | 11.332 | 889.267 | 12.481 | 0.13217
2020-04-23 10:00:00 | 2.443 | 33.072 | 2.114 | 23.467 | 1.811 | 25.633 | 2.375 | 41.2 | 12.382 | 889.5 | 11.691 | 0.19114
2020-04-23 10:15:00 | 2.63 | 64.547 | 2.63 | 50.851 | 2.516 | 56.233 | 2.942 | 56.433 | 12.984 | 890 | 10.843 | 2.2887
2020-04-23 10:30:00 | 4.463 | 80.56 | 4.457 | 78.782 | 4.411 | 84.333 | 4.446 | 80.867 | 12.582 | 889.4 | 10.84 | 5.3385
2020-04-23 10:45:00 | 4.641 | 75.31 | 4.538 | 69.233 | 4.271 | 75.833 | 4.716 | 72.633 | 13.866 | 888.933 | 9.875 | 9.2587
2020-04-23 11:00:00 | 5.305 | 77.65 | 5.248 | 73.358 | 5.184 | 76.033 | 5.536 | 72.767 | 15.024 | 889.267 | 8.68 | 14.8842
2020-04-23 11:15:00 | 5.079 | 78.973 | 5.455 | 71.752 | 5.442 | 75.867 | 5.706 | 72.6 | 15.673 | 889.133 | 8.501 | 20.9553
2020-04-23 11:30:00 | 6.323 | 82.767 | 6.384 | 74.735 | 6.37 | 78.667 | 6.41 | 78.133 | 16.281 | 888.667 | 8.069 | 33.6794
2020-04-23 11:45:00 | 7.966 | 76.34 | 8.216 | 70.296 | 8.27 | 78.167 | 8.394 | 73.333 | 16.881 | 888.733 | 7.803 | 33.273
2020-04-23 12:00:00 | 6.377 | 61.567 | 6.237 | 58.605 | 6.35 | 60.1 | 6.555 | 57.933 | 16.998 | 889.267 | 7.593 | 42.9786
2020-04-23 12:15:00 | 9.46 | 73.765 | 9.683 | 68.122 | 10.156 | 73.3 | 10.384 | 70.633 | 17.235 | 889.267 | 7.757 | 39.8408
2020-04-23 12:30:00 | 9.643 | 72.733 | 9.841 | 70.435 | 10.21 | 76.433 | 10.367 | 73.367 | 17.794 | 889 | 7.551 | 39.1174
2020-04-23 12:45:00 | 9.969 | 75.89 | 10.085 | 74.857 | 9.994 | 79.533 | 10.16 | 76.9 | 17.914 | 889.2 | 7.279 | 38.9021
2020-04-23 13:00:00 | 7.632 | 84.963 | 7.687 | 80.706 | 7.807 | 85.667 | 8.297 | 77.033 | 18.859 | 890.067 | 6.715 | 39.909
2020-04-23 13:15:00 | 7.962 | 72.067 | 7.835 | 68.402 | 8.253 | 72.867 | 8.471 | 71.667 | 17.914 | 889.133 | 6.849 | 40.5265
2020-04-23 13:30:00 | 9.506 | 87.61 | 9.438 | 81.302 | 9.621 | 84.3 | 10.007 | 81.967 | 18.739 | 889.267 | 6.676 | 40.6842
2020-04-23 13:45:00 | 9.584 | 60.205 | 9.389 | 57.183 | 10.206 | 63.167 | 10.383 | 60.067 | 18.285 | 888.867 | 6.733 | 41.0743
2020-04-23 14:00:00 | 5.588 | 84.79 | 5.636 | 77.73 | 5.948 | 81.067 | 5.971 | 72.667 | 18.198 | 889.2 | 6.505 | 41.6214
2020-04-23 14:15:00 | 7.196 | 76.713 | 7.561 | 72.675 | 7.655 | 78.167 | 8.556 | 74.2 | 18.906 | 889.133 | 6.467 | 40.9116
2020-04-23 14:30:00 | 8.325 | 71.527 | 8.572 | 69.22 | 8.906 | 73.3 | 9.428 | 70.567 | 18.573 | 889.333 | 6.056 | 39.31
2020-04-23 14:45:00 | 7.956 | 87.644 | 8.579 | 81.646 | 8.607 | 87.7 | 8.816 | 86.233 | 18.606 | 889 | 6.163 | 39.6446
2020-04-23 15:00:00 | 6.242 | 73.372 | 6.854 | 66.407 | 7.152 | 71.633 | 7.616 | 69.133 | 18.281 | 888.667 | 6.277 | 41.1255
2020-04-23 15:15:00 | 7.538 | 98.073 | 7.537 | 92.668 | 7.659 | 96.133 | 7.779 | 94.367 | 18.514 | 888.867 | 6.315 | 39.3419
2020-04-23 15:30:00 | 5.955 | 76.58 | 6.31 | 74.654 | 6.489 | 83.033 | 6.497 | 76.633 | 18.656 | 888.867 | 6.189 | 43.0703
2020-04-23 15:45:00 | 7.34 | 95.457 | 7.266 | 88.394 | 7.075 | 91.167 | 7.455 | 86.367 | 18.885 | 889.067 | 6.391 | 41.6655
2020-04-23 16:00:00 | 7.477 | 98.027 | 7.292 | 92.237 | 7.29 | 99.233 | 7.366 | 94.333 | 18.914 | 889.2 | 6.309 | 37.3531
2020-04-23 16:15:00 | 7.934 | 91.858 | 7.828 | 83.843 | 7.544 | 86.567 | 7.746 | 82.433 | 19.185 | 889 | 6.496 | 38.9767
2020-04-23 16:30:00 | 7.815 | 71.905 | 8.002 | 63.063 | 7.745 | 69.067 | 8.236 | 63.533 | 19.068 | 889.333 | 6.5 | 32.9412
2020-04-23 16:45:00 | 6.409 | 66.483 | 6.665 | 64.515 | 7.38 | 73.133 | 7.388 | 72.2 | 19.268 | 888.6 | 6.532 | 32.2491
2020-04-23 17:00:00 | 7.84 | 88.36 | 7.861 | 80.909 | 7.626 | 87.033 | 7.854 | 85.067 | 19.731 | 889 | 6.505 | 21.0335
2020-04-23 17:15:00 | 5.589 | 115.617 | 5.977 | 114.744 | 6.263 | 117.967 | 6.395 | 112.833 | 19.464 | 888.733 | 6.367 | 26.2171
2020-04-23 17:30:00 | 6.896 | 76.217 | 7.286 | 70.701 | 7.545 | 74.233 | 7.917 | 73.3 | 19.477 | 889.067 | 6.483 | 19.9357
2020-04-23 17:45:00 | 4.261 | 94.578 | 4.203 | 92.201 | 4.279 | 96.4 | 5.126 | 91.633 | 19.723 | 889.267 | 6.16 | 19.0766
2020-04-23 18:00:00 | 6.134 | 87.883 | 5.676 | 85.604 | 5.401 | 89.1 | 5.816 | 85.3 | 19.552 | 889 | 6.197 | 20.7628
2020-04-23 18:15:00 | 4.591 | 76.374 | 5.096 | 73.836 | 5.264 | 81.233 | 5.642 | 75.567 | 19.764 | 888.667 | 6.075 | 25.8028
2020-04-23 18:30:00 | 5.706 | 89.24 | 5.737 | 84.129 | 5.752 | 90.633 | 5.927 | 87.067 | 19.989 | 888.8 | 6.193 | 34.8981
2020-04-23 18:45:00 | 6.139 | 92.107 | 5.566 | 85.488 | 5.646 | 90.933 | 6.311 | 83.7 | 19.714 | 888.733 | 6.411 | 36.8763
2020-04-23 19:00:00 | 6.368 | 81.363 | 6.687 | 75.961 | 6.75 | 78.5 | 6.944 | 74.467 | 19.644 | 888.867 | 6.297 | 34.7183
2020-04-23 19:15:00 | 7.002 | 76.913 | 7.589 | 73.486 | 7.88 | 79.767 | 8.065 | 77.033 | 19.573 | 889.133 | 6.605 | 37.8689
2020-04-23 19:30:00 | 6.916 | 82.38 | 7.282 | 78.27 | 7.253 | 82.633 | 7.269 | 79.467 | 19.418 | 889.2 | 6.629 | 38.6172
2020-04-23 19:45:00 | 6.325 | 88.813 | 6.179 | 86.053 | 5.81 | 92.9 | 5.874 | 87.667 | 18.998 | 888.733 | 6.683 | 34.2266
2020-04-23 20:00:00 | 5.747 | 89.633 | 6.281 | 86.219 | 6.078 | 89.233 | 6.092 | 84.267 | 18.456 | 889.2 | 6.849 | 37.7581
2020-04-23 20:15:00 | 6.386 | 98.52 | 6.545 | 93.55 | 5.682 | 96.567 | 5.474 | 92.233 | 18.314 | 889.133 | 7.037 | 38.3599
2020-04-23 20:30:00 | 5.506 | 99.653 | 5.709 | 97.914 | 4.94 | 97.633 | 4.618 | 95.933 | 17.789 | 888.867 | 7.34 | 35.7998
2020-04-23 20:45:00 | 4.985 | 93.95 | 5.408 | 86.825 | 4.588 | 93 | 4.429 | 87.5 | 17.344 | 888.933 | 7.515 | 32.1972
2020-04-23 21:00:00 | 4.976 | 94.46 | 5.316 | 89.689 | 4.752 | 96.6 | 4.783 | 89.3 | 16.464 | 889.667 | 7.617 | 29.3102
2020-04-23 21:15:00 | 4.698 | 96.347 | 5.304 | 90.214 | 4.321 | 98.467 | 4.317 | 89.433 | 16.312 | 888.867 | 7.823 | 27.6901
2020-04-23 21:30:00 | 4.39 | 97.747 | 4.382 | 91.961 | 4.212 | 96.8 | 4.032 | 91.9 | 15.908 | 889.267 | 7.872 | 27.7249
2020-04-23 21:45:00 | 4.089 | 91.8 | 4.9 | 86.356 | 4.434 | 92.633 | 4.373 | 88.833 | 15.438 | 889 | 8.032 | 23.4174
2020-04-23 22:00:00 | 3.795 | 94.833 | 4.557 | 88.412 | 4.108 | 95.8 | 4.091 | 92.3 | 15.008 | 889.2 | 8.081 | 17.9319
2020-04-23 22:15:00 | 3.847 | 89.333 | 4.257 | 83.978 | 4.361 | 87.567 | 4.687 | 85.233 | 14.858 | 889.333 | 8.092 | 13.9385
2020-04-23 22:30:00 | 3.79 | 89.267 | 4.255 | 82.511 | 4.07 | 89.3 | 4.215 | 84.933 | 14.724 | 889.133 | 7.976 | 11.9375
2020-04-23 22:45:00 | 3.4 | 88.867 | 3.943 | 84.987 | 3.709 | 92.067 | 3.678 | 87.733 | 14.674 | 888.867 | 7.948 | 7.8326
2020-04-23 23:00:00 | 2.92 | 83.827 | 3.679 | 78.532 | 3.593 | 87.967 | 3.63 | 83.433 | 14.354 | 888.867 | 8.033 | 5.2021
2020-04-23 23:15:00 | 1.666 | 72.373 | 3.193 | 71.262 | 3.538 | 78.1 | 3.792 | 77.867 | 13.816 | 888.933 | 8.211 | 2.5445
2020-04-23 23:30:00 | 0.213 | 57.268 | 2.958 | 63.56 | 3.353 | 71.7 | 3.763 | 69.233 | 12.388 | 888.933 | 8.725 | 0.7333
2020-04-23 23:45:00 | 0.036 | 62.137 | 0 | 56.057 | 1.141 | 69.833 | 2.397 | 67.433 | 11.445 | 888.6 | 9.289 | 0.24444