## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-24 00:00:00 | 2.043 | 248.833 | 0.117 | 133.65 | 0 | 71 | 1.294 | 80 | 11.532 | 888.933 | 9.497 | 0.21033
2020-04-24 00:15:00 | 4.428 | 243.4 | 1.79 | 183.878 | 0.06 | 174.067 | 0 | 80 | 11.111 | 889 | 9.473 | 0.17054
2020-04-24 00:30:00 | 6.026 | 230.84 | 3.268 | 241.881 | 1.53 | 234.6 | 0.269 | 80 | 8.437 | 889.033 | 10.116 | 0.18404
2020-04-24 00:45:00 | 6.464 | 225.087 | 5.17 | 246.9 | 3.249 | 251.567 | 2.021 | 80 | 7.479 | 889.033 | 11.021 | 1.2534
2020-04-24 01:00:00 | 5.654 | 228.767 | 5.517 | 250.297 | 3.948 | 258.167 | 2.497 | 80.1 | 7.306 | 889.4 | 11.523 | 2.9957
2020-04-24 01:15:00 | 5.911 | 234.027 | 5.118 | 255.048 | 4.321 | 265.133 | 3.551 | 264.4 | 7.893 | 889.633 | 11.616 | 6.177
2020-04-24 01:30:00 | 5.698 | 207.24 | 6.659 | 222.53 | 5.609 | 250.2 | 4.749 | 251.533 | 6.644 | 889.6 | 11.704 | 9.3901
2020-04-24 01:45:00 | 6.139 | 216.167 | 6.732 | 227.411 | 5.615 | 239.433 | 4.706 | 243.9 | 7.206 | 889.567 | 11.965 | 8.1552
2020-04-24 02:00:00 | 4.328 | 217.413 | 5.368 | 232.223 | 4.552 | 243.867 | 4.09 | 243.667 | 7.482 | 889.2 | 11.944 | 5.6142
2020-04-24 02:15:00 | 5.901 | 224.167 | 5.613 | 237.573 | 4.969 | 249.733 | 4.529 | 250.467 | 6.889 | 889.933 | 11.915 | 8.5289
2020-04-24 02:30:00 | 6.595 | 227.867 | 5.965 | 242.674 | 5.352 | 252.067 | 4.804 | 251.083 | 7.022 | 889.233 | 12.253 | 8.9098
2020-04-24 02:45:00 | 6.084 | 226.6 | 6.025 | 244.169 | 5.289 | 253.767 | 4.791 | 255.883 | 7.106 | 889.633 | 12.16 | 9.3987
2020-04-24 03:00:00 | 5.975 | 214.56 | 6.377 | 235.361 | 5.724 | 245.533 | 5.12 | 245.267 | 6.373 | 889.867 | 12.485 | 10.8923
2020-04-24 03:15:00 | 6.067 | 217.613 | 6.476 | 227.928 | 5.946 | 237.467 | 5.548 | 234.867 | 6.416 | 889.5 | 12.979 | 11.1495
2020-04-24 03:30:00 | 6.079 | 216.813 | 6.476 | 221.449 | 5.68 | 232.033 | 5.24 | 231.133 | 6.433 | 889.3 | 12.885 | 8.9709
2020-04-24 03:45:00 | 6.601 | 217.433 | 6.078 | 218.609 | 5.517 | 225.967 | 5.015 | 224.1 | 7.106 | 888.833 | 12.747 | 8.5979
2020-04-24 04:00:00 | 5.844 | 219.567 | 5.744 | 222.411 | 4.712 | 231.2 | 4.524 | 231.767 | 7.456 | 889.533 | 12.864 | 9.4889
2020-04-24 04:15:00 | 6.453 | 220.353 | 7.232 | 222.453 | 6.072 | 228.767 | 5.373 | 226.433 | 7.763 | 889.733 | 13.029 | 10.9996
2020-04-24 04:30:00 | 5.76 | 226.267 | 6.668 | 224.305 | 6.055 | 230.167 | 5.262 | 227.733 | 7.506 | 889.5 | 12.891 | 12.4967
2020-04-24 04:45:00 | 6.714 | 228.827 | 6.696 | 227.752 | 6.33 | 235.667 | 6.126 | 232.967 | 6.522 | 889.133 | 13.592 | 14.4579
2020-04-24 05:00:00 | 6.424 | 230.72 | 6.879 | 228.651 | 6.494 | 239 | 6.29 | 237.567 | 6.536 | 889.5 | 13.92 | 16.2514
2020-04-24 05:15:00 | 5.757 | 226.967 | 6.966 | 226.838 | 6.484 | 233.3 | 6.229 | 230.867 | 6.393 | 889.533 | 13.885 | 16.741
2020-04-24 05:30:00 | 5.717 | 226.16 | 7.397 | 223.27 | 6.705 | 230.767 | 6.302 | 227.733 | 6.77 | 889.867 | 13.771 | 18.4222
2020-04-24 05:45:00 | 6.964 | 220.133 | 8.223 | 221.096 | 7.498 | 226 | 6.86 | 222.333 | 6.989 | 889.633 | 13.792 | 24.9054
2020-04-24 06:00:00 | 7.186 | 220.067 | 8.898 | 220.51 | 8.73 | 225.067 | 8.066 | 221.3 | 7.156 | 889.133 | 13.685 | 34.1271
2020-04-24 06:15:00 | 7.422 | 219.72 | 8.154 | 227.378 | 8.607 | 231.733 | 8.848 | 226.233 | 7.78 | 889.333 | 13.675 | 28.2138
2020-04-24 06:30:00 | 6.603 | 224.407 | 8.697 | 221.245 | 8.11 | 223.6 | 7.881 | 215.533 | 7.703 | 889.2 | 14.221 | 24.2026
2020-04-24 06:45:00 | 7.11 | 220.947 | 8.846 | 219.704 | 8.421 | 221.267 | 8.057 | 212.067 | 6.863 | 889.3 | 15.245 | 28.7971
2020-04-24 07:00:00 | 7.297 | 218.8 | 7.766 | 215.583 | 7.192 | 217.1 | 6.892 | 212.333 | 7.339 | 889.433 | 15.115 | 25.704
2020-04-24 07:15:00 | 6.199 | 222.8 | 8.088 | 218.358 | 7.057 | 222.167 | 6.378 | 218.367 | 7.256 | 889.533 | 14.933 | 15.9941
2020-04-24 07:30:00 | 5.873 | 229.5 | 7.733 | 218.909 | 7.012 | 220.733 | 6.679 | 214.133 | 7.272 | 889.6 | 14.797 | 12.8271
2020-04-24 07:45:00 | 5.279 | 228.673 | 7.053 | 218.759 | 6.442 | 221.833 | 5.993 | 214.067 | 8.404 | 889.833 | 14.152 | 10.5498
2020-04-24 08:00:00 | 5.611 | 221.753 | 6.557 | 216.548 | 6.322 | 219.867 | 6.319 | 216.433 | 9.928 | 889.4 | 13.349 | 9.1215
2020-04-24 08:15:00 | 3.697 | 235.8 | 5.388 | 227.037 | 6.963 | 224.533 | 6.265 | 218.6 | 10.961 | 889.3 | 12.555 | 6.8364
2020-04-24 08:30:00 | 3.959 | 240.667 | 4.807 | 230.358 | 4.792 | 227.3 | 4.727 | 219.867 | 12.614 | 889.833 | 11.573 | 4.3956
2020-04-24 08:45:00 | 3.903 | 245.533 | 3.706 | 235.185 | 4.149 | 234.5 | 4.669 | 223.233 | 13.941 | 889.467 | 10.848 | 2.2362
2020-04-24 09:00:00 | 4.16 | 242.353 | 4.259 | 239.253 | 4.36 | 239.067 | 4.432 | 227.133 | 14.946 | 889.067 | 9.931 | 0.85836
2020-04-24 09:15:00 | 3.387 | 240.247 | 3.364 | 236.763 | 3.49 | 237.4 | 3.816 | 227.667 | 15.583 | 888.867 | 9.273 | 0.13643
2020-04-24 09:30:00 | 3.693 | 236.667 | 3.58 | 230.753 | 3.674 | 232.767 | 3.845 | 221.5 | 16.698 | 889.267 | 8.745 | 0.16627
2020-04-24 09:45:00 | 4.096 | 231.56 | 4.077 | 227.678 | 4.368 | 229.133 | 4.171 | 222.067 | 17.406 | 889.333 | 8.341 | 0.13998
2020-04-24 10:00:00 | 3.324 | 243.66 | 3.366 | 238.384 | 3.291 | 236.75 | 3.253 | 230.533 | 18.314 | 888.867 | 7.804 | 0.13998
2020-04-24 10:15:00 | 2.543 | 210.647 | 2.18 | 222.449 | 2.458 | 224.2 | 2.897 | 220.833 | 19.173 | 888.667 | 7.271 | 0.15988
2020-04-24 10:30:00 | 1.446 | 175.427 | 1.148 | 162.575 | 1.012 | 166.55 | 1.89 | 168.633 | 20.402 | 888.933 | 6.787 | 0.14353
2020-04-24 10:45:00 | 0.15 | 196.053 | 0.08 | 181.074 | 0 | 180.233 | 0.134 | 160.167 | 20.585 | 888.533 | 6.436 | 0.1549
2020-04-24 11:00:00 | 0.477 | 88.477 | 0.77 | 41.63 | 0.985 | 53.667 | 1.626 | 60.267 | 20.756 | 888.733 | 6.373 | 0.16627
2020-04-24 11:15:00 | 1.965 | 56.079 | 2.071 | 49.736 | 2.459 | 60.7 | 2.639 | 56.733 | 20.456 | 888.8 | 6.284 | 0.17693
2020-04-24 11:30:00 | 2.707 | 96.095 | 2.552 | 86.943 | 2.294 | 95.1 | 2.448 | 94.667 | 20.331 | 888.8 | 6.267 | 0.18404
2020-04-24 11:45:00 | 0.349 | 136.462 | 0.186 | 44.212 | 0.027 | 90.144 | 0.682 | 53.185 | 21.044 | 888.733 | 5.989 | 0.13359
2020-04-24 12:00:00 | 3.426 | 35.71 | 3.415 | 29.75 | 3.532 | 41.333 | 3.418 | 36.467 | 21.256 | 888.8 | 5.852 | 0.13785
2020-04-24 12:15:00 | 3.061 | 129.897 | 2.604 | 156.322 | 1.988 | 94.733 | 2.733 | 152.433 | 20.456 | 889.333 | 5.649 | 0.71483
2020-04-24 12:30:00 | 2.909 | 52.222 | 2.571 | 48.365 | 2.362 | 54.8 | 2.716 | 55.067 | 21.235 | 889.133 | 5.636 | 2.3889
2020-04-24 12:45:00 | 2.39 | 112.143 | 2.065 | 94.563 | 1.751 | 89.367 | 2.137 | 74.7 | 21.931 | 888.267 | 5.131 | 3.7873
2020-04-24 13:00:00 | 4.448 | 109.26 | 4.83 | 102.766 | 4.86 | 105.9 | 4.854 | 101.033 | 21.614 | 889.533 | 5.581 | 3.9401
2020-04-24 13:15:00 | 5.213 | 40.135 | 5.125 | 27.527 | 5.337 | 33.367 | 5.547 | 31.9 | 21.489 | 888.733 | 5.535 | 2.4678
2020-04-24 13:30:00 | 1.166 | 231.007 | 0.956 | 226.838 | 0.85 | 253.267 | 1.609 | 255.367 | 22.552 | 889 | 5.397 | 0.77665
2020-04-24 13:45:00 | 3.891 | 83.58 | 3.714 | 81.025 | 3.829 | 88.167 | 4.1 | 77.4 | 22.231 | 888.867 | 5.197 | 1.64
2020-04-24 14:00:00 | 4.512 | 71.675 | 4.154 | 72.561 | 4.205 | 74.333 | 4.405 | 65.9 | 21.785 | 888.733 | 5.294 | 0.6722
2020-04-24 14:15:00 | 3.501 | 91.655 | 3.25 | 95.94 | 2.974 | 118.867 | 3.432 | 137.783 | 23.114 | 888 | 4.68 | 2.7328
2020-04-24 14:30:00 | 3.68 | 160.967 | 3.363 | 144.89 | 3.452 | 146.533 | 3.605 | 132.2 | 22.398 | 888 | 4.614 | 1.8567
2020-04-24 14:45:00 | 2.517 | 76.173 | 2.286 | 80.265 | 2.294 | 86.567 | 2.883 | 87.733 | 22.218 | 888 | 4.626 | 1.4631
2020-04-24 15:00:00 | 4.946 | 49.334 | 5.056 | 45.619 | 5.539 | 53.833 | 5.796 | 51.6 | 22.444 | 888 | 4.423 | 2.0251
2020-04-24 15:15:00 | 1.583 | 144.633 | 1.427 | 81.625 | 1.257 | 64.5 | 1.972 | 58.033 | 22.598 | 888 | 4.189 | 3.2075
2020-04-24 15:30:00 | 3.47 | 44.8 | 3.416 | 66.235 | 3.591 | 41.4 | 3.846 | 36.533 | 22.481 | 888 | 4.289 | 2.6668
2020-04-24 15:45:00 | 4.2 | 51.2 | 3.918 | 49.492 | 4.099 | 50.633 | 4.222 | 47.5 | 22.514 | 888 | 3.939 | 3.1087
2020-04-24 16:00:00 | 3.188 | 81.687 | 3.432 | 72.043 | 3.699 | 81.2 | 3.986 | 69.775 | 22.364 | 888 | 3.672 | 1.8688
2020-04-24 16:15:00 | 3.325 | 61.102 | 3.254 | 49.779 | 3.085 | 51.233 | 3.26 | 39.3 | 22.981 | 888 | 3.474 | 3.7411
2020-04-24 16:30:00 | 5.29 | 92.467 | 5.257 | 87.679 | 5.255 | 93.267 | 5.675 | 93.467 | 22.931 | 888 | 3.474 | 1.9157
2020-04-24 16:45:00 | 2.888 | 77.9 | 3.084 | 72.642 | 3.306 | 79.933 | 3.828 | 77.167 | 22.464 | 888 | 3.331 | 1.8411
2020-04-24 17:00:00 | 3.32 | 83.933 | 2.968 | 74.969 | 3.113 | 74.7 | 3.547 | 66.933 | 22.981 | 888 | 3.117 | 4.149
2020-04-24 17:15:00 | 4.627 | 64.007 | 4.791 | 59.417 | 5.092 | 65.567 | 5.07 | 61.6 | 22.914 | 888 | 3.093 | 2.9908
2020-04-24 17:30:00 | 2.297 | 139.233 | 1.647 | 58.096 | 1.867 | 47.49 | 3.256 | 51.567 | 22.681 | 888 | 3.02 | 3.6594
2020-04-24 17:45:00 | 3.802 | 35.446 | 3.751 | 27.712 | 3.944 | 29.1 | 4.219 | 24.1 | 23.064 | 888 | 2.795 | 1.3316
2020-04-24 18:00:00 | 2.951 | 81.853 | 2.796 | 80.9 | 2.904 | 81.967 | 3.064 | 88 | 23.064 | 888 | 2.679 | 0.8136
2020-04-24 18:15:00 | 3.996 | 72.493 | 4.124 | 60.836 | 4.374 | 61.5 | 4.571 | 58.433 | 23.548 | 888 | 2.839 | 2.3832
2020-04-24 18:30:00 | 3.55 | 32.11 | 3.356 | 41.071 | 3.832 | 38.633 | 4.045 | 41.267 | 22.648 | 888 | 2.946 | 4.0431
2020-04-24 18:45:00 | 6.102 | 68.727 | 6.13 | 65.818 | 6.088 | 71.6 | 6.152 | 67.7 | 22.998 | 888 | 3.135 | 4.9285
2020-04-24 19:00:00 | 3.312 | 60.197 | 3.574 | 56.09 | 3.77 | 61.333 | 4.177 | 56.767 | 22.764 | 888 | 3.043 | 4.2598
2020-04-24 19:15:00 | 2.761 | 93.493 | 2.61 | 85.166 | 2.82 | 85.333 | 3.02 | 84.233 | 22.714 | 888 | 3.183 | 3.6253
2020-04-24 19:30:00 | 2.875 | 61.933 | 2.365 | 50.272 | 2.502 | 55 | 3.244 | 59.033 | 22.698 | 888 | 3.13 | 3.5926
2020-04-24 19:45:00 | 3.571 | 82.193 | 3.43 | 76.062 | 3.563 | 78.533 | 4.051 | 74.067 | 22.581 | 888 | 3.177 | 3.8918
2020-04-24 20:00:00 | 3.711 | 77.37 | 3.74 | 72.008 | 3.834 | 75.767 | 4.005 | 71.1 | 22.052 | 888 | 3.202 | 3.4434
2020-04-24 20:15:00 | 3.691 | 69.978 | 3.49 | 63.181 | 3.375 | 66.333 | 3.611 | 59.967 | 21.873 | 888 | 3.471 | 3.4548
2020-04-24 20:30:00 | 3.58 | 70.787 | 3.569 | 69.533 | 3.789 | 74.567 | 4.103 | 71.867 | 20.898 | 888 | 3.631 | 5.546
2020-04-24 20:45:00 | 3.331 | 79.817 | 3.743 | 71.271 | 3.936 | 75.533 | 4.164 | 71.267 | 20.544 | 888 | 3.923 | 5.0344
2020-04-24 21:00:00 | 3.528 | 77.373 | 4.269 | 69.498 | 4.692 | 73.4 | 5.031 | 70 | 19.968 | 888 | 3.972 | 5.2589
2020-04-24 21:15:00 | 2.922 | 82.873 | 3.486 | 68.589 | 3.794 | 73.033 | 4.346 | 70.433 | 19.664 | 888 | 3.972 | 5.2042
2020-04-24 21:30:00 | 3.048 | 89.873 | 3.235 | 71.973 | 3.626 | 72.667 | 4.068 | 69.967 | 19.189 | 888 | 4.175 | 5.2546
2020-04-24 21:45:00 | 2.971 | 96.433 | 3.178 | 75.67 | 3.438 | 76.133 | 3.838 | 72.533 | 19.023 | 888 | 4.216 | 5.4046
2020-04-24 22:00:00 | 2.646 | 105.633 | 3.252 | 78.618 | 3.393 | 80.5 | 3.719 | 74.533 | 18.406 | 888 | 4.133 | 5.735
2020-04-24 22:15:00 | 3.053 | 120.877 | 3.496 | 93.822 | 3 | 96.067 | 2.92 | 89.933 | 18.456 | 888 | 4.177 | 5.8529
2020-04-24 22:30:00 | 2.984 | 126.177 | 3.709 | 103.819 | 3.304 | 107.067 | 3.585 | 101.667 | 17.368 | 888 | 4.338 | 5.3001
2020-04-24 22:45:00 | 3.268 | 141.653 | 3.402 | 118.707 | 3.472 | 125.767 | 3.713 | 124.667 | 16.848 | 888 | 4.617 | 6.4875
2020-04-24 23:00:00 | 3.442 | 160.98 | 3.572 | 136.623 | 3.406 | 141.433 | 3.712 | 137.6 | 16.781 | 888 | 4.632 | 7.159
2020-04-24 23:15:00 | 4.429 | 185.653 | 3.347 | 159.047 | 3.164 | 155.967 | 4.022 | 145.9 | 16.281 | 888.467 | 5.035 | 7.4922
2020-04-24 23:30:00 | 4.388 | 188.06 | 3.398 | 159.182 | 3.115 | 155.633 | 3.652 | 148.533 | 13.662 | 889.067 | 5.788 | 8.3286
2020-04-24 23:45:00 | 5.021 | 193.827 | 3.985 | 165.904 | 3.502 | 160.467 | 3.525 | 150.567 | 13.578 | 889.267 | 6.012 | 8.1545