## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-25 00:00:00 | 4.787 | 191.42 | 3.556 | 160.374 | 3.187 | 155.567 | 3.461 | 148.6 | 14.066 | 888.8 | 6.301 | 6.7554
2020-04-25 00:15:00 | 5.461 | 200.087 | 3.865 | 174.807 | 3.116 | 167.333 | 3.3 | 154.333 | 13.658 | 889 | 6.257 | 5.0429
2020-04-25 00:30:00 | 6.893 | 217.153 | 6.068 | 190.848 | 5.801 | 191.5 | 5.922 | 182.6 | 10.349 | 889.333 | 7.064 | 8.3477
2020-04-25 00:45:00 | 7.25 | 217.14 | 6.34 | 212.769 | 6.016 | 207.833 | 5.652 | 196.467 | 10.334 | 889.067 | 7.545 | 14.1538
2020-04-25 01:00:00 | 7.402 | 219.373 | 7.868 | 215.404 | 7.328 | 216.833 | 6.792 | 210.667 | 10.512 | 889.333 | 7.865 | 14.718
2020-04-25 01:15:00 | 6.96 | 216.867 | 7.893 | 212.7 | 7.216 | 213.2 | 7.308 | 207.233 | 11.178 | 889 | 8.932 | 17.7059
2020-04-25 01:30:00 | 7.571 | 213.167 | 7.648 | 203.452 | 8.011 | 202.367 | 8.291 | 194.4 | 11.195 | 889.2 | 10.044 | 23.7052
2020-04-25 01:45:00 | 6.432 | 215.48 | 7.84 | 210.725 | 7.881 | 208.333 | 8.14 | 200.3 | 11.907 | 888.933 | 9.945 | 26.6249
2020-04-25 02:00:00 | 6.486 | 222.233 | 7.829 | 215.444 | 7.182 | 216.667 | 7.013 | 208.833 | 10.761 | 889.033 | 10.464 | 17.5517
2020-04-25 02:15:00 | 4.451 | 218.7 | 7.051 | 210.225 | 7.348 | 208.933 | 7.447 | 201.333 | 10.961 | 889.6 | 10.835 | 14.3961
2020-04-25 02:30:00 | 5.571 | 217.013 | 7 | 214.653 | 7.176 | 216.4 | 7.269 | 209.4 | 10.626 | 889.4 | 11.208 | 15.091
2020-04-25 02:45:00 | 5.714 | 226.2 | 6.183 | 217.877 | 5.251 | 217.167 | 4.729 | 209.6 | 11.028 | 889.5 | 10.661 | 10.4347
2020-04-25 03:00:00 | 5.288 | 236.133 | 5.047 | 217.83 | 5.816 | 209.267 | 5.987 | 201.533 | 10.745 | 889.633 | 10.557 | 8.1253
2020-04-25 03:15:00 | 6.066 | 227.5 | 5.995 | 211.451 | 6.343 | 209.133 | 5.992 | 203.4 | 9.649 | 889.767 | 10.691 | 7.5832
2020-04-25 03:30:00 | 6.804 | 225.58 | 6.116 | 212.73 | 5.709 | 213.2 | 6.298 | 206.033 | 10.405 | 889.267 | 10.549 | 8.0692
2020-04-25 03:45:00 | 5.858 | 225.727 | 7.024 | 212.815 | 6.841 | 211.233 | 6.795 | 202.867 | 8.658 | 889.7 | 10.789 | 10.7225
2020-04-25 04:00:00 | 6.923 | 226.54 | 7.078 | 213.74 | 6.633 | 214.867 | 6.272 | 212 | 9.037 | 889.433 | 10.707 | 11.2177
2020-04-25 04:15:00 | 5.714 | 223.627 | 8.103 | 216.344 | 6.954 | 216.733 | 6.027 | 211.2 | 8.704 | 889.533 | 10.659 | 10.9207
2020-04-25 04:30:00 | 6.472 | 223.747 | 8.138 | 221.476 | 7.422 | 221.133 | 6.898 | 213.433 | 8 | 889.933 | 10.909 | 16.456
2020-04-25 04:45:00 | 7.433 | 217.76 | 7.847 | 215.609 | 7.049 | 215.733 | 6.825 | 207.433 | 8.511 | 889.533 | 11.123 | 18.9764
2020-04-25 05:00:00 | 7.934 | 217.56 | 7.735 | 212.591 | 7.415 | 210.767 | 7.415 | 202.333 | 8.625 | 889.567 | 11.389 | 17.19
2020-04-25 05:15:00 | 7.947 | 214.22 | 7.569 | 209.65 | 7.235 | 207.167 | 8.004 | 196.033 | 8.291 | 889.467 | 10.792 | 19.7673
2020-04-25 05:30:00 | 7.698 | 215.28 | 8.06 | 203.733 | 8.161 | 203.7 | 8.951 | 195.333 | 8.708 | 889.367 | 10.499 | 22.5825
2020-04-25 05:45:00 | 7.575 | 214.673 | 8.566 | 208.152 | 8.457 | 206.4 | 9.035 | 197.833 | 8.683 | 889.3 | 10.323 | 24.5025
2020-04-25 06:00:00 | 7.85 | 215.287 | 8.212 | 210.199 | 7.581 | 209.1 | 8.403 | 199.467 | 9.341 | 889.233 | 10.263 | 22.0396
2020-04-25 06:15:00 | 7.725 | 218.893 | 8.162 | 211.915 | 7.532 | 211.7 | 7.694 | 202.233 | 9.554 | 889 | 10.183 | 23.291
2020-04-25 06:30:00 | 7.832 | 214.62 | 8.833 | 209.397 | 8.412 | 210.433 | 8.097 | 203.967 | 8.612 | 889.1 | 10.525 | 25.38
2020-04-25 06:45:00 | 7.775 | 218.58 | 8.585 | 210.703 | 8.518 | 210.967 | 8.148 | 203.333 | 8.788 | 889.667 | 10.433 | 25.3154
2020-04-25 07:00:00 | 7.698 | 216.58 | 9.228 | 206.554 | 9.145 | 205.433 | 8.471 | 200.3 | 8.25 | 889.333 | 10.72 | 24.4684
2020-04-25 07:15:00 | 5.279 | 209.507 | 8.036 | 212.298 | 8.002 | 210.333 | 8.052 | 200.8 | 7.92 | 889.4 | 10.496 | 22.5072
2020-04-25 07:30:00 | 5.334 | 212.727 | 7.829 | 208.323 | 8.914 | 206.067 | 8.284 | 201.767 | 8.344 | 889 | 10.339 | 22.9001
2020-04-25 07:45:00 | 6.123 | 213.433 | 8.117 | 205.363 | 8.98 | 201.133 | 8.642 | 192.033 | 9.96 | 889.2 | 9.867 | 21.1621
2020-04-25 08:00:00 | 6.026 | 209.853 | 8.418 | 199.621 | 8.273 | 197.8 | 7.36 | 190.333 | 11.895 | 888.933 | 8.713 | 16.6877
2020-04-25 08:15:00 | 5.974 | 205.947 | 7.51 | 196.826 | 6.852 | 194.7 | 6.653 | 187.267 | 13.904 | 888.867 | 7.661 | 12.3006
2020-04-25 08:30:00 | 5.023 | 215.967 | 5.624 | 209.9 | 6.468 | 204.933 | 6.551 | 192.767 | 15.141 | 889.133 | 7.16 | 12.5941
2020-04-25 08:45:00 | 5.211 | 214.947 | 5.656 | 212.579 | 6.155 | 208.133 | 6.277 | 195.967 | 16.398 | 888.867 | 6.919 | 9.6815
2020-04-25 09:00:00 | 5.628 | 216.327 | 5.806 | 212.75 | 6.339 | 208.533 | 6.299 | 198.367 | 17.489 | 889 | 6.625 | 6.9081
2020-04-25 09:15:00 | 4.585 | 222.867 | 4.476 | 219.578 | 4.565 | 216.7 | 4.963 | 210.2 | 18.473 | 888.8 | 6.263 | 4.8262
2020-04-25 09:30:00 | 3.828 | 216.373 | 4.044 | 215.615 | 4.126 | 217.633 | 4.277 | 208.933 | 20.114 | 889.067 | 5.576 | 3.4143
2020-04-25 09:45:00 | 3.624 | 216.62 | 3.681 | 211.743 | 3.719 | 210.2 | 3.943 | 203.333 | 20.923 | 888.2 | 5.037 | 4.4069
2020-04-25 10:00:00 | 3.878 | 198.727 | 3.953 | 195.472 | 4.084 | 198.367 | 4.559 | 194.567 | 21.768 | 888 | 4.459 | 4.7352
2020-04-25 10:15:00 | 4.03 | 210.02 | 4.092 | 208.026 | 4.35 | 210.067 | 4.521 | 204.267 | 22.064 | 888 | 4.192 | 2.2788
2020-04-25 10:30:00 | 2.473 | 218.273 | 2.324 | 220.353 | 2.517 | 222.867 | 2.921 | 216.633 | 22.764 | 888 | 3.884 | 0.47963
2020-04-25 10:45:00 | 2.943 | 156.56 | 2.83 | 157.861 | 2.477 | 159.267 | 2.867 | 162.733 | 22.06 | 888 | 3.599 | 0.17267
2020-04-25 11:00:00 | 1.463 | 128.207 | 0.87 | 134.109 | 0.753 | 165.233 | 1.444 | 166.183 | 22.406 | 888 | 3.591 | 0.20322
2020-04-25 11:15:00 | 3.652 | 144.873 | 3.503 | 139.316 | 3.566 | 146.033 | 3.89 | 142.167 | 22.764 | 888 | 2.907 | 0.10374
2020-04-25 11:30:00 | 0.997 | 110.97 | 1.011 | 145.734 | 0.697 | 138.067 | 0.814 | 128.833 | 22.564 | 888 | 3.111 | 0.0874
2020-04-25 11:45:00 | 2.714 | 113.777 | 2.042 | 114.498 | 2.049 | 118.833 | 2.225 | 122.7 | 24.085 | 888 | 2.962 | 0.11795
2020-04-25 12:00:00 | 2.432 | 96.913 | 2.778 | 98.732 | 2.978 | 103.767 | 3.364 | 96.567 | 22.631 | 888 | 2.987 | 0.15064
2020-04-25 12:15:00 | 2.281 | 99.18 | 2.087 | 86.926 | 2.313 | 97.7 | 2.56 | 101 | 23.198 | 888 | 3.021 | 0.13714
2020-04-25 12:30:00 | 1.93 | 35.789 | 1.586 | 26.876 | 1.68 | 29.8 | 2.422 | 40 | 23.531 | 888 | 3.045 | 0.50948
2020-04-25 12:45:00 | 3.535 | 136.487 | 3.705 | 123.425 | 3.582 | 129.733 | 3.982 | 123.367 | 23.385 | 888 | 2.794 | 0.77025
2020-04-25 13:00:00 | 2.469 | 138.62 | 2.93 | 124.907 | 3.26 | 122.8 | 3.892 | 117.2 | 24.214 | 888 | 2.632 | 0.35884
2020-04-25 13:15:00 | 3.323 | 113.343 | 3.551 | 104.955 | 3.732 | 107.467 | 3.868 | 98.133 | 23.556 | 888 | 2.869 | 0.80578
2020-04-25 13:30:00 | 1.665 | 86.583 | 1.18 | 155.602 | 1.01 | 64.1 | 1.481 | 60.733 | 24.589 | 888 | 2.741 | 0.77239
2020-04-25 13:45:00 | 4.354 | 106.39 | 4.444 | 105.454 | 4.397 | 114.433 | 4.488 | 110.8 | 24.102 | 888 | 2.767 | 0.62743
2020-04-25 14:00:00 | 0.976 | 124.447 | 0.445 | 158.293 | 0.073 | 169.167 | 0.195 | 100.533 | 24.623 | 888 | 2.632 | 0.4576
2020-04-25 14:15:00 | 1.117 | 102.578 | 0.753 | 165.506 | 0.653 | 234.5 | 0.962 | 273 | 24.506 | 888 | 2.52 | 0.27002
2020-04-25 14:30:00 | 3.72 | 153.243 | 3.863 | 147.894 | 3.453 | 140.567 | 4.006 | 124.233 | 24.41 | 888 | 2.463 | 0.56277
2020-04-25 14:45:00 | 1.06 | 54.328 | 1.15 | 48.151 | 0.749 | 45.933 | 1.078 | 46.9 | 26.081 | 888 | 2.246 | 0.90384
2020-04-25 15:00:00 | 3.09 | 60.118 | 3.288 | 67.04 | 3.773 | 65.133 | 3.851 | 59.9 | 25.781 | 888 | 2.144 | 1.301
2020-04-25 15:15:00 | 3.878 | 76.416 | 3.512 | 87.459 | 3.591 | 58.667 | 3.732 | 49.633 | 25.223 | 888 | 2.388 | 2.2504
2020-04-25 15:30:00 | 2.704 | 97.492 | 2.8 | 89.514 | 2.716 | 95.333 | 3.427 | 90.3 | 25.56 | 888 | 2.217 | 1.9292
2020-04-25 15:45:00 | 4.318 | 131.45 | 4.257 | 123.297 | 3.83 | 124.9 | 4.145 | 118.833 | 24.948 | 888 | 2.209 | 0.74681
2020-04-25 16:00:00 | 4.743 | 123.297 | 5.149 | 117.218 | 4.942 | 122.633 | 5.029 | 119.333 | 24.868 | 888 | 2.22 | 0.40147
2020-04-25 16:15:00 | 3.16 | 61.745 | 3.048 | 66.379 | 2.38 | 63.067 | 2.694 | 82.6 | 24.989 | 888 | 2.101 | 0.16272
2020-04-25 16:30:00 | 3.024 | 135.813 | 3.112 | 133.832 | 3.401 | 133.7 | 3.784 | 133.6 | 25.498 | 888 | 1.958 | 0.71909
2020-04-25 16:45:00 | 1.223 | 186.553 | 0.586 | 161.97 | 0.726 | 160.3 | 1.682 | 161.6 | 25.431 | 888 | 1.993 | 0.54358
2020-04-25 17:00:00 | 2.27 | 193.773 | 1.976 | 185.391 | 1.567 | 192.4 | 2.304 | 185.2 | 25.894 | 888 | 1.656 | 0.847
2020-04-25 17:15:00 | 4.928 | 275.287 | 4.806 | 273.279 | 4.463 | 276.833 | 4.577 | 275.317 | 25.685 | 888 | 1.54 | 0.44766
2020-04-25 17:30:00 | 0.756 | 165.978 | 0.974 | 184.73 | 0.676 | 189.367 | 1.224 | 221.733 | 26.144 | 888 | 1.719 | 0.89389
2020-04-25 17:45:00 | 4.028 | 67.378 | 4.197 | 68.605 | 4.164 | 72.367 | 4.408 | 71.267 | 26.36 | 888 | 1.633 | 1.2712
2020-04-25 18:00:00 | 5.221 | 76.548 | 5.647 | 71.842 | 5.549 | 72.667 | 5.594 | 63.967 | 26.131 | 888 | 1.835 | 2.7058
2020-04-25 18:15:00 | 4.506 | 15.85 | 4.478 | 35.899 | 4.732 | 17.633 | 4.471 | 28 | 25.468 | 888 | 1.827 | 3.8506
2020-04-25 18:30:00 | 3.494 | 77.77 | 3.587 | 70.462 | 3.651 | 76.933 | 3.99 | 73.6 | 26.181 | 888 | 1.78 | 4.1938
2020-04-25 18:45:00 | 5.144 | 71.932 | 5.352 | 70.016 | 5.33 | 77.333 | 5.35 | 74.233 | 25.573 | 888 | 1.765 | 2.924
2020-04-25 19:00:00 | 4.028 | 78.737 | 4.071 | 79.299 | 3.895 | 87.767 | 4.305 | 82.967 | 25.168 | 888 | 1.885 | 1.6521
2020-04-25 19:15:00 | 2.987 | 93.447 | 3.037 | 90.12 | 3.306 | 97.7 | 3.46 | 92.5 | 25.477 | 888 | 1.837 | 3.7489
2020-04-25 19:30:00 | 3.633 | 74.967 | 3.73 | 71.13 | 4.045 | 73.8 | 4.458 | 71.467 | 25.139 | 888 | 1.833 | 7.77
2020-04-25 19:45:00 | 5.05 | 78.228 | 5.466 | 73.628 | 5.739 | 77.233 | 5.936 | 74.367 | 25.223 | 888 | 1.88 | 8.7492
2020-04-25 20:00:00 | 3.767 | 82.443 | 3.994 | 79.33 | 4.21 | 82.967 | 4.466 | 75.8 | 25.027 | 888 | 1.927 | 6.4761
2020-04-25 20:15:00 | 3.916 | 70.162 | 4.092 | 65.806 | 4.31 | 69.667 | 4.469 | 67 | 24.681 | 888 | 1.825 | 5.2355
2020-04-25 20:30:00 | 3.811 | 73.08 | 4.089 | 68.332 | 4.341 | 73.233 | 4.576 | 70.033 | 23.831 | 888 | 1.998 | 4.8859
2020-04-25 20:45:00 | 3.376 | 70.987 | 3.692 | 66.682 | 3.902 | 69.6 | 4.063 | 64.767 | 23.514 | 888 | 2.223 | 4.9576
2020-04-25 21:00:00 | 2.993 | 97.837 | 3.307 | 84.637 | 3.082 | 88.5 | 3.353 | 86.2 | 21.902 | 888 | 2.386 | 3.626
2020-04-25 21:15:00 | 2.867 | 98.613 | 2.997 | 84.884 | 2.747 | 90.7 | 3.11 | 84.333 | 22.198 | 888 | 2.401 | 2.4792
2020-04-25 21:30:00 | 2.809 | 123.9 | 2.183 | 97.104 | 1.579 | 96.967 | 2.288 | 84.433 | 21.606 | 888 | 2.573 | 1.6222
2020-04-25 21:45:00 | 2.897 | 150.5 | 2.854 | 114.728 | 3.056 | 115.7 | 3.467 | 111.533 | 21.531 | 888 | 2.797 | 2.0102
2020-04-25 22:00:00 | 3.184 | 158.22 | 2.977 | 125.888 | 2.838 | 130.867 | 3.104 | 127.033 | 20.685 | 888 | 2.81 | 2.04
2020-04-25 22:15:00 | 3.164 | 166.74 | 2.625 | 134.376 | 2.693 | 130.933 | 3.009 | 125.4 | 20.794 | 888 | 2.911 | 1.9363
2020-04-25 22:30:00 | 3.876 | 183.033 | 2.65 | 152.691 | 2.649 | 148.267 | 2.624 | 139.633 | 20.56 | 888 | 3.04 | 1.2932
2020-04-25 22:45:00 | 4.506 | 196.04 | 2.728 | 165.136 | 2.175 | 157.767 | 2.612 | 143.367 | 17.552 | 888 | 3.501 | 0.51871
2020-04-25 23:00:00 | 5.277 | 207.18 | 3.326 | 178.337 | 2.335 | 177.633 | 2.206 | 163.933 | 16.598 | 888 | 3.817 | 0.19754
2020-04-25 23:15:00 | 6.601 | 224.047 | 6.317 | 232.276 | 6.21 | 233.233 | 6.199 | 223.933 | 13.974 | 888 | 4.171 | 6.6594
2020-04-25 23:30:00 | 6.537 | 224.273 | 6.148 | 235.299 | 5.941 | 242.8 | 5.656 | 237.567 | 13.999 | 888 | 4.457 | 7.9342
2020-04-25 23:45:00 | 6.577 | 221.833 | 5.469 | 232.261 | 4.919 | 239.033 | 4.579 | 234.133 | 13.666 | 888 | 4.62 | 5.5012