## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-26 00:00:00 | 6.957 | 221.333 | 5.595 | 232.46 | 4.883 | 240.433 | 4.236 | 239 | 12.901 | 888 | 4.756 | 6.6552
2020-04-26 00:15:00 | 6.92 | 216.22 | 6.682 | 221.545 | 5.507 | 228.6 | 4.584 | 228.567 | 12.516 | 888 | 4.618 | 6.6289
2020-04-26 00:30:00 | 7.117 | 218.5 | 6.556 | 223.476 | 5.739 | 229.4 | 5.044 | 227.567 | 12.62 | 888 | 4.425 | 9.1855
2020-04-26 00:45:00 | 7.669 | 214.5 | 6.464 | 222.997 | 5.597 | 232.467 | 5.037 | 230 | 11.67 | 888 | 4.472 | 9.6026
2020-04-26 01:00:00 | 7.38 | 214.847 | 7.283 | 218.764 | 6.28 | 224.467 | 5.56 | 225.233 | 11.832 | 888 | 4.355 | 8.7385
2020-04-26 01:15:00 | 7.622 | 212.073 | 7.212 | 215.971 | 6.032 | 222.867 | 4.972 | 225.567 | 11.457 | 888 | 4.398 | 17.8949
2020-04-26 01:30:00 | 7.846 | 206.92 | 9.483 | 200.626 | 8.495 | 205.5 | 7.641 | 200.567 | 11.432 | 888 | 4.375 | 29.9369
2020-04-26 01:45:00 | 7.509 | 206.9 | 9.4 | 199.959 | 9.221 | 203.767 | 9.117 | 198.733 | 12.37 | 888 | 4.147 | 33.7249
2020-04-26 02:00:00 | 6.117 | 206.133 | 8.977 | 201.247 | 9.432 | 201.867 | 9.454 | 194.9 | 13.262 | 888.667 | 5.471 | 25.4241
2020-04-26 02:15:00 | 6.852 | 213.607 | 8.345 | 201.872 | 8.594 | 199.633 | 8.126 | 192.033 | 12.666 | 888.8 | 7.389 | 18.6879
2020-04-26 02:30:00 | 6.866 | 213.507 | 8.412 | 199.294 | 7.39 | 198.233 | 7.476 | 189.333 | 12.22 | 888.933 | 8.041 | 19.9932
2020-04-26 02:45:00 | 5.93 | 220.867 | 7.082 | 200.712 | 7.08 | 199.2 | 6.85 | 191.433 | 11.278 | 889.067 | 8.069 | 17.5851
2020-04-26 03:00:00 | 5.439 | 244.34 | 6.592 | 217.181 | 6.932 | 208.867 | 6.738 | 196.1 | 11.145 | 889.4 | 8.229 | 18.3944
2020-04-26 03:15:00 | 6.687 | 234.467 | 7.196 | 214.009 | 7.689 | 212 | 8.072 | 201.733 | 10.928 | 888.8 | 7.905 | 20.3201
2020-04-26 03:30:00 | 6.298 | 222.173 | 7.463 | 213.474 | 7.441 | 213.1 | 7.905 | 202.033 | 10.555 | 889.2 | 8.199 | 19.4155
2020-04-26 03:45:00 | 5.765 | 221.407 | 7.522 | 212.539 | 6.897 | 213.2 | 6.884 | 208.3 | 11.932 | 889 | 7.797 | 16.5086
2020-04-26 04:00:00 | 4.265 | 225.393 | 7.616 | 215.971 | 7.032 | 216.667 | 6.616 | 211.933 | 10.74 | 888.533 | 7.913 | 14.8381
2020-04-26 04:15:00 | 6.297 | 228.22 | 8.305 | 217.862 | 7.522 | 220.933 | 6.748 | 216.267 | 9.868 | 889.467 | 8.203 | 14.8501
2020-04-26 04:30:00 | 6.272 | 227.693 | 8.988 | 216.203 | 8.119 | 217.2 | 7.078 | 212.933 | 9.999 | 889 | 8.587 | 16.4027
2020-04-26 04:45:00 | 5.999 | 216.927 | 8.261 | 212.778 | 7.021 | 211.7 | 6.632 | 208.7 | 10.116 | 889.2 | 8.549 | 16.6948
2020-04-26 05:00:00 | 7.837 | 215.28 | 7.618 | 212.368 | 7.217 | 212.6 | 6.868 | 206.033 | 10.295 | 888.8 | 8.592 | 17.2511
2020-04-26 05:15:00 | 7.052 | 219.96 | 7.964 | 212.866 | 7.234 | 213.8 | 7.141 | 205.733 | 10.276 | 889.133 | 8.617 | 20.2035
2020-04-26 05:30:00 | 6.907 | 218.207 | 8.056 | 213.94 | 7.187 | 215.667 | 7.26 | 207.033 | 10.064 | 889.2 | 8.479 | 19.7339
2020-04-26 05:45:00 | 7.705 | 217.253 | 8.103 | 213.297 | 7.136 | 215.433 | 7.461 | 209.633 | 10.028 | 889 | 8.321 | 19.5235
2020-04-26 06:00:00 | 7.743 | 219.787 | 7.643 | 213.883 | 7.32 | 215.633 | 7.189 | 208.233 | 9.551 | 889 | 8.127 | 16.2215
2020-04-26 06:15:00 | 8.279 | 218.267 | 7.638 | 215.847 | 7.085 | 218.567 | 6.46 | 211.467 | 10.574 | 888.867 | 7.815 | 17.8743
2020-04-26 06:30:00 | 7.927 | 217.907 | 8.569 | 210.19 | 7.233 | 210.433 | 6.437 | 201.233 | 10.037 | 889 | 8.028 | 15.6133
2020-04-26 06:45:00 | 7.354 | 214.427 | 7.425 | 210.9 | 7.322 | 211.633 | 6.006 | 206.067 | 10.37 | 889 | 8.792 | 14.8921
2020-04-26 07:00:00 | 7.041 | 211.92 | 8.708 | 204.18 | 8.626 | 203 | 7.98 | 197.433 | 10.205 | 889.467 | 9.164 | 12.0327
2020-04-26 07:15:00 | 5.12 | 212.567 | 7.929 | 207.753 | 7.869 | 201.9 | 7.305 | 197.267 | 10.33 | 888.733 | 9.393 | 11.3804
2020-04-26 07:30:00 | 6.115 | 211 | 8.808 | 199.529 | 8.444 | 199.867 | 8.667 | 194.8 | 11.078 | 888.933 | 9.113 | 11.1865
2020-04-26 07:45:00 | 5.345 | 212.567 | 8.311 | 202.588 | 8.674 | 199.933 | 7.262 | 193.9 | 13.034 | 888.867 | 7.805 | 11.8132
2020-04-26 08:00:00 | 5.075 | 211.287 | 7.038 | 207.718 | 8.028 | 205.867 | 8.082 | 200.567 | 14.166 | 889.333 | 7.559 | 13.7388
2020-04-26 08:15:00 | 5.106 | 208.607 | 6.885 | 203.78 | 6.496 | 207.2 | 5.748 | 200.433 | 15.507 | 889.067 | 7.228 | 11.4977
2020-04-26 08:30:00 | 5.276 | 215.887 | 6.024 | 212.583 | 6.993 | 210.967 | 7.047 | 202.833 | 17.218 | 889.333 | 6.661 | 11.0351
2020-04-26 08:45:00 | 5.298 | 216.333 | 5.795 | 213.521 | 6.422 | 216.3 | 6.541 | 211.2 | 18.689 | 889.333 | 5.837 | 9.4669
2020-04-26 09:00:00 | 5.402 | 215.2 | 5.348 | 212.2 | 5.553 | 213.567 | 5.768 | 206.533 | 19.914 | 888 | 4.979 | 7.7381
2020-04-26 09:15:00 | 5.02 | 211.707 | 4.865 | 209.476 | 5.008 | 211.933 | 5.202 | 206.833 | 20.931 | 888 | 4.43 | 6.1777
2020-04-26 09:30:00 | 4.457 | 211.527 | 4.487 | 208.382 | 4.795 | 209.767 | 5.217 | 203.833 | 22.131 | 888 | 3.91 | 6.8321
2020-04-26 09:45:00 | 4.586 | 203.773 | 4.448 | 199.881 | 4.639 | 205.9 | 4.801 | 199.533 | 23.031 | 888 | 3.315 | 6.5194
2020-04-26 10:00:00 | 4.092 | 208 | 4.094 | 205.613 | 4.278 | 208.133 | 4.57 | 202.3 | 23.964 | 888 | 3.089 | 6.378
2020-04-26 10:15:00 | 3.638 | 211.46 | 3.644 | 207.129 | 3.856 | 209.067 | 4.182 | 202.167 | 24.514 | 888 | 2.804 | 4.6414
2020-04-26 10:30:00 | 3.733 | 204.16 | 3.912 | 200.751 | 4.042 | 203.233 | 4.414 | 198.733 | 24.585 | 888 | 2.803 | 3.5649
2020-04-26 10:45:00 | 3.496 | 201.467 | 3.471 | 189.91 | 3.868 | 191.267 | 4.348 | 181.867 | 25.189 | 888 | 2.252 | 2.5381
2020-04-26 11:00:00 | 2.301 | 171.917 | 2.343 | 168.235 | 2.881 | 167.8 | 3.536 | 164.6 | 25.656 | 888 | 2.333 | 1.338
2020-04-26 11:15:00 | 3.193 | 153.4 | 2.926 | 146.952 | 2.971 | 152.1 | 3.163 | 148.067 | 24.852 | 888 | 2.175 | 0.7596
2020-04-26 11:30:00 | 3.741 | 202.58 | 3.591 | 194.186 | 3.834 | 196.433 | 4.241 | 192.033 | 25.452 | 888 | 2.255 | 0.51871
2020-04-26 11:45:00 | 0.92 | 150.357 | 0.463 | 173.809 | 0.589 | 166.233 | 1.686 | 155.8 | 25.185 | 888 | 2.199 | 0.095216
2020-04-26 12:00:00 | 2.008 | 99.741 | 1.603 | 117.402 | 1.442 | 134.333 | 2.496 | 151.533 | 25.764 | 888 | 2.169 | 0.22596
2020-04-26 12:15:00 | 1.546 | 230.813 | 1.142 | 219.555 | 1.247 | 225.117 | 1.643 | 222.033 | 26.71 | 888 | 2.055 | 0.15064
2020-04-26 12:30:00 | 2.969 | 84.5 | 2.561 | 87.207 | 2.706 | 97.167 | 3.086 | 93.067 | 26.839 | 888 | 1.955 | 0.094505
2020-04-26 12:45:00 | 2.68 | 229.453 | 2.131 | 225.616 | 2.315 | 229.033 | 2.734 | 226.2 | 27.202 | 888 | 1.851 | 0.13359
2020-04-26 13:00:00 | 3.579 | 75.611 | 3.801 | 80.632 | 4.23 | 90.967 | 4.586 | 91.933 | 26.06 | 888 | 2.044 | 0.23236
2020-04-26 13:15:00 | 2.196 | 183.75 | 2.153 | 169.395 | 2.243 | 167.2 | 2.865 | 156.833 | 26.881 | 888 | 2.099 | 0.36807
2020-04-26 13:30:00 | 2.978 | 228.58 | 2.886 | 218.578 | 3.202 | 224.3 | 3.321 | 215.967 | 28.11 | 888 | 2.015 | 1.1127
2020-04-26 13:45:00 | 3.042 | 212.44 | 2.639 | 208.704 | 2.111 | 216.8 | 2.543 | 203.383 | 27.156 | 888 | 2.025 | 1.6343
2020-04-26 14:00:00 | 2.866 | 98.936 | 2.5 | 103.01 | 2.375 | 113 | 2.229 | 124.167 | 26.906 | 888 | 2.037 | 0.39721
2020-04-26 14:15:00 | 1.63 | 84.952 | 0.972 | 202.572 | 1.409 | 209.169 | 2.044 | 229.9 | 27.948 | 888 | 1.864 | 1.0026
2020-04-26 14:30:00 | 4.182 | 168.107 | 4.084 | 164.176 | 4.37 | 171.1 | 4.936 | 169.333 | 27.96 | 888 | 1.661 | 3.491
2020-04-26 14:45:00 | 4.097 | 194.067 | 4.044 | 186.699 | 4.225 | 184.067 | 4.537 | 176.467 | 27.089 | 888 | 1.669 | 3.4427
2020-04-26 15:00:00 | 4.404 | 114.577 | 4.796 | 117.806 | 5.01 | 120.133 | 5.189 | 119.167 | 27.552 | 888 | 1.77 | 3.2729
2020-04-26 15:15:00 | 4.543 | 149.26 | 4.775 | 143.196 | 5.199 | 147.267 | 5.368 | 147.5 | 26.977 | 888 | 1.886 | 0.64804
2020-04-26 15:30:00 | 2.989 | 99.582 | 2.744 | 97.222 | 2.726 | 102 | 3.069 | 107.9 | 27.568 | 888 | 1.862 | 2.067
2020-04-26 15:45:00 | 3.816 | 231.374 | 3.846 | 231.786 | 3.69 | 258.508 | 3.881 | 251.55 | 28.16 | 888 | 1.69 | 1.8816
2020-04-26 16:00:00 | 2.358 | 94.861 | 1.888 | 59.902 | 1.908 | 57.467 | 2.467 | 42.5 | 28.61 | 888 | 1.687 | 0.90739
2020-04-26 16:15:00 | 4.653 | 137.617 | 4.539 | 128.478 | 4.7 | 129.067 | 4.927 | 123 | 28.16 | 888 | 1.74 | 0.2558
2020-04-26 16:30:00 | 1.989 | 147.208 | 1.904 | 104.275 | 2.524 | 113.033 | 3.013 | 96.6 | 27.568 | 888 | 1.837 | 1.1767
2020-04-26 16:45:00 | 5.114 | 115.86 | 5.161 | 114.371 | 4.886 | 120.6 | 4.924 | 117.233 | 28.081 | 888 | 1.759 | 0.80223
2020-04-26 17:00:00 | 4.441 | 100.877 | 4.57 | 103.105 | 4.77 | 114.567 | 5.149 | 116.033 | 28.314 | 888 | 1.674 | 0.23804
2020-04-26 17:15:00 | 2.994 | 75.898 | 1.887 | 80.094 | 2.441 | 99.367 | 2.587 | 95 | 27.918 | 888 | 1.668 | 6.4463
2020-04-26 17:30:00 | 2.43 | 172.27 | 1.871 | 176.04 | 1.906 | 215.567 | 2.164 | 141.734 | 28.994 | 888 | 1.502 | 13.7758
2020-04-26 17:45:00 | 5.621 | 68.713 | 5.894 | 64.788 | 6.083 | 70.7 | 6.474 | 65.8 | 28.244 | 888 | 1.799 | 16.385
2020-04-26 18:00:00 | 4.864 | 86.513 | 4.956 | 81.314 | 5.386 | 84.933 | 6.087 | 79.267 | 28.427 | 888 | 1.884 | 21.0996
2020-04-26 18:15:00 | 4.701 | 92.783 | 4.978 | 88.784 | 5.042 | 90.033 | 5.276 | 81.3 | 28.135 | 888 | 2.026 | 16.439
2020-04-26 18:30:00 | 4.494 | 78.567 | 4.65 | 72.769 | 5.131 | 76.5 | 5.75 | 69.967 | 28.194 | 888 | 2.041 | 21.7028
2020-04-26 18:45:00 | 4.43 | 78.338 | 5.014 | 71.267 | 5.556 | 74.4 | 5.805 | 70.4 | 27.906 | 888 | 2.042 | 18.8705
2020-04-26 19:00:00 | 4.852 | 92.093 | 4.904 | 84 | 4.671 | 86.633 | 4.961 | 81.1 | 27.731 | 888 | 2.013 | 19.2343
2020-04-26 19:15:00 | 5.626 | 72.928 | 5.845 | 67.704 | 6.041 | 73.733 | 5.948 | 69.133 | 27.602 | 888 | 2.05 | 20.33
2020-04-26 19:30:00 | 4.355 | 78.462 | 4.728 | 72.788 | 5.091 | 77.067 | 5.571 | 71.433 | 27.077 | 888 | 2.022 | 15.0853
2020-04-26 19:45:00 | 4.881 | 79.943 | 5.092 | 73.174 | 5.374 | 78.667 | 5.528 | 73.933 | 27.202 | 888 | 2.015 | 14.2255
2020-04-26 20:00:00 | 4.601 | 74.018 | 5.013 | 70.068 | 5.259 | 73.433 | 5.291 | 69.033 | 26.868 | 888 | 2.064 | 14.7528
2020-04-26 20:15:00 | 4.883 | 75 | 5.61 | 69.976 | 5.824 | 75.9 | 6.018 | 71.833 | 26.523 | 888 | 2.175 | 11.5602
2020-04-26 20:30:00 | 3.884 | 74.013 | 4.484 | 70.166 | 4.692 | 75.5 | 4.89 | 71 | 25.631 | 888 | 2.379 | 11.524
2020-04-26 20:45:00 | 3.636 | 75.4 | 3.987 | 68.282 | 4.326 | 70.7 | 4.557 | 65.233 | 24.681 | 888 | 2.54 | 10.9243
2020-04-26 21:00:00 | 3.611 | 74.63 | 4.298 | 67.85 | 4.62 | 72.033 | 4.789 | 67.6 | 24.652 | 888 | 2.591 | 9.4285
2020-04-26 21:15:00 | 3.656 | 77.437 | 4.08 | 71.754 | 4.4 | 75.933 | 4.704 | 71.833 | 24.427 | 888 | 2.763 | 8.6703
2020-04-26 21:30:00 | 3.336 | 91.68 | 4.446 | 79.476 | 4.588 | 82.4 | 4.797 | 78.167 | 22.781 | 888 | 2.785 | 8.7997
2020-04-26 21:45:00 | 3.441 | 125.1 | 3.924 | 102.264 | 3.265 | 104.667 | 3.236 | 95.833 | 23.031 | 888 | 2.932 | 11.0998
2020-04-26 22:00:00 | 3.727 | 129.967 | 4.601 | 112.994 | 4.633 | 113.567 | 5.171 | 107.533 | 23.348 | 888 | 2.805 | 11.9738
2020-04-26 22:15:00 | 3.887 | 149.447 | 4.512 | 121.909 | 4.667 | 124.3 | 4.987 | 121.567 | 21.864 | 888 | 2.971 | 9.4875
2020-04-26 22:30:00 | 3.56 | 176.313 | 4.027 | 144.849 | 3.54 | 142.533 | 2.963 | 133.533 | 20.856 | 888 | 3.168 | 6.4171
2020-04-26 22:45:00 | 3.657 | 176.34 | 3.109 | 149.35 | 3.128 | 144.733 | 3.416 | 140.1 | 21.206 | 888 | 3.215 | 4.6819
2020-04-26 23:00:00 | 4.251 | 180.08 | 3.189 | 157.671 | 2.978 | 154.433 | 3.479 | 147.067 | 21.373 | 888 | 3.103 | 5.2482
2020-04-26 23:15:00 | 4.952 | 197.067 | 3.512 | 171.843 | 3.02 | 172.3 | 3.17 | 162.567 | 18.556 | 888 | 3.501 | 4.9676
2020-04-26 23:30:00 | 4.745 | 191.187 | 3.586 | 173.999 | 3.187 | 171.933 | 3.454 | 160.7 | 18.848 | 888 | 3.479 | 8.1523
2020-04-26 23:45:00 | 4.461 | 201.767 | 3.682 | 169.77 | 3.315 | 165.233 | 3.124 | 157.3 | 19.673 | 888 | 3.343 | 8.5844