## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-27 00:00:00 | 5.76 | 213.54 | 4.72 | 182.202 | 3.769 | 179.933 | 3.27 | 167.6 | 18.231 | 888 | 3.578 | 11.1779
2020-04-27 00:15:00 | 6.687 | 218.467 | 7.956 | 217.255 | 7.698 | 219.2 | 7.239 | 211.333 | 15.091 | 888 | 4.227 | 23.2391
2020-04-27 00:30:00 | 5.4 | 230.913 | 7.012 | 225.837 | 6.484 | 232.5 | 6.266 | 227.367 | 15.433 | 888 | 4.437 | 19.4837
2020-04-27 00:45:00 | 5.929 | 211.52 | 7.966 | 215.458 | 6.92 | 224.133 | 5.804 | 224.633 | 14.233 | 888 | 4.707 | 27.2545
2020-04-27 01:00:00 | 6.314 | 199.913 | 8.808 | 202.842 | 8.69 | 203.7 | 8.092 | 200.5 | 14.67 | 888 | 4.596 | 35.0316
2020-04-27 01:15:00 | 5.756 | 201.887 | 8.282 | 202.786 | 8.293 | 206.633 | 8.082 | 200.7 | 14.249 | 888 | 4.654 | 42.0123
2020-04-27 01:30:00 | 7.55 | 211.433 | 9.016 | 210.339 | 8.992 | 212.767 | 8.932 | 208.867 | 14.824 | 888 | 4.569 | 35.0842
2020-04-27 01:45:00 | 7.149 | 211.66 | 9.47 | 212.792 | 8.983 | 215.7 | 8.237 | 212.467 | 15.668 | 888 | 4.291 | 35.5724
2020-04-27 02:00:00 | 7.939 | 208.933 | 8.985 | 210.273 | 8.652 | 212.133 | 8.427 | 208.867 | 15.414 | 888 | 4.195 | 37.8952
2020-04-27 02:15:00 | 8.508 | 212.453 | 9.239 | 210.328 | 9.35 | 212.667 | 9.553 | 208.8 | 14.962 | 888 | 4.393 | 42.4564
2020-04-27 02:30:00 | 8.071 | 214.633 | 8.833 | 211.45 | 8.725 | 213.2 | 8.818 | 208.233 | 15.174 | 889.133 | 5.451 | 38.9263
2020-04-27 02:45:00 | 8.629 | 216.7 | 9.405 | 212.561 | 8.629 | 215.067 | 8.037 | 210.9 | 15.058 | 889 | 6.351 | 39.4293
2020-04-27 03:00:00 | 7.654 | 218.567 | 8.109 | 211.924 | 7.458 | 214.967 | 7.147 | 212.067 | 14.537 | 888.667 | 6.62 | 37.8164
2020-04-27 03:15:00 | 7.129 | 221.507 | 8.83 | 212.087 | 8.316 | 214.033 | 7.758 | 211.033 | 14.104 | 889.2 | 7.085 | 33.8613
2020-04-27 03:30:00 | 6.419 | 221.347 | 9.308 | 214.546 | 8.142 | 218.4 | 7.393 | 214.833 | 13.287 | 889 | 7.447 | 26.5724
2020-04-27 03:45:00 | 7.353 | 221.28 | 9.07 | 212.786 | 8.216 | 215.9 | 7.435 | 212.1 | 12.855 | 889 | 7.752 | 24.1109
2020-04-27 04:00:00 | 7.458 | 218.713 | 8.458 | 212.628 | 7.822 | 215.6 | 7.097 | 210.067 | 13.143 | 888.933 | 8.332 | 17.0984
2020-04-27 04:15:00 | 6.978 | 222.333 | 8.016 | 213.778 | 6.77 | 214.8 | 6.602 | 212.967 | 13.349 | 889.2 | 8.571 | 10.451
2020-04-27 04:30:00 | 6.084 | 234.36 | 6.954 | 221.502 | 6.369 | 225.7 | 5.573 | 221.267 | 13.578 | 889.267 | 8.625 | 6.0341
2020-04-27 04:45:00 | 6.31 | 245.273 | 6.235 | 232.912 | 4.985 | 235.667 | 5.224 | 224.8 | 12.989 | 889.467 | 8.692 | 7.5476
2020-04-27 05:00:00 | 8.019 | 232.087 | 7.244 | 230.197 | 6.392 | 230.433 | 5.286 | 225.267 | 11.824 | 889.133 | 8.411 | 9.9259
2020-04-27 05:15:00 | 7.78 | 228.087 | 6.488 | 222.63 | 6.047 | 230.8 | 6.187 | 231.467 | 12.909 | 888.867 | 7.717 | 12.8087
2020-04-27 05:30:00 | 7.274 | 216.953 | 7.513 | 216.001 | 6.974 | 221.667 | 6.896 | 221.733 | 11.978 | 889.067 | 7.9 | 15.6353
2020-04-27 05:45:00 | 7.568 | 214.833 | 7.485 | 213.861 | 6.753 | 224.633 | 6.175 | 227.5 | 13.483 | 889.067 | 7.404 | 15.0519
2020-04-27 06:00:00 | 7.748 | 216.253 | 8.089 | 213.734 | 7.595 | 215.367 | 7.262 | 215.867 | 12.528 | 888.933 | 7.479 | 16.078
2020-04-27 06:15:00 | 6.814 | 217.52 | 7.788 | 213.236 | 7.398 | 214.767 | 6.085 | 209.533 | 12.403 | 889.133 | 7.989 | 11.6398
2020-04-27 06:30:00 | 7.916 | 223.813 | 8.229 | 218.151 | 7.691 | 215.067 | 7.414 | 207.267 | 11.799 | 888.933 | 8.485 | 14.2682
2020-04-27 06:45:00 | 6.912 | 217.587 | 8.342 | 218.096 | 8.714 | 218.467 | 8.52 | 210.9 | 12.116 | 888.933 | 8.471 | 15.7931
2020-04-27 07:00:00 | 6.879 | 221.407 | 9.179 | 217.825 | 8.587 | 217.4 | 8.18 | 207.967 | 12.357 | 888.933 | 8.937 | 17.8651
2020-04-27 07:15:00 | 6.436 | 226.42 | 7.66 | 217.974 | 8.136 | 218.9 | 7.736 | 212.567 | 14.166 | 888.733 | 7.908 | 18.2744
2020-04-27 07:30:00 | 9.04 | 214.827 | 7.104 | 202.496 | 6.325 | 202.933 | 6.044 | 194.333 | 14.104 | 888.667 | 7.728 | 12.1606
2020-04-27 07:45:00 | 6.413 | 235.873 | 6.403 | 225.537 | 6.335 | 225.267 | 5.322 | 216.1 | 16.631 | 889.133 | 6.625 | 7.1604
2020-04-27 08:00:00 | 5.837 | 229.613 | 6.42 | 210.667 | 6.356 | 204.5 | 6.415 | 195.2 | 16.298 | 888.8 | 6.395 | 3.9607
2020-04-27 08:15:00 | 4.664 | 212.82 | 5.313 | 199.644 | 5.382 | 202.033 | 5.464 | 191.7 | 17.423 | 888.933 | 5.744 | 2.5261
2020-04-27 08:30:00 | 3.568 | 184.68 | 3.976 | 177.625 | 3.94 | 184.867 | 4.156 | 187.467 | 19.123 | 888.867 | 5.316 | 0.51871
2020-04-27 08:45:00 | 0.859 | 179.693 | 1.381 | 190.371 | 1.779 | 192 | 2.64 | 184.8 | 20.306 | 888 | 4.725 | 0.2082
2020-04-27 09:00:00 | 1.211 | 113.837 | 0.12 | 151.853 | 0.034 | 169 | 0.265 | 173.067 | 22.344 | 888 | 4.033 | 0.19754
2020-04-27 09:15:00 | 1.446 | 76.733 | 0.639 | 133.428 | 0.41 | 86.867 | 1.169 | 92.2 | 22.448 | 888 | 4.067 | 0.17054
2020-04-27 09:30:00 | 1.455 | 112.72 | 0.549 | 100.281 | 0.286 | 111.033 | 0.601 | 132.567 | 22.881 | 888 | 3.953 | 0.17622
2020-04-27 09:45:00 | 1.728 | 106.387 | 1.473 | 109.404 | 1.389 | 112.167 | 1.848 | 116.867 | 23.098 | 888 | 3.789 | 0.16769
2020-04-27 10:00:00 | 1.89 | 89.043 | 1.766 | 90.345 | 1.69 | 98.633 | 2.368 | 102.833 | 23.477 | 888 | 3.976 | 0.17196
2020-04-27 10:15:00 | 2.402 | 106.737 | 2.076 | 105.274 | 1.816 | 113.533 | 2.143 | 113.767 | 24.435 | 888 | 3.85 | 0.14638
2020-04-27 10:30:00 | 1.086 | 97.68 | 1.264 | 117.125 | 1.17 | 115.967 | 1.965 | 107.633 | 25.414 | 888 | 3.667 | 0.13217
2020-04-27 10:45:00 | 1.029 | 44.217 | 0.702 | 52.011 | 0.786 | 66.133 | 1.056 | 76.433 | 26.814 | 888 | 2.982 | 0.1478
2020-04-27 11:00:00 | 3.884 | 46.389 | 3.694 | 40.812 | 3.451 | 44.033 | 3.277 | 44.833 | 26.152 | 888 | 2.463 | 0.092374
2020-04-27 11:15:00 | 3.502 | 73.501 | 3.585 | 69.635 | 3.916 | 73.1 | 4.085 | 63.033 | 26.598 | 888 | 2.669 | 0.48318
2020-04-27 11:30:00 | 2.821 | 64.223 | 2.747 | 56.894 | 3.121 | 61.033 | 3.285 | 60.533 | 26.831 | 888 | 2.583 | 0.26149
2020-04-27 11:45:00 | 2.708 | 98.618 | 2.588 | 85.954 | 2.696 | 91.033 | 3.19 | 81.033 | 27.235 | 888 | 2.355 | 0.36736
2020-04-27 12:00:00 | 2.429 | 31.961 | 1.892 | 63.147 | 1.46 | 79.2 | 1.746 | 111.208 | 27.864 | 888 | 2.138 | 0.17622
2020-04-27 12:15:00 | 2.898 | 69.056 | 2.507 | 58.541 | 2.343 | 73.5 | 2.949 | 66.2 | 27.406 | 888 | 2.155 | 0.12364
2020-04-27 12:30:00 | 2.662 | 207.683 | 2.761 | 213.969 | 2.95 | 221.25 | 3.514 | 235.533 | 28.235 | 888 | 2.1 | 0.40147
2020-04-27 12:45:00 | 1.9 | 204.047 | 1.704 | 182.588 | 1.789 | 162.9 | 2.28 | 160.033 | 28.839 | 888 | 1.959 | 0.46968
2020-04-27 13:00:00 | 2.638 | 193 | 2.708 | 241.592 | 2.468 | 247.433 | 3.007 | 230.967 | 29.014 | 888 | 1.93 | 0.44624
2020-04-27 13:15:00 | 3.051 | 248.08 | 2.87 | 260.931 | 3.409 | 255.883 | 3.893 | 247.083 | 28.456 | 888 | 2.144 | 1.0232
2020-04-27 13:30:00 | 0.962 | 125.798 | 1.154 | 133.642 | 1.462 | 150.183 | 2.07 | 175.317 | 28.494 | 888 | 2.099 | 0.83989
2020-04-27 13:45:00 | 5.09 | 183.047 | 5.583 | 178.921 | 5.921 | 183.1 | 5.982 | 175.867 | 29.598 | 888 | 2.106 | 1.2492
2020-04-27 14:00:00 | 1.804 | 130.907 | 1.538 | 106.832 | 1.884 | 110.367 | 2.083 | 105.233 | 28.756 | 888 | 2.219 | 4.5036
2020-04-27 14:15:00 | 3.967 | 98.687 | 3.889 | 91.74 | 3.8 | 98.6 | 3.802 | 98.267 | 29.581 | 888 | 2.198 | 11.8416
2020-04-27 14:30:00 | 7.035 | 184.687 | 7.14 | 184.042 | 7.551 | 184.633 | 7.761 | 182.467 | 29.298 | 888 | 2.104 | 12.5152
2020-04-27 14:45:00 | 3.292 | 139.637 | 3.326 | 143.013 | 3.583 | 149.4 | 4.423 | 158.867 | 28.939 | 888 | 2.212 | 7.7772
2020-04-27 15:00:00 | 6.782 | 133.313 | 7.021 | 131.568 | 7.124 | 141.433 | 7.51 | 143.6 | 29.398 | 888 | 2.103 | 8.7179
2020-04-27 15:15:00 | 6.869 | 180.733 | 7.255 | 176.406 | 7.208 | 177.633 | 7.419 | 172.633 | 29.06 | 888 | 2.191 | 8.6561
2020-04-27 15:30:00 | 4.599 | 164.613 | 5.107 | 155.795 | 5.083 | 155.1 | 5.254 | 147.133 | 28.923 | 888 | 2.259 | 18.1443
2020-04-27 15:45:00 | 5.763 | 166.933 | 5.933 | 167.239 | 6.418 | 173.867 | 6.731 | 171.333 | 28.931 | 888 | 2.217 | 15.9259
2020-04-27 16:00:00 | 3.649 | 143.37 | 3.576 | 148.364 | 3.396 | 155.6 | 3.987 | 161.9 | 28.618 | 888 | 2.24 | 15.5067
2020-04-27 16:15:00 | 7.084 | 208.72 | 7.457 | 199.537 | 7.484 | 203.467 | 7.532 | 199.233 | 29.314 | 888 | 2.052 | 16.1633
2020-04-27 16:30:00 | 3.56 | 133.987 | 4.005 | 139.34 | 4.192 | 152.467 | 4.299 | 151.967 | 29.181 | 888 | 2.127 | 13.1974
2020-04-27 16:45:00 | 6.591 | 178.613 | 7.019 | 171.66 | 7.282 | 175.333 | 7.737 | 168.9 | 29.198 | 888 | 2.099 | 26.9013
2020-04-27 17:00:00 | 5.708 | 142.88 | 5.993 | 139.133 | 6.211 | 142.667 | 6.472 | 142.667 | 29.231 | 888 | 2.015 | 11.1339
2020-04-27 17:15:00 | 4.644 | 238.633 | 5.125 | 233.084 | 5.052 | 237.133 | 5.108 | 230.65 | 29.61 | 888 | 1.945 | 4.8525
2020-04-27 17:30:00 | 3.777 | 161.013 | 4.096 | 167.501 | 4.506 | 175.467 | 5.326 | 173.433 | 29.581 | 888 | 1.791 | 9.5124
2020-04-27 17:45:00 | 2.493 | 147.56 | 2.522 | 151.781 | 2.778 | 152.9 | 3.643 | 154.033 | 29.298 | 888 | 1.817 | 5.8743
2020-04-27 18:00:00 | 3.374 | 171.84 | 3.516 | 178.31 | 3.887 | 187.5 | 4.342 | 185.6 | 29.664 | 888 | 1.841 | 1.392
2020-04-27 18:15:00 | 4.478 | 232.087 | 4.531 | 223.837 | 4.86 | 228.067 | 5.125 | 222.233 | 29.956 | 888 | 1.78 | 3.1748
2020-04-27 18:30:00 | 0.815 | 243.76 | 0.31 | 242.719 | 0.54 | 252.683 | 1.244 | 248.9 | 30.294 | 888 | 1.663 | 0.59901
2020-04-27 18:45:00 | 2.278 | 171.411 | 2.284 | 170.604 | 1.98 | 183.633 | 2.288 | 201.833 | 30.214 | 888 | 1.686 | 5.1225
2020-04-27 19:00:00 | 6.725 | 245.62 | 7.049 | 243.63 | 7.435 | 245.717 | 7.339 | 240.067 | 29.681 | 888 | 1.883 | 17.9837
2020-04-27 19:15:00 | 5.58 | 272.187 | 5.973 | 266.264 | 6.078 | 269.9 | 6.122 | 266.283 | 28.981 | 888 | 1.87 | 19.6045
2020-04-27 19:30:00 | 6.852 | 272.733 | 7.442 | 269.223 | 7.708 | 274.333 | 7.565 | 268.033 | 28.489 | 888 | 2.037 | 31.3644
2020-04-27 19:45:00 | 7.504 | 247.733 | 8.288 | 249.246 | 8.663 | 254.233 | 8.874 | 248.667 | 28.427 | 888 | 1.999 | 33.7249
2020-04-27 20:00:00 | 6.962 | 259.267 | 7.448 | 255.5 | 7.636 | 259.233 | 7.623 | 253.3 | 28.214 | 888 | 1.995 | 33.4634
2020-04-27 20:15:00 | 7.332 | 254.973 | 8.107 | 253.626 | 8.558 | 257.75 | 8.583 | 253.367 | 27.644 | 888 | 2.148 | 29.065
2020-04-27 20:30:00 | 5.094 | 258.8 | 5.864 | 255.673 | 5.928 | 260.567 | 5.831 | 256.2 | 26.527 | 888 | 2.319 | 27.1408
2020-04-27 20:45:00 | 5.345 | 261.52 | 6.486 | 260.927 | 6.973 | 266.383 | 7.088 | 261.883 | 25.31 | 888 | 2.551 | 22.8611
2020-04-27 21:00:00 | 4.77 | 256.573 | 5.692 | 256.861 | 6.098 | 263.383 | 6.367 | 259.567 | 24.835 | 888 | 2.765 | 15.123
2020-04-27 21:15:00 | 4.296 | 242.853 | 4.284 | 246.282 | 4.577 | 255.833 | 5.076 | 252.667 | 23.414 | 888 | 2.931 | 13.2741
2020-04-27 21:30:00 | 4.741 | 245.147 | 5.328 | 248.849 | 5.748 | 255.7 | 6.11 | 250.467 | 23.281 | 888 | 3.032 | 15.221
2020-04-27 21:45:00 | 4.569 | 232.387 | 5.438 | 238.601 | 5.891 | 246.267 | 6.093 | 242.667 | 21.86 | 888 | 3.355 | 16.073
2020-04-27 22:00:00 | 5.089 | 231.36 | 5.738 | 239.408 | 5.813 | 246.167 | 5.832 | 241 | 20.868 | 888 | 3.601 | 19.4134
2020-04-27 22:15:00 | 4.848 | 230.1 | 5.881 | 240.334 | 6.24 | 247.7 | 6.472 | 242.267 | 20.66 | 888 | 3.601 | 19.4695
2020-04-27 22:30:00 | 5.119 | 227.793 | 5.854 | 238.783 | 6.072 | 246.533 | 6.326 | 241.533 | 19.302 | 888 | 3.763 | 21.3831
2020-04-27 22:45:00 | 5.438 | 219.653 | 6.151 | 236.431 | 6.45 | 246.033 | 6.651 | 241.717 | 18.085 | 888 | 3.976 | 21.2907
2020-04-27 23:00:00 | 6.462 | 213.44 | 7.199 | 220.982 | 7.364 | 231.2 | 7.22 | 228.467 | 17.568 | 888 | 4.265 | 19.8838
2020-04-27 23:15:00 | 6.03 | 215.147 | 6.899 | 219.743 | 6.599 | 226.967 | 6.763 | 223.867 | 17.727 | 888 | 4.229 | 16.3018
2020-04-27 23:30:00 | 5.851 | 214.673 | 6.368 | 221.361 | 5.952 | 229.933 | 6.166 | 226.033 | 17.214 | 888 | 4.445 | 16.4994
2020-04-27 23:45:00 | 6.642 | 212.913 | 7.666 | 215.591 | 7.195 | 222.167 | 6.742 | 220.367 | 16.631 | 888 | 4.579 | 18.6438