## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-28 00:00:00 | 6.441 | 214.587 | 8.269 | 215.818 | 7.814 | 223.633 | 7.042 | 220.067 | 16.376 | 888 | 4.705 | 22.4852
2020-04-28 00:15:00 | 7.024 | 213.473 | 7.825 | 215.415 | 7.452 | 219.7 | 7.461 | 217.167 | 15.994 | 888 | 4.797 | 23.8239
2020-04-28 00:30:00 | 7.018 | 215.6 | 8.153 | 215.226 | 7.649 | 218.533 | 7.295 | 214.667 | 15.968 | 888 | 4.841 | 25.8504
2020-04-28 00:45:00 | 7.234 | 213.447 | 8.476 | 214.567 | 7.801 | 218.967 | 7.895 | 215.6 | 15.64 | 888 | 4.831 | 29.5397
2020-04-28 01:00:00 | 7.407 | 213.34 | 9.255 | 212.48 | 8.721 | 215.767 | 8.33 | 213.233 | 15.58 | 888 | 4.851 | 36.6922
2020-04-28 01:15:00 | 7.012 | 213.027 | 8.43 | 215.634 | 8.66 | 221.267 | 8.69 | 217.8 | 15.668 | 888 | 4.853 | 37.5833
2020-04-28 01:30:00 | 7.237 | 216.52 | 8.51 | 217.707 | 8.424 | 224.3 | 7.918 | 222.9 | 15.236 | 888.133 | 4.954 | 37.5662
2020-04-28 01:45:00 | 6.788 | 215.32 | 8.59 | 216.802 | 8.513 | 221.9 | 8.019 | 219.3 | 15.262 | 888.067 | 5.046 | 35.7237
2020-04-28 02:00:00 | 6.841 | 216.1 | 8.565 | 218.144 | 8.487 | 224.233 | 7.824 | 221.433 | 14.924 | 888.667 | 5.193 | 31.1534
2020-04-28 02:15:00 | 6.969 | 218.393 | 9.196 | 219.525 | 8.359 | 227.4 | 8.179 | 225.733 | 14.583 | 888.6 | 5.206 | 35.1738
2020-04-28 02:30:00 | 7.396 | 217.14 | 9.452 | 219.777 | 9.091 | 228.733 | 8.612 | 226.633 | 14.016 | 889.067 | 5.311 | 47.3472
2020-04-28 02:45:00 | 6.695 | 220.353 | 10.219 | 220.778 | 9.698 | 226.9 | 9.222 | 223 | 14.249 | 888.6 | 5.173 | 52.4846
2020-04-28 03:00:00 | 7.597 | 218.847 | 9.404 | 220.844 | 8.777 | 226.7 | 8.389 | 224.3 | 14.87 | 889.267 | 5.266 | 47.1141
2020-04-28 03:15:00 | 6.702 | 220.113 | 8.406 | 221.75 | 8 | 230.433 | 7.552 | 228.6 | 14.57 | 888.867 | 5.263 | 35.8332
2020-04-28 03:30:00 | 7.077 | 219.727 | 8.58 | 222.669 | 7.795 | 232.167 | 7.272 | 233.167 | 14.578 | 888.667 | 5.365 | 30.1977
2020-04-28 03:45:00 | 7.699 | 217.467 | 8.333 | 219.947 | 7.757 | 227.633 | 7.051 | 228.5 | 14.399 | 889.333 | 5.579 | 32.8395
2020-04-28 04:00:00 | 7.586 | 213.367 | 8.319 | 213.624 | 7.649 | 219.1 | 6.789 | 220 | 14.299 | 888.8 | 6.024 | 31.2685
2020-04-28 04:15:00 | 5.862 | 212.573 | 8.19 | 211.568 | 7.806 | 214.967 | 7.11 | 216.967 | 14.478 | 889.333 | 6.139 | 28.9087
2020-04-28 04:30:00 | 5.42 | 213.353 | 7.703 | 210.531 | 7.317 | 213.367 | 6.767 | 212.867 | 13.674 | 889.133 | 6.743 | 22.3132
2020-04-28 04:45:00 | 6.201 | 213.987 | 7.031 | 213.062 | 6.456 | 218.233 | 6.016 | 218.2 | 13.826 | 889.2 | 6.768 | 15.5074
2020-04-28 05:00:00 | 5.676 | 211.96 | 6.847 | 210.925 | 6.358 | 214.033 | 5.914 | 211.967 | 14.395 | 889.333 | 6.896 | 17.6107
2020-04-28 05:15:00 | 6.568 | 208.753 | 6.679 | 207.406 | 6.682 | 210 | 6.63 | 205.233 | 13.995 | 888.8 | 7.176 | 20.0437
2020-04-28 05:30:00 | 6.788 | 206.813 | 7.505 | 202.797 | 7.503 | 204.667 | 7.398 | 200.767 | 14.433 | 889 | 7.133 | 28.5321
2020-04-28 05:45:00 | 6.213 | 209.987 | 8.518 | 206.806 | 8.908 | 208.1 | 9.126 | 202.433 | 14.641 | 889.267 | 7.167 | 43.2295
2020-04-28 06:00:00 | 7.296 | 204.8 | 8.618 | 202.471 | 8.743 | 205.033 | 8.793 | 201.9 | 14.774 | 888.733 | 7.432 | 38.8694
2020-04-28 06:15:00 | 7.714 | 212.62 | 8.741 | 208.493 | 8.574 | 211.467 | 8.488 | 206.9 | 14.304 | 888.667 | 7.807 | 35.1446
2020-04-28 06:30:00 | 6.057 | 205.72 | 8.192 | 206.363 | 8.184 | 209.3 | 8.214 | 203.267 | 13.28 | 888.933 | 8.377 | 33.4862
2020-04-28 06:45:00 | 5.211 | 210.193 | 7.678 | 210.878 | 7.978 | 215.267 | 7.713 | 212.467 | 13.628 | 888.733 | 8.711 | 28.5293
2020-04-28 07:00:00 | 4.489 | 212.947 | 7.708 | 210.57 | 8.578 | 218.233 | 7.896 | 215.767 | 12.899 | 889.467 | 9.188 | 28.9542
2020-04-28 07:15:00 | 6.034 | 218.22 | 8.462 | 215.324 | 8.45 | 221.567 | 7.669 | 220.467 | 14.099 | 888.6 | 9.4 | 32.0281
2020-04-28 07:30:00 | 6.933 | 213.533 | 8.765 | 212.09 | 8.483 | 220.467 | 7.714 | 219.533 | 15.248 | 889.067 | 9.123 | 33.3455
2020-04-28 07:45:00 | 6.7 | 213.673 | 8.88 | 212.17 | 9.198 | 219.367 | 8.473 | 216.3 | 16.381 | 889.133 | 8.629 | 36.2815
2020-04-28 08:00:00 | 6.217 | 218.387 | 8.411 | 214.68 | 8.544 | 221 | 7.923 | 219.9 | 17.56 | 889.2 | 8.255 | 32.7685
2020-04-28 08:15:00 | 6.07 | 215.527 | 7.538 | 214.294 | 7.564 | 222.7 | 7.024 | 222.333 | 18.86 | 889 | 7.98 | 25.6628
2020-04-28 08:30:00 | 6.226 | 219 | 6.854 | 217.536 | 7.332 | 224.2 | 7.139 | 224.4 | 20.539 | 889.267 | 7.665 | 23.3279
2020-04-28 08:45:00 | 5.426 | 217.58 | 5.531 | 216.004 | 5.706 | 221.567 | 5.737 | 220.433 | 21.864 | 888.933 | 7.499 | 11.7457
2020-04-28 09:00:00 | 5.432 | 216.86 | 5.572 | 216.125 | 5.727 | 221.633 | 5.819 | 217.9 | 23.198 | 888.933 | 7.233 | 11.5382
2020-04-28 09:15:00 | 4.316 | 221.967 | 4.518 | 220.567 | 4.789 | 225.467 | 4.995 | 221.733 | 23.164 | 888.867 | 7.299 | 9.4719
2020-04-28 09:30:00 | 3.756 | 262.933 | 3.721 | 257.076 | 3.694 | 264.533 | 3.929 | 258.117 | 23.668 | 889.267 | 7.243 | 7.0431
2020-04-28 09:45:00 | 3.398 | 295.013 | 3.442 | 293.616 | 3.726 | 291.633 | 4.481 | 286.267 | 24.081 | 889.133 | 7.299 | 10.91
2020-04-28 10:00:00 | 6.325 | 299.693 | 6.654 | 296.225 | 6.856 | 301.467 | 7.035 | 299.767 | 24.406 | 888.933 | 7.569 | 19.9534
2020-04-28 10:15:00 | 6.695 | 303.333 | 6.778 | 297.452 | 6.944 | 303.3 | 7.114 | 300.4 | 24.581 | 889.267 | 8.159 | 19.6834
2020-04-28 10:30:00 | 6.039 | 315.093 | 6.231 | 309.067 | 6.268 | 316.167 | 6.628 | 312.233 | 24.623 | 889.267 | 8.031 | 18.7867
2020-04-28 10:45:00 | 5.961 | 293.16 | 5.936 | 288.927 | 6.133 | 295.133 | 6.468 | 293.133 | 24.964 | 888.867 | 8.066 | 19.9264
2020-04-28 11:00:00 | 6.082 | 319.36 | 6.359 | 310.244 | 6.404 | 314.967 | 6.724 | 313.3 | 24.914 | 889.133 | 8.737 | 17.3456
2020-04-28 11:15:00 | 3.886 | 287.507 | 4.026 | 283.92 | 4.197 | 288.567 | 4.432 | 289.467 | 24.798 | 889.067 | 9.059 | 17.4195
2020-04-28 11:30:00 | 4.309 | 313.893 | 4.387 | 308.659 | 4.531 | 311.633 | 4.793 | 307.133 | 25.318 | 889.567 | 10.382 | 16.6592
2020-04-28 11:45:00 | 5.014 | 279.34 | 5.194 | 275.316 | 5.374 | 281.533 | 5.748 | 278.367 | 26.035 | 888.933 | 9.845 | 24.97
2020-04-28 12:00:00 | 6.289 | 280.36 | 6.69 | 276.671 | 6.905 | 279.733 | 7.079 | 273.667 | 25.96 | 889.333 | 9.335 | 27.8819
2020-04-28 12:15:00 | 7.546 | 329.2 | 7.69 | 322.023 | 8.011 | 326.033 | 8.115 | 324 | 26.106 | 888.8 | 9.855 | 30.057
2020-04-28 12:30:00 | 6.404 | 293.867 | 6.689 | 292.141 | 6.844 | 293 | 7.072 | 291.633 | 25.748 | 889.333 | 9.083 | 32.7394
2020-04-28 12:45:00 | 9.38 | 281.307 | 10.268 | 279.61 | 10.443 | 285.467 | 10.602 | 281.9 | 26.314 | 889.133 | 9.179 | 45.418
2020-04-28 13:00:00 | 8.078 | 299.827 | 8.633 | 290.736 | 9.052 | 290.6 | 9.464 | 287.167 | 26.627 | 888.8 | 9.405 | 47.4481
2020-04-28 13:15:00 | 8.858 | 316 | 8.828 | 311.168 | 9.224 | 314.3 | 9.534 | 317.2 | 26.652 | 888.867 | 9.779 | 48.0897
2020-04-28 13:30:00 | 8.011 | 287.613 | 8.745 | 279.865 | 9.101 | 286.9 | 9.379 | 285.167 | 26.481 | 888.8 | 9.835 | 31.1484
2020-04-28 13:45:00 | 5.653 | 313.913 | 5.849 | 302.217 | 6.074 | 303.3 | 6.317 | 300.533 | 27.489 | 888.8 | 9.279 | 31.67
2020-04-28 14:00:00 | 8.328 | 300.307 | 8.612 | 293.641 | 8.762 | 298.1 | 9.344 | 294.767 | 26.506 | 888.867 | 9.652 | 29.4899
2020-04-28 14:15:00 | 9.179 | 293.387 | 9.678 | 290.384 | 10.062 | 292.8 | 10.297 | 288.567 | 27.335 | 888.933 | 9.239 | 40.0475
2020-04-28 14:30:00 | 6.593 | 304.64 | 6.716 | 301.48 | 7.344 | 303.333 | 7.858 | 302.567 | 27.714 | 888.6 | 9.331 | 40.8043
2020-04-28 14:45:00 | 7.573 | 293.253 | 7.943 | 292.59 | 8.271 | 298.4 | 8.713 | 297.767 | 27.039 | 889.067 | 9.578 | 38.8382
2020-04-28 15:00:00 | 2.566 | 276.267 | 2.684 | 269.557 | 2.836 | 278.083 | 3.508 | 274.167 | 26.881 | 888.933 | 9.225 | 33.8201
2020-04-28 15:15:00 | 4.709 | 285.487 | 4.888 | 290.598 | 5.137 | 299.6 | 5.527 | 297.783 | 27.581 | 888.933 | 9.007 | 29.227
2020-04-28 15:30:00 | 7.033 | 267.773 | 7.649 | 263.298 | 7.616 | 264.183 | 7.666 | 257.7 | 28.527 | 888.733 | 8.488 | 42.612
2020-04-28 15:45:00 | 9.54 | 321.8 | 9.988 | 313.808 | 10.462 | 318.267 | 10.886 | 315.167 | 27.706 | 889.067 | 8.767 | 41.1468
2020-04-28 16:00:00 | 6.952 | 278.187 | 7.333 | 272.876 | 7.491 | 275.267 | 7.846 | 271.45 | 27.531 | 889.2 | 8.593 | 40.9293
2020-04-28 16:15:00 | 9.181 | 260.687 | 9.835 | 258.86 | 9.78 | 264.433 | 9.694 | 260.533 | 28.223 | 888.8 | 8.305 | 43.6174
2020-04-28 16:30:00 | 7.608 | 308.827 | 7.752 | 304.663 | 8.019 | 309.233 | 8.782 | 307.033 | 27.939 | 889.133 | 8.493 | 45.0286
2020-04-28 16:45:00 | 6.777 | 294.253 | 7.452 | 289.744 | 7.821 | 296.333 | 8.128 | 293.133 | 28.114 | 889.2 | 8.328 | 38.7401
2020-04-28 17:00:00 | 9.366 | 277.827 | 9.84 | 273.679 | 9.928 | 277.267 | 10.175 | 274.7 | 28.448 | 889.2 | 8.311 | 58.7113
2020-04-28 17:15:00 | 7.066 | 304.467 | 7.631 | 298.361 | 8.095 | 302.267 | 8.502 | 299.967 | 28.335 | 888.733 | 8.415 | 58.842
2020-04-28 17:30:00 | 8.753 | 309.573 | 9.139 | 308.327 | 9.441 | 312 | 9.824 | 310.5 | 28.056 | 889.133 | 8.305 | 67.6325
2020-04-28 17:45:00 | 7.783 | 282.707 | 8.549 | 277.783 | 8.829 | 283.433 | 9.009 | 280.567 | 28.006 | 889.133 | 8.279 | 50.4247
2020-04-28 18:00:00 | 6.973 | 313.787 | 7.053 | 304.693 | 7.436 | 307.1 | 8.116 | 305.133 | 28.106 | 889.333 | 8.731 | 48.693
2020-04-28 18:15:00 | 8.126 | 284.84 | 8.737 | 281.216 | 9.204 | 284.9 | 9.537 | 281.3 | 27.698 | 889 | 8.493 | 51.838
2020-04-28 18:30:00 | 4.87 | 287.787 | 5.21 | 283.782 | 5.629 | 287 | 5.976 | 284.267 | 27.798 | 888.733 | 8.789 | 30.3206
2020-04-28 18:45:00 | 6.606 | 288.16 | 6.767 | 287.299 | 6.867 | 293.833 | 7.513 | 289.867 | 27.856 | 888.867 | 8.523 | 44.9917
2020-04-28 19:00:00 | 6.952 | 301.76 | 7.511 | 295.316 | 7.699 | 301.867 | 8.348 | 297.633 | 28.198 | 889.267 | 8.667 | 34.0418
2020-04-28 19:15:00 | 6.821 | 297.947 | 7.342 | 293.831 | 7.716 | 298 | 8.017 | 295.933 | 27.91 | 889.133 | 8.572 | 37.0077
2020-04-28 19:30:00 | 7.13 | 297.8 | 7.682 | 295.771 | 7.969 | 302.9 | 8.597 | 299.567 | 27.568 | 889.133 | 8.787 | 37.1577
2020-04-28 19:45:00 | 7.014 | 303.92 | 7.392 | 297.7 | 7.814 | 300.167 | 8.117 | 297.833 | 27.418 | 888.667 | 9.001 | 45.1615
2020-04-28 20:00:00 | 7.523 | 291.907 | 8.034 | 289.003 | 8.29 | 296.167 | 8.733 | 294.267 | 27.302 | 889.067 | 8.889 | 41.1368
2020-04-28 20:15:00 | 6.086 | 299.773 | 6.62 | 294.458 | 6.755 | 298.6 | 7.224 | 295.933 | 26.864 | 889.133 | 9.255 | 22.4397
2020-04-28 20:30:00 | 5.824 | 294.253 | 6.693 | 289.248 | 7.127 | 293.2 | 7.643 | 289.933 | 26.894 | 889.333 | 9.705 | 22.3523
2020-04-28 20:45:00 | 4.68 | 280.373 | 5.802 | 280.033 | 6.204 | 284.733 | 6.68 | 282.533 | 26.077 | 889.067 | 9.833 | 16.056
2020-04-28 21:00:00 | 4.339 | 275.733 | 5.558 | 276.623 | 6.003 | 281.333 | 6.326 | 277.8 | 25.156 | 888.767 | 10.429 | 15.2921
2020-04-28 21:15:00 | 4.465 | 267.053 | 5.569 | 267.902 | 5.792 | 273.833 | 5.972 | 271.6 | 24.927 | 888.867 | 10.331 | 16.1078
2020-04-28 21:30:00 | 4.252 | 263.64 | 5.703 | 268.398 | 6.002 | 275.833 | 6.447 | 271.433 | 24.148 | 889.8 | 10.913 | 16.1938
2020-04-28 21:45:00 | 4.599 | 249.153 | 5.69 | 259.642 | 5.892 | 266.867 | 6.214 | 264.233 | 23.148 | 889.7 | 11.481 | 17.1723
2020-04-28 22:00:00 | 4.234 | 245.147 | 5.508 | 258.928 | 5.932 | 267.667 | 6.278 | 264.7 | 22.681 | 889.6 | 11.648 | 15.349
2020-04-28 22:15:00 | 4.882 | 242.6 | 5.826 | 254.773 | 5.976 | 263.867 | 6.12 | 262.067 | 22.381 | 889.533 | 11.767 | 18.7966
2020-04-28 22:30:00 | 4.766 | 243.553 | 5.441 | 258.123 | 5.671 | 267.733 | 5.973 | 266.167 | 21.589 | 889.467 | 12.045 | 16.6152
2020-04-28 22:45:00 | 5.028 | 234.367 | 5.97 | 245.983 | 5.742 | 256.233 | 5.913 | 256.8 | 21.273 | 889.467 | 12.365 | 19.6287
2020-04-28 23:00:00 | 5.57 | 243.9 | 6.576 | 255.848 | 6.552 | 268.267 | 6.948 | 269.1 | 20.914 | 889.333 | 12.745 | 24.8819
2020-04-28 23:15:00 | 5.436 | 262.593 | 6.579 | 277.504 | 6.77 | 286.7 | 7.198 | 288.867 | 20.285 | 889.133 | 12.936 | 21.2623
2020-04-28 23:30:00 | 5.48 | 266.553 | 6.34 | 278.819 | 6.456 | 285.7 | 6.892 | 287.167 | 20.373 | 889.233 | 13.264 | 14.5531
2020-04-28 23:45:00 | 5.103 | 259.447 | 5.193 | 279.531 | 5.439 | 288.367 | 5.857 | 289.967 | 20.552 | 889.4 | 13.139 | 11.0138