## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-29 00:00:00 | 5.034 | 234.04 | 4.642 | 259.124 | 4.479 | 277.267 | 4.852 | 285.1 | 20.094 | 889.433 | 13.308 | 6.1727
2020-04-29 00:15:00 | 5.348 | 230.227 | 4.766 | 254.918 | 4.175 | 269.933 | 4.342 | 272.233 | 19.014 | 889.5 | 13.6 | 4.0296
2020-04-29 00:30:00 | 6.391 | 228.473 | 5.567 | 244.232 | 4.721 | 257.6 | 4.469 | 261.433 | 18.181 | 889.6 | 14.096 | 6.2686
2020-04-29 00:45:00 | 6.112 | 230.64 | 5.382 | 244.876 | 4.604 | 260.667 | 4.682 | 268.433 | 17.602 | 889.367 | 14.413 | 8.8473
2020-04-29 01:00:00 | 6.779 | 223.12 | 6.257 | 229.023 | 5.047 | 241.267 | 4.662 | 248.933 | 18.139 | 889.467 | 14.752 | 11.0102
2020-04-29 01:15:00 | 6.664 | 217.82 | 7.161 | 224.23 | 5.931 | 234.933 | 4.828 | 238.833 | 17.935 | 889.067 | 14.813 | 13.1853
2020-04-29 01:30:00 | 6.371 | 218.98 | 6.494 | 228.595 | 5.318 | 242.567 | 4.654 | 247.933 | 17.581 | 889.5 | 15.248 | 14.0841
2020-04-29 01:45:00 | 6.568 | 216.96 | 6.904 | 226.102 | 5.636 | 241.867 | 4.985 | 247.6 | 17.131 | 889.267 | 15.595 | 15.3262
2020-04-29 02:00:00 | 6.562 | 216.533 | 7.145 | 226.72 | 6.029 | 241.433 | 5.198 | 245.267 | 16.548 | 889.5 | 16.027 | 14.3151
2020-04-29 02:15:00 | 6.155 | 219.607 | 6.398 | 233.389 | 5.392 | 250.467 | 4.954 | 254.8 | 16.431 | 889.6 | 16.504 | 13.2769
2020-04-29 02:30:00 | 6.381 | 219.593 | 6.968 | 231.997 | 5.898 | 246.067 | 5.278 | 250.733 | 16.348 | 889.533 | 17.211 | 14.9517
2020-04-29 02:45:00 | 6.281 | 220.16 | 7.23 | 230.955 | 6.539 | 243.167 | 5.73 | 242.967 | 16.039 | 889.833 | 17.515 | 17.3002
2020-04-29 03:00:00 | 6.803 | 219.173 | 7.367 | 230.825 | 6.706 | 241.833 | 6.115 | 242.067 | 16.077 | 889.8 | 17.563 | 19.0894
2020-04-29 03:15:00 | 6.658 | 221.267 | 7.709 | 230.034 | 7.123 | 241.767 | 6.454 | 241.6 | 15.968 | 889.967 | 17.549 | 20.3826
2020-04-29 03:30:00 | 6.911 | 219.133 | 7.838 | 226.39 | 7.096 | 238.233 | 6.295 | 237.5 | 15.711 | 889.567 | 17.563 | 21.3753
2020-04-29 03:45:00 | 6.98 | 219.173 | 7.56 | 225.678 | 6.715 | 237.7 | 6.065 | 237.467 | 15.53 | 889.667 | 17.568 | 19.623
2020-04-29 04:00:00 | 7.312 | 219.407 | 7.341 | 226.314 | 6.572 | 236.7 | 5.91 | 236.7 | 15.217 | 890.067 | 17.467 | 18.0456
2020-04-29 04:15:00 | 7.321 | 217.473 | 7.32 | 223.323 | 6.272 | 236.067 | 5.632 | 236.4 | 15.39 | 889.733 | 17.563 | 18.3745
2020-04-29 04:30:00 | 7.515 | 216.067 | 8.351 | 220.207 | 6.835 | 230.233 | 5.846 | 231.5 | 14.974 | 889.7 | 17.549 | 20.9553
2020-04-29 04:45:00 | 7.624 | 215.033 | 8.658 | 216.703 | 7.629 | 223.6 | 6.414 | 224.367 | 15.298 | 889.633 | 17.451 | 30.8578
2020-04-29 05:00:00 | 5.885 | 209.527 | 8.657 | 207.087 | 8.29 | 211.9 | 7.936 | 206.867 | 15.428 | 889.333 | 17.397 | 30.5871
2020-04-29 05:15:00 | 6.905 | 207.473 | 9.16 | 203.667 | 8.8 | 207.133 | 8.602 | 203.367 | 15.134 | 889.5 | 18.603 | 30.0676
2020-04-29 05:30:00 | 6.674 | 209.993 | 8.154 | 206.314 | 8.378 | 209.167 | 8.297 | 204 | 15.412 | 889.067 | 18.6 | 29.1645
2020-04-29 05:45:00 | 6.759 | 209.887 | 8.226 | 202.54 | 7.827 | 205.633 | 7.713 | 202 | 14.962 | 889.367 | 18.733 | 25.1256
2020-04-29 06:00:00 | 6.621 | 211.333 | 8.455 | 201.413 | 8.042 | 203.4 | 7.745 | 199.6 | 15.521 | 889.767 | 18.141 | 21.6311
2020-04-29 06:15:00 | 6.182 | 210.633 | 8.407 | 201.01 | 7.924 | 203.1 | 7.395 | 198.2 | 15.354 | 889.3 | 18.083 | 19.7083
2020-04-29 06:30:00 | 6.117 | 207.653 | 7.908 | 201.963 | 7.711 | 203.533 | 7.886 | 197.033 | 15.269 | 889.633 | 18.232 | 18.4399
2020-04-29 06:45:00 | 7.432 | 217.467 | 7.735 | 208.602 | 7.731 | 208.467 | 7.677 | 201.7 | 14.858 | 889.533 | 18.349 | 19.8113
2020-04-29 07:00:00 | 7.303 | 213.793 | 8.005 | 212.114 | 7.694 | 213.233 | 7.376 | 209.867 | 15.692 | 889.567 | 18.067 | 20.259
2020-04-29 07:15:00 | 6.394 | 215.713 | 7.57 | 212.823 | 7.111 | 212.2 | 7.091 | 204.067 | 15.986 | 889.333 | 17.36 | 21.1116
2020-04-29 07:30:00 | 6.175 | 212.093 | 7.813 | 208.848 | 8.273 | 209.733 | 8.148 | 204.267 | 16.267 | 889.333 | 17.173 | 26.9227
2020-04-29 07:45:00 | 6.329 | 207.32 | 8.071 | 203.389 | 8.31 | 207.7 | 8.035 | 203.867 | 17.148 | 889.2 | 16.384 | 31.0354
2020-04-29 08:00:00 | 5.229 | 208.467 | 6.686 | 208.083 | 8.307 | 211.833 | 8.511 | 211.2 | 18.723 | 889.367 | 15.549 | 32.6733
2020-04-29 08:15:00 | 5.64 | 210.947 | 6.763 | 206.029 | 8.04 | 211.933 | 8.417 | 211.333 | 19.631 | 889.633 | 14.677 | 31.8206
2020-04-29 08:30:00 | 5.497 | 202.807 | 5.958 | 202.21 | 6.626 | 208.3 | 7.337 | 205.633 | 21.444 | 889.233 | 13.544 | 27.0655
2020-04-29 08:45:00 | 6.577 | 213.14 | 6.7 | 211.053 | 7.312 | 214.067 | 7.701 | 211.267 | 22.631 | 889.3 | 12.656 | 25.7396
2020-04-29 09:00:00 | 6.121 | 220.08 | 6.09 | 216.931 | 6.369 | 218.967 | 6.41 | 215.467 | 23.514 | 889.7 | 12.069 | 15.5976
2020-04-29 09:15:00 | 4.948 | 223.847 | 4.905 | 221.829 | 4.848 | 224.567 | 5.037 | 219.733 | 24.456 | 889.3 | 11.645 | 8.6433
2020-04-29 09:30:00 | 3.168 | 245.213 | 3.286 | 243.464 | 3.227 | 247.133 | 3.559 | 240.65 | 25.985 | 889.767 | 10.733 | 4.0978
2020-04-29 09:45:00 | 4.208 | 243.12 | 3.914 | 240.54 | 4.177 | 243.85 | 4.302 | 239.083 | 26.11 | 889.267 | 10.439 | 2.5907
2020-04-29 10:00:00 | 2.912 | 290.773 | 2.785 | 281.988 | 2.63 | 285.617 | 2.912 | 273 | 25.948 | 889.3 | 10.385 | 1.8418
2020-04-29 10:15:00 | 3.865 | 270.04 | 3.91 | 268.249 | 3.939 | 272.2 | 4.101 | 270.217 | 26.944 | 889.333 | 10.725 | 4.1049
2020-04-29 10:30:00 | 5.768 | 287.693 | 5.942 | 280.986 | 5.831 | 282.967 | 6.164 | 279.6 | 26.556 | 889.367 | 11.128 | 10.1732
2020-04-29 10:45:00 | 5.374 | 264.953 | 5.57 | 260.843 | 5.908 | 265.2 | 5.822 | 256.633 | 26.864 | 889.367 | 11.527 | 12.2054
2020-04-29 11:00:00 | 7.155 | 247.28 | 7.106 | 243.443 | 7.208 | 249.383 | 7.193 | 244.367 | 27.239 | 889.667 | 11.883 | 12.7497
2020-04-29 11:15:00 | 4.84 | 293.667 | 5.158 | 288.182 | 5.222 | 291.467 | 5.636 | 287.7 | 26.635 | 889.9 | 11.739 | 10.9399
2020-04-29 11:30:00 | 3.343 | 233.927 | 3.216 | 233.699 | 3.454 | 240.2 | 3.824 | 240.133 | 27.91 | 889.733 | 11.787 | 9.0874
2020-04-29 11:45:00 | 6.223 | 274.467 | 6.624 | 272.764 | 6.727 | 277.233 | 6.728 | 276.233 | 27.185 | 889.4 | 11.771 | 13.9321
2020-04-29 12:00:00 | 3.991 | 279.613 | 4.39 | 280.331 | 4.61 | 277.8 | 4.806 | 275.2 | 28.306 | 889.6 | 11.44 | 9.55
2020-04-29 12:15:00 | 5.804 | 234.08 | 6.222 | 234.89 | 6.646 | 237.15 | 6.734 | 231.85 | 28.227 | 889.633 | 11.819 | 11.5801
2020-04-29 12:30:00 | 1.793 | 201.675 | 1.137 | 272.417 | 1.654 | 272.4 | 2.548 | 268.633 | 27.427 | 889.333 | 12.24 | 7.6699
2020-04-29 12:45:00 | 7.599 | 283.813 | 8.071 | 279.593 | 8.152 | 285.7 | 8.265 | 283 | 28.473 | 889.733 | 11.637 | 12.0477
2020-04-29 13:00:00 | 4.62 | 266.487 | 5.628 | 265.774 | 6.029 | 271.283 | 6.395 | 267.767 | 28.66 | 889.467 | 11.491 | 8.2724
2020-04-29 13:15:00 | 6.126 | 299.88 | 6.867 | 289.904 | 6.895 | 294.533 | 7.06 | 292.267 | 28.214 | 889.167 | 11.032 | 10.3139
2020-04-29 13:30:00 | 2.603 | 291.707 | 2.418 | 279.915 | 2.719 | 284.583 | 3.328 | 286.867 | 29.914 | 889.333 | 10.572 | 7.6507
2020-04-29 13:45:00 | 4.586 | 267.793 | 4.662 | 262.845 | 4.611 | 271.767 | 5.065 | 273.767 | 29.514 | 889.267 | 9.999 | 9.015
2020-04-29 14:00:00 | 2.487 | 235.511 | 2.616 | 262.764 | 2.409 | 274.433 | 3.014 | 297.467 | 29.731 | 889.133 | 9.718 | 8.3797
2020-04-29 14:15:00 | 4.174 | 320.88 | 4.223 | 304.126 | 4.408 | 310.833 | 4.75 | 311 | 29.331 | 889.2 | 9.692 | 10.1405
2020-04-29 14:30:00 | 4.016 | 311.533 | 4.042 | 299.237 | 4.091 | 298.533 | 4.363 | 297.933 | 28.881 | 889.067 | 9.841 | 13.7921
2020-04-29 14:45:00 | 6.033 | 273.353 | 6.619 | 263.977 | 7.027 | 266.633 | 7.314 | 261.917 | 30.231 | 889.133 | 9.091 | 15.7696
2020-04-29 15:00:00 | 3.079 | 289.447 | 2.717 | 261.315 | 3.098 | 277.65 | 3.799 | 281.717 | 30.014 | 888.867 | 8.793 | 6.6786
2020-04-29 15:15:00 | 6.197 | 313.747 | 6.476 | 307.341 | 6.762 | 309.8 | 7.172 | 306.333 | 29.664 | 888.8 | 8.875 | 8.4621
2020-04-29 15:30:00 | 5.4 | 303.133 | 5.345 | 298.617 | 5.665 | 307.5 | 5.994 | 305.867 | 29.198 | 888.867 | 8.84 | 17.8928
2020-04-29 15:45:00 | 6.602 | 295.907 | 7.168 | 285.685 | 7.433 | 292.967 | 7.473 | 289.6 | 29.931 | 888.933 | 8.425 | 21.732
2020-04-29 16:00:00 | 6.504 | 319.547 | 6.995 | 315.817 | 7.121 | 321.867 | 7.269 | 322 | 29.664 | 888.867 | 7.886 | 21.8748
2020-04-29 16:15:00 | 6.266 | 273.192 | 6.917 | 320.765 | 7.459 | 322.267 | 8.064 | 314.867 | 30.235 | 888.6 | 7.877 | 26.4665
2020-04-29 16:30:00 | 7.39 | 306.067 | 8.038 | 300.254 | 8.288 | 306.933 | 8.75 | 302.633 | 30.102 | 889.267 | 7.918 | 30.0541
2020-04-29 16:45:00 | 5.608 | 300.427 | 5.734 | 297.484 | 5.608 | 300.033 | 5.819 | 300.2 | 29.931 | 889.133 | 8.015 | 24.6815
2020-04-29 17:00:00 | 6.404 | 322.52 | 6.804 | 314.682 | 6.884 | 318.367 | 7.169 | 316.7 | 30.052 | 889 | 7.967 | 21.6993
2020-04-29 17:15:00 | 8.292 | 307.667 | 8.494 | 300.869 | 8.702 | 304.767 | 9.099 | 300.533 | 29.885 | 889.133 | 8.141 | 27.6787
2020-04-29 17:30:00 | 5.936 | 266.79 | 6.525 | 250.898 | 6.876 | 240.733 | 7.067 | 260.933 | 30.731 | 888.733 | 7.939 | 17.077
2020-04-29 17:45:00 | 6.27 | 312.573 | 6.726 | 308.167 | 6.836 | 314.133 | 7.075 | 311.3 | 30.098 | 888.933 | 8.218 | 19.9541
2020-04-29 18:00:00 | 2.139 | 311.813 | 2.752 | 304.2 | 2.863 | 308.933 | 3.759 | 305.633 | 30.16 | 888.933 | 7.839 | 15.5216
2020-04-29 18:15:00 | 5.187 | 306.093 | 5.368 | 300.66 | 5.63 | 307.567 | 5.979 | 306.033 | 30.26 | 888.933 | 8.247 | 22.5804
2020-04-29 18:30:00 | 7.298 | 333.973 | 7.401 | 327.809 | 7.679 | 331.567 | 7.852 | 331.8 | 30.244 | 888.8 | 8.034 | 23.5844
2020-04-29 18:45:00 | 4.807 | 317.4 | 4.775 | 311.865 | 5.104 | 314.433 | 5.584 | 311.1 | 30.177 | 889.067 | 8.113 | 18.1187
2020-04-29 19:00:00 | 7.277 | 306.227 | 7.754 | 303.601 | 8.009 | 309.733 | 8.369 | 308.9 | 30.318 | 889.067 | 7.979 | 18.4385
2020-04-29 19:15:00 | 4.271 | 329.573 | 4.327 | 321.964 | 4.569 | 325.967 | 5.216 | 326.4 | 30.135 | 888.933 | 7.768 | 13.1263
2020-04-29 19:30:00 | 3.857 | 313.16 | 3.83 | 305.615 | 4.133 | 309.5 | 4.54 | 307.567 | 30.048 | 889 | 8.009 | 11.6185
2020-04-29 19:45:00 | 4.854 | 292.747 | 5.402 | 286.951 | 5.575 | 289.3 | 5.767 | 288 | 29.531 | 889.333 | 8.821 | 14.6249
2020-04-29 20:00:00 | 5.064 | 279.36 | 5.344 | 278.118 | 5.515 | 281.967 | 5.888 | 279.3 | 29.198 | 888.6 | 9.464 | 16.7232
2020-04-29 20:15:00 | 4.168 | 285.187 | 4.578 | 282.733 | 4.653 | 286.933 | 4.909 | 283.833 | 29.414 | 889.133 | 9.518 | 14.5879
2020-04-29 20:30:00 | 4.69 | 271.16 | 5.503 | 268.422 | 5.744 | 272.733 | 5.979 | 268.333 | 28.889 | 889.367 | 10.201 | 14.0515
2020-04-29 20:45:00 | 4.39 | 268.96 | 5.3 | 269.898 | 5.595 | 276.567 | 5.879 | 272.133 | 28.298 | 889.9 | 11.313 | 12.0697
2020-04-29 21:00:00 | 4.442 | 266.187 | 5.234 | 266.206 | 5.414 | 273.767 | 5.707 | 268.667 | 27.539 | 889.3 | 12.552 | 9.862
2020-04-29 21:15:00 | 4.069 | 260.893 | 4.39 | 264.43 | 4.51 | 271 | 4.951 | 266.267 | 26.706 | 889.533 | 13.216 | 7.3551
2020-04-29 21:30:00 | 4.054 | 256.313 | 4.322 | 266.116 | 4.406 | 272.833 | 4.789 | 269 | 25.56 | 889.6 | 14.088 | 6.3432
2020-04-29 21:45:00 | 4.719 | 244.28 | 4.746 | 258.672 | 4.751 | 265.933 | 4.86 | 264.2 | 25.318 | 889.5 | 14.685 | 7.8276
2020-04-29 22:00:00 | 4.574 | 241.713 | 5.177 | 256.988 | 5.162 | 267.533 | 5.412 | 266.633 | 23.998 | 889.667 | 15.403 | 10.0929
2020-04-29 22:15:00 | 4.531 | 237.987 | 5.153 | 257.766 | 5.089 | 267.933 | 5.452 | 268 | 23.348 | 889.567 | 15.372 | 10.3586
2020-04-29 22:30:00 | 4.858 | 235.613 | 5.407 | 256.964 | 5.309 | 270.133 | 5.664 | 269.767 | 22.831 | 889.533 | 14.477 | 11.2959
2020-04-29 22:45:00 | 5.568 | 227.133 | 5.546 | 249.483 | 5.32 | 264.933 | 5.615 | 264.433 | 22.581 | 889.3 | 14.083 | 11.5659
2020-04-29 23:00:00 | 5.821 | 225.027 | 5.79 | 242.319 | 5.371 | 257.1 | 5.48 | 260.133 | 21.906 | 889.133 | 14.093 | 12.6111
2020-04-29 23:15:00 | 6.021 | 224.687 | 6.065 | 240.348 | 5.345 | 254.233 | 5.326 | 255.3 | 21.81 | 889.533 | 14.288 | 12.3617
2020-04-29 23:30:00 | 6.04 | 223.927 | 5.894 | 238.83 | 5.168 | 252.633 | 5.155 | 255.217 | 21.656 | 889.433 | 14.373 | 11.4884
2020-04-29 23:45:00 | 5.875 | 222.253 | 5.984 | 237.787 | 5.296 | 251.9 | 5.13 | 255.567 | 21.077 | 889.767 | 14.528 | 10.9356