## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-30 00:00:00 | 5.777 | 223.993 | 6.068 | 237.219 | 5.385 | 249.667 | 4.914 | 252.567 | 20.748 | 889.633 | 14.856 | 11.0422
2020-04-30 00:15:00 | 6.18 | 226.073 | 6.476 | 238.735 | 6.141 | 249.233 | 5.56 | 248.4 | 20.76 | 889.167 | 15.365 | 14.3719
2020-04-30 00:30:00 | 5.978 | 227.027 | 6.798 | 239.635 | 6.366 | 249.867 | 5.783 | 249.767 | 20.41 | 889.2 | 15.907 | 18.1017
2020-04-30 00:45:00 | 5.892 | 227.373 | 6.817 | 241.995 | 6.497 | 251.867 | 6.452 | 250.317 | 20.71 | 889.533 | 16.693 | 23.308
2020-04-30 01:00:00 | 5.648 | 231.387 | 6.778 | 246.672 | 6.969 | 259.567 | 7.313 | 259.383 | 20.535 | 889.567 | 17.837 | 27.0392
2020-04-30 01:15:00 | 5.354 | 234.713 | 6.614 | 252.041 | 6.827 | 263.8 | 7.255 | 264.533 | 20.281 | 889.2 | 18.52 | 26.2377
2020-04-30 01:30:00 | 5.626 | 233.673 | 6.748 | 250.538 | 6.914 | 262.467 | 7.372 | 263.133 | 20.473 | 889.033 | 19.131 | 24.5451
2020-04-30 01:45:00 | 4.84 | 235.827 | 6.808 | 253.007 | 6.696 | 267.267 | 6.928 | 266.967 | 20.085 | 889.867 | 19.488 | 22.1498
2020-04-30 02:00:00 | 5.467 | 233.98 | 6.331 | 253.973 | 6.142 | 267.6 | 6.485 | 267.567 | 19.614 | 889.4 | 19.924 | 17.2916
2020-04-30 02:15:00 | 5.392 | 221.787 | 5.778 | 242.939 | 5.557 | 261.867 | 5.818 | 266.833 | 19.423 | 889.367 | 20.043 | 12.2168
2020-04-30 02:30:00 | 5.733 | 222.04 | 5.478 | 237.534 | 5.01 | 255.5 | 4.899 | 259.433 | 19.481 | 889.183 | 20.376 | 11.2831
2020-04-30 02:45:00 | 6.268 | 219.907 | 6.061 | 230.952 | 5.192 | 248.7 | 4.993 | 254.3 | 19.127 | 889.567 | 20.568 | 11.6583
2020-04-30 03:00:00 | 6.416 | 220.813 | 6.486 | 230.229 | 5.652 | 245.167 | 5.305 | 250.967 | 18.968 | 890 | 20.741 | 14.8004
2020-04-30 03:15:00 | 6.138 | 223.953 | 6.358 | 235.234 | 5.673 | 249.5 | 5.53 | 251.7 | 18.931 | 889.817 | 21.008 | 13.0709
2020-04-30 03:30:00 | 5.972 | 225.9 | 5.68 | 246.236 | 5.351 | 259.367 | 5.502 | 258.8 | 18.573 | 890.017 | 21.184 | 10.4972
2020-04-30 03:45:00 | 6.113 | 219.347 | 5.475 | 241.03 | 5.114 | 261.4 | 5.251 | 262.433 | 17.918 | 889.183 | 21.509 | 12.1564
2020-04-30 04:00:00 | 6.737 | 217.547 | 7.753 | 224.874 | 6.993 | 233.5 | 6.079 | 233.567 | 17.548 | 890.033 | 21.621 | 22.9904
2020-04-30 04:15:00 | 6.265 | 219.6 | 7.524 | 229.864 | 7.373 | 237.167 | 6.984 | 233.533 | 17.639 | 890.133 | 21.632 | 21.6069
2020-04-30 04:30:00 | 6.279 | 221.267 | 7.675 | 229.494 | 7.201 | 240.767 | 6.642 | 239.433 | 17.877 | 890.367 | 21.835 | 26.2213
2020-04-30 04:45:00 | 6.463 | 220.593 | 8.116 | 224.646 | 7.947 | 233.4 | 7.43 | 230.933 | 17.594 | 889.5 | 21.989 | 30.5309
2020-04-30 05:00:00 | 6.686 | 221.627 | 7.983 | 229.643 | 7.548 | 240.033 | 7.037 | 239.067 | 17.544 | 889.533 | 22.075 | 31.9727
2020-04-30 05:15:00 | 6.596 | 222.22 | 8.107 | 229.887 | 7.831 | 239.933 | 7.354 | 238.4 | 17.698 | 889.883 | 22.352 | 32.3784
2020-04-30 05:30:00 | 7.033 | 224.673 | 8.129 | 232.507 | 7.749 | 242.467 | 7.352 | 240.333 | 17.518 | 890.033 | 22.645 | 31.0752
2020-04-30 05:45:00 | 6.841 | 221.373 | 7.935 | 230.151 | 7.428 | 239.6 | 6.964 | 238.4 | 17.668 | 889.717 | 22.779 | 29.3897
2020-04-30 06:00:00 | 6.84 | 220.54 | 7.946 | 229.397 | 7.396 | 238.833 | 6.841 | 237.4 | 17.185 | 889.483 | 22.88 | 29.8474
2020-04-30 06:15:00 | 6.411 | 222.387 | 7.645 | 230.831 | 7.107 | 240.9 | 6.665 | 240.133 | 17.252 | 889.517 | 23.168 | 24.6858
2020-04-30 06:30:00 | 6.045 | 220.827 | 7.46 | 229.76 | 6.936 | 240.567 | 6.32 | 240.867 | 17.264 | 889.4 | 23.413 | 22.2436
2020-04-30 06:45:00 | 6.608 | 225.5 | 8.034 | 230.944 | 7.573 | 240.967 | 7.014 | 239.933 | 17.114 | 889.9 | 23.52 | 27.5586
2020-04-30 07:00:00 | 6.648 | 221.513 | 8.017 | 225.717 | 7.702 | 234.4 | 7.123 | 232.5 | 17.164 | 889.633 | 23.349 | 28.4056
2020-04-30 07:15:00 | 6.129 | 219.207 | 7.676 | 224.486 | 7.513 | 232.333 | 7.235 | 229.5 | 17.381 | 889.9 | 22.763 | 25.9314
2020-04-30 07:30:00 | 6.399 | 216.7 | 8.449 | 219.377 | 7.82 | 226.4 | 7.44 | 224.3 | 17.894 | 889.517 | 21.899 | 26.7557
2020-04-30 07:45:00 | 6.021 | 220.68 | 7.816 | 224.36 | 7.524 | 232.7 | 7.372 | 229.967 | 19.123 | 889.817 | 20.632 | 26.7123
2020-04-30 08:00:00 | 5.834 | 221.66 | 7.409 | 224.496 | 7.643 | 233.4 | 7.422 | 231.4 | 20.239 | 889.167 | 19.568 | 28.4568
2020-04-30 08:15:00 | 5.249 | 221.853 | 6.509 | 224.495 | 7.319 | 232.033 | 7.266 | 229.133 | 21.402 | 889.233 | 18.283 | 27.1458
2020-04-30 08:30:00 | 5.782 | 220.9 | 6.178 | 222.489 | 7.114 | 228.067 | 7.295 | 226.333 | 22.748 | 889.5 | 17.032 | 23.9013
2020-04-30 08:45:00 | 5.843 | 226.047 | 5.912 | 226.205 | 6.296 | 230.5 | 6.517 | 226.467 | 23.864 | 889.8 | 15.963 | 21.6972
2020-04-30 09:00:00 | 5.795 | 232.9 | 5.994 | 232.351 | 6.127 | 234.5 | 6.076 | 231.133 | 24.835 | 889.267 | 15.301 | 20.3343
2020-04-30 09:15:00 | 6.036 | 243.987 | 6.109 | 244.198 | 6.204 | 250.083 | 6.15 | 243.8 | 25.144 | 889.433 | 14.596 | 17.5887
2020-04-30 09:30:00 | 5.539 | 262.7 | 5.861 | 259.39 | 6.115 | 264.517 | 6.15 | 258.767 | 26.518 | 889.367 | 13.943 | 14.0529
2020-04-30 09:45:00 | 5.968 | 266.907 | 6.225 | 264.386 | 6.201 | 270.033 | 6.338 | 266.733 | 25.927 | 889.867 | 13.983 | 13.9257
2020-04-30 10:00:00 | 6.212 | 279.787 | 6.639 | 275.341 | 6.668 | 277.933 | 6.906 | 274.3 | 26.248 | 889.467 | 14.053 | 17.5759
2020-04-30 10:15:00 | 6.905 | 286.907 | 6.95 | 282.295 | 6.931 | 286.133 | 7.121 | 282.467 | 25.789 | 889.3 | 14.805 | 21.1941
2020-04-30 10:30:00 | 6.962 | 277.02 | 7.22 | 275.862 | 7.359 | 278.7 | 7.219 | 277.067 | 25.794 | 889.467 | 15.856 | 22.0666
2020-04-30 10:45:00 | 6.375 | 272.467 | 6.763 | 270.372 | 6.817 | 275.2 | 6.855 | 271.733 | 26.223 | 889.4 | 16.18 | 22.9101
2020-04-30 11:00:00 | 7.008 | 277.447 | 7.418 | 273.978 | 7.613 | 280.333 | 7.752 | 275.5 | 26.373 | 889.633 | 16.748 | 24.2133
2020-04-30 11:15:00 | 6.75 | 301.093 | 7.13 | 296.881 | 7.522 | 298 | 7.876 | 295.833 | 26.594 | 889.7 | 16.549 | 21.555
2020-04-30 11:30:00 | 6.254 | 271.54 | 6.378 | 268.781 | 6.466 | 274.167 | 6.458 | 272.233 | 26.877 | 889.267 | 16.46 | 20.5361
2020-04-30 11:45:00 | 5.541 | 278.973 | 5.644 | 277.835 | 5.791 | 283.833 | 6.092 | 280.133 | 27.048 | 889.367 | 16.135 | 13.0162
2020-04-30 12:00:00 | 5.905 | 304.673 | 6.117 | 300.783 | 6.207 | 304 | 6.694 | 298.533 | 27.844 | 889.633 | 15.365 | 11.465
2020-04-30 12:15:00 | 3.93 | 273.113 | 4.335 | 271.996 | 4.67 | 274.467 | 5.184 | 270.733 | 28.06 | 889.5 | 15.371 | 10.8127
2020-04-30 12:30:00 | 4.164 | 317.48 | 4.452 | 309.474 | 4.725 | 312.833 | 5.284 | 309.5 | 28.01 | 889.4 | 14.624 | 12.7021
2020-04-30 12:45:00 | 4.804 | 285.787 | 4.968 | 282.463 | 5.144 | 287 | 5.41 | 287.767 | 28.323 | 889.567 | 14.452 | 11.8167
2020-04-30 13:00:00 | 4.402 | 302.813 | 4.86 | 295.745 | 4.996 | 297.633 | 5.182 | 296.967 | 28.264 | 889.633 | 13.841 | 16.0531
2020-04-30 13:15:00 | 5.564 | 316.24 | 5.818 | 309.233 | 6.25 | 301.4 | 6.47 | 313.633 | 28.456 | 889.4 | 13.313 | 14.1666
2020-04-30 13:30:00 | 5.134 | 298.647 | 5.731 | 303.107 | 6.107 | 318.667 | 6.575 | 328.367 | 29.264 | 889.933 | 12.041 | 14.6249
2020-04-30 13:45:00 | 4.484 | 274.087 | 4.44 | 275.81 | 4.486 | 282.867 | 5.087 | 276.35 | 29.077 | 889.467 | 12.96 | 16.714
2020-04-30 14:00:00 | 6.896 | 309.587 | 6.98 | 309.607 | 7.236 | 314.333 | 7.454 | 313.9 | 28.814 | 889.3 | 12.099 | 19.299
2020-04-30 14:15:00 | 6.662 | 318.507 | 7.049 | 321.176 | 7.055 | 313.767 | 7.201 | 325.533 | 28.964 | 889.533 | 12.3 | 16.2976
2020-04-30 14:30:00 | 5.665 | 271.6 | 6.437 | 292.018 | 6.65 | 298.033 | 7.108 | 297.467 | 28.881 | 889.567 | 12.24 | 20.2575
2020-04-30 14:45:00 | 4.376 | 263.587 | 4.507 | 267.444 | 4.822 | 277.1 | 5.166 | 276.267 | 29.164 | 889.2 | 12.253 | 20.244
2020-04-30 15:00:00 | 6.854 | 287.813 | 7.502 | 283.408 | 7.92 | 292.267 | 8.496 | 291.233 | 29.848 | 889.333 | 12.461 | 24.5735
2020-04-30 15:15:00 | 7.586 | 306.12 | 7.913 | 308.122 | 7.755 | 312.4 | 7.767 | 306.667 | 29.331 | 889.233 | 12.695 | 28.9257
2020-04-30 15:30:00 | 6.918 | 333.64 | 6.936 | 328.488 | 7.367 | 330.367 | 7.406 | 329.133 | 29.631 | 889.433 | 13.272 | 31.9464
2020-04-30 15:45:00 | 8.027 | 289.813 | 8.6 | 287.337 | 8.813 | 292.133 | 8.993 | 288.9 | 29.381 | 889.367 | 13.156 | 39.9253
2020-04-30 16:00:00 | 7.24 | 322.907 | 7.392 | 314.315 | 8.135 | 317.733 | 8.521 | 314.733 | 29.264 | 889.533 | 13.061 | 38.8481
2020-04-30 16:15:00 | 6.182 | 300.04 | 6.47 | 294.832 | 6.532 | 304.9 | 6.931 | 304.1 | 29.348 | 889.6 | 13.135 | 35.5489
2020-04-30 16:30:00 | 5.811 | 312.067 | 5.903 | 307.043 | 6.348 | 313.767 | 6.612 | 308.667 | 29.414 | 889.4 | 13.064 | 30.516
2020-04-30 16:45:00 | 6.286 | 318.027 | 6.364 | 312.492 | 6.506 | 318.9 | 7.013 | 314.033 | 29.348 | 889.533 | 13.056 | 25.6834
2020-04-30 17:00:00 | 5.403 | 294.56 | 5.463 | 288.59 | 5.47 | 294.2 | 5.846 | 289.333 | 29.748 | 889.7 | 12.527 | 24.5764
2020-04-30 17:15:00 | 6.517 | 298.907 | 6.789 | 295.018 | 6.838 | 301 | 7.212 | 299.1 | 29.431 | 889.333 | 12.161 | 28.6977
2020-04-30 17:30:00 | 6.615 | 312.467 | 7.433 | 305.131 | 7.683 | 308.6 | 8.078 | 307.667 | 29.889 | 889.7 | 11.936 | 30.6787
2020-04-30 17:45:00 | 7.82 | 316.253 | 8.024 | 311.45 | 8.301 | 314.667 | 8.705 | 314.133 | 29.902 | 889.233 | 11.672 | 33.9878
2020-04-30 18:00:00 | 6.868 | 315.933 | 6.926 | 309.475 | 7.033 | 313.133 | 7.028 | 311.2 | 29.981 | 889.267 | 12.035 | 39.9928
2020-04-30 18:15:00 | 7.806 | 320.92 | 7.991 | 316.808 | 8.305 | 320.867 | 8.757 | 318.633 | 29.614 | 889.333 | 12.319 | 39.4478
2020-04-30 18:30:00 | 7.184 | 298.547 | 7.52 | 299.827 | 7.765 | 307.167 | 8.086 | 306.033 | 29.448 | 889.1 | 12.329 | 44.3841
2020-04-30 18:45:00 | 8.175 | 304.507 | 8.376 | 301.838 | 8.451 | 307.4 | 8.735 | 305.1 | 29.331 | 889.3 | 11.556 | 45.7193
2020-04-30 19:00:00 | 8.818 | 310.867 | 9.207 | 305.356 | 9.508 | 310.267 | 9.73 | 308.633 | 29.231 | 889.3 | 11.719 | 50.4701
2020-04-30 19:15:00 | 8.691 | 313.547 | 9.334 | 309.827 | 9.324 | 313.133 | 9.485 | 313.3 | 29.431 | 889.633 | 11.593 | 53.0736
2020-04-30 19:30:00 | 7.75 | 314.96 | 8.376 | 308.189 | 8.793 | 313.567 | 9.303 | 312.433 | 28.735 | 889.833 | 12.488 | 54.1821
2020-04-30 19:45:00 | 8.544 | 310.36 | 9.165 | 306.038 | 9.725 | 312.4 | 9.985 | 310.467 | 28.702 | 889.5 | 13.216 | 48.3846
2020-04-30 20:00:00 | 7.768 | 301.6 | 8.798 | 299.826 | 9.11 | 305.033 | 9.843 | 303.433 | 28.777 | 889.4 | 12.992 | 49.94
2020-04-30 20:15:00 | 8.177 | 315.44 | 8.959 | 311.208 | 9.18 | 317.633 | 9.86 | 316.2 | 28.631 | 889.133 | 13.883 | 51.4564
2020-04-30 20:30:00 | 7.168 | 308.253 | 8.296 | 302.145 | 8.869 | 308.3 | 9.357 | 306.233 | 27.952 | 889.333 | 14.568 | 46.8093
2020-04-30 20:45:00 | 6.546 | 305.347 | 7.83 | 302.244 | 8.238 | 309.4 | 8.825 | 306.433 | 27.552 | 889.567 | 14.864 | 48.0173
2020-04-30 21:00:00 | 7.459 | 292.64 | 8.412 | 292.666 | 8.648 | 298.867 | 9.386 | 296.4 | 27.66 | 889.233 | 15.536 | 46.7375
2020-04-30 21:15:00 | 5.466 | 299.56 | 7.071 | 296.812 | 7.945 | 302.067 | 8.544 | 300.2 | 26.506 | 889.3 | 16.284 | 45.0137
2020-04-30 21:30:00 | 6.258 | 293.413 | 7.843 | 292.482 | 8.508 | 298.167 | 9.207 | 295.467 | 26.406 | 889.133 | 16.579 | 47.5334
2020-04-30 21:45:00 | 6.476 | 293.813 | 8.065 | 293.253 | 8.67 | 297.967 | 9.439 | 295.333 | 26.052 | 889.367 | 16.891 | 41.9881
2020-04-30 22:00:00 | 6.398 | 295.093 | 8.053 | 291.713 | 8.781 | 297.367 | 9.521 | 295.133 | 25.589 | 889.267 | 17.892 | 39.7306
2020-04-30 22:15:00 | 5.47 | 283.093 | 7.029 | 280.538 | 7.779 | 285.767 | 8.675 | 284 | 25.198 | 889.4 | 18.756 | 31.6096
2020-04-30 22:30:00 | 5.442 | 276.2 | 7.179 | 277.539 | 7.801 | 282.667 | 8.429 | 280.833 | 25.123 | 889.5 | 19.643 | 31.4916
2020-04-30 22:45:00 | 5.509 | 271.567 | 6.924 | 270.767 | 7.634 | 276.233 | 8.04 | 273.767 | 24.539 | 889.5 | 20.303 | 31.8497
2020-04-30 23:00:00 | 5.741 | 262.493 | 7.136 | 262.947 | 7.372 | 270 | 7.6 | 266.333 | 23.985 | 889.717 | 20.651 | 36.511
2020-04-30 23:15:00 | 6.126 | 261.847 | 7.338 | 262.154 | 8.027 | 268.3 | 8.336 | 264.767 | 23.498 | 889.783 | 21.616 | 46.3709
2020-04-30 23:30:00 | 6.578 | 269.507 | 7.893 | 266.635 | 8.38 | 273.133 | 8.857 | 270.267 | 23.414 | 889.5 | 22.685 | 65.2009
2020-04-30 23:45:00 | 8.578 | 277.187 | 10.37 | 274.077 | 10.972 | 278.2 | 11.596 | 274.133 | 23.498 | 889.8 | 25.323 | 71.3345