## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-01 00:00:00 | 8.023 | 267.233 | 9.452 | 267.824 | 9.903 | 271.8 | 10.451 | 267.667 | 22.714 | 889.9 | 27.184 | 74.3416
2020-05-01 00:15:00 | 9.853 | 265.787 | 11.363 | 267.909 | 12.182 | 273.667 | 12.434 | 268.7 | 22.414 | 889.883 | 30.123 | 78.4551
2020-05-01 00:30:00 | 10.172 | 270.4 | 11.521 | 267.78 | 12.298 | 273.2 | 12.823 | 269.467 | 22.431 | 889.75 | 31.048 | 79.1955
2020-05-01 00:45:00 | 10.098 | 270.847 | 11.746 | 270.363 | 12.429 | 276.1 | 13.053 | 271.733 | 22.077 | 889.783 | 31.261 | 79.2445
2020-05-01 01:00:00 | 9.47 | 268.213 | 10.944 | 270.242 | 11.539 | 275.667 | 11.9 | 269.833 | 22.002 | 890 | 31.445 | 79.1543
2020-05-01 01:15:00 | 8.406 | 265.967 | 9.995 | 267.074 | 10.929 | 273 | 11.276 | 268.633 | 21.673 | 889.317 | 31.549 | 74.8838
2020-05-01 01:30:00 | 9.129 | 260.847 | 11.114 | 263.701 | 11.879 | 267.933 | 12.609 | 265.667 | 21.544 | 889.4 | 31.939 | 78.5475
2020-05-01 01:45:00 | 10.337 | 265.76 | 12.301 | 264.142 | 13.207 | 270.233 | 13.629 | 265.633 | 21.481 | 889.883 | 31.696 | 79.5977
2020-05-01 02:00:00 | 11.233 | 262.94 | 13.133 | 264 | 14.315 | 269.8 | 14.6 | 265.5 | 21.648 | 889.733 | 31.472 | 79.5977
2020-05-01 02:15:00 | 11.416 | 272.867 | 13.394 | 273.154 | 14.108 | 278.633 | 14.895 | 274.567 | 20.989 | 889.933 | 31.795 | 79.5977
2020-05-01 02:30:00 | 11.745 | 277.293 | 13.698 | 276.585 | 14.252 | 282.8 | 15.084 | 279.8 | 21.123 | 889.767 | 31.456 | 79.5977
2020-05-01 02:45:00 | 10.425 | 284.347 | 12.392 | 283.092 | 13.339 | 287.767 | 14.317 | 286 | 20.931 | 889.617 | 31.571 | 79.5977
2020-05-01 03:00:00 | 11.196 | 281.107 | 13.26 | 278.923 | 14.473 | 283.3 | 15.439 | 281.767 | 20.652 | 889.817 | 32.624 | 79.5778
2020-05-01 03:15:00 | 11.938 | 277.02 | 13.958 | 276.895 | 14.914 | 281.367 | 15.846 | 279.267 | 20.702 | 889.817 | 32.533 | 79.5579
2020-05-01 03:30:00 | 11.644 | 270.68 | 13.7 | 272.509 | 14.355 | 278.8 | 15.011 | 274.867 | 20.394 | 889.983 | 32.725 | 79.5977
2020-05-01 03:45:00 | 11.15 | 264.047 | 12.987 | 267.914 | 14.137 | 273.067 | 14.782 | 269.7 | 20.539 | 889.833 | 32.629 | 79.5977
2020-05-01 04:00:00 | 10.33 | 259.987 | 12.073 | 260.181 | 12.495 | 267.167 | 12.884 | 262.5 | 19.685 | 889.933 | 32.699 | 79.5977
2020-05-01 04:15:00 | 10.819 | 256.687 | 12.403 | 256.883 | 13.145 | 263.233 | 13.743 | 259.35 | 19.152 | 889.633 | 33.427 | 79.5977
2020-05-01 04:30:00 | 12.486 | 255.94 | 14.228 | 256.833 | 15.006 | 261.65 | 15.389 | 257.367 | 18.806 | 889.583 | 33.637 | 79.5977
2020-05-01 04:45:00 | 11.828 | 254.167 | 13.665 | 255.899 | 14.447 | 261.817 | 14.796 | 258.55 | 18.606 | 889.833 | 33.923 | 79.5977
2020-05-01 05:00:00 | 12.234 | 259.98 | 13.795 | 264.384 | 14.957 | 271.367 | 15.808 | 265.7 | 18.789 | 889.317 | 34.659 | 79.5977
2020-05-01 05:15:00 | 14.451 | 263.607 | 16.795 | 267.745 | 17.594 | 271.133 | 18.054 | 268.167 | 18.589 | 889.867 | 36.568 | 79.5977
2020-05-01 05:30:00 | 14.782 | 259.453 | 16.587 | 262.936 | 16.977 | 265.133 | 17.297 | 258.95 | 17.548 | 889.867 | 38.011 | 79.3845
2020-05-01 05:45:00 | 14.46 | 255.88 | 16.582 | 259.427 | 17.387 | 263.617 | 17.596 | 258.983 | 17.277 | 889.733 | 43.621 | 79.4115
2020-05-01 06:00:00 | 15.714 | 257.053 | 17.409 | 256.507 | 18.585 | 261.567 | 19.186 | 256.75 | 16.531 | 889.633 | 47.253 | 79.5707
2020-05-01 06:15:00 | 15.148 | 252.333 | 17.022 | 255.637 | 17.92 | 259.767 | 17.816 | 254.367 | 15.942 | 889.667 | 49.136 | 79.6005
2020-05-01 06:30:00 | 14.541 | 253.18 | 16.218 | 254.232 | 16.942 | 259.683 | 17.119 | 253.95 | 15.374 | 890.058 | 50.939 | 79.592
2020-05-01 06:45:00 | 13.775 | 248.493 | 15.429 | 249.894 | 16.191 | 255.917 | 16.205 | 251.35 | 14.974 | 889.833 | 52.427 | 79.5707
2020-05-01 07:00:00 | 13.487 | 247.8 | 15.132 | 251.357 | 15.712 | 255.133 | 15.942 | 249.133 | 14.591 | 889.533 | 54.059 | 79.5494
2020-05-01 07:15:00 | 14.281 | 245.027 | 15.908 | 250.312 | 16.712 | 253.633 | 16.551 | 249.133 | 14.708 | 890.075 | 55.125 | 79.6133
2020-05-01 07:30:00 | 14.335 | 248.86 | 15.678 | 250.855 | 16.432 | 255.6 | 16.289 | 249.417 | 14.599 | 889.967 | 55.131 | 79.5152
2020-05-01 07:45:00 | 14.059 | 245.647 | 16.006 | 246.987 | 16.595 | 252.817 | 16.421 | 248.267 | 14.658 | 889.7 | 54.107 | 79.5479
2020-05-01 08:00:00 | 15.603 | 252.187 | 16.988 | 257.491 | 17.925 | 260.45 | 17.898 | 255.45 | 15.414 | 889.975 | 49.525 | 79.5636
2020-05-01 08:15:00 | 14.574 | 253.633 | 16.119 | 259.737 | 16.54 | 264.833 | 16.596 | 260.867 | 16.264 | 889.825 | 45.739 | 79.5877
2020-05-01 08:30:00 | 13.974 | 253.447 | 15.573 | 258.574 | 16.129 | 263.333 | 16.267 | 259.483 | 16.631 | 889.608 | 42.272 | 79.5792
2020-05-01 08:45:00 | 14.4 | 258.66 | 16.233 | 260.183 | 16.634 | 264.933 | 16.701 | 260 | 16.798 | 889.95 | 41.531 | 79.5977
2020-05-01 09:00:00 | 14.093 | 251.48 | 15.366 | 256.594 | 15.697 | 261.533 | 15.629 | 256.417 | 16.881 | 889.9 | 41.101 | 79.5977
2020-05-01 09:15:00 | 13.121 | 254.66 | 14.083 | 257.52 | 14.105 | 262.717 | 13.85 | 259.3 | 17.423 | 889.7 | 40.067 | 79.592
2020-05-01 09:30:00 | 14.168 | 260.273 | 15.226 | 265.566 | 15.386 | 271 | 15.666 | 268 | 18.148 | 890 | 38.696 | 79.5266
2020-05-01 09:45:00 | 15.472 | 275.507 | 16.547 | 277.157 | 16.636 | 280.7 | 16.98 | 279.567 | 17.198 | 889.783 | 42.224 | 74.2713
2020-05-01 10:00:00 | 16.179 | 267.147 | 17.328 | 276.371 | 17.718 | 279.133 | 18.213 | 275.967 | 16.364 | 889.875 | 46.219 | 59.6236
2020-05-01 10:15:00 | 15.911 | 271.633 | 17.474 | 276.279 | 17.804 | 280.3 | 18.146 | 277.6 | 16.1 | 889.583 | 45.685 | 59.6236
2020-05-01 10:30:00 | 16.063 | 258.507 | 16.968 | 263.332 | 17.566 | 268.7 | 17.422 | 264.433 | 16.381 | 890.4 | 44.923 | 59.6236
2020-05-01 10:45:00 | 15.121 | 273.573 | 16.411 | 276.582 | 16.589 | 279.5 | 17.299 | 277.667 | 16.498 | 889.958 | 44.592 | 59.6236
2020-05-01 11:00:00 | 17.175 | 267.9 | 18.519 | 274.975 | 18.994 | 278.367 | 19.264 | 274.9 | 16.731 | 889.508 | 43.787 | 59.6236
2020-05-01 11:15:00 | 16.116 | 259.427 | 16.939 | 267.091 | 17.215 | 273.2 | 17.368 | 270.933 | 16.985 | 889.942 | 45.029 | 59.4083
2020-05-01 11:30:00 | 13.373 | 273.613 | 14.935 | 275.72 | 15.247 | 279.733 | 15.52 | 277.067 | 17.106 | 889.783 | 45.659 | 59.5711
2020-05-01 11:45:00 | 13.194 | 272.573 | 14.47 | 277.951 | 14.492 | 283.867 | 15.1 | 280.017 | 17.314 | 890.083 | 44.416 | 58.6161
2020-05-01 12:00:00 | 13.38 | 273.873 | 14.419 | 278.028 | 14.743 | 281.867 | 15.354 | 278.9 | 17.248 | 889.825 | 44.827 | 59.2002
2020-05-01 12:15:00 | 14.668 | 263.067 | 15.628 | 269.7 | 15.847 | 276.333 | 16.134 | 273.2 | 17.068 | 889.55 | 46.005 | 59.392
2020-05-01 12:30:00 | 14.466 | 272.407 | 15.628 | 279.542 | 16.229 | 280.8 | 16.47 | 279.233 | 16.698 | 890.108 | 47.056 | 59.581
2020-05-01 12:45:00 | 15.134 | 261.093 | 16.598 | 266.981 | 17.05 | 272.767 | 17.078 | 268.7 | 17.118 | 889.858 | 47.797 | 59.581
2020-05-01 13:00:00 | 14.942 | 263.113 | 16.517 | 270.342 | 16.253 | 274.533 | 16.414 | 272.3 | 17.668 | 889.317 | 47.163 | 59.581
2020-05-01 13:15:00 | 15.409 | 263.933 | 16.718 | 267.288 | 16.732 | 271.933 | 16.645 | 269.3 | 17.394 | 889.742 | 46.357 | 59.581
2020-05-01 13:30:00 | 15.288 | 276.273 | 16.66 | 277.609 | 16.826 | 282.767 | 17.062 | 281 | 17.148 | 889.542 | 46.859 | 59.3906
2020-05-01 13:45:00 | 15.049 | 260.873 | 16.093 | 267.866 | 16.36 | 273.533 | 16.443 | 268.6 | 16.964 | 890.375 | 47.861 | 63.5545
2020-05-01 14:00:00 | 13.908 | 276.227 | 14.624 | 280.413 | 14.565 | 281.8 | 15.159 | 278.883 | 17.523 | 890.125 | 45.397 | 67.0093
2020-05-01 14:15:00 | 14.533 | 260.193 | 15.441 | 267.975 | 15.32 | 272.8 | 15.344 | 268.433 | 17.502 | 889.792 | 44.901 | 66.8849
2020-05-01 14:30:00 | 13.585 | 262.94 | 14.4 | 270.173 | 14.886 | 273.433 | 14.94 | 271.9 | 17.639 | 889.542 | 44.715 | 66.794
2020-05-01 14:45:00 | 12.952 | 276.513 | 14.16 | 283.862 | 14.562 | 285.4 | 14.672 | 282.1 | 17.589 | 890.067 | 44.16 | 66.8927
2020-05-01 15:00:00 | 13.58 | 273.873 | 14.668 | 277.478 | 14.881 | 279.567 | 15.042 | 276.233 | 17.689 | 889.992 | 43.867 | 67.0505
2020-05-01 15:15:00 | 13.851 | 261.933 | 15.144 | 270.734 | 15.289 | 276.5 | 15.792 | 273.8 | 17.714 | 890.083 | 42.069 | 68.3643
2020-05-01 15:30:00 | 13.28 | 268.06 | 14.767 | 277.019 | 14.833 | 280.567 | 15.359 | 277.633 | 17.752 | 889.592 | 42.096 | 68.7637
2020-05-01 15:45:00 | 14.068 | 263.76 | 15.011 | 270.625 | 15.241 | 275.867 | 15.508 | 274.033 | 17.856 | 889.858 | 40.384 | 69.1758
2020-05-01 16:00:00 | 13.132 | 269.507 | 14.14 | 274.739 | 14.675 | 278.867 | 14.929 | 275.433 | 18.673 | 889.833 | 38.077 | 70.4967
2020-05-01 16:15:00 | 13.471 | 259.007 | 14.752 | 269.622 | 14.774 | 271.5 | 14.925 | 270.633 | 18.402 | 890.017 | 37.837 | 67.0356
2020-05-01 16:30:00 | 13.239 | 265.867 | 13.83 | 275.525 | 13.841 | 279.4 | 14.102 | 276.767 | 18.914 | 890.55 | 35.781 | 67.5365
2020-05-01 16:45:00 | 13.855 | 280.927 | 14.822 | 284.19 | 14.973 | 288.2 | 15.238 | 284.3 | 18.939 | 889.533 | 34.117 | 66.1019
2020-05-01 17:00:00 | 12.668 | 280.733 | 13.742 | 285.867 | 14.219 | 289.167 | 14.887 | 285.933 | 19.039 | 889.65 | 33.899 | 71.0361
2020-05-01 17:15:00 | 12.268 | 277.913 | 12.959 | 285.448 | 13.072 | 288.133 | 13.74 | 285.267 | 18.102 | 889.95 | 36.184 | 77.3231
2020-05-01 17:30:00 | 11.301 | 260.86 | 12.143 | 276.374 | 12.553 | 280.333 | 12.993 | 279.367 | 18.414 | 889.867 | 35.947 | 78.9738
2020-05-01 17:45:00 | 12.803 | 292.873 | 13.287 | 294.167 | 14.129 | 299.867 | 14.986 | 298.567 | 18.448 | 889.8 | 36.077 | 79.7611
2020-05-01 18:00:00 | 12.684 | 269.42 | 13.923 | 283.418 | 14.262 | 288.467 | 14.843 | 285.933 | 17.989 | 889.667 | 37.456 | 79.6709
2020-05-01 18:15:00 | 12.406 | 269.053 | 13.16 | 274.439 | 13.679 | 280.7 | 14.232 | 279.2 | 18.394 | 889.567 | 36.203 | 79.7554
2020-05-01 18:30:00 | 13.059 | 284.033 | 14.484 | 287.238 | 14.739 | 290.9 | 15.354 | 290.767 | 18.135 | 890.217 | 36.763 | 79.7576
2020-05-01 18:45:00 | 12.341 | 278.013 | 13.269 | 288.922 | 13.592 | 290.267 | 14.226 | 289.533 | 17.848 | 889.85 | 36.128 | 79.2431
2020-05-01 19:00:00 | 12.16 | 271.313 | 13.588 | 279.261 | 14.038 | 281.133 | 14.197 | 277.233 | 17.71 | 889.95 | 37.773 | 79.4342
2020-05-01 19:15:00 | 12.639 | 263.253 | 13.628 | 274.487 | 13.755 | 279.667 | 13.96 | 276.367 | 17.923 | 889.633 | 36.792 | 79.2857
2020-05-01 19:30:00 | 11.848 | 277.267 | 13.28 | 280.26 | 13.967 | 283.833 | 14.4 | 280.1 | 18.085 | 889.667 | 34.808 | 79.7256
2020-05-01 19:45:00 | 13.179 | 264.253 | 14.766 | 278.343 | 15.023 | 281.333 | 15.728 | 280.033 | 17.939 | 890.233 | 35.179 | 79.7256
2020-05-01 20:00:00 | 12.206 | 265.18 | 13.206 | 278.028 | 13.422 | 280.867 | 13.806 | 280.567 | 17.86 | 889.65 | 35.451 | 79.7753
2020-05-01 20:15:00 | 11.6 | 279.633 | 13.612 | 282.878 | 14.078 | 286.567 | 14.69 | 284.967 | 17.298 | 889.8 | 35.245 | 78.8352
2020-05-01 20:30:00 | 11.547 | 280.26 | 12.296 | 284.579 | 13.177 | 287.9 | 13.98 | 287.9 | 17.477 | 889.733 | 35.387 | 79.5366
2020-05-01 20:45:00 | 10.18 | 275.013 | 11.126 | 285.26 | 11.778 | 287.1 | 12.727 | 285.767 | 16.981 | 889.683 | 36.307 | 79.7995
2020-05-01 21:00:00 | 11.551 | 274.76 | 13.165 | 280.098 | 13.911 | 284.133 | 14.678 | 283.467 | 16.614 | 890.15 | 36.584 | 79.646
2020-05-01 21:15:00 | 10.05 | 274.713 | 11.41 | 284.103 | 11.93 | 288.067 | 12.864 | 286.467 | 16.831 | 889.65 | 34.939 | 79.5678
2020-05-01 21:30:00 | 11.209 | 275.74 | 12.755 | 283.031 | 13.224 | 284.733 | 14.114 | 284.9 | 16.714 | 889.65 | 35.757 | 79.8862
2020-05-01 21:45:00 | 10.353 | 274.973 | 11.844 | 282.543 | 12.555 | 286.933 | 13.07 | 285.3 | 16.046 | 889.683 | 36.664 | 79.7441
2020-05-01 22:00:00 | 9.08 | 273.887 | 10.472 | 279.489 | 10.925 | 285.267 | 11.983 | 283.8 | 16.001 | 889.75 | 36.853 | 79.0477
2020-05-01 22:15:00 | 9.14 | 265.34 | 10.465 | 278.599 | 11.022 | 281.267 | 11.32 | 279.7 | 15.621 | 889.75 | 37.269 | 69.5602
2020-05-01 22:30:00 | 8.01 | 262.2 | 9.326 | 273.822 | 9.559 | 279.5 | 10.075 | 277.067 | 15.903 | 889.9 | 38.085 | 61.5308
2020-05-01 22:45:00 | 8.286 | 265.713 | 9.513 | 276.726 | 9.833 | 282.533 | 10.117 | 280.7 | 15.632 | 889.7 | 39.347 | 61.7525
2020-05-01 23:00:00 | 8.44 | 269.053 | 9.26 | 275.487 | 9.763 | 277.2 | 9.953 | 275.9 | 15.21 | 889.883 | 40.731 | 66.001
2020-05-01 23:15:00 | 8.796 | 262.833 | 9.799 | 275.397 | 10.141 | 278.6 | 10.566 | 275.5 | 14.891 | 889.575 | 41.275 | 75.1062
2020-05-01 23:30:00 | 9.516 | 257.707 | 11.064 | 272.611 | 11.842 | 276.733 | 12.339 | 274.4 | 15.058 | 889.95 | 41.093 | 78.7109
2020-05-01 23:45:00 | 10.333 | 254.313 | 12.008 | 272.176 | 12.418 | 275.9 | 12.842 | 272.9 | 14.614 | 889.917 | 40.629 | 79.5842