## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-02 00:00:00 | 9.834 | 262.253 | 11.155 | 270.414 | 11.623 | 276.433 | 12.119 | 272.933 | 14.791 | 890.017 | 40.379 | 77.2706
2020-05-02 00:15:00 | 9.798 | 254.48 | 11.175 | 268.087 | 11.46 | 273.467 | 11.944 | 270.7 | 14.791 | 889.383 | 40.915 | 75.7045
2020-05-02 00:30:00 | 9.048 | 250.933 | 10.27 | 266.3 | 10.604 | 271.667 | 11.215 | 269.033 | 14.724 | 889.625 | 41.419 | 66.4387
2020-05-02 00:45:00 | 8.915 | 251.887 | 10.207 | 268.431 | 10.597 | 274.167 | 11.299 | 270.7 | 14.22 | 889.733 | 41.803 | 61.6132
2020-05-02 01:00:00 | 8.562 | 258.867 | 9.741 | 267.126 | 10.397 | 273.667 | 10.711 | 269.733 | 14.674 | 889.292 | 42.192 | 64.5585
2020-05-02 01:15:00 | 9.996 | 259.293 | 11.027 | 270.345 | 11.293 | 274.767 | 11.808 | 270.433 | 14.416 | 889.792 | 42.832 | 73.9672
2020-05-02 01:30:00 | 10.005 | 264.62 | 10.992 | 271.56 | 11.682 | 277.867 | 12.427 | 272.167 | 14.174 | 890.292 | 43.093 | 77.9207
2020-05-02 01:45:00 | 10.796 | 256.833 | 12.602 | 271.361 | 13.357 | 276.467 | 14.199 | 274.533 | 14.204 | 889.883 | 44.368 | 78.2654
2020-05-02 02:00:00 | 12.842 | 262.647 | 14.693 | 276.656 | 15.14 | 278.9 | 15.977 | 277 | 14.024 | 890.383 | 45.083 | 78.4309
2020-05-02 02:15:00 | 11.739 | 265.52 | 13.104 | 273.75 | 13.668 | 279.467 | 14.326 | 277.233 | 14.52 | 889.658 | 45.536 | 78.3755
2020-05-02 02:30:00 | 13.811 | 262.267 | 15.335 | 278.703 | 16.061 | 282.267 | 16.446 | 280.967 | 14.424 | 890.292 | 45.061 | 78.4487
2020-05-02 02:45:00 | 13.592 | 263.987 | 15.468 | 273.011 | 16.312 | 277.633 | 16.652 | 275.733 | 14.32 | 889.592 | 45.056 | 78.4785
2020-05-02 03:00:00 | 12.896 | 270.993 | 14.634 | 277.782 | 15.643 | 281.133 | 16.068 | 280.033 | 14.174 | 889.725 | 44.645 | 78.4487
2020-05-02 03:15:00 | 11.111 | 252.967 | 12.563 | 261.937 | 13.062 | 266.1 | 13.439 | 261.033 | 14.462 | 889.992 | 45.008 | 78.3329
2020-05-02 03:30:00 | 11.015 | 252.573 | 12.358 | 259.644 | 12.673 | 263.4 | 13.192 | 257.967 | 13.895 | 889.708 | 47.04 | 78.2973
2020-05-02 03:45:00 | 11.07 | 252.033 | 12.112 | 254.718 | 12.613 | 258.417 | 12.77 | 254.917 | 14.016 | 889.975 | 48.805 | 78.2277
2020-05-02 04:00:00 | 9.737 | 249.74 | 10.834 | 249.731 | 11.236 | 254.217 | 11.155 | 250.5 | 13.741 | 890.042 | 49.125 | 76.6879
2020-05-02 04:15:00 | 9.165 | 245.947 | 9.902 | 246.831 | 10.428 | 252.317 | 10.324 | 247.35 | 13.549 | 889.842 | 49.259 | 70.0214
2020-05-02 04:30:00 | 8.372 | 242.993 | 8.779 | 248.709 | 9.413 | 253.3 | 9.537 | 248.733 | 13.312 | 889.867 | 50.331 | 65.2371
2020-05-02 04:45:00 | 8.367 | 244.853 | 9.34 | 249.537 | 9.561 | 254.633 | 9.593 | 249.633 | 13.301 | 889.908 | 50.917 | 68.6109
2020-05-02 05:00:00 | 7.781 | 245.04 | 8.346 | 250.702 | 8.786 | 255.85 | 9.201 | 250.783 | 13.22 | 890.058 | 51.024 | 64.0803
2020-05-02 05:15:00 | 8.035 | 246.253 | 9.116 | 253.111 | 9.519 | 258.8 | 9.722 | 255.25 | 13.139 | 890.183 | 50.832 | 65.036
2020-05-02 05:30:00 | 8.603 | 251.82 | 9.848 | 257.652 | 10.519 | 262.55 | 10.801 | 260.317 | 13.095 | 889.967 | 49.984 | 65.1973
2020-05-02 05:45:00 | 8.601 | 254.727 | 9.813 | 266.357 | 10.267 | 269.533 | 10.847 | 266.8 | 12.98 | 890.042 | 50.197 | 69.9105
2020-05-02 06:00:00 | 7.804 | 249.2 | 9.06 | 264.662 | 9.574 | 268.767 | 9.533 | 264.533 | 12.934 | 889.967 | 51.168 | 59.1334
2020-05-02 06:15:00 | 8.088 | 247.793 | 9.229 | 263.213 | 9.761 | 268.667 | 10.215 | 263.867 | 12.053 | 889.983 | 52.832 | 56.2875
2020-05-02 06:30:00 | 7.182 | 251.113 | 8.244 | 260.442 | 8.939 | 265.3 | 9.527 | 263.033 | 11.849 | 890.325 | 53.904 | 48.617
2020-05-02 06:45:00 | 6.662 | 251.48 | 7.734 | 259.539 | 8.153 | 266.3 | 8.481 | 262.967 | 11.886 | 889.592 | 54.533 | 41.1198
2020-05-02 07:00:00 | 6.49 | 252.533 | 7.476 | 258.237 | 7.91 | 263.6 | 8.283 | 262.017 | 11.507 | 890.1 | 53.621 | 39.9651
2020-05-02 07:15:00 | 6.638 | 251.573 | 7.561 | 261.476 | 8.364 | 267.533 | 9.065 | 264.15 | 11.828 | 889.933 | 48.357 | 40.54
2020-05-02 07:30:00 | 7.133 | 247.867 | 8.167 | 263.309 | 8.586 | 268.867 | 9.279 | 266.5 | 12.503 | 889.933 | 43.6 | 49.2579
2020-05-02 07:45:00 | 7.506 | 250.74 | 8.443 | 263.08 | 8.847 | 269 | 9.194 | 264.533 | 13.037 | 889.683 | 40.848 | 46.054
2020-05-02 08:00:00 | 7.212 | 252.447 | 7.752 | 261.716 | 8.011 | 267.967 | 8.326 | 264.483 | 13.556 | 889.55 | 39.88 | 37.8199
2020-05-02 08:15:00 | 8.332 | 253.133 | 9.096 | 260.88 | 9.352 | 265.3 | 9.618 | 261.733 | 13.816 | 889.517 | 40.413 | 47.2612
2020-05-02 08:30:00 | 8.145 | 252.7 | 8.918 | 267.594 | 9.057 | 274.4 | 9.115 | 272.333 | 13.57 | 890.008 | 42.091 | 59.2499
2020-05-02 08:45:00 | 9.466 | 263.573 | 9.904 | 272.962 | 9.966 | 277.4 | 10.436 | 275.333 | 13.704 | 889.717 | 41.435 | 71.3693
2020-05-02 09:00:00 | 9.484 | 270.573 | 10.363 | 279.865 | 10.525 | 282.4 | 10.852 | 281.867 | 14.17 | 889.592 | 40.171 | 56.3856
2020-05-02 09:15:00 | 10.188 | 259.773 | 11.022 | 278.572 | 11.415 | 281.667 | 11.907 | 280.367 | 14.287 | 889.65 | 40.325 | 49.2032
2020-05-02 09:30:00 | 10.415 | 259.027 | 11.208 | 275.246 | 11.087 | 278.567 | 11.362 | 276.333 | 14.974 | 889.767 | 38.027 | 45.2432
2020-05-02 09:45:00 | 10.9 | 272.287 | 11.587 | 280.299 | 11.519 | 282.567 | 11.783 | 278.2 | 14.912 | 889.867 | 34.085 | 45.2475
2020-05-02 10:00:00 | 11.13 | 283.64 | 11.722 | 289.468 | 11.849 | 292.4 | 12.363 | 289.7 | 15.386 | 889.383 | 31.827 | 43.4462
2020-05-02 10:15:00 | 9.92 | 273.967 | 10.505 | 287.796 | 10.896 | 292.733 | 11.216 | 289.6 | 15.454 | 889.283 | 31.52 | 43.508
2020-05-02 10:30:00 | 10.231 | 287.36 | 10.93 | 288.945 | 11.406 | 294 | 11.811 | 291.8 | 15.6 | 889.617 | 29.669 | 47.6442
2020-05-02 10:45:00 | 9.062 | 278.687 | 9.484 | 285.424 | 9.466 | 290.867 | 9.881 | 291.067 | 15.828 | 889.583 | 27.424 | 56.5057
2020-05-02 11:00:00 | 8.022 | 276.273 | 8.51 | 285.83 | 8.748 | 290.133 | 9.245 | 287.8 | 16.022 | 889.733 | 25.928 | 45.9914
2020-05-02 11:15:00 | 8.086 | 276.173 | 8.34 | 285.659 | 8.552 | 290 | 9.027 | 286.3 | 16.598 | 889.75 | 25.307 | 40.4668
2020-05-02 11:30:00 | 6.764 | 295.1 | 6.879 | 298.029 | 7.157 | 304.767 | 7.51 | 302 | 17.114 | 889.533 | 23.627 | 32.9042
2020-05-02 11:45:00 | 7.339 | 300.293 | 7.373 | 298.2 | 7.536 | 301.633 | 7.802 | 298.267 | 16.931 | 889.5 | 23.243 | 25.8398
2020-05-02 12:00:00 | 6.777 | 329.093 | 6.713 | 321.941 | 7.071 | 324.633 | 7.544 | 326.6 | 17.544 | 889.833 | 19.617 | 26.1865
2020-05-02 12:15:00 | 7.182 | 277.327 | 7.49 | 280.388 | 7.886 | 286.833 | 8.199 | 285.35 | 17.81 | 889.067 | 19.468 | 26.3713
2020-05-02 12:30:00 | 6.109 | 272.667 | 6.258 | 276.229 | 6.18 | 282.267 | 6.484 | 280.667 | 18.306 | 889.6 | 18.873 | 26.9347
2020-05-02 12:45:00 | 6.672 | 283.527 | 6.972 | 288.511 | 6.94 | 292.533 | 7.419 | 286.933 | 18.589 | 889.7 | 17.481 | 31.2919
2020-05-02 13:00:00 | 7.846 | 272.073 | 8.307 | 274.346 | 8.344 | 277.3 | 8.412 | 276.133 | 18.689 | 889.567 | 17.165 | 38.1638
2020-05-02 13:15:00 | 6.907 | 312.107 | 7.263 | 317.206 | 7.484 | 322.2 | 7.125 | 322.167 | 19.006 | 889.467 | 17.611 | 36.5224
2020-05-02 13:30:00 | 8.16 | 291.327 | 8.819 | 294.872 | 9.19 | 298.2 | 9.618 | 299.567 | 19.481 | 889.433 | 17.656 | 41.7188
2020-05-02 13:45:00 | 8.184 | 305.92 | 8.498 | 306.703 | 8.555 | 306.067 | 8.821 | 306.133 | 19.573 | 889.833 | 17.072 | 46.3332
2020-05-02 14:00:00 | 8.594 | 310.973 | 8.768 | 309.791 | 9.046 | 314.767 | 9.435 | 317.367 | 19.439 | 889.467 | 16.181 | 46.6622
2020-05-02 14:15:00 | 8.336 | 265.187 | 8.633 | 276.792 | 8.788 | 279.033 | 9.297 | 277.5 | 19.689 | 889.167 | 15.764 | 39.1188
2020-05-02 14:30:00 | 6.47 | 297.653 | 6.585 | 294.622 | 7.009 | 301.8 | 7.337 | 301.667 | 19.606 | 889.6 | 15.343 | 35.6456
2020-05-02 14:45:00 | 6.885 | 288.873 | 7.205 | 291.067 | 6.993 | 296.533 | 7.388 | 296.167 | 20.056 | 889.967 | 14.877 | 32.4068
2020-05-02 15:00:00 | 5.3 | 294.027 | 5.508 | 289.311 | 6.173 | 308.1 | 6.763 | 301.033 | 20.452 | 889.4 | 14.524 | 29.701
2020-05-02 15:15:00 | 6.557 | 290.093 | 6.598 | 290.209 | 6.694 | 293.167 | 7.244 | 287.467 | 20.452 | 889.467 | 13.896 | 24.5231
2020-05-02 15:30:00 | 5.154 | 304.013 | 5.552 | 302.865 | 5.618 | 308.6 | 5.972 | 310.583 | 20.198 | 889.367 | 13.433 | 22.8305
2020-05-02 15:45:00 | 4.762 | 280.507 | 5.362 | 282.575 | 5.558 | 286.733 | 5.89 | 285.433 | 20.698 | 889.6 | 13.323 | 19.8305
2020-05-02 16:00:00 | 6.821 | 256.433 | 7.183 | 256.575 | 7.133 | 259.833 | 7.292 | 255.867 | 21.039 | 889.167 | 12.765 | 19.2919
2020-05-02 16:15:00 | 7.402 | 280.14 | 7.448 | 285.205 | 7.737 | 291.5 | 8.09 | 286.483 | 20.731 | 889.767 | 12.976 | 20.9106
2020-05-02 16:30:00 | 4.924 | 282.093 | 5.156 | 279.097 | 5.994 | 285.833 | 5.954 | 283.667 | 20.731 | 889.467 | 12.863 | 8.6689
2020-05-02 16:45:00 | 6.903 | 279.607 | 7.368 | 283.38 | 7.644 | 287.367 | 7.637 | 286.833 | 21.018 | 889.467 | 12.88 | 16.795
2020-05-02 17:00:00 | 4.514 | 249.253 | 4.735 | 255.98 | 5.278 | 266.3 | 5.521 | 265.967 | 21.331 | 889.533 | 12.443 | 12.5259
2020-05-02 17:15:00 | 4.472 | 294.44 | 4.717 | 321.257 | 4.891 | 321.467 | 5.148 | 314.3 | 20.831 | 889.533 | 12.017 | 13.6351
2020-05-02 17:30:00 | 4.03 | 308.52 | 3.884 | 300.743 | 4.273 | 304.8 | 4.6 | 305.967 | 21.568 | 889.367 | 11.999 | 14.7535
2020-05-02 17:45:00 | 5.37 | 292.054 | 5.44 | 321.113 | 5.339 | 324.567 | 5.75 | 335.8 | 21.985 | 889.567 | 11.46 | 7.3295
2020-05-02 18:00:00 | 5.284 | 118.581 | 5.816 | 199.673 | 5.717 | 164.769 | 5.77 | 165.433 | 21.935 | 889.4 | 11.368 | 15.4449
2020-05-02 18:15:00 | 6.002 | 162.617 | 6.5 | 189.456 | 6.399 | 133.133 | 6.426 | 96.3 | 21.464 | 889.533 | 13.948 | 11.6661
2020-05-02 18:30:00 | 5.066 | 299.2 | 5.194 | 298.928 | 5.169 | 305.067 | 5.448 | 303.633 | 21.464 | 889.7 | 13.728 | 5.1601
2020-05-02 18:45:00 | 4.521 | 306.733 | 4.582 | 314.936 | 4.955 | 254.133 | 5.225 | 294.6 | 21.768 | 889.7 | 14.016 | 5.8068
2020-05-02 19:00:00 | 6.222 | 335.693 | 6.384 | 332.046 | 6.624 | 336.1 | 6.687 | 335.933 | 21.289 | 889.533 | 14.58 | 15.0299
2020-05-02 19:15:00 | 5.364 | 340.013 | 5.51 | 334.238 | 5.731 | 338.3 | 5.925 | 334.1 | 21.206 | 889.767 | 14.864 | 13.1789
2020-05-02 19:30:00 | 4.073 | 185.261 | 4.46 | 229.15 | 4.42 | 173.633 | 4.321 | 163.901 | 21.252 | 889.333 | 14.799 | 10.3622
2020-05-02 19:45:00 | 6.142 | 257.347 | 6.643 | 325.836 | 6.626 | 295.2 | 7.068 | 320.267 | 21.439 | 888.967 | 15.412 | 14.7421
2020-05-02 20:00:00 | 4.918 | 326.693 | 5.391 | 321.415 | 5.677 | 325.5 | 6.032 | 324.333 | 21.164 | 889.467 | 15.569 | 18.6325
2020-05-02 20:15:00 | 4.904 | 322.907 | 5.433 | 318.419 | 5.415 | 324.2 | 5.595 | 323.967 | 20.989 | 889.4 | 15.491 | 11.136
2020-05-02 20:30:00 | 4.414 | 287.333 | 5.003 | 288.568 | 5.171 | 294.467 | 5.479 | 293.067 | 20.677 | 889.633 | 15.853 | 7.7999
2020-05-02 20:45:00 | 3.298 | 289.573 | 4.075 | 286.848 | 4.301 | 291.433 | 4.695 | 289.3 | 20.552 | 889.167 | 16.671 | 6.82
2020-05-02 21:00:00 | 3.083 | 294.293 | 3.816 | 293.184 | 3.957 | 300.9 | 4.468 | 299.433 | 20.244 | 889.533 | 17.276 | 5.5858
2020-05-02 21:15:00 | 2.792 | 295.893 | 3.584 | 296.631 | 3.742 | 304.2 | 4.222 | 301.933 | 20.006 | 889.433 | 17.573 | 3.3269
2020-05-02 21:30:00 | 2.934 | 289.587 | 2.852 | 303.375 | 3.091 | 312.767 | 3.611 | 319.833 | 19.335 | 889.633 | 17.744 | 1.7807
2020-05-02 21:45:00 | 2.513 | 302.747 | 2.78 | 312.736 | 3.076 | 320.733 | 3.696 | 322.967 | 19.585 | 889.567 | 17.628 | 1.3856
2020-05-02 22:00:00 | 2.557 | 294.347 | 2.532 | 316.221 | 2.492 | 326.3 | 3.232 | 326.033 | 19.006 | 889.433 | 17.293 | 0.52724
2020-05-02 22:15:00 | 2.958 | 257.033 | 2.149 | 293.559 | 1.812 | 314.3 | 2.756 | 317.7 | 18.452 | 890 | 18.056 | 0.14353
2020-05-02 22:30:00 | 3.887 | 243.14 | 3.478 | 272.461 | 3.14 | 284.467 | 3.484 | 292.767 | 16.981 | 889.533 | 18.839 | 0.97206
2020-05-02 22:45:00 | 4.095 | 247.887 | 3.552 | 266.346 | 3.475 | 279.6 | 3.999 | 282.7 | 16.898 | 889.167 | 19.283 | 2.8209
2020-05-02 23:00:00 | 4.479 | 259.147 | 4.33 | 277.696 | 4.239 | 288 | 4.591 | 289.567 | 16.914 | 889.233 | 19.027 | 5.3925
2020-05-02 23:15:00 | 4.324 | 251.04 | 3.956 | 277.356 | 3.769 | 284.6 | 4.211 | 286.433 | 16.598 | 889.567 | 18.317 | 4.1391
2020-05-02 23:30:00 | 4.445 | 244.96 | 3.944 | 273.548 | 3.712 | 287.267 | 4.143 | 292.667 | 15.998 | 889.633 | 18.537 | 10.7402
2020-05-02 23:45:00 | 5.35 | 255.427 | 6.327 | 279.315 | 6.586 | 286.1 | 7.164 | 285 | 15.412 | 889.1 | 19.192 | 25.4632