## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-03 00:00:00 | 4.417 | 252.933 | 5.838 | 271.106 | 6.127 | 278.633 | 6.573 | 277.367 | 15.602 | 889.4 | 19.097 | 15.8577
2020-05-03 00:15:00 | 4.897 | 243.647 | 5.581 | 261.356 | 5.422 | 270.2 | 5.887 | 268.7 | 14.737 | 889.433 | 20.077 | 16.9804
2020-05-03 00:30:00 | 4.74 | 252.573 | 5.892 | 265.843 | 6.106 | 273.833 | 6.642 | 271.833 | 14.166 | 889.367 | 20.411 | 18.8833
2020-05-03 00:45:00 | 4.621 | 241.933 | 5.47 | 258.069 | 5.777 | 271.267 | 6.199 | 270.1 | 13.774 | 889.35 | 20.505 | 17.1481
2020-05-03 01:00:00 | 4.96 | 247.053 | 5.879 | 262.993 | 6.042 | 271.2 | 6.619 | 270.033 | 13.724 | 889.867 | 20.664 | 19.5129
2020-05-03 01:15:00 | 4.757 | 251.907 | 6.027 | 266.506 | 6.447 | 273.267 | 6.86 | 270.1 | 13.624 | 889.733 | 20.64 | 14.2945
2020-05-03 01:30:00 | 3.705 | 249.813 | 4.904 | 265.852 | 5.256 | 276.933 | 5.786 | 274.867 | 13.87 | 889.833 | 20.821 | 1.8766
2020-05-03 01:45:00 | 3.95 | 148 | 3.85 | 134.403 | 2.567 | 147.9 | 2.379 | 147.267 | 13.854 | 889.367 | 20.563 | 0.13003
2020-05-03 02:00:00 | 2.948 | 206.833 | 2.759 | 207.02 | 2.72 | 218 | 2.91 | 216.8 | 14.591 | 889.033 | 20.131 | 0.34249
2020-05-03 02:15:00 | 2.98 | 214.673 | 2.714 | 217.132 | 2.576 | 224.667 | 2.7 | 226.567 | 14.016 | 889.333 | 20.235 | 1.3238
2020-05-03 02:30:00 | 3.887 | 205.927 | 3.855 | 207.695 | 3.606 | 212.4 | 3.486 | 210.967 | 14.07 | 889.633 | 20.144 | 2.946
2020-05-03 02:45:00 | 4.195 | 204.793 | 3.871 | 207.122 | 3.905 | 211.833 | 3.775 | 211.767 | 14.004 | 889.75 | 20.28 | 5.8203
2020-05-03 03:00:00 | 5.469 | 214.407 | 4.869 | 214.856 | 4.683 | 220.1 | 4.618 | 215.933 | 13.762 | 889.667 | 20.232 | 6.7916
2020-05-03 03:15:00 | 5.138 | 212.993 | 4.977 | 215.072 | 4.842 | 219.667 | 4.714 | 216.033 | 12.588 | 889.633 | 20.912 | 8.5488
2020-05-03 03:30:00 | 4.629 | 203.667 | 5.654 | 205.804 | 5.632 | 210.367 | 5.484 | 206.233 | 10.811 | 889.65 | 22.848 | 9.8904
2020-05-03 03:45:00 | 5.919 | 205.807 | 5.432 | 209.655 | 5.553 | 214.567 | 5.619 | 210.733 | 10.428 | 889.633 | 23.435 | 9.4647
2020-05-03 04:00:00 | 5.65 | 214.093 | 6.225 | 217.161 | 5.864 | 224.133 | 5.791 | 219.9 | 10.386 | 890.217 | 23.664 | 9.4854
2020-05-03 04:15:00 | 4.898 | 211.507 | 6.039 | 217.671 | 5.429 | 225.767 | 5.425 | 221.467 | 10.445 | 889.65 | 23.909 | 9.8335
2020-05-03 04:30:00 | 4.427 | 206.42 | 7.084 | 211.465 | 6.492 | 221.333 | 5.985 | 219.733 | 9.224 | 889.75 | 24.549 | 11.7613
2020-05-03 04:45:00 | 5.533 | 213.407 | 6.939 | 219.385 | 6.199 | 227.167 | 5.888 | 225.9 | 9.704 | 889.417 | 24.459 | 12.3752
2020-05-03 05:00:00 | 6.008 | 214.367 | 6.684 | 218.079 | 6.105 | 224.633 | 5.698 | 222.667 | 9.699 | 889.5 | 24.235 | 11.7499
2020-05-03 05:15:00 | 6.134 | 214.947 | 6.982 | 220.111 | 6.391 | 226.6 | 5.759 | 225.8 | 9.968 | 890.067 | 24.021 | 12.5081
2020-05-03 05:30:00 | 6.072 | 214.653 | 7.006 | 217.874 | 6.639 | 223.7 | 6.052 | 221.4 | 9.751 | 889.567 | 24.048 | 16.5136
2020-05-03 05:45:00 | 6.103 | 216.407 | 7.792 | 217.411 | 7.373 | 221.533 | 6.867 | 219.733 | 10.024 | 889.817 | 23.899 | 17.2362
2020-05-03 06:00:00 | 6.083 | 217.807 | 7.367 | 219.119 | 6.951 | 224.4 | 6.292 | 221 | 9.854 | 889.8 | 23.915 | 13.7672
2020-05-03 06:15:00 | 5.898 | 218.073 | 6.583 | 222.559 | 5.846 | 229.5 | 5.569 | 227.8 | 9.947 | 889.65 | 23.808 | 11.055
2020-05-03 06:30:00 | 6.539 | 216.333 | 6.791 | 220.398 | 6.104 | 225.833 | 5.604 | 225.567 | 10.07 | 889.767 | 23.877 | 14.0706
2020-05-03 06:45:00 | 6.465 | 214.4 | 7.923 | 216.756 | 6.96 | 219.9 | 6.496 | 218.8 | 9.549 | 890.083 | 24.059 | 18.0534
2020-05-03 07:00:00 | 5.507 | 214.673 | 7.513 | 218.184 | 6.964 | 223.133 | 6.539 | 219.433 | 10.147 | 889.317 | 23.147 | 16.52
2020-05-03 07:15:00 | 6.028 | 215.5 | 7.43 | 218.255 | 6.386 | 225.633 | 5.738 | 224.6 | 10.945 | 889.183 | 22.197 | 12.5415
2020-05-03 07:30:00 | 5.765 | 220.96 | 6.238 | 220.696 | 5.715 | 227.433 | 5.253 | 229.1 | 12.036 | 889.867 | 21.088 | 7.5441
2020-05-03 07:45:00 | 5.078 | 216.093 | 6.084 | 218.986 | 5.194 | 223.567 | 4.508 | 223.7 | 12.947 | 889.533 | 19.741 | 6.4932
2020-05-03 08:00:00 | 5.044 | 216.12 | 6.191 | 216.908 | 6.191 | 220.967 | 5.454 | 218.5 | 14.166 | 890.1 | 18.539 | 8.1921
2020-05-03 08:15:00 | 4.743 | 215.78 | 5.097 | 215.421 | 5.909 | 219.467 | 5.723 | 213.133 | 15.616 | 889.533 | 17.28 | 6.896
2020-05-03 08:30:00 | 4.841 | 218.04 | 4.731 | 217.126 | 4.815 | 221.8 | 4.794 | 220.033 | 16.964 | 889.567 | 16.203 | 3.7724
2020-05-03 08:45:00 | 4.071 | 214.407 | 4.047 | 210.449 | 4.185 | 211.967 | 4.281 | 209.9 | 17.873 | 889.4 | 15.539 | 0.9479
2020-05-03 09:00:00 | 2.387 | 223.827 | 2.038 | 220.478 | 1.914 | 224.233 | 2.312 | 222.133 | 19.014 | 889.333 | 14.629 | 0.30412
2020-05-03 09:15:00 | 0.721 | 229.033 | 0.303 | 237.32 | 0.646 | 234.717 | 1.713 | 235.3 | 19.86 | 890.133 | 13.904 | 0.21601
2020-05-03 09:30:00 | 1.018 | 305.173 | 0.24 | 255.61 | 0 | 251.033 | 0.222 | 234 | 20.164 | 889.367 | 13.269 | 0.16769
2020-05-03 09:45:00 | 0.243 | 323.787 | 0 | 324.142 | 0.08 | 220.817 | 0.672 | 198.567 | 20.51 | 889.533 | 13.193 | 0.15917
2020-05-03 10:00:00 | 0.726 | 90.487 | 0.55 | 92.849 | 0.832 | 90.033 | 1.851 | 101.733 | 20.694 | 889.333 | 12.779 | 0.19327
2020-05-03 10:15:00 | 3.047 | 50.805 | 2.919 | 51.976 | 3.018 | 53.933 | 3.348 | 49.8 | 20.398 | 889.467 | 12.723 | 0.82568
2020-05-03 10:30:00 | 3.528 | 93.21 | 3.587 | 80.671 | 3.4 | 83.4 | 3.769 | 80.733 | 19.885 | 889.633 | 12.845 | 2.7307
2020-05-03 10:45:00 | 3.012 | 110.96 | 2.683 | 97.304 | 2.974 | 96.867 | 3.716 | 93.833 | 20.327 | 889.667 | 11.965 | 2.6895
2020-05-03 11:00:00 | 2.622 | 63.599 | 2.611 | 50.616 | 2.442 | 56.967 | 3.091 | 51.133 | 20.773 | 889.333 | 12.067 | 3.4548
2020-05-03 11:15:00 | 4.118 | 98.702 | 4.386 | 97.989 | 4.198 | 101.933 | 4.676 | 98.2 | 20.881 | 889.667 | 11.965 | 2.7769
2020-05-03 11:30:00 | 4.974 | 79.967 | 5.001 | 75.486 | 5.387 | 78.533 | 5.644 | 72.7 | 21.056 | 889.767 | 11.733 | 3.3532
2020-05-03 11:45:00 | 3.701 | 93.532 | 3.633 | 92.535 | 3.771 | 96.333 | 4.239 | 89.633 | 20.935 | 889.767 | 11.987 | 3.4292
2020-05-03 12:00:00 | 4.383 | 93.913 | 4.625 | 86.896 | 4.85 | 86 | 4.82 | 81.267 | 22.164 | 889.9 | 11.44 | 2.1957
2020-05-03 12:15:00 | 3.188 | 94.123 | 3.077 | 89.216 | 3.404 | 95.167 | 4.171 | 90.133 | 21.789 | 889.133 | 10.456 | 2.7996
2020-05-03 12:30:00 | 3.77 | 91.475 | 4.124 | 95.365 | 4.456 | 94.7 | 4.707 | 93.333 | 21.694 | 889.3 | 10.885 | 3.6765
2020-05-03 12:45:00 | 2.781 | 117.547 | 2.487 | 105.007 | 2.806 | 99.167 | 3.028 | 103.167 | 21.927 | 889 | 10.013 | 3.6317
2020-05-03 13:00:00 | 2.592 | 125.505 | 2.275 | 48.562 | 2.471 | 56.741 | 2.872 | 71.467 | 22.418 | 889.4 | 10.083 | 5.8764
2020-05-03 13:15:00 | 4.989 | 69.938 | 4.874 | 66.553 | 4.726 | 74.833 | 4.977 | 76.567 | 22.285 | 889 | 9.735 | 8.4948
2020-05-03 13:30:00 | 3.013 | 39.882 | 2.709 | 56.359 | 2.985 | 40.867 | 3.386 | 37.233 | 22.931 | 888.6 | 9.038 | 8.0081
2020-05-03 13:45:00 | 3.678 | 137.787 | 3.699 | 133.092 | 3.577 | 143.067 | 3.876 | 131.733 | 22.368 | 888.933 | 9.084 | 8.3136
2020-05-03 14:00:00 | 5.57 | 70.78 | 5.688 | 61.198 | 5.845 | 68.733 | 6.05 | 61.833 | 22.864 | 888.733 | 8.669 | 7.9612
2020-05-03 14:15:00 | 5.298 | 102.847 | 4.883 | 97.297 | 4.783 | 101.567 | 4.81 | 98.833 | 22.831 | 889.4 | 9.204 | 4.0339
2020-05-03 14:30:00 | 4.313 | 65.667 | 4.04 | 67.324 | 4.145 | 73.033 | 4.467 | 69.933 | 23.081 | 889.133 | 8.848 | 2.1942
2020-05-03 14:45:00 | 6.03 | 108.007 | 6.362 | 103.602 | 6.467 | 106.2 | 6.814 | 98.967 | 23.731 | 889.2 | 8.092 | 6.0483
2020-05-03 15:00:00 | 4.095 | 119.747 | 4.219 | 116.1 | 4.411 | 113.533 | 4.632 | 104.8 | 23.414 | 888.867 | 8.093 | 2.8195
2020-05-03 15:15:00 | 2.814 | 64.622 | 2.893 | 31.789 | 2.988 | 28.567 | 3.246 | 29.967 | 23.685 | 888.933 | 7.678 | 3.9891
2020-05-03 15:30:00 | 4.908 | 76.283 | 5.058 | 75.944 | 5.385 | 82.6 | 5.7 | 82.767 | 23.852 | 889 | 8.043 | 4.6507
2020-05-03 15:45:00 | 4.709 | 71.28 | 5.075 | 66.548 | 5.157 | 75.267 | 5.215 | 70.467 | 24.26 | 889.133 | 8.501 | 4.333
2020-05-03 16:00:00 | 2.576 | 112.807 | 2.548 | 117.184 | 3.065 | 75.068 | 3.813 | 58.933 | 23.864 | 888.733 | 8.475 | 5.8473
2020-05-03 16:15:00 | 4.687 | 151.09 | 5.009 | 143.118 | 5.159 | 142.5 | 5.534 | 136.567 | 23.768 | 888.8 | 8.987 | 3.3361
2020-05-03 16:30:00 | 3.491 | 74.412 | 3.158 | 78.691 | 3.34 | 88.767 | 3.742 | 94.3 | 24.127 | 888.867 | 9.561 | 1.5469
2020-05-03 16:45:00 | 4.22 | 81.732 | 4.249 | 79.729 | 4.366 | 85.633 | 4.648 | 81.867 | 24.51 | 888.933 | 9.007 | 6.7568
2020-05-03 17:00:00 | 5.513 | 91.56 | 5.896 | 89.703 | 6.236 | 99.9 | 6.602 | 98.467 | 24.927 | 889.133 | 9.249 | 7.3025
2020-05-03 17:15:00 | 4.099 | 67.998 | 4.186 | 63.936 | 4.379 | 66.333 | 4.782 | 66 | 24.398 | 888.8 | 9.935 | 6.8811
2020-05-03 17:30:00 | 2.336 | 138.222 | 1.721 | 126.598 | 2.115 | 120.5 | 2.251 | 124.967 | 24.148 | 888.533 | 9.86 | 13.4674
2020-05-03 17:45:00 | 5.108 | 89.765 | 4.798 | 89.928 | 4.627 | 95.867 | 4.996 | 90.567 | 24.727 | 889.167 | 10.068 | 13.8298
2020-05-03 18:00:00 | 4.733 | 89.157 | 4.578 | 80.13 | 4.84 | 88.133 | 5.049 | 83.567 | 24.418 | 889.3 | 11.061 | 10.6038
2020-05-03 18:15:00 | 3.851 | 71.528 | 3.914 | 67.306 | 4.198 | 69.467 | 4.723 | 66.433 | 24.389 | 889.4 | 10.375 | 9.6339
2020-05-03 18:30:00 | 3.656 | 95.973 | 3.9 | 89.676 | 4.172 | 93.567 | 4.616 | 90.5 | 24.639 | 889.8 | 10.664 | 9.943
2020-05-03 18:45:00 | 3.68 | 77.437 | 3.896 | 73.354 | 3.996 | 76.733 | 4.382 | 72.933 | 24.352 | 889.467 | 11.099 | 10.4865
2020-05-03 19:00:00 | 3.297 | 92.37 | 3.537 | 80.551 | 3.901 | 81.133 | 4.285 | 77.567 | 24.594 | 889.8 | 11.032 | 12.0207
2020-05-03 19:15:00 | 4.525 | 75.677 | 4.721 | 70.226 | 4.903 | 75.733 | 5.136 | 75.3 | 24.864 | 889.233 | 11.125 | 16.6649
2020-05-03 19:30:00 | 5.809 | 91.367 | 6.01 | 89.145 | 5.585 | 94 | 5.732 | 89.233 | 24.498 | 889.9 | 12.043 | 17.9269
2020-05-03 19:45:00 | 5.137 | 82.16 | 5.515 | 78.488 | 5.516 | 85.7 | 5.5 | 83.5 | 24.385 | 889.333 | 12.069 | 22.4333
2020-05-03 20:00:00 | 5.542 | 92.15 | 5.867 | 89.984 | 5.77 | 96.467 | 5.795 | 90.1 | 24.227 | 889.433 | 12.608 | 35.6136
2020-05-03 20:15:00 | 6.784 | 104.007 | 7.134 | 97.215 | 6.855 | 99.967 | 6.636 | 97.933 | 23.614 | 889.733 | 13.245 | 42.7022
2020-05-03 20:30:00 | 6.8 | 92.047 | 7.21 | 85.629 | 6.749 | 90.733 | 6.964 | 85.133 | 23.081 | 889.167 | 13.531 | 43.2017
2020-05-03 20:45:00 | 6.519 | 100.32 | 6.605 | 96.668 | 5.669 | 102.367 | 5.784 | 98.767 | 22.998 | 889.333 | 13.427 | 53.5391
2020-05-03 21:00:00 | 6.4 | 104.553 | 6.672 | 101.22 | 5.856 | 103.833 | 5.951 | 98.267 | 22.223 | 889.567 | 13.392 | 40.1321
2020-05-03 21:15:00 | 5.635 | 100.66 | 5.344 | 92.592 | 4.443 | 98.767 | 4.439 | 93.8 | 22.114 | 889.567 | 13.413 | 37.7012
2020-05-03 21:30:00 | 5.842 | 101.743 | 5.831 | 96.767 | 5.029 | 100.833 | 5.196 | 95.833 | 21.844 | 889.533 | 13.469 | 35.8637
2020-05-03 21:45:00 | 5.166 | 103.31 | 5.648 | 98.528 | 4.923 | 101.133 | 4.964 | 96.767 | 21.677 | 889.433 | 13.48 | 32.7237
2020-05-03 22:00:00 | 5.936 | 102.943 | 6.461 | 100.043 | 5.501 | 104.767 | 5.347 | 97.233 | 21.06 | 889.4 | 13.224 | 39.0329
2020-05-03 22:15:00 | 5.679 | 105.913 | 6.261 | 101.034 | 5.619 | 104.367 | 5.958 | 96.167 | 20.864 | 889.667 | 13.219 | 37.8682
2020-05-03 22:30:00 | 5.394 | 107.513 | 6.115 | 102.798 | 5.854 | 105.967 | 5.835 | 103.467 | 20.514 | 889.233 | 13.344 | 31.3452
2020-05-03 22:45:00 | 3.747 | 111.59 | 4.676 | 106.427 | 4.677 | 107.533 | 5.184 | 104.467 | 19.835 | 889.833 | 13.635 | 15.8847
2020-05-03 23:00:00 | 2.828 | 122.35 | 3.502 | 107.872 | 3.601 | 109.333 | 3.926 | 105.7 | 19.773 | 889.833 | 13.923 | 5.0912
2020-05-03 23:15:00 | 1.723 | 139.2 | 2.446 | 109.766 | 2.729 | 112.233 | 3.432 | 106.767 | 19.014 | 889.267 | 14.379 | 1.7999
2020-05-03 23:30:00 | 0.364 | 124.227 | 1.899 | 105.836 | 2.59 | 111.667 | 3.397 | 107.533 | 18.423 | 889.467 | 15.019 | 1.3501
2020-05-03 23:45:00 | 1.091 | 202.917 | 0.027 | 94.046 | 1.035 | 104.833 | 2.72 | 101.8 | 18.152 | 889.533 | 15.528 | 1.7103