## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-04 00:00:00 | 0 | 220.667 | 0 | 122.627 | 0.336 | 100.633 | 1.955 | 92.533 | 17.435 | 889.667 | 15.984 | 3.6509
2020-05-04 00:15:00 | 0.697 | 79.163 | 2 | 100.673 | 2.896 | 109 | 3.968 | 106.867 | 17.727 | 889.433 | 16.501 | 2.671
2020-05-04 00:30:00 | 0.553 | 162.51 | 1.114 | 120.668 | 2.028 | 114.667 | 2.82 | 110.6 | 17.581 | 889.5 | 16.165 | 0.2757
2020-05-04 00:45:00 | 3.463 | 225.547 | 1.796 | 200.9 | 0.21 | 167.733 | 1.048 | 144.033 | 17.148 | 889.8 | 16.339 | 0.19541
2020-05-04 01:00:00 | 4.733 | 235.953 | 3.996 | 241.268 | 2.771 | 245.233 | 1.636 | 218.467 | 14.491 | 889.633 | 16.8 | 0.37802
2020-05-04 01:15:00 | 5.267 | 235.613 | 4.379 | 246.758 | 3.764 | 251.633 | 3.228 | 246.25 | 14.024 | 889.533 | 17.728 | 1.5497
2020-05-04 01:30:00 | 5.26 | 234.553 | 4.412 | 246.4 | 4.292 | 254.333 | 4.284 | 251.333 | 14.233 | 889.6 | 18.131 | 2.1836
2020-05-04 01:45:00 | 6.424 | 226.167 | 4.709 | 232.815 | 5.083 | 244.267 | 5.172 | 241.433 | 14.128 | 889.767 | 18.339 | 2.0301
2020-05-04 02:00:00 | 5.146 | 230.533 | 4.35 | 236.488 | 3.768 | 246.833 | 3.982 | 243.1 | 14.724 | 890 | 18.163 | 3.7326
2020-05-04 02:15:00 | 4.456 | 228.58 | 5.191 | 218.806 | 4.546 | 221.833 | 3.997 | 217.433 | 14.008 | 889.4 | 18.624 | 5.5907
2020-05-04 02:30:00 | 3.021 | 217.427 | 3.756 | 209.57 | 4.637 | 213.7 | 5.706 | 211.9 | 13.595 | 889.583 | 20.045 | 4.0929
2020-05-04 02:45:00 | 3.008 | 192.56 | 3.521 | 191.771 | 3.234 | 199.9 | 4.189 | 200.267 | 13.887 | 889.9 | 20.725 | 0.56064
2020-05-04 03:00:00 | 4.39 | 204.533 | 3.334 | 195.248 | 2.859 | 191.767 | 3.071 | 184.1 | 14.974 | 889.483 | 20.707 | 0.17835
2020-05-04 03:15:00 | 3.86 | 200.073 | 3.95 | 191.623 | 4.45 | 192.467 | 4.328 | 185.5 | 16.514 | 889.233 | 19.101 | 0.13074
2020-05-04 03:30:00 | 2.958 | 194.36 | 0.846 | 191.39 | 0 | 180 | 0.631 | 172 | 16.298 | 889.333 | 18.869 | 0.19327
2020-05-04 03:45:00 | 3.492 | 194.707 | 2.4 | 187.434 | 1.648 | 185.5 | 1.985 | 172.5 | 16.814 | 889.9 | 18.395 | 0.79157
2020-05-04 04:00:00 | 2.889 | 204.953 | 2.706 | 199.289 | 2.812 | 204.933 | 3.202 | 204.6 | 16.781 | 889.3 | 18.315 | 5.4635
2020-05-04 04:15:00 | 2.557 | 203.64 | 3.35 | 205.266 | 4.959 | 213.867 | 6.742 | 210.033 | 15.424 | 889.533 | 19.349 | 9.5699
2020-05-04 04:30:00 | 6.638 | 223.487 | 7.304 | 222.097 | 7.195 | 222.733 | 6.647 | 216.633 | 13.387 | 889.667 | 20.976 | 9.8293
2020-05-04 04:45:00 | 4.714 | 221.527 | 5.761 | 226.382 | 5.354 | 229.367 | 5.613 | 221.867 | 13.32 | 889.817 | 21.472 | 4.4609
2020-05-04 05:00:00 | 4.459 | 230.16 | 6.011 | 233.801 | 5.423 | 235.467 | 4.941 | 227.467 | 12.24 | 890 | 22.555 | 2.487
2020-05-04 05:15:00 | 5.993 | 228.06 | 5.118 | 223.687 | 4.462 | 225.5 | 4.194 | 213.133 | 12.77 | 890.133 | 22.528 | 1.478
2020-05-04 05:30:00 | 4.594 | 240.607 | 5.84 | 223.575 | 4.873 | 224.367 | 4.545 | 218.833 | 13.072 | 889.55 | 21.973 | 3.3425
2020-05-04 05:45:00 | 3.218 | 235.233 | 6.829 | 224.496 | 6.22 | 222.067 | 4.643 | 220.3 | 11.345 | 890.05 | 23.877 | 2.3484
2020-05-04 06:00:00 | 4.363 | 221.76 | 3.894 | 206.322 | 2.756 | 210.9 | 2.723 | 212 | 12.103 | 889.983 | 23.787 | 0.25367
2020-05-04 06:15:00 | 3.636 | 222.4 | 3.361 | 210.788 | 2.116 | 209.433 | 1.692 | 204 | 11.195 | 889.633 | 24.491 | 0.1208
2020-05-04 06:30:00 | 3.231 | 206.26 | 3.709 | 200.872 | 3.307 | 199.167 | 3.148 | 195.367 | 11.428 | 889.733 | 23.952 | 0.17125
2020-05-04 06:45:00 | 4.452 | 221.187 | 3.861 | 199.712 | 2.583 | 185.567 | 1.862 | 177.5 | 11.674 | 889.967 | 23.552 | 0.17196
2020-05-04 07:00:00 | 5.267 | 223.707 | 3.825 | 213.279 | 3.117 | 208.6 | 2.76 | 197.967 | 12.34 | 889.8 | 22.464 | 0.16059
2020-05-04 07:15:00 | 6.479 | 226.627 | 5.08 | 222.702 | 3.644 | 222.033 | 2.681 | 213.3 | 13.312 | 889.75 | 21.472 | 0.11937
2020-05-04 07:30:00 | 5.49 | 224.333 | 5.404 | 216.618 | 4.296 | 222.067 | 3.845 | 214.033 | 13.924 | 889.817 | 20.757 | 0.11369
2020-05-04 07:45:00 | 5.535 | 220.733 | 4.391 | 208.45 | 3.338 | 202.867 | 2.829 | 193.033 | 15.264 | 889.5 | 19.771 | 0.14851
2020-05-04 08:00:00 | 3.85 | 207.673 | 3.782 | 199.697 | 3.351 | 189.5 | 3.362 | 177.867 | 16.835 | 889.4 | 18.784 | 0.12435
2020-05-04 08:15:00 | 2.553 | 198.993 | 2.45 | 190.812 | 2.292 | 190.967 | 2.039 | 192.2 | 18.66 | 889.7 | 17.419 | 0.20038
2020-05-04 08:30:00 | 2.215 | 170.6 | 1.905 | 170.845 | 2.306 | 165.8 | 2.889 | 165.233 | 19.248 | 889.533 | 15.389 | 0.16272
2020-05-04 08:45:00 | 2.128 | 160.993 | 1.857 | 164.721 | 1.854 | 166.433 | 2.407 | 161.267 | 20.344 | 889.567 | 13.811 | 0.16485
2020-05-04 09:00:00 | 0.459 | 181.5 | 0.177 | 189.413 | 0.034 | 183 | 0.739 | 166 | 21.448 | 889.5 | 13.275 | 0.15419
2020-05-04 09:15:00 | 0.276 | 199.107 | 0 | 172.985 | 0 | 155.067 | 0.799 | 165 | 21.714 | 889.633 | 12.968 | 0.15348
2020-05-04 09:30:00 | 1.413 | 82.533 | 0.877 | 70.98 | 0.473 | 83.133 | 1.575 | 71.233 | 22.631 | 889.333 | 12.493 | 0.17906
2020-05-04 09:45:00 | 2.973 | 46.607 | 2.748 | 44.321 | 1.814 | 49 | 2.101 | 55.967 | 22.281 | 889.233 | 12.693 | 0.14709
2020-05-04 10:00:00 | 3.122 | 56.528 | 2.851 | 44.234 | 3.042 | 44 | 3.307 | 35.467 | 21.194 | 890.167 | 13.323 | 1.4197
2020-05-04 10:15:00 | 3.769 | 40.404 | 3.665 | 37.735 | 3.78 | 43.1 | 3.941 | 38.8 | 20.577 | 889.7 | 13.709 | 3.0981
2020-05-04 10:30:00 | 3.873 | 49.224 | 3.774 | 43.143 | 3.59 | 48.667 | 3.661 | 45.167 | 19.868 | 889.033 | 13.669 | 3.2913
2020-05-04 10:45:00 | 3.094 | 52.787 | 2.983 | 46.618 | 3.182 | 47.133 | 3.395 | 44.9 | 20.81 | 889.533 | 13.517 | 2.4344
2020-05-04 11:00:00 | 3.578 | 52.942 | 3.502 | 44.361 | 3.538 | 46.967 | 3.864 | 44.433 | 21.027 | 889.567 | 13.083 | 3.0291
2020-05-04 11:15:00 | 3.815 | 43.335 | 3.777 | 39.017 | 3.777 | 41.2 | 4.169 | 34.4 | 21.348 | 889.133 | 12.344 | 2.0805
2020-05-04 11:30:00 | 3.716 | 60.49 | 3.614 | 54.389 | 3.777 | 54.1 | 3.918 | 47.667 | 21.731 | 889.933 | 11.757 | 1.4353
2020-05-04 11:45:00 | 2.783 | 47.598 | 2.599 | 41.7 | 2.444 | 44.233 | 2.964 | 38.7 | 21.723 | 889.567 | 11.549 | 0.31691
2020-05-04 12:00:00 | 2.892 | 67.793 | 2.791 | 39.4 | 3.143 | 34.433 | 3.381 | 20.633 | 22.798 | 889.633 | 11.285 | 0.26788
2020-05-04 12:15:00 | 2.429 | 37.531 | 2.12 | 30.187 | 2.398 | 33.667 | 2.971 | 31.267 | 23.281 | 889.4 | 11.152 | 0.24515
2020-05-04 12:30:00 | 1.935 | 310.92 | 1.526 | 320.843 | 1.368 | 278.204 | 2.003 | 226.734 | 23.844 | 889.533 | 10.703 | 0.18119
2020-05-04 12:45:00 | 1.779 | 239.8 | 0.87 | 324.816 | 0.516 | 335.7 | 1.519 | 169.7 | 23.806 | 889.833 | 10.4 | 0.11867
2020-05-04 13:00:00 | 3.738 | 151.393 | 3.663 | 167.503 | 3.819 | 180.202 | 4.147 | 152.633 | 24.752 | 889.033 | 10.467 | 0.72194
2020-05-04 13:15:00 | 4.491 | 150.281 | 4.602 | 255.516 | 4.51 | 169.733 | 4.733 | 207.967 | 24.789 | 889 | 10.016 | 2.3321
2020-05-04 13:30:00 | 4.446 | 173.078 | 4.499 | 197.971 | 4.692 | 151.7 | 4.664 | 116.4 | 24.268 | 889.267 | 10.355 | 4.4034
2020-05-04 13:45:00 | 4.612 | 322.394 | 4.817 | 308.696 | 4.965 | 266.7 | 5.372 | 346 | 24.91 | 889.467 | 10.528 | 5.2554
2020-05-04 14:00:00 | 4.505 | 159.626 | 4.357 | 180.75 | 4.668 | 137.744 | 4.81 | 162.833 | 25.452 | 888.8 | 10.434 | 6.6829
2020-05-04 14:15:00 | 4.13 | 243.988 | 4.068 | 290.514 | 3.991 | 280.833 | 4.653 | 288.4 | 25.294 | 889 | 9.732 | 6.005
2020-05-04 14:30:00 | 3.373 | 180.101 | 3.622 | 200.7 | 3.39 | 183.469 | 3.8 | 159.334 | 25.394 | 889.2 | 9.754 | 4.9725
2020-05-04 14:45:00 | 2.961 | 233.225 | 2.784 | 230.215 | 3.163 | 222.569 | 3.63 | 197.9 | 25.468 | 889.067 | 9.243 | 6.1514
2020-05-04 15:00:00 | 5.965 | 208.509 | 6.274 | 322.892 | 6.383 | 310.133 | 6.485 | 317.633 | 25.677 | 889.2 | 9.342 | 9.0427
2020-05-04 15:15:00 | 6.12 | 308.267 | 6.542 | 305.664 | 6.591 | 310.267 | 7.195 | 308.767 | 25.548 | 889.133 | 9.881 | 14.2319
2020-05-04 15:30:00 | 4.431 | 136.248 | 4.833 | 298.864 | 4.898 | 221.1 | 5.296 | 260.833 | 25.039 | 889.267 | 10.256 | 15.7504
2020-05-04 15:45:00 | 5.94 | 304.773 | 6.136 | 304.054 | 6.384 | 311.833 | 6.294 | 311.833 | 25.552 | 889.5 | 10.352 | 9.7447
2020-05-04 16:00:00 | 3.648 | 44.887 | 3.586 | 188.559 | 3.32 | 186.5 | 3.578 | 174.333 | 25.227 | 889.533 | 10.619 | 8.5623
2020-05-04 16:15:00 | 3.962 | 319.973 | 4.188 | 310.25 | 4.206 | 311.233 | 4.535 | 309.733 | 25.181 | 889.8 | 10.695 | 7.866
2020-05-04 16:30:00 | 3.707 | 312.267 | 3.497 | 306.233 | 3.468 | 307.567 | 4.178 | 310.5 | 25.968 | 889.2 | 10.343 | 5.1644
2020-05-04 16:45:00 | 7.514 | 272.967 | 7.793 | 271.05 | 7.892 | 278.533 | 7.984 | 274.25 | 26.523 | 888.733 | 9.749 | 22.4965
2020-05-04 17:00:00 | 7.152 | 217.216 | 7.611 | 295.51 | 7.841 | 241.567 | 8.237 | 287.367 | 25.61 | 889.533 | 10.438 | 40.4277
2020-05-04 17:15:00 | 7.352 | 312.227 | 7.666 | 307.841 | 7.878 | 312.3 | 8.123 | 310.2 | 25.877 | 888.867 | 9.82 | 37.9876
2020-05-04 17:30:00 | 7.522 | 316.733 | 8.031 | 312.64 | 8.469 | 317.733 | 8.825 | 317.733 | 25.698 | 889.2 | 9.977 | 49.3524
2020-05-04 17:45:00 | 6.055 | 296.547 | 6.197 | 291.133 | 6.337 | 292.6 | 6.744 | 287.8 | 25.698 | 889.433 | 10.239 | 30.6851
2020-05-04 18:00:00 | 7.819 | 320.387 | 8.252 | 325.815 | 8.482 | 331 | 8.845 | 325.4 | 25.844 | 889.867 | 10.584 | 52.4825
2020-05-04 18:15:00 | 7.166 | 323.347 | 7.551 | 315.274 | 7.696 | 319.333 | 8.158 | 317.433 | 25.589 | 889.467 | 11.481 | 38.0778
2020-05-04 18:30:00 | 8.548 | 302.933 | 9.03 | 301.632 | 9.368 | 305.8 | 9.848 | 302.333 | 25.173 | 889.367 | 12.779 | 50.8858
2020-05-04 18:45:00 | 8.318 | 294.2 | 8.896 | 293.622 | 9.029 | 297.967 | 9.48 | 295.133 | 25.477 | 889.4 | 12.908 | 63.2511
2020-05-04 19:00:00 | 8.246 | 298.733 | 8.644 | 296.247 | 8.998 | 299.067 | 9.553 | 297.667 | 24.906 | 889.567 | 13.744 | 66.1495
2020-05-04 19:15:00 | 9.246 | 290.107 | 10.176 | 289.118 | 10.304 | 294.3 | 11.013 | 291.333 | 24.635 | 889.5 | 14.072 | 59.689
2020-05-04 19:30:00 | 8.315 | 302.693 | 8.825 | 294.899 | 9.232 | 302.767 | 9.612 | 302.133 | 24.981 | 889.567 | 13.713 | 63.2355
2020-05-04 19:45:00 | 10.549 | 294.747 | 11.088 | 291.581 | 11.84 | 296.067 | 12.289 | 292.367 | 24.864 | 889.133 | 13.913 | 75.4714
2020-05-04 20:00:00 | 10.977 | 293.28 | 11.913 | 292.135 | 12.513 | 296.133 | 13.026 | 296.067 | 23.727 | 889.767 | 13.996 | 76.8016
2020-05-04 20:15:00 | 11.364 | 317.653 | 12.671 | 314.051 | 13.172 | 319.2 | 13.506 | 316.967 | 23.248 | 889.667 | 17.109 | 79.4911
2020-05-04 20:30:00 | 10.123 | 312.333 | 11.007 | 308.392 | 11.322 | 313.433 | 11.726 | 312.833 | 22.564 | 889.567 | 17.792 | 78.7777
2020-05-04 20:45:00 | 9.507 | 322.667 | 10.885 | 318.375 | 11.467 | 324.767 | 11.957 | 323.6 | 22.314 | 889.8 | 18.911 | 76.3198
2020-05-04 21:00:00 | 7.876 | 307.52 | 8.611 | 306.304 | 9.194 | 312.3 | 9.925 | 311.5 | 21.873 | 889.3 | 18.861 | 61.2111
2020-05-04 21:15:00 | 7.689 | 292.827 | 8.805 | 293.575 | 9.194 | 300.5 | 9.99 | 297.533 | 21.152 | 889.633 | 17.935 | 59.5249
2020-05-04 21:30:00 | 7.41 | 292.053 | 8.447 | 295.398 | 8.955 | 302.7 | 9.754 | 301.733 | 21.298 | 889.6 | 18.195 | 58.2743
2020-05-04 21:45:00 | 7.563 | 293.987 | 8.96 | 296.399 | 9.571 | 300.133 | 10.299 | 297.433 | 20.952 | 889.4 | 19.352 | 56.6059
2020-05-04 22:00:00 | 7.493 | 289.387 | 9.038 | 292.263 | 9.876 | 296.1 | 10.582 | 292.833 | 20.781 | 889.367 | 19.859 | 53.7849
2020-05-04 22:15:00 | 8.191 | 314.547 | 8.887 | 311.262 | 9.489 | 315.367 | 10.223 | 314.2 | 20.456 | 889.167 | 20.459 | 58.9216
2020-05-04 22:30:00 | 7.618 | 315.093 | 8.657 | 310.847 | 9.134 | 316.9 | 9.594 | 316.8 | 19.714 | 889.817 | 21.776 | 51.5971
2020-05-04 22:45:00 | 7.304 | 300.2 | 8.206 | 301.303 | 8.716 | 309.2 | 9.374 | 306.7 | 19.602 | 890.033 | 22.317 | 50.9022
2020-05-04 23:00:00 | 7.075 | 296.2 | 7.925 | 296.618 | 8.344 | 302.767 | 8.752 | 302.5 | 19.502 | 889.967 | 23.181 | 45.3334
2020-05-04 23:15:00 | 6.035 | 299.68 | 6.953 | 298.832 | 7.453 | 307.1 | 7.813 | 304.1 | 19.06 | 889.817 | 24.104 | 31.0837
2020-05-04 23:30:00 | 6.3 | 298.04 | 6.766 | 298.956 | 7.395 | 304.733 | 7.981 | 302.567 | 18.835 | 889.433 | 24.941 | 26.3705
2020-05-04 23:45:00 | 6.204 | 299.2 | 7.013 | 296.659 | 7.446 | 303.1 | 7.916 | 300.833 | 18.756 | 889.5 | 25.947 | 26.6192