## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-05 00:00:00 | 5.633 | 293.907 | 6.349 | 292.974 | 6.517 | 300.2 | 6.932 | 299.567 | 18.173 | 889.717 | 27.109 | 19.5271
2020-05-05 00:15:00 | 4.402 | 290.187 | 5.108 | 287.967 | 5.388 | 294.067 | 5.935 | 289.567 | 17.794 | 889.567 | 27.805 | 12.5287
2020-05-05 00:30:00 | 3.565 | 286 | 4.279 | 284.696 | 4.635 | 289.567 | 5.22 | 288.667 | 18.064 | 889.667 | 27.904 | 6.609
2020-05-05 00:45:00 | 5.234 | 257.14 | 5.914 | 264.854 | 6.09 | 270.4 | 6.269 | 266.817 | 17.968 | 889.583 | 27.029 | 15.9075
2020-05-05 01:00:00 | 6.138 | 273.907 | 7.112 | 279.756 | 7.555 | 282.133 | 8.176 | 278.8 | 17.51 | 889.7 | 27.904 | 30.219
2020-05-05 01:15:00 | 5.396 | 260.42 | 6.808 | 270.196 | 7.496 | 276.233 | 8.053 | 273.267 | 17.114 | 889.567 | 29.157 | 36.0165
2020-05-05 01:30:00 | 6.63 | 270.613 | 7.654 | 275.922 | 7.978 | 281.4 | 8.225 | 279.8 | 17.048 | 889.917 | 30.408 | 39.008
2020-05-05 01:45:00 | 6.072 | 269.673 | 7.097 | 274.406 | 7.533 | 281 | 8.284 | 279.3 | 16.864 | 890 | 31.243 | 30.1657
2020-05-05 02:00:00 | 6.511 | 274.98 | 7.618 | 280.439 | 8.016 | 283.833 | 8.606 | 282.133 | 16.464 | 889.533 | 32.136 | 34.8952
2020-05-05 02:15:00 | 6.59 | 267.02 | 7.993 | 277.634 | 8.488 | 282.033 | 9.029 | 279.6 | 16.381 | 889.45 | 32.549 | 34.9343
2020-05-05 02:30:00 | 6.891 | 269.287 | 7.703 | 275.117 | 7.925 | 279.467 | 8.556 | 278 | 16.248 | 889.4 | 32.989 | 33.1977
2020-05-05 02:45:00 | 5.065 | 258.127 | 6.571 | 267.01 | 6.923 | 275.067 | 7.358 | 273.8 | 16.077 | 889.417 | 33.339 | 25.9556
2020-05-05 03:00:00 | 5.218 | 255.407 | 6.407 | 266.112 | 6.789 | 272.467 | 7.155 | 270.633 | 15.763 | 889.683 | 33.883 | 26.4487
2020-05-05 03:15:00 | 5.305 | 257.113 | 6.636 | 262.903 | 7.158 | 268.2 | 7.384 | 264.017 | 15.632 | 889.567 | 34.408 | 31.5023
2020-05-05 03:30:00 | 6.184 | 253.46 | 7.302 | 257.275 | 7.694 | 262.333 | 7.888 | 259.3 | 15.058 | 889.783 | 35.101 | 38.8758
2020-05-05 03:45:00 | 6.254 | 245.393 | 7.273 | 251.287 | 7.722 | 257.717 | 7.866 | 253.683 | 14.774 | 889.783 | 36.643 | 39.7669
2020-05-05 04:00:00 | 6.392 | 245.033 | 7.417 | 250.553 | 7.881 | 257.367 | 8.222 | 253.733 | 14.178 | 889.733 | 38.083 | 40.8022
2020-05-05 04:15:00 | 5.91 | 233.627 | 6.707 | 239.144 | 7.315 | 247.433 | 7.385 | 244.433 | 14.345 | 889.733 | 38.597 | 42.9381
2020-05-05 04:30:00 | 6.359 | 241.3 | 7.172 | 245.989 | 7.464 | 252.267 | 7.568 | 247.25 | 13.791 | 889.967 | 39.691 | 45.6866
2020-05-05 04:45:00 | 6.499 | 233.12 | 7.628 | 237.312 | 8.045 | 244.2 | 8.083 | 241.567 | 13.691 | 890.2 | 39.637 | 51.7619
2020-05-05 05:00:00 | 6.773 | 234.207 | 7.789 | 238.893 | 8.25 | 246.267 | 8.358 | 241.8 | 13.266 | 889.95 | 39.909 | 59.8162
2020-05-05 05:15:00 | 7.105 | 231.473 | 8.131 | 235.755 | 8.773 | 241.5 | 8.886 | 238 | 13.393 | 890.017 | 40.149 | 63.5723
2020-05-05 05:30:00 | 6.909 | 234.133 | 8.478 | 242.656 | 9.177 | 248.867 | 9.149 | 245.6 | 13.228 | 889.733 | 40.293 | 59.7757
2020-05-05 05:45:00 | 6.961 | 228.507 | 8.28 | 233.495 | 9.007 | 239.467 | 9.246 | 234.9 | 13.316 | 890 | 40.245 | 61.7994
2020-05-05 06:00:00 | 6.961 | 232.68 | 8.659 | 236.028 | 9.44 | 242.767 | 9.519 | 237.733 | 13.403 | 889.683 | 39.424 | 68.3153
2020-05-05 06:15:00 | 8.301 | 226.98 | 9.767 | 231.538 | 10.723 | 239.767 | 11.112 | 235.233 | 13.531 | 889.733 | 38.352 | 71.2997
2020-05-05 06:30:00 | 7.661 | 227.893 | 9.231 | 233.923 | 10.254 | 241.433 | 10.556 | 238.6 | 12.77 | 889.817 | 37.44 | 64.5649
2020-05-05 06:45:00 | 7.363 | 229.733 | 8.579 | 236.551 | 9.504 | 242.933 | 9.69 | 239.033 | 13.101 | 889.383 | 37.312 | 58.4789
2020-05-05 07:00:00 | 6.693 | 227.9 | 7.856 | 231.13 | 8.429 | 238.533 | 8.839 | 234.967 | 13.406 | 889.583 | 37.083 | 53.0673
2020-05-05 07:15:00 | 6.528 | 224.68 | 7.845 | 228.968 | 8.567 | 236.267 | 8.947 | 232.267 | 13.331 | 889.8 | 36.741 | 43.8079
2020-05-05 07:30:00 | 6.66 | 227.48 | 7.577 | 232.708 | 8.421 | 237.967 | 8.86 | 234.633 | 14.312 | 889.633 | 35.024 | 36.2787
2020-05-05 07:45:00 | 6.51 | 230.167 | 7.288 | 234.578 | 7.698 | 240.167 | 8.026 | 236.767 | 14.824 | 889.883 | 33.723 | 28.7907
2020-05-05 08:00:00 | 5.704 | 222.04 | 6.334 | 224.112 | 6.745 | 227.933 | 6.895 | 225.033 | 15.447 | 889.65 | 32.411 | 24.9061
2020-05-05 08:15:00 | 6.054 | 224.547 | 6.346 | 228.014 | 6.538 | 231.2 | 6.596 | 226.333 | 15.723 | 889.717 | 32.117 | 23.0451
2020-05-05 08:30:00 | 5.055 | 225.067 | 5.334 | 225.595 | 5.439 | 230.033 | 5.731 | 223.867 | 16.114 | 889.85 | 32.635 | 15.1948
2020-05-05 08:45:00 | 5.024 | 263.893 | 5.303 | 268.302 | 5.189 | 271.417 | 5.549 | 267.417 | 16.964 | 889.883 | 33.789 | 14.7208
2020-05-05 09:00:00 | 5.633 | 266.793 | 5.896 | 274.374 | 5.863 | 279.633 | 6.272 | 275.133 | 16.764 | 889.9 | 33.728 | 15.7696
2020-05-05 09:15:00 | 4.836 | 295.72 | 4.978 | 295.477 | 4.936 | 301.933 | 5.285 | 301.267 | 16.748 | 889.85 | 34.312 | 15.9664
2020-05-05 09:30:00 | 4.1 | 297.493 | 4.35 | 297.654 | 4.502 | 302.233 | 4.84 | 299.367 | 17.131 | 889.867 | 33.8 | 15.1045
2020-05-05 09:45:00 | 4.759 | 287.767 | 4.878 | 285.058 | 4.884 | 290.667 | 5.374 | 288.5 | 17.131 | 889.517 | 33.043 | 15.8463
2020-05-05 10:00:00 | 5.365 | 288.227 | 5.926 | 289.396 | 6.077 | 292.867 | 6.34 | 291.6 | 17.064 | 889.433 | 32.251 | 18.3824
2020-05-05 10:15:00 | 5.21 | 312.533 | 5.374 | 311.707 | 5.427 | 312.267 | 5.699 | 307.833 | 17.385 | 889.433 | 32.016 | 15.6218
2020-05-05 10:30:00 | 6.964 | 296.307 | 7.163 | 298.031 | 7.225 | 303.8 | 7.582 | 301.633 | 17.714 | 889.667 | 29.653 | 26.6541
2020-05-05 10:45:00 | 6.616 | 300.387 | 7.2 | 298.702 | 7.46 | 305.233 | 7.92 | 303.6 | 17.539 | 889.867 | 29.672 | 33.1899
2020-05-05 11:00:00 | 8.208 | 287.253 | 8.555 | 289.801 | 8.542 | 293.633 | 8.745 | 289.8 | 18.073 | 889.617 | 28.811 | 31.2891
2020-05-05 11:15:00 | 6.64 | 293.2 | 6.921 | 295.08 | 7.124 | 300.633 | 7.55 | 298.133 | 17.96 | 890.05 | 27.981 | 32.502
2020-05-05 11:30:00 | 6.003 | 284.347 | 6.644 | 283.586 | 6.596 | 285.967 | 7.177 | 282.783 | 18.506 | 889.6 | 27.248 | 32.787
2020-05-05 11:45:00 | 8.026 | 270.12 | 8.157 | 273.044 | 8.276 | 276.8 | 8.531 | 273.033 | 18.398 | 890.033 | 27.379 | 34.4966
2020-05-05 12:00:00 | 7.078 | 277.453 | 7.469 | 284.61 | 7.599 | 289.567 | 7.999 | 285.867 | 18.86 | 889.45 | 25.683 | 35.9959
2020-05-05 12:15:00 | 7.084 | 286.513 | 7.08 | 288.419 | 7.401 | 292.767 | 7.921 | 288.733 | 18.589 | 889.733 | 26.123 | 36.3284
2020-05-05 12:30:00 | 7.255 | 299.787 | 7.71 | 297.78 | 7.942 | 300.9 | 8.24 | 298.6 | 19.285 | 889.483 | 24.688 | 35.3642
2020-05-05 12:45:00 | 7.855 | 278.093 | 8.227 | 283.969 | 8.427 | 289.267 | 8.552 | 283.867 | 19.106 | 890.183 | 23.499 | 37.2934
2020-05-05 13:00:00 | 6.929 | 290.74 | 7.47 | 296.519 | 7.553 | 303.533 | 7.738 | 300.217 | 20.285 | 889.683 | 23.483 | 41.1908
2020-05-05 13:15:00 | 7.049 | 288.98 | 7.07 | 288.947 | 7.261 | 296.533 | 7.75 | 292.8 | 19.706 | 889.567 | 24.528 | 43.7666
2020-05-05 13:30:00 | 7.725 | 285.907 | 8.003 | 288.449 | 8.163 | 293.967 | 8.259 | 292.567 | 20.239 | 889.517 | 23.309 | 41.598
2020-05-05 13:45:00 | 6.858 | 298.2 | 7.294 | 298.894 | 7.225 | 301 | 7.78 | 298.767 | 20.181 | 889.283 | 23.059 | 35.1212
2020-05-05 14:00:00 | 6.992 | 295.893 | 7.301 | 293.55 | 7.661 | 297.6 | 7.913 | 295.1 | 20.789 | 889.767 | 20.869 | 32.3649
2020-05-05 14:15:00 | 7.465 | 280.653 | 8.022 | 282.044 | 8.406 | 285.6 | 8.903 | 282.133 | 21.135 | 889.367 | 19.067 | 34.6877
2020-05-05 14:30:00 | 4.929 | 269.853 | 5.35 | 273.607 | 5.52 | 276.533 | 5.713 | 273.017 | 21.718 | 889.6 | 19.008 | 33.5665
2020-05-05 14:45:00 | 9.165 | 272.413 | 9.119 | 274.754 | 9.342 | 279.433 | 9.519 | 278.133 | 22.123 | 889.533 | 18.521 | 36.607
2020-05-05 15:00:00 | 6.846 | 290.093 | 7.021 | 286.429 | 7.182 | 289.133 | 7.439 | 284.833 | 21.998 | 889.233 | 17.359 | 39.9452
2020-05-05 15:15:00 | 7.151 | 289.393 | 7.506 | 289.45 | 7.6 | 293.133 | 7.961 | 289.033 | 22.068 | 889.167 | 17.669 | 41.2761
2020-05-05 15:30:00 | 7.893 | 283.58 | 8.332 | 287.908 | 8.175 | 291.5 | 8.89 | 291.7 | 22.377 | 889.8 | 16.201 | 45.6191
2020-05-05 15:45:00 | 7.804 | 261.38 | 7.985 | 267.039 | 8.327 | 273.833 | 8.468 | 270.8 | 22.285 | 889.533 | 15.605 | 47.1575
2020-05-05 16:00:00 | 8.496 | 294.933 | 9.2 | 292.255 | 9.518 | 294.333 | 9.689 | 290.333 | 22.548 | 889.4 | 15.315 | 58.2864
2020-05-05 16:15:00 | 8.196 | 286.02 | 9.033 | 286.204 | 9.336 | 288.1 | 9.702 | 285.1 | 22.798 | 889.267 | 15.412 | 59.3202
2020-05-05 16:30:00 | 7.786 | 274.033 | 8.109 | 277.301 | 8.548 | 282.8 | 8.907 | 280.533 | 22.714 | 889.667 | 16.369 | 66.7222
2020-05-05 16:45:00 | 9.989 | 281.313 | 10.472 | 281.614 | 10.506 | 286.767 | 10.844 | 284.4 | 22.194 | 889.6 | 17.072 | 66.0983
2020-05-05 17:00:00 | 9.104 | 285.54 | 10.018 | 290.677 | 10.229 | 296.067 | 10.625 | 292.567 | 22.564 | 889.233 | 17.612 | 58.2785
2020-05-05 17:15:00 | 9.112 | 294.8 | 9.623 | 295.877 | 9.907 | 302.6 | 10.311 | 299.933 | 22.294 | 889.4 | 18.241 | 66.8721
2020-05-05 17:30:00 | 9.967 | 290.613 | 10.253 | 287.337 | 10.4 | 292.367 | 10.891 | 289.767 | 22.423 | 889.7 | 18.004 | 72.4259
2020-05-05 17:45:00 | 9.768 | 277.72 | 10.406 | 281.622 | 10.759 | 287.933 | 11.07 | 284.6 | 22.648 | 889.967 | 17.787 | 63.5545
2020-05-05 18:00:00 | 11.558 | 297.253 | 12.073 | 298.114 | 12.265 | 302.3 | 12.798 | 299.133 | 22.831 | 889.2 | 17.184 | 68.1185
2020-05-05 18:15:00 | 10.982 | 280.12 | 11.655 | 280.628 | 11.742 | 285.467 | 12.266 | 283 | 22.494 | 889.6 | 17.391 | 62.9768
2020-05-05 18:30:00 | 8.903 | 288.533 | 9.497 | 287.688 | 9.421 | 295.567 | 9.972 | 291.367 | 22.314 | 889.533 | 18.052 | 60.0479
2020-05-05 18:45:00 | 10.938 | 275.733 | 11.898 | 277.475 | 12.381 | 279.833 | 12.646 | 278 | 22.314 | 889.433 | 18.156 | 76.2076
2020-05-05 19:00:00 | 10.476 | 284.093 | 11.433 | 286.711 | 11.923 | 290.167 | 12.347 | 289 | 22.252 | 889.6 | 18.192 | 76.5103
2020-05-05 19:15:00 | 9.642 | 291.973 | 10.371 | 294.537 | 10.583 | 299.7 | 10.986 | 295.433 | 22.202 | 889.633 | 19.025 | 70.4186
2020-05-05 19:30:00 | 8.697 | 274.427 | 9.239 | 273.611 | 9.249 | 276.167 | 9.239 | 273.85 | 21.818 | 889.5 | 19.14 | 67.3184
2020-05-05 19:45:00 | 8.91 | 265.927 | 9.734 | 268.868 | 10.093 | 275.433 | 10.478 | 269.367 | 21.844 | 889.4 | 19.493 | 61.9259
2020-05-05 20:00:00 | 9.14 | 297.013 | 9.709 | 296.602 | 9.972 | 301.133 | 10.763 | 296.467 | 22.106 | 889.117 | 20.54 | 71.9776
2020-05-05 20:15:00 | 9.699 | 288.427 | 10.255 | 290.67 | 10.641 | 295.633 | 11.426 | 292.767 | 21.323 | 889.633 | 21.165 | 71.3885
2020-05-05 20:30:00 | 10.399 | 295.84 | 11.338 | 296.777 | 11.667 | 303.667 | 12.135 | 302.567 | 21.302 | 889.65 | 21.781 | 68.5505
2020-05-05 20:45:00 | 8.647 | 328.173 | 9.411 | 322.156 | 9.817 | 326.1 | 10.211 | 325.867 | 20.398 | 889.983 | 26.4 | 63.7172
2020-05-05 21:00:00 | 6.629 | 317.2 | 7.328 | 314.077 | 8.006 | 318.567 | 8.618 | 319.767 | 19.756 | 889.65 | 27.856 | 36.3164
2020-05-05 21:15:00 | 6.173 | 314.427 | 6.936 | 311.632 | 7.24 | 317.433 | 7.744 | 315.8 | 19.631 | 889.933 | 28.92 | 34.1875
2020-05-05 21:30:00 | 6.893 | 312.08 | 7.506 | 308.071 | 8.085 | 313.067 | 8.651 | 311.967 | 19.177 | 889.933 | 30.008 | 49.5976
2020-05-05 21:45:00 | 7.965 | 303.56 | 8.869 | 306.076 | 9.367 | 311.4 | 10.167 | 309.067 | 18.531 | 889.583 | 31.392 | 58.1826
2020-05-05 22:00:00 | 7.826 | 306.32 | 8.128 | 304.522 | 8.494 | 311.267 | 9.262 | 310.367 | 17.844 | 890.033 | 32.427 | 52.8669
2020-05-05 22:15:00 | 7.401 | 322.493 | 8.264 | 316.524 | 8.644 | 322.1 | 9.222 | 318.333 | 17.702 | 889.417 | 33.339 | 53.9391
2020-05-05 22:30:00 | 6.517 | 309.04 | 7.357 | 305.418 | 7.655 | 311.8 | 8.179 | 309.967 | 16.948 | 889.25 | 34.299 | 42.4024
2020-05-05 22:45:00 | 7.143 | 312.693 | 8.026 | 309.388 | 8.272 | 314.967 | 8.752 | 313.067 | 16.964 | 890.267 | 35.051 | 51.0045
2020-05-05 23:00:00 | 8.192 | 318.6 | 8.895 | 314.462 | 9.175 | 320.267 | 9.541 | 320.033 | 16.293 | 889.917 | 36.584 | 56.3103
2020-05-05 23:15:00 | 6.592 | 295.533 | 7.406 | 300.512 | 7.875 | 306.467 | 8.404 | 304.667 | 15.744 | 890.25 | 38.296 | 46.0703
2020-05-05 23:30:00 | 6.932 | 295.053 | 7.702 | 297.076 | 7.796 | 299.767 | 8.35 | 298.1 | 14.938 | 889.717 | 40.045 | 33.8123
2020-05-05 23:45:00 | 7.859 | 279.987 | 8.57 | 288.18 | 9.113 | 293.7 | 9.609 | 291 | 14.624 | 889.783 | 40.36 | 47.2037