## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-06 00:00:00 | 7.883 | 283.12 | 9.122 | 284.236 | 9.423 | 288.3 | 10.05 | 285.633 | 13.987 | 889.583 | 40.643 | 64.9799
2020-05-06 00:15:00 | 8.544 | 285.187 | 9.437 | 285.91 | 10.028 | 290.533 | 10.764 | 288.1 | 13.649 | 889.933 | 39.973 | 74.326
2020-05-06 00:30:00 | 10.578 | 287.747 | 11.563 | 293.696 | 12.482 | 298.967 | 13.371 | 296.6 | 13.122 | 889.3 | 38.712 | 79.0697
2020-05-06 00:45:00 | 13.708 | 291.533 | 15.132 | 296.463 | 15.825 | 300.667 | 16.872 | 299.233 | 13.084 | 889.9 | 38.477 | 79.5124
2020-05-06 01:00:00 | 17.826 | 267.893 | 19.885 | 273.4 | 20.998 | 277.9 | 21.666 | 275.2 | 12.52 | 889.642 | 53.445 | 77.7509
2020-05-06 01:15:00 | 17.1 | 276.82 | 19.678 | 282.47 | 20.128 | 283.433 | 20.995 | 282.733 | 11.778 | 890.05 | 47.253 | 72.6071
2020-05-06 01:30:00 | 17.406 | 264.613 | 19.718 | 276.325 | 20.568 | 280.033 | 20.981 | 277.433 | 11.195 | 889.733 | 44.901 | 78.9894
2020-05-06 01:45:00 | 19.099 | 272.92 | 21.189 | 278.15 | 22.122 | 280.267 | 22.872 | 278.267 | 10.84 | 889.7 | 46.715 | 59.0552
2020-05-06 02:00:00 | 16.918 | 253.707 | 18.293 | 273.288 | 18.954 | 276.867 | 19.817 | 272.9 | 10.241 | 889.617 | 46.907 | 79.1657
2020-05-06 02:15:00 | 17.178 | 257.133 | 19.074 | 274.315 | 19.722 | 277.567 | 20.589 | 274.767 | 10.434 | 890.158 | 44.571 | 79.5316
2020-05-06 02:30:00 | 15.698 | 262.167 | 18.16 | 274.837 | 18.959 | 278.367 | 19.876 | 276.233 | 9.866 | 889.925 | 44.869 | 79.5479
2020-05-06 02:45:00 | 17.957 | 277.72 | 20.321 | 287.631 | 20.777 | 291.4 | 21.494 | 290.033 | 10.068 | 889.808 | 45.403 | 79.4875
2020-05-06 03:00:00 | 15.948 | 282.347 | 17.676 | 287.524 | 18.484 | 291.067 | 19.52 | 289 | 9.804 | 890.025 | 43.264 | 79.5124
2020-05-06 03:15:00 | 14.274 | 274.5 | 16.258 | 288.152 | 16.969 | 289.333 | 18.275 | 289.267 | 9.699 | 890.033 | 42.8 | 79.5707
2020-05-06 03:30:00 | 13.795 | 270.813 | 15.575 | 283.395 | 16.512 | 286.9 | 17.274 | 285.467 | 9.574 | 889.983 | 42.859 | 79.555
2020-05-06 03:45:00 | 13.3 | 268.433 | 15.209 | 277.769 | 15.766 | 280.733 | 16.584 | 279.233 | 9.266 | 890.033 | 43.211 | 79.555
2020-05-06 04:00:00 | 12.766 | 270.533 | 14.168 | 279.846 | 15.071 | 283.433 | 15.296 | 281.567 | 8.933 | 889.65 | 41.973 | 79.3959
2020-05-06 04:15:00 | 9.222 | 257.793 | 10.268 | 272.813 | 10.855 | 276.933 | 11.254 | 272.067 | 8.908 | 889.575 | 42.976 | 79.2673
2020-05-06 04:30:00 | 11.698 | 246.273 | 13.035 | 266.9 | 13.495 | 270.217 | 13.641 | 266.6 | 8.491 | 889.792 | 46.096 | 79.2779
2020-05-06 04:45:00 | 10.982 | 254.187 | 12.387 | 269.47 | 12.7 | 274.133 | 13.058 | 270.433 | 8.501 | 890.192 | 47.888 | 79.1166
2020-05-06 05:00:00 | 11.367 | 245.047 | 12.81 | 265.71 | 13.515 | 269.067 | 13.698 | 266.033 | 8.741 | 890.042 | 48.816 | 79.1102
2020-05-06 05:15:00 | 11.503 | 238.873 | 12.863 | 263.402 | 13.442 | 268.833 | 13.724 | 264.433 | 8.113 | 889.883 | 50.507 | 79.7398
2020-05-06 05:30:00 | 12.686 | 245.327 | 14.684 | 262.779 | 15.17 | 266.8 | 15.468 | 262.317 | 7.706 | 889.967 | 54.336 | 79.6304
2020-05-06 05:45:00 | 13.123 | 250.467 | 15.123 | 267.341 | 15.427 | 270.2 | 15.511 | 268.5 | 7.8 | 890 | 54.096 | 79.6019
2020-05-06 06:00:00 | 14.317 | 246.513 | 16.078 | 261.035 | 16.335 | 265.767 | 16.572 | 262.7 | 7.439 | 890.108 | 53.979 | 78.9212
2020-05-06 06:15:00 | 13.357 | 246.847 | 15.023 | 258.589 | 15.654 | 264.433 | 15.719 | 261.567 | 7.156 | 889.608 | 55.163 | 78.5681
2020-05-06 06:30:00 | 13.951 | 247.373 | 15.712 | 261.878 | 16.182 | 267.2 | 16.756 | 262.167 | 7.322 | 889.7 | 54.448 | 78.4153
2020-05-06 06:45:00 | 13.54 | 254.6 | 14.853 | 267.309 | 15.353 | 272.833 | 15.349 | 267.933 | 7.056 | 890.125 | 55.92 | 78.2092
2020-05-06 07:00:00 | 12.75 | 245.267 | 14.835 | 266.726 | 15.739 | 269.633 | 15.926 | 265.467 | 7.022 | 889.908 | 54.811 | 77.7374
2020-05-06 07:15:00 | 13.318 | 251.613 | 14.986 | 264.655 | 15.571 | 268.6 | 15.828 | 263.533 | 6.922 | 889.725 | 53.744 | 77.299
2020-05-06 07:30:00 | 13.766 | 239.707 | 15.602 | 263.379 | 16.034 | 268.467 | 15.941 | 264.633 | 7.372 | 889.6 | 50.624 | 76.9736
2020-05-06 07:45:00 | 13.329 | 241.64 | 14.606 | 263.497 | 15.021 | 267.933 | 15.416 | 264.033 | 7.766 | 889.708 | 49.787 | 77.3637
2020-05-06 08:00:00 | 13.53 | 237.847 | 14.617 | 265.872 | 15.26 | 271.467 | 15.291 | 267.9 | 7.89 | 889.967 | 49.92 | 78.9901
2020-05-06 08:15:00 | 13.013 | 251.96 | 14.236 | 268.772 | 14.533 | 271.767 | 14.554 | 266.633 | 7.632 | 889.817 | 48.485 | 77.6749
2020-05-06 08:30:00 | 12.391 | 256.507 | 13.655 | 268.848 | 14.239 | 273.667 | 14.314 | 270.4 | 7.803 | 889.792 | 47.024 | 76.8812
2020-05-06 08:45:00 | 11.535 | 251.913 | 12.196 | 269.143 | 12.174 | 273.3 | 12.239 | 269.133 | 7.986 | 889.275 | 46.357 | 74.1761
2020-05-06 09:00:00 | 12.039 | 240.533 | 12.956 | 267.573 | 13.267 | 272.167 | 13.262 | 269.367 | 8.584 | 889.742 | 44.192 | 72.6391
2020-05-06 09:15:00 | 11.559 | 251.92 | 12.889 | 270.257 | 13.214 | 273.7 | 13.008 | 270.4 | 8.578 | 889.842 | 41.117 | 75.3393
2020-05-06 09:30:00 | 11.048 | 254.253 | 12.115 | 275.094 | 12.391 | 278.433 | 12.34 | 276.533 | 8.699 | 889.675 | 41.347 | 77.6031
2020-05-06 09:45:00 | 10.965 | 265.047 | 11.465 | 275.585 | 12.182 | 279.2 | 12.442 | 275.233 | 8.708 | 889.667 | 38.28 | 70.4754
2020-05-06 10:00:00 | 9.997 | 259.42 | 10.978 | 276.906 | 11.079 | 278.5 | 11.213 | 277.2 | 8.804 | 889.633 | 36.669 | 66.5268
2020-05-06 10:15:00 | 9.561 | 273.52 | 10.314 | 284.176 | 10.468 | 288.6 | 10.732 | 286.5 | 9.045 | 890.067 | 35.899 | 70.7355
2020-05-06 10:30:00 | 9.655 | 269.673 | 10.264 | 282.846 | 10.41 | 286.3 | 10.8 | 283.433 | 9.504 | 889.733 | 34.461 | 74.6216
2020-05-06 10:45:00 | 10.209 | 246.227 | 11.164 | 270.231 | 11.397 | 275 | 11.365 | 272.033 | 9.204 | 890.017 | 34.157 | 74.2862
2020-05-06 11:00:00 | 9.109 | 254.733 | 9.459 | 273.928 | 9.889 | 278.133 | 9.837 | 276.5 | 9.424 | 889.983 | 33.651 | 72.556
2020-05-06 11:15:00 | 9.433 | 267.073 | 10.341 | 277.394 | 10.585 | 280.8 | 10.481 | 277.167 | 9.437 | 889.433 | 34.605 | 77.2891
2020-05-06 11:30:00 | 9.784 | 259.913 | 10.489 | 277.75 | 10.337 | 281.133 | 10.815 | 277.833 | 9.466 | 889.783 | 36.563 | 78.6889
2020-05-06 11:45:00 | 10.57 | 258.607 | 11.44 | 275.077 | 11.553 | 279.133 | 11.577 | 276.933 | 9.664 | 889.567 | 35.2 | 78.6746
2020-05-06 12:00:00 | 10.638 | 251.947 | 11.244 | 272.179 | 11.365 | 276.6 | 11.34 | 273.6 | 9.872 | 889.767 | 32.84 | 79.0704
2020-05-06 12:15:00 | 10.702 | 264.947 | 11.926 | 276.904 | 12.2 | 279.833 | 12.426 | 277.467 | 10.068 | 889.533 | 30.933 | 77.5569
2020-05-06 12:30:00 | 10.104 | 284.327 | 10.578 | 294.263 | 10.6 | 297.033 | 10.904 | 295.067 | 10.38 | 890.05 | 28.691 | 72.9297
2020-05-06 12:45:00 | 9.908 | 256.427 | 10.812 | 273.587 | 11.103 | 274.733 | 11.214 | 269.5 | 10.711 | 889.717 | 27.328 | 71.1803
2020-05-06 13:00:00 | 9.567 | 276.6 | 9.859 | 283.483 | 10.16 | 284.767 | 10.476 | 282.467 | 11.211 | 889.617 | 26.157 | 68.2165
2020-05-06 13:15:00 | 8.498 | 256.033 | 8.949 | 271.291 | 9.207 | 274.4 | 9.375 | 270.55 | 11.345 | 890.067 | 26.211 | 63.1054
2020-05-06 13:30:00 | 9.115 | 251.273 | 9.574 | 266.942 | 9.594 | 271 | 9.637 | 268.883 | 12.032 | 889.783 | 24.832 | 66.4621
2020-05-06 13:45:00 | 9.341 | 273.547 | 10.027 | 282.687 | 10.47 | 285.067 | 10.727 | 283.7 | 11.87 | 889.9 | 24.168 | 63.0933
2020-05-06 14:00:00 | 9.152 | 274.647 | 9.652 | 283.127 | 9.776 | 290.367 | 10.068 | 286.3 | 12.859 | 889.967 | 22.027 | 60.0955
2020-05-06 14:15:00 | 8.476 | 286.173 | 8.773 | 293.081 | 8.96 | 296.033 | 9.065 | 292.667 | 13.297 | 889.617 | 19.575 | 57.0365
2020-05-06 14:30:00 | 8.6 | 283.413 | 9.547 | 290.391 | 9.828 | 295.533 | 10.149 | 294.267 | 13.466 | 889.6 | 18.641 | 63.2042
2020-05-06 14:45:00 | 8.97 | 299.207 | 9.645 | 304.156 | 9.906 | 309.933 | 10.118 | 305.6 | 14.033 | 889.7 | 17.356 | 56.355
2020-05-06 15:00:00 | 10.133 | 284.633 | 10.816 | 286.27 | 11.139 | 291.033 | 11.394 | 289.867 | 14.534 | 889.3 | 16.489 | 69.3612
2020-05-06 15:15:00 | 11.709 | 283.647 | 12.118 | 286.868 | 12.122 | 290.533 | 12.845 | 288.4 | 14.908 | 889.333 | 15.969 | 74.8632
2020-05-06 15:30:00 | 11.809 | 292.667 | 12.031 | 296.866 | 12.686 | 299.733 | 13.091 | 296.333 | 14.399 | 889.5 | 17.947 | 77.0674
2020-05-06 15:45:00 | 12.689 | 293.813 | 13.821 | 301.26 | 14.177 | 306.667 | 14.517 | 304.8 | 14.312 | 889.5 | 18.356 | 79.3213
2020-05-06 16:00:00 | 12.38 | 276.22 | 13.57 | 284.692 | 14.034 | 289.6 | 14.628 | 287 | 14.254 | 889.5 | 18.256 | 79.3248
2020-05-06 16:15:00 | 12.184 | 297.48 | 12.467 | 301.454 | 12.743 | 303.967 | 12.948 | 301.767 | 14.12 | 889.633 | 18.7 | 74.8824
2020-05-06 16:30:00 | 10.402 | 275.013 | 11.279 | 282.488 | 11.55 | 285.067 | 11.971 | 282.4 | 14.541 | 889.533 | 18.699 | 75.082
2020-05-06 16:45:00 | 11.404 | 280.8 | 12.235 | 290.49 | 12.632 | 294.767 | 13.204 | 293.233 | 14.478 | 889.4 | 18.184 | 79.3881
2020-05-06 17:00:00 | 13.996 | 289.48 | 14.726 | 295.373 | 15.057 | 299.867 | 15.748 | 299.067 | 14.778 | 889.6 | 17.96 | 79.4186
2020-05-06 17:15:00 | 13.206 | 271.34 | 13.88 | 281.487 | 14.421 | 285.367 | 14.501 | 283.833 | 13.916 | 889.3 | 19.039 | 79.2097
2020-05-06 17:30:00 | 15.178 | 285.913 | 16.472 | 293.683 | 17.067 | 299.033 | 17.61 | 295.6 | 14.012 | 889.6 | 20.196 | 79.8435
2020-05-06 17:45:00 | 13.833 | 281.933 | 14.861 | 286.849 | 15.252 | 289.4 | 15.654 | 287.633 | 13.766 | 889.567 | 20.568 | 79.8506
2020-05-06 18:00:00 | 14.281 | 284.213 | 15.001 | 289.799 | 15.465 | 293.2 | 15.816 | 292.967 | 13.874 | 889.717 | 20.811 | 79.6545
2020-05-06 18:15:00 | 13.155 | 266.6 | 14.087 | 276.951 | 14.685 | 281.833 | 14.932 | 278.9 | 13.228 | 889.467 | 21.845 | 79.8379
2020-05-06 18:30:00 | 15.703 | 280.747 | 17.139 | 282.19 | 17.546 | 285 | 18.243 | 283.9 | 12.86 | 889.717 | 23.059 | 79.8165
2020-05-06 18:45:00 | 15.409 | 278.433 | 16.533 | 286.703 | 16.855 | 291.2 | 17.438 | 289.367 | 12.49 | 889.717 | 23.645 | 79.7469
2020-05-06 19:00:00 | 14.669 | 275.34 | 15.646 | 283.489 | 16.058 | 285.9 | 16.886 | 284.567 | 12.078 | 889.533 | 24.131 | 79.8165
2020-05-06 19:15:00 | 13.522 | 275.727 | 14.92 | 282.76 | 15.283 | 286.5 | 16.038 | 285.533 | 11.916 | 889.6 | 23.405 | 79.8435
2020-05-06 19:30:00 | 13.809 | 290.16 | 15.132 | 296.362 | 15.921 | 299.2 | 16.658 | 296.967 | 11.853 | 890.117 | 23.171 | 79.8705
2020-05-06 19:45:00 | 12.808 | 277.827 | 14.29 | 285.421 | 14.547 | 288.4 | 14.92 | 287.033 | 11.211 | 889.583 | 24.645 | 79.8521
2020-05-06 20:00:00 | 11.784 | 273.247 | 13.263 | 282.266 | 13.919 | 286.4 | 14.559 | 283.733 | 11.128 | 889.8 | 25.077 | 79.8364
2020-05-06 20:15:00 | 12.518 | 272.42 | 13.862 | 282.476 | 14.226 | 285.4 | 14.989 | 284.033 | 11.078 | 890 | 26.213 | 79.8066
2020-05-06 20:30:00 | 12.858 | 278.873 | 14.183 | 289.802 | 14.957 | 292.8 | 15.867 | 291.967 | 10.401 | 889.467 | 27.091 | 79.7682
2020-05-06 20:45:00 | 13.001 | 276.373 | 14.774 | 289.091 | 15.611 | 295.367 | 16.636 | 292.8 | 10.095 | 889.317 | 28.525 | 79.7682
2020-05-06 21:00:00 | 11.843 | 285.893 | 13.675 | 294.945 | 14.378 | 297.6 | 15.382 | 295.867 | 9.299 | 889.717 | 29.827 | 79.8236
2020-05-06 21:15:00 | 11.909 | 281.933 | 13.245 | 292.775 | 14.127 | 297.867 | 14.958 | 295.667 | 9.212 | 889.783 | 30.067 | 79.8478
2020-05-06 21:30:00 | 10.975 | 280.773 | 12.617 | 286.32 | 13.48 | 290.033 | 14.572 | 290.667 | 8.284 | 889.6 | 30.197 | 79.8535
2020-05-06 21:45:00 | 12.842 | 277.74 | 14.426 | 287.236 | 15.233 | 290.867 | 16.331 | 289.367 | 8.371 | 889.85 | 30.048 | 79.8535
2020-05-06 22:00:00 | 13.231 | 280.007 | 14.794 | 286.131 | 15.657 | 289.233 | 16.764 | 287.467 | 8.083 | 890.083 | 30.224 | 79.8535
2020-05-06 22:15:00 | 12.384 | 264.507 | 14.079 | 282.349 | 14.692 | 286.2 | 15.246 | 285.233 | 8.046 | 890.1 | 30.232 | 79.8535
2020-05-06 22:30:00 | 11.316 | 271.927 | 12.95 | 281.737 | 13.861 | 286.1 | 14.754 | 284.767 | 7.963 | 889.783 | 29.435 | 79.8535
2020-05-06 22:45:00 | 11.45 | 267.113 | 13.089 | 279.081 | 13.735 | 281.333 | 14.161 | 279.6 | 8.13 | 889.65 | 29.053 | 79.8535
2020-05-06 23:00:00 | 11.224 | 268.073 | 12.832 | 276.639 | 13.524 | 281.767 | 13.952 | 280.367 | 8.02 | 889.417 | 28.475 | 79.8535
2020-05-06 23:15:00 | 11.225 | 276.04 | 12.629 | 281.611 | 12.925 | 283.933 | 13.715 | 284.167 | 7.833 | 890.017 | 28.725 | 79.8052
2020-05-06 23:30:00 | 10.908 | 262.813 | 11.906 | 280.359 | 12.64 | 284.167 | 13.442 | 282.133 | 7.522 | 889.983 | 29.411 | 79.7924
2020-05-06 23:45:00 | 10.5 | 262.54 | 12.11 | 274.02 | 12.649 | 278.6 | 13.439 | 275.767 | 6.833 | 889.867 | 30.507 | 79.8649