## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-07 00:00:00 | 10.488 | 262.893 | 11.99 | 270.436 | 12.618 | 274.667 | 13.216 | 273.4 | 6.989 | 889.717 | 30.515 | 79.7931
2020-05-07 00:15:00 | 10.249 | 268.28 | 11.175 | 278.529 | 11.544 | 282.767 | 12.198 | 281.567 | 6.854 | 889.633 | 29.963 | 78.9674
2020-05-07 00:30:00 | 8.374 | 258.7 | 9.371 | 275.399 | 10.041 | 280.033 | 10.315 | 277.733 | 6.571 | 890.083 | 30.245 | 59.3927
2020-05-07 00:45:00 | 8.383 | 253.36 | 9.173 | 272.116 | 9.65 | 276.933 | 10.183 | 274.4 | 6.536 | 889.9 | 31.208 | 51.8401
2020-05-07 01:00:00 | 8.129 | 241.007 | 9.35 | 258.189 | 9.63 | 263.767 | 9.941 | 261.5 | 6.27 | 889.283 | 31.915 | 57.806
2020-05-07 01:15:00 | 8.404 | 241.08 | 9.951 | 260.807 | 10.666 | 267.1 | 11.266 | 263.85 | 6.261 | 889.75 | 33.056 | 76.3511
2020-05-07 01:30:00 | 9.659 | 245.427 | 11.054 | 263.812 | 11.471 | 268.967 | 11.998 | 266.7 | 6.215 | 890 | 33.533 | 76.8513
2020-05-07 01:45:00 | 9.836 | 240.173 | 11.51 | 269.707 | 11.954 | 274.8 | 12.358 | 272.667 | 6.389 | 889.75 | 33.971 | 77.3807
2020-05-07 02:00:00 | 9.53 | 247.327 | 11.348 | 273.378 | 11.864 | 277.2 | 12.435 | 277.167 | 6.462 | 889.167 | 34.656 | 75.8302
2020-05-07 02:15:00 | 9.631 | 258.053 | 11.011 | 277.578 | 11.46 | 279.3 | 12.123 | 278.867 | 5.962 | 889.533 | 35.765 | 75.6576
2020-05-07 02:30:00 | 9.862 | 256.413 | 11.18 | 274.509 | 11.795 | 278.467 | 12.369 | 275.367 | 6.035 | 890.017 | 36.557 | 75.4664
2020-05-07 02:45:00 | 8.394 | 245.32 | 9.974 | 270.768 | 10.605 | 275.767 | 11.35 | 273.833 | 5.3 | 889.733 | 37.533 | 68.9619
2020-05-07 03:00:00 | 7.832 | 249.447 | 8.963 | 270.746 | 9.684 | 273.7 | 9.951 | 268.533 | 5.468 | 890.1 | 38.192 | 67.0995
2020-05-07 03:15:00 | 8.113 | 241.42 | 9.248 | 262.566 | 9.595 | 270.067 | 9.785 | 266.133 | 5.521 | 889.983 | 38.819 | 71.6173
2020-05-07 03:30:00 | 8.272 | 241.807 | 9.2 | 252.01 | 9.685 | 256.917 | 9.666 | 254.183 | 5.213 | 889.767 | 39.203 | 73.9224
2020-05-07 03:45:00 | 8.003 | 237.92 | 9.429 | 250.195 | 9.852 | 256.167 | 9.789 | 252.4 | 5.352 | 889.733 | 39.664 | 71.2848
2020-05-07 04:00:00 | 7.336 | 241.707 | 8.34 | 255.563 | 8.761 | 260.433 | 8.902 | 256.7 | 4.885 | 889.667 | 39.715 | 64.4392
2020-05-07 04:15:00 | 8.251 | 242.667 | 9.51 | 251.465 | 10.015 | 258.3 | 10.003 | 254.667 | 5.11 | 890.317 | 39.944 | 63.752
2020-05-07 04:30:00 | 7.608 | 241 | 8.945 | 253.358 | 9.702 | 258.667 | 9.903 | 255.433 | 4.612 | 889.783 | 40.64 | 58.0703
2020-05-07 04:45:00 | 8.32 | 236.86 | 10.175 | 260.679 | 11.103 | 267.1 | 11.627 | 264.7 | 4.468 | 890.092 | 40.976 | 52.0149
2020-05-07 05:00:00 | 9.79 | 238.24 | 11.842 | 257.562 | 13.066 | 264.767 | 13.535 | 261 | 4.613 | 890.067 | 40.379 | 53.5924
2020-05-07 05:15:00 | 9.581 | 238.873 | 11.658 | 261.157 | 12.702 | 265.3 | 12.975 | 262.267 | 4.869 | 889.833 | 40.499 | 54.1423
2020-05-07 05:30:00 | 9.733 | 241.867 | 11.947 | 255.035 | 13.055 | 260.7 | 13.654 | 257.75 | 4.666 | 889.8 | 40.483 | 52.6487
2020-05-07 05:45:00 | 8.723 | 239.987 | 10.907 | 257.214 | 12.165 | 261.8 | 12.629 | 257.883 | 4.816 | 890.017 | 40.651 | 53.3394
2020-05-07 06:00:00 | 8.682 | 242.613 | 10.58 | 262.543 | 11.632 | 268.8 | 12.04 | 264.567 | 4.716 | 889.667 | 40.675 | 52.982
2020-05-07 06:15:00 | 8.958 | 235.707 | 10.519 | 260.407 | 11.255 | 265.5 | 12.079 | 262.183 | 4.785 | 889.933 | 40.181 | 53.6208
2020-05-07 06:30:00 | 9.846 | 245.46 | 11.527 | 263.587 | 12.76 | 267.467 | 13.502 | 263.967 | 4.802 | 889.833 | 39.693 | 53.6734
2020-05-07 06:45:00 | 10.497 | 229.947 | 11.965 | 263.194 | 12.84 | 267.767 | 13.152 | 265.8 | 5.075 | 889.6 | 38.845 | 54.3001
2020-05-07 07:00:00 | 9.455 | 234.24 | 10.778 | 264.744 | 11.515 | 269.333 | 11.872 | 266.4 | 5.122 | 889.5 | 38.307 | 53.5348
2020-05-07 07:15:00 | 9.295 | 237.247 | 10.324 | 263.737 | 10.907 | 267.633 | 11.091 | 265.433 | 5.514 | 889.567 | 37.293 | 52.6999
2020-05-07 07:30:00 | 9.267 | 235.793 | 10.815 | 265.362 | 11.38 | 270.367 | 11.849 | 266.3 | 5.756 | 889.717 | 37.643 | 53.4467
2020-05-07 07:45:00 | 9.261 | 243.527 | 10.131 | 267.52 | 10.568 | 271.333 | 10.523 | 269.2 | 6.147 | 889.717 | 36.067 | 54.8287
2020-05-07 08:00:00 | 8.75 | 252.66 | 9.571 | 272.963 | 9.645 | 276.833 | 9.816 | 273.9 | 6.197 | 890.1 | 35.896 | 57.3598
2020-05-07 08:15:00 | 7.975 | 269.26 | 8.689 | 277.926 | 8.918 | 282.367 | 9.199 | 279.6 | 6.654 | 889.933 | 35.152 | 53.8823
2020-05-07 08:30:00 | 9.422 | 273.507 | 10.025 | 283.183 | 10.03 | 284.267 | 10.278 | 281.867 | 6.843 | 889.617 | 35.243 | 48.9737
2020-05-07 08:45:00 | 7.523 | 283.28 | 7.976 | 288.994 | 7.89 | 293.233 | 8.115 | 291.967 | 7.239 | 890.083 | 35.285 | 38.0274
2020-05-07 09:00:00 | 7.208 | 266.073 | 7.663 | 286.361 | 7.622 | 291.067 | 7.905 | 291.067 | 7.559 | 890.133 | 35.299 | 30.8997
2020-05-07 09:15:00 | 6.706 | 297.933 | 7.167 | 301.37 | 7.141 | 307.233 | 7.464 | 307.433 | 7.589 | 889.817 | 34.803 | 23.9539
2020-05-07 09:30:00 | 5.774 | 299.693 | 5.92 | 303.06 | 5.957 | 311.733 | 6.045 | 312.467 | 7.883 | 889.8 | 34.077 | 16.2855
2020-05-07 09:45:00 | 5.016 | 301.58 | 5.158 | 302.143 | 5.28 | 304.2 | 5.732 | 300.467 | 8.495 | 889.9 | 32.52 | 10.6343
2020-05-07 10:00:00 | 4.569 | 283.68 | 4.72 | 332.484 | 5.12 | 323.267 | 5.25 | 334.267 | 8.941 | 889.95 | 30.171 | 5.8941
2020-05-07 10:15:00 | 3.695 | 316.407 | 3.733 | 325.27 | 3.954 | 337.7 | 4.272 | 325.733 | 9.178 | 890.017 | 28.693 | 4.7835
2020-05-07 10:30:00 | 2.54 | 158.721 | 2.568 | 241.259 | 2.519 | 173.867 | 2.827 | 204.867 | 9.974 | 890.25 | 28.08 | 5.7201
2020-05-07 10:45:00 | 5.447 | 323.933 | 5.708 | 321.292 | 5.806 | 326.867 | 5.923 | 327.133 | 9.86 | 889.95 | 27.355 | 10.3068
2020-05-07 11:00:00 | 4.34 | 186.467 | 4.504 | 311.098 | 4.807 | 300.5 | 5.113 | 310.1 | 9.833 | 890.167 | 27.453 | 9.425
2020-05-07 11:15:00 | 2.853 | 302.893 | 2.98 | 305.968 | 3.033 | 295.983 | 3.598 | 310.467 | 10.761 | 889.7 | 26.037 | 7.7544
2020-05-07 11:30:00 | 4.862 | 212.922 | 4.893 | 304.64 | 4.884 | 274.6 | 5.095 | 289.567 | 10.674 | 889.617 | 25.675 | 10.8923
2020-05-07 11:45:00 | 4.12 | 291.88 | 4.727 | 295.935 | 4.662 | 287.9 | 5.007 | 284.933 | 10.522 | 889.783 | 24.955 | 6.7156
2020-05-07 12:00:00 | 4.577 | 275.78 | 4.668 | 281.745 | 4.699 | 281.767 | 4.9 | 278.733 | 11.42 | 889.95 | 23.603 | 8.7208
2020-05-07 12:15:00 | 3.966 | 258.067 | 3.827 | 252.738 | 4.132 | 252.6 | 4.572 | 246.95 | 11.578 | 889.717 | 23.365 | 14.1161
2020-05-07 12:30:00 | 6.341 | 320.053 | 6.336 | 326.686 | 6.717 | 331.933 | 6.893 | 333.8 | 11.599 | 889.933 | 21.963 | 18.732
2020-05-07 12:45:00 | 8.874 | 312.053 | 8.933 | 309.54 | 9.241 | 314.933 | 9.698 | 314.5 | 11.666 | 889.667 | 22.029 | 29.0437
2020-05-07 13:00:00 | 6.055 | 270.847 | 6.548 | 278.513 | 6.904 | 285.3 | 7.492 | 285.433 | 11.649 | 890.133 | 22.629 | 27.246
2020-05-07 13:15:00 | 7.595 | 323.453 | 7.87 | 332.487 | 8.22 | 338.933 | 8.319 | 338.267 | 11.578 | 889.833 | 21.901 | 38.9256
2020-05-07 13:30:00 | 8.282 | 282.967 | 8.656 | 291.834 | 8.792 | 296.033 | 9.234 | 295.767 | 11.64 | 889.6 | 20.383 | 35.35
2020-05-07 13:45:00 | 8.09 | 291.373 | 8.465 | 296.142 | 8.764 | 302.067 | 9.021 | 303 | 11.686 | 890.133 | 21.765 | 38.6854
2020-05-07 14:00:00 | 7.694 | 290.507 | 8.343 | 299.396 | 8.84 | 301.5 | 9.289 | 300 | 11.949 | 889.433 | 19.919 | 37.5115
2020-05-07 14:15:00 | 8.678 | 313.52 | 8.91 | 311.031 | 8.953 | 317.8 | 9.146 | 314.667 | 12.622 | 889.467 | 19.08 | 39.2212
2020-05-07 14:30:00 | 5.177 | 291.9 | 5.261 | 299.344 | 5.293 | 304.933 | 5.888 | 307.9 | 12.228 | 889.567 | 19.064 | 28.466
2020-05-07 14:45:00 | 6.823 | 315.067 | 7.151 | 314.974 | 7.42 | 318.767 | 7.656 | 315.8 | 13.02 | 890.033 | 17.773 | 31.2784
2020-05-07 15:00:00 | 5.84 | 273.6 | 6.327 | 285.104 | 6.781 | 290.3 | 6.964 | 287.467 | 12.968 | 889.533 | 17.036 | 28.299
2020-05-07 15:15:00 | 7.118 | 314.84 | 7.925 | 313.689 | 8.056 | 314.867 | 8.246 | 300.9 | 13.845 | 889.433 | 15.952 | 37.3538
2020-05-07 15:30:00 | 9.135 | 305.933 | 9.228 | 305.014 | 9.326 | 310.633 | 9.619 | 306.933 | 13.726 | 889.6 | 15.608 | 31.5179
2020-05-07 15:45:00 | 9.678 | 316.04 | 9.791 | 311.295 | 10.267 | 314.933 | 10.45 | 314.167 | 13.964 | 889.367 | 14.531 | 33.3732
2020-05-07 16:00:00 | 6.34 | 289.6 | 7.286 | 299.656 | 7.534 | 308.567 | 7.885 | 305.533 | 13.604 | 889.633 | 15.905 | 26.7209
2020-05-07 16:15:00 | 7.298 | 287.433 | 7.61 | 292.848 | 8.071 | 300.867 | 8.351 | 298.833 | 12.982 | 889.4 | 17.128 | 32.5283
2020-05-07 16:30:00 | 5.16 | 262.501 | 5.085 | 313.853 | 5.237 | 301.833 | 5.736 | 299.133 | 12.851 | 889.3 | 16.615 | 30.349
2020-05-07 16:45:00 | 9.16 | 319.173 | 9.787 | 315.412 | 9.999 | 321.467 | 10.092 | 319.6 | 13.303 | 889.867 | 16.883 | 32.8609
2020-05-07 17:00:00 | 4.549 | 140.66 | 4.636 | 300.864 | 5.192 | 242.433 | 5.693 | 274.367 | 13.945 | 889.4 | 15.5 | 25.196
2020-05-07 17:15:00 | 5.534 | 243.721 | 5.886 | 262.535 | 6.233 | 265.967 | 6.506 | 253.1 | 13.53 | 889.6 | 15.84 | 27.5806
2020-05-07 17:30:00 | 7.539 | 198.603 | 8.084 | 287.582 | 8.088 | 172 | 8.326 | 255 | 13.722 | 889.567 | 15.424 | 29.318
2020-05-07 17:45:00 | 6.555 | 89.734 | 7.083 | 142.88 | 7.231 | 36.8 | 7.269 | 84.133 | 13.649 | 889.533 | 14.251 | 19.5178
2020-05-07 18:00:00 | 5.368 | 299.188 | 5.666 | 316.466 | 5.936 | 321 | 6.157 | 308.1 | 14.17 | 889.367 | 12.892 | 27.8151
2020-05-07 18:15:00 | 5.503 | 258.748 | 6.13 | 270.855 | 6.336 | 263.667 | 6.639 | 274.467 | 14.204 | 889.7 | 12.196 | 24.7007
2020-05-07 18:30:00 | 6.591 | 312.227 | 6.622 | 308.641 | 6.7 | 313.3 | 6.974 | 312.7 | 14.399 | 889.033 | 12.576 | 30.9096
2020-05-07 18:45:00 | 7.303 | 312.493 | 7.337 | 340.255 | 7.291 | 299.733 | 7.659 | 348.133 | 14.524 | 889.333 | 11.728 | 28.1818
2020-05-07 19:00:00 | 6.083 | 305.787 | 6.621 | 333.401 | 6.775 | 287.633 | 7.14 | 299.6 | 14.674 | 889.867 | 11.105 | 21.6105
2020-05-07 19:15:00 | 5.346 | 261.013 | 5.458 | 339.967 | 5.513 | 320.633 | 5.836 | 308.067 | 14.166 | 889.7 | 11.267 | 17.2533
2020-05-07 19:30:00 | 4.308 | 322.333 | 4.316 | 309.864 | 4.6 | 312.638 | 4.899 | 322.467 | 14.541 | 889.3 | 11.263 | 19.3374
2020-05-07 19:45:00 | 7.152 | 307.087 | 7.86 | 336.42 | 7.92 | 341.1 | 8.004 | 340.3 | 14.941 | 889.567 | 11.297 | 25.0809
2020-05-07 20:00:00 | 6.48 | 310.053 | 6.886 | 339.47 | 7.059 | 333.067 | 7.248 | 330.3 | 14.658 | 889.633 | 11.608 | 25.6678
2020-05-07 20:15:00 | 4.839 | 279.693 | 5.288 | 349.178 | 5.408 | 212.8 | 5.682 | 269.533 | 14.262 | 889.9 | 11.32 | 21.4129
2020-05-07 20:30:00 | 4.287 | 346.213 | 4.388 | 340.469 | 4.4 | 308.667 | 4.896 | 330.833 | 14.612 | 889.433 | 11.824 | 17.74
2020-05-07 20:45:00 | 4.714 | 346.467 | 5.327 | 340.215 | 5.562 | 344.133 | 5.882 | 343.633 | 14.112 | 889.367 | 11.936 | 14.3989
2020-05-07 21:00:00 | 2.792 | 343.693 | 3.275 | 342.517 | 3.487 | 343.6 | 3.959 | 342.3 | 13.303 | 889.667 | 12.515 | 3.7774
2020-05-07 21:15:00 | 2.259 | 336.293 | 2.743 | 330.79 | 2.773 | 339 | 3.244 | 340.067 | 13.337 | 889.467 | 13.073 | 1.0772
2020-05-07 21:30:00 | 1.486 | 348.92 | 1.608 | 349.78 | 1.603 | 353.133 | 2.503 | 352.667 | 13.014 | 889.567 | 13.655 | 0.19327
2020-05-07 21:45:00 | 0.407 | 348.92 | 1.126 | 352.725 | 0.702 | 352.133 | 2.166 | 353.167 | 12.83 | 889.633 | 14.137 | 0.2153
2020-05-07 22:00:00 | 0.829 | 310.713 | 0 | 353.041 | 0 | 352.667 | 1.51 | 353 | 11.978 | 889.833 | 14.627 | 0.18333
2020-05-07 22:15:00 | 2.603 | 223.98 | 0.802 | 279.651 | 0 | 330.733 | 0.816 | 352.867 | 11.361 | 889.7 | 14.733 | 0.16627
2020-05-07 22:30:00 | 3.034 | 230.413 | 2.02 | 238.508 | 1.817 | 252.133 | 1.817 | 278.933 | 12.111 | 890.033 | 14.917 | 0.18901
2020-05-07 22:45:00 | 4.228 | 226.7 | 2.03 | 238.47 | 1.911 | 245.2 | 2.02 | 271.9 | 11.278 | 889.633 | 14.893 | 0.17338
2020-05-07 23:00:00 | 5.424 | 223.493 | 4.879 | 231.349 | 4.254 | 233.8 | 3.405 | 228.4 | 8.527 | 889.167 | 15.611 | 1.7999
2020-05-07 23:15:00 | 5.62 | 225 | 5.08 | 234.331 | 4.572 | 243.733 | 4.387 | 234.567 | 7.873 | 889.3 | 16.376 | 14.1453
2020-05-07 23:30:00 | 5.414 | 243.2 | 6.33 | 264.16 | 6.773 | 274.333 | 7.334 | 272.967 | 8.828 | 889.033 | 17.311 | 23.9873
2020-05-07 23:45:00 | 5.007 | 243.32 | 5.055 | 261.108 | 5.022 | 272.267 | 5.255 | 271.233 | 9.412 | 889.367 | 17.237 | 13.7104