## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-08 00:00:00 | 4.264 | 236.42 | 4.819 | 255.666 | 5.267 | 267 | 5.756 | 267.567 | 8.578 | 889.633 | 18.143 | 14.3442
2020-05-08 00:15:00 | 4.93 | 236.853 | 6.095 | 252.036 | 6.311 | 263.9 | 6.667 | 262.65 | 8.297 | 889.367 | 19.211 | 24.1046
2020-05-08 00:30:00 | 4.877 | 249.927 | 6.477 | 260.669 | 7.165 | 271.633 | 7.803 | 269.8 | 8.82 | 889.867 | 19.515 | 32.3926
2020-05-08 00:45:00 | 6.053 | 249.313 | 8.005 | 273.238 | 8.92 | 278.6 | 9.532 | 276.2 | 9.312 | 889.4 | 19.199 | 45.2681
2020-05-08 01:00:00 | 6.582 | 244.16 | 8.229 | 265.921 | 8.671 | 272.4 | 8.936 | 268.967 | 9.154 | 889.5 | 18.812 | 52.6601
2020-05-08 01:15:00 | 6.459 | 245.547 | 8.336 | 265.34 | 8.957 | 271.567 | 9.312 | 266.6 | 9.533 | 889.167 | 19.853 | 52.1705
2020-05-08 01:30:00 | 6.915 | 245.027 | 8.668 | 264.687 | 9.368 | 269.533 | 9.712 | 266.2 | 9.249 | 889.767 | 20.236 | 55.5429
2020-05-08 01:45:00 | 7.388 | 246.893 | 8.782 | 262.2 | 9.558 | 266.867 | 10.055 | 264.133 | 9.245 | 889.267 | 20.492 | 58.9571
2020-05-08 02:00:00 | 7.033 | 239.273 | 8.559 | 262.944 | 9.5 | 267.533 | 10.097 | 264.05 | 9.404 | 889.267 | 20.564 | 59.6101
2020-05-08 02:15:00 | 7.318 | 237.167 | 8.66 | 262.08 | 9.396 | 267.8 | 9.774 | 264.067 | 9.112 | 889.817 | 20.661 | 58.3105
2020-05-08 02:30:00 | 6.845 | 246.213 | 8.652 | 263.456 | 9.402 | 267.933 | 9.722 | 264.117 | 9.162 | 889.433 | 20.485 | 52.432
2020-05-08 02:45:00 | 6.911 | 246.78 | 8.165 | 258.955 | 8.883 | 264.133 | 9.211 | 261.2 | 9.216 | 889.75 | 20.787 | 44.9959
2020-05-08 03:00:00 | 5.254 | 251.673 | 6.854 | 256.994 | 7.534 | 263.367 | 7.814 | 259.667 | 8.474 | 889.517 | 21.32 | 42.4407
2020-05-08 03:15:00 | 5.715 | 249.067 | 7.466 | 258.766 | 8.284 | 264.833 | 8.706 | 261.433 | 8.21 | 889.633 | 21.899 | 41.1574
2020-05-08 03:30:00 | 5.975 | 247.3 | 7.489 | 255.525 | 8.078 | 261.5 | 8.418 | 259.1 | 8.063 | 889.55 | 22.019 | 40.5307
2020-05-08 03:45:00 | 5.718 | 249.573 | 7.105 | 255.551 | 7.504 | 261.433 | 8.032 | 258.017 | 8.13 | 889.817 | 22.021 | 33.8223
2020-05-08 04:00:00 | 4.942 | 241.033 | 6.694 | 251.671 | 7.358 | 258.667 | 7.624 | 256.467 | 7.472 | 889.317 | 22.459 | 30.344
2020-05-08 04:15:00 | 5.671 | 222.367 | 6.718 | 227.385 | 6.606 | 236.967 | 6.337 | 240.333 | 6.442 | 889.617 | 23.632 | 28.1093
2020-05-08 04:30:00 | 6.069 | 229.467 | 6.068 | 234.369 | 6.171 | 244.233 | 6.179 | 245.333 | 6.939 | 889.65 | 23.253 | 25.7033
2020-05-08 04:45:00 | 6.131 | 224.453 | 6.823 | 233.077 | 7.028 | 241.3 | 6.905 | 239.967 | 6.834 | 889.667 | 23.392 | 26.4992
2020-05-08 05:00:00 | 5.114 | 215.133 | 6.496 | 228.598 | 6.836 | 239.4 | 6.607 | 237.633 | 5.928 | 889.633 | 24.149 | 23.3975
2020-05-08 05:15:00 | 3.907 | 227.413 | 5.909 | 232.137 | 6.146 | 242.967 | 6.028 | 240.9 | 5.057 | 889.867 | 25.248 | 19.8127
2020-05-08 05:30:00 | 4.67 | 221.793 | 5.65 | 228.533 | 5.943 | 240.867 | 5.763 | 239.267 | 5.097 | 889.467 | 25.728 | 18.6865
2020-05-08 05:45:00 | 5.905 | 213.993 | 6.452 | 223.302 | 6.595 | 233.8 | 6.369 | 231.233 | 4.916 | 889.767 | 25.92 | 19.0801
2020-05-08 06:00:00 | 6.293 | 209.507 | 7.172 | 216.282 | 6.832 | 227.633 | 6.559 | 226.667 | 4.259 | 889.817 | 26.336 | 25.3239
2020-05-08 06:15:00 | 5.812 | 202.173 | 6.721 | 204.856 | 7.246 | 213.867 | 6.827 | 215.467 | 3.976 | 890.05 | 26.661 | 24.4264
2020-05-08 06:30:00 | 6.079 | 200.587 | 7.97 | 199.476 | 7.695 | 202.633 | 7.4 | 201.233 | 4 | 890.017 | 26.496 | 31.6337
2020-05-08 06:45:00 | 6.35 | 201.967 | 7.899 | 203.04 | 7.995 | 205.567 | 7.823 | 202.1 | 5.283 | 889.65 | 25.109 | 37.9571
2020-05-08 07:00:00 | 4.658 | 204.567 | 7.257 | 206.22 | 7.828 | 211.867 | 7.887 | 206.867 | 5.912 | 889.983 | 23.845 | 33.5544
2020-05-08 07:15:00 | 5.164 | 208.613 | 7.594 | 208.359 | 8.237 | 212.733 | 8.431 | 210.867 | 6.83 | 889.567 | 22.608 | 30.6247
2020-05-08 07:30:00 | 5.698 | 207.807 | 7.554 | 210.537 | 8.504 | 213.467 | 8.393 | 211.333 | 7.819 | 890.117 | 21.36 | 29.1226
2020-05-08 07:45:00 | 4.255 | 215.753 | 5.463 | 213.853 | 6.802 | 217.8 | 6.95 | 214.1 | 8.845 | 889.6 | 20.181 | 16.5349
2020-05-08 08:00:00 | 4.167 | 220.72 | 4.617 | 219.448 | 5.19 | 222.967 | 5.56 | 218.367 | 10.416 | 889.2 | 18.621 | 8.8458
2020-05-08 08:15:00 | 4.358 | 218.66 | 4.315 | 217.601 | 4.58 | 218.5 | 4.727 | 213.967 | 11.257 | 889.267 | 17.624 | 6.9643
2020-05-08 08:30:00 | 4.575 | 219.04 | 4.514 | 217.706 | 4.955 | 218.633 | 5.22 | 212.267 | 12.136 | 890.033 | 16.923 | 6.9096
2020-05-08 08:45:00 | 3.506 | 236.833 | 3.459 | 235.243 | 3.786 | 238.733 | 4.083 | 229.167 | 12.874 | 889.2 | 16.221 | 6.302
2020-05-08 09:00:00 | 4.415 | 233.967 | 4.68 | 229.405 | 4.857 | 233.433 | 4.874 | 225.567 | 14.112 | 889.467 | 15.189 | 7.1426
2020-05-08 09:15:00 | 4.059 | 228.107 | 4.165 | 229.179 | 4.483 | 230.5 | 4.611 | 227.017 | 14.545 | 889.433 | 14.387 | 8.6433
2020-05-08 09:30:00 | 3.817 | 249.72 | 4.104 | 250.842 | 4.29 | 256.083 | 4.374 | 250.467 | 15.124 | 889.567 | 13.592 | 6.7042
2020-05-08 09:45:00 | 3.138 | 309.187 | 2.949 | 315.107 | 2.658 | 316.1 | 3.058 | 308.833 | 13.849 | 889.567 | 13.979 | 7.0858
2020-05-08 10:00:00 | 3.077 | 280.74 | 3.21 | 287.175 | 3.264 | 289.567 | 3.518 | 286.767 | 14.741 | 889.667 | 13.571 | 4.1213
2020-05-08 10:15:00 | 2.61 | 277.153 | 2.483 | 278.927 | 2.716 | 282.233 | 2.968 | 278.3 | 15.072 | 889.233 | 12.599 | 1.7928
2020-05-08 10:30:00 | 3.139 | 322.267 | 2.997 | 317.91 | 3.099 | 322.033 | 3.357 | 319.6 | 15.381 | 889.8 | 12.887 | 2.369
2020-05-08 10:45:00 | 2.695 | 314.293 | 2.398 | 326.053 | 2.547 | 329.6 | 3.078 | 331.733 | 15.328 | 889.2 | 12.869 | 1.4318
2020-05-08 11:00:00 | 1.296 | 250.4 | 0.91 | 246.131 | 0.913 | 222.267 | 2.089 | 269.067 | 15.766 | 889.633 | 12.02 | 1.6023
2020-05-08 11:15:00 | 2.728 | 314.427 | 2.54 | 307.816 | 2.414 | 325.9 | 2.858 | 307.6 | 16.381 | 889.033 | 10.144 | 2.04
2020-05-08 11:30:00 | 5.659 | 260.287 | 5.772 | 263.388 | 5.932 | 266.35 | 5.998 | 261.4 | 17.394 | 889.067 | 8.858 | 2.3569
2020-05-08 11:45:00 | 4.638 | 326.173 | 4.539 | 313.678 | 4.598 | 313.5 | 5.057 | 309.833 | 17.581 | 889 | 8.235 | 5.0038
2020-05-08 12:00:00 | 4.843 | 302.48 | 4.797 | 299.956 | 5.021 | 305.233 | 5.37 | 301.2 | 17.264 | 889 | 8.354 | 8.4003
2020-05-08 12:15:00 | 3.445 | 251.607 | 4.06 | 272.11 | 4.504 | 286.117 | 5.142 | 286.967 | 18.831 | 888.667 | 8.12 | 5.983
2020-05-08 12:30:00 | 3.002 | 246.327 | 2.971 | 245.191 | 3.255 | 254.3 | 3.364 | 247.25 | 19.189 | 888.733 | 7.884 | 6.0377
2020-05-08 12:45:00 | 3.278 | 231.819 | 3.466 | 286.276 | 3.489 | 277.567 | 4.389 | 284.983 | 19.164 | 889 | 7.769 | 5.2319
2020-05-08 13:00:00 | 3.842 | 296.527 | 3.931 | 285.632 | 4.004 | 278.233 | 4.524 | 267.633 | 18.618 | 889 | 7.691 | 7.5569
2020-05-08 13:15:00 | 3.173 | 213.861 | 3.401 | 184.271 | 3.394 | 152.068 | 3.811 | 174.85 | 18.827 | 889.2 | 7.706 | 8.1424
2020-05-08 13:30:00 | 6.23 | 297.853 | 6.597 | 295.69 | 6.635 | 301.267 | 6.612 | 299.6 | 19.131 | 889.067 | 7.285 | 7.1433
2020-05-08 13:45:00 | 6.671 | 305.853 | 7.208 | 314.4 | 7.446 | 316.6 | 7.761 | 313.367 | 19.544 | 889.133 | 7.238 | 12.4861
2020-05-08 14:00:00 | 4.954 | 269.2 | 5.106 | 274.721 | 5.413 | 281.933 | 5.602 | 279.25 | 20.139 | 888.6 | 6.793 | 17.8764
2020-05-08 14:15:00 | 5.544 | 270.893 | 6.253 | 270.422 | 6.259 | 273.017 | 6.384 | 269.433 | 20.794 | 889.133 | 6.49 | 21.393
2020-05-08 14:30:00 | 5.288 | 238.16 | 5.626 | 240.125 | 5.754 | 248.067 | 5.708 | 243.067 | 20.544 | 888.8 | 6.384 | 14.6803
2020-05-08 14:45:00 | 8.325 | 297.007 | 8.378 | 296.416 | 8.151 | 297 | 8.317 | 289.133 | 20.335 | 889.2 | 6.247 | 17.519
2020-05-08 15:00:00 | 5.814 | 260.407 | 5.557 | 264.39 | 5.925 | 273.833 | 6.491 | 270.583 | 20.531 | 889.067 | 6.141 | 20.6633
2020-05-08 15:15:00 | 4.888 | 275.987 | 4.969 | 274.646 | 5.276 | 281.85 | 5.871 | 273.05 | 20.548 | 889.267 | 6.167 | 12.1244
2020-05-08 15:30:00 | 8.512 | 267.707 | 8.681 | 271.472 | 9.066 | 275.733 | 9.147 | 270.117 | 21.685 | 888.867 | 6.143 | 24.2168
2020-05-08 15:45:00 | 4.41 | 271.56 | 5.053 | 272.214 | 5.695 | 278.967 | 6.133 | 273.1 | 20.627 | 888.667 | 6.173 | 16.9825
2020-05-08 16:00:00 | 6.431 | 251.72 | 6.616 | 251.261 | 6.718 | 256.767 | 6.796 | 250.883 | 21.744 | 889.133 | 5.969 | 14.8459
2020-05-08 16:15:00 | 5.925 | 227.633 | 5.899 | 226.102 | 6.531 | 229.083 | 6.748 | 226.867 | 22.148 | 889 | 5.927 | 11.2497
2020-05-08 16:30:00 | 7.43 | 256.773 | 7.464 | 257.745 | 7.866 | 262.283 | 7.753 | 257.733 | 21.439 | 889.133 | 6.066 | 22.3693
2020-05-08 16:45:00 | 7.545 | 239.833 | 8 | 245.63 | 8.752 | 253.867 | 8.901 | 249.7 | 22.264 | 889.2 | 5.598 | 20.9688
2020-05-08 17:00:00 | 8.962 | 282.867 | 9.251 | 280.998 | 9.563 | 285.967 | 9.957 | 284.867 | 22.581 | 888.4 | 5.189 | 27.8549
2020-05-08 17:15:00 | 7.158 | 262.513 | 7.341 | 262.16 | 7.775 | 268.267 | 8.001 | 261.567 | 21.968 | 888.6 | 5.3 | 30.6723
2020-05-08 17:30:00 | 5.117 | 249.42 | 5.834 | 244.274 | 6.025 | 245.867 | 6.38 | 242.267 | 21.906 | 888.933 | 5.392 | 18.2282
2020-05-08 17:45:00 | 6.481 | 255.733 | 6.806 | 258.14 | 7.161 | 266.267 | 7.383 | 261.9 | 22.514 | 889.2 | 5.565 | 25.5669
2020-05-08 18:00:00 | 6.623 | 283.307 | 7.537 | 288.429 | 7.813 | 291.1 | 8.236 | 286.933 | 21.814 | 889.133 | 5.391 | 30.02
2020-05-08 18:15:00 | 6.18 | 293.493 | 6.386 | 291.502 | 6.655 | 292.967 | 7.075 | 290.367 | 21.964 | 889.2 | 5.82 | 31.6295
2020-05-08 18:30:00 | 7.152 | 259.033 | 7.533 | 260.363 | 7.75 | 266.517 | 7.863 | 261.133 | 22.381 | 889.067 | 6.059 | 40.2962
2020-05-08 18:45:00 | 8.409 | 279.467 | 8.947 | 282.216 | 9.215 | 286.733 | 9.347 | 285.1 | 21.956 | 889.067 | 5.963 | 48.2866
2020-05-08 19:00:00 | 8.835 | 262.107 | 9.241 | 263.724 | 9.802 | 267.117 | 9.891 | 261.3 | 22.106 | 888.867 | 6.761 | 60.8906
2020-05-08 19:15:00 | 6.367 | 271.213 | 6.667 | 269.368 | 6.7 | 272.933 | 6.921 | 269.3 | 21.777 | 889.133 | 6.631 | 40.5506
2020-05-08 19:30:00 | 7.114 | 256.313 | 7.535 | 261.236 | 7.595 | 263.967 | 7.642 | 257.317 | 22.056 | 889 | 6.687 | 39.6482
2020-05-08 19:45:00 | 8.504 | 253.48 | 9.021 | 256.97 | 9.277 | 262.317 | 9.447 | 256.533 | 21.964 | 889.133 | 7.411 | 36.2318
2020-05-08 20:00:00 | 5.432 | 256.88 | 6.004 | 261.967 | 6.16 | 262.95 | 6.344 | 257.667 | 22.031 | 888.933 | 7.033 | 28.6749
2020-05-08 20:15:00 | 7.431 | 253.327 | 7.992 | 252.804 | 8.574 | 257.5 | 8.685 | 253.25 | 21.727 | 889.4 | 7.563 | 35.5091
2020-05-08 20:30:00 | 5.945 | 257.413 | 6.577 | 257.657 | 6.877 | 261.9 | 6.946 | 257 | 20.927 | 889.2 | 7.714 | 35.1617
2020-05-08 20:45:00 | 5.349 | 254.913 | 6.14 | 252.719 | 6.396 | 258.317 | 6.586 | 253.35 | 20.585 | 889.267 | 8.547 | 29.2086
2020-05-08 21:00:00 | 4.249 | 249.52 | 5.047 | 248.475 | 5.467 | 253.917 | 5.594 | 249.7 | 19.535 | 889 | 9.239 | 19.6216
2020-05-08 21:15:00 | 4.758 | 240.32 | 5.252 | 239.868 | 5.513 | 245.6 | 5.554 | 239.867 | 19.289 | 889 | 10.307 | 29.0025
2020-05-08 21:30:00 | 5.695 | 236.247 | 6.895 | 237.783 | 7.42 | 244 | 7.48 | 238.567 | 18.277 | 889.767 | 11.883 | 35.5951
2020-05-08 21:45:00 | 5.626 | 246.947 | 6.975 | 245.63 | 7.78 | 248.333 | 8.025 | 243.783 | 17.727 | 889.8 | 13.389 | 37.6742
2020-05-08 22:00:00 | 5.713 | 253.233 | 6.99 | 250.586 | 7.754 | 254.633 | 8.074 | 247.4 | 17.398 | 889.567 | 14.556 | 48.4102
2020-05-08 22:15:00 | 7.297 | 235.487 | 8.501 | 238.703 | 9.23 | 244.767 | 9.366 | 237.733 | 17.273 | 889.5 | 14.635 | 48.9787
2020-05-08 22:30:00 | 5.18 | 248.56 | 6.385 | 250.429 | 6.874 | 254.15 | 7.086 | 246.917 | 17.114 | 889.3 | 14.76 | 34.7495
2020-05-08 22:45:00 | 5.96 | 239.413 | 7.205 | 241.378 | 7.819 | 246.233 | 8.016 | 240.167 | 16.664 | 889.233 | 15.2 | 38.2697
2020-05-08 23:00:00 | 4.409 | 256.94 | 6.182 | 250.285 | 6.524 | 254.617 | 6.561 | 251.25 | 15.706 | 889.3 | 15.581 | 33.5601
2020-05-08 23:15:00 | 5.227 | 234.753 | 6.817 | 239.921 | 7.625 | 246.233 | 7.817 | 242.733 | 15.699 | 889.133 | 16.141 | 35.6434
2020-05-08 23:30:00 | 6.098 | 229.133 | 7.803 | 238.67 | 8.641 | 246.667 | 8.766 | 243 | 15.734 | 889.667 | 16.301 | 41.8439
2020-05-08 23:45:00 | 5.991 | 225.2 | 7.401 | 233.036 | 8.298 | 241.733 | 8.605 | 236.133 | 14.641 | 889.667 | 16.739 | 40.95