## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-09 00:00:00 | 6.195 | 217.593 | 7.451 | 223.051 | 8.277 | 232.4 | 8.528 | 230.2 | 14.037 | 889.4 | 17.44 | 45.2915
2020-05-09 00:15:00 | 6.247 | 216.813 | 7.895 | 224.006 | 8.952 | 234.167 | 9.132 | 231.967 | 13.737 | 889.833 | 18.011 | 50.8744
2020-05-09 00:30:00 | 5.944 | 224.233 | 7.894 | 229.017 | 8.745 | 238.9 | 8.755 | 236.767 | 13.654 | 889.467 | 18.589 | 47.8702
2020-05-09 00:45:00 | 5.82 | 229.1 | 7.5 | 233.498 | 8.259 | 242.667 | 8.48 | 239.667 | 14.028 | 889.4 | 18.883 | 40.8618
2020-05-09 01:00:00 | 5.676 | 230.28 | 6.838 | 236.568 | 7.294 | 245.067 | 7.58 | 241.567 | 13.539 | 889.233 | 19.067 | 32.0913
2020-05-09 01:15:00 | 3.772 | 229.187 | 6.05 | 233.156 | 7.608 | 243 | 7.865 | 241.367 | 12.937 | 889.6 | 18.976 | 29.7493
2020-05-09 01:30:00 | 3.343 | 152.624 | 4.798 | 223.366 | 5.785 | 244.767 | 6.121 | 225.467 | 12.486 | 889.3 | 19.257 | 17.1055
2020-05-09 01:45:00 | 2.483 | 290.8 | 2.137 | 289.966 | 2.12 | 289.033 | 2.659 | 303.8 | 14.412 | 888.933 | 15.923 | 2.5033
2020-05-09 02:00:00 | 3.083 | 284 | 2.983 | 275.667 | 3.087 | 276.767 | 3.366 | 269.8 | 14.183 | 889.633 | 17.42 | 0.9145
2020-05-09 02:15:00 | 3.108 | 265.067 | 2.495 | 253.721 | 2.464 | 248.917 | 3.872 | 244.35 | 12.313 | 889.233 | 19.279 | 0.94505
2020-05-09 02:30:00 | 4.022 | 239 | 4.547 | 239.375 | 4.728 | 247.167 | 4.821 | 245.767 | 11.311 | 889.433 | 19.552 | 2.5929
2020-05-09 02:45:00 | 3.539 | 214.633 | 4.06 | 219.71 | 4.253 | 228.2 | 4.752 | 232.967 | 10.795 | 889.433 | 19.816 | 4.0062
2020-05-09 03:00:00 | 3.808 | 209.9 | 4.507 | 212.498 | 4.544 | 223.067 | 4.169 | 226.033 | 11.261 | 889.867 | 20 | 7.4958
2020-05-09 03:15:00 | 5.861 | 210.507 | 5.295 | 218.227 | 4.937 | 236 | 4.588 | 238 | 10.024 | 889.367 | 19.477 | 11.32
2020-05-09 03:30:00 | 5.744 | 213.433 | 6.166 | 229.099 | 5.679 | 243.6 | 5.288 | 246.867 | 9.766 | 889.667 | 19.216 | 11.3492
2020-05-09 03:45:00 | 4.444 | 188.853 | 5.067 | 210.675 | 4.98 | 232.333 | 4.618 | 242.1 | 8.716 | 889.833 | 19.637 | 2.5168
2020-05-09 04:00:00 | 2.202 | 115.81 | 2.214 | 94.103 | 2.156 | 98.8 | 2.552 | 90.733 | 10.928 | 889.8 | 17.896 | 5.239
2020-05-09 04:15:00 | 3.764 | 146.027 | 3.842 | 131.775 | 3.541 | 135.267 | 4.416 | 125.933 | 11.561 | 889.533 | 17.459 | 21.1116
2020-05-09 04:30:00 | 4.652 | 143.633 | 4.934 | 134.985 | 4.832 | 143.167 | 4.857 | 136.933 | 11.178 | 889.6 | 28.251 | 33.9089
2020-05-09 04:45:00 | 5.127 | 140.393 | 5.953 | 132.69 | 4.881 | 135.333 | 4.5 | 130.8 | 10.824 | 889.833 | 31.163 | 39.7136
2020-05-09 05:00:00 | 4.963 | 133.55 | 5.702 | 128.356 | 5.392 | 135.067 | 5.742 | 127.533 | 10.624 | 889.733 | 33.883 | 36.2098
2020-05-09 05:15:00 | 4.542 | 130.2 | 5.089 | 130.519 | 4.529 | 135.567 | 4.359 | 130.5 | 10.332 | 889.9 | 32.597 | 35.0032
2020-05-09 05:30:00 | 4.55 | 133.293 | 5.886 | 123.735 | 5.124 | 131.967 | 5.02 | 129.467 | 9.541 | 889.317 | 31.584 | 37.2785
2020-05-09 05:45:00 | 4.631 | 121.887 | 6.264 | 116.276 | 6.356 | 121.533 | 6.52 | 116 | 9.866 | 889.433 | 36.357 | 37.4661
2020-05-09 06:00:00 | 4.694 | 124.14 | 6.185 | 117.903 | 6.661 | 122.9 | 7.151 | 118.6 | 10.262 | 890.05 | 39.109 | 41.0338
2020-05-09 06:15:00 | 5.915 | 125.067 | 7.343 | 120.186 | 7.474 | 125.367 | 7.738 | 121.6 | 9.889 | 889.517 | 41.179 | 41.1006
2020-05-09 06:30:00 | 5.838 | 123.667 | 6.774 | 115.436 | 7.159 | 120.367 | 7.261 | 117 | 10.451 | 889.642 | 40.704 | 47.3067
2020-05-09 06:45:00 | 5.708 | 123.533 | 7.644 | 113.571 | 8.466 | 118.8 | 8.77 | 113.833 | 9.649 | 889.883 | 41.035 | 46.4547
2020-05-09 07:00:00 | 5.298 | 119.857 | 6.329 | 111.287 | 6.937 | 115.7 | 7.26 | 111.833 | 10.536 | 889.883 | 39.995 | 47.6719
2020-05-09 07:15:00 | 8.86 | 117.607 | 9.573 | 111.864 | 9.946 | 114.167 | 10.197 | 111.167 | 10.312 | 889.35 | 39.232 | 42.3249
2020-05-09 07:30:00 | 6.924 | 111.703 | 7.096 | 107.216 | 6.822 | 110.2 | 6.838 | 104.333 | 10.738 | 890.033 | 38.107 | 39.381
2020-05-09 07:45:00 | 6.851 | 123.357 | 7.59 | 117.275 | 7.825 | 121.733 | 8.204 | 117.9 | 10.961 | 889.9 | 37.163 | 46.4448
2020-05-09 08:00:00 | 7.874 | 120.037 | 8.38 | 114.558 | 8.56 | 122.567 | 8.685 | 118.2 | 11.253 | 889.983 | 36.384 | 53.6421
2020-05-09 08:15:00 | 8.771 | 121.577 | 9.282 | 115.23 | 9.418 | 120.067 | 9.366 | 115 | 11.232 | 889.9 | 35.797 | 64.0938
2020-05-09 08:30:00 | 8.554 | 116.573 | 8.799 | 115.283 | 9.088 | 120.167 | 9.248 | 116.433 | 11.028 | 890.05 | 36.197 | 71.4524
2020-05-09 08:45:00 | 9.958 | 112.02 | 9.933 | 106.654 | 10.025 | 110.767 | 10.107 | 107.733 | 11.403 | 889.683 | 35.275 | 73.7057
2020-05-09 09:00:00 | 9.364 | 109.087 | 9.402 | 105.223 | 9.31 | 107.533 | 9.144 | 103.333 | 11.64 | 889.733 | 34.405 | 73.8641
2020-05-09 09:15:00 | 9.308 | 117.85 | 9.945 | 111.466 | 10.183 | 114.867 | 10.462 | 110.633 | 11.903 | 889.817 | 33.013 | 71.2805
2020-05-09 09:30:00 | 10.155 | 106.573 | 9.277 | 102.584 | 9.416 | 108.433 | 9.147 | 104.6 | 11.766 | 889.7 | 31.904 | 73.8442
2020-05-09 09:45:00 | 9.088 | 110.523 | 8.772 | 102.381 | 7.822 | 105.2 | 8.204 | 97.067 | 12.461 | 889.483 | 30.443 | 74.429
2020-05-09 10:00:00 | 10.498 | 92.18 | 10.365 | 87.962 | 9.9 | 92.367 | 9.392 | 89.4 | 13.158 | 889.933 | 29.541 | 75.4359
2020-05-09 10:15:00 | 9.653 | 99.923 | 8.98 | 95.267 | 8.695 | 100.667 | 8.938 | 98.2 | 13.06 | 889.967 | 29.483 | 77.3374
2020-05-09 10:30:00 | 9.549 | 95.94 | 9.476 | 90.619 | 9.454 | 90.833 | 9.99 | 88.267 | 13.616 | 889.617 | 28.293 | 77.2457
2020-05-09 10:45:00 | 10.574 | 98.1 | 10.448 | 94.599 | 10.372 | 98.567 | 10.336 | 93.433 | 13.808 | 889.633 | 27.488 | 77.0013
2020-05-09 11:00:00 | 10.583 | 91.653 | 10.636 | 84.371 | 10.322 | 89.6 | 10.757 | 84.433 | 14.391 | 889.683 | 27.072 | 75.502
2020-05-09 11:15:00 | 10.682 | 108.153 | 10.893 | 103.445 | 10.458 | 107.567 | 10.487 | 102.133 | 14.578 | 889.85 | 26.539 | 74.5626
2020-05-09 11:30:00 | 8.754 | 99.207 | 8.938 | 92.438 | 8.98 | 99.533 | 9.148 | 94.533 | 14.737 | 889.8 | 26.117 | 74.5555
2020-05-09 11:45:00 | 8.454 | 105.567 | 8.716 | 99.754 | 8.912 | 101.667 | 8.523 | 95.267 | 15.402 | 889.7 | 24.875 | 68.2464
2020-05-09 12:00:00 | 7.856 | 101.487 | 7.628 | 94.561 | 7.719 | 97.367 | 8.411 | 95.267 | 15.462 | 889.483 | 24.832 | 59.3273
2020-05-09 12:15:00 | 8.497 | 110.26 | 8.222 | 105.035 | 8.289 | 109 | 8.791 | 105.233 | 15.716 | 889.683 | 24.027 | 53.4204
2020-05-09 12:30:00 | 8.504 | 96.373 | 8.939 | 92.769 | 8.842 | 97.033 | 9.253 | 93.1 | 15.443 | 889.683 | 23.461 | 46.5897
2020-05-09 12:45:00 | 9.702 | 77.293 | 9.659 | 77.638 | 9.833 | 81 | 10.183 | 77.933 | 15.706 | 889.767 | 22.357 | 55.4924
2020-05-09 13:00:00 | 9.745 | 81.143 | 9.981 | 77.821 | 10.465 | 81.167 | 10.521 | 77.3 | 16.472 | 890.017 | 21.707 | 56.883
2020-05-09 13:15:00 | 8.21 | 85.54 | 8.62 | 79.514 | 8.687 | 84.633 | 8.725 | 82.167 | 16.089 | 889.617 | 22.427 | 66.6277
2020-05-09 13:30:00 | 8.283 | 84.647 | 8.37 | 77.865 | 8.363 | 82.4 | 8.274 | 77.033 | 15.647 | 889.383 | 22.832 | 53.8013
2020-05-09 13:45:00 | 9.841 | 88.933 | 9.927 | 82.648 | 9.594 | 88.133 | 9.395 | 84.933 | 15.778 | 889.9 | 23.813 | 50.6648
2020-05-09 14:00:00 | 7.102 | 83.2 | 7.249 | 84.853 | 7.473 | 86.5 | 7.594 | 81.6 | 16.264 | 889.5 | 23.152 | 48.1302
2020-05-09 14:15:00 | 8.986 | 97.667 | 8.928 | 93.437 | 8.734 | 96.8 | 9.1 | 92.433 | 16.267 | 889.683 | 24.197 | 54.8401
2020-05-09 14:30:00 | 7.617 | 79.097 | 7.805 | 76.914 | 7.845 | 81.833 | 8.374 | 76.567 | 16.103 | 889.6 | 24.16 | 43.1861
2020-05-09 14:45:00 | 7.237 | 69.46 | 7.146 | 62.638 | 7.437 | 63.2 | 7.648 | 61.7 | 16.314 | 889.983 | 23.733 | 43.6473
2020-05-09 15:00:00 | 13.211 | 70.157 | 13.446 | 64.826 | 14.062 | 67.8 | 14.392 | 64.633 | 15.818 | 889.783 | 23.883 | 54.3875
2020-05-09 15:15:00 | 10.474 | 65.457 | 10.568 | 61.647 | 10.738 | 63.2 | 10.879 | 60.433 | 14.808 | 890.15 | 25.312 | 52.469
2020-05-09 15:30:00 | 9.362 | 74.957 | 9.366 | 71.432 | 9.761 | 77.533 | 9.9 | 73.433 | 15.678 | 889.767 | 24.016 | 51.2226
2020-05-09 15:45:00 | 7.488 | 54.038 | 7.604 | 47.989 | 7.806 | 52.5 | 7.925 | 48.6 | 15.618 | 889.767 | 24 | 42.6916
2020-05-09 16:00:00 | 6.958 | 70.93 | 7.435 | 67.796 | 7.568 | 72.433 | 7.748 | 68.867 | 15.706 | 889.65 | 23.493 | 32.804
2020-05-09 16:15:00 | 6.46 | 43.667 | 6.622 | 34.022 | 6.609 | 41.6 | 6.635 | 40.267 | 16.331 | 889.75 | 24.997 | 29.7592
2020-05-09 16:30:00 | 6.951 | 79 | 7.07 | 73.608 | 7.144 | 83 | 7.461 | 80.1 | 15.84 | 890 | 26.059 | 34.0532
2020-05-09 16:45:00 | 7.223 | 71.47 | 6.895 | 68.63 | 7.262 | 72.733 | 7.391 | 68.933 | 16.07 | 889.683 | 25.643 | 45.3427
2020-05-09 17:00:00 | 7.754 | 58.932 | 7.841 | 52.521 | 8.183 | 58.433 | 8.736 | 53.567 | 15.466 | 889.967 | 25.333 | 32.6008
2020-05-09 17:15:00 | 6.393 | 40.682 | 6.533 | 28.554 | 6.859 | 32.667 | 6.925 | 28.567 | 15.842 | 889.683 | 25.744 | 22.9541
2020-05-09 17:30:00 | 4.746 | 40.418 | 4.997 | 32.163 | 5.029 | 38.333 | 5.426 | 34.2 | 14.908 | 889.683 | 26.805 | 20.1474
2020-05-09 17:45:00 | 6.393 | 39.882 | 6.264 | 32.899 | 6.767 | 35.267 | 6.985 | 35.533 | 15.602 | 889.483 | 25.115 | 18.8442
2020-05-09 18:00:00 | 5.039 | 38.145 | 5.49 | 26.242 | 5.73 | 41.3 | 5.808 | 27.967 | 15.652 | 889.533 | 24.411 | 12.1905
2020-05-09 18:15:00 | 4.282 | 83.393 | 4.354 | 71.67 | 4.471 | 42.171 | 4.824 | 38.9 | 16.027 | 890.117 | 23.755 | 6.5322
2020-05-09 18:30:00 | 3.798 | 60.278 | 3.936 | 54.091 | 4.294 | 60.4 | 4.546 | 56.867 | 15.711 | 889.733 | 22.539 | 6.2722
2020-05-09 18:45:00 | 3.083 | 32.397 | 2.814 | 22.64 | 2.805 | 54.833 | 3.435 | 21.036 | 15.834 | 890.367 | 21.376 | 4.8553
2020-05-09 19:00:00 | 4.053 | 104.167 | 4.241 | 158.323 | 4.395 | 71.234 | 4.477 | 80.867 | 16.598 | 889.667 | 20.463 | 3.1507
2020-05-09 19:15:00 | 3.245 | 42.572 | 3.574 | 27.946 | 4.124 | 32.333 | 4.692 | 30.933 | 16.614 | 889.95 | 20.717 | 19.2244
2020-05-09 19:30:00 | 6.251 | 63.867 | 5.51 | 54.036 | 5.584 | 53.567 | 6.086 | 50.433 | 16.564 | 889.733 | 15.272 | 22.7616
2020-05-09 19:45:00 | 6.408 | 52.123 | 6.308 | 48.628 | 6.577 | 53.367 | 6.539 | 49.6 | 16.51 | 889.533 | 14.691 | 27.2822
2020-05-09 20:00:00 | 7.665 | 54.16 | 7.434 | 46.643 | 7.519 | 50.467 | 8.267 | 47.167 | 16.108 | 889.667 | 13.072 | 30.3426
2020-05-09 20:15:00 | 7.098 | 32.675 | 7.432 | 29.922 | 7.902 | 37.367 | 8.074 | 34.567 | 16.212 | 889.233 | 13.971 | 25.9428
2020-05-09 20:30:00 | 4.658 | 54.853 | 4.183 | 47.47 | 4.113 | 52.267 | 4.405 | 45.1 | 15.799 | 889.533 | 14.952 | 19.4042
2020-05-09 20:45:00 | 4.702 | 56.743 | 4.78 | 47.35 | 4.873 | 52 | 5.032 | 47.367 | 15.426 | 889.4 | 15.819 | 15.6481
2020-05-09 21:00:00 | 4.273 | 70.22 | 4.518 | 64.464 | 4.354 | 68.167 | 4.662 | 63.5 | 14.624 | 889.567 | 16.739 | 12.0278
2020-05-09 21:15:00 | 4.513 | 73.887 | 4.946 | 68.444 | 5.215 | 72 | 5.488 | 68.7 | 14.308 | 889.4 | 17.461 | 8.605
2020-05-09 21:30:00 | 4.042 | 85.027 | 4.548 | 79.222 | 4.526 | 85.933 | 4.665 | 82.133 | 14.304 | 889.3 | 17.197 | 9.5962
2020-05-09 21:45:00 | 3.437 | 92.98 | 3.956 | 87.496 | 3.157 | 92.2 | 2.975 | 91.2 | 14.108 | 889.567 | 16.573 | 8.4593
2020-05-09 22:00:00 | 3.145 | 100.617 | 3.165 | 90.819 | 2.486 | 94.767 | 2.683 | 87.4 | 13.239 | 889.6 | 16.52 | 7.6947
2020-05-09 22:15:00 | 4.238 | 88.5 | 4.796 | 80.688 | 4.449 | 87.2 | 4.596 | 82.133 | 13.162 | 889.633 | 16.765 | 30.3583
2020-05-09 22:30:00 | 6.474 | 89.94 | 6.983 | 85.734 | 6.903 | 89.533 | 7.553 | 83.567 | 12.511 | 889.367 | 15.677 | 45.693
2020-05-09 22:45:00 | 6.294 | 86.83 | 6.792 | 83.164 | 6.343 | 87.8 | 6.997 | 82.8 | 12.297 | 889.433 | 15.08 | 57.6
2020-05-09 23:00:00 | 6.531 | 92.273 | 6.875 | 86.403 | 6.054 | 90.9 | 5.976 | 85.933 | 12.382 | 889.533 | 15.093 | 51.4813
2020-05-09 23:15:00 | 5.98 | 95.273 | 6.433 | 88.213 | 5.023 | 93.667 | 5.135 | 89.533 | 11.87 | 890 | 15.133 | 54.0556
2020-05-09 23:30:00 | 6.52 | 92.54 | 6.461 | 88.324 | 5.381 | 89.2 | 5.888 | 85.3 | 11.595 | 889.667 | 15 | 50.8162
2020-05-09 23:45:00 | 5.819 | 91.82 | 6.067 | 87.237 | 5.258 | 92.467 | 5.287 | 86.667 | 11.54 | 889.567 | 15.091 | 41.3621