## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-10 00:00:00 | 5.438 | 88.16 | 6.137 | 80.847 | 6.1 | 86.067 | 6.507 | 81.333 | 11.349 | 889.167 | 14.992 | 30.0762
2020-05-10 00:15:00 | 4.949 | 89.653 | 5.593 | 82.822 | 5.964 | 86.8 | 6.22 | 82.267 | 11.557 | 889.667 | 14.893 | 29.6221
2020-05-10 00:30:00 | 5.482 | 86.367 | 6.542 | 78.479 | 7.014 | 82.333 | 7.541 | 78.1 | 11.128 | 889.567 | 14.736 | 26.7351
2020-05-10 00:45:00 | 4.621 | 91.87 | 5.454 | 83.74 | 5.23 | 89.833 | 5.341 | 83.467 | 10.805 | 889.733 | 14.523 | 23.318
2020-05-10 01:00:00 | 3.804 | 95.873 | 4.509 | 88.02 | 3.962 | 91.933 | 4.462 | 85.567 | 10.228 | 889.733 | 14.733 | 20.0745
2020-05-10 01:15:00 | 4.184 | 105.6 | 4.822 | 95.825 | 4.062 | 98.567 | 3.885 | 91.067 | 9.649 | 889.367 | 14.771 | 18.4627
2020-05-10 01:30:00 | 4.55 | 119.84 | 5.404 | 106.199 | 4.491 | 103.567 | 4.031 | 93.1 | 9.391 | 889.433 | 14.672 | 15.717
2020-05-10 01:45:00 | 4.35 | 117.113 | 4.556 | 102.502 | 3.963 | 103.233 | 4.034 | 91.5 | 9.474 | 889.2 | 14.443 | 14.7897
2020-05-10 02:00:00 | 3.999 | 122.78 | 5.077 | 108.135 | 4.954 | 112.7 | 4.922 | 103.867 | 9.574 | 889.133 | 14.253 | 12.3589
2020-05-10 02:15:00 | 3.569 | 120.527 | 4.054 | 104.109 | 3.313 | 103.167 | 3.413 | 92.333 | 9.495 | 889.567 | 14.043 | 10.9299
2020-05-10 02:30:00 | 3.473 | 140.807 | 4.343 | 116.972 | 4.488 | 117.967 | 4.658 | 107.5 | 8.699 | 889.533 | 14.461 | 8.9759
2020-05-10 02:45:00 | 3.205 | 156.613 | 3.972 | 125.168 | 4.005 | 119.933 | 4.269 | 110.867 | 8 | 889.6 | 14.333 | 7.1469
2020-05-10 03:00:00 | 4.071 | 186.3 | 4.049 | 153.635 | 4.265 | 145.233 | 3.651 | 135.433 | 6.922 | 889.467 | 15.483 | 9.3312
2020-05-10 03:15:00 | 3.569 | 176.653 | 3.981 | 143.411 | 3.073 | 137.8 | 3.078 | 135.933 | 7.512 | 889.267 | 15.541 | 13.6351
2020-05-10 03:30:00 | 4.03 | 178.9 | 4.723 | 147.051 | 4.607 | 140.967 | 4.16 | 131.267 | 7.089 | 889.133 | 15.675 | 16.4844
2020-05-10 03:45:00 | 3.855 | 187.933 | 3.593 | 161.291 | 3.67 | 153.267 | 3.742 | 141.367 | 7.206 | 889.8 | 15.96 | 13.1149
2020-05-10 04:00:00 | 3.21 | 181.1 | 3.782 | 147.095 | 3.642 | 142.167 | 3.295 | 133.3 | 7.072 | 889.433 | 16.075 | 12.2289
2020-05-10 04:15:00 | 3.763 | 202.78 | 3.794 | 168.723 | 3.843 | 156.2 | 4.11 | 141.867 | 5.289 | 889.567 | 17.296 | 9.3781
2020-05-10 04:30:00 | 2.86 | 201.313 | 2.986 | 167.294 | 2.993 | 147.833 | 2.776 | 133.133 | 5.075 | 889.8 | 18.147 | 8.438
2020-05-10 04:45:00 | 3.399 | 199.433 | 3.072 | 153.467 | 2.89 | 141.233 | 3.076 | 130.033 | 3.788 | 889.8 | 19.453 | 8.2852
2020-05-10 05:00:00 | 3.555 | 191.707 | 3.311 | 150.545 | 2.836 | 140.367 | 3.19 | 132.6 | 5.037 | 889.433 | 18.912 | 10.3409
2020-05-10 05:15:00 | 3.833 | 191.58 | 3.663 | 153.222 | 3.404 | 144.133 | 2.946 | 136.567 | 5.24 | 889.733 | 18.595 | 10.7715
2020-05-10 05:30:00 | 4.229 | 183.7 | 4.354 | 155.68 | 4.575 | 146.533 | 4.161 | 137.9 | 4.969 | 889.333 | 18.861 | 11.5332
2020-05-10 05:45:00 | 4.518 | 184.567 | 4.018 | 157.577 | 4.053 | 151.133 | 4.304 | 144.4 | 5.812 | 889.367 | 18.515 | 10.6898
2020-05-10 06:00:00 | 4.15 | 178.64 | 4.034 | 147.716 | 3.731 | 144.3 | 3.341 | 138.333 | 6.263 | 889.967 | 18.355 | 10.8617
2020-05-10 06:15:00 | 4.026 | 170.933 | 5.065 | 141.782 | 4.579 | 142.533 | 4.235 | 138.667 | 6.542 | 889.633 | 18.232 | 13.8298
2020-05-10 06:30:00 | 4.096 | 177.813 | 4.772 | 145.732 | 4.717 | 146.833 | 4.543 | 142.767 | 5.786 | 889.567 | 18.709 | 13.8404
2020-05-10 06:45:00 | 4.048 | 179.74 | 4.789 | 151.994 | 5.102 | 148.567 | 5.224 | 141.933 | 6.264 | 889.667 | 17.712 | 13.6024
2020-05-10 07:00:00 | 4.156 | 178.96 | 4.453 | 156.434 | 3.919 | 157.467 | 4.007 | 151.633 | 7.576 | 889.767 | 16.709 | 10.9882
2020-05-10 07:15:00 | 4.249 | 177.313 | 3.685 | 163.21 | 3.304 | 162.433 | 3.508 | 154.4 | 8.35 | 889.633 | 15.939 | 7.3473
2020-05-10 07:30:00 | 3.386 | 173.567 | 3.51 | 151.699 | 3.339 | 155.133 | 3.68 | 147.3 | 8.574 | 889.4 | 15.213 | 6.1443
2020-05-10 07:45:00 | 2.443 | 170.533 | 3.663 | 143.736 | 3.534 | 144.967 | 3.585 | 140.433 | 8.724 | 889.667 | 14.789 | 4.9995
2020-05-10 08:00:00 | 2.959 | 159.733 | 3.335 | 147.954 | 3.49 | 151 | 3.819 | 145.033 | 10.103 | 889.567 | 14.373 | 5.428
2020-05-10 08:15:00 | 3.273 | 143.923 | 3.018 | 135.813 | 2.817 | 139.133 | 2.932 | 132.867 | 10.778 | 889.4 | 13.704 | 5.816
2020-05-10 08:30:00 | 3.697 | 129.26 | 3.973 | 119.891 | 3.985 | 123.2 | 4.526 | 119.767 | 11.078 | 889.4 | 13.744 | 10.6535
2020-05-10 08:45:00 | 4.516 | 99.293 | 4.423 | 92.766 | 4.442 | 100.233 | 4.779 | 93.4 | 11.316 | 889.5 | 13.816 | 13.9577
2020-05-10 09:00:00 | 5.174 | 91.847 | 5.219 | 86.49 | 5.038 | 93.067 | 5.388 | 87.633 | 11.932 | 889.533 | 13.917 | 20.5105
2020-05-10 09:15:00 | 5.484 | 93.66 | 5.426 | 88.076 | 5.033 | 90.133 | 5.3 | 84.967 | 11.961 | 889.433 | 13.869 | 24.7
2020-05-10 09:30:00 | 6.045 | 91.065 | 5.898 | 87.382 | 5.825 | 88.867 | 6.34 | 85.5 | 12.232 | 889.3 | 14.005 | 22.871
2020-05-10 09:45:00 | 5.427 | 85.043 | 5.613 | 82.205 | 5.611 | 87.067 | 5.793 | 84.033 | 12.405 | 889.133 | 13.979 | 16.2592
2020-05-10 10:00:00 | 4.818 | 88.575 | 5.012 | 83.804 | 5.042 | 86.733 | 5.136 | 84.667 | 12.984 | 889.233 | 13.776 | 12.258
2020-05-10 10:15:00 | 4.59 | 87.597 | 4.834 | 81.048 | 5.081 | 88.7 | 5.296 | 83 | 13.322 | 889 | 13.6 | 11.7769
2020-05-10 10:30:00 | 4.326 | 83.46 | 4.752 | 81.646 | 5.069 | 82.6 | 5.37 | 81.467 | 13.616 | 889.633 | 13.677 | 10.4247
2020-05-10 10:45:00 | 5.069 | 87.53 | 5.186 | 84.799 | 5.328 | 88.867 | 5.67 | 83.733 | 13.983 | 889.3 | 13.341 | 8.541
2020-05-10 11:00:00 | 4.083 | 101.813 | 4.365 | 97.173 | 4.501 | 103.2 | 4.815 | 101.467 | 14.508 | 889.467 | 12.651 | 5.7911
2020-05-10 11:15:00 | 3.53 | 105.513 | 3.588 | 108.338 | 3.796 | 117.533 | 4.08 | 113.467 | 14.874 | 889.7 | 12.147 | 3.1016
2020-05-10 11:30:00 | 2.709 | 120.113 | 2.798 | 122.466 | 2.896 | 132.267 | 3.312 | 131.067 | 14.724 | 889.633 | 12.053 | 4.1796
2020-05-10 11:45:00 | 2.191 | 124.42 | 2.535 | 103.366 | 2.773 | 125.267 | 3.446 | 140.633 | 15.913 | 889.6 | 10.979 | 3.4008
2020-05-10 12:00:00 | 4.483 | 110.54 | 4.845 | 105.054 | 5.157 | 110.633 | 5.282 | 109.1 | 16.089 | 889.133 | 9.852 | 1.0303
2020-05-10 12:15:00 | 3.1 | 88.007 | 2.698 | 84.549 | 2.443 | 78.7 | 2.728 | 78.733 | 16.298 | 889 | 9.827 | 0.42563
2020-05-10 12:30:00 | 3.382 | 105.89 | 3.338 | 101.272 | 3.668 | 108.733 | 3.708 | 106.767 | 17.344 | 889 | 9.175 | 0.72194
2020-05-10 12:45:00 | 2.879 | 114.713 | 2.262 | 123.56 | 2.041 | 137.1 | 2.364 | 146.467 | 16.614 | 889.333 | 9.124 | 1.9029
2020-05-10 13:00:00 | 3.331 | 90.145 | 3.445 | 86.121 | 3.444 | 97.5 | 3.857 | 91.633 | 17.444 | 888.533 | 9.015 | 2.978
2020-05-10 13:15:00 | 4.025 | 119.975 | 4.216 | 111.045 | 4.315 | 114.933 | 4.744 | 110.6 | 17.452 | 889.2 | 9.161 | 2.0471
2020-05-10 13:30:00 | 3.309 | 103.76 | 3.103 | 102.612 | 3.31 | 112.1 | 3.866 | 108.967 | 18.406 | 889.067 | 8.464 | 4.576
2020-05-10 13:45:00 | 4.112 | 66.529 | 4.548 | 62.481 | 4.433 | 68.7 | 5.049 | 64 | 18.244 | 889.2 | 8.191 | 4.7167
2020-05-10 14:00:00 | 2.776 | 85.015 | 2.787 | 78.516 | 2.854 | 87 | 3.366 | 79.867 | 18.727 | 889.133 | 8.113 | 7.451
2020-05-10 14:15:00 | 5.682 | 80.178 | 6.101 | 75.359 | 6.391 | 80.433 | 6.507 | 77.567 | 18.518 | 888.8 | 8.019 | 9.4036
2020-05-10 14:30:00 | 5.73 | 87.523 | 5.774 | 83.427 | 5.918 | 92.233 | 6.307 | 88 | 18.652 | 888.867 | 7.832 | 8.6462
2020-05-10 14:45:00 | 3.654 | 113.727 | 3.75 | 101.747 | 4.394 | 110.667 | 4.579 | 111 | 19.231 | 888.867 | 7.541 | 9.3752
2020-05-10 15:00:00 | 5.926 | 71.72 | 5.728 | 66.311 | 5.844 | 72.867 | 6 | 71.233 | 19.335 | 888.867 | 8.025 | 10.6848
2020-05-10 15:15:00 | 4.866 | 94.247 | 5.104 | 90.877 | 5.413 | 91.3 | 5.548 | 85.667 | 19.31 | 889 | 8.056 | 9.6467
2020-05-10 15:30:00 | 3.99 | 70.016 | 4.055 | 74.082 | 4.338 | 80.467 | 4.965 | 78.833 | 19.539 | 889.267 | 8.173 | 8.1722
2020-05-10 15:45:00 | 4.961 | 62.335 | 5.333 | 59.618 | 5.694 | 69.433 | 5.894 | 68.6 | 19.789 | 889.2 | 8.317 | 12.356
2020-05-10 16:00:00 | 6.868 | 83.128 | 6.804 | 83.809 | 7.069 | 91.667 | 7.089 | 86.833 | 19.364 | 888.933 | 8.396 | 12.2978
2020-05-10 16:15:00 | 3.622 | 94.178 | 3.862 | 89.25 | 4.057 | 90.667 | 4.216 | 88.567 | 19.794 | 888.867 | 8.067 | 8.5261
2020-05-10 16:30:00 | 4.041 | 120.763 | 4.645 | 109.926 | 4.805 | 114.833 | 5.161 | 106.933 | 20.198 | 889.467 | 7.757 | 8.4316
2020-05-10 16:45:00 | 4.554 | 71.3 | 4.726 | 64.278 | 4.969 | 69.233 | 5.389 | 68.233 | 20.402 | 888.733 | 7.591 | 11.5602
2020-05-10 17:00:00 | 5.904 | 93.797 | 6.164 | 87.909 | 6.475 | 94.2 | 6.492 | 95.5 | 20.36 | 889 | 7.667 | 9.8222
2020-05-10 17:15:00 | 4.468 | 60.138 | 4.282 | 52.509 | 4.021 | 54.6 | 4.536 | 53.333 | 20.631 | 888.733 | 7.54 | 12.1919
2020-05-10 17:30:00 | 4.691 | 65.207 | 4.51 | 55.994 | 4.518 | 62.967 | 4.81 | 61.8 | 20.694 | 888.6 | 8.089 | 9.8229
2020-05-10 17:45:00 | 5.599 | 73.722 | 5.989 | 71.737 | 6.257 | 81.933 | 6.499 | 78.933 | 20.789 | 889.133 | 7.585 | 12.6154
2020-05-10 18:00:00 | 4.627 | 75.25 | 4.773 | 68.73 | 5.089 | 72.567 | 5.35 | 67.1 | 21.244 | 888.667 | 7.88 | 12.6218
2020-05-10 18:15:00 | 4.454 | 64.749 | 4.505 | 67.275 | 4.941 | 79 | 5.646 | 75.9 | 20.806 | 889.133 | 7.917 | 16.8994
2020-05-10 18:30:00 | 3.856 | 90.91 | 4.226 | 81.028 | 4.472 | 82.133 | 4.75 | 76.067 | 20.898 | 889.067 | 8.193 | 15.8549
2020-05-10 18:45:00 | 5.953 | 90.03 | 6.163 | 85.489 | 6.738 | 93.133 | 6.909 | 89.267 | 20.544 | 888.933 | 8.457 | 19.9229
2020-05-10 19:00:00 | 5.781 | 86.672 | 6.556 | 79.43 | 6.848 | 84.467 | 6.873 | 78.267 | 20.706 | 888.933 | 8.339 | 23.8303
2020-05-10 19:15:00 | 5.651 | 74.992 | 6.098 | 74.709 | 6.332 | 79.033 | 6.633 | 75.967 | 20.477 | 889 | 8.115 | 27.2936
2020-05-10 19:30:00 | 6.226 | 84.543 | 6.709 | 78.289 | 6.625 | 83.3 | 7.044 | 79.4 | 20.439 | 888.8 | 8.051 | 27.4783
2020-05-10 19:45:00 | 6.59 | 79.963 | 7.108 | 79.375 | 7.249 | 85.067 | 7.593 | 80.3 | 20.323 | 888.733 | 8.032 | 35.3308
2020-05-10 20:00:00 | 6.664 | 81.5 | 7.059 | 80.474 | 7.283 | 83.867 | 7.678 | 78.8 | 20.014 | 888.933 | 8.135 | 35.5759
2020-05-10 20:15:00 | 6.138 | 81.842 | 6.402 | 76.426 | 6.504 | 83.8 | 6.736 | 82.433 | 19.623 | 889.067 | 8.297 | 29.9433
2020-05-10 20:30:00 | 6.178 | 80.248 | 6.438 | 76.415 | 6.451 | 86 | 6.534 | 80.067 | 19.281 | 889 | 8.691 | 32.6541
2020-05-10 20:45:00 | 6.014 | 84.46 | 6.771 | 78.044 | 7.153 | 84.1 | 7.366 | 78.633 | 18.781 | 889.267 | 9.095 | 34.206
2020-05-10 21:00:00 | 5.573 | 91.087 | 6.649 | 85.893 | 7.072 | 90.533 | 7.448 | 85.267 | 18.264 | 888.8 | 9.533 | 33.381
2020-05-10 21:15:00 | 5.718 | 87.543 | 6.111 | 81.94 | 6.118 | 88.3 | 6.258 | 83.4 | 17.835 | 889.033 | 10.012 | 28.8362
2020-05-10 21:30:00 | 4.45 | 98.733 | 4.649 | 95.564 | 4.145 | 103.2 | 4.081 | 98.3 | 17.364 | 889.133 | 10.243 | 23.2554
2020-05-10 21:45:00 | 4.448 | 113.64 | 5.345 | 107.661 | 5.458 | 110.3 | 5.48 | 105.033 | 16.831 | 889.267 | 10.539 | 19.9918
2020-05-10 22:00:00 | 4.098 | 114.06 | 4.932 | 105.194 | 4.868 | 108.333 | 4.89 | 104 | 16.431 | 889.533 | 10.808 | 19.7367
2020-05-10 22:15:00 | 4.889 | 117.113 | 5.718 | 110.116 | 5.793 | 112.367 | 6.168 | 108.033 | 16.326 | 889.333 | 10.808 | 20.8125
2020-05-10 22:30:00 | 4.45 | 110.487 | 4.461 | 104.514 | 4.076 | 105.967 | 4.48 | 103.067 | 16.448 | 889.733 | 10.877 | 16.0617
2020-05-10 22:45:00 | 3.643 | 123.833 | 4.812 | 115.208 | 5.546 | 118.933 | 6.103 | 112.367 | 15.768 | 889.733 | 10.995 | 11.3698
2020-05-10 23:00:00 | 3.201 | 119.433 | 3.77 | 107.507 | 3.922 | 110.733 | 4.275 | 103.933 | 15.191 | 889.033 | 11.123 | 8.7826
2020-05-10 23:15:00 | 3.193 | 118.407 | 3.421 | 105.879 | 2.93 | 107.467 | 3.383 | 99.867 | 15.26 | 889.4 | 11.208 | 7.5768
2020-05-10 23:30:00 | 2.706 | 115.1 | 2.93 | 104.27 | 2.749 | 101.833 | 3.1 | 97.633 | 15.661 | 889.667 | 11.144 | 5.9553
2020-05-10 23:45:00 | 1.406 | 136.84 | 2.437 | 112.18 | 2.831 | 114.1 | 3.622 | 110.5 | 14.608 | 889.6 | 11.453 | 2.3449