## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-11 00:00:00 | 0.027 | 182.8 | 0.49 | 120.567 | 2.326 | 115.533 | 3.188 | 108.5 | 13.449 | 889.5 | 12.493 | 0.64022
2020-05-11 00:15:00 | 1.222 | 212.56 | 0 | 131.493 | 0.103 | 150.967 | 1.647 | 113.933 | 13.301 | 889.2 | 12.712 | 0.10516
2020-05-11 00:30:00 | 0.944 | 220.28 | 0 | 131.495 | 0.073 | 134.233 | 1.461 | 113 | 13.226 | 889.7 | 12.952 | 0.1748
2020-05-11 00:45:00 | 0.472 | 220.247 | 0 | 131.526 | 0 | 128 | 1.468 | 109.133 | 12.822 | 889 | 13.395 | 0.21601
2020-05-11 01:00:00 | 2.052 | 249.9 | 0 | 131.493 | 0 | 117.058 | 0.561 | 104 | 12.37 | 889.333 | 13.72 | 0.17338
2020-05-11 01:15:00 | 1.492 | 273.427 | 0 | 73.04 | 0 | 57.458 | 1.398 | 80.667 | 12.889 | 889.567 | 13.165 | 0.17054
2020-05-11 01:30:00 | 2.454 | 250.367 | 0.82 | 52.123 | 0 | 31.006 | 1.444 | 61.533 | 11.936 | 889.533 | 12.893 | 0.17054
2020-05-11 01:45:00 | 2.814 | 253.76 | 0.277 | 13.033 | 0 | 7.103 | 1.225 | 65.467 | 11.082 | 889.7 | 13.395 | 0.17054
2020-05-11 02:00:00 | 2.766 | 242.933 | 0.137 | 276.276 | 0 | 35.067 | 1.351 | 89.6 | 11.011 | 889.8 | 13.459 | 0.16911
2020-05-11 02:15:00 | 3.926 | 225.333 | 0 | 276.98 | 0 | 52 | 0.07 | 86.733 | 9.876 | 889.567 | 14.083 | 0.16769
2020-05-11 02:30:00 | 4.508 | 230.273 | 0.389 | 276.922 | 0 | 52 | 0.181 | 87 | 9.86 | 889.433 | 13.776 | 0.16485
2020-05-11 02:45:00 | 5.254 | 230.067 | 2.858 | 239.721 | 0.95 | 279.4 | 0 | 87.067 | 7.623 | 889.5 | 15.008 | 0.16911
2020-05-11 03:00:00 | 4.315 | 229.227 | 1.404 | 227.845 | 0.42 | 221.967 | 0.205 | 100.1 | 9.932 | 889.6 | 14.629 | 0.16911
2020-05-11 03:15:00 | 4.309 | 235.187 | 0.675 | 236.975 | 0 | 230 | 0 | 113.033 | 9.428 | 889.6 | 14.811 | 0.16911
2020-05-11 03:30:00 | 5.673 | 230.533 | 2.564 | 238.5 | 1.124 | 250 | 0.111 | 113.033 | 6.294 | 889.633 | 15.749 | 0.16627
2020-05-11 03:45:00 | 5.848 | 233.013 | 2.64 | 242.951 | 1.35 | 250.033 | 1.368 | 223 | 6.664 | 889.733 | 16.037 | 0.17054
2020-05-11 04:00:00 | 4.878 | 242.4 | 2.975 | 255.096 | 0.991 | 265.433 | 0.977 | 223.017 | 6.922 | 889.4 | 16.332 | 0.18191
2020-05-11 04:15:00 | 5.386 | 238.547 | 3.351 | 250.301 | 2.602 | 259.067 | 2.033 | 227.367 | 7.933 | 889.667 | 15.776 | 0.19043
2020-05-11 04:30:00 | 5.51 | 239.827 | 2.172 | 251.007 | 0 | 236.367 | 0.816 | 230.933 | 8.715 | 889.367 | 15.336 | 0.20606
2020-05-11 04:45:00 | 6.582 | 226.373 | 3.961 | 241.425 | 2.317 | 242.7 | 1.606 | 229.4 | 7.066 | 889.233 | 16.435 | 0.2018
2020-05-11 05:00:00 | 5.773 | 229.233 | 2.921 | 247.523 | 0.3 | 239.733 | 0.47 | 212.033 | 7.256 | 889.733 | 16.86 | 0.20749
2020-05-11 05:15:00 | 6.188 | 223.527 | 3.319 | 229.034 | 0.973 | 226.133 | 0.988 | 190 | 5.793 | 889.1 | 18.403 | 0.18333
2020-05-11 05:30:00 | 6.966 | 220.493 | 3.044 | 230.716 | 1.01 | 226.867 | 0.393 | 189 | 5.859 | 889.6 | 19.011 | 0.18617
2020-05-11 05:45:00 | 4.571 | 222.7 | 1.612 | 216.503 | 0.11 | 208.3 | 0.373 | 190.067 | 7.203 | 889.567 | 18.859 | 0.19612
2020-05-11 06:00:00 | 5.404 | 221.16 | 1.687 | 219.259 | 0 | 207 | 0 | 189 | 6.074 | 889 | 19.211 | 0.19754
2020-05-11 06:15:00 | 4.644 | 221.14 | 1.447 | 220.911 | 0 | 207.033 | 0 | 189.1 | 5.849 | 889.3 | 19.808 | 0.19185
2020-05-11 06:30:00 | 4.441 | 216.313 | 1.47 | 212.59 | 0 | 207 | 0 | 189 | 6.947 | 889.4 | 19.101 | 0.19043
2020-05-11 06:45:00 | 5.36 | 222.34 | 0.568 | 218.88 | 0 | 207 | 0.06 | 189 | 7.596 | 889.567 | 17.499 | 0.18759
2020-05-11 07:00:00 | 5.35 | 224.713 | 1.994 | 230.718 | 0.317 | 227.6 | 0 | 189 | 6.963 | 889.3 | 18.36 | 0.1947
2020-05-11 07:15:00 | 4.659 | 229.3 | 1.129 | 259.07 | 0 | 235.067 | 0.708 | 189 | 7.99 | 889.6 | 17.253 | 0.1947
2020-05-11 07:30:00 | 4.881 | 225.2 | 2.301 | 242.694 | 0.223 | 255.933 | 0 | 219.417 | 8.24 | 889.567 | 16.952 | 0.19185
2020-05-11 07:45:00 | 2.334 | 233.02 | 0.033 | 240.528 | 0 | 255.967 | 0 | 219.483 | 12.128 | 889.333 | 14.296 | 0.18759
2020-05-11 08:00:00 | 2.777 | 224.867 | 0.611 | 240.509 | 0 | 256 | 0 | 219.5 | 13.824 | 889.433 | 12.776 | 0.18617
2020-05-11 08:15:00 | 3.041 | 230.407 | 0.906 | 233.105 | 0 | 256 | 0.306 | 178.9 | 14.033 | 889.767 | 12.387 | 0.18191
2020-05-11 08:30:00 | 1.882 | 221.973 | 0.996 | 213.482 | 0.37 | 199.6 | 1.801 | 158.667 | 15.507 | 889.433 | 11.032 | 0.17906
2020-05-11 08:45:00 | 0.988 | 200.373 | 0.257 | 202.502 | 0.153 | 186.5 | 0.85 | 155.4 | 16.831 | 889.133 | 9.593 | 0.17622
2020-05-11 09:00:00 | 1.242 | 159.513 | 0.817 | 179.186 | 0.343 | 159.033 | 1.27 | 149 | 16.598 | 888.6 | 9.221 | 0.17054
2020-05-11 09:15:00 | 0.392 | 129.44 | 0.293 | 171.762 | 0.196 | 158.333 | 1.391 | 161.633 | 17.444 | 889.2 | 9.099 | 0.18048
2020-05-11 09:30:00 | 0.898 | 155.14 | 0.79 | 129.709 | 0.603 | 129.7 | 1.529 | 114.5 | 17.881 | 889.067 | 9.091 | 0.23307
2020-05-11 09:45:00 | 3.628 | 94.407 | 3.896 | 89.957 | 3.742 | 99.1 | 4.304 | 93.933 | 17.414 | 888.933 | 9.423 | 3.3347
2020-05-11 10:00:00 | 4.835 | 92.793 | 5.139 | 89.142 | 5.34 | 95.433 | 5.466 | 88.167 | 17.906 | 889.267 | 10.331 | 8.7314
2020-05-11 10:15:00 | 5.931 | 85.78 | 6.118 | 85.936 | 6.463 | 90.967 | 6.836 | 86.3 | 17.606 | 889.2 | 10.243 | 12.3376
2020-05-11 10:30:00 | 5.112 | 103.95 | 5.609 | 102.912 | 5.846 | 106.4 | 5.894 | 101.733 | 18.202 | 888.7 | 10.065 | 10.8369
2020-05-11 10:45:00 | 5.378 | 112.287 | 5.908 | 107.46 | 5.74 | 111.067 | 6.168 | 107 | 18.473 | 889.267 | 9.751 | 12.6829
2020-05-11 11:00:00 | 6.069 | 104.493 | 6.428 | 99.722 | 6.412 | 102.833 | 6.604 | 99.267 | 19.373 | 888.667 | 9.053 | 15.0264
2020-05-11 11:15:00 | 5.67 | 115.067 | 6.003 | 107.83 | 5.998 | 109.767 | 6.411 | 101.967 | 19.164 | 889.133 | 9.231 | 18.7625
2020-05-11 11:30:00 | 5.968 | 81.48 | 6.383 | 76.761 | 6.706 | 84.567 | 7.057 | 82.233 | 19.873 | 889.467 | 8.715 | 18.1969
2020-05-11 11:45:00 | 6.502 | 78.607 | 6.785 | 71.924 | 7.117 | 75.333 | 7.479 | 71.5 | 19.939 | 889.333 | 8.521 | 20.0479
2020-05-11 12:00:00 | 6.032 | 85.415 | 6.566 | 84.574 | 6.528 | 91.1 | 6.775 | 88.433 | 20.168 | 889 | 8.435 | 17.5446
2020-05-11 12:15:00 | 6.524 | 121.19 | 7.006 | 116.462 | 7.164 | 118.2 | 7.156 | 113.567 | 20.26 | 888.667 | 8.093 | 18.3504
2020-05-11 12:30:00 | 6.116 | 99.243 | 6.752 | 91.906 | 7.072 | 97.567 | 7.393 | 92.767 | 20.552 | 888.8 | 8.076 | 19.2876
2020-05-11 12:45:00 | 6.002 | 85.278 | 6.259 | 81.424 | 6.335 | 83.1 | 6.593 | 80.7 | 21.002 | 888.733 | 7.779 | 19.9541
2020-05-11 13:00:00 | 6.526 | 70.427 | 6.386 | 68.765 | 6.945 | 75.067 | 7.214 | 72.333 | 20.931 | 888.667 | 7.465 | 19.9264
2020-05-11 13:15:00 | 7.728 | 68.612 | 7.843 | 65.191 | 8.19 | 68.633 | 8.715 | 65.4 | 21.748 | 889.267 | 7.216 | 21.6943
2020-05-11 13:30:00 | 6.388 | 85.37 | 6.57 | 80.182 | 6.663 | 84.633 | 6.894 | 79.033 | 21.802 | 889.2 | 7.064 | 22.1157
2020-05-11 13:45:00 | 5.225 | 81.352 | 5.459 | 79.701 | 5.752 | 81.533 | 6.16 | 77.767 | 22.148 | 888.733 | 6.912 | 21.0655
2020-05-11 14:00:00 | 5.532 | 99.633 | 5.947 | 95.876 | 5.463 | 95.6 | 6.238 | 95.5 | 22.514 | 889 | 6.471 | 15.5643
2020-05-11 14:15:00 | 4.983 | 104.617 | 5.108 | 95.677 | 5.374 | 96.733 | 6.024 | 93.533 | 22.335 | 888.8 | 6.235 | 17.2973
2020-05-11 14:30:00 | 5.755 | 52.073 | 5.864 | 47.728 | 6.146 | 53.367 | 6.345 | 51.233 | 22.914 | 888.8 | 5.999 | 16.041
2020-05-11 14:45:00 | 5.049 | 51.62 | 5.377 | 48.384 | 5.587 | 52.633 | 5.797 | 53.5 | 22.931 | 889 | 5.856 | 12.0839
2020-05-11 15:00:00 | 3.788 | 42.353 | 3.621 | 43.332 | 3.839 | 50.633 | 3.745 | 53.467 | 22.881 | 888.867 | 5.524 | 13.9513
2020-05-11 15:15:00 | 4.587 | 115.66 | 4.089 | 105.17 | 4.437 | 105.733 | 5.172 | 95.467 | 23.231 | 889.2 | 5.563 | 13.5249
2020-05-11 15:30:00 | 5.765 | 108.197 | 5.438 | 97.933 | 5.187 | 95.8 | 5.583 | 89.867 | 23.218 | 888.6 | 5.525 | 14.7343
2020-05-11 15:45:00 | 4.499 | 64.677 | 4.685 | 55.472 | 5.066 | 61.4 | 5.29 | 61.7 | 23.481 | 888.733 | 5.335 | 12.3667
2020-05-11 16:00:00 | 4.311 | 95.523 | 4.641 | 84.141 | 4.832 | 85.767 | 5.376 | 78.933 | 23.264 | 888.867 | 5.383 | 15.5749
2020-05-11 16:15:00 | 6.057 | 83.28 | 6.364 | 76.054 | 7.006 | 80.467 | 7.275 | 74.4 | 23.514 | 889.067 | 5.373 | 15.0455
2020-05-11 16:30:00 | 5.512 | 80.57 | 5.468 | 82.762 | 5.371 | 87.5 | 5.754 | 77.633 | 23.235 | 889.067 | 5.295 | 9.587
2020-05-11 16:45:00 | 1.493 | 227.093 | 3.784 | 161.491 | 4.144 | 161.033 | 4.387 | 117.267 | 24.031 | 888 | 4.856 | 13.0886
2020-05-11 17:00:00 | 7.365 | 72.733 | 7.017 | 67.164 | 7.544 | 71 | 7.491 | 66.333 | 23.531 | 888 | 4.94 | 18.1024
2020-05-11 17:15:00 | 6.717 | 62.053 | 6.702 | 80.33 | 6.116 | 85.333 | 6.954 | 86.667 | 24.131 | 888 | 4.981 | 19.974
2020-05-11 17:30:00 | 3.329 | 59.592 | 3.471 | 56.772 | 3.399 | 65.233 | 3.39 | 57.833 | 24.168 | 888 | 4.985 | 12.9856
2020-05-11 17:45:00 | 6.97 | 57.54 | 7.07 | 51.707 | 7.08 | 50.9 | 7.642 | 49.9 | 24.468 | 888 | 4.848 | 13.122
2020-05-11 18:00:00 | 6.142 | 93.28 | 6.659 | 89.153 | 6.523 | 90.733 | 6.699 | 88.4 | 24.164 | 888.133 | 5.277 | 14.3726
2020-05-11 18:15:00 | 2.747 | 79.4 | 2.804 | 72.32 | 3.352 | 91 | 3.172 | 85.5 | 23.781 | 889 | 5.15 | 12.6445
2020-05-11 18:30:00 | 4.119 | 114.157 | 3.947 | 90.655 | 4.587 | 103.933 | 5.048 | 97.967 | 24.41 | 889.933 | 5.172 | 17.7841
2020-05-11 18:45:00 | 3.33 | 72.12 | 3.239 | 55.222 | 3.648 | 74.233 | 4.14 | 63.567 | 22.747 | 858.4 | 5.151 | 16.4574
2020-05-11 19:00:00 | 4.496 | 114.087 | 4.611 | 103.509 | 4.289 | 106.8 | 5.407 | 100.867 | 24.056 | 888.933 | 4.989 | 14.3854
2020-05-11 19:15:00 | 3.536 | 78.48 | 3.379 | 84.506 | 3.247 | 111.6 | 3.788 | 101.4 | 23.131 | 888 | 5.224 | 17.7834
2020-05-11 19:30:00 | 5.186 | 80.387 | 5.83 | 74.539 | 5.686 | 86.6 | 5.642 | 78.7 | 23.848 | 889.333 | 5.363 | 21.226
2020-05-11 19:45:00 | 6.268 | 83.8 | 6.692 | 81.129 | 6.504 | 89.6 | 6.218 | 89.2 | 24.031 | 889.2 | 5.456 | 22.0759
2020-05-11 20:00:00 | 5.396 | 94.267 | 5.247 | 85.124 | 2.878 | 94.067 | 5.36 | 74.467 | 23.598 | 890 | 5.589 | 25.2486
2020-05-11 20:15:00 | 6.98 | 82.707 | 7.168 | 73.547 | 7.628 | 79.733 | 7.836 | 79.167 | 23.814 | 889.867 | 5.336 | 23.2341
2020-05-11 20:30:00 | 5.481 | 86.72 | 5.532 | 85.228 | 5.737 | 86.367 | 5.757 | 80.9 | 23.331 | 889.267 | 5.727 | 26.5546
2020-05-11 20:45:00 | 5.196 | 91.267 | 5.709 | 90.828 | 5.855 | 88.6 | 5.563 | 78.933 | 22.098 | 890 | 5.861 | 26.3663
2020-05-11 21:00:00 | 5.178 | 87.8 | 4.608 | 88.252 | 3.924 | 98.1 | 4.163 | 94.2 | 22.381 | 890 | 5.92 | 24.4719
2020-05-11 21:15:00 | 5.148 | 93.503 | 5.748 | 88.825 | 3.573 | 89.033 | 4.206 | 90.633 | 21.427 | 889.933 | 6.48 | 21.7242
2020-05-11 21:30:00 | 4.267 | 90.98 | 4.373 | 89.603 | 4.121 | 114.933 | 3.644 | 103 | 20.823 | 888.267 | 6.709 | 21.1251
2020-05-11 21:45:00 | 3.952 | 112.127 | 4.434 | 96.378 | 4.704 | 99.133 | 4.248 | 78.933 | 19.255 | 858.933 | 6.524 | 20.9752
2020-05-11 22:00:00 | 4.745 | 113.27 | 5.482 | 104.386 | 5.379 | 109.067 | 4.455 | 97.233 | 19.868 | 888.733 | 6.804 | 20.33
2020-05-11 22:15:00 | 5.086 | 119.91 | 5.355 | 106.234 | 5.795 | 113 | 5.678 | 103.7 | 19.718 | 889.8 | 6.58 | 17.9901
2020-05-11 22:30:00 | 4.197 | 118.293 | 4.385 | 109.878 | 4.432 | 108.867 | 5.454 | 103.667 | 19.581 | 889.6 | 6.603 | 12.0711
2020-05-11 22:45:00 | 3.264 | 136.833 | 3.778 | 118.88 | 4.024 | 123.767 | 4.67 | 115.567 | 18.456 | 888.6 | 7.02 | 7.1696
2020-05-11 23:00:00 | 3.26 | 162.88 | 2.806 | 135.042 | 3.403 | 113 | 4.268 | 134 | 17.627 | 888 | 7.203 | 3.6559
2020-05-11 23:15:00 | 3.179 | 167.947 | 3.481 | 145.176 | 3.288 | 146.2 | 2.939 | 139.067 | 17.731 | 889.6 | 7.099 | 1.9832
2020-05-11 23:30:00 | 1.987 | 171.373 | 1.729 | 136.156 | 2.345 | 129.067 | 2.896 | 123.9 | 18.285 | 888.667 | 7.239 | 0.36452
2020-05-11 23:45:00 | 2.358 | 194.787 | 0.067 | 151.445 | 0.994 | 149.133 | 2.354 | 128 | 17.106 | 888 | 7.445 | 0.464