## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-12 00:00:00 | 1.611 | 172.847 | 1.076 | 129.46 | 1.927 | 123.233 | 2.754 | 120 | 18.01 | 889.667 | 7.517 | 0.70417
2020-05-12 00:15:00 | 1.137 | 195.08 | 0.32 | 122.569 | 1.596 | 121.6 | 2.535 | 118 | 16.631 | 890 | 7.74 | 0.64377
2020-05-12 00:30:00 | 1.418 | 197.8 | 0 | 131.828 | 0.801 | 127.867 | 2.216 | 117.333 | 16.531 | 888 | 7.843 | 0.35173
2020-05-12 00:45:00 | 2.562 | 219.227 | 0.581 | 152.158 | 0.638 | 124.533 | 2.202 | 118.4 | 16.464 | 889.6 | 7.929 | 0.17409
2020-05-12 01:00:00 | 5.481 | 230.633 | 4.264 | 227.377 | 3.806 | 225.333 | 3.754 | 215.6 | 13.333 | 888.667 | 8.611 | 2.9346
2020-05-12 01:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 3.4377
2020-05-12 01:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 5.3122
2020-05-12 01:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 16.5633
2020-05-12 02:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 22.2251
2020-05-12 02:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 22.9165
2020-05-12 02:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 20.357
2020-05-12 02:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 21.7256
2020-05-12 03:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 25.5726
2020-05-12 03:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 27.5728
2020-05-12 03:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 25.5463
2020-05-12 03:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 16.8923
2020-05-12 04:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 11.5027
2020-05-12 04:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 4.4666
2020-05-12 04:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 1.0282
2020-05-12 04:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 0.51516
2020-05-12 05:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 0.29204
2020-05-12 05:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 0.85126
2020-05-12 05:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 2.8856
2020-05-12 05:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 4.3053
2020-05-12 06:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 2.7506
2020-05-12 06:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 2.7499
2020-05-12 06:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 3.5074
2020-05-12 06:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 8.0294
2020-05-12 07:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 11.9539
2020-05-12 07:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 12.8129
2020-05-12 07:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 10.0659
2020-05-12 07:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 4.9413
2020-05-12 08:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 9.1258
2020-05-12 08:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 12.4982
2020-05-12 08:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 7.2236
2020-05-12 08:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 5.0244
2020-05-12 09:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 4.5725
2020-05-12 09:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 4.2321
2020-05-12 09:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 4.5697
2020-05-12 09:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 7.5974
2020-05-12 10:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 7.6791
2020-05-12 10:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 7.9107
2020-05-12 10:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 7.2115
2020-05-12 10:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 4.4005
2020-05-12 11:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 5.3911
2020-05-12 11:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 5.794
2020-05-12 11:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 4.9406
2020-05-12 11:45:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 2.5182
2020-05-12 12:00:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 0.12719
2020-05-12 12:15:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 0.48674
2020-05-12 12:30:00 | 5.525 | 227.8 | 4.4 | 227.744 | 4.5 | 230 | 4.419 | 221 | 13.266 | 890 | 8.72 | 0.43202
2020-05-12 12:45:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 13:00:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 13:15:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 13:30:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 13:45:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 14:00:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 14:15:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 14:30:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 14:45:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 15:00:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 15:15:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 15:30:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 15:45:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 16:00:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 16:15:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 16:30:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 16:45:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 17:00:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 17:15:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 17:30:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 17:45:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 18:00:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 18:15:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 18:30:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 18:45:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 19:00:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 19:15:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 19:30:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 19:45:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 20:00:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 20:15:00 | 8.422 | 291.553 | 9.219 | 292.55 | 9.62 | 297.367 | 10.065 | 294.367 | 24.56 | 889.3 | 9.761 | 61.1507
2020-05-12 20:30:00 | 8.788 | 291.093 | 9.648 | 290.761 | 10.066 | 293.8 | 10.583 | 291.567 | 24.135 | 889.133 | 10.167 | 56.9405
2020-05-12 20:45:00 | 8.09 | 297.587 | 8.698 | 295.899 | 9.258 | 301.733 | 9.689 | 298.533 | 23.764 | 889.733 | 10.701 | 55.2316
2020-05-12 21:00:00 | 7.948 | 288.733 | 8.824 | 288.102 | 9.602 | 292.767 | 10.094 | 289.9 | 23.598 | 889.167 | 10.551 | 63.0429
2020-05-12 21:15:00 | 8.602 | 286.3 | 9.573 | 290.234 | 10.188 | 293.333 | 10.88 | 290.867 | 23.014 | 889.033 | 10.103 | 53.3692
2020-05-12 21:30:00 | 7.531 | 284.733 | 8.795 | 287.646 | 9.248 | 294.9 | 9.849 | 290.967 | 22.564 | 889.933 | 10.963 | 49.6928
2020-05-12 21:45:00 | 5.97 | 269.86 | 7.113 | 279.025 | 7.86 | 283.2 | 8.496 | 280.033 | 22.185 | 889.333 | 11.555 | 41.9732
2020-05-12 22:00:00 | 6.363 | 274.213 | 7.395 | 279.624 | 7.711 | 284.3 | 8.17 | 281.467 | 22.494 | 889.633 | 11.825 | 38.2931
2020-05-12 22:15:00 | 5.196 | 267.76 | 6.387 | 276.966 | 7.129 | 281.933 | 7.733 | 279.633 | 21.944 | 889.167 | 11.648 | 30.9857
2020-05-12 22:30:00 | 6.743 | 266.52 | 7.588 | 276.103 | 7.977 | 281.167 | 8.38 | 276.767 | 21.731 | 889.8 | 11.852 | 35.5937
2020-05-12 22:45:00 | 5.739 | 261.167 | 6.873 | 264.296 | 7.597 | 272.333 | 7.929 | 267.467 | 21.835 | 889.433 | 11.768 | 35.5234
2020-05-12 23:00:00 | 5.854 | 259.693 | 7.102 | 265.832 | 7.776 | 273 | 8.206 | 270.467 | 21.398 | 889.633 | 11.636 | 34.3687
2020-05-12 23:15:00 | 5.428 | 256.073 | 6.408 | 258.445 | 7 | 263.633 | 7.532 | 260.35 | 20.998 | 889.367 | 12.108 | 28.1924
2020-05-12 23:30:00 | 5.564 | 250.127 | 6.708 | 254.777 | 7.392 | 260.867 | 7.851 | 257.633 | 20.781 | 889.3 | 12.595 | 31.7808
2020-05-12 23:45:00 | 5.397 | 247.987 | 6.662 | 250.622 | 7.196 | 258.633 | 7.571 | 255.433 | 20.685 | 889.367 | 13.492 | 32.0949