## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-13 00:00:00 | 5.316 | 238.68 | 6.38 | 243.497 | 6.916 | 252.3 | 7.29 | 249.167 | 20.023 | 889.8 | 14.064 | 32.6534
2020-05-13 00:15:00 | 5.179 | 238.14 | 6.599 | 243.401 | 6.984 | 252.2 | 6.947 | 249.783 | 19.331 | 889.367 | 14.549 | 33.7711
2020-05-13 00:30:00 | 5.467 | 237.827 | 6.699 | 245.241 | 7.035 | 254.033 | 7.318 | 252.483 | 18.927 | 889.467 | 14.832 | 34.7716
2020-05-13 00:45:00 | 5.459 | 231.933 | 6.949 | 239.319 | 7.327 | 248.367 | 7.608 | 247.15 | 18.839 | 889.567 | 14.869 | 38.9192
2020-05-13 01:00:00 | 5.519 | 231.073 | 7.205 | 236.679 | 7.616 | 245.967 | 7.814 | 243.433 | 18.418 | 889.5 | 14.256 | 42.833
2020-05-13 01:15:00 | 5.631 | 231.1 | 6.841 | 234.397 | 7.327 | 243.567 | 7.478 | 241 | 17.623 | 889.4 | 14.131 | 40.8611
2020-05-13 01:30:00 | 5.631 | 222 | 7.282 | 228.171 | 7.407 | 237.333 | 7.369 | 234.733 | 17.368 | 889.3 | 14.261 | 42.4841
2020-05-13 01:45:00 | 6.88 | 214.607 | 8.811 | 215.215 | 8.837 | 223.3 | 8.346 | 221.367 | 17.148 | 889.767 | 14.693 | 47.8979
2020-05-13 02:00:00 | 5.708 | 221.087 | 7.412 | 228.635 | 7.822 | 238.633 | 7.898 | 236.2 | 16.698 | 889.833 | 15.176 | 42.6866
2020-05-13 02:15:00 | 5.96 | 212.34 | 7.479 | 218.352 | 7.599 | 230.767 | 7.448 | 231.833 | 16.422 | 889.8 | 15.515 | 44.3315
2020-05-13 02:30:00 | 6.124 | 212.933 | 7.57 | 220.778 | 7.909 | 233.2 | 7.698 | 232.167 | 15.588 | 889.367 | 16.139 | 47.4829
2020-05-13 02:45:00 | 5.892 | 217.827 | 7.894 | 226.115 | 8.186 | 237.967 | 7.959 | 236.8 | 15.378 | 889.833 | 15.939 | 50.9412
2020-05-13 03:00:00 | 5.998 | 221.073 | 7.626 | 230.42 | 7.989 | 242.333 | 8.298 | 242.4 | 16.082 | 889.167 | 15.115 | 53.4012
2020-05-13 03:15:00 | 6.582 | 223.16 | 7.727 | 233.529 | 8.097 | 244.8 | 8.359 | 244.6 | 16.598 | 889.733 | 13.957 | 53.7799
2020-05-13 03:30:00 | 5.713 | 225.007 | 6.935 | 235.58 | 7.483 | 251.1 | 8.41 | 252.9 | 16.531 | 889.2 | 13.768 | 50.4907
2020-05-13 03:45:00 | 4.962 | 252.593 | 7.117 | 257.584 | 8.433 | 262.667 | 9.415 | 258.333 | 16.096 | 889.567 | 15.345 | 58.9749
2020-05-13 04:00:00 | 8.034 | 254.98 | 10.305 | 259.77 | 11.079 | 264.233 | 11.424 | 260.65 | 17.098 | 889.533 | 15.288 | 71.2407
2020-05-13 04:15:00 | 9.18 | 252.58 | 11.552 | 260.398 | 12.632 | 266.733 | 13.331 | 263.933 | 17.764 | 889.433 | 15.471 | 79.7497
2020-05-13 04:30:00 | 7.914 | 256.42 | 10.279 | 260.778 | 11.821 | 263.867 | 12.707 | 258.45 | 17.656 | 889.5 | 15.98 | 79.8379
2020-05-13 04:45:00 | 9.433 | 252.3 | 11.491 | 257.746 | 12.851 | 264.133 | 13.925 | 257.433 | 17.423 | 889.133 | 16.539 | 79.8478
2020-05-13 05:00:00 | 10.936 | 251.72 | 13.443 | 256.964 | 14.704 | 261.933 | 15.251 | 258.467 | 17.481 | 889.367 | 18.232 | 78.9681
2020-05-13 05:15:00 | 10.099 | 253.667 | 11.633 | 257.013 | 12.603 | 260.95 | 13.532 | 257.133 | 17.244 | 889.533 | 21.147 | 78.3478
2020-05-13 05:30:00 | 10.816 | 247.827 | 12.798 | 256.371 | 14.119 | 261.267 | 14.952 | 256.483 | 16.914 | 889.783 | 25.128 | 76.5252
2020-05-13 05:45:00 | 12.191 | 250.48 | 13.56 | 260.077 | 14.683 | 264.833 | 15.213 | 258.133 | 17.264 | 889.867 | 28.781 | 74.0432
2020-05-13 06:00:00 | 10.86 | 243.66 | 13.068 | 251.945 | 14.258 | 256.1 | 14.803 | 252.7 | 16.681 | 889.467 | 31.144 | 74.6713
2020-05-13 06:15:00 | 11.222 | 243.953 | 13.196 | 252.211 | 14.433 | 257.667 | 15.247 | 252.917 | 16.246 | 889.75 | 32.96 | 77.7474
2020-05-13 06:30:00 | 9.622 | 241.007 | 11.633 | 249.235 | 13.245 | 255.8 | 14.127 | 252.517 | 16.06 | 889.833 | 33.952 | 79.0527
2020-05-13 06:45:00 | 11.86 | 246.867 | 13.659 | 252.985 | 14.91 | 258.367 | 15.153 | 253.033 | 16.034 | 889.7 | 33.232 | 76.8087
2020-05-13 07:00:00 | 9.738 | 241.073 | 12.235 | 250.883 | 13.478 | 256.133 | 14.123 | 251.85 | 15.854 | 889.8 | 33.837 | 75.7159
2020-05-13 07:15:00 | 10.466 | 243.813 | 12.54 | 255.683 | 14.053 | 258.483 | 14.746 | 254.917 | 16.001 | 889.85 | 33.981 | 76.5628
2020-05-13 07:30:00 | 11.363 | 243.127 | 13.411 | 253.482 | 14.653 | 258.05 | 15.267 | 253.983 | 15.88 | 890.1 | 34.157 | 79.1443
2020-05-13 07:45:00 | 12.579 | 245.22 | 14.079 | 255.043 | 15.401 | 259.6 | 16.113 | 254 | 16.448 | 889.6 | 33.989 | 77.7154
2020-05-13 08:00:00 | 12.461 | 248.8 | 13.927 | 255.724 | 14.728 | 260.7 | 15.395 | 255.217 | 17.631 | 889.333 | 31.141 | 77.7431
2020-05-13 08:15:00 | 12.938 | 247.233 | 14.113 | 258.611 | 14.625 | 262.733 | 14.776 | 256.633 | 17.839 | 889.817 | 30.875 | 77.1491
2020-05-13 08:30:00 | 14.538 | 253.693 | 15.956 | 257.702 | 16.522 | 263.167 | 16.447 | 257.75 | 18.939 | 889.667 | 28.779 | 74.0546
2020-05-13 08:45:00 | 15.576 | 253.233 | 17.189 | 258.926 | 17.458 | 263.367 | 17.38 | 258.55 | 19.581 | 890 | 27.52 | 54.6866
2020-05-13 09:00:00 | 15.455 | 254.873 | 16.715 | 260.444 | 17.183 | 266.133 | 17.121 | 260.6 | 20.048 | 890.1 | 26.928 | 37.5655
2020-05-13 09:15:00 | 13.863 | 257.14 | 14.877 | 259.79 | 15.252 | 264.167 | 15.5 | 259.583 | 20.164 | 889.683 | 26.779 | 36.6048
2020-05-13 09:30:00 | 14.478 | 250.813 | 15.679 | 256.003 | 16.057 | 261.567 | 15.828 | 255.933 | 20.914 | 890.133 | 24.184 | 34.9329
2020-05-13 09:45:00 | 14.77 | 253.867 | 15.931 | 259.397 | 16.205 | 265.433 | 16.207 | 260.533 | 21.335 | 889.833 | 23.936 | 36.3043
2020-05-13 10:00:00 | 15.359 | 256.667 | 16.439 | 264.798 | 16.777 | 269.967 | 16.792 | 264.767 | 21.748 | 889.65 | 21.293 | 35.6044
2020-05-13 10:15:00 | 14.25 | 257.56 | 15.209 | 267.206 | 15.589 | 272.833 | 15.778 | 267.5 | 21.673 | 889.35 | 20.785 | 35.8829
2020-05-13 10:30:00 | 13.691 | 256.733 | 14.278 | 269.132 | 14.481 | 274.133 | 14.652 | 268.267 | 22.035 | 889.467 | 17.967 | 35.4431
2020-05-13 10:45:00 | 12.726 | 257.54 | 13.75 | 263.83 | 13.813 | 269.333 | 14.063 | 265.95 | 22.798 | 889.533 | 16.951 | 36.0243
2020-05-13 11:00:00 | 12.444 | 256.333 | 13.279 | 267.822 | 13.372 | 273.7 | 13.494 | 269.6 | 23.298 | 889.633 | 14.815 | 36.089
2020-05-13 11:15:00 | 11.938 | 260.067 | 13.489 | 259.226 | 13.438 | 264.733 | 13.444 | 261.45 | 23.86 | 889.767 | 15.147 | 30.155
2020-05-13 11:30:00 | 12.312 | 263.54 | 13.222 | 272.724 | 13.643 | 278.633 | 13.836 | 273.4 | 23.635 | 889.567 | 14.201 | 26.966
2020-05-13 11:45:00 | 11.717 | 259.653 | 12.517 | 266.222 | 12.832 | 270.6 | 12.8 | 266.667 | 23.768 | 889.567 | 14.16 | 26.7699
2020-05-13 12:00:00 | 10.926 | 263.767 | 11.642 | 267.302 | 11.942 | 271.567 | 12.451 | 266.567 | 23.564 | 889.7 | 14.133 | 26.9703
2020-05-13 12:15:00 | 10.802 | 274.067 | 11.803 | 281.135 | 12.408 | 284.467 | 12.563 | 281.7 | 23.656 | 889.667 | 13.848 | 37.1925
2020-05-13 12:30:00 | 8.894 | 271.327 | 9.318 | 275.185 | 9.47 | 279.6 | 9.617 | 278.533 | 23.944 | 889.267 | 11.989 | 38.5646
2020-05-13 12:45:00 | 8.655 | 304.413 | 9.171 | 298.605 | 9.37 | 300.633 | 10.013 | 294.5 | 23.752 | 889.8 | 12.695 | 38.3066
2020-05-13 13:00:00 | 8.514 | 289.927 | 9.149 | 290.205 | 9.714 | 294.633 | 9.965 | 293.9 | 23.977 | 889.333 | 12.555 | 33.6922
2020-05-13 13:15:00 | 9.519 | 289.153 | 9.668 | 291.852 | 9.62 | 297.033 | 9.721 | 293.067 | 24.41 | 889.6 | 12.335 | 33.8137
2020-05-13 13:30:00 | 9.693 | 288.773 | 10.045 | 286.654 | 10.341 | 292.1 | 10.881 | 287 | 24.898 | 889.3 | 12.032 | 39.6873
2020-05-13 13:45:00 | 9.398 | 264.127 | 9.984 | 269.938 | 10.489 | 275.167 | 10.713 | 271.883 | 25.218 | 889.833 | 11.655 | 36.256
2020-05-13 14:00:00 | 9.898 | 296.867 | 10.589 | 293.271 | 10.765 | 299.267 | 11.278 | 297.633 | 24.514 | 889.9 | 11.209 | 37.3083
2020-05-13 14:15:00 | 8.523 | 240.44 | 9.163 | 241.605 | 9.401 | 249.35 | 9.428 | 244.783 | 24.439 | 889.6 | 12.152 | 31.1555
2020-05-13 14:30:00 | 5.844 | 282.32 | 6.409 | 279.944 | 6.428 | 286.567 | 7.076 | 282.733 | 24.539 | 889.667 | 11.839 | 31.0525
2020-05-13 14:45:00 | 8.758 | 272.48 | 9.097 | 275.558 | 9.178 | 279.367 | 9.147 | 274.417 | 25.16 | 889.667 | 11.572 | 36.9146
2020-05-13 15:00:00 | 7.986 | 293.6 | 8.516 | 296.422 | 8.934 | 302.4 | 9.033 | 301.133 | 24.502 | 889.4 | 12.771 | 31.8881
2020-05-13 15:15:00 | 8.536 | 283.987 | 9.104 | 288.564 | 9.309 | 294.1 | 9.738 | 293.367 | 24.718 | 889.233 | 12.427 | 36.3206
2020-05-13 15:30:00 | 8.53 | 300.72 | 8.779 | 298.923 | 8.862 | 301.733 | 9.4 | 299.633 | 24.448 | 889.5 | 12.955 | 37.0688
2020-05-13 15:45:00 | 11.159 | 275.833 | 12.091 | 279.242 | 12.212 | 284.867 | 12.821 | 281.467 | 24.66 | 889.433 | 12.711 | 38.9817
2020-05-13 16:00:00 | 9.6 | 267.207 | 10.233 | 269.561 | 10.207 | 273 | 10.248 | 268.183 | 24.506 | 889.867 | 12.911 | 39.3881
2020-05-13 16:15:00 | 9.35 | 266.973 | 9.842 | 274.116 | 10.094 | 275.783 | 10.576 | 275.267 | 24.239 | 889.333 | 12.455 | 46.5855
2020-05-13 16:30:00 | 7.524 | 303.953 | 7.374 | 300.606 | 7.39 | 303.333 | 7.911 | 299.167 | 24.86 | 889.4 | 11.527 | 23.9688
2020-05-13 16:45:00 | 7.572 | 280.893 | 7.564 | 279.262 | 7.616 | 284.067 | 7.779 | 281.433 | 25.385 | 889.467 | 10.511 | 30.9764
2020-05-13 17:00:00 | 6.364 | 307.267 | 6.609 | 298.394 | 6.956 | 303.367 | 7.31 | 303.667 | 25.123 | 889.733 | 10.791 | 29.9951
2020-05-13 17:15:00 | 6.793 | 327.32 | 7.384 | 321.59 | 7.517 | 325.3 | 7.655 | 299.567 | 25.044 | 889.533 | 11.12 | 28.8618
2020-05-13 17:30:00 | 6.299 | 286.627 | 6.283 | 282.144 | 6.608 | 284.233 | 7.052 | 280.967 | 25.298 | 889.4 | 11.031 | 29.4921
2020-05-13 17:45:00 | 7.259 | 300.147 | 7.593 | 296.009 | 7.803 | 299.6 | 8.17 | 297.533 | 24.66 | 889.333 | 11.481 | 31.7147
2020-05-13 18:00:00 | 9.441 | 295.58 | 10.134 | 292.51 | 10.288 | 297.567 | 10.973 | 295.233 | 24.848 | 889.267 | 11.681 | 41.9199
2020-05-13 18:15:00 | 6.75 | 305.893 | 7.235 | 303.125 | 7.341 | 311.333 | 7.68 | 309.3 | 24.931 | 889.8 | 11.027 | 37.4682
2020-05-13 18:30:00 | 8.445 | 301.52 | 8.959 | 298.768 | 9.32 | 304.2 | 9.668 | 301.867 | 25.123 | 889.9 | 11.253 | 44.6733
2020-05-13 18:45:00 | 7.886 | 315.253 | 8.107 | 313.118 | 8.592 | 317.967 | 8.822 | 316.7 | 24.685 | 889.767 | 11.777 | 36.6304
2020-05-13 19:00:00 | 7.35 | 310.76 | 8.153 | 306.583 | 8.34 | 308.733 | 8.62 | 308.067 | 24.777 | 889.667 | 12.02 | 36.4258
2020-05-13 19:15:00 | 6.704 | 331.373 | 6.702 | 325.574 | 6.934 | 329.367 | 7.303 | 328.267 | 24.535 | 889.333 | 11.976 | 33.4748
2020-05-13 19:30:00 | 7.698 | 283.04 | 8.422 | 285.135 | 8.519 | 289.667 | 8.682 | 285.067 | 25.085 | 889.267 | 11.564 | 39.1998
2020-05-13 19:45:00 | 6.812 | 299.16 | 7.447 | 297.561 | 7.737 | 304.167 | 8.018 | 300.967 | 24.398 | 889.667 | 11.864 | 36.1146
2020-05-13 20:00:00 | 8.02 | 280.36 | 8.923 | 283.706 | 9.351 | 288.233 | 9.571 | 286.767 | 24.248 | 889.633 | 12.217 | 40.7332
2020-05-13 20:15:00 | 5.311 | 306.427 | 5.977 | 300.327 | 6.452 | 305.833 | 6.884 | 302.167 | 23.981 | 889.367 | 12.528 | 30.7704
2020-05-13 20:30:00 | 6.756 | 305.787 | 7.608 | 302.28 | 7.93 | 308.5 | 8.238 | 307.433 | 23.514 | 889.733 | 13.805 | 30.8421
2020-05-13 20:45:00 | 5.411 | 303.667 | 5.77 | 302.208 | 5.992 | 308.367 | 6.402 | 307.5 | 23.614 | 889.867 | 14.639 | 24.3319
2020-05-13 21:00:00 | 6.175 | 284.107 | 7.361 | 286.47 | 7.419 | 290.033 | 8.058 | 288.4 | 22.948 | 889.1 | 14.251 | 27.7284
2020-05-13 21:15:00 | 5.884 | 290.107 | 6.674 | 291.816 | 7.159 | 298.4 | 7.776 | 296.1 | 23.081 | 889.567 | 14.793 | 25.0929
2020-05-13 21:30:00 | 5.686 | 262.067 | 6.542 | 266.47 | 6.871 | 271.533 | 7.094 | 267.933 | 22.598 | 889.4 | 15.341 | 28.1328
2020-05-13 21:45:00 | 4.813 | 264.507 | 5.715 | 268.43 | 5.865 | 276.033 | 6.273 | 274.033 | 22.064 | 889.167 | 15.817 | 22.2756
2020-05-13 22:00:00 | 4.839 | 267.22 | 6.182 | 278.976 | 6.694 | 284.367 | 7.102 | 281.8 | 21.748 | 889.4 | 15.435 | 23.1808
2020-05-13 22:15:00 | 5.226 | 263.98 | 6.601 | 274.651 | 7.007 | 280.633 | 7.342 | 276.7 | 21.518 | 889.433 | 15.555 | 20.3627
2020-05-13 22:30:00 | 4.499 | 247.36 | 5.581 | 257.627 | 6.003 | 269.4 | 6.599 | 269.967 | 20.702 | 889.633 | 16.132 | 19.7459
2020-05-13 22:45:00 | 6.678 | 270.64 | 7.99 | 278.361 | 8.666 | 282.867 | 9.332 | 277.7 | 20.96 | 889.333 | 19.765 | 35.3784
2020-05-13 23:00:00 | 7.331 | 261.32 | 7.957 | 275.073 | 8.526 | 280.2 | 9.073 | 276.4 | 21.439 | 889.6 | 21.611 | 44.2605
2020-05-13 23:15:00 | 6.636 | 263.567 | 8.094 | 272.326 | 8.771 | 277.333 | 9.53 | 275.1 | 21.127 | 890 | 22.365 | 48.3875
2020-05-13 23:30:00 | 7.241 | 264.8 | 8.538 | 273.54 | 9.237 | 278.167 | 9.672 | 275.533 | 20.314 | 890.283 | 22.709 | 46.1904
2020-05-13 23:45:00 | 5.603 | 262.487 | 6.786 | 264.556 | 7.172 | 271.6 | 7.521 | 267.333 | 20.431 | 889.883 | 22.656 | 35.1233