## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-14 00:00:00 | 6.71 | 262.58 | 7.964 | 266.544 | 8.485 | 274.233 | 9.073 | 271 | 20.431 | 889.883 | 23.152 | 44.2221
2020-05-14 00:15:00 | 6.561 | 262.44 | 7.79 | 267.304 | 8.286 | 273.433 | 8.854 | 268.667 | 20.323 | 889.833 | 23.688 | 52.0291
2020-05-14 00:30:00 | 7.586 | 267.207 | 9.024 | 271.871 | 9.927 | 277.433 | 10.279 | 275.2 | 20.198 | 889.883 | 24.421 | 61.3077
2020-05-14 00:45:00 | 7.317 | 258.747 | 8.275 | 265.425 | 8.812 | 272.333 | 9.406 | 267.9 | 20.285 | 890.05 | 24.949 | 61.2949
2020-05-14 01:00:00 | 6.415 | 261.533 | 7.739 | 272.945 | 8.049 | 278 | 8.71 | 273.333 | 19.623 | 889.817 | 25.739 | 53.1127
2020-05-14 01:15:00 | 7.317 | 274.34 | 8.416 | 279.884 | 8.988 | 284.833 | 9.456 | 281 | 19.802 | 889.417 | 26.413 | 57.5595
2020-05-14 01:30:00 | 6.527 | 271.367 | 7.793 | 272.876 | 8.317 | 277.567 | 8.849 | 273.6 | 19.418 | 889.833 | 27.267 | 60.3335
2020-05-14 01:45:00 | 8.8 | 264.88 | 10.278 | 277.646 | 10.959 | 282.833 | 11.556 | 279.733 | 19.152 | 889.967 | 28.272 | 72.5389
2020-05-14 02:00:00 | 9.374 | 262.093 | 10.485 | 272.475 | 11.124 | 277.967 | 11.685 | 273.067 | 18.623 | 890.067 | 29.115 | 78.5915
2020-05-14 02:15:00 | 8.064 | 254.867 | 9.372 | 267.885 | 10.025 | 273.833 | 10.767 | 270.767 | 18.723 | 889.65 | 30.256 | 75.8736
2020-05-14 02:30:00 | 8.214 | 251.553 | 9.735 | 271.029 | 10.285 | 277.767 | 10.632 | 272.733 | 18.639 | 889.533 | 30.352 | 72.6796
2020-05-14 02:45:00 | 7.912 | 255.247 | 9.814 | 268.158 | 10.383 | 274.133 | 10.701 | 269.833 | 18.298 | 889.633 | 30.725 | 68.9221
2020-05-14 03:00:00 | 6.811 | 258.54 | 8.56 | 270.354 | 9.233 | 276.167 | 9.622 | 270.967 | 18.144 | 889.3 | 31.061 | 62.807
2020-05-14 03:15:00 | 7.61 | 252.867 | 9.073 | 267.109 | 9.878 | 272.567 | 10.374 | 267.333 | 18.339 | 889.75 | 31.093 | 71.6592
2020-05-14 03:30:00 | 7.212 | 258.893 | 8.56 | 268.988 | 9.093 | 274.467 | 9.5 | 269.467 | 18.064 | 889.617 | 31.085 | 60.546
2020-05-14 03:45:00 | 6.27 | 256.267 | 7.351 | 260.578 | 8.151 | 266.967 | 8.372 | 262.6 | 18.073 | 889.667 | 30.571 | 38.8524
2020-05-14 04:00:00 | 5.32 | 254.633 | 6.522 | 260.113 | 7.148 | 267.4 | 7.78 | 263.133 | 17.956 | 889.483 | 30.997 | 30.0271
2020-05-14 04:15:00 | 5.969 | 259.36 | 7.192 | 265.329 | 7.918 | 271.9 | 8.513 | 267.533 | 17.573 | 889.65 | 31.509 | 32.3393
2020-05-14 04:30:00 | 6.695 | 260.02 | 7.834 | 274.08 | 8.572 | 279.433 | 9.183 | 275.6 | 17.939 | 889.467 | 32.115 | 43.729
2020-05-14 04:45:00 | 7.858 | 255.32 | 8.89 | 273.141 | 9.672 | 278.2 | 10.59 | 275.733 | 18.035 | 890.017 | 32.125 | 59.3884
2020-05-14 05:00:00 | 7.611 | 256.287 | 9.159 | 268.524 | 9.916 | 272.6 | 10.404 | 269.3 | 17.752 | 889.55 | 32.32 | 67.1059
2020-05-14 05:15:00 | 7.374 | 255.56 | 8.774 | 266.869 | 9.585 | 272.567 | 9.66 | 268.667 | 17.706 | 889.433 | 32.413 | 65.6315
2020-05-14 05:30:00 | 7.223 | 254.5 | 8.132 | 265.828 | 8.347 | 272.533 | 8.749 | 267.483 | 18.094 | 889.75 | 32.624 | 68.176
2020-05-14 05:45:00 | 8.816 | 252.093 | 10.155 | 271.696 | 10.798 | 276.133 | 11.292 | 272.467 | 17.523 | 889.883 | 33.475 | 75.2504
2020-05-14 06:00:00 | 9.265 | 249.6 | 10.458 | 262.666 | 11.088 | 268 | 11.377 | 264.533 | 17.502 | 890.067 | 33.613 | 75.4338
2020-05-14 06:15:00 | 7.787 | 252.247 | 9.263 | 259.729 | 9.887 | 266.3 | 10.242 | 262.05 | 17.144 | 889.75 | 33.512 | 66.3627
2020-05-14 06:30:00 | 9.229 | 253.02 | 10.6 | 264.245 | 11.027 | 269.767 | 11.237 | 265.567 | 17.239 | 889.833 | 34.155 | 74.2592
2020-05-14 06:45:00 | 9.801 | 248.133 | 11.104 | 260.282 | 11.891 | 267.9 | 12.243 | 263.283 | 17.223 | 890.033 | 35.523 | 77.6358
2020-05-14 07:00:00 | 9.436 | 247.567 | 10.611 | 259.436 | 11.222 | 263.067 | 11.411 | 260.5 | 17.031 | 889.483 | 36.651 | 79.1237
2020-05-14 07:15:00 | 10.585 | 250.213 | 11.87 | 258.836 | 12.086 | 264.567 | 12.493 | 259.883 | 17.123 | 889.717 | 37.731 | 79.457
2020-05-14 07:30:00 | 11.275 | 249.567 | 12.5 | 269.236 | 12.935 | 273.133 | 13.455 | 269.133 | 17.198 | 889.767 | 38.709 | 79.5124
2020-05-14 07:45:00 | 10.867 | 250.333 | 12.202 | 262.337 | 12.562 | 269.567 | 13.213 | 263.533 | 17.194 | 889.95 | 38.893 | 79.5067
2020-05-14 08:00:00 | 11.21 | 241.293 | 12.631 | 266.528 | 13.173 | 271 | 12.911 | 265.317 | 17.585 | 889.817 | 37.52 | 79.4783
2020-05-14 08:15:00 | 12.116 | 244.813 | 13.162 | 263.542 | 13.426 | 268.8 | 13.655 | 263.8 | 17.86 | 889.083 | 36.035 | 73.6531
2020-05-14 08:30:00 | 12.652 | 243.087 | 13.568 | 263.485 | 13.822 | 269.933 | 14.409 | 265.1 | 18.206 | 890.1 | 33.165 | 70.0164
2020-05-14 08:45:00 | 10.403 | 242.98 | 11.689 | 261.405 | 11.93 | 266.733 | 12.245 | 262.683 | 18.606 | 889.95 | 32.621 | 63.072
2020-05-14 09:00:00 | 11.588 | 249.627 | 12.209 | 262.961 | 12.528 | 266.833 | 12.58 | 263.3 | 18.985 | 889.683 | 32.208 | 60.0749
2020-05-14 09:15:00 | 10.771 | 249.34 | 11.827 | 263.114 | 12.098 | 268 | 12.017 | 263.767 | 19.085 | 889.533 | 31.957 | 59.3863
2020-05-14 09:30:00 | 11.12 | 246.427 | 12.468 | 266.106 | 12.602 | 272.067 | 12.823 | 266.533 | 18.956 | 889.683 | 31.861 | 56.3458
2020-05-14 09:45:00 | 10.785 | 253.093 | 11.954 | 266.714 | 12.317 | 272.133 | 12.31 | 268.3 | 19.373 | 890.067 | 31.696 | 57.6653
2020-05-14 10:00:00 | 11.108 | 252.96 | 11.607 | 270.47 | 11.627 | 275.633 | 11.785 | 272 | 20.185 | 889.433 | 29.411 | 54.0585
2020-05-14 10:15:00 | 8.721 | 277.713 | 9.156 | 282.365 | 9.21 | 287.067 | 9.34 | 283.767 | 20.973 | 889.883 | 25.429 | 38.1631
2020-05-14 10:30:00 | 9.742 | 265.367 | 10.648 | 279.059 | 10.886 | 283.667 | 11.353 | 283.667 | 20.652 | 889.467 | 26.376 | 34.6323
2020-05-14 10:45:00 | 9.266 | 278.62 | 9.786 | 288.789 | 9.887 | 296.633 | 10.223 | 293.8 | 21.652 | 889.667 | 25.085 | 28.299
2020-05-14 11:00:00 | 8.94 | 298.467 | 9.205 | 300.278 | 9.417 | 306.333 | 10.038 | 302.633 | 21.635 | 889.867 | 24.973 | 26.4942
2020-05-14 11:15:00 | 9.012 | 265.327 | 9.709 | 278.291 | 9.825 | 282.3 | 10.005 | 279.133 | 22.423 | 890.033 | 24.277 | 24.4257
2020-05-14 11:30:00 | 9.606 | 283.8 | 9.932 | 288.916 | 10.186 | 294.233 | 10.528 | 291.067 | 22.531 | 889.683 | 23.648 | 21.1834
2020-05-14 11:45:00 | 9.997 | 277.427 | 10.521 | 287.513 | 11.017 | 293.2 | 11.081 | 292.1 | 22.502 | 889.55 | 23.245 | 22.3814
2020-05-14 12:00:00 | 8.336 | 273 | 8.997 | 277.882 | 9.379 | 280.1 | 9.686 | 275.767 | 22.431 | 889.683 | 22.011 | 20.109
2020-05-14 12:15:00 | 8.955 | 274.853 | 9.503 | 280.961 | 9.782 | 286.267 | 10.285 | 284.333 | 22.289 | 890.2 | 23.064 | 19.5555
2020-05-14 12:30:00 | 10.595 | 317.04 | 10.717 | 312.817 | 10.802 | 317.867 | 11.693 | 315.7 | 22.848 | 889.833 | 21.329 | 18.9558
2020-05-14 12:45:00 | 10.659 | 310.053 | 10.904 | 306.822 | 11.293 | 311.5 | 11.833 | 307.733 | 22.831 | 889.683 | 21.555 | 18.3525
2020-05-14 13:00:00 | 10.369 | 268.453 | 10.863 | 278.783 | 10.862 | 282.933 | 11.23 | 283.267 | 23.198 | 889.617 | 21.355 | 19.9385
2020-05-14 13:15:00 | 10.175 | 268.047 | 10.72 | 281.676 | 10.782 | 285.967 | 10.935 | 281.667 | 23.014 | 889.683 | 20.707 | 20.1929
2020-05-14 13:30:00 | 10.639 | 296.547 | 11.246 | 295.575 | 11.571 | 300.967 | 12.132 | 299.4 | 24.006 | 889.383 | 19.972 | 16.8575
2020-05-14 13:45:00 | 11.165 | 295.773 | 11.79 | 295.106 | 11.858 | 301.567 | 12.572 | 301.833 | 23.398 | 889.183 | 20.669 | 17.2007
2020-05-14 14:00:00 | 8.784 | 303.907 | 9.086 | 299.762 | 9.48 | 305.467 | 9.932 | 304.733 | 23.514 | 889.533 | 20.127 | 17.3442
2020-05-14 14:15:00 | 10.763 | 296.547 | 11.591 | 294.499 | 11.817 | 299.933 | 12.216 | 296.8 | 23.232 | 888.65 | 20.925 | 16.5548
2020-05-14 14:30:00 | 12.84 | 303.36 | 13.779 | 301.279 | 14.261 | 305.167 | 14.832 | 302.9 | 23.998 | 889.783 | 20.765 | 16.2272
2020-05-14 14:45:00 | 17.556 | 309.387 | 17.527 | 305.992 | 18.051 | 310.6 | 18.656 | 309.4 | 23.498 | 889.667 | 22.419 | 15.6282
2020-05-14 15:00:00 | 16.024 | 295.22 | 16.757 | 294.667 | 17.402 | 297.7 | 18.216 | 295.333 | 23.585 | 889.6 | 21.979 | 16.2514
2020-05-14 15:15:00 | 13.946 | 289.56 | 15.13 | 292.113 | 15.12 | 298.067 | 15.689 | 295.567 | 22.781 | 890.183 | 21.712 | 16.11
2020-05-14 15:30:00 | 12.012 | 288.273 | 13.026 | 290.623 | 13.504 | 294.8 | 13.808 | 292.467 | 23.739 | 889.733 | 20.435 | 16.483
2020-05-14 15:45:00 | 12.607 | 300.433 | 13.257 | 300.775 | 13.563 | 306.033 | 14.027 | 304.433 | 23.502 | 889.483 | 19.927 | 16.2123
2020-05-14 16:00:00 | 14.201 | 304.747 | 15.128 | 301.684 | 15.97 | 305.6 | 16.849 | 303.4 | 24.339 | 889.733 | 20.605 | 17.0103
2020-05-14 16:15:00 | 11.22 | 305.48 | 11.805 | 303.086 | 12.094 | 309.3 | 12.883 | 307.167 | 23.114 | 890.117 | 20.679 | 16.3814
2020-05-14 16:30:00 | 11.018 | 296.8 | 11.824 | 294.065 | 12.325 | 300.4 | 13.222 | 297.567 | 23.048 | 889.65 | 21.149 | 16.2393
2020-05-14 16:45:00 | 9.955 | 290.033 | 10.56 | 294.892 | 11.077 | 301.633 | 11.486 | 299.433 | 22.414 | 889.917 | 22.869 | 18.5003
2020-05-14 17:00:00 | 9.882 | 292.187 | 10.834 | 290.226 | 10.997 | 293.867 | 11.618 | 291.8 | 23.435 | 889.3 | 21.125 | 21.7163
2020-05-14 17:15:00 | 9.486 | 303.573 | 10.043 | 301.864 | 10.848 | 306.067 | 11.238 | 304.8 | 24.435 | 889.533 | 19.46 | 20.5936
2020-05-14 17:30:00 | 12.903 | 291.287 | 13.434 | 293.905 | 13.533 | 297.833 | 14.083 | 293.567 | 24.785 | 889.7 | 18.468 | 31.8178
2020-05-14 17:45:00 | 14.912 | 280.58 | 15.839 | 286.315 | 15.942 | 292.267 | 16.344 | 289.7 | 24.335 | 889.133 | 18.7 | 46.0177
2020-05-14 18:00:00 | 13.24 | 292.147 | 14.242 | 292.322 | 14.848 | 298.233 | 15.482 | 295.933 | 24.452 | 889.533 | 18.907 | 51.6518
2020-05-14 18:15:00 | 14.277 | 278.373 | 15.502 | 287.149 | 15.848 | 292.867 | 16.85 | 291.2 | 24.689 | 889.2 | 19.049 | 51.499
2020-05-14 18:30:00 | 11.848 | 286.86 | 12.749 | 290.976 | 12.941 | 296.567 | 13.557 | 294.9 | 24.344 | 889.233 | 18.843 | 52.7546
2020-05-14 18:45:00 | 12.452 | 288.853 | 12.833 | 289.905 | 13.283 | 294.467 | 13.862 | 292.967 | 24.135 | 889.833 | 19.836 | 58.0824
2020-05-14 19:00:00 | 12.786 | 282.08 | 13.609 | 283.743 | 13.957 | 289.467 | 14.243 | 286.967 | 23.677 | 889.333 | 20.508 | 59.775
2020-05-14 19:15:00 | 13.161 | 295.92 | 14.343 | 296.629 | 14.412 | 301.333 | 15.07 | 298.867 | 24.018 | 889.367 | 20.183 | 58.8235
2020-05-14 19:30:00 | 14.916 | 283.94 | 16.353 | 284.481 | 16.804 | 288.567 | 17.646 | 286.833 | 23.789 | 889.65 | 21.133 | 57.4991
2020-05-14 19:45:00 | 13.211 | 275.7 | 14.388 | 284.726 | 14.724 | 288.867 | 15.444 | 286.633 | 23.814 | 889.833 | 20.353 | 58.0341
2020-05-14 20:00:00 | 13.987 | 279.46 | 15.376 | 287.478 | 15.869 | 290.767 | 16.642 | 288.5 | 23.531 | 889.767 | 20.792 | 62.6855
2020-05-14 20:15:00 | 12.626 | 272.993 | 14.273 | 284.433 | 14.968 | 288.833 | 15.821 | 286.1 | 23.231 | 889.983 | 21.637 | 63.0599
2020-05-14 20:30:00 | 12.682 | 278.8 | 13.838 | 286.776 | 14.354 | 290.433 | 15.258 | 288.833 | 23.214 | 890.417 | 21.595 | 72.5354
2020-05-14 20:45:00 | 11.884 | 272.793 | 13.382 | 283.982 | 14.226 | 287 | 15.305 | 285.933 | 23.164 | 889.85 | 22.592 | 14.2128
2020-05-14 21:00:00 | 12.288 | 269.6 | 14.013 | 279.932 | 14.956 | 284.5 | 15.786 | 281.467 | 22.431 | 889.6 | 23.315 | 26.1361
2020-05-14 21:15:00 | 11.046 | 264.98 | 12.643 | 278.964 | 13.232 | 284.433 | 13.855 | 282.967 | 22.377 | 890.083 | 23.544 | 58.5422
2020-05-14 21:30:00 | 12.132 | 256.073 | 13.776 | 259.856 | 14.69 | 264.1 | 14.955 | 259.567 | 21.639 | 889.383 | 27.171 | 62.9029
2020-05-14 21:45:00 | 10.531 | 257.233 | 12.212 | 261.473 | 13.167 | 265.933 | 13.802 | 261.15 | 20.91 | 889.683 | 28.016 | 66.8956
2020-05-14 22:00:00 | 10.128 | 247.193 | 11.792 | 254.726 | 12.74 | 259.367 | 13.398 | 255.383 | 20.935 | 889.7 | 28.421 | 61.4754
2020-05-14 22:15:00 | 8.905 | 243.453 | 10.316 | 247.845 | 11.289 | 253.033 | 11.598 | 249.317 | 20.344 | 889.433 | 28.808 | 52.9962
2020-05-14 22:30:00 | 9.12 | 238.887 | 10.845 | 248.068 | 12.007 | 254.667 | 12.274 | 250.933 | 19.881 | 889.367 | 30.059 | 48.6418
2020-05-14 22:45:00 | 9.366 | 247.48 | 10.969 | 252.668 | 11.989 | 259.233 | 12.658 | 255.3 | 19.844 | 889.733 | 29.813 | 50.1276
2020-05-14 23:00:00 | 9.579 | 251.813 | 11.749 | 259.171 | 12.882 | 264.633 | 13.804 | 263.183 | 20.064 | 889.5 | 28.832 | 51.3001
2020-05-14 23:15:00 | 10.071 | 245.453 | 11.588 | 254.308 | 12.746 | 261.333 | 12.864 | 258.933 | 19.873 | 889.65 | 28.803 | 52.1755
2020-05-14 23:30:00 | 10.3 | 249.253 | 12.17 | 260.249 | 13.376 | 265.167 | 13.975 | 262.6 | 19.094 | 889.6 | 28.795 | 58.1947
2020-05-14 23:45:00 | 10.596 | 247.613 | 12.658 | 262.606 | 13.708 | 268 | 14.496 | 262.9 | 19.523 | 889.65 | 28.093 | 69.8217