## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-16 00:00:00 | 5.934 | 264.167 | 7.726 | 273.537 | 8.469 | 279.567 | 9.218 | 278.5 | 22.631 | 889.3 | 15.684 | 30.1245
2020-05-16 00:15:00 | 5.752 | 265 | 7.179 | 272.152 | 7.953 | 279.6 | 8.822 | 278.333 | 22.581 | 889.433 | 15.6 | 29.4416
2020-05-16 00:30:00 | 6.08 | 270.387 | 7.703 | 279.956 | 8.677 | 284.667 | 9.02 | 282.5 | 22.548 | 889.6 | 15.913 | 26.8594
2020-05-16 00:45:00 | 5.196 | 265.26 | 6.892 | 277.256 | 7.569 | 283.9 | 7.954 | 281.933 | 22.323 | 889.367 | 16.136 | 18.6566
2020-05-16 01:00:00 | 4.358 | 260.793 | 5.809 | 274.486 | 6.77 | 281.733 | 7.586 | 281.367 | 21.852 | 888.967 | 16.572 | 13.1952
2020-05-16 01:15:00 | 3.599 | 215.02 | 3.811 | 245.291 | 4.869 | 267.3 | 5.802 | 270.067 | 20.531 | 889.333 | 18.061 | 11.2035
2020-05-16 01:30:00 | 5.307 | 217.813 | 4.685 | 228.753 | 4.5 | 247.067 | 4.981 | 257.8 | 19.581 | 889.267 | 19.893 | 15.0882
2020-05-16 01:45:00 | 6.338 | 218.753 | 6.422 | 223.534 | 6.122 | 231.667 | 5.716 | 233.6 | 19.356 | 890.283 | 20.875 | 20.9802
2020-05-16 02:00:00 | 6.047 | 224.32 | 6.757 | 228.088 | 6.447 | 238 | 6.081 | 238.5 | 19.594 | 889.7 | 21.355 | 26.7649
2020-05-16 02:15:00 | 6.273 | 225.533 | 6.674 | 228.802 | 6.414 | 240.2 | 6.092 | 240.9 | 19.352 | 890.2 | 21.408 | 29.4771
2020-05-16 02:30:00 | 6.878 | 230.487 | 7.222 | 233.718 | 7.04 | 242.833 | 6.858 | 242.533 | 19.035 | 889.667 | 21.851 | 32.6797
2020-05-16 02:45:00 | 6.629 | 234.04 | 7.452 | 240.644 | 7.674 | 251.167 | 7.826 | 252.017 | 19.16 | 889.9 | 22.144 | 30.9146
2020-05-16 03:00:00 | 5.782 | 239.3 | 6.691 | 245.913 | 6.738 | 255.233 | 6.697 | 254.283 | 18.977 | 890.083 | 22.56 | 22.699
2020-05-16 03:15:00 | 5.139 | 229.4 | 6.394 | 237.142 | 6.279 | 247.6 | 6.062 | 247.233 | 18.989 | 889.783 | 22.949 | 20.7066
2020-05-16 03:30:00 | 5.716 | 233.767 | 6.723 | 241.015 | 6.583 | 250.667 | 6.553 | 249.9 | 18.606 | 889.567 | 23.429 | 19.699
2020-05-16 03:45:00 | 5.138 | 232.247 | 6.351 | 246.758 | 6.362 | 258.767 | 6.662 | 259.183 | 18.277 | 890.133 | 23.723 | 17.5567
2020-05-16 04:00:00 | 5.578 | 218.313 | 6.196 | 235.5 | 6.306 | 250.967 | 6.253 | 254.667 | 17.239 | 889.317 | 24.619 | 21.835
2020-05-16 04:15:00 | 6.546 | 211.86 | 7.329 | 220.378 | 7.03 | 232.133 | 6.718 | 231.9 | 16.614 | 889.767 | 25.157 | 34.1285
2020-05-16 04:30:00 | 7.11 | 217.393 | 8.492 | 223.114 | 8.549 | 229.7 | 8.456 | 225.967 | 16.714 | 889.95 | 25.141 | 44.7756
2020-05-16 04:45:00 | 6.858 | 219.68 | 8.411 | 224.673 | 8.801 | 231.233 | 8.76 | 227.2 | 16.898 | 889.633 | 25.371 | 50.6279
2020-05-16 05:00:00 | 7.576 | 227.933 | 9.65 | 231.363 | 10.018 | 237.2 | 9.803 | 233 | 16.831 | 889.533 | 25.339 | 59.1213
2020-05-16 05:15:00 | 6.004 | 235.527 | 8.312 | 239.563 | 9.165 | 246.4 | 9.3 | 242.267 | 17.527 | 889.317 | 24.811 | 53.3295
2020-05-16 05:30:00 | 6.301 | 225.38 | 8.148 | 230.145 | 8.926 | 240.433 | 8.953 | 237.6 | 17.252 | 890.217 | 25.115 | 58.1805
2020-05-16 05:45:00 | 6.516 | 208.78 | 8.476 | 215.296 | 9.362 | 226.233 | 9.603 | 224.4 | 16.417 | 889.667 | 26.059 | 58.1542
2020-05-16 06:00:00 | 7.528 | 206.54 | 10.091 | 208.543 | 10.401 | 212.933 | 10.758 | 210.833 | 15.994 | 890.1 | 26.411 | 64.4271
2020-05-16 06:15:00 | 6.691 | 211.6 | 9.231 | 213.862 | 9.642 | 220.867 | 9.942 | 218.533 | 16.001 | 889.55 | 26.539 | 53.6869
2020-05-16 06:30:00 | 6.604 | 218.7 | 8.518 | 227.103 | 9.688 | 236.1 | 10.266 | 233.1 | 16.174 | 889.4 | 26.443 | 56.2016
2020-05-16 06:45:00 | 7.113 | 220.847 | 9.139 | 226.808 | 10.186 | 233.567 | 10.266 | 231.2 | 17.294 | 889.133 | 24.912 | 69.1189
2020-05-16 07:00:00 | 7.497 | 218.987 | 9.312 | 222.367 | 10.297 | 228.967 | 10.525 | 226.2 | 17.898 | 889.667 | 23.76 | 73.0868
2020-05-16 07:15:00 | 7.044 | 224.993 | 8.598 | 225.69 | 9.664 | 232.533 | 9.919 | 229.033 | 18.777 | 889.717 | 22.763 | 67.3475
2020-05-16 07:30:00 | 6.9 | 228.027 | 8.457 | 230.694 | 9.525 | 237.2 | 9.542 | 234.2 | 19.302 | 889.7 | 21.883 | 56.0147
2020-05-16 07:45:00 | 7.033 | 230.507 | 8.04 | 233.097 | 8.936 | 240.867 | 9.107 | 237.467 | 20.114 | 889.883 | 21.435 | 44.9341
2020-05-16 08:00:00 | 7.182 | 229.587 | 7.686 | 233.743 | 8.121 | 238.3 | 8.482 | 233.267 | 20.581 | 889.767 | 20.811 | 41.7877
2020-05-16 08:15:00 | 8.364 | 230.233 | 8.921 | 236.234 | 9.141 | 241.833 | 9.116 | 236.833 | 21.498 | 889.4 | 20.944 | 46.5137
2020-05-16 08:30:00 | 8.573 | 248.633 | 9.574 | 252.681 | 9.901 | 255.233 | 9.905 | 250.817 | 22.448 | 889.483 | 22.208 | 59.7551
2020-05-16 08:45:00 | 9.288 | 244.233 | 10.135 | 248.63 | 10.376 | 253.45 | 10.276 | 247.183 | 22.614 | 889.267 | 22.512 | 65.0488
2020-05-16 09:00:00 | 10.092 | 251.347 | 11.153 | 255.925 | 11.208 | 259.55 | 11.149 | 255.567 | 23.298 | 889.717 | 22.005 | 54.7214
2020-05-16 09:15:00 | 11.08 | 250.707 | 11.537 | 257.558 | 11.448 | 262.367 | 11.358 | 255.867 | 23.431 | 889.8 | 21.893 | 49.6793
2020-05-16 09:30:00 | 9.646 | 256.393 | 10.518 | 260.65 | 10.802 | 265.967 | 10.79 | 262.533 | 23.952 | 889.333 | 21.435 | 42.7726
2020-05-16 09:45:00 | 10.672 | 252.78 | 11.401 | 258.961 | 11.458 | 265.05 | 11.136 | 261.4 | 23.806 | 889.917 | 21.544 | 37.3261
2020-05-16 10:00:00 | 10.857 | 255.927 | 11.893 | 258.001 | 11.975 | 263.1 | 11.789 | 259.467 | 24.123 | 889.9 | 21.603 | 35.9248
2020-05-16 10:15:00 | 9.608 | 254.08 | 10.02 | 262.066 | 10.123 | 265.1 | 10.1 | 260.317 | 24.144 | 889.783 | 21.181 | 35.7294
2020-05-16 10:30:00 | 10.032 | 265.68 | 10.622 | 267.897 | 10.8 | 270.7 | 11.055 | 265.35 | 24.227 | 889.9 | 21.597 | 32.4388
2020-05-16 10:45:00 | 9.223 | 264.053 | 9.527 | 269.199 | 9.661 | 271.367 | 9.903 | 267.217 | 24.485 | 889.833 | 20.937 | 22.7459
2020-05-16 11:00:00 | 9.476 | 263.113 | 9.734 | 271.058 | 9.994 | 273.233 | 10.072 | 268.3 | 24.931 | 889.767 | 21.173 | 23.0451
2020-05-16 11:15:00 | 7.073 | 292.6 | 7.634 | 289.408 | 8 | 292.1 | 8.083 | 288.033 | 24.818 | 889.367 | 19.432 | 23.3421
2020-05-16 11:30:00 | 6.885 | 276.04 | 7.556 | 274.079 | 7.865 | 279.067 | 8.089 | 277.317 | 24.544 | 889.2 | 18.819 | 23.5844
2020-05-16 11:45:00 | 9.006 | 303.867 | 9.193 | 296.365 | 9.384 | 303.167 | 9.941 | 301.833 | 24.923 | 889.3 | 18.463 | 24.8848
2020-05-16 12:00:00 | 6.917 | 308.08 | 7.259 | 307.547 | 7.326 | 311.3 | 7.657 | 308.167 | 25.156 | 889.8 | 17.121 | 25.6138
2020-05-16 12:15:00 | 7.175 | 260.807 | 7.497 | 270.181 | 7.765 | 276.7 | 8.042 | 277.333 | 25.268 | 889.4 | 16.807 | 22.9087
2020-05-16 12:30:00 | 3.553 | 282.7 | 3.764 | 275.381 | 4.009 | 279.367 | 4.485 | 279.933 | 25.577 | 889.233 | 14.636 | 16.5349
2020-05-16 12:45:00 | 4.278 | 296.753 | 4.387 | 290.461 | 4.385 | 289.6 | 4.758 | 285.333 | 26.281 | 889.567 | 15.823 | 21.7753
2020-05-16 13:00:00 | 5.962 | 291.76 | 6.282 | 294.272 | 6.264 | 299.8 | 6.717 | 295.367 | 26.423 | 889.533 | 17.171 | 20.2369
2020-05-16 13:15:00 | 7.536 | 310.36 | 7.547 | 309.831 | 7.836 | 315.3 | 8.251 | 314.467 | 25.844 | 889.367 | 16.987 | 26.2824
2020-05-16 13:30:00 | 7.057 | 333.013 | 7.035 | 327.462 | 7.332 | 328.667 | 7.724 | 324.9 | 25.877 | 889.5 | 16.603 | 18.4015
2020-05-16 13:45:00 | 5.566 | 276.353 | 5.471 | 283.245 | 5.722 | 288.25 | 5.859 | 285.367 | 26.514 | 889.467 | 16.071 | 22.1654
2020-05-16 14:00:00 | 6.558 | 269.407 | 7.054 | 276.94 | 7.319 | 285.267 | 7.536 | 286.367 | 27.185 | 889.233 | 15.569 | 22.5257
2020-05-16 14:15:00 | 4.858 | 278.253 | 4.865 | 279.932 | 5.32 | 283.8 | 5.809 | 278.033 | 27.698 | 889.8 | 15.191 | 19.3118
2020-05-16 14:30:00 | 6.338 | 287.56 | 6.659 | 287.056 | 6.971 | 290.633 | 7.206 | 288.967 | 26.594 | 889.367 | 16.075 | 25.7637
2020-05-16 14:45:00 | 7.994 | 321.107 | 8.27 | 312.562 | 8.805 | 314.8 | 8.955 | 312.233 | 27.527 | 889.4 | 15.509 | 25.9065
2020-05-16 15:00:00 | 6.696 | 252.467 | 7.014 | 254.161 | 7.467 | 263.233 | 7.758 | 257.9 | 28.36 | 889.6 | 15.073 | 26.6761
2020-05-16 15:15:00 | 5.113 | 301.853 | 5.43 | 299.903 | 5.75 | 302.2 | 6.064 | 300.533 | 27.523 | 889.767 | 14.991 | 27.3838
2020-05-16 15:30:00 | 5.692 | 289.707 | 6.068 | 288.758 | 6.17 | 292.067 | 6.973 | 286.933 | 27.281 | 889.133 | 14.984 | 27.8023
2020-05-16 15:45:00 | 8.64 | 288.087 | 8.899 | 292.128 | 8.892 | 295.833 | 9.429 | 294.6 | 27.973 | 889.933 | 14.571 | 20.7557
2020-05-16 16:00:00 | 5.984 | 272.607 | 6.423 | 273.918 | 6.449 | 280.5 | 6.735 | 279.4 | 27.827 | 889.667 | 14.477 | 29.8793
2020-05-16 16:15:00 | 6.278 | 270.58 | 6.887 | 271.939 | 6.822 | 276.25 | 7.004 | 276.833 | 28.535 | 889.4 | 13.832 | 26.6768
2020-05-16 16:30:00 | 6.544 | 302.693 | 6.869 | 306.335 | 7.169 | 311 | 7.312 | 305.5 | 27.889 | 889.467 | 14.003 | 25.8042
2020-05-16 16:45:00 | 6.59 | 281.6 | 6.897 | 285.235 | 7.4 | 290.333 | 7.745 | 291.017 | 28.664 | 889.467 | 13.425 | 27.3177
2020-05-16 17:00:00 | 4.732 | 304.027 | 5.056 | 310.977 | 5.168 | 314.7 | 5.52 | 314.7 | 28.31 | 889.2 | 13.708 | 20.9141
2020-05-16 17:15:00 | 8 | 319.293 | 8.051 | 312.979 | 8.082 | 313.433 | 8.306 | 310.867 | 28.277 | 889.167 | 12.495 | 28.7545
2020-05-16 17:30:00 | 6.153 | 323.52 | 6.032 | 315.771 | 6.321 | 322.867 | 6.68 | 320.433 | 28.135 | 889.233 | 13.156 | 26.5404
2020-05-16 17:45:00 | 6.284 | 315.213 | 6.472 | 309.1 | 6.525 | 313.267 | 7.043 | 309 | 28.435 | 889.4 | 13.257 | 34.2443
2020-05-16 18:00:00 | 8.959 | 294.32 | 9.161 | 294.998 | 9.335 | 300.9 | 9.724 | 298.933 | 28.289 | 889.433 | 13.875 | 36.9523
2020-05-16 18:15:00 | 4.328 | 272.667 | 4.59 | 280.771 | 4.77 | 287.067 | 5.247 | 286.867 | 28.152 | 889.067 | 14.268 | 32.2498
2020-05-16 18:30:00 | 8.028 | 291.347 | 8.364 | 292.284 | 8.367 | 295.167 | 8.784 | 292.5 | 28.081 | 889.567 | 13.953 | 37.9826
2020-05-16 18:45:00 | 8.29 | 286.013 | 8.738 | 288.194 | 8.884 | 290.467 | 9.107 | 286.017 | 27.968 | 889.367 | 15.761 | 34.7666
2020-05-16 19:00:00 | 6.874 | 300.413 | 7.402 | 298.818 | 7.619 | 305.467 | 7.966 | 301.467 | 27.702 | 889.2 | 15.655 | 36.4009
2020-05-16 19:15:00 | 7.314 | 292.093 | 7.784 | 292.156 | 8.141 | 296.933 | 8.757 | 295.167 | 27.51 | 889.133 | 15.237 | 31.8732
2020-05-16 19:30:00 | 5.705 | 312.76 | 5.948 | 312.48 | 6.158 | 318 | 6.522 | 316.933 | 27.51 | 889.7 | 15.921 | 28.4895
2020-05-16 19:45:00 | 6.393 | 289.24 | 6.909 | 292.831 | 7.263 | 298.867 | 7.699 | 298 | 27.118 | 889.133 | 16.332 | 24.7313
2020-05-16 20:00:00 | 5.619 | 296.907 | 6.107 | 297.378 | 6.259 | 302.133 | 6.638 | 298.5 | 26.814 | 889.633 | 17.836 | 26.0593
2020-05-16 20:15:00 | 5.982 | 282.807 | 6.469 | 283.621 | 6.8 | 289 | 7.285 | 288.233 | 26.685 | 889.433 | 18.457 | 27.9608
2020-05-16 20:30:00 | 6.355 | 282.853 | 6.839 | 286.254 | 7.094 | 290.7 | 7.454 | 287.8 | 26.448 | 889.633 | 18.892 | 28.3246
2020-05-16 20:45:00 | 6.684 | 283.333 | 7.393 | 284.182 | 7.695 | 288.767 | 8.108 | 286.5 | 26.198 | 889.467 | 20.423 | 31.6934
2020-05-16 21:00:00 | 6.12 | 284.747 | 6.874 | 286.584 | 7.114 | 291.833 | 7.59 | 290.2 | 25.76 | 890.2 | 20.835 | 33.3504
2020-05-16 21:15:00 | 6.304 | 292.467 | 7.386 | 289.412 | 7.86 | 294.5 | 8.431 | 290.767 | 25.731 | 890.133 | 21.664 | 32.2611
2020-05-16 21:30:00 | 5.45 | 279.18 | 6.344 | 282.052 | 6.58 | 285.933 | 6.989 | 283.767 | 24.652 | 889.95 | 22.077 | 30.3256
2020-05-16 21:45:00 | 5.285 | 275.993 | 6.346 | 282.663 | 6.691 | 287.333 | 7.204 | 286.1 | 24.627 | 889.633 | 23.083 | 27.1529
2020-05-16 22:00:00 | 6.072 | 282.493 | 7.222 | 288.527 | 7.752 | 295.2 | 8.488 | 293.6 | 24.294 | 889.883 | 23.373 | 36.4236
2020-05-16 22:15:00 | 6.626 | 281.087 | 7.734 | 285.003 | 8.159 | 292.133 | 8.713 | 289.867 | 24.452 | 889.9 | 23.765 | 38.9035
2020-05-16 22:30:00 | 5.222 | 281.507 | 6.656 | 284.657 | 7.054 | 291.633 | 7.632 | 289.133 | 23.664 | 889.083 | 24.728 | 33.813
2020-05-16 22:45:00 | 5.443 | 279.633 | 6.908 | 282.466 | 7.386 | 286.233 | 7.926 | 285.967 | 23.348 | 889.783 | 25.768 | 32.2199
2020-05-16 23:00:00 | 4.808 | 277.913 | 6.231 | 284.65 | 6.822 | 289.467 | 7.568 | 287.9 | 22.964 | 890.183 | 26.688 | 32.4317
2020-05-16 23:15:00 | 5.265 | 273.367 | 6.436 | 281.49 | 6.657 | 287.467 | 7.117 | 286.233 | 22.731 | 889.95 | 27.197 | 29.7102
2020-05-16 23:30:00 | 5.173 | 274.967 | 6.306 | 282.782 | 6.52 | 288.133 | 7.168 | 286.867 | 22.681 | 889.767 | 27.541 | 29.4032
2020-05-16 23:45:00 | 5.431 | 272.467 | 6.902 | 281.373 | 7.257 | 286.333 | 7.81 | 284.9 | 22.531 | 889.8 | 27.952 | 31.471