## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-17 00:00:00 | 5.758 | 277.347 | 6.938 | 283.771 | 7.359 | 289 | 7.95 | 287.3 | 21.968 | 889.817 | 28.693 | 35.9263
2020-05-17 00:15:00 | 5.456 | 270.74 | 6.585 | 282.75 | 7.186 | 288.6 | 7.837 | 286.433 | 21.877 | 889.75 | 29.749 | 30.1067
2020-05-17 00:30:00 | 5.348 | 261.593 | 6.559 | 275.981 | 7.018 | 282.033 | 7.422 | 278.467 | 21.439 | 889.55 | 30.672 | 26.3116
2020-05-17 00:45:00 | 5.553 | 265.907 | 6.735 | 267.695 | 7.264 | 273.733 | 7.69 | 269.533 | 21.377 | 889.583 | 31.752 | 29.7983
2020-05-17 01:00:00 | 6.206 | 259.207 | 7.682 | 272.39 | 8.393 | 278.467 | 9.046 | 274.867 | 20.835 | 889.55 | 33.315 | 39.5366
2020-05-17 01:15:00 | 5.956 | 261.927 | 7.473 | 270.879 | 8.101 | 275.6 | 8.651 | 273.2 | 20.456 | 889.633 | 34.032 | 36.6525
2020-05-17 01:30:00 | 4.783 | 254.173 | 5.962 | 261.895 | 6.472 | 269.5 | 6.588 | 266.383 | 20.423 | 890.033 | 34.221 | 23.5006
2020-05-17 01:45:00 | 4.493 | 253.927 | 5.49 | 258.42 | 6.267 | 265.5 | 6.71 | 263.05 | 19.968 | 889.767 | 35.221 | 19.8618
2020-05-17 02:00:00 | 4.683 | 246.667 | 5.869 | 257.533 | 6.421 | 266 | 6.888 | 264.133 | 19.706 | 889.933 | 35.853 | 16.8205
2020-05-17 02:15:00 | 4.556 | 241.72 | 5.791 | 251.48 | 6.762 | 260 | 7.337 | 259.5 | 19.335 | 889.8 | 36.403 | 17.5077
2020-05-17 02:30:00 | 5.142 | 243.767 | 6.404 | 254.048 | 7.278 | 262.167 | 7.974 | 258.85 | 19.198 | 890.083 | 37.173 | 23.8267
2020-05-17 02:45:00 | 5.576 | 247.953 | 7.024 | 255.152 | 7.884 | 262.633 | 8.24 | 261.317 | 18.96 | 889.667 | 37.901 | 29.5823
2020-05-17 03:00:00 | 5.601 | 247.393 | 6.872 | 255.458 | 7.841 | 262.667 | 8.398 | 260.083 | 18.956 | 890.083 | 38.8 | 23.3847
2020-05-17 03:15:00 | 5.031 | 241.5 | 6.76 | 249.112 | 7.769 | 258.367 | 8.603 | 253.467 | 18.673 | 890.033 | 39.688 | 25.3715
2020-05-17 03:30:00 | 5.864 | 239.853 | 7.45 | 246.639 | 8.511 | 252.767 | 9.297 | 250.05 | 18.881 | 889.883 | 39.699 | 34.7964
2020-05-17 03:45:00 | 6.443 | 238.667 | 8.263 | 249.488 | 9.458 | 258 | 10.122 | 253.9 | 18.556 | 890.267 | 39.968 | 34.3374
2020-05-17 04:00:00 | 8.113 | 245.887 | 10.174 | 256.626 | 11.24 | 263 | 11.831 | 259.267 | 18.639 | 889.933 | 39.872 | 33.5373
2020-05-17 04:15:00 | 8.731 | 250.08 | 10.382 | 259.514 | 11.76 | 265.767 | 12.389 | 262.967 | 18.902 | 889.8 | 39.181 | 33.4975
2020-05-17 04:30:00 | 8.596 | 249.347 | 10.779 | 261.295 | 12.026 | 264.8 | 12.781 | 263.167 | 19.127 | 889.967 | 38.685 | 33.2318
2020-05-17 04:45:00 | 9.166 | 252.267 | 11.416 | 259 | 12.465 | 266.667 | 13.33 | 263.733 | 18.689 | 889.633 | 38.741 | 32.5482
2020-05-17 05:00:00 | 9.666 | 257.38 | 11.823 | 267.081 | 13.36 | 273.167 | 14.154 | 270.333 | 19.118 | 889.95 | 38.597 | 33.0058
2020-05-17 05:15:00 | 9.708 | 262.547 | 11.519 | 267.361 | 12.588 | 273.767 | 13.455 | 269.767 | 18.623 | 889.5 | 39.219 | 33.0257
2020-05-17 05:30:00 | 8.882 | 250.593 | 11.095 | 265.476 | 12.384 | 272.567 | 13.571 | 269.8 | 18.298 | 889.6 | 39.893 | 33.0655
2020-05-17 05:45:00 | 9.054 | 255.62 | 10.935 | 264.53 | 11.889 | 271.433 | 12.593 | 266.767 | 18.156 | 889.783 | 40.435 | 33.5522
2020-05-17 06:00:00 | 8.058 | 249.433 | 10.169 | 262.871 | 11.675 | 267.933 | 12.252 | 265.367 | 18.385 | 889.392 | 40.707 | 33.575
2020-05-17 06:15:00 | 7.806 | 246.533 | 9.928 | 256.78 | 10.87 | 263.467 | 11.616 | 260.9 | 17.977 | 890.025 | 41.499 | 34.1562
2020-05-17 06:30:00 | 8.123 | 246.893 | 9.978 | 257.247 | 11.258 | 263.167 | 12.002 | 261.05 | 17.644 | 890.167 | 42.085 | 34.7517
2020-05-17 06:45:00 | 7.707 | 241.993 | 9.294 | 254.041 | 10.236 | 261.2 | 10.565 | 258.25 | 17.881 | 889.992 | 41.627 | 34.6032
2020-05-17 07:00:00 | 7.579 | 250.567 | 8.87 | 260.725 | 9.212 | 265.967 | 9.627 | 261.633 | 18.098 | 889.833 | 40.931 | 35.1397
2020-05-17 07:15:00 | 7.563 | 248.92 | 8.783 | 257.302 | 9.372 | 263.433 | 9.785 | 259.5 | 18.423 | 889.9 | 40.392 | 35.1453
2020-05-17 07:30:00 | 8.65 | 243.527 | 9.435 | 252.952 | 9.769 | 257.833 | 10.054 | 253.633 | 18.639 | 890.083 | 39.848 | 35.1979
2020-05-17 07:45:00 | 8.677 | 251.433 | 9.865 | 260.48 | 10.458 | 265.333 | 10.86 | 260.883 | 18.927 | 889.683 | 39.035 | 34.3488
2020-05-17 08:00:00 | 7.734 | 248.027 | 8.779 | 253.232 | 9.3 | 259.25 | 9.603 | 255.533 | 19.489 | 889.733 | 37.707 | 33.057
2020-05-17 08:15:00 | 7.524 | 249.7 | 8.161 | 256.52 | 8.417 | 262.317 | 8.665 | 257.717 | 19.702 | 889.683 | 35.963 | 32.0586
2020-05-17 08:30:00 | 8.128 | 254.413 | 8.589 | 261.219 | 8.687 | 267.633 | 8.802 | 262.517 | 20.71 | 889.533 | 34.075 | 30.6595
2020-05-17 08:45:00 | 8.612 | 255.22 | 9.148 | 265.99 | 9.352 | 269.467 | 9.683 | 264.85 | 20.794 | 889.833 | 34.216 | 29.0401
2020-05-17 09:00:00 | 8.206 | 263.88 | 8.74 | 268.566 | 8.66 | 273.1 | 8.578 | 268.783 | 21.277 | 889.633 | 33.269 | 29.0615
2020-05-17 09:15:00 | 8.047 | 274.187 | 8.591 | 284.175 | 8.594 | 289.833 | 9.007 | 289.233 | 21.573 | 889.433 | 32.909 | 29.1254
2020-05-17 09:30:00 | 7.799 | 272.247 | 8.266 | 281.925 | 8.527 | 285.567 | 9.111 | 284.167 | 21.489 | 889.35 | 33.235 | 27.6709
2020-05-17 09:45:00 | 7.739 | 280.447 | 7.814 | 288.49 | 7.924 | 291.967 | 8.263 | 288.7 | 21.577 | 889.983 | 32.709 | 28.0702
2020-05-17 10:00:00 | 8.638 | 306.067 | 9.042 | 303.643 | 9.143 | 307.9 | 9.558 | 304.767 | 22.331 | 889.817 | 30.933 | 29.2562
2020-05-17 10:15:00 | 7.546 | 310.027 | 7.763 | 307.504 | 7.862 | 312.8 | 8.472 | 312.267 | 22.323 | 889.8 | 31.667 | 25.4141
2020-05-17 10:30:00 | 7.94 | 301.08 | 8.234 | 300.736 | 8.553 | 306.3 | 8.937 | 304.133 | 22.344 | 889.917 | 30.861 | 21.646
2020-05-17 10:45:00 | 8.534 | 289.267 | 9.004 | 295.288 | 9.188 | 299.433 | 9.539 | 297.3 | 22.414 | 889.567 | 30.392 | 21.5508
2020-05-17 11:00:00 | 8.874 | 288.627 | 9.075 | 292.246 | 9.424 | 298.167 | 9.613 | 295.833 | 22.831 | 889.667 | 29.888 | 22.1
2020-05-17 11:15:00 | 7.27 | 275.807 | 7.618 | 282.762 | 7.922 | 287.967 | 8.14 | 285.5 | 22.848 | 889.983 | 30.016 | 21.7469
2020-05-17 11:30:00 | 7.142 | 289.833 | 7.671 | 291.94 | 7.784 | 298.633 | 8.034 | 296.4 | 22.464 | 889.867 | 29.579 | 22.002
2020-05-17 11:45:00 | 6.276 | 291.493 | 6.555 | 293.393 | 6.885 | 299.433 | 7.286 | 297.133 | 23.231 | 890.017 | 27.925 | 22.5626
2020-05-17 12:00:00 | 6.875 | 291.547 | 7.313 | 292.896 | 7.55 | 296.533 | 7.721 | 292.533 | 23.777 | 889.817 | 26.989 | 17.6782
2020-05-17 12:15:00 | 5.908 | 315.933 | 5.966 | 311.756 | 6.254 | 315.967 | 6.733 | 316.333 | 24.21 | 890.183 | 26.859 | 16.741
2020-05-17 12:30:00 | 7.113 | 293.747 | 7.284 | 289.881 | 7.31 | 292.833 | 7.504 | 289.067 | 24.173 | 890.1 | 26.539 | 18.2964
2020-05-17 12:45:00 | 4.655 | 278.365 | 5.495 | 291.272 | 5.802 | 297.2 | 6.091 | 291.4 | 23.518 | 889.933 | 27.157 | 17.7947
2020-05-17 13:00:00 | 6.295 | 306.56 | 6.572 | 301.314 | 7.028 | 306.8 | 7.286 | 304.9 | 24.152 | 890 | 26.576 | 13.2286
2020-05-17 13:15:00 | 4.545 | 313.107 | 4.739 | 311.388 | 4.987 | 313.1 | 5.425 | 310.433 | 24.568 | 889.85 | 25.52 | 10.4112
2020-05-17 13:30:00 | 4.351 | 301.02 | 4.368 | 299.602 | 4.826 | 306.267 | 5.338 | 305.4 | 24.298 | 889.25 | 25.28 | 10.0176
2020-05-17 13:45:00 | 4.791 | 320.093 | 4.704 | 317.192 | 4.676 | 321.4 | 4.822 | 306.3 | 24.964 | 889.617 | 24.477 | 9.5088
2020-05-17 14:00:00 | 3.948 | 282.633 | 4.226 | 285.974 | 4.8 | 291.033 | 5.08 | 288.067 | 25.618 | 890.1 | 22.317 | 8.3996
2020-05-17 14:15:00 | 5.581 | 270.5 | 5.584 | 271.306 | 5.75 | 276.133 | 5.925 | 272.05 | 26.16 | 889.767 | 22.128 | 8.9411
2020-05-17 14:30:00 | 4.128 | 278.987 | 4.354 | 285.058 | 4.608 | 291.267 | 5.335 | 298.767 | 26.373 | 890.15 | 21.464 | 8.006
2020-05-17 14:45:00 | 4.931 | 313.36 | 5.076 | 315.29 | 5.394 | 316.467 | 5.508 | 315.367 | 26.131 | 889.767 | 21.157 | 7.1916
2020-05-17 15:00:00 | 4.243 | 298.873 | 4.409 | 292.972 | 4.728 | 295.367 | 5.068 | 293.7 | 25.96 | 889.75 | 21.613 | 8.0052
2020-05-17 15:15:00 | 4.455 | 314.333 | 4.6 | 310.875 | 4.842 | 316.567 | 5.22 | 319.333 | 25.985 | 890.017 | 21.741 | 10.4496
2020-05-17 15:30:00 | 3.155 | 304.947 | 3.375 | 297.939 | 3.556 | 300.9 | 4.018 | 296.1 | 25.985 | 889.617 | 21.805 | 9.8598
2020-05-17 15:45:00 | 3.782 | 178.258 | 4.342 | 303.418 | 4.396 | 323.167 | 4.736 | 330.667 | 25.818 | 889.833 | 21.549 | 6.6729
2020-05-17 16:00:00 | 5.915 | 289.1 | 6.19 | 294.303 | 6.29 | 296.867 | 6.81 | 295.433 | 26.181 | 889.883 | 21.773 | 10.9669
2020-05-17 16:15:00 | 4.224 | 209.954 | 4.512 | 309.163 | 4.365 | 305.8 | 4.484 | 308.733 | 26.152 | 889.467 | 21.325 | 6.378
2020-05-17 16:30:00 | 2.024 | 78.002 | 2.291 | 135.515 | 2.042 | 88.134 | 2.556 | 65.738 | 27.027 | 889.517 | 19.968 | 4.549
2020-05-17 16:45:00 | 4.824 | 313.627 | 5.034 | 334.74 | 5.066 | 291.467 | 5.461 | 323.467 | 27.144 | 889.533 | 20.281 | 6.9387
2020-05-17 17:00:00 | 3.262 | 313.653 | 3.666 | 310.962 | 3.772 | 317.733 | 4.011 | 320.6 | 26.606 | 889.817 | 20.32 | 4.7146
2020-05-17 17:15:00 | 3.672 | 299.24 | 3.392 | 296.542 | 3.536 | 298.367 | 3.897 | 297.233 | 26.11 | 890.183 | 21.32 | 6.8214
2020-05-17 17:30:00 | 1.235 | 288.907 | 0.444 | 269.162 | 0.35 | 266.9 | 0.579 | 288.133 | 27.194 | 889.333 | 19.213 | 3.5521
2020-05-17 17:45:00 | 2.323 | 283.1 | 2.28 | 285.536 | 2.268 | 293.983 | 3.016 | 302.6 | 27.377 | 889.3 | 19.104 | 1.5291
2020-05-17 18:00:00 | 1.824 | 146.664 | 1.722 | 158.68 | 1.546 | 151.135 | 2.42 | 119.467 | 27.281 | 889.367 | 19.244 | 1.9441
2020-05-17 18:15:00 | 1.693 | 162.091 | 1.367 | 291.186 | 0.98 | 335.433 | 1.497 | 287.5 | 27.789 | 889.5 | 18.111 | 1.0744
2020-05-17 18:30:00 | 3.134 | 305.907 | 3.146 | 291.752 | 3.221 | 297.167 | 3.551 | 289.133 | 28.277 | 889.4 | 16.489 | 0.34249
2020-05-17 18:45:00 | 2.32 | 197.773 | 2.29 | 198.457 | 2.237 | 200.967 | 2.579 | 203.433 | 28.489 | 889.433 | 16.771 | 0.27499
2020-05-17 19:00:00 | 1.852 | 183.027 | 0.82 | 181.752 | 0.533 | 186.833 | 1.414 | 201.133 | 27.798 | 889.5 | 16.899 | 0.21388
2020-05-17 19:15:00 | 1.76 | 271.04 | 1.27 | 278.714 | 1.294 | 291.633 | 2.253 | 297.067 | 27.202 | 889.833 | 17.536 | 0.14567
2020-05-17 19:30:00 | 0.12 | 63.768 | 0 | 336.791 | 0.036 | 291.767 | 0.83 | 281.1 | 28.685 | 889.333 | 17.003 | 0.21104
2020-05-17 19:45:00 | 1.063 | 81.183 | 0.62 | 19.671 | 0.72 | 67.2 | 1.642 | 35.979 | 28.381 | 889.233 | 16.635 | 0.17551
2020-05-17 20:00:00 | 2.082 | 38.804 | 1.998 | 34.423 | 1.89 | 22.934 | 2.237 | 17.333 | 27.214 | 889.267 | 18.528 | 0.15348
2020-05-17 20:15:00 | 2.2 | 318.64 | 1.916 | 334.547 | 1.587 | 340.333 | 2.373 | 344.8 | 27.077 | 889.45 | 20.228 | 0.16556
2020-05-17 20:30:00 | 0.924 | 313.373 | 0 | 331.087 | 0.03 | 336.433 | 0.907 | 348 | 26.314 | 890 | 21.552 | 0.14851
2020-05-17 20:45:00 | 0 | 16.058 | 0 | 0 | 0 | 0 | 0 | 348 | 26.239 | 889.817 | 21.851 | 0.13785
2020-05-17 21:00:00 | 0.817 | 216.696 | 1.006 | 302.747 | 0.896 | 307.233 | 1.775 | 311.733 | 25.189 | 889.917 | 23.197 | 0.13927
2020-05-17 21:15:00 | 0.998 | 2.005 | 0.103 | 0 | 0.12 | 9.667 | 1.464 | 160.667 | 26.06 | 889.683 | 23.211 | 0.13501
2020-05-17 21:30:00 | 0.077 | 16.07 | 0 | 0 | 0 | 13 | 0.601 | 34.033 | 25.348 | 890.017 | 23.408 | 0.14069
2020-05-17 21:45:00 | 0.033 | 16.073 | 0 | 0 | 0 | 13 | 0.383 | 34.9 | 25.448 | 890.383 | 23.616 | 0.15064
2020-05-17 22:00:00 | 1.797 | 287.794 | 1.001 | 194.332 | 1.052 | 207.233 | 2.346 | 243.367 | 25.323 | 889.9 | 23.637 | 1.878
2020-05-17 22:15:00 | 4.73 | 298.587 | 5.787 | 300.429 | 6.531 | 308.067 | 7.215 | 304.867 | 24.331 | 889.65 | 25.979 | 14.2753
2020-05-17 22:30:00 | 5.633 | 302.933 | 6.433 | 302.769 | 6.81 | 307.767 | 7.295 | 305.767 | 23.989 | 889.433 | 26.515 | 17.1659
2020-05-17 22:45:00 | 5.081 | 297.693 | 6.154 | 299.037 | 6.708 | 302.1 | 7.36 | 299.467 | 23.644 | 889.983 | 27.093 | 22.947
2020-05-17 23:00:00 | 5.143 | 290.413 | 6.475 | 295.101 | 6.943 | 301.1 | 7.401 | 297.533 | 23.698 | 890.05 | 27.688 | 21.3468
2020-05-17 23:15:00 | 4.868 | 283.667 | 6.273 | 290.317 | 6.802 | 292.267 | 7.407 | 290.033 | 23.214 | 889.283 | 28.328 | 20.0131
2020-05-17 23:30:00 | 4.632 | 274.173 | 5.956 | 282.22 | 6.335 | 288.033 | 7.112 | 284.233 | 22.981 | 889.867 | 29.008 | 17.789
2020-05-17 23:45:00 | 4.87 | 265.5 | 6.296 | 278.502 | 6.686 | 283.533 | 7.314 | 282.667 | 22.631 | 889.95 | 29.328 | 14.8722