## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-18 00:00:00 | 4.37 | 275.233 | 5.433 | 283.343 | 5.69 | 287.3 | 6.14 | 284.967 | 22.448 | 889.333 | 29.928 | 13.5882
2020-05-18 00:15:00 | 4.152 | 258.367 | 5.477 | 271.631 | 5.769 | 277.867 | 6.358 | 276.1 | 21.581 | 889.55 | 30.635 | 15.5657
2020-05-18 00:30:00 | 4.939 | 258.453 | 6.158 | 267.383 | 6.516 | 274.567 | 6.995 | 272.767 | 21.323 | 889.85 | 30.992 | 21.857
2020-05-18 00:45:00 | 5.382 | 249.387 | 6.946 | 270.628 | 7.318 | 276.9 | 7.624 | 274.067 | 21.002 | 889.9 | 31.336 | 27.123
2020-05-18 01:00:00 | 5.546 | 266.76 | 7.038 | 275.288 | 7.792 | 279.967 | 8.489 | 277.1 | 20.685 | 889.75 | 31.843 | 29.9866
2020-05-18 01:15:00 | 5.536 | 268.947 | 6.978 | 277.757 | 7.576 | 282.167 | 8.161 | 279.733 | 20.673 | 889.783 | 32.232 | 28.746
2020-05-18 01:30:00 | 5.08 | 270.693 | 5.93 | 275.785 | 6.24 | 281.9 | 7.057 | 279.767 | 20.548 | 889.8 | 32.595 | 25.2479
2020-05-18 01:45:00 | 4.706 | 263.927 | 5.928 | 272.772 | 6.602 | 278.167 | 7.211 | 276.133 | 20.373 | 889.567 | 32.803 | 21.9331
2020-05-18 02:00:00 | 4.584 | 272.2 | 6.048 | 279.195 | 6.504 | 285.4 | 7.182 | 284.433 | 20.039 | 889.717 | 32.984 | 21.7746
2020-05-18 02:15:00 | 4.564 | 273.18 | 5.797 | 285.872 | 6.41 | 291.167 | 7.309 | 289.467 | 20.502 | 889.933 | 33.341 | 20.8274
2020-05-18 02:30:00 | 5.433 | 282.253 | 6.729 | 286.37 | 7.188 | 291.8 | 7.843 | 290.033 | 20.877 | 890.1 | 33.509 | 21.1458
2020-05-18 02:45:00 | 5.129 | 268.287 | 6.131 | 280.132 | 6.628 | 286.633 | 7.14 | 287.633 | 20.535 | 889.433 | 33.16 | 19.0581
2020-05-18 03:00:00 | 4.151 | 250.607 | 5.089 | 263.401 | 6.02 | 277.167 | 6.511 | 275.167 | 20.352 | 889.883 | 33.68 | 12.5976
2020-05-18 03:15:00 | 4.538 | 250.54 | 6.23 | 265.799 | 6.681 | 271.967 | 7.017 | 269.033 | 19.198 | 889.833 | 35.2 | 12.4093
2020-05-18 03:30:00 | 3.707 | 247.527 | 4.981 | 260.09 | 5.569 | 270.4 | 5.828 | 269.033 | 18.894 | 889.833 | 35.917 | 11.335
2020-05-18 03:45:00 | 3.881 | 240.713 | 4.508 | 255.136 | 4.82 | 265.533 | 5.222 | 264.467 | 18.377 | 889.767 | 36.952 | 8.4927
2020-05-18 04:00:00 | 4.361 | 227.953 | 4.362 | 237.057 | 4.192 | 247.8 | 4.353 | 247.567 | 17.814 | 889.95 | 37.872 | 8.919
2020-05-18 04:15:00 | 5.303 | 213.107 | 5.295 | 216.72 | 5.151 | 224.1 | 4.909 | 223.333 | 18.148 | 889.667 | 38.267 | 8.406
2020-05-18 04:30:00 | 4.91 | 226.94 | 4.955 | 231.314 | 4.907 | 239.1 | 4.955 | 238.6 | 18.027 | 889.833 | 38.064 | 9.4839
2020-05-18 04:45:00 | 4.047 | 228.553 | 4.306 | 240.422 | 4.434 | 249.467 | 4.636 | 247.067 | 17.731 | 889.85 | 38.325 | 7.4816
2020-05-18 05:00:00 | 5.187 | 218.693 | 4.843 | 231.017 | 4.931 | 240.667 | 4.962 | 239.367 | 17.164 | 889.533 | 39.488 | 7.564
2020-05-18 05:15:00 | 4.619 | 226.393 | 4.758 | 237.563 | 4.755 | 248.567 | 4.956 | 248.567 | 16.748 | 889.867 | 39.451 | 8.8295
2020-05-18 05:30:00 | 4.726 | 220.087 | 4.819 | 234.34 | 4.743 | 243.5 | 4.768 | 239.8 | 17.168 | 889.917 | 39.205 | 8.1978
2020-05-18 05:45:00 | 4.461 | 218.94 | 4.963 | 231.512 | 4.778 | 244.2 | 4.829 | 243.333 | 17.552 | 889.9 | 39.024 | 9.3425
2020-05-18 06:00:00 | 4.217 | 213.92 | 4.64 | 224.836 | 4.442 | 236.567 | 4.28 | 238.967 | 17.444 | 889.683 | 38.523 | 4.893
2020-05-18 06:15:00 | 4.814 | 212.733 | 4.141 | 225.857 | 3.854 | 242.2 | 3.861 | 248.633 | 17.164 | 889.75 | 38.939 | 5.9155
2020-05-18 06:30:00 | 4.756 | 224.233 | 4.532 | 236.33 | 4.435 | 250.5 | 4.678 | 253.633 | 17.689 | 889.617 | 38.368 | 7.8567
2020-05-18 06:45:00 | 3.812 | 247.573 | 4.465 | 268.599 | 4.772 | 279.967 | 5.267 | 283.833 | 17.827 | 889.983 | 37.885 | 5.8096
2020-05-18 07:00:00 | 2.886 | 265.58 | 3.711 | 284.94 | 4.111 | 296.467 | 5.129 | 302.167 | 18.456 | 889.983 | 37.096 | 3.9195
2020-05-18 07:15:00 | 4.54 | 239.54 | 5.04 | 246.541 | 4.921 | 254.667 | 5.026 | 252.633 | 18.989 | 889.433 | 36.352 | 4.5014
2020-05-18 07:30:00 | 2.684 | 274.867 | 3.277 | 280.66 | 3.392 | 284.133 | 3.874 | 285.067 | 19.148 | 889.667 | 35.979 | 3.059
2020-05-18 07:45:00 | 2.308 | 242.093 | 2.635 | 254.92 | 2.458 | 268.533 | 2.787 | 269.633 | 19.623 | 889.5 | 35.507 | 1.5966
2020-05-18 08:00:00 | 3.032 | 236.253 | 3.294 | 237.155 | 3.078 | 248.367 | 3.09 | 251.167 | 20.277 | 889.8 | 35.253 | 0.86121
2020-05-18 08:15:00 | 2.153 | 220.473 | 2.028 | 223.473 | 1.944 | 231.4 | 2.206 | 233.433 | 20.523 | 889.95 | 34.203 | 0.24088
2020-05-18 08:30:00 | 3.042 | 236.3 | 3.118 | 236.09 | 3.012 | 240.4 | 3.153 | 234.4 | 20.71 | 889.783 | 32.981 | 0.19256
2020-05-18 08:45:00 | 2.933 | 258.167 | 3.108 | 256.64 | 3.071 | 261.65 | 3.439 | 260.283 | 20.81 | 889.767 | 32.416 | 1.2193
2020-05-18 09:00:00 | 3.206 | 258.873 | 3.42 | 262.94 | 3.344 | 266.967 | 3.728 | 265.85 | 22.077 | 889.85 | 31.029 | 2.1132
2020-05-18 09:15:00 | 4.779 | 288.387 | 4.978 | 289.415 | 5.018 | 292.6 | 5.395 | 289.767 | 21.418 | 889.517 | 30.984 | 3.0242
2020-05-18 09:30:00 | 3.583 | 264.54 | 3.534 | 277.368 | 3.306 | 283.7 | 3.581 | 284.033 | 22.218 | 889.367 | 29.936 | 2.5055
2020-05-18 09:45:00 | 3.812 | 304.4 | 3.856 | 301.624 | 3.759 | 307.233 | 4.004 | 306.5 | 22.394 | 889.883 | 28.237 | 2.7165
2020-05-18 10:00:00 | 3.684 | 293.227 | 3.919 | 300.441 | 3.733 | 307.233 | 4.14 | 302.967 | 22.573 | 889.617 | 28.144 | 3.7148
2020-05-18 10:15:00 | 3.464 | 304.36 | 3.554 | 297.869 | 3.603 | 299.367 | 4.044 | 298.767 | 23.031 | 889.483 | 27.061 | 5.6881
2020-05-18 10:30:00 | 5.089 | 289.107 | 5.065 | 292.158 | 5.282 | 302.467 | 5.565 | 300.433 | 23.064 | 889.717 | 27.165 | 8.2539
2020-05-18 10:45:00 | 5.299 | 319.413 | 5.594 | 311.543 | 5.619 | 315.233 | 5.978 | 313.467 | 22.814 | 889.833 | 26.627 | 8.3904
2020-05-18 11:00:00 | 4.779 | 302.893 | 4.792 | 303.333 | 4.905 | 308.867 | 5.043 | 305.733 | 23.618 | 889.583 | 25.531 | 8.0216
2020-05-18 11:15:00 | 5.526 | 295.167 | 5.817 | 299.671 | 5.999 | 305.2 | 6.218 | 303.167 | 23.614 | 889.633 | 25.885 | 10.8475
2020-05-18 11:30:00 | 4.592 | 320.773 | 4.775 | 312.864 | 5.069 | 313.4 | 5.659 | 313.367 | 23.86 | 889.75 | 25.299 | 8.217
2020-05-18 11:45:00 | 4.969 | 310.027 | 5.153 | 325.338 | 5.465 | 320.7 | 5.86 | 317.233 | 24.106 | 889.433 | 23.064 | 8.5964
2020-05-18 12:00:00 | 4.853 | 331.8 | 4.719 | 329.691 | 4.972 | 332 | 5.219 | 330.733 | 24.194 | 889.367 | 22.037 | 10.4738
2020-05-18 12:15:00 | 4.908 | 321.373 | 4.983 | 315.036 | 5.211 | 317.133 | 5.783 | 315.5 | 24.331 | 889.817 | 21.661 | 10.5761
2020-05-18 12:30:00 | 3.332 | 199.318 | 3.491 | 215.086 | 3.43 | 185.933 | 4.053 | 230.767 | 24.702 | 889.317 | 20.735 | 7.5171
2020-05-18 12:45:00 | 2.998 | 224.164 | 2.63 | 183.634 | 3.039 | 143.106 | 3.375 | 120.033 | 25.506 | 889.4 | 20.22 | 4.915
2020-05-18 13:00:00 | 4.852 | 295.8 | 4.898 | 291.239 | 5.046 | 301.4 | 5.362 | 299.417 | 25.718 | 889.433 | 19.835 | 3.7568
2020-05-18 13:15:00 | 2.342 | 191.414 | 2.204 | 148.924 | 2.446 | 192.102 | 3.38 | 272.183 | 26.61 | 889.5 | 18.972 | 2.0734
2020-05-18 13:30:00 | 3.522 | 325.987 | 3.717 | 321.147 | 4.014 | 323.6 | 4.499 | 318.667 | 25.702 | 889.6 | 19.185 | 1.1092
2020-05-18 13:45:00 | 2.608 | 261.034 | 1.987 | 300.515 | 1.979 | 282.967 | 2.78 | 270.133 | 26.427 | 889.267 | 18.647 | 2.8593
2020-05-18 14:00:00 | 4.704 | 203.848 | 4.676 | 206.245 | 4.581 | 181.633 | 4.697 | 182.233 | 27.502 | 889.567 | 17.299 | 1.2861
2020-05-18 14:15:00 | 5.452 | 288.44 | 5.4 | 310.451 | 5.263 | 281.033 | 5.654 | 316.8 | 26.902 | 889.733 | 16.701 | 1.1916
2020-05-18 14:30:00 | 3.53 | 284.167 | 3.531 | 316.995 | 3.206 | 308.8 | 3.37 | 319.067 | 27.677 | 889.4 | 16.064 | 1.7835
2020-05-18 14:45:00 | 4.146 | 133.518 | 4.184 | 157.255 | 4.295 | 157.9 | 4.661 | 154.469 | 27.756 | 889.567 | 15.787 | 4.0403
2020-05-18 15:00:00 | 1.485 | 149.213 | 0.98 | 191.186 | 1.213 | 264.833 | 1.947 | 214.167 | 27.418 | 889 | 15.671 | 4.1142
2020-05-18 15:15:00 | 2.866 | 59.024 | 2.921 | 30.652 | 3.313 | 33.706 | 3.353 | 42.833 | 27.76 | 889.367 | 15.061 | 3.3418
2020-05-18 15:30:00 | 3.361 | 321.987 | 3.467 | 280.907 | 3.509 | 291.067 | 4.147 | 299.683 | 28.018 | 889.6 | 14.576 | 2.6462
2020-05-18 15:45:00 | 2.545 | 259.953 | 2.664 | 271.31 | 2.563 | 270.933 | 3.122 | 270.25 | 28.26 | 889.767 | 14.517 | 3.8534
2020-05-18 16:00:00 | 2.35 | 44.84 | 1.739 | 60.973 | 1.466 | 52.9 | 2.208 | 102.967 | 29.281 | 889.567 | 13.652 | 3.4512
2020-05-18 16:15:00 | 4.152 | 43.645 | 4.123 | 83.074 | 3.949 | 71.067 | 4.216 | 79.833 | 27.927 | 889.5 | 14.561 | 1.964
2020-05-18 16:30:00 | 2.559 | 195.989 | 2.571 | 142.162 | 2.124 | 124.625 | 2.406 | 151.7 | 27.627 | 889.633 | 14.487 | 2.4308
2020-05-18 16:45:00 | 3.562 | 271.723 | 3.75 | 264.978 | 3.923 | 273.567 | 4.524 | 289.433 | 28.089 | 889.667 | 13.983 | 1.2321
2020-05-18 17:00:00 | 2.827 | 227.66 | 2.925 | 290.824 | 3.012 | 209.567 | 3.475 | 274.717 | 28.544 | 889.8 | 13.787 | 4.2172
2020-05-18 17:15:00 | 3.259 | 28.051 | 3.407 | 49.222 | 3.137 | 44.733 | 3.249 | 38.8 | 28.068 | 889.567 | 14.013 | 2.8984
2020-05-18 17:30:00 | 3.548 | 205.612 | 3.586 | 198.377 | 3.676 | 187.902 | 3.736 | 184.033 | 27.31 | 889.967 | 15.135 | 11.6064
2020-05-18 17:45:00 | 5.233 | 199.993 | 5.702 | 194.532 | 6.093 | 194.667 | 6.474 | 188.067 | 28.002 | 889.167 | 19.808 | 28.9094
2020-05-18 18:00:00 | 10.272 | 212.02 | 10.568 | 206.608 | 10.98 | 208.6 | 11.337 | 202.667 | 26.518 | 889.8 | 23.371 | 59.4474
2020-05-18 18:15:00 | 12.476 | 202.513 | 13.294 | 200.131 | 13.7 | 202.167 | 14.468 | 196.333 | 25.168 | 889.983 | 25.931 | 71.6422
2020-05-18 18:30:00 | 11.103 | 197.74 | 12.254 | 193.378 | 12.58 | 196.333 | 13.309 | 190.4 | 26.185 | 889.95 | 24.667 | 59.3458
2020-05-18 18:45:00 | 11.304 | 204.9 | 11.756 | 201.426 | 11.84 | 202.8 | 12.356 | 197.567 | 25.323 | 889.833 | 25.557 | 59.5092
2020-05-18 19:00:00 | 11.09 | 206.913 | 11.541 | 204.019 | 11.993 | 206.8 | 12.4 | 201.6 | 25.456 | 889.867 | 24.917 | 62.6592
2020-05-18 19:15:00 | 10.775 | 212.867 | 11.297 | 211.279 | 12.068 | 212.067 | 12.156 | 208.133 | 25.289 | 889.367 | 25.888 | 64.329
2020-05-18 19:30:00 | 9.002 | 209.3 | 9.164 | 207.377 | 9.912 | 211.467 | 10.237 | 207.133 | 25.456 | 889.833 | 26.101 | 54.2631
2020-05-18 19:45:00 | 7.91 | 207.447 | 8.405 | 204.506 | 8.812 | 209.067 | 9.083 | 203.333 | 25.268 | 889.333 | 25.936 | 42.4585
2020-05-18 20:00:00 | 7.103 | 210.067 | 7.357 | 208.426 | 7.564 | 211.267 | 7.58 | 208 | 24.477 | 889.517 | 27.147 | 27.4094
2020-05-18 20:15:00 | 6.139 | 219.88 | 6.506 | 219.734 | 6.89 | 222.967 | 6.972 | 217.3 | 24.623 | 889.833 | 27.189 | 16.3018
2020-05-18 20:30:00 | 5.464 | 214.88 | 5.875 | 215.468 | 6.303 | 220.467 | 6.439 | 217.667 | 24.218 | 889.667 | 27.099 | 12.8357
2020-05-18 20:45:00 | 3.692 | 236.24 | 4.083 | 237.514 | 4.352 | 242.733 | 4.786 | 239.9 | 24.544 | 889.783 | 27.675 | 7.6002
2020-05-18 21:00:00 | 3.75 | 249.367 | 4.135 | 249.056 | 4.267 | 254.133 | 4.636 | 251.55 | 24.048 | 889.567 | 27.099 | 5.6895
2020-05-18 21:15:00 | 4.009 | 256.2 | 4.621 | 256.998 | 4.794 | 263.9 | 5.229 | 258.967 | 24.114 | 889.633 | 25.984 | 3.9635
2020-05-18 21:30:00 | 2.809 | 266.507 | 3.725 | 267.195 | 4.045 | 272.133 | 4.317 | 269.433 | 24.364 | 889.667 | 25.368 | 4.8908
2020-05-18 21:45:00 | 6.036 | 263.307 | 6.583 | 276.342 | 6.872 | 281.3 | 7.342 | 281.367 | 23.968 | 889.95 | 27.381 | 15.2317
2020-05-18 22:00:00 | 4.286 | 285.947 | 5.255 | 286.022 | 5.687 | 292.633 | 6.294 | 291.533 | 23.652 | 889.95 | 27.477 | 11.379
2020-05-18 22:15:00 | 4.404 | 263.96 | 5.463 | 270.706 | 5.856 | 278.267 | 6.168 | 277.567 | 23.664 | 889.967 | 27.917 | 10.9754
2020-05-18 22:30:00 | 5.248 | 286.333 | 6.238 | 293.713 | 6.733 | 298.467 | 7.334 | 296.1 | 23.794 | 889.6 | 26.389 | 15.4946
2020-05-18 22:45:00 | 4.589 | 273.42 | 5.889 | 276.462 | 6.089 | 281.9 | 6.448 | 279.567 | 23.873 | 889.933 | 25.749 | 14.3399
2020-05-18 23:00:00 | 4.62 | 278.027 | 5.562 | 280.56 | 5.868 | 285.133 | 6.273 | 281.667 | 24.389 | 889.767 | 24.883 | 11.0109
2020-05-18 23:15:00 | 4.093 | 287.973 | 5.316 | 284.409 | 5.537 | 290.133 | 6.074 | 289.5 | 23.994 | 889.5 | 25.28 | 11.2525
2020-05-18 23:30:00 | 3.516 | 281.547 | 4.637 | 284.219 | 5.213 | 289.633 | 5.794 | 289.933 | 23.381 | 889.767 | 25.728 | 9.491
2020-05-18 23:45:00 | 3.801 | 308.88 | 4.526 | 300.26 | 4.763 | 303.5 | 5.298 | 301.2 | 23.614 | 889.467 | 25.669 | 12.5145