## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-19 00:00:00 | 3.485 | 318.6 | 3.884 | 316.74 | 3.985 | 319.967 | 4.43 | 321 | 23.048 | 889.217 | 25.971 | 10.1121
2020-05-19 00:15:00 | 4.933 | 303.16 | 5.235 | 304.048 | 5.149 | 310.8 | 5.479 | 310.167 | 22.881 | 889.8 | 28.029 | 5.6057
2020-05-19 00:30:00 | 3.097 | 286.933 | 3.189 | 283.897 | 3.221 | 290 | 3.663 | 289.533 | 22.831 | 890.117 | 28.051 | 3.4939
2020-05-19 00:45:00 | 3.074 | 284.027 | 3.884 | 289.955 | 4.129 | 293.533 | 4.704 | 290.967 | 22.698 | 889.95 | 29.093 | 2.6838
2020-05-19 01:00:00 | 3.843 | 255 | 4.988 | 270.09 | 5.005 | 277.367 | 5.403 | 276.033 | 21.61 | 890 | 31.016 | 5.423
2020-05-19 01:15:00 | 4.712 | 235.74 | 4.877 | 241.817 | 4.902 | 247.767 | 4.924 | 243.267 | 21.118 | 889.467 | 31.952 | 8.2092
2020-05-19 01:30:00 | 5.588 | 251.627 | 6.331 | 258.245 | 6.439 | 265.2 | 6.642 | 260.483 | 21.106 | 889.85 | 33.067 | 15.9977
2020-05-19 01:45:00 | 3.963 | 265.073 | 4.471 | 282.338 | 5.041 | 292.767 | 5.795 | 294.367 | 21.198 | 889.65 | 33.411 | 14.7968
2020-05-19 02:00:00 | 3.293 | 258.313 | 3.281 | 272.369 | 3.423 | 285.1 | 4.034 | 283.267 | 20.748 | 890.033 | 34.357 | 6.8328
2020-05-19 02:15:00 | 4.38 | 228.087 | 4.346 | 248.636 | 4.826 | 262.533 | 5.362 | 261.95 | 20.002 | 890.15 | 35.317 | 5.9553
2020-05-19 02:30:00 | 4.648 | 213.2 | 4.508 | 220.989 | 4.472 | 234.533 | 4.679 | 235.367 | 18.557 | 888.9 | 37.68 | 6.8825
2020-05-19 02:45:00 | 5.24 | 214.387 | 5.466 | 219.493 | 5.309 | 225.4 | 5.185 | 222.933 | 18.798 | 890.017 | 38.416 | 13.4745
2020-05-19 03:00:00 | 4.868 | 216.587 | 5.543 | 223.109 | 5.738 | 229.3 | 5.849 | 225.767 | 18.748 | 890.15 | 38.869 | 12.9401
2020-05-19 03:15:00 | 4.237 | 210.387 | 5.165 | 221.101 | 5.346 | 229.9 | 5.444 | 228.4 | 18.052 | 889.8 | 39.675 | 12.9778
2020-05-19 03:30:00 | 4.306 | 211.78 | 5.408 | 218.785 | 5.442 | 224.5 | 5.465 | 223.267 | 17.648 | 889.817 | 40.923 | 13.9875
2020-05-19 03:45:00 | 4.607 | 218.887 | 5.312 | 222.625 | 5.189 | 229.367 | 5.052 | 227.833 | 18.018 | 890.033 | 40.955 | 16.1029
2020-05-19 04:00:00 | 4.626 | 215.187 | 5.275 | 220.708 | 5.054 | 226.933 | 4.766 | 227.4 | 18.46 | 889.7 | 39.979 | 16.8404
2020-05-19 04:15:00 | 4.224 | 220.78 | 5.164 | 230.829 | 5.098 | 243.833 | 5.188 | 246.267 | 18.26 | 890.017 | 40.08 | 17.2973
2020-05-19 04:30:00 | 4.219 | 231.287 | 5.281 | 243.842 | 5.44 | 255.8 | 5.848 | 253.167 | 17.377 | 889.717 | 40.608 | 16.2386
2020-05-19 04:45:00 | 5.125 | 234.387 | 5.289 | 245.948 | 5.619 | 257.233 | 6.052 | 257.683 | 17.731 | 889.767 | 40.448 | 14.9496
2020-05-19 05:00:00 | 4.379 | 239.973 | 4.589 | 251.723 | 4.895 | 262.8 | 5.421 | 262.6 | 18.281 | 889.3 | 39.539 | 10.4162
2020-05-19 05:15:00 | 4.408 | 220.813 | 4.326 | 235.348 | 4.387 | 253.233 | 4.755 | 257.033 | 18.21 | 889.8 | 39.931 | 8.8188
2020-05-19 05:30:00 | 5.092 | 224.793 | 4.646 | 240.313 | 4.658 | 255.2 | 5.008 | 257.967 | 17.423 | 889.533 | 40.576 | 9.4655
2020-05-19 05:45:00 | 5.134 | 226.013 | 4.273 | 239.949 | 4.202 | 254.267 | 4.613 | 257.417 | 17.631 | 889.917 | 40.24 | 8.0855
2020-05-19 06:00:00 | 4.392 | 228.76 | 4.926 | 233.704 | 4.352 | 244.933 | 4.122 | 248.733 | 17.798 | 889.85 | 40.48 | 7.5569
2020-05-19 06:15:00 | 4.723 | 230.813 | 4.566 | 232.548 | 4.311 | 242.033 | 4.221 | 241.2 | 17.939 | 889.8 | 39.2 | 5.8473
2020-05-19 06:30:00 | 4.177 | 227.9 | 3.834 | 231.507 | 3.568 | 239.667 | 3.508 | 239.333 | 17.589 | 890.3 | 39.232 | 5.5282
2020-05-19 06:45:00 | 5.112 | 216.507 | 4.23 | 223.409 | 3.88 | 230.333 | 3.76 | 228.5 | 17.752 | 889.683 | 38.773 | 6.3084
2020-05-19 07:00:00 | 4.696 | 212.107 | 4.976 | 218.642 | 4.366 | 226.467 | 4.09 | 226.867 | 17.923 | 889.417 | 38.384 | 8.1665
2020-05-19 07:15:00 | 5.124 | 217.973 | 4.923 | 223.308 | 4.684 | 232.833 | 4.561 | 232.833 | 18.923 | 889.4 | 36.544 | 7.8077
2020-05-19 07:30:00 | 4.37 | 210.093 | 4.567 | 220.004 | 4.36 | 229.4 | 4.423 | 229.033 | 19.848 | 889.55 | 34.272 | 6.9465
2020-05-19 07:45:00 | 4.156 | 213.413 | 4.596 | 219.47 | 4.626 | 228.633 | 4.522 | 228.333 | 20.585 | 889.983 | 33.232 | 7.1661
2020-05-19 08:00:00 | 4.148 | 226.627 | 4.192 | 227.484 | 4.291 | 234.5 | 4.584 | 232 | 21.702 | 889.783 | 30.843 | 6.0562
2020-05-19 08:15:00 | 4.202 | 243.733 | 4.436 | 244.158 | 4.317 | 249.983 | 4.591 | 246.583 | 22.731 | 889.817 | 28.432 | 5.4216
2020-05-19 08:30:00 | 5.09 | 255.12 | 5.401 | 257.23 | 5.411 | 260.633 | 5.533 | 256.8 | 23.664 | 889.667 | 27.069 | 6.3148
2020-05-19 08:45:00 | 3.682 | 256.68 | 3.888 | 253.999 | 4.036 | 257.75 | 4.265 | 251.433 | 23.331 | 889.533 | 26.931 | 7.0893
2020-05-19 09:00:00 | 3.756 | 274.793 | 3.83 | 272.924 | 4.069 | 273.733 | 4.485 | 269.45 | 23.548 | 890.25 | 26.477 | 4.8958
2020-05-19 09:15:00 | 3.568 | 311.96 | 3.72 | 305.432 | 3.604 | 312.467 | 4.063 | 310.567 | 23.423 | 889.75 | 25.813 | 3.9316
2020-05-19 09:30:00 | 4.174 | 319.133 | 4.373 | 311.667 | 4.676 | 317.6 | 5.042 | 313.833 | 24.277 | 889.817 | 25.733 | 5.6135
2020-05-19 09:45:00 | 3.385 | 320.867 | 3.419 | 315.523 | 3.495 | 318.267 | 3.986 | 313.867 | 24.056 | 889.817 | 25.04 | 5.1083
2020-05-19 10:00:00 | 3.114 | 307.707 | 3.233 | 304.105 | 3.171 | 307.067 | 3.807 | 306.067 | 24.789 | 889.45 | 24.123 | 4.1376
2020-05-19 10:15:00 | 5.184 | 325.333 | 5.399 | 310.455 | 5.598 | 328.133 | 6.086 | 318.433 | 24.868 | 889.917 | 24.027 | 8.6057
2020-05-19 10:30:00 | 6.132 | 310.653 | 6.243 | 311.487 | 6.254 | 316.8 | 6.309 | 314.333 | 25.21 | 889.717 | 23.621 | 12.8989
2020-05-19 10:45:00 | 6.869 | 321.053 | 6.889 | 315.29 | 6.769 | 321 | 7.081 | 316.733 | 25.11 | 889.717 | 23.141 | 15.3184
2020-05-19 11:00:00 | 5.289 | 330.867 | 5.662 | 321.498 | 5.791 | 321 | 6.038 | 315.967 | 25.006 | 889.767 | 22.84 | 16.0375
2020-05-19 11:15:00 | 5.445 | 287.96 | 5.594 | 309.734 | 5.47 | 310.433 | 5.62 | 303.1 | 25.644 | 889.867 | 22.003 | 13.2172
2020-05-19 11:30:00 | 4.431 | 296.4 | 4.61 | 298.876 | 4.758 | 303.933 | 4.745 | 300.567 | 25.71 | 889.767 | 21.928 | 13.4574
2020-05-19 11:45:00 | 5.598 | 268.46 | 6.067 | 274.647 | 5.755 | 281.6 | 6.423 | 276.267 | 26.294 | 889.767 | 21.611 | 11.6938
2020-05-19 12:00:00 | 7.401 | 287.587 | 7.644 | 290.08 | 7.632 | 297.033 | 8.052 | 294.467 | 26.518 | 889.667 | 20.709 | 14.8807
2020-05-19 12:15:00 | 4.171 | 304.62 | 4.305 | 302.016 | 4.655 | 303.067 | 5.59 | 298.083 | 26.164 | 889.6 | 20.023 | 12.3241
2020-05-19 12:30:00 | 3.722 | 313.6 | 3.974 | 304.16 | 3.683 | 308 | 4.146 | 306.633 | 25.831 | 889.9 | 20.012 | 10.2826
2020-05-19 12:45:00 | 6.159 | 313.373 | 6.058 | 305.822 | 5.978 | 311.767 | 6.312 | 307.967 | 26.248 | 889.333 | 19.941 | 19.7431
2020-05-19 13:00:00 | 7.062 | 290.873 | 7.143 | 290.914 | 7.596 | 292.733 | 8.013 | 285.8 | 26.739 | 889.5 | 19.504 | 17.1197
2020-05-19 13:15:00 | 3.252 | 207.317 | 3.115 | 261.274 | 2.935 | 298.033 | 3.262 | 320 | 27.36 | 889.667 | 18.547 | 15.2964
2020-05-19 13:30:00 | 5.225 | 297.893 | 5.553 | 291.618 | 5.802 | 294.1 | 6.249 | 289.05 | 26.535 | 889.667 | 19.741 | 20.3968
2020-05-19 13:45:00 | 4.442 | 282.553 | 4.52 | 283.372 | 4.801 | 289.633 | 4.874 | 281.367 | 26.71 | 889.433 | 19.207 | 17.281
2020-05-19 14:00:00 | 5.642 | 298.86 | 5.905 | 302.414 | 5.843 | 306.467 | 6.306 | 301.533 | 27.618 | 889.333 | 18.631 | 22.0517
2020-05-19 14:15:00 | 6.283 | 317.76 | 7.029 | 312.509 | 7.297 | 319.3 | 7.794 | 318.733 | 27.564 | 889.4 | 17.928 | 22.2478
2020-05-19 14:30:00 | 7.106 | 276.027 | 7.387 | 276.722 | 7.543 | 279.567 | 7.99 | 274.8 | 27.277 | 890.033 | 17.619 | 26.1034
2020-05-19 14:45:00 | 7.918 | 317.867 | 8.165 | 324.241 | 8.46 | 329.4 | 8.536 | 326 | 27.723 | 889.533 | 16.995 | 31.088
2020-05-19 15:00:00 | 6.717 | 306.614 | 6.8 | 304.757 | 7.114 | 308.667 | 7.464 | 282.6 | 28.364 | 889.367 | 16.445 | 25.4923
2020-05-19 15:15:00 | 8.333 | 321.12 | 8.659 | 315.367 | 8.958 | 320.267 | 9.534 | 317.7 | 28.139 | 889.333 | 16.271 | 27.4975
2020-05-19 15:30:00 | 5.794 | 317 | 6.394 | 316.266 | 6.815 | 335.867 | 7.144 | 311.1 | 27.944 | 889.467 | 17.68 | 17.5844
2020-05-19 15:45:00 | 6.799 | 265.987 | 6.969 | 311.021 | 7.427 | 291 | 7.665 | 288.967 | 28.364 | 889.7 | 16.289 | 27.5679
2020-05-19 16:00:00 | 7.814 | 310.573 | 7.949 | 330.908 | 8.096 | 336.533 | 8.663 | 334.633 | 28.335 | 889.533 | 16.351 | 29.3969
2020-05-19 16:15:00 | 6.082 | 276.8 | 6.69 | 316.552 | 7.115 | 296.733 | 7.858 | 293.767 | 28.314 | 889.967 | 17.044 | 26.8182
2020-05-19 16:30:00 | 7.53 | 284.6 | 7.953 | 318.914 | 8.359 | 334.567 | 8.807 | 333.433 | 27.956 | 889.567 | 17.695 | 34.2209
2020-05-19 16:45:00 | 5.791 | 297.347 | 6.312 | 299.749 | 6.498 | 309.2 | 6.806 | 312.2 | 28.318 | 889.5 | 16.675 | 21.9849
2020-05-19 17:00:00 | 6.528 | 303.08 | 6.866 | 300.78 | 7.175 | 303.1 | 7.723 | 300.767 | 28.468 | 889.567 | 16.288 | 19.78
2020-05-19 17:15:00 | 6.752 | 307.747 | 7.022 | 300.942 | 7.475 | 305.9 | 7.768 | 301.067 | 28.435 | 889.667 | 15.933 | 19.7808
2020-05-19 17:30:00 | 7.162 | 309.92 | 7.56 | 304.003 | 7.601 | 305.7 | 7.798 | 301.233 | 28.46 | 889.667 | 15.627 | 28.6707
2020-05-19 17:45:00 | 6.884 | 313.507 | 7.132 | 310.426 | 7.355 | 314.933 | 7.623 | 312.333 | 28.581 | 889.467 | 16.16 | 25.5243
2020-05-19 18:00:00 | 7.154 | 328.173 | 7.577 | 319.723 | 7.794 | 324.267 | 8.118 | 321.4 | 28.398 | 889.5 | 17.229 | 32.0643
2020-05-19 18:15:00 | 6.136 | 335.28 | 6.294 | 329.995 | 6.132 | 278.5 | 6.645 | 325.567 | 27.802 | 889.133 | 17.668 | 25.3715
2020-05-19 18:30:00 | 7.835 | 319.413 | 8.188 | 315.793 | 8.416 | 320.467 | 8.714 | 318.167 | 28.181 | 889.267 | 16.905 | 33.3206
2020-05-19 18:45:00 | 7.428 | 300.787 | 7.717 | 299.915 | 7.789 | 304.367 | 8.138 | 302.5 | 28.373 | 889.133 | 16.193 | 31.2926
2020-05-19 19:00:00 | 5.704 | 301.76 | 5.869 | 302.239 | 5.881 | 307.3 | 6.373 | 304.167 | 28.502 | 889.533 | 16.368 | 38.0317
2020-05-19 19:15:00 | 8.156 | 309.133 | 8.419 | 305.503 | 8.47 | 310.9 | 9.147 | 307.567 | 28.185 | 889.633 | 16.985 | 51.5395
2020-05-19 19:30:00 | 7.417 | 320.587 | 7.578 | 314.447 | 7.631 | 317.633 | 7.821 | 315.233 | 27.727 | 889.333 | 17.865 | 38.971
2020-05-19 19:45:00 | 4.263 | 305.293 | 4.59 | 303.451 | 4.68 | 311.767 | 5.266 | 311.3 | 27.664 | 889.667 | 18.071 | 14.3186
2020-05-19 20:00:00 | 5.964 | 325.52 | 6.331 | 321.62 | 6.511 | 325.067 | 7.078 | 322.7 | 28.173 | 889.2 | 15.78 | 16.6528
2020-05-19 20:15:00 | 5.588 | 314.28 | 5.936 | 330.988 | 5.885 | 337.2 | 6.142 | 335.633 | 28.098 | 889.167 | 15.548 | 17.6739
2020-05-19 20:30:00 | 4.898 | 315.72 | 5.363 | 310.174 | 5.561 | 313.167 | 6.07 | 313.2 | 27.935 | 889.033 | 15.887 | 18.9238
2020-05-19 20:45:00 | 8.14 | 306.733 | 8.966 | 305.244 | 9.382 | 311.733 | 9.65 | 310.067 | 27.568 | 889.233 | 17.692 | 42.3384
2020-05-19 21:00:00 | 6.413 | 302.84 | 7.157 | 300.605 | 7.21 | 305.667 | 7.759 | 301.767 | 26.677 | 889.233 | 18.315 | 30.3654
2020-05-19 21:15:00 | 5.288 | 302.32 | 6.152 | 301.768 | 6.58 | 309.567 | 7.197 | 306.967 | 26.568 | 889.633 | 18.436 | 26.772
2020-05-19 21:30:00 | 6.527 | 296.72 | 7.609 | 298.409 | 7.915 | 305.3 | 8.617 | 303.533 | 26.431 | 889.467 | 19.477 | 29.4871
2020-05-19 21:45:00 | 5.11 | 292.893 | 6.506 | 295.164 | 6.961 | 301.033 | 7.635 | 300.467 | 26.131 | 889.7 | 19.583 | 23.2711
2020-05-19 22:00:00 | 4.575 | 277.873 | 5.551 | 285.567 | 5.817 | 291.467 | 6.389 | 289.933 | 25.168 | 889.317 | 20.464 | 16.1483
2020-05-19 22:15:00 | 4.768 | 271.613 | 6.175 | 280.237 | 6.632 | 285.7 | 7.203 | 283.367 | 25.152 | 889.767 | 21.184 | 21.0264
2020-05-19 22:30:00 | 4.984 | 266.467 | 6.367 | 274.351 | 6.698 | 279.833 | 7.138 | 277.533 | 24.798 | 889.767 | 21.965 | 18.8975
2020-05-19 22:45:00 | 4.927 | 261.76 | 6.366 | 269.753 | 6.713 | 277.233 | 7.129 | 274.4 | 24.527 | 889.567 | 22.651 | 20.0024
2020-05-19 23:00:00 | 5.298 | 267.233 | 6.372 | 276.443 | 6.461 | 284.467 | 6.91 | 285.367 | 24.214 | 889.683 | 22.837 | 21.9956
2020-05-19 23:15:00 | 5.984 | 277.027 | 7.328 | 281.775 | 7.665 | 288.6 | 8.392 | 287.133 | 23.794 | 889.883 | 23.219 | 36.9232
2020-05-19 23:30:00 | 6.126 | 284.987 | 7.415 | 284.253 | 7.74 | 289.433 | 8.401 | 287.833 | 24.227 | 889.817 | 22.315 | 40.9528
2020-05-19 23:45:00 | 6.821 | 288.64 | 8.351 | 291.441 | 9.013 | 298.133 | 9.613 | 295.867 | 24.098 | 889.867 | 22.784 | 40.9663