## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-20 00:00:00 | 7.312 | 282.52 | 8.376 | 285.841 | 8.94 | 291.633 | 9.688 | 289.967 | 23.96 | 889.467 | 23.277 | 42.2951
2020-05-20 00:15:00 | 7.48 | 293.28 | 8.87 | 292.219 | 9.534 | 297.967 | 10.279 | 296.4 | 23.706 | 889.833 | 23.672 | 50.4872
2020-05-20 00:30:00 | 7.597 | 290.96 | 8.556 | 291.931 | 9.137 | 296.2 | 9.694 | 292.5 | 23.577 | 890.2 | 23.659 | 49.4462
2020-05-20 00:45:00 | 5.624 | 286.88 | 6.7 | 287.99 | 7.268 | 292.5 | 8.091 | 293 | 23.798 | 889.833 | 23.867 | 39.9779
2020-05-20 01:00:00 | 5.962 | 287.513 | 7.087 | 289.504 | 7.7 | 294.3 | 8.257 | 291.767 | 23.231 | 889.683 | 24.285 | 34.4362
2020-05-20 01:15:00 | 6.703 | 289.933 | 7.813 | 293.47 | 8.312 | 301.267 | 9.012 | 299.333 | 23.348 | 889.467 | 24.749 | 45.2396
2020-05-20 01:30:00 | 6.393 | 291.267 | 7.341 | 295.648 | 7.855 | 302.467 | 8.625 | 301.833 | 23.198 | 889.733 | 25.101 | 49.3076
2020-05-20 01:45:00 | 5.508 | 282.327 | 6.942 | 287.574 | 7.522 | 293.6 | 8.017 | 292.6 | 22.648 | 889.867 | 25.667 | 43.7659
2020-05-20 02:00:00 | 6.185 | 260.253 | 7.147 | 270.036 | 7.611 | 280.7 | 8.118 | 281.3 | 22.531 | 889.283 | 25.976 | 36.5473
2020-05-20 02:15:00 | 6.099 | 248.533 | 7.168 | 256.702 | 7.406 | 267.3 | 7.447 | 267.583 | 22.498 | 890.133 | 26.155 | 28.1527
2020-05-20 02:30:00 | 5.296 | 240.973 | 6.656 | 248.907 | 6.799 | 257.3 | 6.993 | 254.833 | 21.631 | 889.883 | 27.083 | 24.3561
2020-05-20 02:45:00 | 6.573 | 249.66 | 7.715 | 253.011 | 8.058 | 258.867 | 8.357 | 254.783 | 21.639 | 889.733 | 27.928 | 31.6181
2020-05-20 03:00:00 | 5.114 | 246.767 | 5.835 | 252.171 | 6.261 | 258.067 | 6.499 | 256.533 | 21.602 | 890.133 | 28.403 | 20.2945
2020-05-20 03:15:00 | 4.179 | 253.887 | 5.193 | 259.485 | 5.586 | 266.267 | 5.992 | 264.683 | 20.923 | 889.817 | 29.304 | 16.0268
2020-05-20 03:30:00 | 4.382 | 246.633 | 5.766 | 251.114 | 5.834 | 261.133 | 6.187 | 261.5 | 20.577 | 889.55 | 30.083 | 18.2857
2020-05-20 03:45:00 | 5.15 | 241.58 | 6.056 | 250.599 | 6.447 | 260.1 | 6.949 | 260.3 | 19.885 | 889.45 | 30.973 | 21.7725
2020-05-20 04:00:00 | 5.715 | 233.667 | 6.473 | 241.714 | 6.445 | 251.333 | 6.572 | 249.95 | 19.823 | 889.933 | 31.632 | 23.3002
2020-05-20 04:15:00 | 5.362 | 235.607 | 5.762 | 247.674 | 5.897 | 256.633 | 6.088 | 257.217 | 19.585 | 889.667 | 31.992 | 19.2265
2020-05-20 04:30:00 | 4.838 | 227.413 | 5.095 | 236.785 | 5.148 | 248.933 | 5.352 | 248.95 | 19.123 | 889.883 | 32.773 | 17.1829
2020-05-20 04:45:00 | 5.006 | 238.787 | 5.611 | 248.992 | 5.823 | 257.733 | 6.184 | 256.017 | 18.831 | 889.65 | 32.976 | 21.1671
2020-05-20 05:00:00 | 5.507 | 242.8 | 6.463 | 251.7 | 6.819 | 259.2 | 6.956 | 257.983 | 18.806 | 889.833 | 33.176 | 24.7931
2020-05-20 05:15:00 | 5.211 | 244.04 | 6.556 | 254.474 | 7.074 | 262.333 | 7.438 | 258.967 | 18.156 | 889.45 | 34.168 | 25.024
2020-05-20 05:30:00 | 4.816 | 242.153 | 5.747 | 248.596 | 6.248 | 257.133 | 6.598 | 254.367 | 18.964 | 889.917 | 33.907 | 22.4894
2020-05-20 05:45:00 | 5.345 | 220.04 | 5.522 | 232.943 | 5.838 | 245.133 | 6.223 | 245.367 | 18.348 | 889.6 | 34.512 | 21.9323
2020-05-20 06:00:00 | 5.485 | 220.007 | 6.342 | 227.02 | 6.504 | 236.9 | 6.576 | 234.433 | 17.364 | 890.383 | 35.296 | 28.6749
2020-05-20 06:15:00 | 6.316 | 231.167 | 7.375 | 236.774 | 7.701 | 246.267 | 7.804 | 243.333 | 17.96 | 889.817 | 35.573 | 37.9507
2020-05-20 06:30:00 | 5.948 | 231.58 | 7.082 | 240.898 | 7.368 | 250.1 | 7.566 | 247.017 | 18.039 | 889.833 | 35.659 | 39.683
2020-05-20 06:45:00 | 5.929 | 233.307 | 7.184 | 240.62 | 7.657 | 249.367 | 7.753 | 245.7 | 18.11 | 889.883 | 35.547 | 41.3699
2020-05-20 07:00:00 | 6.258 | 233.193 | 7.644 | 240.47 | 7.951 | 247.333 | 7.93 | 244.467 | 18.777 | 889.517 | 34.443 | 40.8341
2020-05-20 07:15:00 | 6.125 | 238.213 | 7.058 | 242.266 | 7.53 | 250.9 | 7.54 | 247.567 | 19.614 | 889.9 | 32.907 | 39.5409
2020-05-20 07:30:00 | 6.331 | 244.72 | 7.249 | 251.559 | 7.987 | 258.25 | 8.551 | 256.05 | 20.298 | 889.517 | 31.269 | 45.671
2020-05-20 07:45:00 | 8.363 | 252.587 | 9.225 | 256.802 | 9.522 | 261.267 | 9.501 | 257.417 | 21.385 | 889.417 | 30.424 | 51.7712
2020-05-20 08:00:00 | 8.601 | 247.46 | 9.109 | 254.119 | 9.736 | 259.25 | 9.89 | 253.983 | 21.918 | 889.867 | 29.792 | 52.702
2020-05-20 08:15:00 | 7.485 | 258.933 | 8.273 | 262.994 | 8.446 | 267.767 | 8.541 | 263.317 | 22.11 | 889.6 | 29.392 | 45.9857
2020-05-20 08:30:00 | 8.363 | 258.267 | 8.858 | 262.246 | 9.114 | 266.467 | 9.055 | 262 | 22.348 | 889.517 | 28.747 | 49.2977
2020-05-20 08:45:00 | 8.391 | 259.953 | 8.66 | 267.446 | 9.001 | 272.8 | 9.584 | 268.967 | 22.781 | 889.65 | 28.336 | 56.2165
2020-05-20 09:00:00 | 8.592 | 263.193 | 9.289 | 266.584 | 9.518 | 270.5 | 9.651 | 264.55 | 23.664 | 889.75 | 27.109 | 62.2392
2020-05-20 09:15:00 | 9.716 | 270.473 | 10.221 | 275.083 | 10.404 | 281.067 | 10.88 | 277.6 | 23.435 | 889.733 | 26.725 | 64.852
2020-05-20 09:30:00 | 10.202 | 260.66 | 10.714 | 264.429 | 10.963 | 271.8 | 11.02 | 267.033 | 23.773 | 889.767 | 26.915 | 71.23
2020-05-20 09:45:00 | 9.356 | 264.733 | 10.017 | 268.201 | 10.211 | 273.267 | 10.606 | 266.8 | 23.76 | 889.817 | 27.088 | 72.897
2020-05-20 10:00:00 | 8.749 | 271.213 | 9.429 | 275.608 | 9.941 | 279.2 | 10.127 | 276.467 | 24.594 | 889.633 | 25.992 | 63.1196
2020-05-20 10:15:00 | 10.528 | 266.353 | 11.383 | 267.582 | 11.657 | 272.767 | 11.653 | 268.033 | 24.11 | 889.95 | 26.776 | 63.8046
2020-05-20 10:30:00 | 9.508 | 269.02 | 9.964 | 272.922 | 10.19 | 276.467 | 10.47 | 271.05 | 24.223 | 889.45 | 26.821 | 60.7776
2020-05-20 10:45:00 | 10.912 | 271.447 | 11.398 | 279.973 | 11.814 | 285.767 | 12.214 | 282.167 | 24.71 | 889.633 | 25.869 | 67.6552
2020-05-20 11:00:00 | 9.572 | 277.693 | 10.116 | 284.142 | 10.367 | 289.3 | 10.337 | 286.033 | 24.739 | 889.8 | 24.448 | 53.9484
2020-05-20 11:15:00 | 8.642 | 306.653 | 8.84 | 299.211 | 9.044 | 302.4 | 9.076 | 297.867 | 25.044 | 889.683 | 23.099 | 52.2437
2020-05-20 11:30:00 | 9.859 | 287.787 | 10.321 | 289.829 | 10.488 | 294.233 | 11.057 | 290.567 | 25.614 | 889.5 | 22.744 | 58.1613
2020-05-20 11:45:00 | 9.549 | 291.607 | 10.009 | 293.024 | 10.54 | 299.3 | 10.928 | 297.5 | 25.789 | 889.65 | 21.293 | 57.4529
2020-05-20 12:00:00 | 9.716 | 277.56 | 10.31 | 282.845 | 10.704 | 287.133 | 11.003 | 286.133 | 25.944 | 889.667 | 21.475 | 62.0637
2020-05-20 12:15:00 | 9.803 | 287.307 | 10.548 | 289.945 | 10.671 | 295.2 | 11.49 | 290.3 | 26.264 | 889.6 | 21.44 | 62.7715
2020-05-20 12:30:00 | 10.674 | 306.56 | 10.813 | 301.812 | 11.094 | 308.2 | 11.488 | 307.367 | 26.814 | 889.533 | 20.779 | 55.7589
2020-05-20 12:45:00 | 9.772 | 271.84 | 10.131 | 283.446 | 10.455 | 288.233 | 10.817 | 284.9 | 26.239 | 889.583 | 21.02 | 60.7485
2020-05-20 13:00:00 | 9.046 | 291.847 | 9.571 | 293.626 | 9.585 | 297.4 | 9.996 | 295.067 | 26.589 | 889.233 | 20.593 | 50.4808
2020-05-20 13:15:00 | 8.834 | 321.427 | 9.295 | 319.612 | 9.707 | 324.167 | 9.75 | 322.067 | 26.544 | 889.75 | 20.599 | 45.4343
2020-05-20 13:30:00 | 6.176 | 276.913 | 7.017 | 289.647 | 7.05 | 296.2 | 7.723 | 293.7 | 26.802 | 889.683 | 21.173 | 43.7816
2020-05-20 13:45:00 | 8.253 | 298.893 | 9.065 | 297.274 | 9.674 | 301.667 | 10.133 | 299.467 | 27.223 | 889.35 | 21.024 | 47.1546
2020-05-20 14:00:00 | 6.736 | 301.027 | 7.225 | 296.186 | 7.684 | 298.967 | 8.067 | 297.167 | 27.444 | 889.833 | 19.987 | 25.6706
2020-05-20 14:15:00 | 6.75 | 320.613 | 6.905 | 315.562 | 6.953 | 318.8 | 7.474 | 313.267 | 27.568 | 889.433 | 19.945 | 27.0371
2020-05-20 14:30:00 | 7.691 | 303.507 | 7.986 | 303.446 | 8.075 | 306.367 | 8.402 | 301.967 | 27.406 | 889.3 | 19.464 | 24.2737
2020-05-20 14:45:00 | 7.605 | 294.827 | 7.874 | 290.251 | 8.231 | 297.667 | 8.49 | 295 | 27.827 | 889.667 | 18.665 | 17.2007
2020-05-20 15:00:00 | 4.573 | 297.6 | 4.577 | 296.756 | 4.853 | 292.967 | 5.22 | 307.133 | 27.894 | 889.7 | 17.723 | 11.2937
2020-05-20 15:15:00 | 7.517 | 287.4 | 7.554 | 286.873 | 7.742 | 288.9 | 8.162 | 285.733 | 29.01 | 889.367 | 16.477 | 11.5964
2020-05-20 15:30:00 | 5.284 | 285.48 | 5.84 | 285.633 | 6.031 | 297.033 | 6.619 | 293.6 | 27.96 | 890 | 17.835 | 19.9186
2020-05-20 15:45:00 | 5.193 | 314.28 | 5.431 | 324.158 | 5.524 | 328 | 5.998 | 310.733 | 27.91 | 889.833 | 17.964 | 18.3113
2020-05-20 16:00:00 | 5.918 | 287.8 | 6.516 | 283.705 | 6.728 | 288.3 | 7.172 | 288.733 | 28.914 | 889.533 | 17.424 | 24.2367
2020-05-20 16:15:00 | 6.587 | 328.507 | 6.486 | 324.818 | 6.806 | 330.2 | 7.058 | 317.633 | 28.36 | 889.7 | 17.945 | 17.0365
2020-05-20 16:30:00 | 5.57 | 287.707 | 6.024 | 301.533 | 6.204 | 304.8 | 6.652 | 300.2 | 28.718 | 889.4 | 16.937 | 17.1332
2020-05-20 16:45:00 | 7.632 | 327.24 | 7.869 | 325.659 | 7.984 | 328.033 | 8.622 | 324.833 | 28.189 | 889.4 | 18.713 | 28.3964
2020-05-20 17:00:00 | 5.707 | 281.527 | 5.966 | 281.262 | 5.908 | 287.6 | 6.556 | 285.267 | 28.718 | 889.3 | 18.497 | 25.0219
2020-05-20 17:15:00 | 7.08 | 314.827 | 7.136 | 308.898 | 7.07 | 313.933 | 7.312 | 312.8 | 28.652 | 889.467 | 17.948 | 28.2756
2020-05-20 17:30:00 | 6.266 | 307.027 | 6.748 | 302.012 | 6.985 | 307.867 | 7.377 | 304.867 | 28.039 | 889.567 | 18.457 | 33.224
2020-05-20 17:45:00 | 7.597 | 300.36 | 8.026 | 294.178 | 8.16 | 301.567 | 8.518 | 298.733 | 28.794 | 889.5 | 18.683 | 44.2967
2020-05-20 18:00:00 | 7.98 | 315.84 | 8.449 | 312.59 | 8.524 | 315.3 | 8.445 | 315.567 | 28.894 | 889.9 | 17.819 | 35.0928
2020-05-20 18:15:00 | 8.551 | 300.64 | 8.811 | 299.78 | 8.998 | 305.333 | 9.601 | 303.967 | 28.289 | 889.3 | 19.144 | 41.8403
2020-05-20 18:30:00 | 8.22 | 297.467 | 8.646 | 295.858 | 8.92 | 301.6 | 9.382 | 299.367 | 28.368 | 889.267 | 18.641 | 40.2302
2020-05-20 18:45:00 | 8.681 | 290.66 | 9.279 | 292.651 | 9.525 | 297.867 | 9.95 | 295.233 | 28.327 | 889.333 | 18.444 | 46.0838
2020-05-20 19:00:00 | 9.541 | 297.853 | 10.085 | 294.453 | 10.52 | 298.5 | 10.877 | 296.567 | 28.577 | 889.4 | 18.843 | 53.8041
2020-05-20 19:15:00 | 7.872 | 302.76 | 8.418 | 300.587 | 8.811 | 305.233 | 9.013 | 301.033 | 28.294 | 889.467 | 19.017 | 44.1326
2020-05-20 19:30:00 | 9.99 | 291.813 | 10.767 | 294.021 | 10.853 | 298.2 | 11.373 | 295.233 | 28.606 | 889.367 | 19.547 | 55.4533
2020-05-20 19:45:00 | 10.696 | 118.658 | 13.074 | 154.585 | 13.698 | 120.2 | 14.139 | 118.1 | 26.223 | 889.8 | 25.624 | 75.8736
2020-05-20 20:00:00 | 9.628 | 332.067 | 10.215 | 328.623 | 10.592 | 333.8 | 11.093 | 331.967 | 24.935 | 889.4 | 30.763 | 62.5085
2020-05-20 20:15:00 | 7.802 | 321 | 8.394 | 317.785 | 8.86 | 322.033 | 9.213 | 323.367 | 25.481 | 889.917 | 27.232 | 41.5632
2020-05-20 20:30:00 | 6.326 | 306 | 6.848 | 304.706 | 7.326 | 311.333 | 7.706 | 309.367 | 24.939 | 889.8 | 28.368 | 33.3512
2020-05-20 20:45:00 | 6.501 | 296.587 | 7.034 | 297.923 | 7.146 | 305.333 | 7.75 | 301.4 | 25.073 | 889.283 | 28.632 | 34.4014
2020-05-20 21:00:00 | 8.798 | 284.387 | 9.518 | 284.798 | 9.682 | 288.433 | 9.731 | 285.1 | 24.685 | 889.483 | 30.184 | 54.8657
2020-05-20 21:15:00 | 8.859 | 264.8 | 9.774 | 273.801 | 10.199 | 279.467 | 10.726 | 277.867 | 23.844 | 889.8 | 29.96 | 59.5483
2020-05-20 21:30:00 | 7.53 | 268.14 | 8.605 | 276.981 | 9.164 | 281.833 | 9.761 | 279.2 | 24.552 | 890.133 | 29.253 | 49.9173
2020-05-20 21:45:00 | 6.504 | 275.607 | 7.63 | 279.808 | 8.044 | 285.1 | 8.668 | 283.233 | 24.444 | 889.817 | 28.533 | 32.0899
2020-05-20 22:00:00 | 5.789 | 267.707 | 6.673 | 275.94 | 7.094 | 282.5 | 7.603 | 279.933 | 24.539 | 889.983 | 27.533 | 22.0105
2020-05-20 22:15:00 | 5.245 | 287.053 | 6.121 | 287.219 | 6.601 | 293.033 | 7.199 | 289.367 | 24.514 | 889.65 | 27.691 | 13.7893
2020-05-20 22:30:00 | 5.377 | 291.853 | 6.221 | 291.505 | 6.474 | 296.2 | 6.956 | 291.1 | 24.481 | 890.15 | 27.917 | 16.7019
2020-05-20 22:45:00 | 5.338 | 270.933 | 6.198 | 276.656 | 6.476 | 281.767 | 6.87 | 279.667 | 24.294 | 890.067 | 30.093 | 18.9075
2020-05-20 23:00:00 | 4.748 | 268.067 | 5.75 | 275.243 | 6.547 | 280.733 | 7.159 | 279.733 | 23.614 | 889.983 | 30.976 | 19.5292
2020-05-20 23:15:00 | 5.714 | 269.24 | 6.526 | 273.533 | 7.013 | 278.367 | 7.598 | 276 | 23.598 | 889.9 | 30.731 | 26.6924
2020-05-20 23:30:00 | 6.3 | 260.267 | 7.316 | 264.992 | 7.639 | 269.967 | 8.135 | 266.217 | 24.185 | 889.75 | 30.235 | 38.2789
2020-05-20 23:45:00 | 7.053 | 260.687 | 8.372 | 269.178 | 8.639 | 274.733 | 9.129 | 271.033 | 23.914 | 889.95 | 30.387 | 47.2363