## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-21 00:00:00 | 6.906 | 265.667 | 8.25 | 274.862 | 8.791 | 279.6 | 9.544 | 277.567 | 23.752 | 889.75 | 30.259 | 55.0256
2020-05-21 00:15:00 | 8.038 | 267.267 | 9.232 | 274.034 | 10.119 | 278.833 | 10.702 | 274.867 | 23.431 | 889.7 | 29.963 | 64.5017
2020-05-21 00:30:00 | 9.304 | 269.14 | 10.861 | 274.952 | 11.171 | 279.567 | 11.763 | 277.467 | 23.081 | 889.683 | 30.747 | 75.9397
2020-05-21 00:45:00 | 9.381 | 258.413 | 10.993 | 268.523 | 11.67 | 273.433 | 12.123 | 270.3 | 22.898 | 889.583 | 31.549 | 85.2303
2020-05-21 01:00:00 | 8.896 | 257.367 | 10.194 | 269.694 | 10.824 | 274 | 11.105 | 270.933 | 22.548 | 889.983 | 32.475 | 80.8518
2020-05-21 01:15:00 | 10.19 | 258.62 | 11.455 | 262.082 | 11.896 | 266.267 | 12.329 | 263 | 21.656 | 889.8 | 34.563 | 87.0437
2020-05-21 01:30:00 | 10.012 | 257.28 | 11.327 | 266.004 | 11.961 | 269.867 | 12.278 | 265.733 | 21.373 | 889.917 | 36.531 | 85.9466
2020-05-21 01:45:00 | 10.147 | 259.447 | 11.376 | 267.148 | 12.214 | 270.5 | 12.698 | 264.817 | 21.252 | 889.967 | 37.448 | 90.4899
2020-05-21 02:00:00 | 10.287 | 258.213 | 11.887 | 269.082 | 12.628 | 274.067 | 13.132 | 271.033 | 20.673 | 889.383 | 38.528 | 77.8483
2020-05-21 02:15:00 | 9.918 | 257.033 | 11.581 | 267.235 | 12.438 | 272.067 | 13.11 | 267.4 | 20.189 | 889.967 | 39.904 | 50.9292
2020-05-21 02:30:00 | 10.477 | 259.187 | 12.048 | 264.311 | 12.708 | 271.5 | 13.448 | 265.4 | 19.964 | 889.45 | 41.429 | 31.8064
2020-05-21 02:45:00 | 10.617 | 260.613 | 12.471 | 264.996 | 13.206 | 269.033 | 13.747 | 265.1 | 19.702 | 889.75 | 42.283 | 25.5548
2020-05-21 03:00:00 | 10.076 | 258.987 | 11.817 | 265.575 | 12.932 | 269.867 | 13.885 | 266.067 | 19.848 | 889.867 | 42.859 | 25.4987
2020-05-21 03:15:00 | 10.738 | 258.18 | 12.214 | 265.394 | 13.177 | 269.1 | 13.75 | 264.933 | 19.856 | 889.65 | 43.019 | 26.3897
2020-05-21 03:30:00 | 11.78 | 255.727 | 13.894 | 264.072 | 14.546 | 268.6 | 15.111 | 264.3 | 19.889 | 889.892 | 43.669 | 26.9532
2020-05-21 03:45:00 | 12.264 | 255.587 | 14.22 | 262.322 | 15.058 | 268.233 | 15.866 | 263.667 | 19.494 | 889.825 | 44.827 | 26.5773
2020-05-21 04:00:00 | 11.6 | 255.24 | 13.511 | 264.114 | 14.317 | 268.4 | 15.198 | 264.333 | 19.081 | 890.242 | 46.005 | 26.0551
2020-05-21 04:15:00 | 11.697 | 255.213 | 13.267 | 262.044 | 14.222 | 267.367 | 14.835 | 262.4 | 19.206 | 889.808 | 46.811 | 25.255
2020-05-21 04:30:00 | 10.828 | 253.78 | 12.557 | 262.456 | 13.25 | 266.067 | 14.148 | 262.433 | 18.81 | 890.333 | 47.712 | 26.8047
2020-05-21 04:45:00 | 10.026 | 251.967 | 11.648 | 259.932 | 12.618 | 263.033 | 13.24 | 258.2 | 18.906 | 890.05 | 48.576 | 27.9878
2020-05-21 05:00:00 | 9.158 | 247.933 | 10.734 | 253.86 | 11.934 | 258.933 | 12.552 | 255.65 | 18.094 | 889.65 | 49.979 | 28.7204
2020-05-21 05:15:00 | 8.995 | 249.733 | 10.386 | 254.617 | 11.383 | 259.817 | 12.14 | 256.033 | 17.856 | 889.533 | 51.461 | 28.4276
2020-05-21 05:30:00 | 8.859 | 244.74 | 10.412 | 244.826 | 11.238 | 252.567 | 11.59 | 248.367 | 17.739 | 889.783 | 52.704 | 27.2154
2020-05-21 05:45:00 | 8.444 | 243.727 | 9.672 | 244.919 | 10.643 | 252.633 | 11.389 | 248.867 | 17.298 | 889.8 | 53.568 | 29.3343
2020-05-21 06:00:00 | 7.471 | 233.127 | 9.095 | 237.138 | 10.123 | 243.533 | 10.394 | 239.233 | 17.081 | 889.625 | 54.219 | 26.8253
2020-05-21 06:15:00 | 7.83 | 239.613 | 9.087 | 245.958 | 10.022 | 253.067 | 10.552 | 248.683 | 17.081 | 889.417 | 54.272 | 25.1519
2020-05-21 06:30:00 | 8.862 | 231.113 | 10.453 | 233.245 | 11.426 | 239.9 | 11.602 | 235.267 | 17.231 | 889.908 | 54.08 | 27.3788
2020-05-21 06:45:00 | 10.057 | 234.48 | 11.086 | 237.414 | 11.96 | 241.933 | 12.452 | 236.2 | 17.123 | 890.008 | 52.864 | 32.0935
2020-05-21 07:00:00 | 10.737 | 230.42 | 12.033 | 233.637 | 12.94 | 239.167 | 13.012 | 233.733 | 17.664 | 889.925 | 50.955 | 42.2673
2020-05-21 07:15:00 | 9.691 | 232.707 | 11.036 | 237.464 | 11.83 | 241.633 | 11.874 | 236.033 | 18.26 | 890.15 | 48.011 | 47.1966
2020-05-21 07:30:00 | 9.982 | 237.8 | 10.738 | 239.054 | 11.375 | 244.033 | 11.707 | 237.567 | 18.756 | 889.875 | 45.163 | 53.4083
2020-05-21 07:45:00 | 9.12 | 238.48 | 9.753 | 241.955 | 10.171 | 247.1 | 10.678 | 242.433 | 19.46 | 890.05 | 42.315 | 47.6513
2020-05-21 08:00:00 | 8.961 | 234.967 | 9.498 | 241.775 | 9.888 | 247.2 | 9.839 | 242.067 | 20.144 | 889.767 | 39.539 | 44.8972
2020-05-21 08:15:00 | 7.825 | 240.88 | 8.341 | 245.582 | 8.592 | 250.6 | 8.652 | 243.8 | 20.944 | 889.7 | 37.272 | 48.4962
2020-05-21 08:30:00 | 8.32 | 247.1 | 8.765 | 250.24 | 9.151 | 255.617 | 9.314 | 250.983 | 21.518 | 889.717 | 34.92 | 56.0197
2020-05-21 08:45:00 | 7.747 | 251.093 | 8.594 | 263.194 | 8.808 | 267.4 | 9.042 | 262.133 | 21.302 | 889.667 | 35.733 | 55.3695
2020-05-21 09:00:00 | 9.008 | 255.733 | 9.744 | 263.612 | 9.984 | 268.567 | 10.375 | 264.767 | 21.281 | 889.583 | 36.128 | 57.0564
2020-05-21 09:15:00 | 9.221 | 259.1 | 9.867 | 267.226 | 9.837 | 271.433 | 10.058 | 267.383 | 21.31 | 889.533 | 36.941 | 52.1449
2020-05-21 09:30:00 | 8.561 | 257.233 | 9.12 | 268.188 | 9.158 | 274 | 9.15 | 268.1 | 20.985 | 889.7 | 37.96 | 51.3157
2020-05-21 09:45:00 | 9.021 | 257.92 | 9.503 | 267.622 | 9.741 | 272.233 | 9.944 | 268.6 | 21.398 | 889.867 | 36.739 | 52.8711
2020-05-21 10:00:00 | 7.569 | 257.573 | 8.283 | 275.027 | 8.492 | 279.267 | 8.646 | 275 | 21.777 | 889.817 | 36.597 | 48.6511
2020-05-21 10:15:00 | 8.581 | 280.027 | 9.031 | 283.474 | 9.396 | 288.067 | 9.595 | 286.9 | 22.102 | 890.183 | 35.307 | 49.8733
2020-05-21 10:30:00 | 7.418 | 291.373 | 7.778 | 287.348 | 7.958 | 290.367 | 8.185 | 285.333 | 22.085 | 889.817 | 35.067 | 41.4474
2020-05-21 10:45:00 | 7.77 | 277.62 | 8.272 | 284.571 | 8.69 | 288.4 | 9.075 | 285.067 | 22.764 | 890.317 | 33.763 | 39.7775
2020-05-21 11:00:00 | 8.052 | 287.48 | 8.442 | 291.24 | 8.793 | 293.333 | 9.246 | 291.2 | 22.998 | 889.883 | 32.485 | 50.5675
2020-05-21 11:15:00 | 8.196 | 303.253 | 8.414 | 300.651 | 8.715 | 304.467 | 8.982 | 299.9 | 23.064 | 889.667 | 33.035 | 44.9341
2020-05-21 11:30:00 | 7.825 | 298.333 | 8.007 | 299.442 | 8.033 | 303.667 | 8.565 | 300.367 | 23.081 | 890.15 | 32.915 | 36.2645
2020-05-21 11:45:00 | 7.213 | 272.847 | 7.663 | 279.473 | 7.906 | 283.633 | 8.547 | 281.533 | 23.473 | 889.817 | 32.336 | 36.359
2020-05-21 12:00:00 | 7.608 | 285.84 | 7.984 | 287.003 | 8.364 | 293.233 | 8.758 | 292.3 | 23.773 | 889.467 | 31.053 | 39.4784
2020-05-21 12:15:00 | 7.322 | 288.8 | 8.007 | 294.417 | 7.758 | 301.933 | 8.017 | 302.267 | 24.06 | 890.133 | 30.723 | 41.4992
2020-05-21 12:30:00 | 7.65 | 309.027 | 7.794 | 305.63 | 8.046 | 307.333 | 8.471 | 306.3 | 24.202 | 889.633 | 30.12 | 41.2875
2020-05-21 12:45:00 | 8.476 | 303.627 | 8.806 | 305.333 | 8.98 | 310.367 | 9.168 | 307 | 24.335 | 889.783 | 29.843 | 43.977
2020-05-21 13:00:00 | 8.01 | 315.4 | 8.52 | 307.681 | 8.596 | 310.667 | 8.996 | 309.267 | 24.835 | 889.8 | 28.939 | 42.1956
2020-05-21 13:15:00 | 8.833 | 307.387 | 8.788 | 301.087 | 8.829 | 305.633 | 8.954 | 304.4 | 24.718 | 889.567 | 28.859 | 43.6437
2020-05-21 13:30:00 | 8.685 | 276.14 | 9.294 | 290.361 | 9.188 | 286.667 | 9.294 | 283.1 | 25.468 | 889.933 | 27.843 | 43.5812
2020-05-21 13:45:00 | 7.972 | 304.92 | 8.061 | 303.679 | 8.465 | 304.7 | 8.95 | 301.733 | 25.514 | 889.967 | 27.667 | 41.4573
2020-05-21 14:00:00 | 7.764 | 328.907 | 8.278 | 321.944 | 8.366 | 324.9 | 8.579 | 323.3 | 25.773 | 890 | 27.523 | 41.8588
2020-05-21 14:15:00 | 8.801 | 316.2 | 9.326 | 311.669 | 9.351 | 316.633 | 9.558 | 311.7 | 25.344 | 889.767 | 27.803 | 46.7752
2020-05-21 14:30:00 | 7.709 | 321.787 | 8.026 | 315.603 | 8.498 | 318.333 | 9.062 | 315.3 | 25.177 | 889.667 | 27.64 | 41.5689
2020-05-21 14:45:00 | 9.532 | 298.44 | 9.905 | 297.944 | 10.209 | 300.867 | 10.564 | 295.433 | 25.402 | 889.95 | 27.408 | 46.4988
2020-05-21 15:00:00 | 10.068 | 321.573 | 10.622 | 316.488 | 11.052 | 317.1 | 11.546 | 315.5 | 25.452 | 889.083 | 27.515 | 58.5137
2020-05-21 15:15:00 | 10.57 | 284.44 | 11.513 | 287.711 | 11.939 | 292.4 | 12.12 | 289.333 | 25.352 | 889.767 | 28.189 | 65.9882
2020-05-21 15:30:00 | 11.19 | 284.827 | 11.558 | 290.266 | 11.955 | 296.067 | 12.531 | 294 | 25.127 | 889.933 | 29.261 | 71.8902
2020-05-21 15:45:00 | 10.688 | 264.267 | 11.492 | 275.804 | 11.683 | 281.967 | 11.808 | 278.933 | 24.927 | 890 | 30.467 | 81.6789
2020-05-21 16:00:00 | 9.885 | 225.9 | 10.308 | 224.567 | 10.79 | 228.267 | 10.826 | 222.933 | 24.827 | 890.1 | 30.92 | 74.0361
2020-05-21 16:15:00 | 7.716 | 261.853 | 8.653 | 266.82 | 9.159 | 270.833 | 9.612 | 264.183 | 22.644 | 889.733 | 35.28 | 56.1888
2020-05-21 16:30:00 | 11.326 | 250.487 | 12.082 | 259.872 | 11.904 | 265.417 | 12.348 | 260.517 | 23.514 | 889.867 | 34.125 | 78.2441
2020-05-21 16:45:00 | 11.38 | 258.54 | 12.325 | 267.782 | 12.576 | 271.4 | 12.848 | 265.533 | 23.314 | 889.683 | 34.899 | 88.0691
2020-05-21 17:00:00 | 10.567 | 256.527 | 11.849 | 260.65 | 12.403 | 265.367 | 12.476 | 261.017 | 23.014 | 889.667 | 35.085 | 89.7936
2020-05-21 17:15:00 | 10.418 | 259.16 | 11.612 | 266.524 | 11.803 | 270 | 11.657 | 266.25 | 22.831 | 890.083 | 36.323 | 89.8483
2020-05-21 17:30:00 | 10.773 | 255.433 | 11.658 | 261.87 | 12.05 | 266.833 | 12.17 | 263.317 | 23.031 | 890.117 | 36.288 | 82.3511
2020-05-21 17:45:00 | 10.801 | 252.513 | 12.26 | 267.249 | 12.408 | 271.85 | 12.6 | 266.167 | 22.631 | 889.95 | 36.517 | 77.7516
2020-05-21 18:00:00 | 11.445 | 260.98 | 12.666 | 269.629 | 12.808 | 274.833 | 13.116 | 269.567 | 22.764 | 889.55 | 36.899 | 80.3146
2020-05-21 18:15:00 | 10.695 | 262.133 | 11.72 | 274.786 | 11.814 | 279.5 | 12.07 | 274.3 | 22.731 | 889.417 | 37.683 | 88.0989
2020-05-21 18:30:00 | 12.777 | 257.247 | 13.948 | 271.476 | 14.301 | 275.967 | 14.758 | 271.767 | 21.981 | 889.35 | 38.421 | 90.6527
2020-05-21 18:45:00 | 13.233 | 261.46 | 14.145 | 277.725 | 14.352 | 281.367 | 14.981 | 276.933 | 21.931 | 889.783 | 39.515 | 91.931
2020-05-21 19:00:00 | 12.6 | 255.74 | 13.692 | 271.135 | 14.15 | 276.567 | 14.411 | 273.367 | 21.427 | 889.633 | 41.011 | 91.1309
2020-05-21 19:15:00 | 11.716 | 260.173 | 12.757 | 275.643 | 12.956 | 279.2 | 13.314 | 275.1 | 21.006 | 890.05 | 41.851 | 90.3876
2020-05-21 19:30:00 | 11.608 | 262.187 | 12.78 | 277.036 | 12.839 | 278.633 | 12.83 | 274.833 | 20.785 | 889.833 | 42.251 | 84.7287
2020-05-21 19:45:00 | 10.66 | 256.86 | 12.452 | 272.033 | 12.603 | 277.033 | 13.194 | 273.5 | 20.639 | 889.725 | 42.411 | 81.1424
2020-05-21 20:00:00 | 12.797 | 258.82 | 13.493 | 272.21 | 13.986 | 276.033 | 14.279 | 272.567 | 20.552 | 889.642 | 42.784 | 81.5141
2020-05-21 20:15:00 | 14.564 | 251.353 | 16.001 | 261.525 | 16.092 | 267.367 | 16.178 | 261.95 | 19.756 | 889.858 | 43.621 | 84.0345
2020-05-21 20:30:00 | 12.721 | 252.547 | 14.361 | 268.884 | 14.792 | 273.1 | 14.775 | 269 | 18.823 | 890.167 | 46.176 | 83.7069
2020-05-21 20:45:00 | 13.552 | 252.873 | 15.383 | 267.604 | 15.673 | 272.133 | 15.571 | 267.733 | 18.085 | 890.2 | 48.341 | 83.7751
2020-05-21 21:00:00 | 13.572 | 255.927 | 15.052 | 266.763 | 15.292 | 271.067 | 15.339 | 266.4 | 17.148 | 890.308 | 51.456 | 89.255
2020-05-21 21:15:00 | 12.971 | 250.327 | 14.455 | 255.737 | 14.984 | 259.483 | 14.67 | 254.883 | 16.631 | 889.992 | 52.501 | 91.9111
2020-05-21 21:30:00 | 13.629 | 250.353 | 14.984 | 257.836 | 15.03 | 261.15 | 15.038 | 255.267 | 16.531 | 889.917 | 54.165 | 91.1955
2020-05-21 21:45:00 | 13.555 | 250.013 | 14.57 | 255.104 | 14.992 | 259.583 | 15.216 | 255.567 | 16.039 | 890.058 | 55.68 | 87.9888
2020-05-21 22:00:00 | 12.682 | 247 | 14.378 | 253.488 | 15.106 | 258.767 | 15.239 | 254.1 | 15.485 | 890.075 | 56.053 | 87.3173
2020-05-21 22:15:00 | 12.848 | 252.367 | 14.404 | 254.441 | 14.531 | 259.4 | 14.622 | 255.533 | 15.15 | 889.875 | 56.357 | 88.2488
2020-05-21 22:30:00 | 11.985 | 250.513 | 13.212 | 258.037 | 13.823 | 263.2 | 14.027 | 259.25 | 15.067 | 889.85 | 54.747 | 88.9317
2020-05-21 22:45:00 | 12.239 | 253.727 | 13.878 | 261.601 | 14.201 | 264.733 | 14.374 | 260.167 | 15.096 | 889.867 | 54.08 | 89.9684
2020-05-21 23:00:00 | 12.398 | 250.34 | 13.599 | 259.81 | 13.893 | 263.567 | 14.035 | 258.5 | 15.302 | 889.783 | 54.011 | 90.637
2020-05-21 23:15:00 | 12.571 | 244.72 | 14.139 | 261.202 | 14.57 | 263.767 | 14.913 | 259.217 | 14.724 | 889.767 | 54.373 | 92.1648
2020-05-21 23:30:00 | 12.928 | 251.507 | 14.59 | 256.467 | 15.459 | 261.233 | 15.768 | 257.117 | 15.124 | 889.683 | 54.864 | 92.4035
2020-05-21 23:45:00 | 12.264 | 250.147 | 13.933 | 256.449 | 14.636 | 262.783 | 14.881 | 256.733 | 14.841 | 890.025 | 55.547 | 92.2124