## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-22 00:00:00 | 12.613 | 251.94 | 14.056 | 264.431 | 14.424 | 268.467 | 14.574 | 263.967 | 14.741 | 890.067 | 56.693 | 92.0482
2020-05-22 00:15:00 | 12.964 | 250.307 | 14.748 | 261.919 | 15.391 | 266.767 | 15.791 | 261.517 | 14.458 | 889.858 | 56.816 | 91.5857
2020-05-22 00:30:00 | 12.605 | 250.253 | 14.531 | 264.264 | 14.711 | 268.733 | 15.03 | 265.1 | 14.691 | 889.983 | 57.173 | 91.7825
2020-05-22 00:45:00 | 12.328 | 259.533 | 14.061 | 270.799 | 14.958 | 275.3 | 15.561 | 272 | 13.928 | 889.95 | 57.179 | 90.7188
2020-05-22 01:00:00 | 11.823 | 255.733 | 13.316 | 266.85 | 13.888 | 272.633 | 14.292 | 267.267 | 14.087 | 890.092 | 58.021 | 89.5229
2020-05-22 01:15:00 | 10.175 | 249.34 | 11.523 | 256.069 | 11.975 | 260.567 | 12.062 | 256.317 | 13.528 | 890.158 | 59.952 | 89.3687
2020-05-22 01:30:00 | 11.692 | 254.113 | 12.787 | 256.261 | 13.129 | 260.317 | 13.269 | 254.9 | 13.341 | 889.425 | 61.52 | 84.4423
2020-05-22 01:45:00 | 12.45 | 248.407 | 14.215 | 253.168 | 14.576 | 258.217 | 14.543 | 253.95 | 13.353 | 890.042 | 62.613 | 79.4449
2020-05-22 02:00:00 | 12.25 | 247.047 | 13.674 | 256.633 | 14.073 | 257.933 | 14.268 | 253.783 | 13.214 | 890.183 | 63.573 | 79.0711
2020-05-22 02:15:00 | 11.374 | 253.653 | 12.393 | 260.351 | 13.035 | 263.983 | 13.384 | 260.467 | 13.055 | 889.958 | 63.653 | 82.7391
2020-05-22 02:30:00 | 10.546 | 254 | 11.856 | 262.688 | 12.135 | 266.117 | 12.094 | 260.267 | 13.287 | 889.542 | 64.128 | 87.9689
2020-05-22 02:45:00 | 12.609 | 253.18 | 14.176 | 267.115 | 14.782 | 272.133 | 15.076 | 268.417 | 13.601 | 890 | 64.405 | 90.0729
2020-05-22 03:00:00 | 15.696 | 252.373 | 17.095 | 273.918 | 17.592 | 277.2 | 18.244 | 273.433 | 12.824 | 890.125 | 67.84 | 90.9518
2020-05-22 03:15:00 | 14.285 | 266.347 | 16.13 | 276.928 | 16.7 | 280.3 | 17.226 | 276.8 | 12.178 | 889.842 | 72.347 | 91.2069
2020-05-22 03:30:00 | 13.786 | 250.113 | 15.438 | 269.661 | 16.269 | 273.867 | 17.352 | 270.033 | 11.928 | 889.875 | 75.285 | 89.9798
2020-05-22 03:45:00 | 12.464 | 254.973 | 14.577 | 273.356 | 15.105 | 276.567 | 15.786 | 271.433 | 11.228 | 889.725 | 78.779 | 91.3945
2020-05-22 04:00:00 | 11.207 | 258.327 | 12.691 | 269.037 | 13.519 | 272.8 | 13.999 | 267.433 | 11.399 | 889.775 | 78.096 | 90.5553
2020-05-22 04:15:00 | 10.124 | 257.12 | 12.146 | 264.437 | 12.532 | 267.617 | 12.774 | 264.233 | 11.603 | 890.267 | 78.197 | 89.9641
2020-05-22 04:30:00 | 10.853 | 264.46 | 12.325 | 270.481 | 13.018 | 273.067 | 13.775 | 270.267 | 11.403 | 890.208 | 77.115 | 91.2815
2020-05-22 04:45:00 | 12.666 | 264.953 | 14.465 | 269.787 | 15.092 | 273.267 | 15.588 | 267.667 | 11.403 | 890.142 | 76.256 | 91.1543
2020-05-22 05:00:00 | 12.716 | 259.507 | 14.363 | 268.807 | 15.047 | 273.067 | 15.531 | 267 | 11.553 | 890.167 | 78.72 | 91.4855
2020-05-22 05:15:00 | 11.45 | 267.24 | 13.16 | 271.275 | 13.877 | 274.767 | 14.21 | 267.767 | 11.761 | 889.958 | 78.469 | 90.7898
2020-05-22 05:30:00 | 11.267 | 268.553 | 13.102 | 270.36 | 13.917 | 275.333 | 14.292 | 270.1 | 11.699 | 890.342 | 76.608 | 90.5482
2020-05-22 05:45:00 | 12.01 | 265.073 | 13.992 | 272.107 | 14.883 | 276.133 | 15.426 | 270.733 | 11.607 | 889.558 | 76.059 | 91.4066
2020-05-22 06:00:00 | 10.831 | 268.933 | 13.029 | 273.992 | 14.171 | 278.133 | 14.824 | 272.633 | 11.674 | 890.017 | 77.733 | 91.4378
2020-05-22 06:15:00 | 11.291 | 264.653 | 13.288 | 267.524 | 13.965 | 272.967 | 14.445 | 266.133 | 11.211 | 889.75 | 79.093 | 91.1259
2020-05-22 06:30:00 | 11.34 | 264 | 13.22 | 266.276 | 14.279 | 270.7 | 14.828 | 266.833 | 10.961 | 889.75 | 81.045 | 90.5489
2020-05-22 06:45:00 | 9.611 | 263.647 | 11.083 | 263.806 | 11.818 | 271.8 | 12.122 | 267.6 | 11.328 | 890.1 | 80.64 | 84.7109
2020-05-22 07:00:00 | 10.413 | 268.427 | 12.013 | 269.547 | 12.683 | 274.8 | 13.36 | 270.667 | 11.028 | 889.979 | 84.117 | 75.5645
2020-05-22 07:15:00 | 8.763 | 274.773 | 10.47 | 277.204 | 11.446 | 280.133 | 12.066 | 273.517 | 11.195 | 889.875 | 83.328 | 67.3958
2020-05-22 07:30:00 | 9.306 | 277.42 | 10.5 | 277.172 | 11.04 | 281.9 | 11.566 | 277.933 | 11.549 | 889.608 | 77.915 | 65.4141
2020-05-22 07:45:00 | 8.946 | 277.853 | 10.073 | 279.363 | 10.403 | 281.533 | 10.753 | 278.367 | 11.895 | 889.867 | 75.376 | 70.7035
2020-05-22 08:00:00 | 9.167 | 279.707 | 10.158 | 279.99 | 10.337 | 286.033 | 11.115 | 283.167 | 12.249 | 889.875 | 74.699 | 81.5858
2020-05-22 08:15:00 | 10.289 | 285.84 | 11.52 | 284.597 | 11.914 | 287.467 | 12.457 | 285.167 | 12.045 | 889.908 | 74.784 | 86.6138
2020-05-22 08:30:00 | 10.395 | 287.907 | 11.867 | 282.23 | 12.247 | 287.633 | 12.849 | 284.333 | 11.878 | 889.883 | 74.235 | 86.5278
2020-05-22 08:45:00 | 10.853 | 284.2 | 12.342 | 280.939 | 13.096 | 283.4 | 13.66 | 281.6 | 12.028 | 889.983 | 73.707 | 89.4355
2020-05-22 09:00:00 | 11.75 | 281.867 | 13.171 | 276.618 | 13.876 | 282.133 | 14.534 | 276.967 | 12.303 | 889.825 | 71.861 | 90.6847
2020-05-22 09:15:00 | 12.051 | 279.733 | 13.827 | 280.416 | 14.216 | 285.033 | 14.789 | 281.967 | 12.724 | 890.392 | 69.531 | 91.2481
2020-05-22 09:30:00 | 12.438 | 285.08 | 13.586 | 280.981 | 13.929 | 284.3 | 14.641 | 281.533 | 12.895 | 889.892 | 68.8 | 91.0293
2020-05-22 09:45:00 | 10.267 | 290.08 | 11.458 | 284.534 | 11.849 | 289.7 | 12.416 | 287.767 | 12.818 | 889.8 | 68.608 | 88.467
2020-05-22 10:00:00 | 11.444 | 290.36 | 12.69 | 284.83 | 13.158 | 289.4 | 13.616 | 286 | 12.966 | 889.767 | 68.256 | 90.5269
2020-05-22 10:15:00 | 12.963 | 284.44 | 14.723 | 280.907 | 15.297 | 282.667 | 15.851 | 280.567 | 13.153 | 889.825 | 67.36 | 92.3261
2020-05-22 10:30:00 | 12.016 | 287.253 | 13.177 | 281.933 | 13.721 | 286.767 | 14.118 | 285.033 | 12.947 | 890.15 | 67.323 | 91.8926
2020-05-22 10:45:00 | 11.857 | 278.24 | 12.487 | 276.1 | 13.046 | 278.8 | 13.327 | 276.533 | 13.087 | 890 | 69.36 | 91.3405
2020-05-22 11:00:00 | 12.092 | 298.28 | 13.483 | 294.082 | 14.197 | 297.467 | 14.753 | 294.7 | 12.557 | 889.817 | 73.013 | 72.7933
2020-05-22 11:15:00 | 12.568 | 283.187 | 13.894 | 279.985 | 14.452 | 284.167 | 14.96 | 279.067 | 12.543 | 890.067 | 69.984 | 72.8004
2020-05-22 11:30:00 | 12.657 | 287.573 | 14.502 | 283.638 | 14.559 | 286.867 | 15.228 | 285.167 | 12.709 | 889.942 | 65.963 | 87.4423
2020-05-22 11:45:00 | 12.707 | 287.307 | 14.22 | 284.825 | 14.827 | 288.533 | 15.673 | 285.533 | 12.549 | 889.933 | 66.971 | 92.309
2020-05-22 12:00:00 | 12.516 | 289.213 | 13.691 | 283.344 | 14.555 | 288.867 | 14.936 | 286.067 | 12.69 | 889.95 | 65.04 | 92.0624
2020-05-22 12:15:00 | 14.536 | 292.347 | 16.603 | 289.139 | 16.926 | 292.833 | 17.135 | 289.7 | 13.039 | 890.017 | 66.427 | 92.4227
2020-05-22 12:30:00 | 13.946 | 284.4 | 16.193 | 281.955 | 16.558 | 285.167 | 17.365 | 283.267 | 12.57 | 890.033 | 65.445 | 91.688
2020-05-22 12:45:00 | 13.378 | 285.493 | 14.668 | 282.976 | 14.997 | 286.9 | 15.266 | 285.1 | 12.855 | 889.842 | 61.6 | 80.9328
2020-05-22 13:00:00 | 15.823 | 293.173 | 17.137 | 288.239 | 17.502 | 291.9 | 18.132 | 289.633 | 13.604 | 890.1 | 61.333 | 66.5282
2020-05-22 13:15:00 | 13.457 | 282.08 | 15.347 | 281.078 | 16.04 | 282.533 | 16.719 | 279.733 | 12.701 | 889.667 | 65.44 | 58.4626
2020-05-22 13:30:00 | 15.959 | 278.74 | 17.855 | 277.586 | 18.488 | 282.5 | 19.39 | 277.767 | 12.818 | 890.067 | 61.568 | 54.5047
2020-05-22 13:45:00 | 15.442 | 287.84 | 17.752 | 286.687 | 18.34 | 288.667 | 19.299 | 288.3 | 13.112 | 890.033 | 61.765 | 63.1623
2020-05-22 14:00:00 | 16.837 | 297.4 | 19.169 | 293.225 | 19.808 | 298.4 | 20.678 | 295.133 | 13.084 | 889.433 | 62.293 | 67.0555
2020-05-22 14:15:00 | 14.455 | 294.093 | 15.878 | 292.531 | 16.361 | 299.067 | 17.146 | 296.733 | 12.939 | 889.792 | 62.896 | 63.5836
2020-05-22 14:30:00 | 14.147 | 295.12 | 15.724 | 293.87 | 16.383 | 298.333 | 17.188 | 295.933 | 13.091 | 889.817 | 60.933 | 60.708
2020-05-22 14:45:00 | 14.369 | 283.88 | 15.938 | 281.663 | 16.54 | 285.433 | 17.403 | 282.333 | 13.512 | 890.158 | 59.099 | 40.1953
2020-05-22 15:00:00 | 12.782 | 295.08 | 14.052 | 287.119 | 14.317 | 289.8 | 14.667 | 288.633 | 14.137 | 889.533 | 53.456 | 53.2193
2020-05-22 15:15:00 | 14.572 | 299.027 | 16.08 | 297.149 | 16.725 | 301.267 | 17.075 | 298.767 | 14.537 | 889.675 | 50.048 | 60.3662
2020-05-22 15:30:00 | 13.452 | 309.267 | 15.105 | 304.446 | 15.514 | 309.8 | 16.392 | 306.967 | 14.658 | 889.675 | 51.723 | 59.7267
2020-05-22 15:45:00 | 12.199 | 301 | 13.431 | 298.846 | 14.105 | 302.9 | 14.823 | 300.433 | 14.591 | 890.15 | 52.619 | 57.2056
2020-05-22 16:00:00 | 12.058 | 300.333 | 13.508 | 298.458 | 14.136 | 301.967 | 14.85 | 300.4 | 14.941 | 890.158 | 52.715 | 53.6471
2020-05-22 16:15:00 | 8.873 | 324.493 | 9.551 | 317.996 | 9.993 | 322.533 | 10.549 | 319.433 | 13.683 | 889.883 | 61.424 | 50.9888
2020-05-22 16:30:00 | 11.013 | 304.933 | 11.971 | 301.576 | 12.498 | 308.467 | 13.01 | 306.567 | 14.674 | 889.992 | 55.013 | 50.9334
2020-05-22 16:45:00 | 11.923 | 321.453 | 12.84 | 315.288 | 13.4 | 320.233 | 13.728 | 319.867 | 15.238 | 889.417 | 53.291 | 50.8929
2020-05-22 17:00:00 | 10.778 | 321.893 | 11.601 | 314.967 | 12.213 | 318.767 | 13.075 | 318.633 | 15.45 | 889.858 | 51.845 | 50.6506
2020-05-22 17:15:00 | 11.829 | 314.547 | 12.724 | 310.301 | 12.812 | 315.6 | 13.394 | 313.333 | 15.754 | 889.992 | 47.36 | 50.0189
2020-05-22 17:30:00 | 11.823 | 313.867 | 12.631 | 308.612 | 13.042 | 312.367 | 13.593 | 310.967 | 16.248 | 890.117 | 42.283 | 47.0516
2020-05-22 17:45:00 | 12.038 | 317.067 | 12.803 | 311.624 | 13.182 | 318.4 | 13.597 | 316.667 | 16.981 | 889.967 | 39.637 | 41.5447
2020-05-22 18:00:00 | 11.25 | 327.413 | 11.808 | 321.668 | 12.132 | 326.067 | 12.161 | 325.933 | 16.981 | 889.783 | 41.856 | 38.507
2020-05-22 18:15:00 | 10.168 | 333.96 | 10.716 | 326.803 | 11.093 | 330.1 | 11.209 | 329.233 | 16.464 | 890.342 | 43.253 | 39.2268
2020-05-22 18:30:00 | 10.49 | 331.36 | 11.162 | 326.938 | 11.622 | 330.833 | 11.854 | 329.867 | 16.814 | 889.983 | 43.803 | 45.9893
2020-05-22 18:45:00 | 9.911 | 320.933 | 10.588 | 318.735 | 11.062 | 323.1 | 11.309 | 322.6 | 16.398 | 889.692 | 45.109 | 60.6504
2020-05-22 19:00:00 | 9.167 | 330.947 | 9.757 | 326.595 | 10.097 | 331.233 | 10.369 | 330 | 16.464 | 889.8 | 43.856 | 67.7554
2020-05-22 19:15:00 | 9.153 | 323.933 | 9.385 | 318.95 | 9.6 | 323.833 | 9.95 | 322.767 | 16.714 | 889.983 | 44.336 | 60.3321
2020-05-22 19:30:00 | 7.63 | 319.8 | 8.111 | 313.692 | 8.452 | 319.333 | 8.901 | 318.167 | 16.348 | 890.267 | 45.301 | 39.4293
2020-05-22 19:45:00 | 6.479 | 322.667 | 6.766 | 316.911 | 7.124 | 321.767 | 7.509 | 321.633 | 16.393 | 890.267 | 45.947 | 31.6373
2020-05-22 20:00:00 | 6.379 | 318.187 | 6.991 | 315.123 | 7.253 | 318.967 | 7.157 | 320.633 | 15.908 | 889.617 | 47.584 | 21.2516
2020-05-22 20:15:00 | 5.398 | 300.48 | 5.31 | 299.894 | 5.43 | 305.067 | 5.63 | 304.5 | 15.887 | 890.2 | 48.789 | 11.8658
2020-05-22 20:30:00 | 4.127 | 321.933 | 4.353 | 318.932 | 4.411 | 321.267 | 4.53 | 316.9 | 16.314 | 889.692 | 47.653 | 8.9894
2020-05-22 20:45:00 | 4.482 | 312.693 | 4.466 | 307.923 | 4.914 | 310.667 | 5.189 | 308.867 | 15.773 | 890 | 48.869 | 7.5817
2020-05-22 21:00:00 | 4.232 | 306.147 | 4.63 | 299.089 | 5.001 | 303.733 | 5.31 | 302.833 | 15.407 | 890.217 | 51.216 | 7.0964
2020-05-22 21:15:00 | 3.354 | 297 | 3.937 | 296.22 | 4.276 | 301.967 | 4.804 | 298.4 | 14.908 | 890.117 | 53.835 | 5.6732
2020-05-22 21:30:00 | 3.699 | 285.733 | 4.145 | 285.991 | 4.363 | 290.633 | 4.876 | 288.033 | 14.724 | 889.85 | 54.656 | 4.058
2020-05-22 21:45:00 | 2.488 | 282.213 | 2.912 | 283.571 | 3.308 | 289.8 | 3.638 | 287.967 | 14.628 | 889.733 | 56.08 | 2.0592
2020-05-22 22:00:00 | 3.107 | 245.36 | 3.33 | 256.73 | 3.629 | 268.067 | 3.906 | 266.333 | 14.087 | 890.225 | 57.333 | 1.5249
2020-05-22 22:15:00 | 3.262 | 244.253 | 3.199 | 251.395 | 3.629 | 262.333 | 3.908 | 259.817 | 13.741 | 889.6 | 59.083 | 1.0865
2020-05-22 22:30:00 | 3.302 | 236.293 | 3.124 | 250.44 | 3.041 | 258.067 | 3.166 | 259 | 13.074 | 889.825 | 62.24 | 0.70844
2020-05-22 22:45:00 | 2.731 | 227.213 | 2.898 | 246.34 | 2.838 | 258 | 2.702 | 258.033 | 12.739 | 890.183 | 65.269 | 0.41142
2020-05-22 23:00:00 | 2.369 | 239.6 | 2.604 | 254.53 | 2.623 | 258 | 2.752 | 258 | 12.614 | 889.717 | 65.835 | 1.203
2020-05-22 23:15:00 | 3.14 | 240.313 | 2.928 | 246.145 | 3.252 | 255.4 | 3.39 | 258.233 | 13.032 | 890.233 | 64.565 | 2.3243
2020-05-22 23:30:00 | 3.275 | 227.38 | 4.121 | 238.485 | 3.83 | 249.633 | 3.752 | 247.233 | 13.614 | 890.083 | 64.832 | 3.135
2020-05-22 23:45:00 | 3.824 | 215.673 | 4.391 | 220.112 | 4.548 | 229.033 | 4.351 | 231.333 | 12.945 | 889.883 | 63.467 | 7.2599