## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-23 00:00:00 | 4.482 | 217.387 | 5.198 | 230.081 | 5.209 | 237.967 | 5.037 | 236.1 | 12.816 | 889.975 | 62.944 | 11.4515
2020-05-23 00:15:00 | 4.716 | 220.913 | 5.825 | 230.993 | 6.068 | 240.033 | 6.197 | 236.567 | 13.633 | 890.083 | 59.36 | 14.4366
2020-05-23 00:30:00 | 4.999 | 225.98 | 5.969 | 234.254 | 6.273 | 243.033 | 6.272 | 238.9 | 14.466 | 889.467 | 58.091 | 19.9648
2020-05-23 00:45:00 | 5.272 | 229.273 | 5.917 | 233.91 | 6.164 | 242.367 | 6.137 | 238.133 | 14.408 | 889.383 | 56.757 | 21.4215
2020-05-23 01:00:00 | 5.355 | 232.767 | 6.519 | 236.919 | 6.805 | 245.133 | 6.844 | 241.6 | 14.708 | 889.9 | 55.925 | 28.1157
2020-05-23 01:15:00 | 5.237 | 232.127 | 6.205 | 235.249 | 6.652 | 244.167 | 6.598 | 240.567 | 14.649 | 889.775 | 55.051 | 31.4269
2020-05-23 01:30:00 | 5.959 | 229.08 | 6.877 | 234.46 | 7.157 | 245.4 | 7.152 | 244.233 | 14.245 | 889.875 | 55.413 | 34.8384
2020-05-23 01:45:00 | 5.821 | 237.62 | 7.155 | 244.29 | 7.478 | 255.833 | 7.873 | 253.9 | 13.828 | 889.942 | 53.984 | 39.2467
2020-05-23 02:00:00 | 5.437 | 244.76 | 6.366 | 252.234 | 7.217 | 264 | 7.991 | 262.217 | 13.67 | 890.092 | 53.035 | 39.9026
2020-05-23 02:15:00 | 6.551 | 258.06 | 8.092 | 262.016 | 8.7 | 269.5 | 9.354 | 266.533 | 14.149 | 889.967 | 48.789 | 51.7477
2020-05-23 02:30:00 | 8.093 | 258.94 | 9.585 | 258.764 | 10.109 | 266.833 | 10.556 | 263.133 | 14.924 | 890.067 | 45.835 | 60.7741
2020-05-23 02:45:00 | 6.89 | 254.547 | 8.609 | 258.748 | 9.316 | 264.933 | 9.699 | 261.167 | 14.841 | 889.783 | 45.856 | 58.1983
2020-05-23 03:00:00 | 5.97 | 251.24 | 7.76 | 252.198 | 8.656 | 260.4 | 9.191 | 258.083 | 14.483 | 889.95 | 47.899 | 56.7352
2020-05-23 03:15:00 | 6.803 | 247.547 | 8.264 | 252.247 | 9.011 | 261.733 | 9.147 | 261.617 | 14.245 | 890.025 | 48.325 | 54.4735
2020-05-23 03:30:00 | 6.328 | 242.913 | 8.005 | 244.433 | 8.362 | 254.1 | 8.572 | 252.833 | 13.804 | 889.95 | 50.091 | 50.9626
2020-05-23 03:45:00 | 5.622 | 247.427 | 7.378 | 246.734 | 7.981 | 255.467 | 8.012 | 255.8 | 13.556 | 890.142 | 51.525 | 43.9848
2020-05-23 04:00:00 | 5.355 | 253.353 | 6.83 | 254.606 | 7.443 | 264 | 7.811 | 264.617 | 13.424 | 890.125 | 52.261 | 31.5662
2020-05-23 04:15:00 | 2.961 | 337.68 | 3.485 | 326.602 | 3.836 | 330.133 | 4.162 | 324.3 | 13.949 | 889.45 | 51.456 | 12.7284
2020-05-23 04:30:00 | 2.91 | 266.127 | 3.58 | 278.938 | 3.89 | 289.667 | 4.324 | 286.067 | 14.454 | 889.85 | 49.509 | 6.6651
2020-05-23 04:45:00 | 4.06 | 280.48 | 4.908 | 283.777 | 5.47 | 290 | 6.006 | 289.367 | 14.549 | 889.875 | 48.603 | 6.1421
2020-05-23 05:00:00 | 4.539 | 264.467 | 5.309 | 270.761 | 6.046 | 275.333 | 6.584 | 268.65 | 14.424 | 889.958 | 48.885 | 8.7187
2020-05-23 05:15:00 | 4.227 | 249.847 | 5.134 | 260.123 | 5.942 | 269.867 | 6.394 | 269.167 | 13.828 | 889.958 | 50.144 | 13.3096
2020-05-23 05:30:00 | 4.728 | 248.207 | 5.562 | 256.415 | 6.415 | 265.3 | 7.055 | 263.1 | 13.076 | 889.958 | 51.643 | 21.4911
2020-05-23 05:45:00 | 4.42 | 250.233 | 6.056 | 257.526 | 6.951 | 267.2 | 7.34 | 266.267 | 12.497 | 889.958 | 53.557 | 28.5818
2020-05-23 06:00:00 | 6.006 | 259.68 | 7.732 | 261.917 | 8.378 | 268.3 | 8.641 | 264.133 | 12.078 | 889.508 | 54.032 | 36.7079
2020-05-23 06:15:00 | 5.639 | 246.913 | 7.072 | 252.046 | 7.51 | 258.933 | 7.832 | 258.617 | 12.545 | 889.808 | 53.243 | 40.7851
2020-05-23 06:30:00 | 6.138 | 243.367 | 7.408 | 247.767 | 7.871 | 259 | 8.186 | 257.4 | 12.128 | 890.075 | 53.141 | 43.1065
2020-05-23 06:45:00 | 6.097 | 232.98 | 7.112 | 238.124 | 7.366 | 251.5 | 7.573 | 252.133 | 12.343 | 889.858 | 52.139 | 40.8569
2020-05-23 07:00:00 | 6.201 | 232.073 | 6.992 | 238.227 | 7.147 | 250.267 | 7.13 | 250.65 | 12.834 | 889.5 | 49.301 | 36.7605
2020-05-23 07:15:00 | 6.105 | 235.567 | 6.965 | 236.625 | 7.357 | 244.433 | 7.151 | 242.667 | 13.87 | 890.233 | 45.056 | 39.2794
2020-05-23 07:30:00 | 6.15 | 239.133 | 7.073 | 238.768 | 7.563 | 245.833 | 7.458 | 242.6 | 14.908 | 889.625 | 41.472 | 39.8265
2020-05-23 07:45:00 | 6.375 | 238.787 | 7.106 | 238.601 | 7.503 | 245.833 | 7.52 | 242.333 | 15.799 | 890.117 | 39.227 | 37.8895
2020-05-23 08:00:00 | 5.806 | 250.52 | 6.397 | 247.289 | 6.674 | 253.15 | 6.717 | 249.783 | 16.998 | 889.9 | 36.523 | 30.3717
2020-05-23 08:15:00 | 5.772 | 253.053 | 5.999 | 252.426 | 6.313 | 256.65 | 6.348 | 250.933 | 17.644 | 889.767 | 34.179 | 25.4696
2020-05-23 08:30:00 | 6.266 | 266.06 | 6.52 | 263.12 | 6.664 | 266.933 | 6.653 | 261.583 | 17.694 | 889.667 | 34.088 | 23.0842
2020-05-23 08:45:00 | 5.692 | 258.733 | 6.153 | 259.154 | 6.212 | 263.533 | 6.154 | 259.483 | 18.439 | 889.817 | 33.459 | 21.2751
2020-05-23 09:00:00 | 6.164 | 277.553 | 6.553 | 276.321 | 6.376 | 281.367 | 6.631 | 277.533 | 18.502 | 889.833 | 33.029 | 20.61
2020-05-23 09:15:00 | 6.648 | 269.947 | 6.834 | 266.781 | 6.922 | 273.15 | 6.99 | 268.8 | 18.677 | 890.033 | 33.443 | 22.2834
2020-05-23 09:30:00 | 6.503 | 263.067 | 6.974 | 262.119 | 7.193 | 266.567 | 7.004 | 263.467 | 18.673 | 889.733 | 32.536 | 24.4634
2020-05-23 09:45:00 | 6.204 | 266.373 | 6.692 | 266.018 | 6.976 | 269.65 | 7.04 | 265.3 | 18.877 | 889.6 | 31.299 | 20.2973
2020-05-23 10:00:00 | 4.917 | 300.747 | 5.101 | 291.085 | 5.408 | 296.767 | 5.771 | 292.9 | 19.177 | 889.533 | 30.232 | 17.4934
2020-05-23 10:15:00 | 7.447 | 305.347 | 7.503 | 298.895 | 7.512 | 302.333 | 7.761 | 300.267 | 19.856 | 889.867 | 28.648 | 26.7848
2020-05-23 10:30:00 | 6.574 | 318.84 | 6.544 | 310.513 | 6.94 | 315.833 | 6.875 | 314.133 | 20.277 | 889.633 | 28.059 | 32.7237
2020-05-23 10:45:00 | 7.284 | 289.627 | 7.58 | 289.15 | 7.636 | 295.767 | 8.062 | 295.633 | 20.248 | 889.633 | 26.893 | 38.5006
2020-05-23 11:00:00 | 8.48 | 324.24 | 8.761 | 317.374 | 8.906 | 321.133 | 9.474 | 321.567 | 20.802 | 889.7 | 25.629 | 53.4332
2020-05-23 11:15:00 | 7.709 | 295.453 | 8.079 | 292.086 | 8.363 | 298.133 | 8.544 | 296.5 | 20.748 | 889.867 | 25.651 | 50.6179
2020-05-23 11:30:00 | 9.541 | 313.227 | 10.068 | 309.521 | 10.575 | 314 | 10.994 | 312.933 | 21.114 | 889.9 | 25.467 | 50.3543
2020-05-23 11:45:00 | 9.475 | 306.867 | 9.647 | 302.437 | 9.975 | 309.6 | 10.469 | 310.067 | 21.431 | 889.933 | 24.664 | 45.0535
2020-05-23 12:00:00 | 12.172 | 306.107 | 12.774 | 300.842 | 13.41 | 306.467 | 14.05 | 305.033 | 21.639 | 890.017 | 23.453 | 38.2093
2020-05-23 12:15:00 | 10.766 | 305.227 | 10.933 | 302.244 | 11.517 | 306.467 | 11.879 | 305.1 | 21.677 | 889.467 | 23.008 | 39.5508
2020-05-23 12:30:00 | 10.931 | 305.653 | 11.451 | 301.404 | 11.884 | 304.8 | 12.322 | 303.267 | 21.906 | 889.617 | 23.232 | 45.1196
2020-05-23 12:45:00 | 11.747 | 292.6 | 12.424 | 289.722 | 12.761 | 295.733 | 13.069 | 294.633 | 21.618 | 889.667 | 23.696 | 47.4573
2020-05-23 13:00:00 | 11.043 | 309.24 | 11.555 | 303.53 | 11.881 | 305.167 | 12.268 | 302.233 | 22.148 | 889.5 | 22.237 | 46.729
2020-05-23 13:15:00 | 11.989 | 318.107 | 12.265 | 312.411 | 12.701 | 315.767 | 13.193 | 314.133 | 22.368 | 889.7 | 21.528 | 47.8169
2020-05-23 13:30:00 | 9.547 | 318.067 | 9.945 | 314.703 | 10.532 | 318.933 | 10.884 | 313.133 | 22.448 | 889.517 | 21.141 | 48.7669
2020-05-23 13:45:00 | 11.101 | 288.773 | 11.451 | 289.183 | 11.585 | 291.433 | 12.136 | 290.167 | 22.302 | 890.083 | 21.605 | 47.2783
2020-05-23 14:00:00 | 11.113 | 326.453 | 11.632 | 321.477 | 11.887 | 327.8 | 12.211 | 327.433 | 22.144 | 890.083 | 22.251 | 44.7224
2020-05-23 14:15:00 | 10.385 | 335.027 | 10.867 | 328.278 | 11.27 | 333.267 | 11.662 | 330.5 | 22.156 | 889.45 | 21.752 | 45.7136
2020-05-23 14:30:00 | 7.985 | 49.401 | 8.515 | 188.216 | 8.704 | 116.433 | 8.925 | 223.933 | 22.135 | 889.433 | 22.64 | 33.8571
2020-05-23 14:45:00 | 8.573 | 320.067 | 9.071 | 309.145 | 9.147 | 311.933 | 9.545 | 307.7 | 23.014 | 889.517 | 20.211 | 27.9132
2020-05-23 15:00:00 | 9.946 | 325.067 | 10.595 | 320.761 | 10.621 | 325.533 | 10.583 | 324.667 | 22.981 | 889.667 | 19.743 | 46.4995
2020-05-23 15:15:00 | 8.879 | 318.507 | 8.839 | 314.016 | 9.251 | 320.367 | 9.371 | 320.3 | 22.681 | 889.933 | 20.615 | 48.4876
2020-05-23 15:30:00 | 7.978 | 321.427 | 8.902 | 285.353 | 9.16 | 265.336 | 9.554 | 268.267 | 22.285 | 889.9 | 23.259 | 44.2235
2020-05-23 15:45:00 | 13.052 | 310.693 | 14.013 | 340.048 | 14.804 | 344.6 | 14.824 | 344.367 | 22.131 | 889.883 | 24.475 | 46.9422
2020-05-23 16:00:00 | 8.745 | 118.444 | 9.658 | 231.6 | 9.921 | 164.333 | 9.864 | 223.433 | 20.735 | 890.2 | 26.368 | 45.4315
2020-05-23 16:15:00 | 11.381 | 274.813 | 12.297 | 342.602 | 12.649 | 277.2 | 13.222 | 322.233 | 20.473 | 890.117 | 30.101 | 43.1541
2020-05-23 16:30:00 | 8.522 | 342.173 | 8.646 | 335.81 | 8.654 | 330.6 | 8.868 | 330.133 | 20.127 | 889.95 | 28.411 | 40.5577
2020-05-23 16:45:00 | 8.28 | 341.573 | 8.557 | 335.534 | 8.695 | 340.267 | 9.141 | 340.5 | 21.027 | 889.65 | 25.611 | 46.2245
2020-05-23 17:00:00 | 7.571 | 321.107 | 8.17 | 327.076 | 8.431 | 330 | 8.724 | 331.133 | 20.973 | 889.383 | 24.456 | 38.5994
2020-05-23 17:15:00 | 10.194 | 342.173 | 11.027 | 336.63 | 11.426 | 329.033 | 11.554 | 340.7 | 21.877 | 889.317 | 21.517 | 59.9157
2020-05-23 17:30:00 | 10.575 | 340.533 | 11.312 | 332.994 | 11.82 | 338 | 11.935 | 337.433 | 21.223 | 889.733 | 25.773 | 59.1618
2020-05-23 17:45:00 | 11.392 | 333.053 | 12.138 | 328.174 | 12.611 | 332.533 | 12.602 | 333.633 | 20.156 | 890 | 26.203 | 59.559
2020-05-23 18:00:00 | 11.337 | 342.413 | 11.946 | 337.284 | 12.328 | 341.967 | 12.56 | 341 | 20.298 | 889.833 | 26.635 | 64.5216
2020-05-23 18:15:00 | 7.14 | 334.12 | 7.56 | 327.526 | 7.797 | 331.867 | 7.956 | 328.933 | 19.914 | 889.733 | 26.064 | 38.7337
2020-05-23 18:30:00 | 10.406 | 344.213 | 10.489 | 339.176 | 10.744 | 343.6 | 10.789 | 341 | 21.339 | 889.933 | 24.307 | 57.4408
2020-05-23 18:45:00 | 7.233 | 323.307 | 7.595 | 329.562 | 8.005 | 336.767 | 8.148 | 336.667 | 21.11 | 889.417 | 24.648 | 42.413
2020-05-23 19:00:00 | 6.499 | 206.972 | 7.036 | 259.955 | 6.978 | 232.2 | 7.255 | 272.967 | 20.527 | 890.217 | 23.8 | 23.4139
2020-05-23 19:15:00 | 4.334 | 323.947 | 4.611 | 316.955 | 4.68 | 319.133 | 4.981 | 316.6 | 20.673 | 889.767 | 23.872 | 10.4098
2020-05-23 19:30:00 | 4.934 | 327.053 | 5.238 | 333.092 | 5.207 | 325.1 | 5.248 | 328.6 | 21.298 | 889.817 | 23.283 | 11.8785
2020-05-23 19:45:00 | 5.9 | 314.707 | 6.416 | 333.012 | 6.518 | 348.233 | 6.879 | 334.133 | 20.806 | 889.95 | 24.923 | 21.8393
2020-05-23 20:00:00 | 5.321 | 151.468 | 5.883 | 222.709 | 6.01 | 152.467 | 6.35 | 151.733 | 20.752 | 889.85 | 25.589 | 17.1886
2020-05-23 20:15:00 | 5.589 | 123.544 | 6.076 | 98.376 | 6.431 | 71.603 | 6.547 | 67.2 | 20.485 | 889.317 | 26.08 | 16.849
2020-05-23 20:30:00 | 7.067 | 17.644 | 7.175 | 12.578 | 7.322 | 14.733 | 7.302 | 12 | 19.968 | 889.8 | 27.627 | 16.5718
2020-05-23 20:45:00 | 3.401 | 210.459 | 3.604 | 249.983 | 3.849 | 238.4 | 4.433 | 284.667 | 20.023 | 889.45 | 26.949 | 2.1551
2020-05-23 21:00:00 | 2.316 | 301.387 | 2.168 | 292.31 | 2.38 | 292.5 | 2.789 | 295.733 | 19.948 | 889.183 | 27.488 | 0.45903
2020-05-23 21:15:00 | 1.879 | 12.877 | 2.042 | 17.279 | 2.124 | 20.633 | 2.81 | 20.067 | 19.331 | 889.75 | 29.259 | 3.4669
2020-05-23 21:30:00 | 3.74 | 77 | 4.066 | 72.329 | 4.115 | 77.367 | 4.284 | 72.567 | 18.739 | 890.017 | 34.747 | 3.9678
2020-05-23 21:45:00 | 3.43 | 94.33 | 3.398 | 88.596 | 2.903 | 93.7 | 3.478 | 86.633 | 18.085 | 889.817 | 36.048 | 5.9503
2020-05-23 22:00:00 | 3.531 | 98.653 | 3.339 | 93.304 | 2.859 | 98.133 | 3.141 | 91.8 | 17.706 | 889.867 | 37.525 | 22.6792
2020-05-23 22:15:00 | 4.992 | 110.88 | 5.598 | 107.739 | 5.528 | 110.433 | 5.415 | 103.633 | 16.698 | 889.85 | 40.805 | 24.7739
2020-05-23 22:30:00 | 4.804 | 116.907 | 5.368 | 110.739 | 5.832 | 116.067 | 6.181 | 112.867 | 16.279 | 890.183 | 42.944 | 18.9181
2020-05-23 22:45:00 | 3.849 | 123.667 | 4.609 | 120.03 | 4.465 | 124.667 | 4.574 | 123.167 | 15.918 | 890.317 | 44.021 | 13.8703
2020-05-23 23:00:00 | 4.262 | 118.773 | 4.895 | 115.697 | 5.119 | 120.167 | 5.239 | 116.867 | 15.6 | 889.992 | 45.035 | 15.506
2020-05-23 23:15:00 | 4.196 | 115.633 | 4.954 | 110.382 | 5.306 | 114.5 | 5.739 | 111.233 | 15.868 | 889.675 | 46.208 | 13.3956
2020-05-23 23:30:00 | 3.775 | 118.687 | 4.711 | 112.987 | 5.211 | 118.667 | 5.748 | 113.933 | 15.547 | 890.15 | 46.645 | 12.0711
2020-05-23 23:45:00 | 3.424 | 122.807 | 4.431 | 115.135 | 5.088 | 117.867 | 5.493 | 112.8 | 15.248 | 890.308 | 46.965 | 12.9288