## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-24 00:00:00 | 3.676 | 121.88 | 4.577 | 115.741 | 4.866 | 121.7 | 5.104 | 119.333 | 15.535 | 889.908 | 46.944 | 13.2172
2020-05-24 00:15:00 | 3.522 | 141.707 | 3.596 | 134.01 | 3.24 | 138.3 | 3.644 | 136.933 | 15.134 | 889.667 | 47.68 | 11.6156
2020-05-24 00:30:00 | 3.976 | 154.933 | 4.632 | 146.169 | 4.731 | 150.967 | 5.378 | 145.767 | 14.874 | 889.85 | 48.085 | 14.212
2020-05-24 00:45:00 | 4.025 | 177.033 | 4.562 | 166.17 | 4.53 | 167.833 | 4.73 | 160.1 | 14.708 | 889.908 | 47.627 | 8.5716
2020-05-24 01:00:00 | 4.06 | 203.873 | 4.585 | 181.287 | 4.393 | 179.7 | 4.444 | 170.767 | 14.241 | 889.533 | 49.483 | 2.0564
2020-05-24 01:15:00 | 4.493 | 206.767 | 4.886 | 188.565 | 5.129 | 190.033 | 5.322 | 180.967 | 13.018 | 890.192 | 51.605 | 2.4166
2020-05-24 01:30:00 | 5.14 | 210.173 | 5.258 | 193.159 | 5.026 | 194.567 | 5.11 | 185.4 | 12.895 | 889.75 | 52.021 | 2.9922
2020-05-24 01:45:00 | 4.479 | 214.98 | 4.805 | 200.994 | 4.141 | 202.033 | 3.786 | 188 | 12.586 | 890.208 | 52.747 | 0.3631
2020-05-24 02:00:00 | 2.866 | 58.633 | 2.605 | 52.919 | 2.591 | 55.467 | 2.865 | 54.567 | 12.705 | 889.642 | 52.971 | 0.25296
2020-05-24 02:15:00 | 0.11 | 52.145 | 0.786 | 99.366 | 0.995 | 80.033 | 1.837 | 69.933 | 13.093 | 889.675 | 51.413 | 0.22596
2020-05-24 02:30:00 | 1.802 | 204.067 | 0.453 | 104.156 | 0 | 92.867 | 0.904 | 76 | 12.353 | 889.425 | 52.981 | 0.18333
2020-05-24 02:45:00 | 1.151 | 204.34 | 0 | 171.476 | 0 | 159.067 | 0 | 76 | 12.684 | 889.65 | 53.195 | 0.16911
2020-05-24 03:00:00 | 2.439 | 234.2 | 0 | 171.478 | 0 | 159 | 0.289 | 76 | 12.514 | 890 | 54.848 | 0.15917
2020-05-24 03:15:00 | 3.538 | 237.367 | 0.939 | 216.481 | 0 | 159.067 | 0.755 | 76 | 12.461 | 890.217 | 54.688 | 0.16627
2020-05-24 03:30:00 | 4.31 | 230.553 | 1.943 | 223.44 | 0 | 165 | 1.499 | 103 | 11.807 | 889.942 | 53.845 | 0.16627
2020-05-24 03:45:00 | 3.894 | 236.513 | 1.969 | 246.471 | 0.453 | 228.233 | 0.044 | 173 | 12.057 | 889.933 | 52.459 | 0.17622
2020-05-24 04:00:00 | 2.909 | 235.513 | 1.331 | 239.825 | 0.303 | 229.733 | 0.084 | 175 | 12.545 | 889.708 | 51.349 | 0.1549
2020-05-24 04:15:00 | 2.858 | 261.793 | 1.495 | 267.181 | 0.947 | 258.3 | 0.662 | 175.5 | 12.964 | 890.533 | 50.507 | 0.16485
2020-05-24 04:30:00 | 3.233 | 237.6 | 1.492 | 257.887 | 0.12 | 258 | 0.917 | 174.983 | 12.747 | 889.85 | 48.901 | 0.15632
2020-05-24 04:45:00 | 3.568 | 240.54 | 2.059 | 254.534 | 0.506 | 258 | 0.568 | 175.117 | 13.105 | 889.667 | 45.323 | 0.16485
2020-05-24 05:00:00 | 4.383 | 230.567 | 1.535 | 240.529 | 0 | 258 | 0.037 | 175.067 | 11.061 | 890 | 49.077 | 0.17622
2020-05-24 05:15:00 | 1.252 | 153.938 | 1.142 | 174.613 | 0.7 | 191.467 | 0.635 | 192.733 | 10.738 | 889.892 | 49.995 | 0.17409
2020-05-24 05:30:00 | 1.944 | 101.347 | 1.687 | 90.13 | 2.239 | 85.167 | 2.187 | 81.333 | 11.24 | 889.85 | 50.528 | 0.16059
2020-05-24 05:45:00 | 2.134 | 230.053 | 0 | 285.114 | 0 | 332 | 0.108 | 356 | 10.36 | 890.208 | 52.443 | 0.19541
2020-05-24 06:00:00 | 2.484 | 173.633 | 1.508 | 132.689 | 1.204 | 124 | 0.638 | 355.867 | 10.811 | 889.733 | 54.805 | 0.16911
2020-05-24 06:15:00 | 3.072 | 198.667 | 1.713 | 178.949 | 1.236 | 174.167 | 0.839 | 321.867 | 11.178 | 889.725 | 54.475 | 0.17196
2020-05-24 06:30:00 | 3.616 | 223.98 | 2.101 | 221.517 | 1.747 | 225.233 | 1.585 | 245.067 | 11.766 | 889.908 | 50.955 | 2.929
2020-05-24 06:45:00 | 4.205 | 254.793 | 4.677 | 266.231 | 5.26 | 279.333 | 5.375 | 272.5 | 12.24 | 890.15 | 48.059 | 15.4491
2020-05-24 07:00:00 | 3.524 | 299.853 | 4.535 | 301.599 | 5.181 | 309.5 | 5.664 | 306.433 | 12.493 | 889.792 | 48.837 | 9.6964
2020-05-24 07:15:00 | 1.222 | 335.307 | 2.294 | 335.863 | 3.205 | 342.367 | 3.472 | 336.7 | 12.505 | 889.45 | 49.179 | 1.6826
2020-05-24 07:30:00 | 0.657 | 301.267 | 1.912 | 318.652 | 2.028 | 322.067 | 2.667 | 322.4 | 12.453 | 889.6 | 49.819 | 0.59119
2020-05-24 07:45:00 | 2.686 | 314.067 | 3.664 | 316.778 | 4.242 | 324.3 | 4.57 | 328.733 | 12.797 | 889.717 | 50.405 | 1.8269
2020-05-24 08:00:00 | 2.912 | 263.24 | 3.372 | 271.158 | 3.526 | 288.433 | 4.028 | 288.6 | 13.093 | 889.692 | 49.296 | 0.37873
2020-05-24 08:15:00 | 2.281 | 306.827 | 1.93 | 299.202 | 1.997 | 304.4 | 2.696 | 302.767 | 13.787 | 889.858 | 47.861 | 0.26646
2020-05-24 08:30:00 | 3.372 | 298.373 | 3.054 | 293.866 | 3.202 | 298.933 | 3.553 | 297.3 | 13.895 | 890.058 | 46.416 | 0.51871
2020-05-24 08:45:00 | 4.781 | 323.213 | 4.872 | 317.268 | 4.812 | 321.167 | 4.974 | 319.1 | 13.966 | 890.008 | 46.971 | 4.2186
2020-05-24 09:00:00 | 5.422 | 310.04 | 5.468 | 304.634 | 5.451 | 310.133 | 5.695 | 307.9 | 13.57 | 889.758 | 48.032 | 8.8572
2020-05-24 09:15:00 | 4.305 | 321.307 | 4.306 | 313.791 | 4.404 | 317.567 | 4.632 | 315.1 | 13.978 | 889.975 | 48.341 | 4.1469
2020-05-24 09:30:00 | 3.541 | 323.12 | 3.232 | 316.012 | 3.344 | 322.133 | 3.521 | 320.867 | 14.241 | 889.917 | 47.787 | 1.3131
2020-05-24 09:45:00 | 3.055 | 310.587 | 2.887 | 304.127 | 2.876 | 314.233 | 3.094 | 315.3 | 14.416 | 890.05 | 48.075 | 0.78091
2020-05-24 10:00:00 | 2.57 | 334.8 | 2.41 | 317.078 | 2.301 | 300 | 2.911 | 286.633 | 14.624 | 889.867 | 47.557 | 0.28352
2020-05-24 10:15:00 | 3.535 | 298.733 | 3.642 | 295.456 | 3.635 | 299.367 | 3.88 | 297.267 | 14.974 | 889.85 | 47.856 | 1.6997
2020-05-24 10:30:00 | 2.78 | 269.213 | 2.717 | 266.517 | 2.746 | 276.617 | 2.785 | 268.767 | 15.058 | 889.758 | 48.555 | 0.74965
2020-05-24 10:45:00 | 2.403 | 245.78 | 2.364 | 247.194 | 2.56 | 255.567 | 2.859 | 252 | 15.265 | 889.8 | 46.357 | 0.49384
2020-05-24 11:00:00 | 4.069 | 308.16 | 4.072 | 306.681 | 4.151 | 310.933 | 4.38 | 308.633 | 15.26 | 890.083 | 49.211 | 3.6935
2020-05-24 11:15:00 | 4.882 | 335.96 | 5.034 | 330.954 | 4.803 | 336.333 | 4.818 | 331.067 | 14.091 | 890.058 | 65.317 | 7.2933
2020-05-24 11:30:00 | 3.461 | 341.147 | 3.447 | 336.205 | 3.509 | 338.5 | 3.742 | 337.333 | 13.476 | 889.775 | 73.408 | 4.2897
2020-05-24 11:45:00 | 5.229 | 326.667 | 5.34 | 318.363 | 5.382 | 320.067 | 5.672 | 317.8 | 13.095 | 889.95 | 74.027 | 9.2665
2020-05-24 12:00:00 | 5.086 | 310.28 | 5.305 | 304.931 | 5.512 | 311.367 | 5.868 | 307.167 | 12.574 | 890.117 | 77.264 | 9.4804
2020-05-24 12:15:00 | 4.2 | 315.467 | 4.477 | 309.552 | 4.746 | 315 | 5.07 | 312.867 | 12.52 | 889.925 | 74.48 | 8.4529
2020-05-24 12:30:00 | 4.654 | 304.333 | 4.868 | 300.316 | 4.977 | 304.3 | 5.305 | 301.867 | 12.024 | 889.983 | 80.565 | 8.3357
2020-05-24 12:45:00 | 4.708 | 298.227 | 4.525 | 294.835 | 4.792 | 299.467 | 5.185 | 292.433 | 11.886 | 889.862 | 83.467 | 6.4377
2020-05-24 13:00:00 | 4.96 | 288.96 | 5.005 | 285.862 | 5.014 | 288.333 | 5.234 | 283.767 | 12.14 | 890.104 | 86.72 | 6.3681
2020-05-24 13:15:00 | 4.359 | 274.933 | 4.553 | 268.595 | 4.681 | 273.133 | 4.779 | 266.967 | 11.878 | 889.846 | 84.608 | 5.8522
2020-05-24 13:30:00 | 4.025 | 271.373 | 3.921 | 268.123 | 3.987 | 274.233 | 4.1 | 268.4 | 11.586 | 889.529 | 89.44 | 4.4332
2020-05-24 13:45:00 | 4.001 | 271.267 | 4.06 | 266.65 | 4.115 | 271.033 | 4.141 | 265.483 | 12.195 | 889.654 | 81.728 | 5.4699
2020-05-24 14:00:00 | 3.91 | 260.313 | 3.853 | 254.666 | 4.234 | 258.3 | 4.243 | 252.833 | 12.786 | 889.775 | 71.733 | 6.1443
2020-05-24 14:15:00 | 3.864 | 258.6 | 3.788 | 255.356 | 4.146 | 260.033 | 4.111 | 254.483 | 13.699 | 889.792 | 65.477 | 5.6291
2020-05-24 14:30:00 | 3.778 | 255.287 | 3.554 | 252.365 | 3.858 | 257.55 | 3.778 | 251.583 | 14.283 | 889.558 | 56.395 | 4.176
2020-05-24 14:45:00 | 4.252 | 249.267 | 4.132 | 244.353 | 4.386 | 247.717 | 4.319 | 240.317 | 15 | 889.858 | 52.757 | 3.8754
2020-05-24 15:00:00 | 3.517 | 237.867 | 3.496 | 233.425 | 3.676 | 236.467 | 3.737 | 231.2 | 15.744 | 890.292 | 45.632 | 2.7044
2020-05-24 15:15:00 | 4.459 | 239.68 | 4.335 | 235.395 | 4.536 | 238.1 | 4.436 | 230.033 | 16.364 | 889.925 | 42.475 | 2.2234
2020-05-24 15:30:00 | 4.164 | 242.027 | 4.143 | 236.565 | 4.144 | 238.783 | 4.09 | 232.25 | 17.356 | 889.867 | 37.637 | 1.4034
2020-05-24 15:45:00 | 4.058 | 231.247 | 4.04 | 228.272 | 4.087 | 234 | 4.153 | 229.6 | 17.368 | 889.683 | 37.429 | 1.7508
2020-05-24 16:00:00 | 2.459 | 212.36 | 2.275 | 206.457 | 2.493 | 209.867 | 2.72 | 207.5 | 16.948 | 890.183 | 38.789 | 1.1859
2020-05-24 16:15:00 | 2.873 | 226.767 | 2.814 | 216.572 | 2.905 | 222.767 | 2.872 | 218.4 | 17.077 | 889.7 | 39.936 | 0.20677
2020-05-24 16:30:00 | 2.329 | 284.793 | 2.002 | 274.778 | 2.185 | 275.567 | 2.228 | 267.317 | 18.027 | 889.733 | 38.045 | 0.19754
2020-05-24 16:45:00 | 2.2 | 304.947 | 2.26 | 287.822 | 2.356 | 297.217 | 2.658 | 299.367 | 17.181 | 889.7 | 37.984 | 0.1478
2020-05-24 17:00:00 | 1.177 | 200.733 | 1.221 | 306.198 | 1.302 | 306.7 | 1.884 | 301 | 16.968 | 889.983 | 39.851 | 0.18119
2020-05-24 17:15:00 | 2.03 | 237.52 | 1.96 | 239.255 | 1.51 | 232.25 | 1.586 | 242.867 | 17.498 | 889.633 | 39 | 0.16485
2020-05-24 17:30:00 | 1.135 | 210.413 | 0.66 | 207.817 | 0.43 | 246.433 | 1.315 | 274.733 | 18.398 | 890.1 | 37.872 | 0.14922
2020-05-24 17:45:00 | 1.194 | 165.94 | 0.07 | 180.55 | 0 | 203.733 | 0.533 | 201.267 | 17.623 | 889.617 | 37.941 | 0.14638
2020-05-24 18:00:00 | 0.559 | 154.603 | 0.086 | 138.863 | 0.116 | 186.567 | 0.279 | 158.933 | 17.36 | 889.567 | 37.861 | 0.13359
2020-05-24 18:15:00 | 1.842 | 238.08 | 0.86 | 225.809 | 0.766 | 235.967 | 1.478 | 257.767 | 18.256 | 889.15 | 35.181 | 0.13785
2020-05-24 18:30:00 | 0.553 | 119.098 | 0.19 | 194.792 | 0.04 | 168.95 | 0.326 | 164.25 | 18.152 | 889.9 | 33.443 | 0.16201
2020-05-24 18:45:00 | 2.863 | 266.34 | 2.793 | 261.85 | 2.682 | 272.1 | 2.432 | 273.333 | 17.96 | 889.767 | 33.616 | 0.11724
2020-05-24 19:00:00 | 2.128 | 91.217 | 2.032 | 155.292 | 2.513 | 209.9 | 2.836 | 174 | 18.306 | 890.017 | 32.979 | 0.1208
2020-05-24 19:15:00 | 1.932 | 112.011 | 1.867 | 131.011 | 1.869 | 139.667 | 2.454 | 133.1 | 18.773 | 890.167 | 30.131 | 0.17125
2020-05-24 19:30:00 | 1.614 | 334.507 | 1.68 | 264.166 | 1.771 | 332.533 | 2.178 | 336.133 | 19.035 | 889.717 | 29.787 | 0.13003
2020-05-24 19:45:00 | 3.172 | 314.24 | 3.137 | 320.087 | 3.213 | 324.9 | 3.58 | 309.167 | 19.148 | 889.633 | 30.723 | 0.11156
2020-05-24 20:00:00 | 3.461 | 303.787 | 3.863 | 302.316 | 3.678 | 309.433 | 4.027 | 309.233 | 18.456 | 890 | 33.861 | 0.29418
2020-05-24 20:15:00 | 2.337 | 281.773 | 2.647 | 278.278 | 2.526 | 284.967 | 2.783 | 287.733 | 18.206 | 889.35 | 35.779 | 0.073899
2020-05-24 20:30:00 | 2.34 | 297.027 | 2.397 | 292.228 | 2.25 | 298.333 | 2.606 | 301.833 | 18.21 | 889.75 | 38.656 | 0.11653
2020-05-24 20:45:00 | 2.683 | 290.933 | 2.995 | 283.662 | 2.957 | 286.133 | 3.266 | 282.833 | 17.76 | 890.133 | 42.507 | 0.15206
2020-05-24 21:00:00 | 3.221 | 278.427 | 3.488 | 273.057 | 3.534 | 279.933 | 3.764 | 276.4 | 17.668 | 889.842 | 44.523 | 0.23449
2020-05-24 21:15:00 | 3.157 | 293.347 | 3.915 | 290.303 | 3.938 | 295.6 | 4.271 | 294.5 | 17.194 | 889.942 | 45.072 | 1.1049
2020-05-24 21:30:00 | 2.171 | 288.693 | 2.576 | 281.665 | 2.575 | 284.5 | 2.985 | 280.133 | 16.781 | 889.8 | 46.08 | 0.63454
2020-05-24 21:45:00 | 2.256 | 289.053 | 2.422 | 289.068 | 2.502 | 292.967 | 2.906 | 291.467 | 17.081 | 889.517 | 46.432 | 0.41213
2020-05-24 22:00:00 | 4.393 | 265.013 | 5.217 | 265.734 | 5.26 | 271.233 | 5.474 | 266.767 | 16.182 | 889.892 | 50.059 | 6.3731
2020-05-24 22:15:00 | 3.695 | 279.373 | 4.684 | 279.844 | 4.932 | 285.333 | 5.265 | 281.267 | 15.459 | 890.033 | 52.677 | 7.7949
2020-05-24 22:30:00 | 3.94 | 252.627 | 4.544 | 260.317 | 4.542 | 266.633 | 4.843 | 263.467 | 14.941 | 890.092 | 55.216 | 8.4017
2020-05-24 22:45:00 | 3.977 | 240 | 4.782 | 247.299 | 4.78 | 256.533 | 4.914 | 255.6 | 14.349 | 889.783 | 59.061 | 10.7061
2020-05-24 23:00:00 | 4.803 | 227.813 | 5.032 | 234.402 | 4.901 | 244.967 | 4.831 | 244.2 | 14.228 | 889.8 | 62.485 | 10.2918
2020-05-24 23:15:00 | 4.461 | 244.187 | 5.076 | 248.563 | 5.194 | 256.3 | 5.429 | 255.65 | 13.845 | 889.7 | 63.061 | 9.1564
2020-05-24 23:30:00 | 3.799 | 244.027 | 4.56 | 253.066 | 4.667 | 263.4 | 5.007 | 264.633 | 13.445 | 890.225 | 64.261 | 9.2352
2020-05-24 23:45:00 | 5.199 | 219.727 | 5.896 | 219.958 | 5.764 | 228.067 | 5.407 | 228.1 | 12.607 | 889.692 | 66.08 | 13.947