## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-25 00:00:00 | 5.438 | 217.407 | 6.179 | 217.752 | 6.519 | 224.333 | 6.483 | 221.1 | 12.878 | 890.175 | 65.387 | 18.1209
2020-05-25 00:15:00 | 5.822 | 218.627 | 7.706 | 215.809 | 7.788 | 219.167 | 7.601 | 215.7 | 12.153 | 889.867 | 63.787 | 19.2016
2020-05-25 00:30:00 | 4.338 | 215.073 | 6.206 | 214.203 | 6.989 | 216.667 | 6.691 | 212.9 | 12.44 | 890.083 | 62.283 | 18.4072
2020-05-25 00:45:00 | 5.923 | 223.313 | 7.88 | 216.731 | 8.143 | 219.133 | 7.857 | 215.433 | 11.99 | 889.975 | 63.157 | 27.6396
2020-05-25 01:00:00 | 6.164 | 223.167 | 7.71 | 217.482 | 8.186 | 220.3 | 7.953 | 214.8 | 11.84 | 889.892 | 63.275 | 31.8128
2020-05-25 01:15:00 | 6.383 | 230.14 | 6.861 | 223.402 | 7.272 | 222.433 | 7.42 | 214.667 | 11.52 | 890.025 | 62.059 | 28.4845
2020-05-25 01:30:00 | 6.237 | 221.28 | 7.919 | 220.279 | 7.895 | 224.3 | 7.741 | 218.933 | 12.261 | 889.9 | 60.565 | 25.466
2020-05-25 01:45:00 | 5.865 | 230.233 | 6.852 | 222.665 | 8.033 | 225.467 | 7.587 | 220.3 | 11.366 | 889.4 | 62.624 | 24.6432
2020-05-25 02:00:00 | 5.915 | 244.927 | 6.832 | 237.404 | 7.209 | 240.767 | 7.144 | 233.867 | 10.722 | 889.492 | 64.491 | 24.8975
2020-05-25 02:15:00 | 5.018 | 239.133 | 6.296 | 231.733 | 7.421 | 235.433 | 7.587 | 228.533 | 10.751 | 890.208 | 65.781 | 28.8177
2020-05-25 02:30:00 | 6.018 | 245.853 | 7.186 | 240.454 | 7.438 | 246.433 | 7.573 | 241.2 | 10.559 | 889.867 | 66.805 | 30.9352
2020-05-25 02:45:00 | 6.233 | 242.753 | 7.552 | 239.661 | 7.682 | 246.4 | 7.442 | 242.033 | 10.443 | 889.917 | 67.979 | 31.1143
2020-05-25 03:00:00 | 5.598 | 232.053 | 6.986 | 234.935 | 7.304 | 243.333 | 7.302 | 240.6 | 10.409 | 890.483 | 69.397 | 31.9641
2020-05-25 03:15:00 | 5.39 | 229.167 | 7.31 | 230.434 | 7.905 | 237.133 | 7.86 | 232.567 | 10.541 | 889.717 | 70.411 | 35.4843
2020-05-25 03:30:00 | 6.26 | 229.567 | 7.509 | 229.012 | 7.977 | 234.733 | 7.93 | 229.767 | 10.711 | 889.633 | 69.44 | 36.538
2020-05-25 03:45:00 | 5.826 | 225.587 | 7.284 | 225.937 | 8.12 | 232.133 | 8.221 | 226.833 | 10.374 | 889.608 | 68.896 | 35.7671
2020-05-25 04:00:00 | 5.565 | 223.693 | 7.326 | 226.286 | 8.156 | 232.567 | 8.34 | 227.267 | 10.41 | 890.125 | 70.048 | 38.5298
2020-05-25 04:15:00 | 5.261 | 221.027 | 6.95 | 223.84 | 7.934 | 231.5 | 8.198 | 227.467 | 10.243 | 889.883 | 70.443 | 40.6615
2020-05-25 04:30:00 | 5.602 | 223.473 | 7.486 | 224.751 | 8.458 | 231.833 | 8.631 | 227.567 | 9.964 | 889.85 | 70.955 | 41.3379
2020-05-25 04:45:00 | 5.562 | 225.987 | 7.306 | 228.817 | 8.064 | 236.333 | 8.093 | 230.633 | 9.945 | 890.033 | 70.656 | 37.8206
2020-05-25 05:00:00 | 6.211 | 230.493 | 7.756 | 230.158 | 8.24 | 237.2 | 8.242 | 232.333 | 10.42 | 889.908 | 69.685 | 40.3993
2020-05-25 05:15:00 | 6.13 | 232.607 | 7.722 | 232.211 | 8.105 | 238.867 | 7.951 | 234.533 | 10.164 | 889.683 | 69.344 | 35.7422
2020-05-25 05:30:00 | 5.758 | 234.627 | 7.476 | 233.939 | 7.813 | 241.267 | 7.77 | 236.4 | 10.403 | 889.7 | 68.864 | 32.6676
2020-05-25 05:45:00 | 6.151 | 231.087 | 7.685 | 231.604 | 7.879 | 239.767 | 7.721 | 235.233 | 10.289 | 889.792 | 68.757 | 35.1809
2020-05-25 06:00:00 | 6.58 | 227.453 | 8.186 | 228.191 | 8.344 | 235.333 | 7.96 | 232.467 | 10.155 | 889.45 | 68.907 | 38.8097
2020-05-25 06:15:00 | 6.329 | 222.58 | 8.162 | 222.868 | 8.502 | 230.233 | 8.408 | 227.133 | 9.951 | 889.917 | 69.131 | 42.8472
2020-05-25 06:30:00 | 6.597 | 225 | 8.578 | 226.994 | 9 | 233.733 | 8.85 | 230.433 | 9.916 | 889.992 | 67.925 | 44.9441
2020-05-25 06:45:00 | 6.589 | 231.133 | 8.166 | 231.24 | 8.521 | 239.533 | 8.212 | 236.4 | 10.845 | 889.958 | 63.787 | 42.1828
2020-05-25 07:00:00 | 6.641 | 232.287 | 7.961 | 230.728 | 8.254 | 238.667 | 7.978 | 235.533 | 11.72 | 889.858 | 59.403 | 41.2917
2020-05-25 07:15:00 | 5.967 | 231.92 | 7.252 | 231.59 | 7.575 | 240.733 | 7.385 | 237.767 | 12.455 | 889.783 | 55.872 | 35.1304
2020-05-25 07:30:00 | 6.304 | 229.567 | 7.077 | 226.997 | 7.335 | 234.9 | 7.255 | 233.133 | 13.516 | 890.275 | 52.587 | 29.2306
2020-05-25 07:45:00 | 5.645 | 227.76 | 5.886 | 227.66 | 6.274 | 235 | 6.345 | 232.1 | 14.087 | 889.55 | 49.707 | 22.7815
2020-05-25 08:00:00 | 5.122 | 234.133 | 5.296 | 231.389 | 5.621 | 236.7 | 5.539 | 233 | 15.024 | 889.625 | 46.72 | 17.0785
2020-05-25 08:15:00 | 4.292 | 245.407 | 4.581 | 243.776 | 4.889 | 251.217 | 4.904 | 248.05 | 16.253 | 889.775 | 43.541 | 11.2952
2020-05-25 08:30:00 | 3.876 | 263.373 | 4.018 | 256.787 | 4.029 | 263.35 | 3.948 | 256.317 | 16.464 | 890.017 | 40.707 | 10.9711
2020-05-25 08:45:00 | 5.358 | 274.313 | 5.684 | 269.236 | 5.61 | 271.867 | 5.7 | 267.217 | 16.764 | 889.5 | 40.195 | 11.4415
2020-05-25 09:00:00 | 4.987 | 276.653 | 5.205 | 271.906 | 5.248 | 272.833 | 5.422 | 267.4 | 17.081 | 889.567 | 39.525 | 13.6528
2020-05-25 09:15:00 | 6.124 | 274.833 | 6.525 | 270.652 | 6.311 | 277.6 | 6.392 | 274.1 | 17.448 | 889.75 | 38.995 | 17.6299
2020-05-25 09:30:00 | 5.845 | 274.073 | 6.281 | 270.166 | 6.265 | 275.267 | 6.358 | 270.317 | 17.739 | 889.433 | 38.211 | 20.9283
2020-05-25 09:45:00 | 5.735 | 284.813 | 6.187 | 279.004 | 6.345 | 288.133 | 6.757 | 281.867 | 17.873 | 889.767 | 37.869 | 24.9409
2020-05-25 10:00:00 | 6.216 | 287.8 | 6.722 | 282.664 | 6.867 | 288.233 | 7.093 | 285.833 | 18.556 | 889.983 | 36.704 | 29.1254
2020-05-25 10:15:00 | 6.896 | 298.8 | 7.042 | 293.586 | 7.165 | 299.267 | 7.378 | 297.533 | 18.623 | 889.5 | 35.352 | 30.3717
2020-05-25 10:30:00 | 6.641 | 298.293 | 7.088 | 292.322 | 7.143 | 297.133 | 7.484 | 293.567 | 18.752 | 890.167 | 36.072 | 31.9464
2020-05-25 10:45:00 | 7.502 | 296.92 | 7.978 | 295.78 | 8.392 | 301.4 | 8.771 | 296.833 | 18.998 | 889.6 | 35.56 | 36.3227
2020-05-25 11:00:00 | 7.191 | 293.307 | 7.346 | 287.31 | 7.377 | 292.433 | 7.742 | 289.333 | 19.627 | 889.767 | 33.653 | 38.1553
2020-05-25 11:15:00 | 8.305 | 314.107 | 8.588 | 308.351 | 8.852 | 309.367 | 8.966 | 306.633 | 19.577 | 889.8 | 32.992 | 37.6984
2020-05-25 11:30:00 | 8.133 | 300.427 | 8.57 | 293.414 | 8.705 | 300.533 | 8.851 | 298.233 | 20.281 | 889.5 | 31.573 | 35.9866
2020-05-25 11:45:00 | 6.394 | 312.693 | 6.596 | 303.344 | 6.924 | 307.433 | 7.432 | 304.9 | 20.602 | 889.367 | 29.315 | 34.341
2020-05-25 12:00:00 | 7.566 | 323.84 | 7.806 | 317.613 | 8.013 | 323 | 8.376 | 324.567 | 21.231 | 889.95 | 27.763 | 31.525
2020-05-25 12:15:00 | 7.933 | 316.813 | 8.244 | 313.803 | 8.335 | 317.8 | 8.783 | 317.9 | 21.714 | 889.9 | 25.789 | 24.8585
2020-05-25 12:30:00 | 7.634 | 319.44 | 7.927 | 318.158 | 7.81 | 323.2 | 7.806 | 319.067 | 21.456 | 889.783 | 25.397 | 26.3571
2020-05-25 12:45:00 | 6.451 | 308.68 | 6.781 | 305.292 | 6.811 | 312.367 | 6.973 | 312.067 | 22.073 | 889.683 | 23.088 | 18.8933
2020-05-25 13:00:00 | 5.364 | 300.88 | 5.684 | 302.875 | 5.875 | 309.1 | 6.283 | 305.6 | 22.277 | 889.767 | 23.488 | 21.7192
2020-05-25 13:15:00 | 5.973 | 306.574 | 6.154 | 310.441 | 6.391 | 313.933 | 6.681 | 313.767 | 22.964 | 889.5 | 22.704 | 22.6657
2020-05-25 13:30:00 | 5.995 | 339.867 | 6.038 | 333.731 | 6.148 | 339.267 | 6.456 | 337.233 | 22.189 | 889.783 | 22.757 | 17.1019
2020-05-25 13:45:00 | 5.386 | 126.881 | 5.962 | 168.612 | 6.217 | 120.434 | 6.633 | 180.733 | 23.164 | 889.5 | 17.584 | 11.7897
2020-05-25 14:00:00 | 6.747 | 76.893 | 6.98 | 105.632 | 7.359 | 72.833 | 6.86 | 106.767 | 23.564 | 889.733 | 17.267 | 14.2732
2020-05-25 14:15:00 | 4.342 | 29.39 | 4.628 | 13.374 | 4.504 | 18.767 | 4.724 | 11.267 | 23.381 | 889.4 | 16.659 | 11.3243
2020-05-25 14:30:00 | 5.835 | 320.387 | 5.918 | 327.003 | 6.143 | 313.167 | 6.419 | 314.367 | 23.977 | 889.467 | 14.957 | 6.7298
2020-05-25 14:45:00 | 2.639 | 279.055 | 2.689 | 251.65 | 2.847 | 227.602 | 3.465 | 235.333 | 24.448 | 889.5 | 15.212 | 9.1933
2020-05-25 15:00:00 | 4.106 | 203.558 | 4.184 | 224.039 | 4.426 | 199.1 | 4.479 | 250.067 | 23.614 | 889.367 | 15.661 | 13.6542
2020-05-25 15:15:00 | 3.885 | 311.08 | 3.891 | 281.96 | 3.929 | 309.467 | 4.385 | 309.9 | 24.118 | 889.4 | 13.771 | 9.3241
2020-05-25 15:30:00 | 6.367 | 84.063 | 6.668 | 129.573 | 6.62 | 72 | 6.833 | 118.533 | 24.594 | 889.333 | 13.745 | 13.8099
2020-05-25 15:45:00 | 6.291 | 147.434 | 6.914 | 216.756 | 7.072 | 154.067 | 7.152 | 148.233 | 24.352 | 889.567 | 14.367 | 12.835
2020-05-25 16:00:00 | 11.361 | 71.02 | 11.077 | 66.081 | 11.248 | 73.733 | 11.668 | 71.467 | 22.839 | 889.667 | 20.904 | 50.4581
2020-05-25 16:15:00 | 12.261 | 92.555 | 12.637 | 89.07 | 12.073 | 94.7 | 11.689 | 89.167 | 21.76 | 889.6 | 22.933 | 78.3314
2020-05-25 16:30:00 | 7.581 | 72.313 | 7.432 | 64.026 | 7.286 | 67.067 | 7.116 | 60.8 | 22.198 | 889.6 | 20.235 | 60.7819
2020-05-25 16:45:00 | 14.701 | 81.727 | 15.549 | 75.425 | 16.136 | 81.667 | 16.389 | 77.2 | 21.298 | 889.567 | 25.488 | 86.5982
2020-05-25 17:00:00 | 14.958 | 65.71 | 15.64 | 56.847 | 16.414 | 61.733 | 16.81 | 58.933 | 21.277 | 889.4 | 26.24 | 89.6138
2020-05-25 17:15:00 | 14.344 | 60.595 | 15.385 | 54.123 | 15.841 | 59.833 | 15.39 | 54.3 | 19.76 | 889.75 | 29.477 | 88.9551
2020-05-25 17:30:00 | 10.118 | 60.957 | 10.288 | 57.492 | 10.105 | 62.833 | 10.189 | 62.767 | 19.523 | 889.683 | 32.048 | 54.9389
2020-05-25 17:45:00 | 6.356 | 113.81 | 6.953 | 108.004 | 6.898 | 115.433 | 6.791 | 110.967 | 18.873 | 889.333 | 36.533 | 24.1785
2020-05-25 18:00:00 | 5.469 | 141.33 | 5.839 | 137.196 | 6.156 | 142.333 | 6.36 | 141.4 | 18.527 | 889.85 | 31.435 | 10.7338
2020-05-25 18:15:00 | 4.692 | 165.84 | 4.901 | 162.264 | 5.195 | 168.9 | 5.516 | 170 | 19.139 | 889.55 | 28.507 | 5.244
2020-05-25 18:30:00 | 4.222 | 217.707 | 4.405 | 217.007 | 4.849 | 226.567 | 4.953 | 223.967 | 21.273 | 889.617 | 24.08 | 6.4704
2020-05-25 18:45:00 | 6.056 | 272.453 | 6.746 | 266.019 | 6.864 | 271.2 | 6.679 | 266.133 | 22.329 | 891.6 | 21.488 | 15.2374
2020-05-25 19:00:00 | 6.88 | 280.533 | 7.464 | 274.866 | 7.656 | 278.967 | 7.726 | 277.3 | 21.939 | 889.817 | 21.837 | 33.7839
2020-05-25 19:15:00 | 9.772 | 258.853 | 10.539 | 252.316 | 11.024 | 258.15 | 10.978 | 252.717 | 21.385 | 889.717 | 24.037 | 64.5017
2020-05-25 19:30:00 | 11.768 | 253.14 | 12.979 | 248.622 | 13.258 | 253.817 | 13.241 | 247.933 | 20.339 | 889.617 | 26.885 | 86.4923
2020-05-25 19:45:00 | 11.551 | 247.413 | 12.402 | 241.906 | 12.61 | 247.767 | 12.465 | 243.667 | 20.96 | 889.883 | 25.664 | 86.5506
2020-05-25 20:00:00 | 12.327 | 251.96 | 13.243 | 248.156 | 13.498 | 254.033 | 13.32 | 247.367 | 20.635 | 889.733 | 27.869 | 89.5925
2020-05-25 20:15:00 | 12.488 | 255.027 | 13.69 | 250.942 | 13.958 | 255.2 | 13.938 | 250.4 | 19.502 | 889.917 | 31.277 | 89.6543
2020-05-25 20:30:00 | 13.065 | 255.633 | 14.61 | 252.48 | 15.439 | 256.65 | 15.44 | 252.167 | 17.744 | 889.75 | 37.736 | 90.5873
2020-05-25 20:45:00 | 13.043 | 257.413 | 14.676 | 255.738 | 15.37 | 258.617 | 15.797 | 253.817 | 17.164 | 889.433 | 40.685 | 91.2702
2020-05-25 21:00:00 | 12.256 | 259.933 | 13.739 | 254.684 | 14.426 | 261.017 | 15.269 | 255.3 | 16.564 | 889.767 | 41.515 | 91.5309
2020-05-25 21:15:00 | 11.113 | 261.807 | 12.751 | 255.187 | 13.978 | 260.917 | 14.423 | 257.083 | 16.864 | 889.583 | 41.333 | 91.4648
2020-05-25 21:30:00 | 11.441 | 261.467 | 12.976 | 258.084 | 14.065 | 262.067 | 14.811 | 256.55 | 16.714 | 889.908 | 41.072 | 90.7848
2020-05-25 21:45:00 | 11.466 | 261.627 | 13.42 | 259.522 | 14.041 | 263.567 | 14.779 | 258.217 | 16.864 | 889.583 | 40.403 | 89.8433
2020-05-25 22:00:00 | 11.625 | 262.247 | 13.233 | 258.151 | 14.081 | 262.817 | 14.398 | 259.25 | 16.781 | 889.567 | 40.475 | 89.1427
2020-05-25 22:15:00 | 9.515 | 259.407 | 11.741 | 254.207 | 12.564 | 259.533 | 12.873 | 256.533 | 16.914 | 889.617 | 39.339 | 88.5245
2020-05-25 22:30:00 | 8.975 | 258.84 | 10.441 | 256.478 | 11.515 | 262.7 | 11.717 | 258.4 | 16.598 | 889.325 | 40.723 | 80.9996
2020-05-25 22:45:00 | 8.616 | 256.76 | 9.924 | 253.96 | 10.718 | 260.267 | 10.995 | 255.767 | 16.714 | 889.542 | 40.835 | 81.3507
2020-05-25 23:00:00 | 8.647 | 260.54 | 10.267 | 255.991 | 11.184 | 261.167 | 11.373 | 258.967 | 16.764 | 889.683 | 40.568 | 75.2519
2020-05-25 23:15:00 | 7.275 | 262.64 | 8.579 | 259.132 | 9.309 | 268.4 | 9.64 | 265.567 | 16.531 | 889.8 | 39.821 | 49.4995
2020-05-25 23:30:00 | 6.772 | 267.147 | 8.153 | 267.082 | 8.694 | 274.6 | 9.328 | 273.833 | 16.698 | 890.183 | 37.211 | 45.4756
2020-05-25 23:45:00 | 6.222 | 268.8 | 8.086 | 267.643 | 8.941 | 274.567 | 9.274 | 271 | 16.898 | 889.817 | 35.888 | 42.5324