## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-26 00:00:00 | 6.634 | 268.853 | 7.898 | 264.377 | 8.43 | 272.567 | 8.722 | 267.367 | 16.364 | 889.933 | 36.2 | 41.9682
2020-05-26 00:15:00 | 7.284 | 267.34 | 8.509 | 262.643 | 9.226 | 268.233 | 9.612 | 264.167 | 16.864 | 889.683 | 34.949 | 42.8706
2020-05-26 00:30:00 | 7.638 | 265.18 | 9.223 | 262.451 | 10.022 | 267.9 | 10.477 | 264.133 | 16.864 | 889.933 | 35.269 | 43.8739
2020-05-26 00:45:00 | 7.952 | 261.553 | 9.501 | 258.251 | 10.191 | 262.35 | 10.662 | 258.967 | 16.898 | 889.933 | 35.115 | 47.7799
2020-05-26 01:00:00 | 7.22 | 261.253 | 9.199 | 258.24 | 10.34 | 264 | 10.665 | 261.667 | 16.631 | 889.833 | 35.277 | 41.6747
2020-05-26 01:15:00 | 6.862 | 253.04 | 8.082 | 251.552 | 8.851 | 258.767 | 9.067 | 255.267 | 16.781 | 889.783 | 34.771 | 34.2117
2020-05-26 01:30:00 | 5.264 | 241.62 | 6.916 | 247.131 | 7.788 | 255.133 | 8.153 | 252.633 | 16.162 | 889.983 | 36.176 | 25.8511
2020-05-26 01:45:00 | 4.796 | 220.84 | 6.071 | 231.579 | 6.729 | 244.1 | 6.748 | 243.967 | 16.1 | 889.75 | 37.579 | 28.3743
2020-05-26 02:00:00 | 6.027 | 210.667 | 7.38 | 213.696 | 7.669 | 220.767 | 7.659 | 219.967 | 15.058 | 889.933 | 38.619 | 30.7917
2020-05-26 02:15:00 | 6.102 | 227.34 | 7.397 | 228.928 | 7.913 | 235.867 | 8.196 | 231.3 | 15.274 | 889.783 | 37.451 | 29.8481
2020-05-26 02:30:00 | 5.513 | 235.087 | 6.965 | 236.853 | 7.492 | 244.567 | 7.426 | 240.5 | 15.426 | 889.75 | 38.032 | 26.8999
2020-05-26 02:45:00 | 6.245 | 216.033 | 7.157 | 221.547 | 7.212 | 231.167 | 7.042 | 230.467 | 14.178 | 889.825 | 41.099 | 32.3208
2020-05-26 03:00:00 | 5.994 | 206.747 | 7.908 | 207.489 | 8.198 | 216.1 | 8.044 | 214.733 | 14.008 | 889.742 | 42.379 | 44.1042
2020-05-26 03:15:00 | 7.751 | 200.5 | 9.587 | 198.091 | 9.24 | 203.8 | 8.665 | 205.033 | 13.891 | 889.692 | 43.925 | 53.7991
2020-05-26 03:30:00 | 7.441 | 209.26 | 8.969 | 204.832 | 9.453 | 208.867 | 9.616 | 207.333 | 14.158 | 890.275 | 42.677 | 52.7084
2020-05-26 03:45:00 | 6.719 | 211.22 | 7.961 | 208.068 | 8.808 | 210.267 | 9.395 | 206.5 | 14.337 | 889.508 | 42.027 | 49.6047
2020-05-26 04:00:00 | 6.927 | 213.213 | 8.492 | 206.571 | 9.06 | 210.933 | 9.435 | 206.333 | 14.262 | 889.708 | 42.475 | 47.527
2020-05-26 04:15:00 | 7.867 | 207.387 | 8.719 | 204.646 | 9.262 | 209.433 | 9.536 | 205.633 | 14.374 | 889.95 | 41.717 | 49.3297
2020-05-26 04:30:00 | 6.241 | 211.88 | 8.222 | 210.056 | 8.877 | 215.2 | 8.922 | 212.867 | 14.024 | 889.975 | 43.541 | 39.9282
2020-05-26 04:45:00 | 6.5 | 215.513 | 8.649 | 215.854 | 8.469 | 222.3 | 8.503 | 219.5 | 13.37 | 890.092 | 44.757 | 37.8746
2020-05-26 05:00:00 | 6.155 | 219.633 | 8.249 | 220.859 | 8.226 | 227.6 | 8.19 | 224.033 | 13.245 | 890.383 | 44.651 | 38.0267
2020-05-26 05:15:00 | 6.294 | 218.933 | 7.894 | 221.607 | 8.016 | 229.133 | 7.979 | 226.067 | 13.245 | 889.925 | 44.096 | 34.5613
2020-05-26 05:30:00 | 6.056 | 213.9 | 7.671 | 219.579 | 7.668 | 227.533 | 7.619 | 224.9 | 12.984 | 889.717 | 43.936 | 34.3758
2020-05-26 05:45:00 | 6.38 | 205.107 | 8.69 | 202.584 | 8.412 | 209.733 | 8.374 | 210.533 | 12.828 | 890.05 | 44.768 | 37.5684
2020-05-26 06:00:00 | 5.478 | 215.413 | 7.539 | 211.086 | 8.318 | 215.2 | 8.465 | 213.733 | 12.882 | 889.85 | 45.376 | 36.6283
2020-05-26 06:15:00 | 6.032 | 215.987 | 8.084 | 215.8 | 7.972 | 222.433 | 7.699 | 219.2 | 12.97 | 889.858 | 45.461 | 32.3933
2020-05-26 06:30:00 | 5.735 | 214.073 | 7.659 | 218.64 | 7.529 | 225.567 | 7.449 | 221.6 | 12.962 | 889.442 | 44.181 | 31.9798
2020-05-26 06:45:00 | 5.654 | 207.06 | 7.979 | 207.606 | 8.331 | 216.067 | 8.182 | 214.8 | 13.547 | 889.825 | 42.283 | 33.0698
2020-05-26 07:00:00 | 6.127 | 204.5 | 8.108 | 204.89 | 8.012 | 211.033 | 8.118 | 209.733 | 14.112 | 889.217 | 40.373 | 37.7034
2020-05-26 07:15:00 | 6.25 | 203.067 | 7.998 | 202.727 | 8.136 | 208.9 | 8.014 | 206.7 | 14.974 | 889.717 | 39.248 | 36.0151
2020-05-26 07:30:00 | 5.466 | 209.293 | 6.731 | 206.18 | 7.596 | 212.167 | 7.963 | 210.867 | 16.105 | 889.833 | 36.651 | 37.5755
2020-05-26 07:45:00 | 6.676 | 221.787 | 7.606 | 218.011 | 8.646 | 222.167 | 8.774 | 219.4 | 17.431 | 889.567 | 33.552 | 38.1546
2020-05-26 08:00:00 | 6.778 | 221.667 | 7.108 | 218.873 | 7.672 | 222.9 | 7.931 | 219.167 | 18.289 | 889.733 | 30.603 | 31.8234
2020-05-26 08:15:00 | 6.274 | 221.76 | 6.42 | 217.993 | 6.801 | 222.933 | 7.112 | 218.133 | 19.031 | 889.833 | 28.613 | 25.8561
2020-05-26 08:30:00 | 6.63 | 222.453 | 6.928 | 218.797 | 7.322 | 223.367 | 7.331 | 220.5 | 19.935 | 889.817 | 27.253 | 26.0757
2020-05-26 08:45:00 | 6.624 | 222.667 | 6.752 | 222.56 | 6.981 | 226.8 | 6.91 | 221.633 | 20.898 | 889.55 | 26.405 | 23.6633
2020-05-26 09:00:00 | 5.81 | 243.82 | 6.218 | 238.752 | 6.158 | 242.5 | 6.181 | 235.467 | 21.752 | 889.683 | 24.731 | 19.6038
2020-05-26 09:15:00 | 4.796 | 262.1 | 5.176 | 259.164 | 5.317 | 262.283 | 5.432 | 256.667 | 22.514 | 889.683 | 23.595 | 13.3423
2020-05-26 09:30:00 | 5.45 | 274.693 | 5.429 | 269.254 | 5.476 | 272.717 | 5.49 | 267.583 | 22.406 | 889.817 | 23.171 | 10.5199
2020-05-26 09:45:00 | 4.12 | 298.24 | 4.251 | 290.173 | 4.59 | 292.9 | 4.999 | 284.033 | 22.235 | 889.6 | 23.128 | 8.7492
2020-05-26 10:00:00 | 4.263 | 301.587 | 4.414 | 295.707 | 4.827 | 299.267 | 5.479 | 295.067 | 22.364 | 889.85 | 22.837 | 8.8757
2020-05-26 10:15:00 | 5.025 | 295.52 | 5.414 | 291.359 | 5.806 | 297.5 | 6.148 | 294.4 | 22.548 | 889.883 | 22.419 | 9.0903
2020-05-26 10:30:00 | 4.705 | 269.613 | 5.221 | 271.684 | 5.157 | 279.133 | 5.292 | 278.267 | 23.331 | 889.5 | 21.704 | 8.5304
2020-05-26 10:45:00 | 5.15 | 308.147 | 5.362 | 303.511 | 5.455 | 307.167 | 5.812 | 302.033 | 23.348 | 889.65 | 20.845 | 10.7793
2020-05-26 11:00:00 | 4.845 | 314.813 | 5.04 | 310.42 | 4.843 | 315.267 | 5.268 | 315.133 | 23.981 | 889.017 | 20.365 | 12.0377
2020-05-26 11:15:00 | 5.199 | 286.433 | 5.742 | 283.109 | 5.619 | 293.233 | 5.612 | 292.733 | 23.998 | 889.267 | 19.407 | 12.9536
2020-05-26 11:30:00 | 6.251 | 333 | 6.385 | 328.656 | 6.526 | 319.5 | 6.784 | 319.233 | 23.902 | 889.7 | 18.717 | 15.4321
2020-05-26 11:45:00 | 5.019 | 302.947 | 5.175 | 292.156 | 5.261 | 296.2 | 5.571 | 290.333 | 24.544 | 889.5 | 18.42 | 18.3518
2020-05-26 12:00:00 | 4.849 | 284.953 | 5.266 | 283.311 | 5.632 | 289.967 | 6.215 | 285.567 | 24.789 | 889.333 | 17.917 | 16.2997
2020-05-26 12:15:00 | 6.186 | 311.48 | 6.352 | 307.062 | 6.42 | 309.867 | 6.813 | 308.1 | 24.389 | 889.5 | 18.377 | 21.4477
2020-05-26 12:30:00 | 6.198 | 326.307 | 6.599 | 316.136 | 6.637 | 322.667 | 6.772 | 320.367 | 24.414 | 889.067 | 16.977 | 19.127
2020-05-26 12:45:00 | 6.968 | 291.413 | 7.268 | 281.502 | 7.396 | 284.55 | 7.778 | 279.967 | 24.698 | 889.8 | 16.364 | 21.2765
2020-05-26 13:00:00 | 3.91 | 285.72 | 4.025 | 278.684 | 4.298 | 282.75 | 4.71 | 285.883 | 25.094 | 889.033 | 16.275 | 19.6784
2020-05-26 13:15:00 | 3.346 | 309.427 | 3.303 | 298.416 | 3.467 | 261.633 | 3.724 | 317.5 | 24.744 | 889.467 | 15.96 | 16.5086
2020-05-26 13:30:00 | 6.771 | 274.78 | 7.082 | 267.468 | 7.139 | 272.367 | 7.255 | 271.6 | 25.473 | 888.833 | 15.52 | 20.3243
2020-05-26 13:45:00 | 5.392 | 256.907 | 5.402 | 254.737 | 5.41 | 264.433 | 5.669 | 263.85 | 25.868 | 888.9 | 14.699 | 21.9849
2020-05-26 14:00:00 | 5.746 | 256.2 | 5.851 | 255.052 | 6.097 | 259.867 | 6.351 | 257.617 | 25.073 | 889.667 | 16.189 | 28.2962
2020-05-26 14:15:00 | 5.189 | 281.493 | 5.444 | 275.401 | 5.652 | 278.067 | 6.244 | 278.067 | 25.402 | 889.267 | 14.765 | 22.439
2020-05-26 14:30:00 | 6.44 | 303.907 | 6.915 | 302.156 | 7.223 | 306.133 | 7.419 | 303.467 | 26.368 | 889.767 | 14.148 | 27.6332
2020-05-26 14:45:00 | 6.537 | 279.307 | 6.906 | 276.555 | 7.296 | 281.583 | 7.768 | 283.8 | 26.114 | 889.933 | 14.135 | 25.3083
2020-05-26 15:00:00 | 6.174 | 285.46 | 6.325 | 277.194 | 6.946 | 283.45 | 7.212 | 278.233 | 26.435 | 889.4 | 13.636 | 19.51
2020-05-26 15:15:00 | 6.169 | 295.54 | 6.755 | 292.797 | 7.042 | 286.935 | 7.467 | 292.733 | 26.318 | 889.367 | 13.167 | 25.2436
2020-05-26 15:30:00 | 4.533 | 311.8 | 4.624 | 301.892 | 4.634 | 306.2 | 5.048 | 305.1 | 26.089 | 889.833 | 13.083 | 18.1351
2020-05-26 15:45:00 | 6.22 | 286.74 | 6.843 | 276.268 | 6.802 | 278.833 | 6.889 | 275.483 | 26.131 | 889.4 | 12.425 | 16.9236
2020-05-26 16:00:00 | 5.303 | 339.4 | 5.271 | 334.783 | 5.349 | 338.867 | 5.456 | 324.833 | 26.085 | 889.333 | 12.763 | 14.5616
2020-05-26 16:15:00 | 7.976 | 327.147 | 7.933 | 317.098 | 8.114 | 321 | 8.313 | 322.233 | 26.664 | 889.267 | 11.78 | 24.7554
2020-05-26 16:30:00 | 6.475 | 319.413 | 6.944 | 310.229 | 7.207 | 314.033 | 7.49 | 311.8 | 27.26 | 889.5 | 11.672 | 25.4397
2020-05-26 16:45:00 | 8.125 | 307.093 | 8.343 | 324.212 | 8.564 | 329.733 | 8.688 | 327.867 | 27.044 | 889.5 | 11.553 | 33.646
2020-05-26 17:00:00 | 7.428 | 300.267 | 7.791 | 292.869 | 8.063 | 301.367 | 8.404 | 298.933 | 26.444 | 889.767 | 12.525 | 24.8997
2020-05-26 17:15:00 | 6.36 | 305.213 | 6.522 | 299.445 | 7.057 | 307.367 | 7.468 | 306.367 | 26.473 | 889.533 | 12.939 | 28.5975
2020-05-26 17:30:00 | 6.147 | 230.827 | 6.663 | 263.097 | 7.045 | 287.7 | 7.527 | 273.7 | 26.198 | 889.633 | 13.861 | 40.282
2020-05-26 17:45:00 | 7.389 | 280.995 | 8.032 | 330.279 | 8.689 | 322.3 | 8.602 | 331.933 | 25.539 | 889.767 | 14.553 | 48.7712
2020-05-26 18:00:00 | 8.037 | 315.68 | 8.607 | 310.012 | 8.778 | 313.8 | 8.87 | 311.667 | 25.898 | 889.5 | 14.795 | 42.165
2020-05-26 18:15:00 | 7.122 | 268.453 | 7.38 | 336.555 | 7.302 | 315.267 | 7.758 | 323.167 | 25.748 | 889.4 | 14.879 | 39.2929
2020-05-26 18:30:00 | 8.007 | 315.48 | 8.513 | 309.252 | 8.846 | 314.8 | 9.365 | 311.933 | 26.285 | 889.8 | 14.236 | 53.0083
2020-05-26 18:45:00 | 6.843 | 292.333 | 7.272 | 291.455 | 7.847 | 297.867 | 8.138 | 296.4 | 26.256 | 889.433 | 14.665 | 45.3413
2020-05-26 19:00:00 | 8.105 | 303.36 | 8.78 | 295.949 | 8.896 | 300.267 | 9.346 | 297 | 25.539 | 889.6 | 15.089 | 38.6456
2020-05-26 19:15:00 | 9.026 | 321.573 | 9.886 | 314.902 | 10.074 | 318.667 | 10.67 | 318.5 | 26.044 | 889.4 | 14.793 | 52.6807
2020-05-26 19:30:00 | 7.932 | 306.387 | 8.431 | 300.637 | 8.614 | 306.467 | 8.826 | 303.733 | 26.294 | 889.9 | 14.379 | 43.6387
2020-05-26 19:45:00 | 7.816 | 308.387 | 8.179 | 302.609 | 8.405 | 308.1 | 8.601 | 306.367 | 25.685 | 889.4 | 14.011 | 45.8514
2020-05-26 20:00:00 | 7.791 | 293.693 | 8.19 | 288.584 | 8.492 | 293.367 | 8.884 | 291.1 | 25.623 | 889.067 | 13.165 | 43.6849
2020-05-26 20:15:00 | 7.798 | 298.213 | 8.143 | 290.664 | 8.481 | 297.367 | 8.869 | 293.767 | 25.527 | 889.833 | 14.407 | 35.1716
2020-05-26 20:30:00 | 6.125 | 289.427 | 6.507 | 286.493 | 6.556 | 291.333 | 6.945 | 288.867 | 25.302 | 889.033 | 14.363 | 25.412
2020-05-26 20:45:00 | 5.466 | 306.133 | 5.771 | 299.792 | 5.738 | 305.767 | 6.089 | 302.833 | 25.189 | 889.567 | 14.573 | 16.1569
2020-05-26 21:00:00 | 4.606 | 287.88 | 5.084 | 283.747 | 5.297 | 288.933 | 5.524 | 287.333 | 25.135 | 889.7 | 15.268 | 9.1429
2020-05-26 21:15:00 | 4.286 | 270.893 | 4.63 | 270.406 | 4.93 | 279 | 5.242 | 278.533 | 24.698 | 889.1 | 16.239 | 6.4988
2020-05-26 21:30:00 | 3.776 | 278.107 | 4.404 | 278.439 | 4.7 | 285.367 | 5.169 | 282.9 | 23.794 | 889.767 | 17.117 | 9.8492
2020-05-26 21:45:00 | 4.964 | 270.467 | 6.1 | 266.972 | 6.664 | 273.833 | 7.179 | 271.167 | 23.364 | 889.6 | 17.971 | 19.4241
2020-05-26 22:00:00 | 5.112 | 264.707 | 6.388 | 264.656 | 6.928 | 271.5 | 7.253 | 267.85 | 23.064 | 889.733 | 19.171 | 23.0408
2020-05-26 22:15:00 | 4.627 | 265.3 | 5.863 | 264.591 | 6.255 | 272.233 | 6.663 | 267.067 | 22.564 | 889.133 | 19.923 | 23.4025
2020-05-26 22:30:00 | 5.174 | 261.307 | 6.205 | 266.286 | 6.458 | 274.367 | 6.714 | 271.133 | 22.114 | 889.85 | 20.672 | 22.9335
2020-05-26 22:45:00 | 4.679 | 257.693 | 5.735 | 264.714 | 5.885 | 273.9 | 6.348 | 271.267 | 21.735 | 890.033 | 21.456 | 19.3978
2020-05-26 23:00:00 | 4.777 | 253.773 | 5.912 | 261.204 | 6.355 | 270.433 | 6.606 | 268.7 | 21.068 | 889.783 | 22.264 | 19.8426
2020-05-26 23:15:00 | 4.951 | 254.1 | 6.17 | 258.965 | 6.301 | 268.1 | 6.423 | 265.367 | 21.014 | 889.75 | 22.925 | 22.9534
2020-05-26 23:30:00 | 5.421 | 258.62 | 6.544 | 261.649 | 6.805 | 270.2 | 7.195 | 266.067 | 20.96 | 889.583 | 24.048 | 26.7606
2020-05-26 23:45:00 | 5.013 | 248.827 | 6.461 | 255.419 | 6.785 | 263.7 | 7.185 | 259.917 | 20.86 | 889.967 | 24.515 | 26.799