## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-27 00:00:00 | 5.441 | 246.4 | 6.977 | 252.257 | 7.478 | 260.867 | 7.709 | 257.483 | 20.118 | 889.95 | 24.453 | 32.8609
2020-05-27 00:15:00 | 5.466 | 246.133 | 6.772 | 251.962 | 7.044 | 259.833 | 7.199 | 256.033 | 20.085 | 890.033 | 23.837 | 30.5977
2020-05-27 00:30:00 | 5.795 | 227.4 | 6.537 | 235.31 | 6.755 | 249.3 | 6.971 | 249.733 | 19.418 | 889.517 | 24.779 | 31.0304
2020-05-27 00:45:00 | 6.132 | 225.027 | 7.771 | 228.288 | 7.972 | 237.1 | 7.745 | 235.333 | 19.285 | 889.733 | 24.549 | 38.7252
2020-05-27 01:00:00 | 5.99 | 221.78 | 7.921 | 220.472 | 8.192 | 230.467 | 8.074 | 228.433 | 19.139 | 889.933 | 24.517 | 41.4211
2020-05-27 01:15:00 | 5.337 | 223.833 | 6.873 | 226.896 | 7.618 | 237.367 | 7.78 | 235.033 | 18.689 | 889.733 | 25.045 | 39.9026
2020-05-27 01:30:00 | 5.83 | 221.06 | 7.19 | 223.763 | 7.808 | 233.1 | 7.905 | 230.6 | 18.76 | 890.033 | 25.243 | 42.052
2020-05-27 01:45:00 | 5.898 | 225.673 | 7.575 | 227.592 | 8.272 | 236.667 | 8.403 | 233.667 | 19.006 | 889.367 | 25.669 | 42.6866
2020-05-27 02:00:00 | 5.95 | 224.187 | 7.515 | 226.679 | 7.996 | 235.833 | 8.207 | 231.9 | 19.644 | 889.9 | 25.237 | 41.4708
2020-05-27 02:15:00 | 5.367 | 222.98 | 7.308 | 226.32 | 7.993 | 236.033 | 8.043 | 233.667 | 19.344 | 889.333 | 25.099 | 40.2394
2020-05-27 02:30:00 | 5.836 | 225.353 | 7.59 | 228.357 | 7.976 | 237.033 | 8.095 | 234.6 | 19.085 | 889.9 | 25.237 | 42.5793
2020-05-27 02:45:00 | 5.924 | 229.26 | 7.533 | 231.89 | 7.879 | 238.967 | 7.968 | 235.4 | 19.048 | 889.55 | 24.715 | 42.7051
2020-05-27 03:00:00 | 6.072 | 224.66 | 7.542 | 228.733 | 7.839 | 236.933 | 7.752 | 233.833 | 18.794 | 889.6 | 24.832 | 41.6882
2020-05-27 03:15:00 | 6.2 | 219.833 | 7.707 | 224.211 | 8.051 | 234.2 | 7.871 | 232.6 | 18.556 | 889.85 | 25.44 | 43.7389
2020-05-27 03:30:00 | 5.736 | 223.473 | 7.656 | 227.215 | 8.3 | 237.833 | 8.22 | 234.967 | 17.856 | 889.733 | 25.616 | 43.9812
2020-05-27 03:45:00 | 5.792 | 227.227 | 7.475 | 230.569 | 7.947 | 240.1 | 7.922 | 238.133 | 17.964 | 889.95 | 25.643 | 39.2382
2020-05-27 04:00:00 | 5.834 | 232.013 | 7.142 | 234.409 | 7.557 | 244.167 | 7.6 | 241.867 | 18.21 | 889.967 | 25.035 | 35.8261
2020-05-27 04:15:00 | 5.828 | 227.453 | 6.987 | 233.1 | 7.042 | 242.567 | 6.894 | 242.4 | 18.002 | 889.517 | 24.869 | 29.6846
2020-05-27 04:30:00 | 5.13 | 221.66 | 6.752 | 228.8 | 6.77 | 238.733 | 6.499 | 238.8 | 17.61 | 889.583 | 25.253 | 28.0041
2020-05-27 04:45:00 | 6.05 | 217.287 | 7.398 | 224.258 | 7.305 | 235 | 7.257 | 235.833 | 17.314 | 889.633 | 26.032 | 34.8767
2020-05-27 05:00:00 | 5.799 | 214.513 | 7.383 | 220.569 | 7.959 | 232.033 | 7.832 | 231.5 | 17.264 | 889.883 | 27.285 | 43.8398
2020-05-27 05:15:00 | 6.405 | 218.467 | 8.162 | 221.716 | 8.486 | 230.967 | 8.487 | 230.5 | 17.256 | 889.75 | 27.312 | 47.7046
2020-05-27 05:30:00 | 6.533 | 217.253 | 7.747 | 221.417 | 8.456 | 232.467 | 8.25 | 231.9 | 17.802 | 889.85 | 26.747 | 46.7134
2020-05-27 05:45:00 | 6.742 | 222.427 | 8.689 | 226.139 | 9.372 | 236.467 | 9.21 | 232.9 | 17.014 | 890.117 | 26.864 | 52.3958
2020-05-27 06:00:00 | 6.55 | 226.2 | 8.373 | 227.254 | 9.185 | 238.067 | 9.395 | 234.933 | 17.523 | 890.017 | 26.219 | 52.297
2020-05-27 06:15:00 | 5.735 | 227.1 | 7.924 | 227.486 | 8.79 | 237.7 | 8.886 | 235.567 | 17.402 | 889.817 | 27.008 | 50.9952
2020-05-27 06:30:00 | 5.986 | 224.093 | 8.016 | 226.071 | 8.8 | 236.133 | 8.898 | 233.867 | 17.202 | 889.767 | 27.248 | 50.5113
2020-05-27 06:45:00 | 6.006 | 221.02 | 7.837 | 224.827 | 8.592 | 233.733 | 8.886 | 231.867 | 17.339 | 890.1 | 26.448 | 50.3074
2020-05-27 07:00:00 | 6.192 | 227.2 | 7.8 | 226.48 | 8.79 | 235.267 | 9.054 | 232.7 | 18.877 | 889.817 | 24.624 | 52.113
2020-05-27 07:15:00 | 6.594 | 227.633 | 7.827 | 227.101 | 8.545 | 235.3 | 8.865 | 232.633 | 19.827 | 890.05 | 23.072 | 48.467
2020-05-27 07:30:00 | 6.189 | 230.227 | 7.358 | 231.113 | 8.021 | 238.867 | 8.402 | 235.3 | 20.018 | 889.517 | 22.741 | 43.0518
2020-05-27 07:45:00 | 5.617 | 235.52 | 6.704 | 234.579 | 7.491 | 241.167 | 7.805 | 238.7 | 20.21 | 889.467 | 22.283 | 39.8791
2020-05-27 08:00:00 | 5.941 | 231.187 | 7.097 | 230.985 | 7.68 | 238.833 | 7.95 | 235.567 | 20.939 | 889.533 | 21.845 | 40.3239
2020-05-27 08:15:00 | 6.428 | 229.673 | 7.126 | 228.365 | 7.774 | 236.967 | 7.9 | 233.933 | 22.273 | 889.333 | 20.085 | 37.8931
2020-05-27 08:30:00 | 6.857 | 247.027 | 7.419 | 245.406 | 8.064 | 250.4 | 8.102 | 245.5 | 22.964 | 889.433 | 18.916 | 42.3214
2020-05-27 08:45:00 | 8.757 | 252.3 | 9.299 | 247.535 | 9.474 | 252.667 | 9.472 | 246.833 | 24.502 | 889.433 | 16.768 | 60.4522
2020-05-27 09:00:00 | 9.195 | 250.647 | 9.945 | 245.296 | 10.314 | 249.583 | 10.254 | 243.917 | 24.548 | 889.6 | 16.636 | 63.7364
2020-05-27 09:15:00 | 9.569 | 256.533 | 10.248 | 250.992 | 10.563 | 255.417 | 10.429 | 249.467 | 25.485 | 889.733 | 15.749 | 74.3388
2020-05-27 09:30:00 | 9.603 | 264.787 | 10.188 | 259.057 | 10.474 | 265.3 | 10.468 | 259.833 | 25.831 | 889.067 | 15.489 | 75.6078
2020-05-27 09:45:00 | 9.355 | 268.72 | 10.161 | 264.609 | 10.357 | 270.567 | 10.416 | 265.367 | 26.164 | 889.567 | 15.397 | 70.2758
2020-05-27 10:00:00 | 8.845 | 269.22 | 9.786 | 264.092 | 10.084 | 269.783 | 10.301 | 264.883 | 25.864 | 889.133 | 15.685 | 66.0948
2020-05-27 10:15:00 | 8.462 | 267.653 | 9.28 | 260.702 | 9.403 | 265.25 | 9.573 | 261.05 | 26.118 | 889.7 | 16.297 | 50.1546
2020-05-27 10:30:00 | 8.945 | 263.74 | 9.474 | 260.698 | 9.288 | 266.65 | 9.196 | 263.183 | 26.394 | 889.333 | 15.783 | 45.5033
2020-05-27 10:45:00 | 7.13 | 259.907 | 7.675 | 257.389 | 7.798 | 260.017 | 7.904 | 253.95 | 26.26 | 889.233 | 15.824 | 45.9509
2020-05-27 11:00:00 | 7.072 | 270.133 | 7.427 | 274.865 | 7.668 | 279.75 | 8.187 | 273 | 26.281 | 889.4 | 15.805 | 41.566
2020-05-27 11:15:00 | 8.665 | 284.527 | 9.341 | 279.554 | 9.6 | 283.483 | 9.937 | 281.017 | 26.044 | 889.333 | 16.12 | 44.4737
2020-05-27 11:30:00 | 6.596 | 282.173 | 7.376 | 274.245 | 7.517 | 277.767 | 7.881 | 273.933 | 26.427 | 889.767 | 16.037 | 50.5078
2020-05-27 11:45:00 | 8.536 | 304.187 | 8.94 | 293.584 | 9.047 | 299.35 | 9.638 | 297.8 | 26.739 | 889.333 | 15.632 | 41.6733
2020-05-27 12:00:00 | 7.968 | 297.387 | 8.577 | 289.71 | 8.852 | 294.167 | 9.498 | 291.167 | 27.181 | 889.333 | 15.532 | 33.1827
2020-05-27 12:15:00 | 7.713 | 278.773 | 8.219 | 273.884 | 8.554 | 279.6 | 8.886 | 276.4 | 27.123 | 889.333 | 15.512 | 47.7387
2020-05-27 12:30:00 | 8.974 | 277.787 | 9.566 | 275.167 | 9.944 | 281.167 | 10.248 | 274.867 | 26.352 | 889.733 | 15.672 | 39.8855
2020-05-27 12:45:00 | 6.715 | 286.98 | 6.704 | 279.21 | 6.788 | 285.367 | 6.722 | 278.183 | 26.464 | 889.467 | 15.141 | 36.6553
2020-05-27 13:00:00 | 4.986 | 292.907 | 5.288 | 288.53 | 5.469 | 294.133 | 5.647 | 297.667 | 27.152 | 889.6 | 14.607 | 36.4528
2020-05-27 13:15:00 | 7.72 | 295.613 | 8.146 | 292.638 | 8.696 | 297.267 | 8.938 | 293.4 | 26.989 | 889.333 | 14.787 | 41.0573
2020-05-27 13:30:00 | 9.482 | 308.2 | 10.155 | 304.075 | 10.336 | 309.6 | 10.791 | 306.333 | 27.689 | 889.667 | 14.279 | 51.7442
2020-05-27 13:45:00 | 6.457 | 276.313 | 6.85 | 273.633 | 7.085 | 277.417 | 7.449 | 271.95 | 27.648 | 889.533 | 14.436 | 41.1731
2020-05-27 14:00:00 | 7.78 | 266.4 | 8.217 | 261.168 | 8.794 | 267.1 | 8.586 | 262.35 | 28.206 | 889.467 | 13.553 | 50.9647
2020-05-27 14:15:00 | 8.641 | 273.26 | 9.017 | 267.398 | 9.082 | 273.7 | 9.465 | 268 | 27.61 | 889.5 | 14.052 | 47.9007
2020-05-27 14:30:00 | 9.052 | 273.133 | 9.879 | 267.278 | 10.432 | 271.633 | 10.668 | 266.467 | 28.573 | 889.533 | 13.363 | 58.8577
2020-05-27 14:45:00 | 8.078 | 250.74 | 8.674 | 249.523 | 8.768 | 255.85 | 8.943 | 251.167 | 28.281 | 889.6 | 13.572 | 50.6847
2020-05-27 15:00:00 | 7.772 | 290.653 | 8.295 | 286.314 | 8.42 | 288.433 | 8.895 | 283.8 | 27.385 | 889.6 | 13.968 | 58.0277
2020-05-27 15:15:00 | 10.438 | 289.827 | 10.89 | 285.434 | 11.175 | 288.2 | 11.385 | 284.633 | 28.518 | 889.6 | 13.456 | 59.8461
2020-05-27 15:30:00 | 8.812 | 284.4 | 9.246 | 278.675 | 9.381 | 284.6 | 9.616 | 283.933 | 28.473 | 889.433 | 13.379 | 63.1324
2020-05-27 15:45:00 | 9.913 | 282.967 | 10.93 | 280.886 | 11.145 | 287.267 | 11.562 | 283.267 | 28.514 | 889.8 | 13.367 | 66.1367
2020-05-27 16:00:00 | 10.661 | 259.473 | 11.56 | 255.848 | 11.645 | 259.867 | 11.616 | 255.467 | 28.781 | 889.433 | 12.873 | 64.1848
2020-05-27 16:15:00 | 11.133 | 285.88 | 11.695 | 282.556 | 11.742 | 287.3 | 11.883 | 282.8 | 28.894 | 889.467 | 12.935 | 65.9107
2020-05-27 16:30:00 | 9.646 | 281.947 | 10.103 | 275.634 | 10.511 | 282.067 | 10.892 | 279.1 | 28.298 | 889.4 | 12.321 | 65.505
2020-05-27 16:45:00 | 8.906 | 289.347 | 9.619 | 284.309 | 9.752 | 285.867 | 10.179 | 282.7 | 27.994 | 889.6 | 13.396 | 57.3562
2020-05-27 17:00:00 | 9.25 | 285.54 | 10.186 | 281.256 | 10.32 | 285.033 | 10.92 | 281.233 | 27.835 | 889.367 | 13.528 | 74.0595
2020-05-27 17:15:00 | 9.916 | 272.533 | 10.671 | 269.472 | 10.889 | 274.783 | 11.128 | 269.733 | 29.098 | 889.2 | 12.732 | 77.7545
2020-05-27 17:30:00 | 12.177 | 270.433 | 13.131 | 267.698 | 13.18 | 271.7 | 13.54 | 267.333 | 28.848 | 889 | 12.355 | 78.7621
2020-05-27 17:45:00 | 12.31 | 285.053 | 13.415 | 279.21 | 13.44 | 282.1 | 13.612 | 279.1 | 28.831 | 889.533 | 12.377 | 84.3201
2020-05-27 18:00:00 | 12.925 | 283.173 | 14.525 | 281.321 | 15.046 | 286.167 | 15.253 | 281.367 | 28.735 | 889.8 | 12.217 | 83.2173
2020-05-27 18:15:00 | 9.365 | 279.22 | 10.288 | 274.308 | 10.556 | 278.05 | 10.772 | 275.383 | 28.889 | 889.2 | 12.489 | 72.9091
2020-05-27 18:30:00 | 12.219 | 296.667 | 12.767 | 292.744 | 12.745 | 297.9 | 13.015 | 295.733 | 28.489 | 889.533 | 12.267 | 82.3717
2020-05-27 18:45:00 | 11.212 | 296.867 | 12.034 | 291.337 | 12.388 | 296.733 | 12.72 | 293.567 | 28.556 | 889.733 | 12.517 | 77.4177
2020-05-27 19:00:00 | 11.92 | 302.653 | 12.59 | 296.178 | 12.933 | 299.267 | 13.4 | 297 | 28.61 | 889.467 | 12.501 | 80.6074
2020-05-27 19:15:00 | 12.943 | 289.293 | 14.318 | 284.777 | 14.435 | 290.367 | 15.298 | 289.633 | 28.364 | 889.333 | 12.567 | 81.2988
2020-05-27 19:30:00 | 9.539 | 280.853 | 10.302 | 276.413 | 10.718 | 281.9 | 10.954 | 278.533 | 28.018 | 889.367 | 12.368 | 73.3845
2020-05-27 19:45:00 | 12.657 | 302.107 | 13.972 | 295.822 | 14.618 | 301.2 | 15.168 | 298.7 | 28.294 | 889.433 | 12.123 | 83.6444
2020-05-27 20:00:00 | 9.476 | 294.213 | 10.37 | 288.432 | 10.837 | 295.867 | 11.699 | 292.867 | 27.827 | 889.3 | 12.321 | 70.4506
2020-05-27 20:15:00 | 12.18 | 290.467 | 13.198 | 286.281 | 13.512 | 290 | 13.926 | 286.533 | 27.76 | 889.367 | 12.416 | 84.5247
2020-05-27 20:30:00 | 10.596 | 291.4 | 11.279 | 286.637 | 11.74 | 290.633 | 12.044 | 286.7 | 27.844 | 889.833 | 12.685 | 77.3189
2020-05-27 20:45:00 | 10.063 | 294 | 11.345 | 287.965 | 11.957 | 291.433 | 12.469 | 287.767 | 27.16 | 889.867 | 12.879 | 78.4188
2020-05-27 21:00:00 | 9.376 | 294.733 | 10.896 | 288.256 | 11.188 | 292.567 | 11.764 | 290.433 | 27.06 | 889.5 | 13.429 | 79.7483
2020-05-27 21:15:00 | 8.732 | 288.627 | 10.429 | 283.783 | 11.334 | 288.633 | 11.868 | 283.7 | 26.506 | 889.2 | 13.559 | 71.8774
2020-05-27 21:30:00 | 8.562 | 276.907 | 9.765 | 271.968 | 10.255 | 277.233 | 10.784 | 273.033 | 26.314 | 889.5 | 13.723 | 71.0346
2020-05-27 21:45:00 | 8.667 | 276.013 | 9.938 | 267.66 | 10.602 | 273.967 | 11.215 | 269.433 | 25.848 | 889.567 | 14.06 | 74.2826
2020-05-27 22:00:00 | 8.701 | 269.267 | 10.062 | 264.355 | 10.448 | 270.367 | 10.7 | 265.2 | 25.918 | 889.433 | 14.148 | 68.6926
2020-05-27 22:15:00 | 7.622 | 268.12 | 8.654 | 261.585 | 9.279 | 267.167 | 9.673 | 261.05 | 25.381 | 889.533 | 14.499 | 58.582
2020-05-27 22:30:00 | 8.072 | 259.827 | 9.368 | 256.177 | 10.023 | 263.483 | 10.397 | 258.3 | 25.044 | 889.367 | 14.967 | 65.7338
2020-05-27 22:45:00 | 7.961 | 260.12 | 9.419 | 256.949 | 9.979 | 264 | 10.185 | 259.067 | 24.527 | 889.5 | 15.028 | 58.3752
2020-05-27 23:00:00 | 6.524 | 257.7 | 7.792 | 254.174 | 8.524 | 262.467 | 8.902 | 257.617 | 24.427 | 889.9 | 15.256 | 46.0632
2020-05-27 23:15:00 | 6.054 | 237.18 | 7.476 | 239.372 | 7.65 | 248.867 | 7.597 | 245.6 | 23.064 | 889.233 | 15.792 | 38.2214
2020-05-27 23:30:00 | 6.248 | 238.873 | 7.724 | 239.904 | 8.016 | 248.6 | 8.076 | 244.6 | 23.014 | 889.567 | 16.512 | 43.9521
2020-05-27 23:45:00 | 7.248 | 234.933 | 9.178 | 233.86 | 9.817 | 242.033 | 9.848 | 238.133 | 22.648 | 890.067 | 16.952 | 53.0829