## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-28 00:00:00 | 6.432 | 228.567 | 7.979 | 230.062 | 8.475 | 236.833 | 8.52 | 232.967 | 21.664 | 889.233 | 17.192 | 40.7311
2020-05-28 00:15:00 | 6.323 | 231.52 | 8.111 | 231.742 | 8.537 | 239.367 | 8.802 | 233.467 | 21.456 | 889.367 | 17.787 | 48.9566
2020-05-28 00:30:00 | 7.127 | 231.473 | 8.82 | 232.059 | 9.648 | 239.933 | 9.772 | 235.467 | 21.814 | 889.567 | 18.171 | 61.4946
2020-05-28 00:45:00 | 7.064 | 227.107 | 9.042 | 227.911 | 10.225 | 234.567 | 10.63 | 230.167 | 21.885 | 889.367 | 18.616 | 66.8743
2020-05-28 01:00:00 | 7.869 | 233.24 | 9.594 | 231.272 | 10.718 | 239.133 | 11.228 | 234.433 | 21.831 | 889.533 | 18.955 | 75.1971
2020-05-28 01:15:00 | 8.588 | 229.24 | 10.333 | 229.522 | 11.315 | 236.233 | 11.672 | 233.133 | 22.018 | 889.5 | 19.347 | 80.9463
2020-05-28 01:30:00 | 8.782 | 229.92 | 10.475 | 230.344 | 11.581 | 238.3 | 12.092 | 232.367 | 21.727 | 889.6 | 20.181 | 85.3895
2020-05-28 01:45:00 | 8.76 | 231.66 | 10.984 | 232.007 | 12.185 | 237.767 | 12.608 | 234.1 | 21.448 | 890.05 | 20.827 | 88.3874
2020-05-28 02:00:00 | 9.12 | 229.033 | 11.235 | 228.49 | 12.04 | 236.1 | 12.404 | 230.7 | 22.006 | 889.367 | 21.024 | 88.4343
2020-05-28 02:15:00 | 8.872 | 229.84 | 11.011 | 229.271 | 12.056 | 237.433 | 12.717 | 232.367 | 21.631 | 889.983 | 21.413 | 87.0956
2020-05-28 02:30:00 | 8.819 | 227.487 | 10.562 | 227.941 | 11.749 | 235.867 | 12.183 | 231.567 | 21.268 | 889.883 | 21.509 | 85.7775
2020-05-28 02:45:00 | 8.026 | 227.087 | 10.008 | 228.063 | 11.413 | 234.1 | 11.697 | 231.267 | 21.456 | 889.667 | 21.632 | 85.2012
2020-05-28 03:00:00 | 8.756 | 228.613 | 10.593 | 228.259 | 11.97 | 236.033 | 12.499 | 233.133 | 21.114 | 889.733 | 21.755 | 87.5745
2020-05-28 03:15:00 | 8.74 | 240.447 | 11.02 | 239.954 | 12.062 | 248.017 | 12.393 | 242.1 | 21.51 | 889.983 | 21.563 | 84.5027
2020-05-28 03:30:00 | 9.402 | 254.307 | 10.958 | 254.361 | 11.862 | 259.05 | 12.256 | 253.583 | 21.739 | 889.4 | 21.92 | 76.1351
2020-05-28 03:45:00 | 12.305 | 307.987 | 13.792 | 301.923 | 14.23 | 308.2 | 14.47 | 305.267 | 21.414 | 889.55 | 26.339 | 80.2237
2020-05-28 04:00:00 | 9.411 | 299.987 | 10.837 | 295.01 | 11.192 | 301.333 | 11.644 | 299.767 | 19.148 | 889.85 | 30.224 | 73.8797
2020-05-28 04:15:00 | 7.149 | 287 | 8.519 | 282.674 | 9.124 | 287.5 | 9.647 | 285.733 | 18.589 | 889.85 | 30.445 | 55.6693
2020-05-28 04:30:00 | 6.923 | 272.093 | 8.177 | 271.514 | 8.759 | 275.133 | 9.506 | 271.8 | 18.573 | 889.867 | 30.128 | 53.4225
2020-05-28 04:45:00 | 8.242 | 281.707 | 9.138 | 277.219 | 9.826 | 281.933 | 10.35 | 280.6 | 18.31 | 889.683 | 30.837 | 65.9093
2020-05-28 05:00:00 | 7.135 | 264.2 | 8.352 | 261.11 | 8.968 | 268.383 | 9.358 | 264.683 | 18.673 | 889.667 | 31.933 | 56.1397
2020-05-28 05:15:00 | 7.882 | 269.133 | 9.453 | 264.451 | 10.062 | 269.933 | 10.765 | 266.533 | 18.356 | 889.583 | 32.536 | 60.1786
2020-05-28 05:30:00 | 7.514 | 243.467 | 8.783 | 241.454 | 9.397 | 248 | 10.021 | 243.7 | 18.335 | 889.817 | 38.016 | 57.0407
2020-05-28 05:45:00 | 7.936 | 256.36 | 9.377 | 253.982 | 10.176 | 258.5 | 10.459 | 252.7 | 18.723 | 889.417 | 35.669 | 63.7314
2020-05-28 06:00:00 | 7.385 | 276.647 | 8.852 | 271.654 | 9.431 | 276.167 | 9.923 | 272.133 | 18.556 | 889.667 | 35.331 | 58.8463
2020-05-28 06:15:00 | 7.872 | 285.24 | 9.509 | 282.432 | 10.346 | 283.167 | 11.068 | 279.3 | 18.981 | 889.817 | 37.493 | 72.9937
2020-05-28 06:30:00 | 14.146 | 270.08 | 16.176 | 265.127 | 17.133 | 270.767 | 17.482 | 266.583 | 19.127 | 889.867 | 38.395 | 89.1015
2020-05-28 06:45:00 | 14.963 | 277.667 | 16.885 | 271.033 | 17.59 | 276 | 18.016 | 271.033 | 18.739 | 889.908 | 41.248 | 88.9459
2020-05-28 07:00:00 | 18.322 | 280.4 | 20.412 | 272.744 | 21.517 | 277.567 | 22.153 | 273.667 | 17.898 | 889.75 | 44.389 | 86.8611
2020-05-28 07:15:00 | 14.573 | 278.173 | 16.321 | 273.95 | 17.315 | 278.533 | 17.857 | 273.433 | 16.798 | 890.142 | 45.461 | 89.0525
2020-05-28 07:30:00 | 11.705 | 279.853 | 13.265 | 274.042 | 13.826 | 278.233 | 14.081 | 272.9 | 16.848 | 890.117 | 45.2 | 84.4935
2020-05-28 07:45:00 | 9.46 | 268.593 | 10.629 | 261.083 | 11.14 | 266.667 | 11.54 | 261.667 | 17.252 | 890.025 | 43.947 | 70.2352
2020-05-28 08:00:00 | 9.228 | 278.6 | 10.392 | 270.304 | 10.63 | 276.7 | 10.986 | 272.367 | 17.194 | 890.042 | 43.904 | 70.6339
2020-05-28 08:15:00 | 9.124 | 285.267 | 10.363 | 276.478 | 10.743 | 280.367 | 11.001 | 277.1 | 17.081 | 890.133 | 44.315 | 63.7307
2020-05-28 08:30:00 | 8.093 | 285.507 | 9.07 | 278.232 | 9.39 | 282.933 | 9.537 | 277.6 | 17.181 | 889.908 | 43.808 | 66.7755
2020-05-28 08:45:00 | 7.518 | 285.853 | 8.158 | 278.669 | 8.373 | 282.233 | 8.751 | 279.033 | 16.931 | 889.783 | 43.568 | 50.9519
2020-05-28 09:00:00 | 7.336 | 284.547 | 7.73 | 278.728 | 8.038 | 279.067 | 8.021 | 274.967 | 16.764 | 889.95 | 43.36 | 51.1302
2020-05-28 09:15:00 | 12.578 | 268.473 | 13.937 | 263.744 | 14.35 | 269.3 | 14.599 | 266.3 | 16.998 | 889.958 | 42.336 | 82.57
2020-05-28 09:30:00 | 11.556 | 269.333 | 12.93 | 264.071 | 13.289 | 267.8 | 13.397 | 263.883 | 16.914 | 889.858 | 42.219 | 89.2124
2020-05-28 09:45:00 | 13.95 | 274.573 | 15.209 | 267.597 | 15.823 | 273.3 | 16.328 | 268.533 | 16.898 | 889.833 | 40.144 | 90.6889
2020-05-28 10:00:00 | 13.766 | 278.333 | 14.905 | 272.182 | 14.902 | 276.6 | 15.272 | 271.8 | 16.681 | 889.817 | 40.2 | 91.1586
2020-05-28 10:15:00 | 13.725 | 279.347 | 14.931 | 275.618 | 15.351 | 280.067 | 15.59 | 277.033 | 16.698 | 889.25 | 39.288 | 89.3182
2020-05-28 10:30:00 | 12.614 | 274.24 | 13.577 | 267.219 | 13.797 | 272.533 | 13.848 | 268.667 | 17.064 | 889.933 | 39.384 | 88.9537
2020-05-28 10:45:00 | 13.686 | 277.6 | 14.848 | 270.964 | 15.138 | 275.7 | 15.085 | 270.8 | 16.881 | 890.05 | 37.088 | 90.0409
2020-05-28 11:00:00 | 14.651 | 265.607 | 16.244 | 259.443 | 16.657 | 265.333 | 16.463 | 263 | 17.381 | 889.9 | 34.323 | 88.413
2020-05-28 11:15:00 | 14.386 | 273.093 | 15.383 | 266.238 | 15.755 | 271.167 | 15.786 | 267.4 | 17.431 | 889.567 | 33.632 | 83.5399
2020-05-28 11:30:00 | 13.132 | 274.44 | 14.727 | 269.686 | 14.749 | 272.9 | 14.928 | 270.233 | 17.781 | 889.667 | 31.728 | 71.1455
2020-05-28 11:45:00 | 14.101 | 267.747 | 15.415 | 261.084 | 15.278 | 266.967 | 15.28 | 261.85 | 18.052 | 889.617 | 30.763 | 66.0095
2020-05-28 12:00:00 | 12.662 | 265.253 | 13.38 | 259.391 | 13.732 | 262.833 | 13.575 | 257.767 | 17.885 | 890.05 | 30.515 | 48.7314
2020-05-28 12:15:00 | 12.084 | 278.087 | 13.234 | 270.411 | 13.097 | 274.1 | 13.328 | 269.983 | 18.348 | 889.567 | 27.331 | 40.7695
2020-05-28 12:30:00 | 13.038 | 279.947 | 14.025 | 273.01 | 14.34 | 277.167 | 14.56 | 273.533 | 19.227 | 889.467 | 22.848 | 44.7593
2020-05-28 12:45:00 | 13.977 | 297.973 | 15.112 | 291.809 | 15.316 | 295.967 | 15.623 | 292.4 | 18.748 | 889.417 | 19.995 | 44.5703
2020-05-28 13:00:00 | 14.484 | 278.413 | 15.309 | 271.477 | 15.818 | 276.667 | 16.265 | 271.133 | 19.181 | 889.8 | 20.491 | 36.2247
2020-05-28 13:15:00 | 12.318 | 284.227 | 13.5 | 277.519 | 13.953 | 281.9 | 14.546 | 278.967 | 18.548 | 889.617 | 22.283 | 33.3682
2020-05-28 13:30:00 | 11.368 | 277 | 12.042 | 271.38 | 12.628 | 278.3 | 12.731 | 275.6 | 18.81 | 890.083 | 22.8 | 34.4504
2020-05-28 13:45:00 | 11.867 | 279.76 | 12.533 | 273.272 | 13.19 | 277.9 | 13.494 | 271.417 | 18.735 | 889.333 | 23.4 | 34.5797
2020-05-28 14:00:00 | 13.953 | 283.307 | 14.945 | 277.948 | 15.263 | 281.8 | 15.485 | 276.15 | 19.002 | 889.917 | 22.147 | 33.8493
2020-05-28 14:15:00 | 12.862 | 273.927 | 13.586 | 270.794 | 13.902 | 277.217 | 13.703 | 273.633 | 19.414 | 889.7 | 23.704 | 32.8026
2020-05-28 14:30:00 | 13.721 | 293.16 | 14.46 | 286.836 | 14.594 | 290.667 | 15.256 | 288.033 | 19.564 | 889.85 | 21.147 | 35.2143
2020-05-28 14:45:00 | 12.734 | 282.347 | 13.776 | 270.363 | 14.195 | 274.8 | 14.305 | 270.283 | 18.923 | 889.75 | 23.187 | 40.1776
2020-05-28 15:00:00 | 14.099 | 290.187 | 15.194 | 281.658 | 15.737 | 286.667 | 16.387 | 283.133 | 19.218 | 889.767 | 23.296 | 41.1212
2020-05-28 15:15:00 | 15.103 | 280.733 | 16.827 | 275.219 | 16.928 | 279.9 | 17.342 | 276.633 | 19.198 | 889.7 | 23.811 | 41.3763
2020-05-28 15:30:00 | 13.245 | 292.2 | 14.045 | 285.084 | 14.79 | 289.967 | 15.188 | 286.8 | 18.756 | 890.15 | 24.197 | 49.9941
2020-05-28 15:45:00 | 16.122 | 295.12 | 17.072 | 288.732 | 17.308 | 294.8 | 17.932 | 291.8 | 18.66 | 889.8 | 23.395 | 54.2489
2020-05-28 16:00:00 | 15.262 | 288.467 | 16.7 | 281.845 | 16.865 | 288 | 17.491 | 285.5 | 18.673 | 889.967 | 22.72 | 49.432
2020-05-28 16:15:00 | 14.722 | 287.453 | 16.393 | 281.378 | 16.781 | 284.933 | 16.846 | 282.8 | 18.306 | 889.817 | 22.987 | 45.4173
2020-05-28 16:30:00 | 16.748 | 292.173 | 18.003 | 287.965 | 18.316 | 288.9 | 18.874 | 287.8 | 17.864 | 889.767 | 22.941 | 43.3765
2020-05-28 16:45:00 | 15.67 | 294.093 | 16.406 | 286.772 | 16.826 | 291.6 | 17.287 | 290.967 | 18.31 | 889.817 | 22.776 | 43.6643
2020-05-28 17:00:00 | 16.558 | 285.36 | 17.882 | 279.225 | 18.441 | 284.9 | 18.867 | 281.133 | 18.514 | 890.117 | 21.448 | 47.6769
2020-05-28 17:15:00 | 16.589 | 294.293 | 18.258 | 287.159 | 18.803 | 292.333 | 19.536 | 288.867 | 18.498 | 889.85 | 21.635 | 49.7461
2020-05-28 17:30:00 | 16.884 | 286.12 | 18.602 | 277.32 | 18.932 | 281.933 | 18.994 | 279.6 | 18.239 | 889.083 | 20.075 | 56.6165
2020-05-28 17:45:00 | 17.174 | 290.093 | 18.212 | 283.005 | 18.592 | 284.933 | 19.569 | 283.8 | 18.106 | 889.85 | 20.875 | 71.4674
2020-05-28 18:00:00 | 14.996 | 282.687 | 16.921 | 277.887 | 17.076 | 280.733 | 17.189 | 277.9 | 18.189 | 889.9 | 20.892 | 80.8966
2020-05-28 18:15:00 | 11.627 | 338.733 | 12.837 | 328.289 | 13.439 | 334.9 | 13.574 | 333.933 | 17.781 | 889.95 | 25.771 | 81.3322
2020-05-28 18:30:00 | 12.195 | 330.533 | 13.26 | 323.211 | 13.773 | 326.2 | 14.067 | 325 | 17.164 | 889.767 | 26.251 | 82.4115
2020-05-28 18:45:00 | 11.306 | 319.813 | 11.702 | 315.067 | 12.048 | 323 | 12.452 | 322.7 | 17.364 | 889.85 | 27.027 | 80.1938
2020-05-28 19:00:00 | 10.506 | 322.813 | 11.276 | 316.341 | 11.64 | 323.167 | 11.975 | 321.1 | 16.564 | 889.633 | 28.333 | 80.6976
2020-05-28 19:15:00 | 12.023 | 324.147 | 12.915 | 318.132 | 13.561 | 322.067 | 14.147 | 320.3 | 16.027 | 889.783 | 29.648 | 84.0323
2020-05-28 19:30:00 | 13.136 | 325.427 | 14.255 | 321.51 | 14.843 | 326.5 | 15.233 | 325.6 | 16.103 | 889.7 | 26.144 | 84.0913
2020-05-28 19:45:00 | 13.097 | 321.92 | 14.352 | 315.967 | 15.085 | 319.2 | 15.86 | 318.533 | 15.485 | 889.833 | 25.133 | 83.3083
2020-05-28 20:00:00 | 13.93 | 338.853 | 15.301 | 344.976 | 15.658 | 350.567 | 15.588 | 349.7 | 14.562 | 890.2 | 30.747 | 83.0489
2020-05-28 20:15:00 | 11.627 | 324.921 | 13.017 | 333.055 | 13.379 | 313 | 13.791 | 348.533 | 13.066 | 889.567 | 33.805 | 85.0193
2020-05-28 20:30:00 | 8.926 | 244.535 | 9.842 | 311.528 | 9.779 | 233.834 | 10.242 | 244.133 | 12.666 | 889.65 | 38.283 | 69.1659
2020-05-28 20:45:00 | 8.87 | 165.855 | 9.589 | 294.705 | 9.688 | 162.734 | 10.238 | 204.167 | 11.566 | 889.9 | 41.611 | 67.4079
2020-05-28 21:00:00 | 8.218 | 314.415 | 8.861 | 346.958 | 9.118 | 350.433 | 9.224 | 349.767 | 11.228 | 889.592 | 40.539 | 71.0396
2020-05-28 21:15:00 | 8.894 | 338.933 | 9.47 | 330.557 | 9.807 | 338.067 | 9.918 | 338 | 11.078 | 889.883 | 39.059 | 61.5457
2020-05-28 21:30:00 | 6.135 | 334.867 | 6.591 | 329.093 | 6.975 | 334.4 | 6.96 | 334.133 | 11.078 | 889.808 | 40.573 | 31.3353
2020-05-28 21:45:00 | 5.207 | 325.693 | 5.657 | 330.608 | 6.119 | 337.433 | 6.312 | 336.5 | 10.928 | 889.367 | 39.792 | 20.1673
2020-05-28 22:00:00 | 6.385 | 335.2 | 6.85 | 331.65 | 7.083 | 338.033 | 7.51 | 336.767 | 11.078 | 889.633 | 37.173 | 19.3295
2020-05-28 22:15:00 | 4.944 | 333.067 | 5.537 | 328.403 | 5.878 | 333.667 | 5.938 | 331.667 | 11.128 | 889.317 | 37.904 | 14.772
2020-05-28 22:30:00 | 5.724 | 333.72 | 6.512 | 328.668 | 6.819 | 334.9 | 7.015 | 335.133 | 10.514 | 889.633 | 37.752 | 14.5979
2020-05-28 22:45:00 | 5.153 | 336.84 | 5.919 | 329.095 | 6.564 | 335.1 | 6.945 | 334.9 | 10.626 | 889.267 | 38.093 | 10.9115
2020-05-28 23:00:00 | 4.459 | 309.893 | 4.548 | 310.188 | 4.693 | 318.067 | 5.2 | 319.533 | 10.616 | 889.417 | 38.323 | 7.4112
2020-05-28 23:15:00 | 3.376 | 309.587 | 3.966 | 305.107 | 4.216 | 312.2 | 4.505 | 314.733 | 10.31 | 889.667 | 38.344 | 6.6609
2020-05-28 23:30:00 | 3.259 | 314.987 | 3.353 | 313.929 | 3.505 | 319.467 | 3.791 | 321.5 | 10.26 | 889.767 | 37.469 | 6.5052
2020-05-28 23:45:00 | 2.675 | 273.04 | 2.648 | 277.078 | 2.832 | 283.967 | 3.133 | 281.933 | 10.366 | 889.567 | 37.696 | 2.4664