## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-29 00:00:00 | 3.383 | 284.707 | 3.642 | 281.6 | 3.954 | 287.2 | 4.314 | 285.233 | 10.382 | 889.883 | 37.107 | 5.2198
2020-05-29 00:15:00 | 3.779 | 283.867 | 4.382 | 283.198 | 4.445 | 288.633 | 4.724 | 285.567 | 9.86 | 889.55 | 37.605 | 6.3816
2020-05-29 00:30:00 | 4.621 | 263.573 | 4.78 | 267.712 | 4.89 | 274.4 | 5.05 | 272.3 | 9.087 | 890.217 | 38.685 | 8.4799
2020-05-29 00:45:00 | 4.781 | 254.86 | 5.266 | 259.489 | 5.14 | 266.433 | 5.066 | 263.9 | 8.949 | 889.55 | 38.931 | 9.7007
2020-05-29 01:00:00 | 5.028 | 252.087 | 5.012 | 256.701 | 5.12 | 262.533 | 4.853 | 263.1 | 8.574 | 889.933 | 38.816 | 11.163
2020-05-29 01:15:00 | 3.824 | 246.6 | 4.232 | 250.963 | 4.016 | 262.233 | 4.029 | 266.417 | 9.866 | 889.6 | 35.691 | 8.8352
2020-05-29 01:30:00 | 3.539 | 239.827 | 4.952 | 243.935 | 4.749 | 258.3 | 4.673 | 262.067 | 8.277 | 889.9 | 38.4 | 7.5057
2020-05-29 01:45:00 | 3.657 | 250.08 | 3.639 | 259.064 | 3.706 | 268.367 | 3.818 | 272.117 | 7.95 | 889.717 | 40.008 | 5.6014
2020-05-29 02:00:00 | 4.302 | 239.06 | 4.295 | 247.966 | 4.084 | 259.633 | 3.995 | 261.533 | 7.693 | 889.658 | 40.771 | 4.581
2020-05-29 02:15:00 | 4.006 | 236.267 | 3.795 | 250.091 | 3.341 | 265.733 | 3.441 | 267.433 | 7.122 | 889.775 | 41.765 | 2.1196
2020-05-29 02:30:00 | 5.846 | 230.467 | 6.091 | 237.589 | 5.453 | 245.667 | 4.852 | 241.967 | 7.356 | 889.425 | 41.792 | 2.3925
2020-05-29 02:45:00 | 3.496 | 218.393 | 1.408 | 238.82 | 1.236 | 259.9 | 1.246 | 270.167 | 6.472 | 890.133 | 43.755 | 0.41355
2020-05-29 03:00:00 | 4.566 | 225.053 | 3.944 | 230.882 | 3.986 | 234.067 | 3.906 | 227.533 | 6.319 | 890.275 | 44.043 | 2.8217
2020-05-29 03:15:00 | 3.411 | 221.127 | 1.871 | 234.394 | 1.752 | 238 | 1.818 | 227.4 | 6.837 | 889.733 | 42.048 | 0.24301
2020-05-29 03:30:00 | 4.528 | 210.373 | 2.776 | 217.034 | 1.184 | 236.5 | 1.2 | 227.933 | 5.65 | 889.433 | 44.363 | 0.41639
2020-05-29 03:45:00 | 5.514 | 219.007 | 4.795 | 213.133 | 4.206 | 213.633 | 3.531 | 211.233 | 5.567 | 890.275 | 45.269 | 1.3046
2020-05-29 04:00:00 | 4.336 | 191.367 | 2.477 | 193.506 | 1.904 | 184.4 | 1.713 | 207.667 | 5.912 | 889.633 | 44.203 | 0.27925
2020-05-29 04:15:00 | 5.428 | 209.927 | 4.894 | 200.776 | 4.434 | 198.833 | 4.14 | 188.467 | 5.859 | 889.867 | 44.597 | 2.3299
2020-05-29 04:30:00 | 4.666 | 208.593 | 4.137 | 198.807 | 3.685 | 202 | 3.442 | 197.333 | 6.721 | 889.858 | 44.224 | 2.5737
2020-05-29 04:45:00 | 5.684 | 212.847 | 4.997 | 196.641 | 4.913 | 196.767 | 4.537 | 188.267 | 5.67 | 889.842 | 44.459 | 2.0521
2020-05-29 05:00:00 | 5.06 | 203.587 | 4.835 | 187.991 | 4.472 | 184.567 | 4.557 | 182.567 | 5.442 | 889.75 | 45.216 | 2.0621
2020-05-29 05:15:00 | 5.894 | 207.647 | 5.248 | 190.741 | 5.68 | 192.633 | 5.883 | 186.367 | 5.67 | 890.183 | 44.971 | 6.1386
2020-05-29 05:30:00 | 6.573 | 209.293 | 6.431 | 196.795 | 5.967 | 196.233 | 6.288 | 188.233 | 5.726 | 889.5 | 44.832 | 8.6895
2020-05-29 05:45:00 | 5.604 | 198.347 | 7.167 | 195.109 | 6.891 | 197.133 | 6.469 | 190.367 | 5.356 | 890.083 | 45.899 | 10.5398
2020-05-29 06:00:00 | 5.99 | 200.167 | 7.495 | 194.285 | 7.522 | 196.1 | 7.535 | 189.1 | 5.928 | 890.208 | 45.888 | 13.4688
2020-05-29 06:15:00 | 6.805 | 205.9 | 7.792 | 199.35 | 8.134 | 200.2 | 7.987 | 193.6 | 5.978 | 889.8 | 44.864 | 18.4278
2020-05-29 06:30:00 | 6.703 | 206.267 | 7.513 | 202.233 | 7.782 | 201.8 | 8.345 | 194.6 | 7.339 | 889.7 | 41.237 | 21.7675
2020-05-29 06:45:00 | 6.328 | 206.913 | 8.03 | 204.135 | 8.418 | 207.867 | 8.802 | 202.167 | 7.766 | 889.6 | 38.667 | 23.2483
2020-05-29 07:00:00 | 6.167 | 204.74 | 7.402 | 204.076 | 8.192 | 204.867 | 8.675 | 198.433 | 8.554 | 889.75 | 36.683 | 22.1249
2020-05-29 07:15:00 | 3.424 | 212.72 | 4.858 | 209.747 | 6.496 | 210.733 | 7.535 | 201.633 | 9.533 | 889.717 | 34.251 | 18.9757
2020-05-29 07:30:00 | 5.011 | 211.633 | 5.872 | 207.196 | 6.84 | 209.3 | 7.691 | 202.633 | 10.595 | 889.183 | 31.125 | 16.0609
2020-05-29 07:45:00 | 6.092 | 204.567 | 6.603 | 198.408 | 7.35 | 200.667 | 8.089 | 194.567 | 12.245 | 889.983 | 27.269 | 14.8849
2020-05-29 08:00:00 | 6.613 | 204.987 | 7.031 | 200.699 | 7.189 | 202.5 | 7.196 | 195.467 | 13.197 | 889.383 | 24.928 | 14.1836
2020-05-29 08:15:00 | 6.018 | 199.413 | 5.912 | 195.038 | 6.178 | 195 | 6.522 | 190.633 | 13.937 | 889.867 | 22.075 | 11.6611
2020-05-29 08:30:00 | 6.898 | 199.28 | 6.995 | 194.656 | 7.256 | 197.833 | 7.463 | 192.7 | 13.92 | 889.767 | 20.565 | 14.8949
2020-05-29 08:45:00 | 4.962 | 200.873 | 5.106 | 194.323 | 5.417 | 197.867 | 5.64 | 192.567 | 14.884 | 889.533 | 19.216 | 7.9512
2020-05-29 09:00:00 | 5.054 | 199.087 | 5.158 | 192.222 | 5.751 | 195 | 6.247 | 190.033 | 15.179 | 889.7 | 18.037 | 6.83
2020-05-29 09:15:00 | 3.867 | 208.153 | 4.078 | 203.828 | 4.314 | 205.5 | 4.706 | 203.4 | 14.946 | 889.433 | 17.768 | 4.122
2020-05-29 09:30:00 | 4.436 | 204.1 | 4.492 | 205.233 | 4.885 | 207.9 | 5.373 | 203.767 | 16.058 | 889.6 | 17.373 | 4.7501
2020-05-29 09:45:00 | 3.399 | 224.733 | 3.498 | 217.101 | 3.887 | 216.733 | 4.194 | 212.867 | 16.648 | 889.467 | 16.979 | 4.2968
2020-05-29 10:00:00 | 4.636 | 249.353 | 4.744 | 242 | 4.916 | 248.933 | 5.276 | 244.867 | 17.406 | 889.667 | 16.336 | 6.0597
2020-05-29 10:15:00 | 5.289 | 256.533 | 5.708 | 250.498 | 5.995 | 254.683 | 6.178 | 250.417 | 17.389 | 889.267 | 16.567 | 5.8011
2020-05-29 10:30:00 | 3.06 | 255.587 | 3.151 | 242.55 | 3.921 | 244.95 | 4.075 | 238.683 | 16.981 | 889.5 | 16.783 | 4.8219
2020-05-29 10:45:00 | 3.114 | 238.253 | 3.459 | 229.015 | 4 | 230.083 | 4.156 | 226.65 | 17.702 | 889.1 | 16.664 | 4.9988
2020-05-29 11:00:00 | 3.082 | 301.24 | 3.03 | 295.508 | 3.351 | 297.033 | 3.618 | 291.6 | 16.814 | 889.5 | 17.072 | 7.8511
2020-05-29 11:15:00 | 2.594 | 249.54 | 2.404 | 254.729 | 2.831 | 269.567 | 3.788 | 275.417 | 18.481 | 889.5 | 16.207 | 7.2819
2020-05-29 11:30:00 | 4.33 | 289.407 | 4.592 | 283.102 | 4.716 | 289.9 | 5.061 | 285.967 | 17.735 | 889.367 | 16.396 | 9.1244
2020-05-29 11:45:00 | 5.414 | 283.44 | 5.66 | 279.725 | 6.01 | 280.633 | 5.84 | 277.1 | 18.181 | 889.2 | 16.032 | 12.3056
2020-05-29 12:00:00 | 5.196 | 307.347 | 5.272 | 299.337 | 5.608 | 306.133 | 5.756 | 302.867 | 18.314 | 889.2 | 15.745 | 18.0477
2020-05-29 12:15:00 | 5.742 | 287.72 | 6.043 | 281.459 | 6.313 | 284.867 | 6.459 | 281.067 | 19.102 | 889.767 | 15.171 | 15.511
2020-05-29 12:30:00 | 7.57 | 305.027 | 7.998 | 297.576 | 8.301 | 298.9 | 8.43 | 295.3 | 19.123 | 889.633 | 13.643 | 18.4627
2020-05-29 12:45:00 | 4.314 | 239.464 | 4.633 | 313.53 | 5.031 | 325.2 | 5.371 | 339.867 | 18.902 | 889.4 | 14.003 | 16.5626
2020-05-29 13:00:00 | 8.271 | 324.093 | 8.886 | 311.01 | 8.978 | 317.3 | 9.441 | 313.933 | 18.923 | 889.733 | 14.104 | 28.2187
2020-05-29 13:15:00 | 3.265 | 255.861 | 2.75 | 272.502 | 3.206 | 275.667 | 4.046 | 273.3 | 19.485 | 889.667 | 13.951 | 20.3222
2020-05-29 13:30:00 | 3.48 | 262.495 | 3.14 | 253.553 | 3.145 | 261.667 | 3.424 | 278.85 | 19.406 | 889.367 | 14.055 | 6.4903
2020-05-29 13:45:00 | 6.246 | 285.693 | 6.389 | 312.982 | 6.514 | 319.6 | 7.015 | 327.6 | 19.618 | 889.267 | 13.911 | 13.5043
2020-05-29 14:00:00 | 6.543 | 128.594 | 6.452 | 147.303 | 6.983 | 139.333 | 7.1 | 123.767 | 19.414 | 889.8 | 14.097 | 16.9065
2020-05-29 14:15:00 | 5.294 | 143.963 | 5.68 | 175.442 | 5.973 | 129.933 | 6.154 | 164.833 | 19.202 | 889.3 | 13.645 | 19.6912
2020-05-29 14:30:00 | 5.934 | 264.897 | 6.107 | 313.627 | 6.229 | 325.933 | 6.472 | 314.067 | 19.198 | 889.5 | 13.468 | 15.6211
2020-05-29 14:45:00 | 3.912 | 317.533 | 4.182 | 314.417 | 4.77 | 313.9 | 5.199 | 314.233 | 19.998 | 889.267 | 13.083 | 16.6088
2020-05-29 15:00:00 | 4.043 | 26.765 | 3.551 | 30.321 | 3.481 | 38.933 | 3.611 | 28.967 | 19.939 | 889.567 | 12.768 | 9.7149
2020-05-29 15:15:00 | 7.31 | 238.401 | 7.542 | 326.636 | 7.75 | 318.9 | 8.043 | 329.133 | 20.298 | 889.4 | 12.656 | 18.5572
2020-05-29 15:30:00 | 3.861 | 275.145 | 4.025 | 242.486 | 4.429 | 204.068 | 4.482 | 173.234 | 20.185 | 889.4 | 12.783 | 20.8708
2020-05-29 15:45:00 | 5.043 | 293.373 | 5.291 | 288.592 | 5.342 | 296.167 | 5.723 | 302.533 | 20.244 | 889.267 | 12.097 | 27.263
2020-05-29 16:00:00 | 9.3 | 333.373 | 9.571 | 325.246 | 9.728 | 327.467 | 9.584 | 324.767 | 20.889 | 889.5 | 11.271 | 31.0397
2020-05-29 16:15:00 | 9.321 | 324.147 | 10.026 | 317.048 | 10.359 | 320.8 | 10.73 | 321.567 | 21.256 | 889.2 | 10.547 | 29.8402
2020-05-29 16:30:00 | 7.766 | 313.227 | 8.209 | 321.529 | 8.477 | 327.433 | 8.957 | 322.5 | 20.748 | 888.933 | 10.159 | 43.6586
2020-05-29 16:45:00 | 8.75 | 327.613 | 8.933 | 320.742 | 9.316 | 326.833 | 9.58 | 326.033 | 20.794 | 889.233 | 10.627 | 39.985
2020-05-29 17:00:00 | 7.336 | 313.267 | 7.514 | 304.148 | 7.947 | 308.933 | 8.161 | 307.7 | 21.31 | 888.733 | 9.618 | 32.4011
2020-05-29 17:15:00 | 7.867 | 327.973 | 8.275 | 319.39 | 8.579 | 322.2 | 9.057 | 321.6 | 21.352 | 888.933 | 9.899 | 41.1347
2020-05-29 17:30:00 | 7.861 | 324.32 | 8.099 | 317.305 | 8.528 | 322.433 | 8.925 | 325.3 | 21.381 | 889.167 | 10.444 | 39.2936
2020-05-29 17:45:00 | 6.511 | 313.56 | 6.492 | 333.807 | 6.625 | 324.933 | 7.144 | 325.067 | 20.831 | 889.767 | 11.744 | 27.5089
2020-05-29 18:00:00 | 9.76 | 313.133 | 10.323 | 309.224 | 10.537 | 312.667 | 10.739 | 311.7 | 21.223 | 889.533 | 12.176 | 54.3072
2020-05-29 18:15:00 | 7.828 | 316.6 | 8.124 | 310.275 | 8.411 | 315.5 | 8.804 | 313.067 | 20.935 | 889.533 | 12.341 | 52.5315
2020-05-29 18:30:00 | 8.305 | 332.747 | 8.886 | 326.393 | 9.181 | 332.567 | 9.595 | 330.933 | 20.827 | 889.433 | 12.825 | 36.0542
2020-05-29 18:45:00 | 7.972 | 335.827 | 8.339 | 328.878 | 8.583 | 334.6 | 8.678 | 332.4 | 20.739 | 889.467 | 12.847 | 42.9815
2020-05-29 19:00:00 | 5.915 | 325.253 | 5.99 | 330.962 | 6.542 | 334.2 | 6.991 | 336.2 | 20.831 | 889.367 | 12.9 | 24.9004
2020-05-29 19:15:00 | 6.109 | 322.427 | 6.293 | 333.337 | 6.706 | 312.933 | 7.067 | 318.2 | 21.264 | 889.867 | 12.687 | 15.5913
2020-05-29 19:30:00 | 6.619 | 110.866 | 6.789 | 176.759 | 7.112 | 109.2 | 7.218 | 121.1 | 21.223 | 889.433 | 12.844 | 24.0712
2020-05-29 19:45:00 | 8.293 | 15.795 | 7.861 | 11.165 | 8.556 | 15.767 | 8.316 | 14.633 | 20.344 | 889.8 | 14.421 | 44.5774
2020-05-29 20:00:00 | 7.278 | 33.368 | 7.072 | 28.686 | 7.368 | 34.4 | 7.644 | 31.2 | 20.277 | 889.967 | 15.131 | 52.2728
2020-05-29 20:15:00 | 8.621 | 47.44 | 8.791 | 39.957 | 9.185 | 46.833 | 9.499 | 43.067 | 19.848 | 889.6 | 16.957 | 50.4509
2020-05-29 20:30:00 | 7.609 | 52.68 | 7.145 | 42.206 | 7.096 | 50.367 | 7.196 | 44.767 | 19.381 | 889.2 | 17.723 | 40.5016
2020-05-29 20:45:00 | 6.715 | 57.308 | 6.357 | 55.086 | 5.853 | 57.4 | 5.712 | 56.767 | 18.789 | 889.4 | 18.491 | 39.2844
2020-05-29 21:00:00 | 7.966 | 63.887 | 7.931 | 57.978 | 7.313 | 64.1 | 6.585 | 57.867 | 18.556 | 889.6 | 19.6 | 37.3261
2020-05-29 21:15:00 | 6.125 | 68.073 | 6.322 | 60.214 | 6.388 | 65.9 | 6.511 | 63.433 | 17.718 | 889.4 | 20.648 | 25.5427
2020-05-29 21:30:00 | 5.005 | 73.083 | 5.559 | 66.206 | 5.961 | 72 | 6.094 | 67.767 | 17.268 | 890.05 | 21.541 | 24.2246
2020-05-29 21:45:00 | 5.168 | 77.727 | 5.715 | 72.304 | 6.088 | 76.633 | 6.275 | 71.733 | 17.098 | 889.617 | 21.851 | 22.8838
2020-05-29 22:00:00 | 5.348 | 78.367 | 5.732 | 72.323 | 6.184 | 75.333 | 6.659 | 71.9 | 16.848 | 889.567 | 22.187 | 23.794
2020-05-29 22:15:00 | 5.014 | 84.167 | 5.615 | 78.295 | 6.108 | 83.1 | 6.193 | 77.967 | 16.548 | 889.867 | 22.437 | 21.4819
2020-05-29 22:30:00 | 5.056 | 84.007 | 5.842 | 78.934 | 6.023 | 84.533 | 6.116 | 78.9 | 16.082 | 889.767 | 22.837 | 44.3564
2020-05-29 22:45:00 | 9.444 | 113.5 | 10.345 | 109.146 | 10.842 | 115.1 | 11.194 | 112.133 | 14.891 | 889.467 | 26.384 | 71.3082
2020-05-29 23:00:00 | 7.809 | 116.413 | 8.543 | 110.144 | 9.058 | 114.533 | 9.196 | 111.033 | 13.987 | 889.833 | 28.757 | 63.7954
2020-05-29 23:15:00 | 8.486 | 109.873 | 8.451 | 105.717 | 8.422 | 108.733 | 8.641 | 107.067 | 13.974 | 889.4 | 28.64 | 65.8553
2020-05-29 23:30:00 | 7.944 | 115.727 | 8.911 | 110.65 | 9.442 | 114.033 | 9.85 | 111.567 | 13.749 | 889.717 | 28.368 | 65.8297
2020-05-29 23:45:00 | 7.415 | 115.563 | 8.326 | 108.559 | 8.633 | 114.867 | 8.791 | 109.067 | 13.418 | 889.7 | 28.416 | 65.2826